## BoQ1
Government eProcurement System Created By: Vishweshwar Gaonkar Created Date/Time: 11-Jul-2025 10:16 AM Tender Title: Miscellaneous Civil works for Kaiga 5 and 6. Tender ID: 2025_NPCIL_233174_1
Tender Inviting Authority: Project Director, Kaiga-5&6
Name of Work: Miscellaneous Civil works for Kaiga-5&6.
Contract No: NPCIL/KAIGA-5&6/CTC/ Civil/CPPP/2025/085
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LARK ASSOCIATES (GSTN-NA) BID ID -849673 |  | Gimmy K Thomas (GSTN-NA) BID ID -849854
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carrying out cutting and cleaning of grown wild vegetation, bushes, grass, small plants and all other unwanted wild growth/creepers, etc. disposal of cut bushes/debris outside the premises etc. all complete as per technical specifications and as directed by Engineer-in-charge. | 45000.00 | SqM | 5.00 | 6.00 | 270000.00 | 3.50 | 157500.00 | 157500.00 | Gimmy K Thomas
2.00 | Earthwork excavation by mechanical means in all sorts of Soil, soft rock, hard murrum or other hard soil mixed clay, sand, granite, laterite soil, soft & hard laterite, soft disintegrated rock not requiring blasting in foundation, trenches, walls, drains, plinths, footings, pedestals, columns and for all other miscellaneous works etc., including shoring, strutting, bailing out water if necessary& removing of tree stumps/roots etc. dressing, levelling and storing the material at designated location etc all complete as per specifications and as directed by Engineer-in-charge.
2.10 | In all kinds of soils Depth upto 3.0 m | 2500.00 | Cum | 130.00 | 150.00 | 375000.00 | 162.00 | 405000.00 | 375000.00 | LARK ASSOCIATES
2.20 | Depth exceeding 3.0m | 500.00 | Cum | 149.00 | 160.00 | 80000.00 | 185.00 | 92500.00 | 80000.00 | LARK ASSOCIATES
3.00 | Filling in plinth with approved quality of earth such as red murrum from the borrow pits identified by Engineer-in-charge, lead upto 2000 m from the work spot, in layers not exceeding 200 mm thick, compaction of each deposited layer using hand /steel rammer/ roller with proper watering up to all lifts etc., collecting & disposing the construction debris, surplus soil & unwanted materials from the place of work etc. all complete as per specifications and as directed by Engineer-in-charge. | 1000.00 | CuM | 598.00 | 250.00 | 250000.00 | 456.00 | 456000.00 | 250000.00 | LARK ASSOCIATES
4.00 | Providing and laying Plain Cement Concrete of specified grade using aggregates size of 40mm or less, clean, crushed, well graded, hard, durable and of approved quality for foundations, plinth, bedding, platform, pathways & all other miscellaneous PCC works including preparation of base by hand ramming, mixing, transporting, laying, spreading, compacting, levelling, finishing, curing, providing & removing necessary formwork, providing and removing necessary staging/platform/ladder wherever required etc., collecting & disposing generated waste & construction waste etc. away from the premises & cleaning the work area etc. all complete as per specifications, drawings and as directed by Engineer-in-charge. Note: 1. Rate shall be quoted excluding formwork rate. Formwork shall be paid in relevant item. 2. Approved brand cement shall only be used.
4.10 | Plain cement concrete 1:4:8 (1Cement : 4 Fine aggregates : 8 Coarse aggregates 40 mm.nominal size) | 350.00 | CuM | 7220.00 | 7700.00 | 2695000.00 | 7499.00 | 2624650.00 | 2624650.00 | Gimmy K Thomas
4.20 | Plain cement concrete 1:3:6 (1Cement : 3 Fine aggregates : 6 Coarse aggregates 20 mm.nominal size) | 200.00 | CuM | 7926.00 | 8200.00 | 1640000.00 | 8199.00 | 1639800.00 | 1639800.00 | Gimmy K Thomas
5.00 | Providing, placing and removing Formwork for all In-situ Concrete such as foundation, rafts, footings, plinth, columns, beams, slabs, grade slabs, chajjas, lintels, bedding, platform, pathways, walk ways, RC bands, and all miscellaneous in-situ concrete works including providing; fixing; & removing necessary supports / staging/ platform / ladder / wherever required, collecting & disposing the generated waste & construction waste etc. away from work premises & cleaning the work area, at all locations & all lifts/heights etc. all complete as per specifications, drawings (if any) and as directed by Engineer-in-charge . Note: The payment will be made for actual area of formwork in contact with concrete. | 4000.00 | SqM | 379.00 | 450.00 | 1800000.00 | 399.00 | 1596000.00 | 1596000.00 | Gimmy K Thomas
6.00 | Providing and laying damp-proof course at plinth level with 40 mm thick cement concrete 1:2:4 using 10mm size aggregate, painted on top with a coat of bitumen of grade VG-10 at the rate of 1.70 Kg. / Sqm. including cost of bitumen, consolidation, formwork, finishing, curing, cleaning of the surface at all locations and at all lifts/heights etc.all Complete as per specifications and as directed by the Engineer-in-charge | 100.00 | SqM | 690.00 | 650.00 | 65000.00 | 599.00 | 59900.00 | 59900.00 | Gimmy K Thomas
7.00 | Providing and laying RCC of grade 1:1.5:3 (M20) using 20 mm & downsize clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, rafts, footings, plinth, columns, beams, Chajjas, Lintels, bedding, platform, pathways, walk ways and all miscellaneous in-situ concrete works etc. including preparation of base by close hacking / chipping the concrete & plastered surfaces, mechanical mixing, transporting, laying, spreading, compacting, levelling, finishing & curing at all locations & lifts / heights etc. all complete as per specifications and as directed by Engineer-in-charge Note: Reinforcement and formwork shall be paid as per the relevant item. | 500.00 | CuM | 8015.00 | 8500.00 | 4250000.00 | 9250.00 | 4625000.00 | 4250000.00 | LARK ASSOCIATES
8.00 | Providing and laying Steel Reinforcement of grade Fe-500 / Fe-500 D HYSD bars of all diameters meeting all the requirements of IS:1786 [latest edition] of brand approved by EIC including removing loose scales, cutting, bending, transporting, placing in position & binding with suitable gauge soft annealed binding wire for all in-situ concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks, providing, fixing, & removing necessary staging / platform wherever required, cleaning the work area, disposing of waste materials / debris etc. outside the periphery of work premises, etc. all complete as per specifications and as directed by Engineer-in-charge at all locations & lifts /heights. | 50.00 | MT | 116325.00 | 113000.00 | 5650000.00 | 102999.00 | 5149950.00 | 5149950.00 | Gimmy K Thomas
9.00 | Providing & Constructing Masonry with standard quality CC Solid Blocks of standard size 400 X 200 X 200 mm, having crushing strength not less than 4.0 Mpa & density not less than 1800 kg/cum using CM 1:4 for foundation, plinth, drains, walls & repair works etc. & superstructure and all other miscellaneous masonry works for foundation & superstructure etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the masonry joints, & cleaning; providing; fixing & removing necessary staging / platform / ladder wherever required, collecting & disposing the generating waste & construction waste etc. away from the work premises & cleaning the work area, etc all complete as per specifications, drawing [if any] and as directed by Engineer-in-charge at all locations & lifts/heights. | 150.00 | CuM | 8350.00 | 8200.00 | 1230000.00 | 8299.00 | 1244850.00 | 1230000.00 | LARK ASSOCIATES
10.00 | Providing, Fabricating & erection of all Structural Steel work for purlins, rafters, horizontal / vertical / cross members, columns, beams, trusses, windows & doors frames & shutters, grills, gates, rollers, hinges, handles etc. and all other fabrication works including providing standard MS Steel Sections which are required for executing this work and fixing / erecting with site welding the same in position to true line, level & plumb along with preparation of base, providing & painting One Coat of approved Zinc Phospate Primer / Red Oxide Primer of 1st quality & of standard make and Two Coats of first quality synthetic enamel paint, of standard make, of shade / colour [as per site requirement & as selected by engineer-in-charge], all including and providing, fixing, & removing necessary staging / platform wherever required, cleaning the work area, disposing of waste materials / debris etc. outside the periphery of work premises, at all locations & lifts /heights etc. all complete as per specifications and as directed by Engineer-in-charge. NOTE: All materials shall be conforming to relevant BIS specification of latest edition. | 40.00 | MT | 138740.00 | 130000.00 | 5200000.00 | 125000.00 | 5000000.00 | 5000000.00 | Gimmy K Thomas
11.00 | Providing and laying Internal Cement Plaster not less then 12 mm thick in CM 1:4 to brick masonry/CC block masonary/concrete surface including rounding off corners wherever required smooth rendering etc., rubbed perfectly so as to obtain smooth & even finish including curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc. away from work premises & cleaning the work area, etc. complete all as per specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 1250.00 | SqM | 325.00 | 375.00 | 468750.00 | 333.00 | 416250.00 | 416250.00 | Gimmy K Thomas
12.00 | Providing and laying External Cement Plaster 18 mm thick in Two Coats. Base coat shall be 12 mm thick in CM 1:5 & finishing coat shall be 6 mm thick in CM 1:3 (sponge finished) rubbed perfectly including and providing waterproofing compound as per manufacturer recommendations and curing including providing and fixing with all necessary consumables required over the junction/interface of different material surface such as RCC/Masonry wherever required; including preparation of base by close hacking / chipping the concrete / plastered surfaces & cleaning including removal of generated construction waste out of site at all locations & lifts / heights etc. all complete as per specifications and as directed by Engineer-in-charge. | 1250.00 | SqM | 498.00 | 475.00 | 593750.00 | 477.00 | 596250.00 | 593750.00 | LARK ASSOCIATES
13.00 | Providing, applying, finishing with two coats of acrylic emulsion paint of interior grade of approved brand and manufacture, as per manufacturer’s recommendations including surface preparations and application of putty (average thickness of 1mm) and one coat of priming coat with primer of approved brand, as per manufacturer’s recommendations including providing, fixing & removing necessary staging / platform, at all locations and at all lights/heights, preparation of base properly / neatly etc complete, cleaning the work area by collecting & stacking the construction waste / debris & unwanted materials away from the place of work (outside the building) etc. all complete as per paint manufacturers specification or as directed by the Engineer-in-charge. | 3000.00 | SqM | 335.00 | 325.00 | 975000.00 | 255.00 | 765000.00 | 765000.00 | Gimmy K Thomas
14.00 | Finishing with Acrylic Smooth exterior paint of required shade: Two coat applied, coverage as given by manufacturer over and including priming coat of exterior primer applied, coverage as given by manufacturer with paint of approved quality to give an even shade, after thoroughly brooming the surface to remove all dirt, dust, mortar drops and foreign matter including preparing the surface even and sand paper smooth, cost of materials, labour including removal of generated construction waste out of site at all locations & lifts / heights etc. all complete as per specifications and as per directions of Engineer-in-charge. | 5000.00 | SqM | 222.00 | 215.00 | 1075000.00 | 203.00 | 1015000.00 | 1015000.00 | Gimmy K Thomas
15.00 | Repainting on steel structure with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :One coats on old/existing work as per specifications including preparation of base, providing; fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge at all locations and at all lifts & height. | 2500.00 | SqM | 97.00 | 100.00 | 250000.00 | 77.00 | 192500.00 | 192500.00 | Gimmy K Thomas
16.00 | Providing and laying Vitrified tiles with thickness 9-10 mm in required sizes of approved make, in all colours & shade, over laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ m2 including grouting the joint with white cement & matching pigments etc. on concrete/ masonry/plastered surfaces; close jointed as directed, finished to true line & levels / slope / plumb at all locations & lifts / heights etc.all complete as per specifications and as directed by Engineer-in-charge. | 1000.00 | SqM | 1691.00 | 1450.00 | 1450000.00 | 1500.00 | 1500000.00 | 1450000.00 | LARK ASSOCIATES
17.00 | Providing and laying Anti-skid, vitrified Tiles for flooring at wash area/toilets or any other place of approved brand / shade / colour & of standard thickness [as per site requirement or directed by engineer]. Flooring with 20mm thick, CM of 1:3 [bedding], providing spacer between joints and close jointed as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line& levels / slope /plumb etc, including cutting of tiles, washing, preparation of base by close hacking / roughening of existing base, cleaning & washing the base with clean water, base shall be neat, clean & slightly wet before laying mortar & tiles and base shall be clean & dry before laying adhesive & tiles, curing, cleaning & washing / mopping the work area and disposing the debris / unwanted materials outside the periphery of work premises etc., complete all as per standard technical & manufactures specification and as directed by the engineer-in-charge at all locations & lifts /heights. | 100.00 | SqM | 1659.00 | 1450.00 | 145000.00 | 1500.00 | 150000.00 | 145000.00 | LARK ASSOCIATES
18.00 | Providing and fixing 1st quality ceramic glazed tiles not less than 6 mm thickness of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados etc. over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ rate not less than 3.3kg per m2 including pointing in white cement mixed with pigment of matching shade etc. on concrete/ masonry/plastered surfaces; close jointed as directed, finished to true line & levels / slope / plumb at all locations & lifts / heights etc.all complete as per specifications and as directed by Engineer-in-charge. | 300.00 | SqM | 1282.00 | 1200.00 | 360000.00 | 1150.00 | 345000.00 | 345000.00 | Gimmy K Thomas
19.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 mm x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections consisting of main ‘T’ runner suitably spaced at joints to get required length and of standard size as suggested by manufacturer spaced 1200 mm centre to centre, and cross “T” of standard size as suggested by manufacturer, 1200 mm long spaced between main ’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and of standard size as suggested by manufacturer, to be inter locked at middle of the 1200x 600 mm panel to form grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of standard size as suggested by manufacturer, with the help of suitable means at suitable spacing as suggested by manufacturer and laying 15 mm thick densified edges calcium silicate ceiling tiles of approved texture in the grid, including, cutting/making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of appropriate size fixed to ceiling, 4 mm G.I. adjustable rods with galvanised steel level clips of appropriate size, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all T sections shall be pre-painted with appropriate paint (if required based on site condition), for all heights, including fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge at all locations and at all lifts & height. | 300.00 | SqM | 2158.00 | 2250.00 | 675000.00 | 2033.00 | 609900.00 | 609900.00 | Gimmy K Thomas
20.00 | Providing and fixing 15mm thick false ceiling tiles at all heights with light weight calcium silicate false ceiling tiles of size 595x595 mm of approved texture, design and patterns in true horizontal level on the existing frame work consisting of T-sections and L-sections suitably fixed according to tile size with all necessary consumables including fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge at all locations and at all lifts & height. | 200.00 | SqM | 2007.00 | 2100.00 | 420000.00 | 1900.00 | 380000.00 | 380000.00 | Gimmy K Thomas
21.00 | Providing and fixing in position the factory made 30 mm thick Single/Double Leaf flush door shutter of boiled water proof solid core block board with 30 X 20 mm external teak wood lipping all round, bonded with phenol formaldehyde synthetic resin, hot pressed including providing & fixing approved make including providing, painting with one coat of wood primer, two coats of first quality synthetic enamel paint of approved colour / shade to the entire shutter at all locations and at all lifts/heights etc. all complete as per specifications, and as directed by the Engineer-in-charge. | 25.00 | SqM | 5366.00 | 6000.00 | 150000.00 | 4833.00 | 120825.00 | 120825.00 | Gimmy K Thomas
22.00 | Providing and fixing of Fibre Glass Reinforced plastic (FRP) Door Frames of cross- section 90 mm x 45 mm having single rebate of 32 mm x 15 mm Door frame lamination shall be 2mm thick and shall be filled with suitable wooden block and Glass Fibre Reinforced Plastic (FRP) panelled door shutter of thickness not less than 30mm of required colour and approved brand and manufacture, made with fire - retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate, with wooden frame and suitable blocks of seasoned wood inside at required places for fixing of fittings, cast monolithically with 5 mm thick FRP laminate for panels, including fixing to frames including all necessary accesories and providing, fixing & removing necessary staging / platform wherever required, cleaning the work area, disposing of waste materials / debris etc. outside the periphery of work premises, at all locations & lifts /heights etc. all complete as per specifications and as directed by Engineer-in-charge. | 25.00 | SqM | 5841.00 | 6500.00 | 162500.00 | 5150.00 | 128750.00 | 128750.00 | Gimmy K Thomas
23.00 | Providing and fixing bright /matt finished Stainless Steel tower bolt of approved quality & make for door shutter ensuring smooth functioning, required color or shade, with necessary screws,accessories etc. at all locations and at all lifts/heights etc. all complete as per specifications and as directed by the Engineer-in-charge.
23.10 | 150 mm long & 10 mm dia | 50.00 | Nos | 153.00 | 185.00 | 9250.00 | 150.00 | 7500.00 | 7500.00 | Gimmy K Thomas
23.20 | 200 mm long & 10 mm dia | 50.00 | Nos | 191.00 | 225.00 | 11250.00 | 185.00 | 9250.00 | 9250.00 | Gimmy K Thomas
24.00 | Providing and fixing bright /matt finished Stainless Steel Handle of approved quality & make for door shutter with necessary screws, accessories etc at all locations and at all lifts/heights etc. all complete as per specifications and as directed by the Engineer-in-charge.
24.10 | 200 mm grip | 50.00 | Nos | 574.00 | 650.00 | 32500.00 | 533.00 | 26650.00 | 26650.00 | Gimmy K Thomas
24.20 | 300 mm grip | 50.00 | Nos | 701.00 | 800.00 | 40000.00 | 677.00 | 33850.00 | 33850.00 | Gimmy K Thomas
25.00 | Providing and fixing bright/matt finished Stainless Steel door Aldrop of approved quality & make for door shutter ensuring smooth functioning with necessary screws, accesories etc. all complete as per specifications and as directed by the Engineer-in-charge.
25.10 | 200 mm long & 16 mm dia | 50.00 | Nos | 382.00 | 450.00 | 22500.00 | 399.00 | 19950.00 | 19950.00 | Gimmy K Thomas
25.20 | 300 mm long & 16 mm dia | 50.00 | Nos | 478.00 | 550.00 | 27500.00 | 515.00 | 25750.00 | 25750.00 | Gimmy K Thomas
26.00 | Providing and fixing bright-finished stainless steel floor door stopper of size not less than 75 mm with rubber cushion of approved quality & standard make for door shutter ensuring smooth functioning with necessary Stainless steel screws etc., to suit shutter thickness at all locations etc. all complete as per specifications and as directed by the Engineer-in-charge. | 100.00 | Nos | 127.00 | 150.00 | 15000.00 | 125.00 | 12500.00 | 12500.00 | Gimmy K Thomas
27.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer, at all locations and at all lifts/heights etc.all Complete as per specifications and as directed by the Engineer-in-charge | 50.00 | Nos | 1420.00 | 1700.00 | 85000.00 | 1300.00 | 65000.00 | 65000.00 | Gimmy K Thomas
28.00 | Providing and fixing aluminium work for doors, windows(2 track/3 track/4 track Windows), ventilators and partitions with extruded built up standard tubular sections/ appropriate sections and other sections of approved make, fixing with fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per drawings and the directions of Engineer-in-charge. For Fixed Portion: Powder coated aluminium (minimum thickness of powder coating 50 micron) including cost of materials, labour, usage charges of machinery complete as per specifications. NOTE: Glass and particle board to be paid separately. | 3500.00 | Kg | 623.00 | 675.00 | 2362500.00 | 677.00 | 2369500.00 | 2362500.00 | LARK ASSOCIATES
29.00 | Providing and fixing 4 mm thick Clear Glass (weight not less than 10kg/ m²) for Windows, Ventilator, Partitions, door & other opening etc. with EPDM rubber / neoprene gasket etc. Glass shall be of approved make & of 1st quality and free from all defects, cutting to required shape & size as per site requirement, preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. all complete as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 450.00 | SqM | 1260.00 | 1350.00 | 607500.00 | 1255.00 | 564750.00 | 564750.00 | Gimmy K Thomas
30.00 | Providing and fixing mirror of superior glass (of approved quality), thickness not less than 8 mm and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, costruction waste away from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 15.00 | SqM | 3260.00 | 3500.00 | 52500.00 | 3299.00 | 49485.00 | 49485.00 | Gimmy K Thomas
31.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board of Grade l Type ll as per IS 12823, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. Complete as per drawings and directions of engineer- in-charge: Pre-laminated particle board with decorative lamination on both sides including cost of materials, labour, usage charges of machinery, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, costruction waste away from the place of work & cleaning the work area, etc. complete as per specifications and as per directions of the Engineer-in-Charge. | 800.00 | SqM | 1253.00 | 1350.00 | 1080000.00 | 1199.00 | 959200.00 | 959200.00 | Gimmy K Thomas
32.00 | Providing, laying and fixing Plain or curved Galvalume sheets [Aluminium – Zinc Steel sheet (Galvalume Base) 55% aluminium, 43% zinc, 1.60 % Silicon] for roofing, ridges & cladding etc, with trapezoidal profile not less than 0.45 mm thick, Length and Width of sheets as per site requirement or as directed by Engineer-in-Charge, including providing & fixing necessary self drilling screws/ self tapping screw with washers, Galvalume sheets shall be of shade/colour [as per site requirement & as selected Engineer-in-charge] and of standard make, preparation of base, providing; fixing & removing Staging /platform / ladder at all location and height wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge NOTE: Wastage occured at site due to irregular profile will not be paid seperately, quoted rate shall be inclusive of wastage. | 1000.00 | SqM | 582.00 | 675.00 | 675000.00 | 633.00 | 633000.00 | 633000.00 | Gimmy K Thomas
33.00 | Providing and fixing Galvalume Gutter of overall girth not less than 600mm and width not less than 150 mm, thickness not less than 0.45 mm including making necessary connections with rain water pipes including necessary consumables, bolts, self driving/self tapping screw, nuts and washers etc. and tools & tackles required for the job at all locations and at all lifts/heights etc. preparation of base, providing; fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, all complete as per specifications and as directed by the Engineer-in-charge. | 300.00 | RMT | 794.00 | 875.00 | 262500.00 | 710.00 | 213000.00 | 213000.00 | Gimmy K Thomas
34.00 | Providing and fixing on wall face Unplasticised Rigid PVC rain water pipes/downcomer pipes of required diameter conforming to IS:13592 Type A, including jointing with seal ring to the gutter, leaving 10 mm gap for thermal expansion, with all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights, providing; fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc. all complete as per specifications and as directed by the Engineer-in-charge.
34.10 | not less than 100mm diameter | 200.00 | RMT | 371.00 | 425.00 | 85000.00 | 399.00 | 79800.00 | 79800.00 | Gimmy K Thomas
34.20 | not less than 150mm diameter | 100.00 | RMT | 762.00 | 810.00 | 81000.00 | 755.00 | 75500.00 | 75500.00 | Gimmy K Thomas
35.00 | Providing and fixing of Aluminium Composite Panel of approved make and colour for wall cladding for Brick /RCC /stone walls & columns /beams with necessary aluminium frame works made out of 50x25x4mm C section or equivalent The panel should consist of 3mm thick non-halogenated FR grade mineral based polymer sandwiched between 0.50 skins thick aluminium sheet making a total panel thickness of 4mm. The surfaces shall be finished with PVDF based coating on topsides and service coating on reverse sides would be in polyester paint. The system shall be fixed using GI brackets, aluminium L cleats and stainless steel bolts and nuts/suitable screw/ self drilling screw complete with washer and cap nuts and all other necessary accessories, at required level at all locations and at all lifts/heights etc. all complete as per specifications and as directed by the Engineer-in-charge
35.10 | For Straight Portion | 150.00 | SqM | 5085.00 | 5500.00 | 825000.00 | 4399.00 | 659850.00 | 659850.00 | Gimmy K Thomas
35.20 | For Curved Portion | 50.00 | SqM | 6048.00 | 6500.00 | 325000.00 | 4799.00 | 239950.00 | 239950.00 | Gimmy K Thomas
36.00 | Providing and fixing flexible P.V.C. waste pipe of 40mm dia of required length for sink or wash basin including P.V.C. waste fittings including cost of materials, labour, usage charges of machinery, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. all complete as per specifications and as per directions of the Engineer-in-Charge. | 80.00 | Nos | 117.00 | 125.00 | 10000.00 | 115.00 | 9200.00 | 9200.00 | Gimmy K Thomas
37.00 | Providing and fixing CP brass Waste Coupling of dia not less than 31mm of standard make for wash basin and sink, of length not less than 79mm, of approved quality and colour including cost of materials, labour, usage charges of machinery, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. all complete as per specifications and as per directions of the Engineer-in-Charge. | 80.00 | Nos | 181.00 | 200.00 | 16000.00 | 185.00 | 14800.00 | 14800.00 | Gimmy K Thomas
38.00 | Providing and fixing white vitreous china European type water closet of approved brands with white solid plastic seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required including SS health faucet (1.5 m) conforming to relevant, with all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights etc. all complete as per specifications and as directed by the Engineer-in-charge. | 10.00 | Nos | 7620.00 | 7800.00 | 78000.00 | 7250.00 | 72500.00 | 72500.00 | Gimmy K Thomas
39.00 | Providing and fixing solid plastic seat with lid, white in colour over the existing w.c. pan with all the necessary consumable for fixation of seat and lid with all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. all complete as per specifications and as directed by the Engineer-in-charge. | 15.00 | Nos | 694.00 | 800.00 | 12000.00 | 677.00 | 10155.00 | 10155.00 | Gimmy K Thomas
40.00 | Providing and fixing stainless steel Health Faucet with 1.5m flexible tube , holder & wall flange made of stainless steel with all fittings arrangemente & all necessary accessories and all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. all complete as per specifications and as directed by the Engineer-in-charge. | 25.00 | Nos | 960.00 | 1050.00 | 26250.00 | 925.00 | 23125.00 | 23125.00 | Gimmy K Thomas
41.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) Pipes with its all required Plain & brass threaded fittings such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing job etc. with suitable clamps, jointing the pipes & fittings using CPVC solvent cement, including cost of all consumables, tools and tackles required for the job;testing the pipe with clean water and ensuring smooth functioning, at all locations fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. complete as per specifications and as per directions of the Engineer-in-Charge.
41.10 | 15 mm nominal dia Pipes | 300.00 | RMT | 212.00 | 250.00 | 75000.00 | 219.00 | 65700.00 | 65700.00 | Gimmy K Thomas
41.20 | 20 mm nominal dia Pipes | 600.00 | RMT | 277.00 | 300.00 | 180000.00 | 299.00 | 179400.00 | 179400.00 | Gimmy K Thomas
41.30 | 25 mm nominal dia Pipes | 300.00 | RMT | 377.00 | 425.00 | 127500.00 | 399.00 | 119700.00 | 119700.00 | Gimmy K Thomas
42.00 | Providing and laying / fixing Unplasticised Polyvinyl Chloride UPVC Pipes with its all required Plain & brass threaded fittings [ such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing job etc.of superior make including including cost of all consumables, tools and tackles required for the job; testing the pipe with clean water and ensuring smooth functioning at all locations and fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge.
42.10 | 40 mm nominal dia Pipes | 120.00 | RMT | 388.00 | 425.00 | 51000.00 | 395.00 | 47400.00 | 47400.00 | Gimmy K Thomas
42.20 | 50 mm nominal dia Pipes | 100.00 | RMT | 492.00 | 550.00 | 55000.00 | 499.00 | 49900.00 | 49900.00 | Gimmy K Thomas
43.00 | Providing and fixing unplasticised PTMT connection pipe with Nuts, collar and bush of approved quality and colour including cost of all materials and labour with all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights etc.all Complete as per specifications and as directed by the Engineer-in-charge.
43.10 | Dia not less than 0.5 inch and length not less than 18 inch | 35.00 | Nos | 116.00 | 125.00 | 4375.00 | 115.00 | 4025.00 | 4025.00 | Gimmy K Thomas
43.20 | Dia not less than 0.5 inch and length not less than 36 inch | 35.00 | Nos | 173.00 | 200.00 | 7000.00 | 180.00 | 6300.00 | 6300.00 | Gimmy K Thomas
44.00 | Providing and fixing CP Brass angle Stop cock 15mm nominal bore with all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights etc.all complete as per specifications and as directed by the Engineer-in-charge. | 25.00 | Nos | 719.00 | 750.00 | 18750.00 | 700.00 | 17500.00 | 17500.00 | Gimmy K Thomas
45.00 | Providing and fixing CP Brass Pillar cock 15mm nominal bore of size not less than 125mm long of approved quality and colour with all fittings and fixtures and ensuring smooth functioning at all locations and at all lifts/heights etc.all Complete as per specifications and as directed by the Engineer-in-charge. | 25.00 | Nos | 1831.00 | 2100.00 | 52500.00 | 1750.00 | 43750.00 | 43750.00 | Gimmy K Thomas
46.00 | Providing and fixing liquid soap dispenser made of stainless steel with all concealed fitting arrrangement & with all fittings and fixtures and ensuring smooth functioning at all locations fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, construction waste away from the place of work & cleaning the work area, etc. all complete as per specifications and as per directions of the Engineer-in-Charge. | 10.00 | Nos | 2226.00 | 2500.00 | 25000.00 | 2099.00 | 20990.00 | 20990.00 | Gimmy K Thomas
47.00 | Carrying out Dismantling/ Demolition carefully the existing RCC structural elements at all elevations by manual or mechanical means including all necessary equipments such as drilling machine, cutting machine, gas cutter etc., necessary manpower and including collecting & stacking neatly all serviceable materials at NPCIL site store/as directed by EIC and disposing off unwanted material at all locations and at all lifts & heights etc. all complete as per specifications and as directed by engineer-in-charge. | 50.00 | CuM | 3093.00 | 3500.00 | 175000.00 | 2323.00 | 116150.00 | 116150.00 | Gimmy K Thomas
48.00 | Carrying out Dismantling/ Demolition carefully the existing PCC structural elements at all elevations by manual or mechanical means including all necessary equipments such as drilling machine, cutting machine, gas cutter etc., necessary manpower and including collecting & stacking neatly all serviceable materials at NPCIL site store/as directed by EIC and disposing off unwanted material at all locations and at all lifts & heights etc. all complete as per specifications and as directed by engineer-in-charge. | 40.00 | CuM | 1716.00 | 1950.00 | 78000.00 | 1299.00 | 51960.00 | 51960.00 | Gimmy K Thomas
49.00 | Carrying out Dismantling/ Demolition carefully the existing Existing plastered Brick /block masonry in cement mortart at all elevations by manual or mechanical means including all necessary equipments such as drilling machine, cutting machine, gas cutter etc., necessary manpower and including collecting & stacking neatly all serviceable materials at NPCIL site store/as directed by EIC and disposing off unwanted material at all locations and at all lifts & heights etc. all complete as per specifications and as directed by engineer-in-charge. | 25.00 | CuM | 1312.00 | 1500.00 | 37500.00 | 999.00 | 24975.00 | 24975.00 | Gimmy K Thomas
50.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. at all lead & lifts/heights and stacking the serviceable materials at NPCIL site store/as directed by EIC and disposing off unwanted material at all locations and at all lifts & heights etc. all complete as per specifications and as directed by engineer-in-charge.. | 10000.00 | Kg | 4.00 | 5.00 | 50000.00 | 4.50 | 45000.00 | 45000.00 | Gimmy K Thomas
51.00 | Dismantling & removing existing Galvalume/ GI roofing corrugated or plain sheets such as ridge sheets, cladding sheets,& roof sheets from existing roof, by removing 'L' / 'J' hooks, screws etc, collecting & stacking including breaking & removing counter weight masonry, labour charge, tool & tackles, handing over of serviceable materials to NPCIL store/as directed by EIC at all location & at all lifts/heights. etc. all complete as per specifications and as directed by the Engineer-in-charge | 100.00 | SqM | 139.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 12000.00 | Gimmy K Thomas
52.00 | Providing and Applying high build Acrylate Copolymers -based elastomeric waterproof coating for external wall, roof, parapet & Chajja, which is single component, cold applied, acrylic emultion polymeat at all locations fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, costruction waste away from the place of work & cleaning the work area, etc. complete as per specifications and as per directions of the Engineer-in-Charge. | 1000.00 | SqM | 326.00 | 375.00 | 375000.00 | 303.00 | 303000.00 | 303000.00 | Gimmy K Thomas
53.00 | Engaging JCB/ Backhoe of required capacity for removal & disposal of soil/earth, stone boulders, fallen wood /trees /tree branches, any other unwanted material/things, excavation works in all sort of soils, levelling of undulations, any other misc. works, etc., as directed by Engineer in charge at all locations. The rate shall be inclusive of hire charges for deploying JCB including its maintenance, operator wages /charges, diesel & lubricants required for JCB / Backhoe, tools & tackles required for the job,etc. all complete as per specifications and as directed by the Engineer-in-charge. Note: Rate shall be inclusive of cost incurred for taking all necessary permits and insurances. | 1800.00 | Hrs | 2141.00 | 2000.00 | 3600000.00 | 1616.00 | 2908800.00 | 2908800.00 | Gimmy K Thomas
54.00 | Engaging Tipper of capacity not less than 5.5 cum/load for loading & unloadng, shifting of soil, construction waste etc. at all locations. The rate shall be inclusive of hire charges for deploying Tipper including its maintenance, operator wages/charges, diesel & lubricants charges tools & tackles etc.all complete as per specifications and as directed by the Engineer-in-charge Note: Rate shall be inclusive of cost incurred for taking all necessary permits and insurances. | 1200.00 | Hrs | 2222.00 | 2200.00 | 2640000.00 | 1500.00 | 1800000.00 | 1800000.00 | Gimmy K Thomas
55.00 | Providing & installing 600 mm dia GI punched tape Concerting Coil of 10 m openable length, having 50 nos rounds per 6 m length over Y shape posts with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core wire with tape and weight 43.478 g/m. Note: Structural steel works shall be paid in relevant item. | 150.00 | RMT | 403.00 | 450.00 | 67500.00 | 399.00 | 59850.00 | 59850.00 | Gimmy K Thomas
56.00 | Proving and fixing for fencing with G.I. barbed wire on posts/supports placed at required distance embedded in cement concrete blocks/RCC columns/steel structure, provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing not less than 9.38 kg per 100 m fitted and fixed with G.I. staples, turn buckles etc. complete including providing; fixing & removing necessary staging / platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc. away from work premises & cleaning the work area, etc. complete all as per specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. Note: 1. Payment shall be made per metre cost of total length of barbed wire used. 2. Structural steel, RCC, PCC shall be paid in relevant items. | 1800.00 | RMT | 23.00 | 25.00 | 45000.00 | 22.00 | 39600.00 | 39600.00 | Gimmy K Thomas
57.00 | Supplying and Fixing of Molded Shank Raised Pavement Markers / Cat's Eye made of polycarbonate and ABS moulded body and reflective panels with micro prismatic lens capable of providing total internal reflection of the light entering the lens face and confoming requirements as per relevant IRC/BIS standards including fixing by drilling holes on the road for the shanks to go inside, without nails and using epoxy resin based adhesive as per manufacturer's recommendation at all locations etc. all complete as per specifications and as directed by the Engineer-in-charge. | 6400.00 | Nos | 465.00 | 480.00 | 3072000.00 | 455.00 | 2912000.00 | 2912000.00 | Gimmy K Thomas
58.00 | Providing and fixing Polished Granite in required design and patterns, in linear as well as curvilinear portions of the building all complete with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge with content engraved of size as per site conditions on walls/ floor as inauguration stone, foundation stone etc. of colour and shades at all locations and at all lifts/heights etc. all complete as per specifications and as directed by the Engineer-in-charge Note: Cost of Engraving shall be paid separately in as per relevant Item | 40.00 | SqM | 3636.00 | 3500.00 | 140000.00 | 3500.00 | 140000.00 | 140000.00 | LARK ASSOCIATES, Gimmy K Thomas
59.00 | Providing and fixing 18 mm thick gang saw cut granite of any colour and shade, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch up, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc.at all locations etc. all complete as per specifications and as directed by the Engineer-in-charge | 25.00 | SqM | 5019.00 | 4900.00 | 122500.00 | 4099.00 | 102475.00 | 102475.00 | Gimmy K Thomas
60.00 | Engraving letters in hard stone/granite in all language of all sizes including border designs as per requirement/ specification or as directed by Engineer In Charge for inauguration, signage, nomenclature of building/room/area etc all complete as per specification/drawing and as directed by Engineer-in-charge. Note: Stone/Granite will be paid in relevant item. | 2000.00 | per letter per cm height | 13.00 | 15.00 | 30000.00 | 12.00 | 24000.00 | 24000.00 | Gimmy K Thomas
61.00 | Supply of brand new Survey Instrument of good quality and good working condition including manufacture's certificate for permanent adjustment and other necessary documents and field demonstration including necessary calibration for the period of two year as and when required as follows:
61.10 | Total Station - Latest model of Brand new Electronic total stations of Leica/Sokkia/Topcon Make or equivalent with minimum of following features: 1. Accuracy: 1 sec (min) 2. Distance measuring Accuracy with single prism: 2 mm +2 ppm 3. dual side display 4. Guide lights for staking 5. rechargeable Li-ion battery with battery back-up of minimum 15 hours 6. Dust and water protection : IP 66 or better 7. Minimum 50000 points storage inbuilt facilty 8. Data retrieval facility must be available along with necessary compatible accessories such as tripod, single prism pole assembly, lens cap, lens hood, tool pouch, lens brush, adjusting pin, operational manual, carrying case & carrying strap. Terms of payment Following are the terms of payment for the instrument supply and calibration: I. On supply of instrument, 70% amount shall be paid. II. 30% amount shall be paid in three equal installments a. Two installments on first two calibration of equipment b. Third installment at the end of contract | 1.00 | Nos | 618792.00 | 750000.00 | 750000.00 | 625000.00 | 625000.00 | 625000.00 | Gimmy K Thomas
61.20 | Auto Level: Latest model of Brand new Telescopic level of BOSCH/Leica/Sokkia/Topcon make or equivalent as per satisfaction of Engineer-In-charge with minimum of following features: 1. magnification of 32X 2.Staff height of 5 meter with least count of 5 mm along with necessary compatible accessories such as tripod, aluminium staff, lens cap, operational manual, carrying case & carrying strap. Terms of payment Following are the terms of payment for the instrument supply and calibration: I. On supply of instrument, 70% amount shall be paid. II. 30% amount shall be paid in three equal installments a. Two installments on first two calibration of equipment b. Third installment at the end of contract | 1.00 | Nos | 22255.00 | 25000.00 | 25000.00 | 22509.00 | 22509.00 | 22509.00 | Gimmy K Thomas
62.00 | Providing and laying of hot applied thermoplastic compound of thickness not less than 2.5 mm including reflectorising glass beads @ 250 g/m2 area, thickness of 2.5 mm is exclusive of surface applied glass beads including preparation of surface by cleaning or washing if required, levelling of finished surface, free from streaks and holes in all shapes etc. complete all as per specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 2400.00 | Sqm | 676.00 | 700.00 | 1680000.00 | 650.00 | 1560000.00 | 1560000.00 | Gimmy K Thomas
63.00 | Providing and spreading 40mm down size aggregate of approved material including hand packing, ramming, including cost of all materials and labour with all lead and lift in all shapes etc. complete all as per specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 5.00 | Cum | 2037.00 | 2250.00 | 11250.00 | 2345.00 | 11725.00 | 11250.00 | LARK ASSOCIATES
64.00 | Providing & Fixing Stainless Steel Wire mesh of 26 Gauge wire and 16 Meshes to an inch (16X26 G) with the aluminium frame work including providing & fixing removing staging/collecting and disposing the generated waste from work area etc., complete all as per standard technical specification, drawing and as directed by the Engineer-in-cahrge at all lifts / heights. Note: Aluminium material, if required will be measured & Paid under relevant item. | 200.00 | Sqm | 347.00 | 400.00 | 80000.00 | 377.00 | 75400.00 | 75400.00 | Gimmy K Thomas
| Total in Figures |  |  |  |  | 50561125.00 |  | 46833999.00
Lowest Amount Quoted BY: Gimmy K Thomas(46833999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works for Kaiga 5 and 6. Tender ID: 2025_NPCIL_233174_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Gimmy K Thomas (BID ID -849854) | 46833999.00 | L1
| 2 | LARK ASSOCIATES (BID ID -849673) | 50561125.00 | L2