## BoQ1
Government eProcurement System Created By: Sonu Kumar Rai Created Date/Time: 12-Aug-2025 11:54 AM Tender Title: Construction of misc. infrastructure in Raghunath Barahsaini Inter Tender ID: 2025_NPCIL_234979_1
Tender Inviting Authority: Chief Superintendent, NAPS
Name of Work: Construction of misc. infrastructure in Raghunath Barahsaini Inter Collage- Rajghat, Shri Devatrya Aadarsh Inter Collage- Karanwas, Bhagirathi Vedang Inter Collage- Ramghat, DB Janta Junior High School- Rampur, Composite UPS- Badarpur, Uchcha Prathmic Vidyalaya-Nodai Bangar, Primary School-Rehmapur, Krishna and Shreeram Memorial Vedic Inter College-Atrauli under CSR.
Contract No: NAPS/CTC/CVL/CSR/2025/CPPP/PT/1146
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ROYAL ENGINEERING SERVICES (GSTN-NA) BID ID -862314 |  | Technical Construction Co. (GSTN-NA) BID ID -861440
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork in excavation for foundation in steps as per site in all soils upto required depth including shoring, shuttering and dewatering, as required, compaction as per requirement and side protection, including filling around foundation and in plinth with selected excavated soil from site it self and in layers not exceeding 150mm in thickness watering and consolidation etc. disposing surplus earth with in a distance of 3 km including taking level by bringing suitable leveling machine making grid pillar etc. as per requirement. | 1542.00 | CuM | 0.00 | 150.00 | 231300.00 | 180.00 | 277560.00 | 231300.00 | ROYAL ENGINEERING SERVICES
2.00 | Providing and laying cement concrete 1-4-8 (Mix ratio of -One part Cement, Four Part Fine Aggregate and Eight part Coarse Aggregate) (minimum compressive strength 75Kg / Sqcm) in foundation using graded stone aggregate 20mm maximum size and down graded including formwork consolidation, finishing, curing etc. complete as per specification (cement content 170 Kg./CuM). | 124.00 | CuM | 0.00 | 4100.00 | 508400.00 | 4400.00 | 545600.00 | 508400.00 | ROYAL ENGINEERING SERVICES
3.00 | Supplying and laying Bricks masonry using locally available approved brick (minimum compressive strength 70Kg/Sqcm) of uniform shape {average size- 225mm x 105mm x 65mm (± 5mm)} cement mortar 1-6 (Mix ratio of -One part Cement and Six part Sand) at all elevation including, simultaneous pointing below plinth level and racking out joints above ground level, curing etc. complete as per specifications. | 829.70 | CuM | 0.00 | 4100.00 | 3401770.00 | 4750.00 | 3941075.00 | 3401770.00 | ROYAL ENGINEERING SERVICES
4.00 | Damp proof course (DPC) on top of plinth 40mm thick with cement concrete 1-2-4 (Mix ratio of -One part Cement, Two part Fine Aggregate and Four part Coarse Aggregate) mixed with approved water proofing compound at 2% by weight of cement using graded stone aggregate of 10mm max. size laid to full width of wall including form work, consolidation finishing curing etc. complete. | 68.00 | SqM | 0.00 | 350.00 | 23800.00 | 400.00 | 27200.00 | 23800.00 | ROYAL ENGINEERING SERVICES
5.00 | Supplying structural steel pipes, angles, tee, channel , hollow sections etc. and fabrication with cutting, welding, anchoring by cinch anchors , nut , bolting and fixing in position of all type structural steel as per direction of engineer including painting with two coat of S.E. paint of make Berger Luxol / Asian apoclite / Nerolac - kansai Nerolac over one coat of red oxide primer for door / window, grills etc. complete. | 11.94 | MT | 0.00 | 82000.00 | 979080.00 | 82000.00 | 979080.00 | 979080.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
6.00 | Providing and laying RCC 1-1.5-3 (Mix ratio of -One part Cement, One & half part Fine Aggregate and Three part Coarse Aggregate) (Minimum Compressive Strength 200 Kg. / cm2 ) for Slab, Beam, Lintel, chajja, column etc. using graded stone aggregate 20 mm maximum size and down graded including scaffolding, form work, mixing, pouring, mechanical vibrating, consolidation, finishing, curing etc. complete but excluding reinforcement all as per specification and directed by EIC. (minimum Cement Content 350 Kg./M3). | 143.00 | CuM | 0.00 | 7000.00 | 1001000.00 | 7300.00 | 1043900.00 | 1001000.00 | ROYAL ENGINEERING SERVICES
7.00 | Supplying reinforcement steel bars as per IS-1786, transporting and placing in position for all concrete including bending, cutting, binding fabricating, fixing, tying in position with 16 gauge wire soft draw binding wire with chairs, supports etc. complete as per specification including cost of binding wire as per specification. (Binding wire will not be measured for payment). | 13.93 | MT | 0.00 | 75000.00 | 1044750.00 | 75000.00 | 1044750.00 | 1044750.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
8.00 | Supply & laying cement concrete 1-2-4 (Mix ratio of -One part Cement, Two part Fine Aggregate and Four part Coarse Aggregate) (minimum compressive strength 150Kg / Sqcm) using graded stone aggregate 20 mm maximum size, preparing of mix using mechanical mixture, including formwork, consolidation, finishing to required level and slope and curing complete as directed by EIC (minimum Cement Content 330 Kg./CuM). | 40.00 | CuM | 0.00 | 5200.00 | 208000.00 | 5800.00 | 232000.00 | 208000.00 | ROYAL ENGINEERING SERVICES
9.00 | Supplying and laying cement concrete 1-3-6 (Mix ratio of -One part Cement, Three part Fine Aggregate and Six part Coarse Aggregate) (minimum compressive strength 100Kg / Sqcm) for boundary wall coping etc using graded stone aggregate 20mm maximum size including, formwork, consolidation, finishing and curing as per specification (minimum Cement content. 220 Kg./ M3). | 18.00 | CuM | 0.00 | 4500.00 | 81000.00 | 4800.00 | 86400.00 | 81000.00 | ROYAL ENGINEERING SERVICES
10.00 | Supply, laying & compacting selected earth (Brought from outer side and not excavated from site it self) with cohesion, for filling etc., the layers not exceeding 150mm in thickness watering, compaction by ramming, compactor, roller etc. as required and consolidation etc. upto all leads and lifts of required depth including disposing surplus earth as per the direction of Engineer - in - charge. | 335.00 | CuM | 0.00 | 220.00 | 73700.00 | 300.00 | 100500.00 | 73700.00 | ROYAL ENGINEERING SERVICES
11.00 | Providing 15 mm thick cement plaster in cement mortar 1-4 (Mix ratio of -One part Cement and Four part Sand) to brick or concrete surface and over parapit wall etc. including preparation of surface hacking, removing of loose materials, cleaning of joints, finishing curing complete all as per direction of EIC including disposal of rubbish. | 5585.00 | SqM | 0.00 | 250.00 | 1396250.00 | 185.00 | 1033225.00 | 1033225.00 | Technical Construction Co.
12.00 | Providing & Fixing Chicken wire mesh 450mm wide at junction of slab and wall on outer surface complete all as per direction of EIC. | 291.00 | RM | 0.00 | 70.00 | 20370.00 | 150.00 | 43650.00 | 20370.00 | ROYAL ENGINEERING SERVICES
13.00 | Providing and laying machine cut double polished uniform colour best quality KOTA stone slab minimum 18mm thick in size 600x600mm (Approx.) or specified with marble stone strip laid over 20mm thick bed with cement mortar 1-4 (Mix ratio of -One part Cement and Four part Fine Aggregate) for floor, skirting and steps, joints with colour matching cement, rubbing, polishing, rounding of edge wherever required & curing etc. complete as per specification and direction by EIC. | 1145.00 | SqM | 0.00 | 1200.00 | 1374000.00 | 950.00 | 1087750.00 | 1087750.00 | Technical Construction Co.
14.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface and to prepare the surface even and smooth all complete. | 1440.00 | SqM | 0.00 | 40.00 | 57600.00 | 50.00 | 72000.00 | 57600.00 | ROYAL ENGINEERING SERVICES
15.00 | Supplying & applying acrylic distemper of make Berger / Asian /Nerolac of approved shade in class room walls, ceiling in two coats over One coat of approved primer including prepration of surface, scaffolding etc. complete as per specification. | 1560.00 | SqM | 0.00 | 40.00 | 62400.00 | 60.00 | 93600.00 | 62400.00 | ROYAL ENGINEERING SERVICES
16.00 | Supplying and applying one coat of compatible Primer of Asian/Berger/Nerolac make & two coat of Exterior plastic emulsion paint of Asian Paints make Apex ultima / Berger make weather coat anti dust / Nerolac make Excel Mica Marble on new / existing surface including cleaning & preparation of surface etc. complete as per direction of Engineer-in-charge. | 3815.00 | SqM | 0.00 | 100.00 | 381500.00 | 100.00 | 381500.00 | 381500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
17.00 | Supplying and fixing circular / hexagonal M.S. Sheet ceiling fan box with clamp, rim, top and bottom lid. Lids shall be screwed into M.S. box by means of round handed screws, clamp shall be made of M.S. bar bent to shape as per standard with required over length. | 30.00 | Nos | 0.00 | 60.00 | 1800.00 | 120.00 | 3600.00 | 1800.00 | ROYAL ENGINEERING SERVICES
18.00 | Providing and laying 75 mm thick brick soling with locally available approved brick (minimum compressive strength 70Kg/Sqcm) of uniform shape {average size- 225mm x 105mm x 65mm (± 5mm)} including leveling and dressing the surface by cutting, transporting and filling the earth, complete to the required level and shape laying bricks with joints staggered and filling with earth and disposal of surplus earth upto a level of 1 Km all as per specification and direction of Engineer. | 9215.00 | SqM | 0.00 | 240.00 | 2211600.00 | 245.00 | 2257675.00 | 2211600.00 | ROYAL ENGINEERING SERVICES
19.00 | Supplying & Laying 80mm thick (± 3 mm) cement concrete interlocking paver block of M-40 grade coloured tiles as per technical specification (minimum compressive strength 400Kg / cm2 & water absorbtion should not be more than 6% by mass) having smooth finish and of approved size and design/ shape and pattern over brick soling by providing 50mm thick compacted bed of Ganga Sand and filling the joints with same all complete as per the direction of Engineer - in - charge. Sample of paver block can be seen in the office of section head. (Note:- Existing soling where ever required has to be removed and relaid in required profile. Nothing extra will be paid for this). Note- The manufacturer interlocking tiles should meet technical specifications requirements. Concrete testing lab facility is also required in manufacturer's factory. Each tile should be trade mark of manufacturer. | 9830.00 | SqM | 0.00 | 750.00 | 7372500.00 | 830.00 | 8158900.00 | 7372500.00 | ROYAL ENGINEERING SERVICES
20.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces at etc. after dismentling existing water proofing as required at site and consisting of the following i) Applying & grouting a slurry coat of neat cement using 2.75 Kg/sqm. of cement admixed with water proofing compound @ 2% of cement over RCC slab including adjoining walls upto 300mm height including cleaning the surface before treatment . ii) Laying broken bricks/ brick bats 25 mm to 100 mm size with 50% of cement mortar 1-5 (1 cement 5 coarse sand) admixed with water proofing compound @ 2% of cement over 20 mm thick layer of cement mortar 1-5 (1 cement 5 coarse sand) admixed with water proofing compound @ 2% of cement to required slope and treatment similarly the adjoining walls up to 300 mm height including rounding of junctions of walls and slabs.iii) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/sqm of cement admixed with water proofing compound @ 2% of cement. iv) Finishing the surface with 20 mm thick joint less cement mortar of mix 1-4 admixed with water proofing compound @ 2% of cement and finally finishing the surface with trowel and neat cement slurry and making false marking of size 300X300 m square. v) The whole terrace so finished shall be flooded with water up to for a minimum period of two weeks for curing and for final testing. No seepage spots should be visible. Average thickness of layer 120 mm and minimum thickness at drain point (khurra) as 65 mm. | 520.00 | SqM | 0.00 | 1700.00 | 884000.00 | 675.00 | 351000.00 | 351000.00 | Technical Construction Co.
21.00 | Dismantling/breaking of existing concrete and brick work, cleaning of bricks stacking serviceable material and disposal of rubbish by Tractor/buggi for a lead of 2 km. as directed by engineer. | 29.00 | CuM | 0.00 | 500.00 | 14500.00 | 700.00 | 20300.00 | 14500.00 | ROYAL ENGINEERING SERVICES
22.00 | Providing and fixing 110mm dia PVC pipe ISI mark with necessary standard holder bat clamps including bends / shoes bends, jointing etc. as per the direction of Engineer - in - charge. | 120.00 | RM | 0.00 | 200.00 | 24000.00 | 220.00 | 26400.00 | 24000.00 | ROYAL ENGINEERING SERVICES
23.00 | Letter writing with synthetic Enamel Paint of approved brand & shade including preparation of base and border lining scaffolding etc. complete. | 4300.00 | Per Letter Per CM | 0.00 | 5.00 | 21500.00 | 1.50 | 6450.00 | 6450.00 | Technical Construction Co.
24.00 | Providing and fixing Black granite stone 18mm thick (Approx.) of required size for Inaugration board with writing Golden colour letters 1" to 2" in height 75 Nos. (Approx.), maximum 1" Golden border all around complete as per requirement at various locations. Writing matter will be provided by NAPS. (Note- Brick pedestal for fixing Inauguration board will be made separately and paid in relevant items). | 9.00 | SqM | 0.00 | 4500.00 | 40500.00 | 8000.00 | 72000.00 | 40500.00 | ROYAL ENGINEERING SERVICES
25.00 | Providing and laying vitrified tiles (Double charge) of size 595mm x 595mm (Approx. thickness - 8 mm) of make H&R JOHNSON or KAJARIA or NITCO or equal range ...... Note- for complete item description please refer Annexure-1 of Technical Specification. The quoted rate shall include the activities as mentioned against Sl. no-25 of item description of Annexure-1 of Technical specification. | 6720.00 | SqM | 0.00 | 1150.00 | 7728000.00 | 1000.00 | 6720000.00 | 6720000.00 | Technical Construction Co.
| Total in Figures |  |  |  |  | 29143320.00 |  | 28606115.00
Lowest Amount Quoted BY: Technical Construction Co.(28606115.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of misc. infrastructure in Raghunath Barahsaini Inter Tender ID: 2025_NPCIL_234979_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Technical Construction Co. (BID ID -861440) | 28606115.00 | L1
| 2 | ROYAL ENGINEERING SERVICES (BID ID -862314) | 29143320.00 | L2