## BoQ1
Government eProcurement System Created By: Aditya Kathale Created Date/Time: 01-Sep-2025 03:40 PM Tender Title: Upgradation of DAE Emergency Control Room Tender ID: 2025_NPCIL_236480_1
Tender Inviting Authority: M/s. Nuclear Power Corporation ( A Govt. of India Enterprise) Department of Atomic Energy
Name of Work: EPC PACKAGE OF VSB EMERGENCY CONTROL ROOM
Tender No: CMM/EIC/00-10-3-3651
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SOLUTIONS INDIA SYSTEMS PVT.LTD (GSTN-27AABCS3520K1ZF) BID ID -860239
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Video conference room consisting of following: Establishment of Video conferencing room with 1.2 fine pitch Video wall of diagonal size 136” or above,12x Optical Camera, VC Codec with peripheral license, VC equipment interface switches with storage, Presentation terminals 3 Nos, False ceiling sound proofing, Smart illumination in the center with Touch panel, Blackout curtains – 4 nos. of as per layout, Sound absorbent carpet of GSM & back drop etc. | 1.00 | LOT | 1.00 | 8635380.00 | 8635380.00 | 8635380.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
2.00 | Video conference room consisting of following: Audio reinforcement systems in VC room with 15 nos. of digital microphones & AV integration with DSP, touch panel, look at me and mute feature etc. for 15 people sitting arrangement with interactive table (15 seater) and seating chair arrangements for 30 participants etc. | 1.00 | LOT | 1.00 | 5688377.00 | 5688377.00 | 5688377.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
3.00 | ENC room with conference room facility: AV system with professional display unit 55”, Video conf. system studio bar, work station and conference room table setup with 5 seater and Engineer in charge control desk with 3 seater table with chairs arrangement and Blackout curtains etc. | 1.00 | LOT | 1.00 | 1603114.00 | 1603114.00 | 1603114.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
4.00 | Discussion room/Resting room with conference facility: Small display unit with foldable desk and Rest room setup with two bunk beds convertible to sofas and Blackout curtains, 3 seater round table with chairs | 1.00 | LOT | 1.00 | 1024548.00 | 1024548.00 | 1024548.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
5.00 | 24x 7 Control room: Control room setup with 55” Displays-3 Nos, 6 workstations, L shape Control desk with 4 Nos of chairs, 3 seater table with chairs, other communication gadgets, Blackout curtains, HDMI switchers & dividers, Compactors, Vertical locker for 6 Pax, etc. | 1.00 | LOT | 1.00 | 2934155.00 | 2934155.00 | 2934155.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
6.00 | Equipment room UPS, Servers(e-library), network switches: Storage server 24 TB with RAID facility with redundant and switching control system and Blackout curtains with partitioning for each equipment. | 1.00 | LOT | 1.00 | 1729440.00 | 1729440.00 | 1729440.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
7.00 | Passage areas: Smart illumination in passage areas with cove lighting, Wall paper with customized graphics, Flush mounting lighting in corridors etc. | 1.00 | LOT | 1.00 | 386290.00 | 386290.00 | 386290.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
8.00 | Passage and Entrance: Display unit 65 “ Horizontal display 1 no. and 65” vertical display 1 no. with artifacts and seating for 6 members(3 x2) etc | 1.00 | LOT | 1.00 | 2212891.00 | 2212891.00 | 2212891.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
9.00 | Passage and Entrance: Entrance with Smart look with artifacts etc. | 1.00 | LOT | 1.00 | 574778.00 | 574778.00 | 574778.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
10.00 | Common facilities: Ambient Smart cooling system with 14 Nos split AC machines. | 1.00 | LOT | 1.00 | 813811.00 | 813811.00 | 813811.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
11.00 | Common facilities: CCTV and networking. | 1.00 | LOT | 1.00 | 175458.00 | 175458.00 | 175458.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
12.00 | Common facilities: Voice and Data cabling with required electrical points. | 1.00 | LOT | 1.00 | 1557437.00 | 1557437.00 | 1557437.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
13.00 | Common facilities: Installation and commissioning and its associated Internal Civil & structural works, skirting, frame door paneling rooms for aesthetic look. | 1.00 | LOT | 1.00 | 654582.00 | 654582.00 | 654582.00 | SOLUTIONS INDIA SYSTEMS PVT.LTD
| Total in Figures |  |  |  |  | 27990261.00
Lowest Amount Quoted BY: SOLUTIONS INDIA SYSTEMS PVT.LTD(27990261.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of DAE Emergency Control Room Tender ID: 2025_NPCIL_236480_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SOLUTIONS INDIA SYSTEMS PVT.LTD (BID ID -860239) | 27990261.00 | L1