## BoQ1
Government eProcurement System Created By: RAM MURAT RAM Created Date/Time: 04-Nov-2025 11:57 AM Tender Title: ET-1622 Tender ID: 2025_NPCIL_236958_1
Tender Inviting Authority:
Name of Work: Construction of Simulator Building-1&2 at Kakrapar Gujarat Site.
Contract No: KAPS/CMM-W/1-2/SMU/2025/ET/1622
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Technical Construction Co. (GSTN-NA) BID ID -863869 |  | CIVILIS INFRA (GSTN-NA) BID ID -861405
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART A- CIVIL - SITE DEVELOPMENT - Dismantling carefully existing structure of following items in at all levels, including stacking serviceable materials and disposing of unserviceable materials within a lead of 1.5 km or spreading the debris as mentioned by engineer. Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. Note: - 1. Required steel scaffolding materials are in the scope of contractor. 2. Contractor shall be provide only steel scaffolding i.e H-frame or Cup-lock system and follow safety officer instruction during course of work. 3. All re-usable material from dismantling shall be deposited in CMM store or as directed by engineer in charge
1.01 | Dismantling of False ceiling (aluminium / PVC / fibre / Gypsum) with all accessories, Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 650.00 | SqM |  | 150.00 | 97500.00 | 40.00 | 26000.00 | 26000.00 | CIVILIS INFRA
1.02 | Dismantling of Doors, windows and ventillators made of steel / wooden / aluminium with shutter including cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 120.00 | SqM |  | 500.00 | 60000.00 | 350.00 | 42000.00 | 42000.00 | CIVILIS INFRA
1.03 | Dismantling of AC corrugated roofing sheets including ridge and J- bolts, Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 950.00 | SqM |  | 120.00 | 114000.00 | 70.00 | 66500.00 | 66500.00 | CIVILIS INFRA
1.04 | Dismantling the existing steel structures of various sections such as trusses rafters, purlins, members, angles, plates, channels, I or T section, pipes etc, Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 10.00 | MT |  | 25000.00 | 250000.00 | 5500.00 | 55000.00 | 55000.00 | CIVILIS INFRA
1.05 | Dismantling of Plastered brick masonry, Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 950.00 | CuM |  | 1500.00 | 1425000.00 | 2500.00 | 2375000.00 | 1425000.00 | Technical Construction Co.
1.06 | Dismantling of Plain cement concrete, Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 80.00 | CuM |  | 1500.00 | 120000.00 | 2500.00 | 200000.00 | 120000.00 | Technical Construction Co.
1.07 | Dismantling of Reinforced cement concrete, Item includes cost of labour, erection and de-erection of scaffolding, tools & tackles, loading, transportation, unloading etc. all complete as directed by engineer in charge. | 50.00 | CuM |  | 2500.00 | 125000.00 | 3200.00 | 160000.00 | 125000.00 | Technical Construction Co.
2.00 | Surface dressing of the ground including removing of rank vegetation, bushes, shrubs, saplings, trees, stem of cut trees etc. including stacking of serviceable material and disposing unserviceable material within a lead of 1 km including removing and disposing top organic soil not exceeding 150 mm by manual / mechanical means. | 1250.00 | SqM |  | 30.00 | 37500.00 | 100.00 | 125000.00 | 37500.00 | Technical Construction Co.
3.00 | Earth work in excavation in all types of soils, mixture of gravel and soft soil/disintegrated rock other than hard up to a depth of 3.5 meter from existing ground level and all as per specification for foundations, trenches, inspection chambers, sewer lines buried pipe lines, area grading, for walkways, foundations of wall & post, pits etc. including removal of roots, stones, stone chips, concrete debris, etc. with help of machinery or manually. The cost of work includes labour, tools and tackles, machinery and equipment’s, disposal of surplus soil / good soil in garden premises / debris up to a lead of 1.5 Km as directed by the engineer. | 4000.00 | CuM |  | 500.00 | 2000000.00 | 180.00 | 720000.00 | 720000.00 | CIVILIS INFRA
4.00 | Earth work in excavation in Hard Rock without blasting but with chiseling for foundations, Plinth beams, trenches or drains, pipe lines, inspection Chambers etc. including shoring and strutting wherever required, bailing and pumping out of water, leveling the bottom of excavation, disposal and leveling of surplus material at places as directed within a lead of 1.5KM all as per specifications and directions of the Engineer in charge. Note: 1. Volume of Rock Excavated shall be measured and Paid after deducting 50 % for voids. | 100.00 | CuM |  | 800.00 | 80000.00 | 1500.00 | 150000.00 | 80000.00 | Technical Construction Co.
5.00 | Providing and laying of granular sub-base (GSB-II ) using close graded material conforming to specifications including mixing in a mechanical mix plant / manually, carriage of mixed material by tippers to work site for all leads & lifts, spreading in uniform layers of specified thickness as directed by Engineer with mechanical equipment / manually to be laid on prepared surface and compacting with hand roller / manually as per site conditions to achieve good compaction, complete as per specifications and directions of Engineer-in-Charge. Note:-Actual consolidated volume of GSB-II will measured and paid in CuM. | 650.00 | CuM |  | 3500.00 | 2275000.00 | 1100.00 | 715000.00 | 715000.00 | CIVILIS INFRA
6.00 | Supplying, transporting and lying of yellow soil / murram at site from approved source as instructed by engineer-in-charge for various civil activities like filling in foundation, plinth and levelling of low ground profile area. Item includes cost of excavation of soil, labour, tools and tackles, loading, transportation, unloading, taxes, laying, consolidation, watering etc. complete as directed by engineer. Note: 1) Net quantity of yellow soil / murram measured in stacks will be reduced by 20% for payment. 2) Thickness of layers for filling will be as directed by Engineer in charge. | 1000.00 | CuM |  | 600.00 | 600000.00 | 650.00 | 650000.00 | 600000.00 | Technical Construction Co.
7.00 | Filling selected material (soil/murram) obtained from excavation of foundations, trenches etc. in plinth upto lead of 200 m, layers of not more than 200 mm thick, each layer well rammed, watered and consolidated as per specifications and directions of Engineer. (Note:- Item include cost of transport, filling, consolidation and watering etc. complete.) | 3200.00 | CuM |  | 300.00 | 960000.00 | 180.00 | 576000.00 | 576000.00 | CIVILIS INFRA
8.00 | Supplying, Transporting and filling in plinth, foundation, under floors, below paver blocks etc. with screened river sand with all cost of leads and in layers not more than 150mm thick each layer well rammed, watering, consolidating, dressing etc. Item includes cost of materials, loading, transportation, and unloading, labour, spreading, watering, compaction by hand / power roller etc. complete as per specifications and as directed by engineer in charge. | 120.00 | CuM |  | 1850.00 | 222000.00 | 1800.00 | 216000.00 | 216000.00 | CIVILIS INFRA
9.00 | Supplying and applying anti-termite treatment with Chlorpyriphos 20% EC chemical of make “Classic 20” or “Radar 20” or any other I.S.I. Mark as approved by Engineer.
9.01 | Supplying Chlorpyriphos 20% EC chemical of make “Classic 20” or “Radar 20” or any other I.S.I. Marked make as approved by Engineer. Note:- 1) Actual quantity brought at site will be measured and paid. Contractor has to submit mandatorily challan/bill copy/ gate passes related to entry of material at site for payment purpose. | 700.00 | Ltr. |  | 650.00 | 455000.00 | 340.00 | 238000.00 | 238000.00 | CIVILIS INFRA
9.02 | Providing anti-termite treatment with 1% aqeous emulsion of Chlorpyriphos 20% EC for bottom and sides of foundation and trenches, top surface of filled up soil inside plinth, external perimeter of building, the junctions of walls and floors, open ground etc. using chemical emulsion at the rate of 1 litre per hole, 300 mm apart including drilling holes and plugging with cement mortar 1:2.as per the manufacturer’s specification at the location shown by engineer Note:- 1) To make the 1% aqueous emulsion, add 19 litres of water in one liter of chlorpyriphos 20% EC or as per manufacturer specifications. 2) Plinth area of the building will be considered for payment purpose. 3) The work shall be carried out by specialized agency. | 1200.00 | SqM |  | 150.00 | 180000.00 | 120.00 | 144000.00 | 144000.00 | CIVILIS INFRA
10.00 | CONCRETE WORK - Providing and laying damp proof course at plinth level with 25mm thick cement concrete 1:2:4 using 10mm size aggregate, painted on top with a coat of bitumen of grade 80 / 100 at the rate of 1.70 Kg. / Sqm. Item includes cost of labour, materials, consolidation, formwork, finishing, curing and required tools and tackels etc. all complete as per specification and as directed by engineer in charge. | 100.00 | SqM |  | 650.00 | 65000.00 | 450.00 | 45000.00 | 45000.00 | CIVILIS INFRA
11.00 | Providing and laying Plain cement concrete-PCC (in-situ) of grade M10 including formwork, scaffolding, mechanical mixing, machine batched including transporting, placing at all elevations, vibrating, consolidating, curing and finishing smooth all exposed faces for all in situ items at all levels & shapes as per drawings and specifications and as directed by Engineer. (The rate quoted shall be exclusive of reinforcement) NOTE: (i) Design Mix shall be obtained from NABL/Govt. approved Concrete Testing Laboratory. (The item included cost of development of Design Mix) Minimum cement content shall be as per IS: 456) | 350.00 | CuM |  | 6500.00 | 2275000.00 | 6000.00 | 2100000.00 | 2100000.00 | CIVILIS INFRA
12.00 | Developing, Providing and casting in situ RCC design mix, using max. size 20 mm graded aggregate of M-30 grade cement concrete including form work, scaffolding, mechanical mixing, machine batched including transporting, placing at all elevations, vibrating, consolidating, curing and finishing smooth all exposed faces for all in situ items at all levels & shapes as per drawings and specifications and as directed by Engineer. (The rate quoted shall be exclusive of reinforcement but inclusive of formwork) NOTE: (i) Design Mix shall be obtained from NABL/Govt approved Concrete Testing Laboratory. (The item included cost of development of Design Mix) Minimum cement content shall be as per IS: 456) | 1500.00 | CuM |  | 10500.00 | 15750000.00 | 9500.00 | 14250000.00 | 14250000.00 | CIVILIS INFRA
13.00 | Providing, straightening, necessary bending according to drawing, cutting, binding and fixing in position steel reinforcement TMT bars of Fe-500/Fe 500D/Fe 550D grade steel conforming to IS:1786 -2007 make of TATA / SAIL / VIZAG / JINDAL and tying with approved annealed binding wire of 1.6mm dia in all reinforced cement concrete work at all lifts, including cost of supplying and fixing the spacer/cover blocks (As per Drawing) in cement mortar 1:2 and binding wire complete all as per specification and as directed by Engineer-in-Charge at all lifts. Note: 1. The rate shall include the cost of reinforcement steel. The reinforcement steel shall be supplied with test certificate and approved by the department. 2. Chairs, spacers, supports and approved laps which are embedded in the concrete shall be measured and paid under this item. Reinforcement steel used for formwork and its supports shall not be paid. | 250.00 | MT |  | 108000.00 | 27000000.00 | 85000.00 | 21250000.00 | 21250000.00 | CIVILIS INFRA
14.00 | Masonary works - Providing and constructing brick masonry using well burnt table moulded bricks in cement mortar 1:6 including cost of scaffolding, curing, racking out joints at all levels (including below foundation up to plinth and super structure above plinth at all elevations), tools and tackles, materials, labours etc. Item includes cost of materials, loading, transportation, unloading, labour, erection and removal of steel scaffolding, tools and tackles etc. complete as per drawing, specifications and as directed by engineer in charge. | 250.00 | CuM |  | 7000.00 | 1750000.00 | 7000.00 | 1750000.00 | 1750000.00 | CIVILIS INFRA, Technical Construction Co.
15.00 | Providing and constructing 115 mm thick masonry in cement sand mortar (1:4) for all partition walls for all elevations using well burnt table moulded bricks by providing 2 nos. 6mm MS bar at every fourth layer including cost of materials, MS bars, mixing, scaffolding, raking out joints, curing etc. Item includes cost of materials, loading, transportation, unloading, labour, erection and removal of scaffolding, tools and tackles etc. complete as per drawing, specifications and directed by engineer in charge. | 60.00 | SqM |  | 1000.00 | 60000.00 | 900.00 | 54000.00 | 54000.00 | CIVILIS INFRA
16.00 | Plastering - Providing plain plaster 20mm thick, in two coats, over exterior masonry and concrete surfaces at all heights with base coat 12mm thick in cement mortar 1:4 & 8 mm thick finished coat in cement mortar 1:3, final rendering, double scaffolding wherever necessary, close hacking of concrete surfaces, scaffolding, curing, tools, labour etc. and addition of approved waterproofing compound @ 2% by weight of cement or as specified by manufacturer for base coat etc. including making 15 mm wide 8 mm deep groove at junctions of masonry with beams & columns and also providing drip course at various elevations to parapet, chajja/ canopy over window, door heads etc all complete as per drawing, specification or as directed by the Engineer. | 1200.00 | SqM |  | 500.00 | 600000.00 | 450.00 | 540000.00 | 540000.00 | CIVILIS INFRA
17.00 | Providing and laying 15 mm thick cement sand 1:4 (by volume) neat finish plaster to interior masonry/ concrete surfaces of walls, columns, etc. at all elevations including scaffolding, chipping of concrete surface, mixing, laying, finishing, curing, all materials, labour, tools etc. all complete as per drawing, specification or as directed by the Engineer. | 2000.00 | SqM |  | 475.00 | 950000.00 | 325.00 | 650000.00 | 650000.00 | CIVILIS INFRA
18.00 | Providing and laying minimum 20 mm thick 1:4 cement sand plaster with approved waterproofing compound @ 2% by weight of cement or as specified by manufacturer in foundation and plinth at all depths/ levels including mixing, laying, finishing, curing, materials, labour, tools etc. all complete as per drawing, specification or as directed by the Engineer. | 1000.00 | SqM |  | 520.00 | 520000.00 | 380.00 | 380000.00 | 380000.00 | CIVILIS INFRA
19.00 | Flooring - Providing and laying premium quality polished vitrified tiles (Including Skirting and Dedo when required) of size 600mm x 600mm of approved make and shade, conforming to IS: 15622 having minimum thickness of 9 mm in approved pattern over and including 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding, close jointed & pointed with matching pigmented white cement slurry and finished to levels / slope as required including cutting of tiles, curing, washing etc. complete with all materials, tools labour etc. all complete as per specifications and as directed by the Engineer. Note: The quoted rates shall include the provision for covering of floor tiles with PVC sheet over it to protect the tiles laid from painting stains and scratches during various finishing activities. | 600.00 | SqM |  | 1750.00 | 1050000.00 | 1350.00 | 810000.00 | 810000.00 | CIVILIS INFRA
20.00 | Providing and fixing antistatic vinyl flooring (Including Skirting and Dedo when required) 2mm thick, 3 layer products, with performance characteristics as per standard code form brand of KRISHNA / ROYAL / MARVEL or approved brand as per standard of specified shade, approved pattern and design for flooring / skirting on existing floor / plastered surfaces with suitable adhesive as per manufacturer’s specifications, closed jointed/ welding of joints and finished to proper line, level and plumb. Item includes cost of materials, cutting and wastages of antistatic flooring sheet, removing of existing of flooring, cleaning and removing previously applied adhesive , loading and unloading, transportation, tools and tackles, labours, etc. complete as per manufacturer’s specifications and as directed by engineer in charge. Notes: (1) Material should be having anti-static resistance of over 5 x 10^4 ohms and less than 10^8 ohms. (2) The rate quoted shall be for the clear visible area only. No extra payment will be made for laps, wastage etc. (3) The rolled form of PVC flooring / skirting required entire quantity shall be purchased and brought to site before commencing work. (4)Removal and disposal of existing flooring are in contrcators scope wherever required. | 500.00 | SqM |  | 1000.00 | 500000.00 | 3500.00 | 1750000.00 | 500000.00 | Technical Construction Co.
21.00 | Painting - Supplying and applying 02 ( two) coats of Acrylic Emulsion paint over a coat of compatible primer to give an even shade of approved brand and shade from Berger Paints Bison Super Emulsion/Asian Paints Tractor Emulsion / Nerolac Acrylic Emulsion / ICI Maxilite Acrylic Emulsion over on all internal surfaces of walls / ceilings in rooms of buildings at all heights. Item includes preparing the surface by removing complete loose paints from existing surfaces by scrappers /electrical driven angle grinder machines and rectifying those areas by applying primer and readymade acrylic putty compatible to paint as suggested by manufacture to make levelled surface before applying emulsion paint, filling the cracks and making good damaged & rough surfaces to smooth, minor repairs, sealing of cracks with readymade Acrylic crack free putty from paint manufacturer. Item includes cost of paints, brushes, acrylic putty, wire brushes, sand papers masking tapes / paper tapes (used in painting work for avoiding extra unwanted areas), labours, tools and tackles, providing and erection of steel scaffolding, safety accessories for personals, shifting & replacing (after completion of painting work) in position all types of office furnitures. Cleaning of doors, windows, ventilators, floors, equipments, pipe lines, structure etc. after completion of work. Work is to be carried out as directed by the Engineer in charge. | 3000.00 | SqM |  | 140.00 | 420000.00 | 150.00 | 450000.00 | 420000.00 | Technical Construction Co.
22.00 | Supplying and applying total 03 (three coats ) a coat of primer (compiatable to exterior paint supplied) and two coats of exterior emulsion paint from APEX ultima of Asian Paints / Weather coat all guard from BERGER / Excel total from Nerolac paint to the external surfaces consisting of rough cast / sand faced / plain plasterd surfaces of single storied / multi storied buildings located at KAPS-1&2 plantsite outside operating island at all heights. Item includes preparing the surface by removing of all loose paints, dirt and dusts, cleaning of surface, filling / sealing of cracks up to 3mm by crack seal / putty as specified by paint manufacturer, making good the damaged & rough surfaces smooth, minor repairs, other major cracks sealing with Birla white cement / JK white cement crack free putty, cement slurry / cement mortar, cleaning of doors, windows, ventilators, glasses etc. after completion of work. Item includes cost of brushes, wire brushes, sand papers, cleaning accessories, labour, tools and tackles, transportation, loading, unloading of materials at KAPS plant site, providing and erection of steel scaffolding of cup-lock system / H - frame, personnel safety of all workers with required PPE accessories etc., complete as directed by the Engineer in charge. | 1200.00 | SqM |  | 175.00 | 210000.00 | 250.00 | 300000.00 | 210000.00 | Technical Construction Co.
23.00 | STEEL WORK - Providing and fabricating of various types of steel structural members for Embedded parts,ladders, platforms, toe guards, columns etc. using M.S. angles, M.S. channels, ISMBs, Tees, Square / rectangle / round hollow pipes, Square bars, plates, flats etc., from manufacturers like TATA / SAIL / VIZAG / JINDAL including cutting, bending, welding and testing of welds as per NPCIL specifications PC-E-160, complete as per drawings, specifications and as directed by Engineer.
23.01 | Carbon steel Eps | 3.00 | MT |  | 170000.00 | 510000.00 | 95000.00 | 285000.00 | 285000.00 | CIVILIS INFRA
23.02 | Mild Steel Eps | 18.00 | MT |  | 160000.00 | 2880000.00 | 92000.00 | 1656000.00 | 1656000.00 | CIVILIS INFRA
24.00 | Installing and embedding in position pre-fabricated CS & MS embedded parts of all the material grades including welding and testing of welds if required, including painting of two coats of synthetic enamel over a coat of metal primer, all complete as per drawing, NPCIL specifications PC-E-160 and as directed by the Engineer. | 21.00 | MT |  | 30000.00 | 630000.00 | 25000.00 | 525000.00 | 525000.00 | CIVILIS INFRA
25.00 | Providing and fixing SS grade 304, stainless steel handrail brush finish 50mm dia 16 gauge thick With machine bended edges for snap fitting including stainless steel balusters and shoes, providing and fixing with hand rail support using SS flat of approved shape and size with necessary fixing arrangement all complete as per specifications and direction of Engineer in charge. Hand railing design & drawing shall be submitted by the contracting agency for approval of the Engineer in charge. | 2700.00 | Kg |  | 600.00 | 1620000.00 | 670.00 | 1809000.00 | 1620000.00 | Technical Construction Co.
26.00 | Construction of inspection chamber of size 900 x 600 mm clear dimension internally with 230 mm tk brick masonry using stock bricks in CM 1:5 including 12 mm thick inside (to be made smooth with floating coat of neat cement) and out side (Trowel finish) plastering in CM 1:3, including excavation in all type of soil, back filing, providing and laying bad concrete 150 mm thick and having 150 mm projection in all four sides in PCC 1:4:8, forming benching and channel in PCC 1:2:4 (in both PCC 20 mm size hard granite broken stone to be used), finishing smooth, curing, fixing CI / Concrete / GRP / FRP / Composite Manhole covers and steps etc. complete up to half meter depth. Note: 1. Good quality eco friendly bricks will be preferred. 2. CI / Concrete / GRP / FRP / Composite Manhole covers will be paid under relevant item. | 4.00 | Each |  | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 40000.00 | Technical Construction Co.
27.00 | Supplying and fixing 600 mm x 900 mm Rectangular HD (5T) air tight GRP / Composite man hole frame and cover of approved colour & design of EVERLAST / Endura. Note: Cover shall be fixed on Inspection chamber | 4.00 | Each |  | 6000.00 | 24000.00 | 18000.00 | 72000.00 | 24000.00 | Technical Construction Co.
28.00 | ALUMINIUM WORK - Providing and fixing in position at all floors heavy quality anodised aluminium sections for windows, sliding windows, doors, ventilators, partitions, aluminium grill of 3mm thick in 50mm X 50mm square etc. for various spans excluding glazing with standard extruded aluminium sections of Jindal / Jindal / Hindalco etc. with size as required for frames and shutters conforming to relevant IS specifications, with necessary accessories, such as rowel plugs, brass cadmium plated screws, mastic filling, weather strips, nuts, washers etc. The window / doors Aluminium section shall be smooth, rust free, straight, mitred and jointed mechanically wherever required. The sliding shutters with specified rollers and shutters with top / bottom hung shall be provided with required accessories if any for sliding in the tracks or special hinges for any hung position with locking arrangements, stoppers and handles if required as per site requirement, the cost of these items shall be included in the rate. The aluminium frame consisting of sliding tracks as per site requirement and frame is to be fixed with RCC / Masonry column with suitable sizes of screws with rawl plugs. (all fittings should be anodised) including all labours, materials, scaffolding, transport, tools and plants, joint filler compound for closing gaps between aluminium sections and existing surfaces of plaster etc. complete as directed by E.I.C. Payment will be made on the basis of weight of anodised aluminium frames / shutter members actually installed in position without any extra allowance for wastage, other non-aluminium accessories will not be considered for payment. Glazing will be measured and paid separately under relevant item. | 1350.00 | Kg |  | 675.00 | 911250.00 | 650.00 | 877500.00 | 877500.00 | CIVILIS INFRA
29.00 | Supply and fixing of heavy anodised Aluminium Louvers of 3mm thick with standard extruded aluminium sections of Jindal / Jindal / Hindalco etc. with size as required conforming to relevant IS specifications, with a flanged frame and continuous blade section with Louver blades at an internal angle of 45 degrees with Non-Insulated Blank Off Panels factory installed with removable screws and foam tape gaskets of 1 mm aluminum sheet with necessary accessories, to be fixed with RCC / Masonry column (all fittings should be anodised) including all labours, materials, scaffolding, transport, tools and plants, joint filler compound for closing gaps between aluminium sections and existing surfaces of plaster etc. complete as directed by E.I.C. Payment will be made on the basis of weight of anodised aluminium members actually installed in position without any extra allowance for wastage, other non-aluminium accessories will not be considered for payment. | 150.00 | Kg |  | 700.00 | 105000.00 | 670.00 | 100500.00 | 100500.00 | CIVILIS INFRA
30.00 | Other allied works - Providing, transporting and fixing of Linear false ceiling of CONWED/HYPERSIL make of 84R panels made of 0.4 mm Aluminium-TCT and powder coated suspended on inter locking metal carrier with suitably spaced joints to get required length and spacing in true horizontal level and flush cap to be inserted in the gap between two panels as specified by manufacturer including cutting, making opening for services like light fittings, fixtures, smoke detectors etc. and securely fixed to structural soffit with 2mm GI wires with approved level clips, roof plug, level adjuster and screws. Cost includes tools and tackles, labours, scaffolding etc. complete as pecified by manufacturer and as directed by engineer in charge. | 1000.00 | SqM |  | 2800.00 | 2800000.00 | 3200.00 | 3200000.00 | 2800000.00 | Technical Construction Co.
31.00 | Providing and laying Atactic Polypropylene Polymer (APP) modified 4mm thick water proofing membrane, black finished, reinforced with non-woven polyester matt of Bitumen Co. Ltd. / Suprema / Chemistic / General / Membranes / Tamka / Dr. Fixit / Asian paints / MAPEI. Apply a coat of compatible bitumen primer specified by manufacture for fixing APP sheets. Pasting of APP sheets is to be carried out by using Butane Torch including sealing all joints and preparing parent surface to the satisfaction of engineer before application of primer etc. After conducting leak tightness test and approved by EIC then applied 02 (two) coats of aluminium paint through from Berger paints/ Asian paints as directed by Engineer In Charge. Note: The quoted rate shall include maintaining effectiveness of water proofing system and roof insulation supplied for a period of 10 years from the date of acceptance of these systems by NPCIL and submission of bank guarantee of 10% of the amount of work executed under this item. | 1000.00 | SqM |  | 750.00 | 750000.00 | 1200.00 | 1200000.00 | 750000.00 | Technical Construction Co.
32.00 | Providing and laying 80mm thick High strength Interlocking paver blocks of VYARA TILES make in approved colour and finish and as per detailed specifications, Compressive Strength- 400 kg/cm2, conforming to requirements of Standard: IS code, with shot blasting coating, approved colour, design and pattern for footpath of required sizes / shape, made by vibro press method using steel mould, laid in required colour & pattern with line and level as decided by engineer in charge with average cement mortar bedding of 20 mm thick in 1:4 grade with cement slurry @ 2.2 kg / SqM. Finer sand is to be use for joint filling of paver blocks. Lying of paver blocks should be completed by proper cutting of blocks where required, compacting by suitable vibrating machine and cleaning of bedding and jointing sand. Cost including materials, loading & unloading, transportation, labour, tools & tackles etc. complete all as per direction of Engineer-in-Charge. | 250.00 | SqM |  | 1050.00 | 262500.00 | 1200.00 | 300000.00 | 262500.00 | Technical Construction Co.
33.00 | Hiring of 10 H. P. Electrical Pump For Dewaterng, Item Includes pipes, Electrical Cable, Extension board, operator, tools and Tackles etc. Note: (1)Electric Supply will be provided by department free of cost. (2) Repairing and Maitenance of pump will under contractor scope. | 250.00 | Hour |  | 500.00 | 125000.00 | 225.00 | 56250.00 | 56250.00 | CIVILIS INFRA
34.00 | Providing and fixing new fly /mosquito proof stainless steel wire mesh in existing or new doors / windows / ventilators / openings etc. made up of aluminium sections of SS-304 at all levels with average width of aperture 1.13 mm in both directions with wire of dia. 0.4572 mm and overall thickness of 0.9144mm, weight around 1.70 Kg/SqM in aluminium framed sections. NOTE - 1. Actual area of wire mesh provided in aluminium sections / wooded section / steel section will be measured and paid. 2. Contractor has to submit sample to EIC for approval before procurement. 3. Aluminium section / wooden section / steel section used for fixing wire mesh will be measured separately and paid under relevant item. | 50.00 | SqM |  | 1600.00 | 80000.00 | 1200.00 | 60000.00 | 60000.00 | CIVILIS INFRA
35.00 | Providing and fixing 30mm thick factory made PVC door shutter "SINTEX" / "KAKA PVC" make made of styles and rails of a PVC hollow section of size 80mm x 30mm or 100mm X 30mm and have standard wall thickness of minimum 1.0mm with inbuilt decorative moulding edging on one side to the existing door frames. The styles and rails mitred and jointed at the corners by means of plastic / G.I brackets of size and thickness as specified by manufacturer to provide better joinery with stainless steel screws. The lock rail (middle section) made up of PVC hollow section of desired size by manufacturer for holding shutter panels and has standard wall thickness specified by manufacturer and fixed to the shutter styles. The shutter frame should have filled with a PVC multi-chambered single panel and having overall thickness of 20mm and have specified wall thickness 0.8mm to 1mm. Cost includes towards labour, tools & tackles, fittings and fixtures, transportation, materials etc. complete as per manufacturers specifications and direction of Engineer-in-charge. Note- 1) One sample of door with all fittings and fixtures along with locking arrangement etc. complete as per schedule of quantities and specifications should be submitted for the approval of the Engineer-in-Charge for preliminary inspection before procurement on large scale for the approval of the Engineer-in-Charge. 2) After the preliminary inspection, the manufacturing of doors should be taken up only after rectification of defects etc. to the full satisfaction of the department and after obtaining formal approval. 3) List of fittings and fixtures (i) 02 Nos. Aluminium "D" handles of size 100 mm with screws (ii) 01 No. Aluminium aldrop 150mm long with all fittings and screws (iii) 01 No. Aluminium tower bolt 100 mm long with screws | 10.00 | SqM |  | 5000.00 | 50000.00 | 3900.00 | 39000.00 | 39000.00 | CIVILIS INFRA
36.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top and bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. For fixing require door fitting all complete as per direction of Engineer In Charge.(Door handles, Lock and Stopper etc. to be saperately)
36.01 | Double Leaf Glass Door | 30.00 | SqM |  | 7000.00 | 210000.00 | 12000.00 | 360000.00 | 210000.00 | Technical Construction Co.
36.02 | Single Leaf Glass Door | 15.00 | SqM |  | 6500.00 | 97500.00 | 8000.00 | 120000.00 | 97500.00 | Technical Construction Co.
37.00 | Supplying, transporting, assembling erecting / fixing complete set of 3 hours Fire rate door shutters with frames of different sizes with or without transom, single / double leaf galvanized MS pressed steel flush doors 60 mm thick using metal sheet of 1.5 mm thick and frame size shall be of 150 x 95 mm with metal sheet of 2 mm thickness at all elevations as per latest version of IS 3614, Part 2 satisfying all 3 criteria (Stability, Integrity and Insulation), with or without removable panels, using galvanised MS sheets for frames and leaves, reinforcing and insulating the shutters with fire retardant like mineral wool / PUF material, grouting the frame etc. as mentioned scope of work in Technical specification of this tender document. | 10.00 | SqM |  | 19500.00 | 195000.00 | 30000.00 | 300000.00 | 195000.00 | Technical Construction Co.
38.00 | Providing and fixing ISI marked 35mm thick flush door shutters conforming to IS: 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched with 3mm thick waterproof ply on both faces of shutters bonded with phenol formaldehyde synthetic resin including cost of materials, labours, transportation, all fixtures and fitting should be from Stainless steel like, 16mm Dia. Aldrop of 300mm long - 01(one) No., 150mm D handles 02(two) Nos., heavy duty Door closer 01 (one)no., 150mm long stopper 01(one) No., 200mm long Stopper, 01(one) No. floor stopper with rubber, 04(four) Nos.150 mm long hinges with SS screw of required sizes to hold the door firmly with frame and with/without vision panel of size 200x300mmas per drawing, specifications and directed by engineer in charge. Note: 1.Flush door shall be of Century ply / Gujcon / Anchor/ Green ply / Supreme industries and have Borer and Boiling water proof confirming to IS: 2202 Part: I. | 30.00 | SqM |  | 4500.00 | 135000.00 | 4000.00 | 120000.00 | 120000.00 | CIVILIS INFRA
39.00 | Providing and fixing in position special selected quality clear sheet glass of 5mm ( +/- 0.2mm ) thickness of Saint Gobain / Modi make , fixed to window frames, partitions and doors at all levels fixed with two way PVC lining / rubber gasketing to ensure water and air tightness and EPDM Gasket cushier accommodated in grooves etc. all complete as directed by the Engineer-in-charge. | 380.00 | SqM |  | 1200.00 | 456000.00 | 1400.00 | 532000.00 | 456000.00 | Technical Construction Co.
40.00 | Providing and laying one side polished, 18 mm (+/-2) mm thick natural Granite stone slabs of approved pattern from Jet Black, Cherry Red, Elite Brown, Cat Eye or other approved suit to site condition for flooring / dado / skirting in linear as well as curvilinear portions of the building fixed with araldite / Bondtite or other equivalent adhesive including levelling with bedding of 20mm thick cement mortar 1:4, rubbing, polishing etc. completes as per specifications and approved by engineer. | 140.00 | SqM |  | 4500.00 | 630000.00 | 4200.00 | 588000.00 | 588000.00 | CIVILIS INFRA
41.00 | Sanitary & Plumbing:Providing and fixing in position approved white glazed vitreous Orissa pan water closet of size 580mm X 440mm with a tolerance limit of +/-50 mm in length side and +/- 25mm in width side of Parryware / CERA / Hind Ware / Jaquar / kajaria / varmora / simpolo including white glazed vitreous china ware “P” or “S” trap of same brand, joining the pipe with soil pipe in C.M. 1:1 making hole in masonry, reconstructing the same, encasing the pan and trap in brick jelly C:C 1:2:4, breaking of tiles and back filling extra space with river sand and fixing the tiles over cement sand mortar etc. complete all as per specifications and as approved by engineer. Note: Tiles fixing will be paid in relevant items. | 2.00 | EACH |  | 2000.00 | 4000.00 | 4500.00 | 9000.00 | 4000.00 | Technical Construction Co.
42.00 | Providing & fixing white glazed vitreous Flat back china urinal pan of size around 375mm x 390mm x 590mm (with a tolerance of +/- 25mm in all sides) from Parryware / CERA / Hind Ware / Jaquar / kajaria / varmora / simpolo or approved brand including all accesories like inlet connection,waste coupling etc, and fixing with S.S. coach screws/brackets and finishing with white cement. | 8.00 | EACH |  | 8000.00 | 64000.00 | 7100.00 | 56800.00 | 56800.00 | CIVILIS INFRA
43.00 | Providing and fixing in position approved 1st class quality vitreous low level standard size European type water closet (universal / concealed) from Parryware / CERA / Hind Ware / Jaquar / kajaria / varmora / simpolo or approved brand wash down type pan with "S" / "P" trap confirming to relevant IS and all jointing materials including encasing the pan and trap with cement mortar 1:2, making good the floor/surface including supplying and fixing White solid plastic seat of similar make with CP pillar hinges and rubber buffers, flush pipe of 40 mm dia. with closet by means of white porcelain enamelled flush bend using rubber adapter joints etc. complete all as per specifications and as per direction of Engineer. | 3.00 | EACH |  | 8000.00 | 24000.00 | 8500.00 | 25500.00 | 24000.00 | Technical Construction Co.
44.00 | Providing, transporting, fixing and commissioning in position best vitreous wall hung china wash basin of sizes 550 mm X 450 mm with a tolerance limit of +/-50 mm in length side/ width side of Parryware / CERA / Hind Ware / Jaquar / kajaria / varmora / simpolo make confirming to relevant IS including with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern from Jaquar / parryware / Hindware / Cera, including painting of fittings and brackets, cutting and making good the walls wherever require, removal of broken hand wash basin and disposing the same etc. complete all as per specifications and as directed by Engineer. | 4.00 | EACH |  | 6500.00 | 26000.00 | 5500.00 | 22000.00 | 22000.00 | CIVILIS INFRA
45.00 | Providing and fixing in position 5mm thick mirror glass of required size from manufacturers like Saint Gobain / Modi / TATA with bevelling all four sides / without bevelled edges factory silvered with soft board backing of 4mm thick including cost of necessary CP Brass button brackets, rawl plugs, screws, labour etc. in required sizes complete as approved and directed by Engineer. | 1.50 | SqM |  | 1600.00 | 2400.00 | 3200.00 | 4800.00 | 2400.00 | Technical Construction Co.
46.00 | Providing and fixing of 600 mm long towel rail from Jaquer / CERA / Hind ware / Paryware with pair of wall flanges fixed to wall with CP brass screws screwed on to wooden plugs embedded in wall etc. complete all as approved and directed. | 4.00 | EACH |  | 1100.00 | 4400.00 | 1050.00 | 4200.00 | 4200.00 | CIVILIS INFRA
47.00 | Providing and fixing plastic transparent wall mount soap dispenser push button type of 500 ml capacity of high quality plastic material with all accessories including fixing, necessary tools and tackles etc. complete. | 4.00 | EACH |  | 400.00 | 1600.00 | 500.00 | 2000.00 | 1600.00 | Technical Construction Co.
48.00 | Providing and fixing Toilet paper roll holder from Jaquar / Hind ware / CERA/ essco high quality for toilets with necessary plugs, CP screws etc. | 3.00 | EACH |  | 1200.00 | 3600.00 | 1200.00 | 3600.00 | 3600.00 | CIVILIS INFRA, Technical Construction Co.
49.00 | Providing and fixing in position both side polished Granite Stone exterior edge moulded urinal partition slab of 18 mm thick +/- 2mm in tolerance 750 mm x 630 mm size with rounded exposed corners suit to existing one in colour/shade /shape including cutting brick masonry walls embedding the slab 75 mm inside brick masonry walls and rendering with 1:3 CM, including removing & depositing / disposal of existing partition, making the surface for fresh laying, etc. complete. | 7.00 | EACH |  | 2000.00 | 14000.00 | 3500.00 | 24500.00 | 14000.00 | Technical Construction Co.
50.00 | Supplying, fitting and fixing 100 mm diameter CI grating on vertical surface for the following rain water pipe complete as per drawings, specification and as directed by the Engineer. | 5.00 | EACH |  | 200.00 | 1000.00 | 1500.00 | 7500.00 | 1000.00 | Technical Construction Co.
51.00 | Providing & fixing CI Nahani trap of self cleaning design with 75mm NB outlet having a minimum water seal of 30mm with SS grating on top including necessary 1:1.5:3 cement concrete for embedding the trap and making good the floor connecting trap to the waste pipe forming circular hole upto floor level and rendering smooth etc. complete conforming to IS: 3989. | 15.00 | EACH |  | 950.00 | 14250.00 | 450.00 | 6750.00 | 6750.00 | CIVILIS INFRA
52.00 | Providing and fixing 160 mm x 100 mm PVC made gully trap with C.I. grating (weight shall not less than 1Kg per piece) including excavation in all types of soils, back filling, embedding in P.C.C.1:3:6 using 20 mm size aggregates and constructing chamber as per site condition with 115 mm thick brick wall and carry out plasters on both faces of brickwork using Cement Mortar 1:4, 12 mm thick finished smooth with a floating coat of neat cement including providing and fixing FRP made 300 mm x 300 mm size frame with cover have bearing capacity of 2.5T etc. complete all as directed by the EIC. NOTE:- i) Excavation, PCC 1:3:6, 115mm thick brickwork, 12mm thick plaster of CM 1:4 will be paid separately under relevant items of SOQR | 6.00 | EACH |  | 4500.00 | 27000.00 | 2500.00 | 15000.00 | 15000.00 | CIVILIS INFRA
53.00 | Providing & fixing following Diameters CPVC pipes heavy duty ( Pro -CTS copper tube pipes) from ASTRAL / PRINCE / DUTRON / FINOLEX / Reliance / Supreme / Ashirwad / Star / Self shine / BIRLA or approved brand confirming to relevant IS including cost of materials, adhesive solution of approved brand such as PIDILITE etc., all fittings like bend, elbow, coupling etc. complete. Item includes all material, tools, tackles, transportation, bends, Tees, reducer, fittings and labour etc. complete.
53.01 | 40 mm dia | 150.00 | RM |  | 900.00 | 135000.00 | 500.00 | 75000.00 | 75000.00 | CIVILIS INFRA
53.02 | 25 mm dia | 200.00 | RM |  | 450.00 | 90000.00 | 400.00 | 80000.00 | 80000.00 | CIVILIS INFRA
53.03 | 15 mm dia | 200.00 | RM |  | 200.00 | 40000.00 | 300.00 | 60000.00 | 40000.00 | Technical Construction Co.
54.00 | Providing and fixing stainless steel plain glossy finish kitchen sink of size 610 x 510 mm with inbuilt waste coupling having bowl depth of 200mm minimum whereas size of bowl will be given by engineer in charge as per site condition with a pair of CI brackets of sink, waste coupling compatible size from PRAYAG, NIRALI make and as per relevant IS. Cost includes material, transportation, cutting holes in walls and making good the same after fixing, etc. complete as directed by Engineer. | 1.00 | Each |  | 7000.00 | 7000.00 | 6000.00 | 6000.00 | 6000.00 | CIVILIS INFRA
55.00 | Providing & fixing heavy quality 15 mm dia heavy CP brass screw down Stop cock (latest model) easy clean variety on GI lines conforming to IS: 781. | 10.00 | EACH |  | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 10000.00 | CIVILIS INFRA, Technical Construction Co.
56.00 | Providing & fixing premium quality 15 mm dia heavy CP brass screw down Bib cock (latest model) easy clean variety on GI lines conforming to IS: 781. | 6.00 | EACH |  | 1000.00 | 6000.00 | 1300.00 | 7800.00 | 6000.00 | Technical Construction Co.
57.00 | Providing & fixing heavy quality 15 mm dia heavy CP brass screw down Pillar Cock (latest model) easy clean variety on GI lines conforming to IS: 781. | 8.00 | EACH |  | 2000.00 | 16000.00 | 1700.00 | 13600.00 | 13600.00 | CIVILIS INFRA
58.00 | Providing & fixing pvc inlet connection for flush pipe connecting with water closet | 15.00 | EACH |  | 120.00 | 1800.00 | 200.00 | 3000.00 | 1800.00 | Technical Construction Co.
59.00 | Providing and fixing Rigid PVC SWR pasting type (Type-A) pipes of Nominal Diameter 200 mm OD of brand Sumolex / Balaji / Jain / Supreme / Prince pipes with special such as elbow, bands, Tee etc. conforming to IS: 13952: 1992 to be fixed under/above ground with clamps, T.W. packing pieces, using approved adhesive and restoring the same to the original condition whereever required etc. complete as per specifications. (Pipe Rating -10 Kg/SqCm). | 500.00 | RM |  | 1500.00 | 750000.00 | 1700.00 | 850000.00 | 750000.00 | Technical Construction Co.
60.00 | Providing and fixing Rigid PVC SWR pasting type (Type-A) pipes of Nominal Diameter 110 mm OD of brand Sumolex / Balaji / Jain / Supreme / Prince pipes with special such as elbow, bands, Tee etc. conforming to IS : 13952 : 1992 to be fixed on walls or in chases or through columns with clamps, T.W. packing pieces, using approved adhesive making hole in the slab or wall and restoring the same to the original condition whereever required etc. complete as per specifications. (Pipe Rating -6 Kg/SqCm). | 300.00 | RM |  | 500.00 | 150000.00 | 400.00 | 120000.00 | 120000.00 | CIVILIS INFRA
61.00 | Providing & fixing CP brass Urinal spreader with / without Hex of approved model suit to site of MARC / Essco / Jaquar / Parryware / Prayag / kajaria or other approved brand for hand washing area including Teflon tape, tools, tackles, labour etc. complete as directed by engineer. | 8.00 | EACH |  | 800.00 | 6400.00 | 1100.00 | 8800.00 | 6400.00 | Technical Construction Co.
62.00 | Providing and fitting Gun Metal gate valves of DRP or other approved brand of following diameter confirming to relevant IS and of approved brand including joining with pipes, making holes and chasing in walls, floor etc. where ever required and making good the same to the original condition, testing to the required 16 kg/sq.cm. hydraulic pressure.
62.01 | 15mm nominal bore | 8.00 | No |  | 700.00 | 5600.00 | 800.00 | 6400.00 | 5600.00 | Technical Construction Co.
62.02 | 25mm nominal bore | 6.00 | No |  | 1200.00 | 7200.00 | 1200.00 | 7200.00 | 7200.00 | CIVILIS INFRA, Technical Construction Co.
62.03 | 40mm nominal bore | 4.00 | No |  | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 6000.00 | CIVILIS INFRA
63.00 | FURNITURE ITEMS - Supplying and placing office chairs and tables listed below with required accessories including cost of transportation, labours, etc. complete and as per selection of Engineer in charge. The furniture items shall match the furniture already provided in Main Control Room of KAPS-1&2.
63.01 | High back chair with cushioned seat and back made of injection molded plastic upholstered with foam laminated fabric and moulded high resilience polyurethane foam of density 45 kg/m3 and hardness load of 16 kgf for 25% compression, PU moulded armrest with powder coated structure, seat depth adjustment, adjustable back support, pneumatic height adjustment,and Five nos. twin wheel castors injection moulded in plastic | 15.00 | Nos. |  | 20000.00 | 300000.00 | 18487.00 | 277305.00 | 277305.00 | CIVILIS INFRA
63.02 | High back chair with head rest , cushioned seat and back made of injection molded plastic upholstered with foam laminated fabric and moulded high resilience polyurethane foam of density 45 kg/m3 and hardness load of 16 kgf for 25% compression, PU moulded armrest with powder coated structure, seat depth adjustment, adjustable back support, pneumatic height adjustment,and Five nos. twin wheel castors injection moulded in plastic | 5.00 | Nos. |  | 18000.00 | 90000.00 | 12807.00 | 64035.00 | 64035.00 | CIVILIS INFRA
63.03 | CH7 Cane Chair Mid Back Visitor Chair Grey Powder Coated with Hand Rest and Tubular frame of cantilever type and made of 2.54 cm dia and 0.2 cm thickness MS ERW tube | 10.00 | Nos. |  | 6500.00 | 65000.00 | 12518.00 | 125180.00 | 65000.00 | Technical Construction Co.
63.04 | Mid Back Visitor Chair with Powder coated Tubular frame of cantilever type and made of 2.54 cm dia and 0.2 cm thickness MS ERW tube with cushioned seat and back made with foam laminated fabric and moulded high resilience polyurethane foam of density 45 kg/m3 and hardness load of 16 kgf for 25% compression, PU moulded armrest with powder coated structure. The back is connected to frame through powder coated high pressure die cast connector piece. | 15.00 | Nos. |  | 8000.00 | 120000.00 | 12518.00 | 187770.00 | 120000.00 | Technical Construction Co.
63.05 | Standard T-9 Table of size 1370x740x690 mm with Particle Board Table top and Mild Steel Frame structure. | 6.00 | Nos. |  | 18000.00 | 108000.00 | 29668.00 | 178008.00 | 108000.00 | Technical Construction Co.
63.06 | Executive Office Desk with Side Table. Size of both Main Desk and Side Table is 1800x900x750 mm. | 4.00 | Nos. |  | 30000.00 | 120000.00 | 105536.00 | 422144.00 | 120000.00 | Technical Construction Co.
63.07 | Computer Table with Document and CPU Rack Size: 1200x600x750 mm | 10.00 | Nos. |  | 8000.00 | 80000.00 | 17438.00 | 174380.00 | 80000.00 | Technical Construction Co.
63.08 | C-Type Table consisting 3 rectangular tables andtwo Half Semicircular tables in between them. Size of main rectangular table is 1950x900mm and side rectangular tables is 1800x600 mm with the half semi-circular in between. Detailed drawings are in Section V. | 1.00 | Nos. |  | 40000.00 | 40000.00 | 199289.00 | 199289.00 | 40000.00 | Technical Construction Co.
63.09 | Conference Table of Convex shape with 3600 mm length, 790 mm width at each end and 1050 mm with in the centre. | 1.00 | Nos. |  | 50000.00 | 50000.00 | 264589.00 | 264589.00 | 50000.00 | Technical Construction Co.
64.00 | PART-B MECHANICAL - Supply, Erection and commissioning of Duct, Support, Grill and Dampers at Simulator Building
64.01 | Supply and Erection of Duct system | 400.00 | SqM |  | 4000.00 | 1600000.00 | 3800.00 | 1520000.00 | 1520000.00 | CIVILIS INFRA
64.02 | Supply and Erection of Duct support | 200.00 | Kg. |  | 350.00 | 70000.00 | 310.00 | 62000.00 | 62000.00 | CIVILIS INFRA
64.03 | Supply and Erection of Grill / Diffuser | 70.00 | Nos. |  | 1800.00 | 126000.00 | 4500.00 | 315000.00 | 126000.00 | Technical Construction Co.
64.04 | Supply and Erection of Dampers | 25.00 | Nos. |  | 6000.00 | 150000.00 | 11000.00 | 275000.00 | 150000.00 | Technical Construction Co.
65.00 | PART-C INSTRUMENTATION - Installation of communication and Control system at Simulator building
65.01 | Excavation of cable trench of size 400mm wide and 800mm deep and back filling after laying of cable and installation of sand & brick. | 250.00 | Meter |  | 350.00 | 87500.00 | 305.00 | 76250.00 | 76250.00 | CIVILIS INFRA
65.02 | Excavation of asphalt road and refilling after installation of cable or EP in it.(Including supply of 3" GI pipe) | 20.00 | Meter |  | 1200.00 | 24000.00 | 730.00 | 14600.00 | 14600.00 | CIVILIS INFRA
65.03 | Supply and installation of the CAT cable for telephone connections | 1000.00 | Meters |  | 180.00 | 180000.00 | 70.00 | 70000.00 | 70000.00 | CIVILIS INFRA
65.04 | Supply and installation of the 1 Pair 16 AWG Cable / Speaker cable | 800.00 | Meters |  | 60.00 | 48000.00 | 85.00 | 68000.00 | 48000.00 | Technical Construction Co.
65.05 | Supply and installation of network CCTV Camera | 5.00 | Nos |  | 16000.00 | 80000.00 | 125000.00 | 625000.00 | 80000.00 | Technical Construction Co.
65.06 | Supply and installation of LAN POE switch | 1.00 | Nos |  | 125000.00 | 125000.00 | 25000.00 | 25000.00 | 25000.00 | CIVILIS INFRA
65.07 | Supply and installation of 19 inch rack | 2.00 | Nos |  | 18000.00 | 36000.00 | 5200.00 | 10400.00 | 10400.00 | CIVILIS INFRA
65.08 | Drawl, handling shifting of cable from central store to workplace and laying of cable in trench / pipe up to 10-400 pairs telephone cable and up to 75mm OD (amour / unarmored) | 300.00 | Meter |  | 450.00 | 135000.00 | 90.00 | 27000.00 | 27000.00 | CIVILIS INFRA
65.09 | Supply and installation of 25 mm GI Conduit | 1000.00 | Meter |  | 160.00 | 160000.00 | 365.00 | 365000.00 | 160000.00 | Technical Construction Co.
65.10 | Supply and installation of Rj-11/ RJ-45 inlet outlet box | 30.00 | Nos |  | 280.00 | 8400.00 | 400.00 | 12000.00 | 8400.00 | Technical Construction Co.
65.11 | Supply and installation of weather proof telephone Junction box | 2.00 | Nos. |  | 1800.00 | 3600.00 | 4350.00 | 8700.00 | 3600.00 | Technical Construction Co.
65.12 | Supply and installation of the NAS | 1.00 | Meter |  | 160000.00 | 160000.00 | 175000.00 | 175000.00 | 160000.00 | Technical Construction Co.
65.13 | Supply and installation of the Work station | 1.00 | Nos |  | 65000.00 | 65000.00 | 115000.00 | 115000.00 | 65000.00 | Technical Construction Co.
65.14 | Supply and installation of the PA system Amplifier | 1.00 | Nos. |  | 40000.00 | 40000.00 | 21000.00 | 21000.00 | 21000.00 | CIVILIS INFRA
66.00 | PART-D - IT WORK
66.01 | Supply and laying of HDPE pipe of Dia. 32mm NB (nominal bore) from reputed brand enclosed specification | 150.00 | Meters |  | 100.00 | 15000.00 | 95.00 | 14250.00 | 14250.00 | CIVILIS INFRA
66.02 | Supply/manufatured and installation of cable route marker (dimesion of mention in annexure) in extracted block of size 200mmx200mmx450mm depth and raise upto 150mm with PCC as per attached drawing in annexure | 5.00 | Nos |  | 850.00 | 4250.00 | 600.00 | 3000.00 | 3000.00 | CIVILIS INFRA
66.03 | Supply and installatoin of single mode 24 core Armoured OFC cable. | 250.00 | Meters |  | 140.00 | 35000.00 | 160.00 | 40000.00 | 35000.00 | Technical Construction Co.
66.04 | Supply and Installation of Cat-6 UTP cable including all required installation asccessories | 1200.00 | Meters |  | 160.00 | 192000.00 | 70.00 | 84000.00 | 84000.00 | CIVILIS INFRA
66.05 | Supply and installation of 1-Inch casing caping including all required installation asccessories | 700.00 | Meters |  | 100.00 | 70000.00 | 70.00 | 49000.00 | 49000.00 | CIVILIS INFRA
66.06 | Supply and installation of 1U size fully loaded 24 Port LIU including all required installation asccessories | 4.00 | Nos |  | 9500.00 | 38000.00 | 6500.00 | 26000.00 | 26000.00 | CIVILIS INFRA
66.07 | Splicing of one core of fiber cable | 96.00 | Nos |  | 1700.00 | 163200.00 | 40.00 | 3840.00 | 3840.00 | CIVILIS INFRA
66.08 | Supply and installation of 12 U Racks including all required installation asccessories | 2.00 | Nos |  | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 18000.00 | CIVILIS INFRA
66.09 | Supply and installation of D-Link Layer 2 DGS-1510-28X Gigabit Ethernet Smart Pro, 24 port managed network switch having 24 RJ-45 10/100/1000 base T ports with 4 fixed SFP (1G/10G) ports. Switch loaded with 02 nos SFP module (DEM-310GT) 1Gbps Single Mode. Switch should support RFC-3576 and RFC-3580, SNMP V3 including all required installation asccessories | 4.00 | Nos |  | 40000.00 | 160000.00 | 32000.00 | 128000.00 | 128000.00 | CIVILIS INFRA
66.10 | Supply of UTP Patch panel including all required installation asccessories | 2.00 | Nos |  | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 9000.00 | CIVILIS INFRA
66.11 | Supply of UTP Patch Cords | 100.00 | Nos |  | 320.00 | 32000.00 | 180.00 | 18000.00 | 18000.00 | CIVILIS INFRA
66.12 | Supply of optical Patch Cords (LC-SC/SC-SC) | 20.00 | Nos |  | 1600.00 | 32000.00 | 1300.00 | 26000.00 | 26000.00 | CIVILIS INFRA
66.13 | Supply and installation I/O including back plate and box and other required installation kit | 40.00 | Nos |  | 500.00 | 20000.00 | 360.00 | 14400.00 | 14400.00 | CIVILIS INFRA
67.00 | ELECTRICAL - PART-1, Supply of main Items for Electrical - AC DISTRIBUTION BOARDS/ PANELS Design, Engineering, Procurement, Manufacture, Quality assurance, routine and acceptance tests, packing & forwarding, transportation and safe delivery to site of following type tested AC Distribution boards/ Panels including all accessories, conforming to requirement of tender specification no. PP-E-00552 and tender drawings
67.01 | Main Distribution Boards (MDB) - 415 V, AC indoor metal clad, air insulated floor mounted type AC distribution board with 415 V, 250 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One 250A switch fuse unit in incomer feeder, and 4 Nos. of outgoing feeders with 100A TPN MCCB (with S/C, O/L & E/F) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 137000.00 | 137000.00 | 129700.00 | 129700.00 | 129700.00 | CIVILIS INFRA
67.02 | Main Distribution Boards (MDB) - 415 V, AC indoor metal clad, air insulated floor mounted type AC distribution board with 415 V, 250 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One 250A switch fuse unit (SFU) in incomer feeder, 2 No. of outgoing feeder with 63A SFU, 1 No. of outgoing feeder with 32A SFU and 3 Nos. of outgoing feeders with 100A TPN MCCB (with S/C, O/L & E/F) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 145000.00 | 145000.00 | 115000.00 | 115000.00 | 115000.00 | CIVILIS INFRA
67.03 | Sub Distribution Board (SDB) - 415 V, AC indoor metal clad, air insulated wall mounted type AC distribution board with 415 V, 100 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One 100A 415V TPN MCCB (with S/C, O/L & E/F) in incomer feeder, 6No. outgoing feeder of 100A, 240V, double Pole MCCB (with S/C, O/L & E/F) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 40000.00 | 40000.00 | 115900.00 | 115900.00 | 40000.00 | Technical Construction Co.
67.04 | Local Distribution Boards (LDB) - 240 V, AC indoor metal clad, air insulated wall mounted type AC distribution board with 240 V, 100 A, single phase & neutral, 2 wire bus, 10 kA symmetrical fault current. One 100A 240V double pole MCCB (with S/C, O/L & E/F) in incomer feeder, 24 no. of outgoing feeders of 6A/10A/16A, 240V, 2 Pole MCB with/without ELCB feature (Refer drawing no. KAPS-1&2/52420/2001/ED for exact quantity of MCB and ELCB O/G feeders) | 3.00 | Nos |  | 25000.00 | 75000.00 | 95600.00 | 286800.00 | 75000.00 | Technical Construction Co.
67.05 | Lighting Boards (LB) - 415 V, AC indoor type lighting panel with 415 V, 63 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One nos. of 63A, 415 V, TPN disconnecting switch as incomer, 24 Nos. of 16/32 A 240V 2 pole MCBs with/without ELCB (9 kA) as outgoing feeders for lighting/receptacles. Outgoing lighting circuit will be controlled through contactor contact. 6 nos. of 16A rating, AC-1 duty, contactor with operating coil voltage of 24V DC and 2NO+2NC auxiliary contacts shall be provided in LB. Required control scheme shall be preapared and submitted for Purchaser's approval. (LB-1) (Refer drawing no. KAPS-1&2/52420/2001/ED for eaxct quantity of MCB and ELCB O/G feeders) | 1.00 | Nos |  | 58000.00 | 58000.00 | 135890.00 | 135890.00 | 58000.00 | Technical Construction Co.
67.06 | Lighting Boards (LB) - 415 V, AC indoor type lighting panel with 415 V, 63 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One nos. of 63A, 415 V, TPN disconnecting switch as incomer, 9 Nos. of 16 A 240V 2 pole MCBs with/without ELCB (9 kA) as outgoing feeders for lighting/receptacles. Outgoing lighting circuit will be controlled through contactor contact. 6 nos. of 16A rating, AC-1 duty, contactor with operating coil voltage of 24V DC and 2NO+2NC auxiliary contacts shall be provided in LB. Required control scheme shall be preapared and submitted for Purchaser's approval. (LB-2) (Refer drawing no. KAPS-1&2/52420/2001/ED for eaxct quantity of MCB and ELCB O/G feeders) | 1.00 | Nos |  | 58000.00 | 58000.00 | 152500.00 | 152500.00 | 58000.00 | Technical Construction Co.
67.07 | Ventilation Distribution Boards (VDB) - The panel shall be indoor, metal clad, air insulated, wall mounted type. The bus of 415V, 63A, 3 phase, 4 wire, 10 kA symmetrical fault current shall be provided. Each board shall be provided with 63A TPN switch for incomer and 05 Nos.outgoing feeders (Q-type) having approximately 1.4 A, 415 V, 3 pole, MPCB and 18A contactor (9 kA) along with fan control scheme typically as per drawing No. GHAVP-1,2/52500/2001/ED. Auxiliary relays shall be provided for multiplication of fire contact for indicating lamp on VDB and for use in contactor control circuit. Complete control circuit arrangement shall be provided in the VDB itself. Scheme drawing for this type of VDB shall be prepared by the Contractor and submitted for Purchaser's approval. (Exact MPCB rating will be provided during detail engineering). Additionally 09 nos. of outgoing feeders having 16A, 415V, 3 pole, MCB (9kA) with ELCB feature shall be provided (VDB) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 35000.00 | 35000.00 | 210000.00 | 210000.00 | 35000.00 | Technical Construction Co.
68.00 | UPS and Battery bank - Design, Engineering, Procurement, Manufacture, Quality assurance, routine and acceptance tests, packing & forwarding, transportation and safe delivery to site of following type tested 45 kVA UPS and minimum 240 Ah Battery Bank including all accessories, conforming to requirement of tender specification nos PP-E-00552 and tender drawings
68.01 | 45 kVA, 0-52420-UPS-1 | 1.00 | Nos. |  | 40000.00 | 40000.00 | 710600.00 | 710600.00 | 40000.00 | Technical Construction Co.
68.02 | Lead acid Battery of minimum C10 rating 240 Ah VRLA type along with steel cabinet, inter-cell, inter-cabinet, end take off connections etc.. (Battery bank voltge to meet UPS DC link volatge) | 1.00 | Bank |  | 80000.00 | 80000.00 | 745000.00 | 745000.00 | 80000.00 | Technical Construction Co.
69.00 | 415V POWER CABLES - Design, Engineering, Procurement, Manufacture, Quality assurance, routine and acceptance tests, fabrication, documentation, inspection, testing at works, packaging/ forwarding, supply, safe delivery at site of following Type tested 415V power cables as per tender specification PP-E-00552
69.01 | 3.5 core x 240 sq. mm (1100V grade, Aluminium conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 550.00 | Mtrs |  | 2000.00 | 1100000.00 | 1900.00 | 1045000.00 | 1045000.00 | CIVILIS INFRA
69.02 | 3.5 core x 120 sq. mm (1100V grade, Aluminium conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 200.00 | Mtrs |  | 1300.00 | 260000.00 | 915.00 | 183000.00 | 183000.00 | CIVILIS INFRA
69.03 | 2 Core x 2.5 sq. mm (1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 2040.00 | Mtrs |  | 260.00 | 530400.00 | 145.00 | 295800.00 | 295800.00 | CIVILIS INFRA
69.04 | 3 Core x 2.5 sq. mm ((1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 100.00 | Mtrs |  | 280.00 | 28000.00 | 185.00 | 18500.00 | 18500.00 | CIVILIS INFRA
69.05 | 4 Core x 16 sq. mm (1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 200.00 | Mtrs |  | 1350.00 | 270000.00 | 1120.00 | 224000.00 | 224000.00 | CIVILIS INFRA
70.00 | ELECTRICAL CONTROL CABLES - Design, Engineering, Procurement, Manufacture, Quality assurance, routine and acceptance tests, packing & forwarding, transportation and safe delivery to site of following type tested Electrical Control Cables conforming to requirement of tender specifications PP-E-00552
70.01 | 2 Core x 2.5 Sq. mm (Stranded conductor), 1100V grade, copper, PVC insulated, Armoured, overall screened, FRLS PVC sheathed cable. | 150.00 | Mtrs |  | 180.00 | 27000.00 | 175.00 | 26250.00 | 26250.00 | CIVILIS INFRA
71.00 | LIGHTING FIXTURES - Design, Engineering, Procurement, Manufacture, Quality assurance, routine and acceptance tests, packing & forwarding, transportation and safe delivery to site of following Type tested Lighting Fixtures including all accessories & lamps, conforming to requirement of tender specifications PP-E-00552 and tender drawings
71.01 | Fixture type-A ( 18 Watt, LED Recessed Round Down lighter with presure Die cast Aluminium Housing with suitable Diffuser) | 22.00 | Nos |  | 1000.00 | 22000.00 | 1180.00 | 25960.00 | 22000.00 | Technical Construction Co.
71.02 | Fixture type-B (30Lumaninare with Extruded Aluminium powder coated finish, Polycarbonate diffuser suitable for srface and Suspension Mounting) | 18.00 | Nos |  | 1000.00 | 18000.00 | 2090.00 | 37620.00 | 18000.00 | Technical Construction Co.
71.03 | Fixture type-D (45 Watt LED Lumaninare with Extruded Aluminium housing, Splash proof / Corrosion proof Enclouser, powder coated finish and Polystyrene / Polycarbonate diffuser suitable arrngment for srface and Suspension Mounting) | 4.00 | Nos |  | 1500.00 | 6000.00 | 2540.00 | 10160.00 | 6000.00 | Technical Construction Co.
71.04 | Fixture type-E (30 Watt Recessed mounted Indoor Decorative LED Lumaninare with Aluminium / CRCA housing with powder coated finish and polystyrene / Polycarbonate diffuser suitable for Ceiling Mounting.) | 77.00 | Nos |  | 1500.00 | 115500.00 | 3090.00 | 237930.00 | 115500.00 | Technical Construction Co.
72.00 | FIRE BARRIERS AND FIRE BREAKS
72.01 | Design, manufacturing, testing, supply, packing & forwarding, transportation and safe delivery to site of 1 hour rated fire stops for cable penetrations and cable pipe sleeves in floors/walls as per specifications PP-E-00552. Thickness of the filling material shall be as per the fire rating requirement. | 1.00 | M2 |  | 9000.00 | 9000.00 | 10400.00 | 10400.00 | 9000.00 | Technical Construction Co.
72.02 | Design, manufacturing, testing, supply, packing & forwarding, transportation and safe delivery to site of fire retardant compound over cable to form fire break capable of preventing propagation of fire for 30 minutes as per specifications PP-E-00552. Thickness of the filling material shall be as per the fire rating requirement. | 10.00 | M2 |  | 9000.00 | 90000.00 | 7000.00 | 70000.00 | 70000.00 | CIVILIS INFRA
73.00 | SUPPLY OF MISCELLANEOUS ITEMS AND INSTALLATION WORKS - Design, Engineering, Procurement, Manufacture, Quality assurance, routine and acceptance testing, packing & forwarding, transportation and safe delivery to site of following type tested items required for 'Supply of Miscellaneous Items and Installation Works for KAPS-1&2 simulator' including all accessories, conforming to requirement of tender specifications PP-E-00410 and tender drawings
73.01 | Supply of supporting steel structures consisting of ISMCs, ISAs etc. for the following: | 150.00 | kg |  | 130.00 | 19500.00 | 160.00 | 24000.00 | 19500.00 | Technical Construction Co.
74.00 | Supply of following medium duty GI pipes/ flexible conduits with necessary clamps and hardware for fixing the conduits to the supports for routing cables from cable trays or Distribution Boards or Junction Boxes to various field equipment or between equipment or between cable trays.
74.01 | 65mm Dia | 10.00 | Mtrs |  | 1000.00 | 10000.00 | 380.00 | 3800.00 | 3800.00 | CIVILIS INFRA
74.02 | 40mm Dia | 10.00 | Mtrs |  | 700.00 | 7000.00 | 300.00 | 3000.00 | 3000.00 | CIVILIS INFRA
75.00 | Supply of cable glands for the following cables. Glands for 415 power cables (1100V grade):
75.01 | 3.5 core x 240 sq. mm (Aluminium conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables) | 4.00 | Nos. |  | 1750.00 | 7000.00 | 3240.00 | 12960.00 | 7000.00 | Technical Construction Co.
75.02 | 3.5 core x 120 sq. mm (Aluminium conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables) | 12.00 | Nos. |  | 1000.00 | 12000.00 | 1450.00 | 17400.00 | 12000.00 | Technical Construction Co.
75.03 | 2 Core x 2.5 sq. mm (Copper conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables) | 110.00 | Nos. |  | 180.00 | 19800.00 | 330.00 | 36300.00 | 19800.00 | Technical Construction Co.
75.04 | 3 Core x 2.5 sq. mm ((1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 8.00 | Nos. |  | 260.00 | 2080.00 | 350.00 | 2800.00 | 2080.00 | Technical Construction Co.
75.05 | 4 Core x 16 sq. mm (1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 6.00 | Nos. |  | 1400.00 | 8400.00 | 500.00 | 3000.00 | 3000.00 | CIVILIS INFRA
75.06 | 2 Core x 2.5 Sq. mm (Stranded conductor), (Electrical System Control cables Multi-core, 1100V grade, solid/ stranded copper conductor, PVC insulated, FRLS PVC as inner and outer sheath material, Armoured, overall screened cables) | 12.00 | Nos. |  | 200.00 | 2400.00 | 350.00 | 4200.00 | 2400.00 | Technical Construction Co.
76.00 | Supply of lugs for the following cables. - 415V power cables (1100V grade) - Class A and Class B copper and aluminium lugs shall be separately categorized and type tested as per the sampling plan given BS EN 61238-1 and meeting the requirements specified in this standard.
76.01 | 3.5 core x 240 sq. mm- Class B (Aluminium conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables) | 16.00 | Nos. |  | 1850.00 | 29600.00 | 2800.00 | 44800.00 | 29600.00 | Technical Construction Co.
76.02 | 3.5 core x 120 sq. mm- Class B (Aluminium conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables) | 48.00 | Nos. |  | 1150.00 | 55200.00 | 1200.00 | 57600.00 | 55200.00 | Technical Construction Co.
76.03 | 2 Core x 2.5 sq. mm - Class B (Copper conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables ) | 220.00 | Nos. |  | 180.00 | 39600.00 | 280.00 | 61600.00 | 39600.00 | Technical Construction Co.
76.04 | 3 Core x 2.5 sq. mm - Class B (Copper conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables ) | 24.00 | Nos. |  | 260.00 | 6240.00 | 300.00 | 7200.00 | 6240.00 | Technical Construction Co.
76.05 | 4 Core x 16 sq. mm - Class B (Copper conductor, XLPE insulated, FRLS PVC inner and outer sheathed, Armoured cables ) | 24.00 | Nos. |  | 1400.00 | 33600.00 | 400.00 | 9600.00 | 9600.00 | CIVILIS INFRA
77.00 | Electrical System Control cables - Multi-core, 1100V grade, solid/ stranded copper conductor, PVC insulated, FRLS PVC as inner and outer sheath material, Armoured, overall screened cables of following sizes.
77.01 | 2 Core x 2.5 Sq. mm (Stranded conductor) | 24.00 | Nos. |  | 200.00 | 4800.00 | 390.00 | 9360.00 | 4800.00 | Technical Construction Co.
78.00 | Lighting system – Supply of following sizes of GI conduit/ flexible conduits.
78.01 | Flexible metal 20mm dia GI conduit | 55.00 | Mtrs |  | 50.00 | 2750.00 | 800.00 | 44000.00 | 2750.00 | Technical Construction Co.
78.02 | ERW heavy duty rigid 25mm dia GI conduit | 1815.00 | Mtrs |  | 100.00 | 181500.00 | 365.00 | 662475.00 | 181500.00 | Technical Construction Co.
79.00 | Supply of following sizes of wires
79.01 | 1C x 2.5 Sq.mm 650V grade copper conductor PVC insulated wires | 2420.00 | Mtrs |  | 70.00 | 169400.00 | 35.00 | 84700.00 | 84700.00 | CIVILIS INFRA
79.02 | 1C x 4 Sq.mm 650V grade copper conductor PVC insulated wires | 1650.00 | Mtrs |  | 110.00 | 181500.00 | 45.00 | 74250.00 | 74250.00 | CIVILIS INFRA
80.00 | Supply of following sizes of SWG GI wires
80.01 | 14 SWG GI earthing wire for lighting (running along the condutis) | 1815.00 | Mtrs |  | 25.00 | 45375.00 | 28.00 | 50820.00 | 45375.00 | Technical Construction Co.
81.00 | Additional items required for lighting system
81.01 | 5A, Decorative type lighting control switch with box | 33.00 | Nos. |  | 220.00 | 7260.00 | 330.00 | 10890.00 | 7260.00 | Technical Construction Co.
82.00 | Receptacles
82.01 | 5A, 240V AC, 1-Phase, Three pin, Decorative type receptacle with MCB | 8.00 | Nos. |  | 550.00 | 4400.00 | 2690.00 | 21520.00 | 4400.00 | Technical Construction Co.
82.02 | 5/15A, 240V AC, 1-Phase, 3 pin, Decorative type receptacle with MCB | 57.00 | Nos. |  | 1350.00 | 76950.00 | 2990.00 | 170430.00 | 76950.00 | Technical Construction Co.
82.03 | 30A, 240V AC, 1-Phase, 3 pin, Industrial type receptacle with MCB | 5.00 | Nos. |  | 1350.00 | 6750.00 | 3200.00 | 16000.00 | 6750.00 | Technical Construction Co.
82.04 | 15A, 415V AC, 3-Phase, 3 pin, Decorative type receptacle with MCB | 3.00 | Nos. |  | 1350.00 | 4050.00 | 4500.00 | 13500.00 | 4050.00 | Technical Construction Co.
83.00 | Junction boxes and cables of following sizes for Lighting/ receptacle/ space heating system
83.01 | Junction Box (4 way) | 295.00 | Nos. |  | 95.00 | 28025.00 | 300.00 | 88500.00 | 28025.00 | Technical Construction Co.
83.02 | Supply of 3C x 2.5 Sq.mm copper conductor, XLPE insulated, armoured cable for 3Ph receptacles | 50.00 | Mtrs |  | 260.00 | 13000.00 | 155.00 | 7750.00 | 7750.00 | CIVILIS INFRA
84.00 | Earthing - Equipment Copper earthing leads of following sizes
84.01 | 65.09 sq mm | 200.00 | Mtrs |  | 2350.00 | 470000.00 | 540.00 | 108000.00 | 108000.00 | CIVILIS INFRA
84.02 | 16 sq mm | 20.00 | Mtrs |  | 380.00 | 7600.00 | 320.00 | 6400.00 | 6400.00 | CIVILIS INFRA
84.03 | 10 sq mm | 15.00 | Mtrs |  | 270.00 | 4050.00 | 150.00 | 2250.00 | 2250.00 | CIVILIS INFRA
84.04 | 4 sq mm | 20.00 | Mtrs |  | 100.00 | 2000.00 | 60.00 | 1200.00 | 1200.00 | CIVILIS INFRA
84.05 | 126.7 sq mm copper main earthing conductor | 600.00 | Mtrs |  | 2750.00 | 1650000.00 | 420.00 | 252000.00 | 252000.00 | CIVILIS INFRA
84.06 | Crimpable copper lug suitable for 16/10 sqmm stranded copper conductor and associated hardware | 20.00 | Nos. |  | 45.00 | 900.00 | 35.00 | 700.00 | 700.00 | CIVILIS INFRA
84.07 | Crimpable copper lug suitable for 4 sqmm stranded copper conductor and associated hardware | 20.00 | Nos. |  | 30.00 | 600.00 | 5.00 | 100.00 | 100.00 | CIVILIS INFRA
85.00 | Earthing Pads
85.01 | EWP | 36.00 | Nos. |  | 4650.00 | 167400.00 | 4500.00 | 162000.00 | 162000.00 | CIVILIS INFRA
85.02 | EFP | 45.00 | Nos. |  | 9500.00 | 427500.00 | 6000.00 | 270000.00 | 270000.00 | CIVILIS INFRA
85.03 | ECP | 13.00 | Nos. |  | 8150.00 | 105950.00 | 6000.00 | 78000.00 | 78000.00 | CIVILIS INFRA
86.00 | Class-A insulating mats as per IE rules/Indian standard (15652) in front and back of all 415V and 240V panels / boards along the complete length of panels / boards | 1.00 | Lot |  | 12000.00 | 12000.00 | 105000.00 | 105000.00 | 12000.00 | Technical Construction Co.
87.00 | PART-2, Electrical Erection, Testing & commissioning of main Item nos. from 67 to 72 of PART-1. AC DISTRIBUTION BOARDS/ PANELS - Installation, Testing and commissioning of AC Distribution boards/ Panels conforming to requirement of tender specification no. PP-E-00552 and tender drawings. 1. Installation, testing & commissioning (ITC) of Main Distribution Boards (MDB) / Panel. 2. Any civil /mechanical work required for erection is in scope of contractor. 3. All hardware required for panel installation is in scope of contractor. 4. Suitable arrangement for cable entry in the panel is in scope of contractor. 5. Lug & glands will be provide through separate item. 6. Earthing wire termination from panel to eathing pad. 7. All tools & tackle required for work execution is in scope of contractor. 8. Checkered plate shallbe provided to cover the un used portion of floor cut outs and spaces in the base frame to form a uniform flat surface.
87.01 | Main Distribution Boards (MDB) - Installation, Testing and commissioning of 415 V, AC indoor metal clad, air insulated floor mounted type AC distribution board with 415 V, 250 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One 250A switch fuse unit in incomer feeder, and 4 Nos. of outgoing feeders with 100A TPN MCCB (with S/C, O/L & E/F) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 60500.00 | 60500.00 | 14500.00 | 14500.00 | 14500.00 | CIVILIS INFRA
87.02 | Main Distribution Boards (MDB) - Installation, Testing and commissioning of 415 V, AC indoor metal clad, air insulated floor mounted type AC distribution board with 415 V, 250 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One 250A switch fuse unit (SFU) in incomer feeder, 2 No. of outgoing feeder with 63A SFU, 1 No. of outgoing feeder with 32A SFU and 3 Nos. of outgoing feeders with 100A TPN MCCB (with S/C, O/L & E/F) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 60500.00 | 60500.00 | 15000.00 | 15000.00 | 15000.00 | CIVILIS INFRA
87.03 | Sub Distribution Board (SDB) - Installation, Testing and commissioning of 415 V, AC indoor metal clad, air insulated wall mounted type AC distribution board with 415 V, 100 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One 100A 415V TPN MCCB (with S/C, O/L & E/F) in incomer feeder, 6 No. outgoing feeder of 100A, 240V, double Pole MCCB (with S/C, O/L & E/F) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 41500.00 | 41500.00 | 15000.00 | 15000.00 | 15000.00 | CIVILIS INFRA
87.04 | Local Distribution Boards (LDB) - Installation, Testing and commissioning of 240 V, AC indoor metal clad, air insulated wall mounted type AC distribution board with 240 V, 100 A, single phase & neutral, 2 wire bus, 10 kA symmetrical fault current. One 100A 240V double pole MCCB (with S/C, O/L & E/F) in incomer feeder, 24 no. of outgoing feeders of 6A/10A/16A, 240V, 2 Pole MCB with/without ELCB feature (Refer drawing no. KAPS-1&2/52420/2001/ED for exact quantity of MCB and ELCB O/G feeders) | 3.00 | Nos |  | 27500.00 | 82500.00 | 15000.00 | 45000.00 | 45000.00 | CIVILIS INFRA
87.05 | Lighting Boards (LB) - Installation ,Testing and commissioning of 415 V, AC indoor type lighting panel with 415 V, 63 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One nos. of 63A, 415 V, TPN disconnecting switch as incomer, 24 Nos. of 16/32 A 240V 2 pole MCBs with/without ELCB (9 kA) as outgoing feeders for lighting/receptacles. Outgoing lighting circuit will be controlled through contactor contact. 6 nos. of 16A rating, AC-1 duty, contactor with operating coil voltage of 24V DC and 2NO+2NC auxiliary contacts shall be provided in LB. Required control scheme shall be prepared and submitted for Purchaser's approval. (LB-1) (Refer drawing no. KAPS-1&2/52420/2001/ED for exact quantity of MCB and ELCB O/G feeders) | 1.00 | Nos |  | 27500.00 | 27500.00 | 13000.00 | 13000.00 | 13000.00 | CIVILIS INFRA
87.06 | Lighting Boards (LB) - Installation ,Testing and commissioning of 415 V, AC indoor type lighting panel with 415 V, 63 A, 3 phase, 4 wire bus, 10 kA symmetrical fault current. One nos. of 63A, 415 V, TPN disconnecting switch as incomer, 9 Nos. of 16 A 240V 2 pole MCBs with/without ELCB (9 kA) as outgoing feeders for lighting/receptacles. Outgoing lighting circuit will be controlled through contactor contact. 6 nos. of 16A rating, AC-1 duty, contactor with operating coil voltage of 24V DC and 2NO+2NC auxiliary contacts shall be provided in LB. Required control scheme shall be prepared and submitted for Purchaser's approval. (LB-2) (Refer drawing no. KAPS-1&2/52420/2001/ED for exact quantity of MCB and ELCB O/G feeders) | 1.00 | Nos |  | 27500.00 | 27500.00 | 13000.00 | 13000.00 | 13000.00 | CIVILIS INFRA
87.07 | Ventilation Distribution Boards (VDB) - Installation, Testing and commissioning of Ventilation Distribution Boards. The panel shall be indoor, metal clad, air insulated, wall mounted type. The bus of 415V, 63A, 3 phase, 4 wire, 10 kA symmetrical fault current shall be provided. Each board shall be provided with 63A TPN switch for incomer and 05 Nos. outgoing feeders (Q-type) having approximately 1.4 A, 415 V, 3 pole, MPCB and 18A contactor (9 kA) along with fan control scheme typically as per drawing No. GHAVP-1,2/52500/2001/ED. Auxiliary relays shall be provided for multiplication of fire contact for indicating lamp on VDB and for use in contactor control circuit. Complete control circuit arrangement shall be provided in the VDB itself. Scheme drawing for this type of VDB shall be prepared by the Contractor and submitted for Purchaser's approval. (Exact MPCB rating will be provided during detail engineering). Additionally 09 nos. of outgoing feeders having 16A, 415V, 3 pole, MCB (9kA) with ELCB feature shall be provided (VDB) (Refer drawing no. KAPS-1&2/52420/2001/ED) | 1.00 | Nos |  | 60500.00 | 60500.00 | 25000.00 | 25000.00 | 25000.00 | CIVILIS INFRA
88.00 | UPS and Battery bank - Installation ,Testing and commissioning of UPS and Battery bank after safe delivery to site of 45 kVA UPS and minimum 240 Ah Battery Bank including all accessories, conforming to requirement of tender specification nos PP-E-00552 and tender drawings.
88.01 | Installation ,Testing and commissioning of 45 kVA, 0-52420-UPS-1as per tender specification no. PP-E-00415 and tender drawings. | 1.00 | Nos |  | 31500.00 | 31500.00 | 15000.00 | 15000.00 | 15000.00 | CIVILIS INFRA
88.02 | Installation ,Testing and commissioning of Lead acid Battery of minimum C10 rating 240 Ah VRLA type along with steel cabinet, inter-cell, inter-cabinet, end take off connections etc.. (Battery bank voltage to meet UPS DC link voltage) | 1.00 | Bank |  | 9500.00 | 9500.00 | 8500.00 | 8500.00 | 8500.00 | CIVILIS INFRA
89.00 | 415V POWER CABLES - Laying, Testing and commissioning of 415V power cables as per tender specification PP-E-00552
89.01 | 3.5 core x 240 sq. mm (Laying, Testing and commissioning of 1100V grade, Aluminium conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 550.00 | Mtrs |  | 190.00 | 104500.00 | 150.00 | 82500.00 | 82500.00 | CIVILIS INFRA
89.02 | 3.5 core x 120 sq. mm (Laying, Testing and commissioning of 1100V grade, Aluminium conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 200.00 | Mtrs |  | 170.00 | 34000.00 | 120.00 | 24000.00 | 24000.00 | CIVILIS INFRA
89.03 | 2 Core x 2.5 sq. mm (Laying, Testing and commissioning of 1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 2040.00 | Mtrs |  | 110.00 | 224400.00 | 40.00 | 81600.00 | 81600.00 | CIVILIS INFRA
89.04 | 3 Core x 2.5 sq. mm (Laying, Testing and commissioning of 1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 100.00 | Mtrs |  | 120.00 | 12000.00 | 40.00 | 4000.00 | 4000.00 | CIVILIS INFRA
89.05 | 4 Core x 16 sq. mm (Laying, Testing and commissioning of 1100V grade, Copper conductor, XLPE insulated, Armoured, FRLS PVC sheathed cables) | 200.00 | Mtrs |  | 150.00 | 30000.00 | 40.00 | 8000.00 | 8000.00 | CIVILIS INFRA
90.00 | ELECTRICAL CONTROL CABLES - Laying, Testing and commissioning of Electrical Control Cables conforming to requirement of tender specifications PP-E-00552
90.01 | 2 Core x 2.5 Sq. mm (Stranded conductor), (Laying, Testing and commissioning of 1100V grade, copper, PVC insulated, Armoured, overall screened, FRLS PVC sheathed cables) | 150.00 | Mtrs |  | 110.00 | 16500.00 | 30.00 | 4500.00 | 4500.00 | CIVILIS INFRA
91.00 | LIGHTING FIXTURES - Installation ,Testing and commissioning Lighting Fixtures including all accessories & lamps, conforming to requirement of tender specifications PP-E-00552 and tender drawings
91.01 | Installation ,Testing and commissioning of Fixture type-A ( 18 Watt, LED Recessed Round Down lighter with pressure Die cast Aluminium Housing with suitable Diffuser) | 22.00 | Nos |  | 230.00 | 5060.00 | 100.00 | 2200.00 | 2200.00 | CIVILIS INFRA
91.02 | Installation ,Testing and commissioning of Fixture type-B (30 Lumaninare with Extruded Aluminium powder coated finish, Polycarbonate diffuser suitable for surface and Suspension Mounting) | 18.00 | Nos |  | 230.00 | 4140.00 | 130.00 | 2340.00 | 2340.00 | CIVILIS INFRA
91.03 | Installation ,Testing and commissioning of Fixture type-D (45 Watt LED Lumaninare with Extruded Aluminium housing, Splash proof / Corrosion proof Enclouser, powder coated finish and Polystyrene / Polycarbonate diffuser suitable arrngment for surface and Suspension Mounting) | 4.00 | Nos |  | 230.00 | 920.00 | 130.00 | 520.00 | 520.00 | CIVILIS INFRA
91.04 | Installation ,Testing and commissioning of Fixture type-E (30 Watt Recessed mounted Indoor Decorative LED Lumaninare with Aluminium / CRCA housing with powder coated finish and polystyrene / Polycarbonate diffuser suitable for Ceiling Mounting.) | 77.00 | Nos |  | 330.00 | 25410.00 | 150.00 | 11550.00 | 11550.00 | CIVILIS INFRA
92.00 | FIRE BARRIERS AND FIRE BREAKS
92.01 | Execution of 1 hour rated fire stops for cable penetrations and cable pipe sleeves in floors/walls as per specifications PP-E-00552. Thickness of the filling material shall be as per the fire rating requirement. | 1.00 | SqM |  | 4650.00 | 4650.00 | 700.00 | 700.00 | 700.00 | CIVILIS INFRA
92.02 | Application of fire retardant compound over cable to form fire break capable of preventing propagation of fire for 30 minutes as per specifications PP-E-00552. Thickness of the filling material shall be as per the fire rating requirement. | 10.00 | SqM |  | 2350.00 | 23500.00 | 600.00 | 6000.00 | 6000.00 | CIVILIS INFRA
93.00 | ELECTRICAL SPECIAL TOOLS & TACKLES – UPS and Battery bank
93.01 | Set of suitable insulated spanners | 1.00 | Set |  | 27500.00 | 27500.00 | 55000.00 | 55000.00 | 27500.00 | Technical Construction Co.
93.02 | portable trolley with swivel type wheels of adequate size for the installation and removal of individual cells | 1.00 | Nos |  | 8000.00 | 8000.00 | 17000.00 | 17000.00 | 8000.00 | Technical Construction Co.
94.00 | ESSENTIAL / MANDATORY SPARES - AC DISTRIBUTION BOARDS/ PANELS
94.01 | 6A MCB, 2 pole | 5.00 | Nos |  | 1000.00 | 5000.00 | 530.00 | 2650.00 | 2650.00 | CIVILIS INFRA
94.02 | 6A MCB, 2Pole with ELCB | 2.00 | Nos |  | 4500.00 | 9000.00 | 2700.00 | 5400.00 | 5400.00 | CIVILIS INFRA
94.03 | 10A MCB, 2Pole with ELCB | 1.00 | Nos |  | 4500.00 | 4500.00 | 2700.00 | 2700.00 | 2700.00 | CIVILIS INFRA
94.04 | 16A MCB, 2 pole | 2.00 | Nos |  | 1000.00 | 2000.00 | 530.00 | 1060.00 | 1060.00 | CIVILIS INFRA
94.05 | 16A MCB, 2 pole with ELCB | 2.00 | Nos |  | 4500.00 | 9000.00 | 2700.00 | 5400.00 | 5400.00 | CIVILIS INFRA
94.06 | 16A MCB, 3 pole with ELCB | 1.00 | Nos |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | CIVILIS INFRA
94.07 | 100A, TPN, MCCB with shunt release | 2.00 | Nos |  | 5000.00 | 10000.00 | 7800.00 | 15600.00 | 10000.00 | Technical Construction Co.
94.08 | 32A MCB, 2 pole with ELCB | 1.00 | Nos |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | CIVILIS INFRA
94.09 | 32A TPN SFU | 1.00 | Nos |  | 6000.00 | 6000.00 | 6500.00 | 6500.00 | 6000.00 | Technical Construction Co.
94.10 | 63A TPN SFU | 1.00 | Nos |  | 7800.00 | 7800.00 | 7300.00 | 7300.00 | 7300.00 | CIVILIS INFRA
94.11 | 250A TPN SFU | 1.00 | Nos |  | 27000.00 | 27000.00 | 18500.00 | 18500.00 | 18500.00 | CIVILIS INFRA
94.12 | 1.4A MPCB, 3Pole | 1.00 | Nos |  | 10200.00 | 10200.00 | 3000.00 | 3000.00 | 3000.00 | CIVILIS INFRA
94.13 | 32A TPN Switch | 1.00 | Nos |  | 6250.00 | 6250.00 | 1850.00 | 1850.00 | 1850.00 | CIVILIS INFRA
94.14 | 63A TPN Switch | 1.00 | Nos |  | 7800.00 | 7800.00 | 2560.00 | 2560.00 | 2560.00 | CIVILIS INFRA
94.15 | 16A contactor | 1.00 | Nos |  | 1650.00 | 1650.00 | 2290.00 | 2290.00 | 1650.00 | Technical Construction Co.
94.16 | Indicating Lamps (10% of Total Quantity) | 10.00 | Nos |  | 850.00 | 8500.00 | 180.00 | 1800.00 | 1800.00 | CIVILIS INFRA
94.17 | LB-1 type complete panel | 1.00 | Nos |  | 78500.00 | 78500.00 | 140000.00 | 140000.00 | 78500.00 | Technical Construction Co.
94.18 | LDB-1 type complete panel | 1.00 | Nos |  | 90000.00 | 90000.00 | 95000.00 | 95000.00 | 90000.00 | Technical Construction Co.
95.00 | UPS and Battery bank ESSENTIAL / MANDATORY SPARES For UPS
95.01 | Set of semiconductor power fuses one of each rating | 1.00 | Set |  | 11500.00 | 11500.00 | 6000.00 | 6000.00 | 6000.00 | CIVILIS INFRA
95.02 | Set of Control fuses/MCBs one of each rating | 1.00 | Set |  | 9000.00 | 9000.00 | 2000.00 | 2000.00 | 2000.00 | CIVILIS INFRA
95.03 | Set of panel ventilation fans of each type | 2.00 | Nos |  | 13500.00 | 27000.00 | 9500.00 | 19000.00 | 19000.00 | CIVILIS INFRA
95.04 | Set of all PCBs used in UPS system including those for static bypass one of each type. | 1.00 | Set |  | 11000.00 | 11000.00 | 165000.00 | 165000.00 | 11000.00 | Technical Construction Co.
95.05 | Set of Input surge suppressor, DC filter capacitors (if used) on input side, harmonic suppression capacitors on AC output side reuired for one UPS | 1.00 | Set |  | 4000.00 | 4000.00 | 118900.00 | 118900.00 | 4000.00 | Technical Construction Co.
95.06 | Set of auxiliary relays, control and selector switches, lamps, timers, meters etc. required for one UPS | 1.00 | Set |  | 9000.00 | 9000.00 | 10200.00 | 10200.00 | 9000.00 | Technical Construction Co.
95.07 | Set of pulse transformer for IGBT gate drive reuired for one inverter bridge | 2.00 | Set |  | 17500.00 | 35000.00 | 15500.00 | 31000.00 | 31000.00 | CIVILIS INFRA
95.08 | Set of Input and output isolating devices | 2.00 | Set |  | 9500.00 | 19000.00 | 16400.00 | 32800.00 | 19000.00 | Technical Construction Co.
95.09 | Set of AC current transformer, potential transformers, DC CTs of each rating | 1.00 | Set |  | 12500.00 | 12500.00 | 11000.00 | 11000.00 | 11000.00 | CIVILIS INFRA
95.10 | LED/indicating lamps (5 Nos pf each type) | 2.00 | Set |  | 2450.00 | 4900.00 | 1980.00 | 3960.00 | 3960.00 | CIVILIS INFRA
95.11 | Set of static switch | 1.00 | No |  | 37000.00 | 37000.00 | 49980.00 | 49980.00 | 37000.00 | Technical Construction Co.
95.12 | Inverter transformer | 1.00 | No |  | 4550.00 | 4550.00 | 52300.00 | 52300.00 | 4550.00 | Technical Construction Co.
95.13 | Set of temperature sensors of each type | 2.00 | No |  | 4250.00 | 8500.00 | 4980.00 | 9960.00 | 8500.00 | Technical Construction Co.
96.00 | For Battery
96.01 | Sapre cells | 11.00 | Nos |  | 400.00 | 4400.00 | 57600.00 | 633600.00 | 4400.00 | Technical Construction Co.
96.02 | Inter cell connector (one of each type) | 1.00 | Set |  | 1800.00 | 1800.00 | 5087.00 | 5087.00 | 1800.00 | Technical Construction Co.
97.00 | LIGHTING FIXTURES -ESSENTIAL / MANDATORY SPARES
97.01 | Fixture type-A ( 18 Watt, LED Recessed Round Down lighter with presure Die cast Aluminium Housing with suitable Diffuser) | 4.00 | Nos |  | 1400.00 | 5600.00 | 1130.00 | 4520.00 | 4520.00 | CIVILIS INFRA
97.02 | Fixture type-B (30Lumaninare with Extruded Aluminium powder coated finish, Polycarbonate diffuser suitable for srface and Suspension Mounting) | 2.00 | Nos |  | 1400.00 | 2800.00 | 1980.00 | 3960.00 | 2800.00 | Technical Construction Co.
97.03 | Fixture type-D (45 Watt LED Lumaninare with Extruded Aluminium housing, Splash proof / Corrosion proof Enclouser, powder coated finish and Polystyrene / Polycarbonate diffuser suitable arrngment for srface and Suspension Mounting) | 2.00 | Nos |  | 2350.00 | 4700.00 | 2570.00 | 5140.00 | 4700.00 | Technical Construction Co.
97.04 | Fixture type-E (30 Watt Recessed mounted Indoor Decorative LED Lumaninare with Aluminium / CRCA housing with powder coated finish and polystyrene / Polycarbonate diffuser suitable for Ceiling Mounting.) | 8.00 | Nos |  | 2000.00 | 16000.00 | 3090.00 | 24720.00 | 16000.00 | Technical Construction Co.
98.00 | GROUNDING AND LIGHTNING WORK (PART OF CIVIL WORK) - Lightning Protection
98.01 | 50X6mm GS Lightning Conductor (Roof Conductors and Vertical downcomers) | 850.00 | Mtrs |  | 180.00 | 153000.00 | 310.00 | 263500.00 | 153000.00 | Technical Construction Co.
98.02 | 126.7 sq mm copper conductor | 40.00 | Mtrs |  | 2800.00 | 112000.00 | 400.00 | 16000.00 | 16000.00 | CIVILIS INFRA
99.00 | 3mm thick saddle suitable for
99.01 | 3mm thick saddle suitable for 50X6mm GS Conductor | 550.00 | Nos |  | 140.00 | 77000.00 | 95.00 | 52250.00 | 52250.00 | CIVILIS INFRA
99.02 | Earth Electrode (40φ, 3000mm long copper road) | 21.00 | Nos |  | 26000.00 | 546000.00 | 10000.00 | 210000.00 | 210000.00 | CIVILIS INFRA
99.03 | 3mm thick GS spacer | 550.00 | Nos |  | 20.00 | 11000.00 | 45.00 | 24750.00 | 11000.00 | Technical Construction Co.
99.04 | 10mm φ, 50mm long round headed screw (GS), Bolts, Nuts and Washers | 1100.00 | Nos |  | 15.00 | 16500.00 | 23.00 | 25300.00 | 16500.00 | Technical Construction Co.
99.05 | 50X6mm thick, 110mm long GS link for test link with 2Nos 10mm dia 25mm long GS Screws, Nuts and Washers. GS Box enclosures, 6mm dia Anchor fastners etc. | 21.00 | Nos |  | 150.00 | 3150.00 | 2130.00 | 44730.00 | 3150.00 | Technical Construction Co.
100.00 | Estimated quantity of GS plates for conductor connections
100.01 | Type-B (125x70x6) | 200.00 | Nos |  | 120.00 | 24000.00 | 1320.00 | 264000.00 | 24000.00 | Technical Construction Co.
100.02 | Type-C (75x145x6) | 50.00 | Nos |  | 200.00 | 10000.00 | 1200.00 | 60000.00 | 10000.00 | Technical Construction Co.
100.03 | Type-D (125x145x6) | 10.00 | Nos |  | 250.00 | 2500.00 | 1980.00 | 19800.00 | 2500.00 | Technical Construction Co.
100.04 | Type-E (75x220x6) | 60.00 | Nos |  | 300.00 | 18000.00 | 2645.00 | 158700.00 | 18000.00 | Technical Construction Co.
100.05 | 35X6X130 mm long copper plate lug | 21.00 | Nos |  | 300.00 | 6300.00 | 380.00 | 7980.00 | 6300.00 | Technical Construction Co.
| Total in Figures |  |  |  |  | 88351510.00 |  | 81014112.00
Lowest Amount Quoted BY: CIVILIS INFRA(81014112.00)

## BOQ Summary
BOQ Summary Details Tender Title: ET-1622 Tender ID: 2025_NPCIL_236958_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIVILIS INFRA (BID ID -861405) | 81014112.00 | L1
| 2 | Technical Construction Co. (BID ID -863869) | 88351510.00 | L2