## BoQ1
Government eProcurement System Created By: Vishweshwar Gaonkar Created Date/Time: 04-Nov-2025 11:10 AM Tender Title: Finishing Works of Quality Assurance (QA) Complex Building at Kaiga 5 and 6. Tender ID: 2025_NPCIL_239099_1
Tender Inviting Authority: Chief Engineer (Civil), Kaiga-5&6
Name of Work: Finishing Works of Quality Assurance (QA) Complex Building at Kaiga-5&6.
Contract No: NPCIL/KAIGA-5&6/CTC/CIVIL-INFRA/CPPP/2025/089
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shivakumar co (GSTN-29ACTFS1346Q1Z3) BID ID -872058 |  | Gimmy K Thomas (GSTN-NA) BID ID -872313
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earthwork excavation by mechanical means in all sorts of Soil, soft rock, hard murrum or other hard soil mixed clay, sand, granite, laterite soil, soft & hard laterite, soft disintegrated rock not requiring blasting in foundation, trenches, walls, drains, plinths, footings, pedestals, columns and for all other miscellaneous works etc., including shoring, strutting, bailing out water if necessary& removing of tree stumps/roots etc. dressing, levelling and storing the material at designated location etc all complete as per specifications and as directed by Engineer-in-charge.
1.10 | In all kinds of soils Depth upto 3.0 m | 500.00 | Cum | 130.00 | 125.00 | 62500.00 | 162.00 | 81000.00 | 62500.00 | shivakumar co
1.20 | Depth exceeding 3.0m upto 6.0 m | 100.00 | Cum | 149.00 | 144.00 | 14400.00 | 185.00 | 18500.00 | 14400.00 | shivakumar co
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations and other similar works etc. in layers not exceeding 200mm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m, collecting & disposing the construction debris, surplus soil & unwanted materials from the place of work etc. all complete as per specifications and as directed by Engineer-in-charge.
2.10 | Depth OR Height of Fillling up to 1.5 m | 300.00 | Cum | 362.00 | 335.00 | 100500.00 | 199.00 | 59700.00 | 59700.00 | Gimmy K Thomas
2.20 | Depth OR Height of Fillling from 1.5 m to 3.0 m | 100.00 | Cum | 380.00 | 480.00 | 48000.00 | 209.00 | 20900.00 | 20900.00 | Gimmy K Thomas
3.00 | Filling in plinth with approved quality of earth such as red murrum from the borrow pits identified by Engineer-in-charge, lead upto 2000 m from the work spot, in layers not exceeding 200 mm thick, compaction of each deposited layer using hand /steel rammer/ roller with proper watering up to all lifts etc., collecting & disposing the construction debris, surplus soil & unwanted materials from the place of work etc. all complete as per specifications and as directed by Engineer-in-charge. | 100.00 | CuM | 598.00 | 560.00 | 56000.00 | 533.00 | 53300.00 | 53300.00 | Gimmy K Thomas
4.00 | Providing and laying Plain Cement Concrete of specified grade using clean, crushed, well graded, hard, durable and of approved quality aggregates for foundations, plinth, bedding, platform, pathways & all other miscellaneous PCC works including preparation of base by hand ramming, mixing, transporting, laying, spreading, compacting, levelling, finishing, curing, collecting & disposing generated waste & construction waste etc. away from the work premises & cleaning the work area etc., all complete as per specifications, drawings and as directed by Engineer-in-charge. Note: 1. Rate shall be quoted excluding formwork rate. Formwork/Staging shall be paid in relevant item. 2. Approved brand cement shall only be used.
4.10 | Plain cement concrete 1:4:8 (1Cement : 4 Fine aggregates : 8 Coarse aggregates 40 mm.nominal size) | 100.00 | CuM | 7220.00 | 7005.00 | 700500.00 | 7799.00 | 779900.00 | 700500.00 | shivakumar co
4.20 | Plain cement concrete 1:3:6 (1Cement : 3 Fine aggregates : 6 Coarse aggregates 20 mm.nominal size) | 100.00 | CuM | 7926.00 | 7400.00 | 740000.00 | 8599.00 | 859900.00 | 740000.00 | shivakumar co
5.00 | Providing, placing and removing Formwork for all In-situ Concrete such as foundation, rafts, footings, plinth, columns, beams, slabs, grade slabs, chajjas, lintels, bedding, platform, pathways, walk ways, RC bands, and all miscellaneous in-situ concrete works including providing, fixing, & removing necessary supports / staging/ platform / ladder / wherever required, collecting & disposing the generated waste & construction waste etc. away from work premises & cleaning the work area, at all locations & all lifts/heights etc. all complete as per specifications, drawings (if any) and as directed by Engineer-in-charge . Note: The payment will be made for actual area of formwork in contact with concrete. | 150.00 | SqM | 395.00 | 285.00 | 42750.00 | 399.00 | 59850.00 | 42750.00 | shivakumar co
6.00 | Providing and laying RCC of grade 1:1.5:3 using 20 mm & downsize clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, rafts, footings, plinth, columns, beams, Chajjas, Lintels, bedding, platform, pathways, walk ways and all miscellaneous in-situ concrete works etc. including preparation of base by close hacking / chipping the concrete & plastered surfaces, mechanical mixing, transporting, laying, spreading, compacting, levelling, finishing & curing at all locations & lifts / heights etc. all complete as per specifications and as directed by Engineer-in-charge Note: Reinforcement and formwork shall be paid as per the relevant items. | 50.00 | CuM | 8015.00 | 7600.00 | 380000.00 | 9250.00 | 462500.00 | 380000.00 | shivakumar co
7.00 | Providing and laying Steel Reinforcement of grade Fe-500 / Fe-500 D HYSD bars of all diameters meeting all the requirements of IS:1786 [latest edition] of brand approved by EIC including removing loose scales, cutting, bending, transporting, placing in position & binding with suitable gauge soft annealed binding wire for all in-situ concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks, providing, fixing, & removing necessary staging / platform wherever required, cleaning the work area, disposing of waste materials / debris etc. outside the periphery of work premises, etc. all complete as per specifications and as directed by Engineer-in-charge at all locations & lifts /heights. | 4.00 | MT | 116325.00 | 104400.00 | 417600.00 | 105999.00 | 423996.00 | 417600.00 | shivakumar co
8.00 | Providing & Constructing Masonry with standard quality CC Solid Blocks of standard size 400 X 200 X 200 mm, having crushing strength not less than 4.0 Mpa & density not less than 1800 kg/cum using CM 1:4 for foundation, plinth, drains, walls & repair works etc. & superstructure and all other miscellaneous masonry works for foundation & superstructure etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the masonry joints, & cleaning; providing; fixing & removing necessary staging / platform / ladder wherever required, collecting & disposing the generating waste & construction waste etc. away from the work premises & cleaning the work area, etc all complete as per specifications, drawing [if any] and as directed by Engineer-in-charge at all locations & lifts/heights. | 100.00 | CuM | 8350.00 | 8043.00 | 804300.00 | 8366.00 | 836600.00 | 804300.00 | shivakumar co
9.00 | Providing, Fabricating & erection of all Structural Steel work for purlins, rafters, horizontal / vertical / cross members, columns, beams, trusses, windows & doors frames & shutters, grills, gates, rollers, hinges, handles etc. and all other fabrication works including providing standard MS Steel Sections which are required for executing this work and fixing / erecting with site welding the same in position to true line, level & plumb along with preparation of base, grouting with normal free flow grout, providing & painting One Coat of approved Zinc Phospate Primer / Red Oxide Primer of 1st quality & of standard make and Two Coats of first quality synthetic enamel paint, of standard make, of shade / colour [as per site requirement & as selected by engineer-in-charge], all including and providing, fixing, & removing necessary staging / platform wherever required, cleaning the work area, disposing of waste materials / debris etc. outside the periphery of work premises, at all locations & lifts /heights etc. all complete as per specifications and as directed by Engineer-in-charge. NOTE: All materials shall be conforming to relevant BIS specification of latest edition. | 8.50 | MT | 128817.00 | 121253.00 | 1030650.50 | 130500.00 | 1109250.00 | 1030650.50 | shivakumar co
10.00 | Providing, supplying and installing Seismic Anchor Fastener of standard make (such as Hilti, Fischer, Bosch or any brand approved by EIC) of grade not less than 4.6 including the grouting of surrounding of the bolt, wherever necessary using high strength grout, all including protective coating/paint for exposed portion of the bolts and nuts, and providing, fixing, & removing necessary staging / platform wherever required, cleaning the work area, disposing of waste materials / debris etc. outside the periphery of work premises etc., at all locations & lifts /heights etc. all complete as per drawings/specifications and as directed by Engineer-in-charge. NOTE: 1. The rate shall be inclusive of cost of Nut, bolts, grout. 2. Base plate of structure steel will be paid in relevant structural steel item.
10.10 | M16 Anchor Fastener (Seismic) | 180.00 | Nos | 695.00 | 180.00 | 32400.00 | 555.00 | 99900.00 | 32400.00 | shivakumar co
11.00 | Providing and laying Internal Cement Plaster not less than 12 mm thick in CM 1:4 to brick masonry/CC block masonary/concrete surface including rounding off corners wherever required smooth rendering etc., rubbed perfectly so as to obtain smooth & even finish including curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc. away from work premises & cleaning the work area, etc. complete all as per specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 100.00 | SqM | 325.00 | 325.00 | 32500.00 | 366.00 | 36600.00 | 32500.00 | shivakumar co
12.00 | Providing and laying External Cement Plaster 18 mm thick in Two Coats. Base coat shall be 12 mm thick in CM 1:5 & finishing coat shall be 6 mm thick in CM 1:3 (sponge finished) rubbed perfectly, including providing waterproofing compound in finishing coat as per manufacturer recommendations and curing including providing and fixing with all necessary consumables required over the junction/interface of different material surface such as RCC/Masonry wherever required; including preparation of base by close hacking / chipping the concrete / plastered surfaces & cleaning including removal of generated construction waste out of site at all locations & lifts / heights etc. all complete as per specifications and as directed by Engineer-in-charge. | 550.00 | SqM | 498.00 | 498.00 | 273900.00 | 477.00 | 262350.00 | 262350.00 | Gimmy K Thomas
13.00 | Providing, fixing / placing in position Heavy Duty, Anti skid- Paver Blocks of size 60 mm thick [of standard size & in color combination of terra cotta & black / as selected by engineer-in-charge] of standard make & of 1st quality, laid over well Saturated 50 mm. thick River Sand / M-sand bedding, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste & costruction waste etc. away from work premises & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. Note: The PCC, RCC and Reinforcement if required shall be paid as per relevant item | 500.00 | SqM | 1362.00 | 945.00 | 472500.00 | 1299.00 | 649500.00 | 472500.00 | shivakumar co
14.00 | Providing, laying & fixing cement base, precast, pre polished cement concrete, designer tiles of thickness not less than 25mm conforming to latest standard heavy duty tiles for flooring, treads of steps and landing, laid on a bed of 12mm thick cement mortar 1:3 mix finished with flush pointing using white cement, including cost of materials, mortar, including cutting, griding the edge to half/full round wherever required, labour, curing, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste & costruction waste etc. away from work premises & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 50.00 | SqM | 1188.00 | 1650.00 | 82500.00 | 1166.00 | 58300.00 | 58300.00 | Gimmy K Thomas
15.00 | Providing, laying & fixing M15 grade precast cement concrete Kerb stones for Roadway, Sidewalls and gutters fixed with CM 1:3 fixed and finsihed in line as per direction of Engineer in charge.
15.10 | 600 x 300 x 100 mm size | 1300.00 | RM | 339.00 | 653.00 | 848900.00 | 605.00 | 786500.00 | 786500.00 | Gimmy K Thomas
16.00 | Providing and applying Repainting on walls, concrete surafces etc., with plastic emulsion interior paint of approved brand and manufacture to give an even shade: One coats on old work, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste & costruction waste etc. away from work premises & cleaning the work area, etc. complete all as per standard, technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 350.00 | SqM | 105.00 | 105.00 | 36750.00 | 299.00 | 104650.00 | 36750.00 | shivakumar co
17.00 | Providing and applying Repainting on walls, concrete surafces etc. with Acrylic Smooth exterior paint of required shade :Old work (One Coat coverage as per manufacturer's recomendation) including preparing the surface after thoroughly cleaning the surface to remove all dirt, dust and foreign matter, cost of materials, labour, fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste & costruction waste etc. away from work premises & cleaning the work area, etc. complete all as per standard, technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 500.00 | SqM | 88.00 | 194.00 | 97000.00 | 135.00 | 67500.00 | 67500.00 | Gimmy K Thomas
18.00 | Providing and applying Repainting on steel structure with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :One coats on old/existing work as per specifications including preparation of base, providing; fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge at all locations and at all lifts & height. | 300.00 | SqM | 97.00 | 175.00 | 52500.00 | 95.00 | 28500.00 | 28500.00 | Gimmy K Thomas
19.00 | Providing and applying TWO Coats of First Quality Synthetic Enamel Paint incuding one coat of red oxide zinc chromate primer of standard make [such as Premium Hi Gloss, Luxol Hi Gloss, Super Synthetic & Synthetic etc.] over the kerb stones, MS Steel surfaces [such as columns; beams, purlins, rafters, frames, door frames with shutters, window frames with shutters, ladders, platforms, handrails, concrete surface and all other fabricated MS Steel members], including preparation of surfaces by sand papering. Paint shall be confirming to the relavent BIS specification of the latest edition, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste & costruction waste etc. away from work premises & cleaning the work area etc. complete all as per standard & manufacturers technical specification, as per drawing [if any] and as directed by engineer-in-charge at all locations and at all lift & height. | 600.00 | SqM | 277.00 | 185.00 | 111000.00 | 199.00 | 119400.00 | 111000.00 | shivakumar co
20.00 | Providing and Applying single component Polyurethane based cold applied seamless waterproofing coating of approved brand such as Fosroc, Dr. fixit, Pidilite or equilvent etc., to the RCC surface like Roof & Podium area applied @ 2.4kg/m2 in required coats to achieve 1.5mm DFT, including a prime coat of solvent free, medium viscous, epoxy primer @0.2L/m2 and protection with 120gsm Geo-textile over the 7 days cured waterproofing membrane. The Waterproofing material shall have Solids > 85%, Tensile strength >2 Mpa as per ASTM D 412, Elongation at break >400% confirms to ASTM C 1305 for crack bridging ability (no cracks up to 3.2mm) Shore A Hardness >55 as per ASTM D 2240, Adhesion to peel after water immersion as per ASTM C 794 at 5.2N. Resistance to root penetration as per UNECN/ TS 14416. The finished cost to include surface preparation, making coving of 50 mm X 50mm at all right angles of wall Junction with Polymer Repair Mortar, lay 60gsm Geo-textile over the angle fillet when the first coat in still wet, treatment of cracks completely, water fill test to ensure the efficiency as per specification. | 1600.00 | SqM | 1485.00 | 1305.00 | 2088000.00 | 1450.00 | 2320000.00 | 2088000.00 | shivakumar co
21.00 | Providing and laying Vitrified tiles of premium quality with thickness 9-10 mm in required sizes of approved make such as Kajaria, HR Johnson, AGL, Somany etc. in all colours & shade, type as approved over laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ m2 including grouting the joint using white cement mixed with matching pigments etc. on concrete/ masonry/plastered surfaces; close jointed as directed, finished to true line & levels / slope / plumb at all locations & lifts / heights etc.all complete as per specifications and as directed by Engineer-in-charge. | 1600.00 | SqM | 1691.00 | 1530.00 | 2448000.00 | 1566.00 | 2505600.00 | 2448000.00 | shivakumar co
22.00 | Providing and fixing 18 mm thick gang saw cut granite of any colour and shade, mirror polished, premoulded and prepolished for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch up, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc.at all locations etc. all complete as per specifications and as directed by the Engineer-in-charge | 300.00 | SqM | 5019.00 | 4502.00 | 1350600.00 | 4977.00 | 1493100.00 | 1350600.00 | shivakumar co
23.00 | Providing and fixing Stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, including fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement, including fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge at all locations and at all lifts & height, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.) including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | 1500.00 | KG | 720.00 | 675.00 | 1012500.00 | 699.00 | 1048500.00 | 1012500.00 | shivakumar co
24.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring of brand such as Godrej, Ozone, Hetich or equivalent etc. type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc. to be paid separately), including cost of materials, labour, usage charges of machinery complete as per specifications and as per directions of the Engineer-in-Charge. | 50.00 | SqM | 6020.00 | 5610.00 | 280500.00 | 6366.00 | 318300.00 | 280500.00 | shivakumar co
25.00 | Providing and fixing D type bright /matt finished Stainless Steel handles of approved quality & make for door shutter with necessary screws etc., complete, cleaning the work areas and disposing the debris / waste outside the periphery of the work premises etc. complete all as per specification and as directed by the Engineer-in-charge at all height and lifts.
25.10 | 300 mm grip | 20.00 | No.s | 701.00 | 690.00 | 13800.00 | 725.00 | 14500.00 | 13800.00 | shivakumar co
25.20 | 600 mm grip | 20.00 | No.s | 1163.00 | 790.00 | 15800.00 | 1450.00 | 29000.00 | 15800.00 | shivakumar co
26.00 | Providing and fixing Glass door lock with strike box of approved quality & make like Godrej, Ozone, Quba or equivalent for frameless toughened glass door shutter with necessary screws etc., complete, cleaning the work areas and disposing the debris / waste outside the periphery of the work premises etc. complete all as per specification and as directed by the Engineer-in-charge at all lifts. | 20.00 | Each | 2377.00 | 1750.00 | 35000.00 | 3300.00 | 66000.00 | 35000.00 | shivakumar co
27.00 | Design, supply & installation of suspended Spider Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steel of approved manufacturer with glass panel having 12 mm thick clear toughened glass (double glazed unit) held together with SS- 316 Grade Stainless steel Spider & bolt assembly with laminated glass fins 21 mm thick. The Glass fins and glass panel assembly shall be connected to Slab/beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured. | 150.00 | SqM | 10138.00 | 8940.00 | 1341000.00 | 10777.00 | 1616550.00 | 1341000.00 | shivakumar co
28.00 | Providing, assembling, supplying and installing vision glass panels for structural glazing(IGUs) comprising of hermetically-sealed 6-12-6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on outer surface of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. For payment, only the actual area of inner glass of the glass panels (excluding the areas of the grooves and weather silicone sealant) provided and fixed in position, shall be measured in m2.(i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on outer face, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20 %, shading coefficient (0.25-0.28) and U value of 3.0 to 3.3 W/m2 degree K etc. The properties of performance glass shall be decided by Engineer-in-charge as per the site requirement. | 330.00 | SqM | 3879.00 | 2960.00 | 976800.00 | 4300.00 | 1419000.00 | 976800.00 | shivakumar co
29.00 | Providing and fixing of Aluminium Composite Panel of approved make and colour for wall cladding for Brick /RCC /stone walls & columns /beams with necessary aluminium frame works made out of 50x25x4mm C section or equivalent The panel should consist of 3mm thick non-halogenated FR grade mineral based polymer sandwiched between 0.50 skins thick aluminium sheet making a total panel thickness of 4mm. The surfaces shall be finished with PVDF based coating on topsides and service coating on reverse sides would be in polyester paint. The system shall be fixed using GI brackets, aluminium L cleats and stainless steel bolts and nuts/suitable screw/ self drilling screw complete with washer and cap nuts and all other necessary accessories, including fixing & removing Staging /platform / ladder wherever required, collecting & disposing the generated waste & construction waste etc, away from work premises & cleaning the work area etc, complete all as per standard & manufacturer’s specification, drawing and as directed by Engineer-in-Charge at all locations and at all lifts & height
29.10 | ACP sheet for straight portrion | 800.00 | SqM | 5085.00 | 4400.00 | 3520000.00 | 4499.00 | 3599200.00 | 3520000.00 | shivakumar co
29.20 | ACP sheet for curved portrion | 60.00 | SqM | 6048.00 | 5337.00 | 320220.00 | 5555.00 | 333300.00 | 320220.00 | shivakumar co
30.00 | Providing and fixing circular high density polyethylene water storage Loft Tank with cover, all necessary fitting & fixtures, conforming to latest edition of indian standard, colour of opaque white or as approved by Engineer-in-charge including providing; fixing & removing necessary staging / platform / ladder, collecting and disposing the generated waste & construction waste etc. away from work premises & cleaning the work area etc., complete as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift. Note: The rate shall be including making necessary holes for inlet, outlet & over flow pipes.
30.10 | 1000 Litre capacity | 5.00 | No.s | 11474.00 | 11000.00 | 55000.00 | 11470.00 | 57350.00 | 55000.00 | shivakumar co
30.20 | 2000 Litre Capacity | 5.00 | No.s | 22947.00 | 18500.00 | 92500.00 | 21500.00 | 107500.00 | 92500.00 | shivakumar co
31.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer of make Godrej, Harrison, Plantex or equivalent (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 90.00 | No.s | 1420.00 | 1260.00 | 113400.00 | 1533.00 | 137970.00 | 113400.00 | shivakumar co
| Total in Figures |  |  |  |  | 20100270.50 |  | 22044466.00
Lowest Amount Quoted BY: shivakumar co(20100270.50)

## BOQ Summary
BOQ Summary Details Tender Title: Finishing Works of Quality Assurance (QA) Complex Building at Kaiga 5 and 6. Tender ID: 2025_NPCIL_239099_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | shivakumar co (BID ID -872058) | 20100270.50 | L1
| 2 | Gimmy K Thomas (BID ID -872313) | 22044466.00 | L2