## BoQ1
Government eProcurement System Created By: HASTI MAL NAHAR Created Date/Time: 27-Oct-2025 10:25 AM Tender Title: Additional lighting system work for RAPP-8 Tender ID: 2025_NPCIL_240975_1
Tender Inviting Authority:
Name of Work: Additional Lighting system & Miscellaneous Electrical Works in main plant area for RAPP-8.
Contract No: NPC/RRS/78/2025/CPP PT-A2854
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Master Electric Store (GSTN-07AAHPB6825H1ZU) BID ID -882069 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -882160 |  | Space Controls (GSTN-NA) BID ID -881958 |  | Pyrotech technologies Pvt. Ltd. (GSTN-NA) BID ID -882138
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply & Installation of 25mm GI conduit including supply & installation of all accessories like bends, elbows, couplers, flexible conduits, hospital saddles, spacers , Lead Sleeves &Screws etc., and other accessories required to complete the job on wall/ column/ ceiling etc. as per specification and drawings. (The running length shall be measured along the centre line including bends, fittings etc. along the run installed, but excluding the hidden length of conduits and lengths of pull boxes and junction boxes) Note: The Installation charge quoted shall include supply of accessories like bends, flexible conduits, elbows, couplers, hospital saddles, spacers, Lead Sleeves & Screws etc.
1.10 | Supply of 25mm GI conduit | 10500.00 | Mtr. |  | 182.30 | 1914150.00 | 159.00 | 1669500.00 | 135.00 | 1417500.00 | 259.10 | 2720550.00 | 1417500.00 | Space Controls
1.20 | Installation of 25mm GI conduit | 10500.00 | Mtr. |  | 80.00 | 840000.00 | 299.00 | 3139500.00 | 165.00 | 1732500.00 | 101.90 | 1069950.00 | 840000.00 | Master Electric Store
2.00 | Supply & Installation/ termination/ connection of 4.0Sq.mm copper wire including Lugs and Ferrules etc. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
2.10 | Supply of 4sqmm copper wire | 22000.00 | Mtr. |  | 71.00 | 1562000.00 | 49.00 | 1078000.00 | 52.00 | 1144000.00 | 87.00 | 1914000.00 | 1078000.00 | JAGGI ELECTRICALS
2.20 | Installtion of 4sqmm copper wire | 22000.00 | Mtr. |  | 8.00 | 176000.00 | 19.00 | 418000.00 | 41.00 | 902000.00 | 25.50 | 561000.00 | 176000.00 | Master Electric Store
3.00 | Supply & Installation,termination,connection of 14 SWG GI grounding wire including supply and installation of copper clamps, connection to earthing terminals, Junction boxes, pull boxes etc., as per technical specification and drawings. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
3.10 | Supply of 14SWG GI WIRE | 320.00 | Kg. |  | 121.00 | 38720.00 | 109.00 | 34880.00 | 127.00 | 40640.00 | 166.60 | 53312.00 | 34880.00 | JAGGI ELECTRICALS
3.20 | Installation of 14SWG GI WIRE | 12000.00 | Mtr. |  | 4.75 | 57000.00 | 29.00 | 348000.00 | 32.00 | 384000.00 | 17.00 | 204000.00 | 57000.00 | Master Electric Store
4.00 | Supply & Installation of 5A, Decorative type lighting control switch lighting control switch for lighting system including supply and installation of screw with necessary drilling etc. as required. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
4.10 | Supply of 5A Lighting control switch | 25.00 | Nos. |  | 478.00 | 11950.00 | 269.00 | 6725.00 | 142.00 | 3550.00 | 1517.80 | 37945.00 | 3550.00 | Space Controls
4.20 | Installation of 5A Lighting control switch | 25.00 | Nos. |  | 160.00 | 4000.00 | 409.00 | 10225.00 | 236.00 | 5900.00 | 254.90 | 6372.50 | 4000.00 | Master Electric Store
5.00 | Supply & Installation of following types of junction boxes for 25mm GI conduit in Lighting/ receptacle/ space heating system including supply and installation of anchor fasteners, mounting brackets, support structure, hardware etc. (wherever required) along with necessary welding, drilling, painting etc. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
5.10 | Supply of Junction Box | 1000.00 | Nos. |  | 430.00 | 430000.00 | 599.00 | 599000.00 | 402.00 | 402000.00 | 832.90 | 832900.00 | 402000.00 | Space Controls
5.20 | Installation of Junction Box | 1000.00 | Nos. |  | 111.00 | 111000.00 | 499.00 | 499000.00 | 236.00 | 236000.00 | 424.80 | 424800.00 | 111000.00 | Master Electric Store
6.00 | Supply of Pendant mounted batten type 40W LED luminaires with extruded aluminium housing or equivalent, suitable diffuser, suitable driver, complying with all relevant standards. Minimum lumen output - 4800 lumens. Type-B Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
6.10 | Supply of 40W LED Luminaire | 85.00 | Nos. |  | 581.00 | 49385.00 | 3999.00 | 339915.00 | 1493.00 | 126905.00 | 712.60 | 60571.00 | 49385.00 | Master Electric Store
6.20 | Installation of 40W LED Luminaire | 85.00 | Nos. |  | 159.00 | 13515.00 | 2199.00 | 186915.00 | 2124.00 | 180540.00 | 628.70 | 53439.50 | 13515.00 | Master Electric Store
7.00 | Supply & Installation of Batten type 40W LED luminaires with PC housing with base of extruded aluminium or equivalent, suitable diffuser, suitable driver, complying with all relevant standards. It shall be of dustproof type and shall be provided with suitable arrangements for surface and suspension mounting. Minimum lumen output - 4800 lumens. TYPE-D Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
7.10 | Supply of 40W LED Luminaire | 80.00 | Nos. |  | 517.00 | 41360.00 | 4899.00 | 391920.00 | 1558.00 | 124640.00 | 2128.60 | 170288.00 | 41360.00 | Master Electric Store
7.20 | Installation of 40W LED Luminaire | 80.00 | Nos. |  | 159.00 | 12720.00 | 2199.00 | 175920.00 | 2124.00 | 169920.00 | 628.70 | 50296.00 | 12720.00 | Master Electric Store
8.00 | Supply & Installation of 36W LED recessed mounted decorative luminaires with CRCA housing or equivalent, suitable diffuser, suitable driver, complying with all relevant standards. Minimum lumen output - 3600 lumens. The dimension of fixtures shall be 2x2 feet approximately. TPYE-E Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
8.10 | Supply of 36W LED Luminaire | 20.00 | Nos. |  | 1593.00 | 31860.00 | 4999.00 | 99980.00 | 1493.00 | 29860.00 | 1314.20 | 26284.00 | 26284.00 | Pyrotech technologies Pvt. Ltd.
8.20 | Installation of 36W LED Luminaire | 20.00 | Nos. |  | 557.00 | 11140.00 | 799.00 | 15980.00 | 2124.00 | 42480.00 | 560.70 | 11214.00 | 11140.00 | Master Electric Store
9.00 | Supply & Installation of 80W LED low bay luminaires with pressure die cast aluminium housing or equivalent, suitable diffuser, suitable driver, complying with all relevant standards. It shall be provided with suitable surface and suspension mounting arrangements. Minimum lumen output - 9600 lumens. TYPE-H3. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
9.10 | Supply of 80 LED Luminaire | 120.00 | Nos. |  | 4323.00 | 518760.00 | 5999.00 | 719880.00 | 4390.00 | 526800.00 | 2221.10 | 266532.00 | 266532.00 | Pyrotech technologies Pvt. Ltd.
9.20 | Installation of 80 LED Luminaire | 120.00 | Nos. |  | 557.00 | 66840.00 | 2599.00 | 311880.00 | 2124.00 | 254880.00 | 679.60 | 81552.00 | 66840.00 | Master Electric Store
10.00 | Supply & Installation of 6A CRCA sheet steel receptacle shall be industrial type, IP-42, 3 pin , single phase, 50Hz, 240V AC supply.All receptacles shall be supplied with MCB and plug tops as per relevant IS. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
10.10 | Supply of 6A Receptacle | 25.00 | Nos. |  | 1847.00 | 46175.00 | 1699.00 | 42475.00 | 5876.00 | 146900.00 | 2591.30 | 64782.50 | 42475.00 | JAGGI ELECTRICALS
10.20 | Installation of 6A Receptacle | 25.00 | Nos. |  | 239.00 | 5975.00 | 499.00 | 12475.00 | 1770.00 | 44250.00 | 424.80 | 10620.00 | 5975.00 | Master Electric Store
11.00 | Supply & Installation of 16A CRCA sheet steel receptacle shall be industrial type, IP-42, 3 pin , single phase, 50Hz, 240V AC supply.All receptacles shall be supplied with MCB and plug tops as per relevant IS. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
11.10 | Supply of 16A Receptacle | 70.00 | Nos. |  | 1991.00 | 139370.00 | 7999.00 | 559930.00 | 5876.00 | 411320.00 | 3368.70 | 235809.00 | 139370.00 | Master Electric Store
11.20 | Installation of 16A Receptacle | 70.00 | Nos. |  | 318.00 | 22260.00 | 999.00 | 69930.00 | 1770.00 | 123900.00 | 424.80 | 29736.00 | 22260.00 | Master Electric Store
12.00 | Supply & Installation of 63A CRCA sheet steel receptacle shall be industrial type, IP-42, 4 pin & neutral, 3 phase, 50Hz, 415V AC supply. All receptacles shall be supplied with MCB and plug tops as per relevant IS. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above.
12.10 | Supply of 63A Receptacle | 3.00 | Nos. |  | 13596.00 | 40788.00 | 7999.00 | 23997.00 | 16709.00 | 50127.00 | 20730.30 | 62190.90 | 23997.00 | JAGGI ELECTRICALS
12.20 | Installation of 63A Receptacle | 3.00 | Nos. |  | 477.00 | 1431.00 | 2599.00 | 7797.00 | 1770.00 | 5310.00 | 1019.40 | 3058.20 | 1431.00 | Master Electric Store
13.00 | Installation of ELB , Site Installation works (Erection, preparation of area/ EP where the equipment is to be installed, installation, carrying out pre-commissioning checks, Testing and commissioning including storage, handling, loading/unloading, transportation at site, etc. and handing over of following Electrical Equipments including supply and installation of Embedded parts (wherever required), anchor fasteners, base frames, mounting brackets, support structures, hardware etc. (as required) along with necessary welding drilling, painting etc. of different modules conforming to requirement of tender specification and GA drawings. Note: The Installation charges quoted shall include supply of all accessories and hardware mentioned above. | 1.00 | Nos. |  | 79650.00 | 79650.00 | 4999.00 | 4999.00 | 118000.00 | 118000.00 | 555276.50 | 555276.50 | 4999.00 | JAGGI ELECTRICALS
14.00 | Dismantalling , loading, transportation, unloading and Re-Installation of Structural steel High Mast lighting tower of 30 Mtr. height . Average transportation distance from existing location to designated location is approximately 1500 M at main plant area of RAPP-7&8. The scope also includes Re-installation of HPSV/LED lighting fixture complete with all accessories Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
14.10 | Dismantalling of High Mast Tower from Existing Foundation | 1.00 | Nos. |  | 23895.00 | 23895.00 | 19999.00 | 19999.00 | 147500.00 | 147500.00 | 84953.40 | 84953.40 | 19999.00 | JAGGI ELECTRICALS
14.20 | Loading, Shifting and unloading of High Mast Tower | 1.00 | Nos. |  | 23895.00 | 23895.00 | 41999.00 | 41999.00 | 59000.00 | 59000.00 | 16990.70 | 16990.70 | 16990.70 | Pyrotech technologies Pvt. Ltd.
14.30 | Re-Installation of High Mast Tower on foundation | 1.00 | Nos. |  | 31860.00 | 31860.00 | 22499.00 | 22499.00 | 147500.00 | 147500.00 | 254860.10 | 254860.10 | 22499.00 | JAGGI ELECTRICALS
15.00 | Supply & Installation of photo cell unit: Supply & installation of photo cell unit with 3 Phase 04 wire 32 amp power contactor unit panel for lighting control. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
15.10 | Supply: | 2.00 | Nos. |  | 23895.00 | 47790.00 | 22999.00 | 45998.00 | 6785.00 | 13570.00 | 46273.00 | 92546.00 | 13570.00 | Space Controls
15.20 | Installation: | 2.00 | Nos. |  | 3982.00 | 7964.00 | 1899.00 | 3798.00 | 2360.00 | 4720.00 | 12743.00 | 25486.00 | 3798.00 | JAGGI ELECTRICALS
16.00 | Installation, Termination & Connection of 2Cx 2.5 mm2 Copper Conductor control cable for lighting control. Other details are as per Technical specification and direction of Engineer-In-Charge .
16.10 | Laying of Cable : | 200.00 | Mtrs. |  | 40.00 | 8000.00 | 49.00 | 9800.00 | 47.00 | 9400.00 | 20.40 | 4080.00 | 4080.00 | Pyrotech technologies Pvt. Ltd.
16.20 | Glanding, Termination & Connection: | 10.00 | Nos. |  | 159.00 | 1590.00 | 599.00 | 5990.00 | 295.00 | 2950.00 | 892.00 | 8920.00 | 1590.00 | Master Electric Store
17.00 | Laying of Cable 4C X 25 sq mm cable:Laying of 1100 V grade stranded shaped AL conductor XLPE insulation extruded, PVC inner Sheathed, GS Strip/Wire armoured and overall PVC sheathed cable in trenches /burried in ground. . The cable shall be supplied by NPCIL on free issue basis. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative. | 3000.00 | Mtrs. |  | 63.00 | 189000.00 | 69.00 | 207000.00 | 83.00 | 249000.00 | 127.40 | 382200.00 | 189000.00 | Master Electric Store
18.00 | Supply , Glanding, Termination and Connection of cable gland (Including Lugs): Supply , Glanding, Termination & Connection of 1100 V grade XLPE insulated armoured aluminium cable, including supply and installation of Double compression nickle plated brass cable glands and crimping type aluminium lugs as per Specification . The Rate quoted shall be inclusive of cost of double compression cable gland & aluminium lugs. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
18.10 | Supply of Cable Gland with Lug for 4CX25 sq mm Cable | 20.00 | Nos. |  | 80.00 | 1600.00 | 999.00 | 19980.00 | 1357.00 | 27140.00 | 1018.00 | 20360.00 | 1600.00 | Master Electric Store
18.20 | Glanding, Termination and Connection of 4CX25 sq mm Cable (with Lugs) | 20.00 | Nos. |  | 478.00 | 9560.00 | 599.00 | 11980.00 | 413.00 | 8260.00 | 321.10 | 6422.00 | 6422.00 | Pyrotech technologies Pvt. Ltd.
19.00 | Supply, Installation ,Termination & Connection of 1.1 KV voltage grade 5C *2.5 mm2 EPR insulated PCP sheathed trailing cable for high mast tower. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
19.10 | Supply of Cable: | 150.00 | Mtrs. |  | 748.00 | 112200.00 | 299.00 | 44850.00 | 523.00 | 78450.00 | 740.40 | 111060.00 | 44850.00 | JAGGI ELECTRICALS
19.20 | Laying of Cable : | 150.00 | Mtrs. |  | 55.00 | 8250.00 | 49.00 | 7350.00 | 59.00 | 8850.00 | 89.20 | 13380.00 | 7350.00 | JAGGI ELECTRICALS
19.30 | Termination & Connection: | 10.00 | Nos. |  | 48.00 | 480.00 | 799.00 | 7990.00 | 354.00 | 3540.00 | 321.10 | 3211.00 | 480.00 | Master Electric Store
20.00 | Supply and Installation of 8 SWG GI wire:Supply and Installation of 8 SWG GI wire for Equipment earthing along with cable/conduit. The scope includes supply and installation of all hardware and consumables required for successfully completion of the job. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
20.10 | Supply of 8 SWG GI wire: | 7000.00 | Mtrs. |  | 16.00 | 112000.00 | 19.00 | 133000.00 | 13.00 | 91000.00 | 18.50 | 129500.00 | 91000.00 | Space Controls
20.20 | Installation of 8 SWG GI wire: | 7000.00 | Mtrs. |  | 11.00 | 77000.00 | 19.00 | 133000.00 | 30.00 | 210000.00 | 25.50 | 178500.00 | 77000.00 | Master Electric Store
21.00 | Supply and Replacement of lighting fixtures (70W HPSV Bulkhead) : Supply and replacement of lighting fixtures of 70W HPSV Bulkhead with LED lighting fixtures in Turbine Building (approax height of fixture is 3-4mtrs) including replacement of wire (approx 1.5mtr), flexible conduit (approx 1.5mtr), lug along with their termination. Other details are as per Technical specification and direction of Engineer-In-Charge.
21.10 | Supply of LED lighting fixture : LED bulkhead luminaires with die cast aluminium housing or equivalent, suitable diffuser, suitable driver, suitable for wall mounting arrangement, complying with all relevant standards. Minimum lumen output 6600 lumens | 8.00 | Nos. |  | 3759.00 | 30072.00 | 2999.00 | 23992.00 | 811.00 | 6488.00 | 1443.70 | 11549.60 | 6488.00 | Space Controls
21.20 | Replacement of lighting fixtures as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative. | 8.00 | Nos. |  | 557.00 | 4456.00 | 2999.00 | 23992.00 | 2124.00 | 16992.00 | 1079.80 | 8638.40 | 4456.00 | Master Electric Store
22.00 | Supply and Replacement of lighting fixtures (70W HPSV Well Glass) : Supply and replacement of lighting fixtures of 70W HPSV Well Glass with LED lighting fixtures in Turbine Building (approax height of fixture is 3-4mtrs) including replacement of wire(approx 1.5mtr), flexible conduit (approx 1.5mtr), lug along with their termination. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
22.10 | Supply of LED lighting fixture : LED well glass luminaires with pressure die cast aluminium housing or equivalent, suitable diffuser, suitable driver, complying with all relevant standards. Minimum lumen output - 6600 lumens | 8.00 | Nos. |  | 3345.00 | 26760.00 | 6999.00 | 55992.00 | 2985.00 | 23880.00 | 1443.70 | 11549.60 | 11549.60 | Pyrotech technologies Pvt. Ltd.
22.20 | Replacement of lighting fixtures as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative. | 8.00 | Nos. |  | 637.00 | 5096.00 | 1999.00 | 15992.00 | 2360.00 | 18880.00 | 1078.90 | 8631.20 | 5096.00 | Master Electric Store
23.00 | Supply and Replacement of lighting fixtures (160W MLL lamp) : Supply and replacement of lighting fixtures of 160W MLL lamp with LED lighting fixtures in Turbine Building (approax height of fixture is 3-4mtrs) including replacement of wire(approx 1.5mtr), flexible conduit (approx 1.5mtr), lug along with their termination. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
23.10 | Supply of LED lighting fixture : LED flameproof fixtures with Ex’d’ type enclosure suitable for gas group IIA & IIB, cast aluminium housing or equivalent, diffuser of toughened glass, corrosion resistant finish, suitable driver, complying with all relevant standards. Cable entry for the fixtures shall be provided with flame proof cable glands suitable for termination of 3core 1100V grade 2.5mm2 copper XLPE insulated armoured cables. For plugging off unused entries flame proof plugs shall be used. Minimum lumen output 12600 lumens. | 8.00 | Nos. |  | 14655.00 | 117240.00 | 11999.00 | 95992.00 | 12358.00 | 98864.00 | 7959.00 | 63672.00 | 63672.00 | Pyrotech technologies Pvt. Ltd.
23.20 | Replacement of lighting fixtures as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative. | 8.00 | Nos. |  | 557.00 | 4456.00 | 3299.00 | 26392.00 | 2596.00 | 20768.00 | 1159.60 | 9276.80 | 4456.00 | Master Electric Store
24.00 | Supply and Replacement of lighting fixtures (150W HPSV lamp): Replacement of 150W HPSV lamp lighting fixtures with LED lighting fixtures in Turbine Building ( approx height of fixture is 6-7 mtrs) including replacement of wire(approx 1.5mtr), flexible conduit (approx 1.5mtr), lug along with their termination. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
24.10 | Supply of LED lighting fixture : LED medium bay luminaires with pressure die cast aluminium housing or equivalent, suitable diffuser, suitable driver, suitable surface and suspension mounting arrangements, complying with all relevant standards. Minimum lumen output 27000 lumens | 24.00 | Nos. |  | 9080.00 | 217920.00 | 8999.00 | 215976.00 | 8850.00 | 212400.00 | 3054.00 | 73296.00 | 73296.00 | Pyrotech technologies Pvt. Ltd.
24.20 | Replacement of lighting fixtures | 24.00 | Nos. |  | 796.00 | 19104.00 | 4999.00 | 119976.00 | 2596.00 | 62304.00 | 1581.00 | 37944.00 | 19104.00 | Master Electric Store
25.00 | Supply and Replacement of lighting fixtures (250 W HPSV lamp) : Replacement of 250 W HPSV lamp lighting fixtures with LED lighting fixtures in Turbine Building (approax height of fixture is 10-11mtrs) including replacement of wire (approx 1.5mtr), flexible conduit (approx 1.5mtr), lug along with their termination. Other details are as per Technical specification and direction of Engineer-In-Charge.
25.10 | Supply of LED lighting fixture : LED floodlight luminaires with pressure die cast aluminium housing or equivalent, diffuser of toughened glass, suitable driver, complying with all relevant standards. Minimum lumen output 28200 lumens. | 12.00 | Nos. |  | 10992.00 | 131904.00 | 9999.00 | 119988.00 | 9912.00 | 118944.00 | 5275.10 | 63301.20 | 63301.20 | Pyrotech technologies Pvt. Ltd.
25.20 | Replacement of lighting fixtures | 12.00 | Nos. |  | 716.00 | 8592.00 | 4999.00 | 59988.00 | 2597.00 | 31164.00 | 2378.70 | 28544.40 | 8592.00 | Master Electric Store
26.00 | Supply and Replacement of lighting fixtures (400 W HPSV lamp) : Replacement of 400 W HPSV lamp lighting fixtures with LED lighting fixtures in Turbine Building at roof trust including replacement of wire (approx 1.5mtr), flexible conduit (approx 1.5mtr), lug along with their termination. Other details are as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative.
26.10 | Supply of LED lighting fixture : LED high bay luminaires with pressure die cast aluminium housing or equivalent, suitable diffuser, suitable driver, suitable surface and suspension mounting arrangements, complying with all relevant standards. Minimum lumen output 47000 lumens | 12.00 | Nos. |  | 21410.00 | 256920.00 | 18999.00 | 227988.00 | 10620.00 | 127440.00 | 4164.60 | 49975.20 | 49975.20 | Pyrotech technologies Pvt. Ltd.
26.20 | Replacement of lighting fixtures as per Technical specification and as per direction of Engineer-In-Charge or his authorized representative. | 12.00 | Nos. |  | 1115.00 | 13380.00 | 1999.00 | 23988.00 | 2596.00 | 31152.00 | 2497.60 | 29971.20 | 13380.00 | Master Electric Store
| Total in Figures |  |  |  |  | 7717033.00 |  | 12492312.00 |  | 10454078.00 |  | 11235297.90
Lowest Amount Quoted BY: Master Electric Store(7717033.00)

## BOQ Summary
BOQ Summary Details Tender Title: Additional lighting system work for RAPP-8 Tender ID: 2025_NPCIL_240975_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Master Electric Store (BID ID -882069) | 7717033.00 | L1
| 2 | Space Controls (BID ID -881958) | 10454078.00 | L2
| 3 | Pyrotech technologies Pvt. Ltd. (BID ID -882138) | 11235297.90 | L3
| 4 | JAGGI ELECTRICALS (BID ID -882160) | 12492312.00 | L4