## BoQ1
Government eProcurement System Created By: NAUNIHAL SINGH MEENA Created Date/Time: 14-Oct-2025 09:38 AM Tender Title: Biennial contract for Maintenance of Aluminum Partitions, False Ceiling, Flooring, Door and Window Shutters, Paneling and Other Miscellaneous Civil works at RAPS-5and6, Plant Site. Tender ID: 2025_NPCIL_243081_1
Tender Inviting Authority: Maintenance Superintendent, Unit-5&6, RR Site
Name of Work:Biennial contract for Maintenance of Aluminum Partitions, False Ceiling, Flooring, Door and Window Shutters, Paneling and Other Miscellaneous Civil works at RAPS-5&6, Plant Site.
Contract No: NPC/RRS/56/2025/CPT-A2855
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BINDAL FABRICATION (GSTN-NA) BID ID -891258
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PARTICLE BOARD: Supplying, Providing and Fixing 12 mm thick cement bonded particle board conforming to IS- 14276 of approved make and shade of approved design including cost of screws etc. complete, in aluminum frame work at various elevations including finishing etc. complete as per specifications, drawings and instructions of the Engineer. (Note:- Aluminum frame work shall be paid in relevant item). | 250.00 | SqM | 1.25 | 850.00 | 212500.00 | 212500.00 | BINDAL FABRICATION
2.00 | ALUMINIUM STRUCTURAL WORK: Providing and erecting including assembling, fitting and fixing of 3 mm wall thickness anodized frame work of approved colour for glazed partition, laminated gypsum board /Bison Panel, partition, glazed doors and windows at various elevations (excluding glazing / gypsum board/ Bison Panel), including beveled glazed chip, neoprene gasket, wool pile weathering, louver panels and other fittings and fixture like Al. door handles, Al. tower bolts, Al. aldrops, Al. door stopper, etc. as required, along with necessary arrangements to fit the frame with concrete / masonry, mastic caulking, grouting, all labour and materials etc. complete as per drawings, specifications and as directed by the Engineer. Note:- Payment will be made on weight of anodized aluminum section used for works. No separate payment will be made for providing and fixing of Neoprene Gasket / Wool pile weathering and otherfitings, fixtures required as per fitting and fixtures schedule, however, payment for floor spring, glazing , Gypsum Board Bison panel shall be made under relevant item. | 2500.00 | Kg. | 0.00 | 640.00 | 1600000.00 | 1600000.00 | BINDAL FABRICATION
3.00 | Providing and fixing pre-fabricated deco grill or equivalent expanded Aluminum grills made of anodized aluminum as per design and drawing having members section of size 7.5 mm X 6.0 mm and opening of size as per field requirment fixed to staircase opening with aluminum frame with required screws, Y & H aluminum section as per drawing at the ends and middle joints at all heights etc. complete as per specification & directed by the Engineer. | 50.00 | Kg. | 100.00 | 800.00 | 40000.00 | 40000.00 | BINDAL FABRICATION
4.00 | Providing & Fixing of the quality fittings Sliding door bolts of 16mm dia 300 mm long with necessary nuts & screws etc.: Anodized Aluminium as directed by the Engineer-in-Charge. | 10.00 | Each | 53.00 | 362.00 | 3620.00 | 3620.00 | BINDAL FABRICATION
5.00 | Providing & Fixing of medium duty hydrolically regulated door closer of type-2, suitable for left or right or universal with necessary screws/ nuts, bolts etc. complete as Directed by the Engineer-in-Charge. | 50.00 | Nos. | 10.00 | 860.00 | 43000.00 | 43000.00 | BINDAL FABRICATION
6.00 | Supply of CE certified surface mounted overhead fire rated door clouser with adjustable forearm having rust proof metal body for fire doors. The door clouser should comply with EN 1154 standard, having selectable power size (spring strength range) from 3 to 6 (more selectable power range in both side is also acceptable)for fire door with 180 degree maximum door opening angle. The door closer should have adjustable latching speed and closing speed and should also have adjustable back check feature. | 20.00 | Nos. | 11.00 | 2150.00 | 43000.00 | 43000.00 | BINDAL FABRICATION
7.00 | Providing & Fixing Godrej mark Euro Profile Handle Set-240 mm Universal/Supreme(Gold) as directed by the Engineer-in-Charge. | 15.00 | Each | 10.00 | 980.00 | 14700.00 | 14700.00 | BINDAL FABRICATION
8.00 | Providing and fixing double action hydraulic floor spring of make Godrej/Dorma or equivialent, for doors, including cost of cutting floors as required, embedding in floors and cover plates with brass pivot and single place M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge : With stainless steel cover plate. | 10.00 | Each | 22.00 | 3120.00 | 31200.00 | 31200.00 | BINDAL FABRICATION
9.00 | Providing and fixing aluminum hanging floor door stopper ISI marked anodized (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour and shade with necessary screws etc. complete: Single rubber stoper as per drawings, specifications and directions of Engineer-in-charge. | 20.00 | Each | 0.00 | 50.00 | 1000.00 | 1000.00 | BINDAL FABRICATION
10.00 | Providing and fixing verrtical blinds of make ALASKA of approved shade with all standard fixing arrangments including cost of drilling holes, fixing screws, handling etc. all complete as directed by engineer. | 250.00 | SqM | 1.25 | 1500.00 | 375000.00 | 375000.00 | BINDAL FABRICATION
11.00 | Providing & Fixing of attachment of pivot hinge suitable for aluminium doors of ISI mark complete as directed by the Engineer-in-Charge. | 50.00 | Each | 0.00 | 180.00 | 9000.00 | 9000.00 | BINDAL FABRICATION
12.00 | Providing and fixing aluminium tower bolts, Aldrops, Handles, etc. of diffrent sizes of ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete as directed by Engineer In Charge. | 50.00 | Kg. | 100.00 | 800.00 | 40000.00 | 40000.00 | BINDAL FABRICATION
13.00 | Providing and fixing matallized reflecting Sunfilm of “GARWARE POLYSTER” make or equivalent of approved make and shade with necessary adhesive as required for covering the glazed window panels of inside faces in rooms including installation in position to line and level, cutting the sunfilm to exact size, pasting the same with adhesive to glass surfaces with full contact without leaving of any air hole all in workmen like manner after cleaning the glass surface etc. complete as directed. | 300.00 | SqM | 53.00 | 800.00 | 240000.00 | 240000.00 | BINDAL FABRICATION
14.00 | Providing & Fixing of Water proof plywood 06 mm thick ISI marked. | 40.00 | SqM | 10.00 | 650.00 | 26000.00 | 26000.00 | BINDAL FABRICATION
15.00 | Providing & Fixing of Water proof plywood 12 mm thick ISI marked. | 10.00 | SqM | 11.00 | 1200.00 | 12000.00 | 12000.00 | BINDAL FABRICATION
16.00 | Providing & Fixing of Commercial plywood 4 mm thick ISI marked . | 15.00 | SqM | 10.00 | 450.00 | 6750.00 | 6750.00 | BINDAL FABRICATION
17.00 | Providing & Fixing of Commercial plywood 6 mm thick ISI marked . | 15.00 | SqM | 22.00 | 680.00 | 10200.00 | 10200.00 | BINDAL FABRICATION
18.00 | Providing & Fixing of Commercial plywood 10 mm thick ISI marked. | 20.00 | SqM | 0.00 | 740.00 | 14800.00 | 14800.00 | BINDAL FABRICATION
19.00 | Providing & Fixing of Commercial plywood 12 mm thick ISI marked. | 30.00 | SqM | 1.25 | 950.00 | 28500.00 | 28500.00 | BINDAL FABRICATION
20.00 | Providing & Fixing of Veneer Teak plywood 4 mm thick ISI marked. | 40.00 | Sqm | 0.00 | 2850.00 | 114000.00 | 114000.00 | BINDAL FABRICATION
21.00 | Providing & Fixing of 4mm thick plain glass in required size as directed by the Engineer-in-Charge. | 75.00 | SqM | 100.00 | 800.00 | 60000.00 | 60000.00 | BINDAL FABRICATION
22.00 | Providing & Fixing of 5mm thick plain glass in required size as directed by the Engineer-in-Charge. | 50.00 | SqM | 53.00 | 1050.00 | 52500.00 | 52500.00 | BINDAL FABRICATION
23.00 | Providing & Fixing of 6mm thick plain glass in required size as directed by the Engineer-in-Charge. | 30.00 | SqM | 10.00 | 1200.00 | 36000.00 | 36000.00 | BINDAL FABRICATION
24.00 | Providing & Fixing of 4mm thick frosted glass in required size as directed by the Engineer-in-Charge. | 10.00 | SqM | 11.00 | 900.00 | 9000.00 | 9000.00 | BINDAL FABRICATION
25.00 | Providing and fixing P.V.C sheet/Tile 2.0 mm thick sheet as approved by ENC, for flooring using rubber base adhesives including rolling with light wooden roller complete as per specification & direction of EIC. | 250.00 | SqM | 10.00 | 1500.00 | 375000.00 | 375000.00 | BINDAL FABRICATION
26.00 | Providing and fixing retro-reflective Cautionary, Mandatory & Informatory sign boards of required size and shape made out of 2 mm thick aluminum sheet face to be fully covered with high intensity encapsulated lens type retro-reflective sheeting, Letters symbols, borders etc. will be as per IRC : 67 with required colors scheme on the boards and with the high intensity grade A as per specification and as approved by Engineer In charge. Note: Structural steel support of specified configuration as required for installing sign - boards shall be paid separately under relevant items. | 50.00 | sqm | 22.00 | 6000.00 | 300000.00 | 300000.00 | BINDAL FABRICATION
27.00 | MODULAR TILE FALSE CEILING: Providing and fixing False ceiling in line and level using approved make mineral fibre modular tiles based false ceiling system having tile module of size 600 mm x 600 mm x15 mm thick, all as per manufacture's specifications and at all elevations. The frame work system shall be made of powder coated G.I. T-Section of size 38 mm x 25 mm x 0.33mm, cross T-section of size 25 mm x 25 mm and wall angle of size 25x25x0.4mm fixed with wall or existing framework. The rate shall be inclusive of making frame cutouts/opening for light fitting, Diffusers, Spot lights, smoke Detectors, water Sprinklers, Speaker etc. Note: 1. Contractor to quota the item rate based on make USG or equivalent, Panel Type Radar, Edge Detail FLB, Grid system Omega. 2. The rate shall be inclusive of all materials, labour etc. for the finished work and also includes the making provisions for necessary arrangements for cutouts required for providing lighting, fixture, grills, diffuses, spot lights, smoke detectors, water sprinklers, speakers etc. 3. No deduction will be made for the above cutouts. | 200.00 | sqm | 0.00 | 1900.00 | 380000.00 | 380000.00 | BINDAL FABRICATION
28.00 | ACP False Ceiling: Providing and fixing ACP( Aluminum Composite Panel) false ceiling system at all heights, 600 mm x 600 mm in size, 4mm thick polyethylene filled panel with both side Aluminum coil of 0.25 mm thickness finished by PVDF coating. Access false ceiling panels shall be in square shape, have adequate fire resistance properties. The frame work of ACP Access system shall be made of powder coated G.I. T- Section of size 38 mm x 25 mm x 0.33mm, cross T- section of size 25 mm x 25 mm and wall angle of size 25x25x0.4mm fixed with wall or existing framework . The ACP false ceiling panels of ALSTONE or equivalent make. Shade of ACP panel and frame work shall be got approved by Engineer. Note:- 1. The rate shall be inclusive of all materials, labour etc. for the finished work and also includes the making provisions for necessary arrangements for cutouts required for providing lighting, fixture, grills, diffuses, spot lights, smoke detectors, water sprinklers, speakers etc. 2. No deduction will be made for the above cutouts. | 400.00 | sqm | 0.00 | 2300.00 | 920000.00 | 920000.00 | BINDAL FABRICATION
29.00 | Gyp Board False Ceiling : Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction,including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to all/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge with in cluding painting in two coats or more with acrylic emulssion of approved make and colour : 12.5 mm thick Gyp board Gyprock-MR (moisture repellent) or cement bonded particle board (MR) Square / tapered edge false ceiling using M.F. suspended ceiling system confirming to Gyp 6.5. Note:- 1. The rate shall be inclusive of all materials, labour etc. for the finished work and also includes the making provisions for necessary arrangements for cutouts required for providing lighting, fixture, grills, diffuses, spot lights, smoke detectors, water sprinklers, speakers etc. 2. No deduction will be made for the above cutouts. | 400.00 | sqm | 100.00 | 1450.00 | 580000.00 | 580000.00 | BINDAL FABRICATION
30.00 | Providing and fixing SS two ball bearing flat button hinge having size of 100 x75 x3 mm with screw of M6 X 16mm for non-fire metal door complete as per direction of Engineer-in-Charge | 100.00 | No. | 53.00 | 180.00 | 18000.00 | 18000.00 | BINDAL FABRICATION
31.00 | Providing and fixing of SS (316 Grad) GEZE Aldrop 16mm dia and 300mm long complete as per direction of Engineer-in-Charge. | 50.00 | No. | 10.00 | 460.00 | 23000.00 | 23000.00 | BINDAL FABRICATION
32.00 | Providing and fixing of GEZE - SS door pull handle (round D type) 19mm dia and 300mm long including Accessries required for fixing the same with metal/wood door complete as per direction of Engineer-in-Charge. | 40.00 | No. | 11.00 | 740.00 | 29600.00 | 29600.00 | BINDAL FABRICATION
33.00 | Providing and fixing of SS towerbolt 200 mm long for metal door complete as per direction of Engineer-in-Charge. | 40.00 | No. | 10.00 | 138.00 | 5520.00 | 5520.00 | BINDAL FABRICATION
34.00 | Supplying & fixing of Aluminium panel 4 mm thick make from aluminium sheet of 0.25mm thick and LDPE CORE with proper PVDF coating and protective film of colour/plain approval by Engineer In-charge. | 50.00 | SqM | 22.00 | 3050.00 | 152500.00 | 152500.00 | BINDAL FABRICATION
35.00 | Providing & fixing Roller type window curtain / blind made from specified type decorative polystered rolling curtain /blind of approved shed with all necessary standard fixing arrangement like roller chain and roller arrangement of approved make etc. complete as directed by Engineer in charge. For fully covered roller type window shed/blind. | 50.00 | SqM | 0.00 | 1600.00 | 80000.00 | 80000.00 | BINDAL FABRICATION
36.00 | Providing & fixing Roller type window curtain/blind made from specified type decorative polystered rolling curtain/ blind of approved shed with all necessary standard fixing arrangement like roller chain and roller arrangement of approved make etc. complete as directed by Engineer in charge. For half covered and half vision type roller window shed/blind | 50.00 | SqM | 100.00 | 2400.00 | 120000.00 | 120000.00 | BINDAL FABRICATION
37.00 | Supply, removing and fixing of materials required for All doors & windows such as rubber gasket rollers & door seals etc. Including cost of approved adhesive for fixing seals complete as per approved by Engineer
37.01 | Rubber gasket for 3 to 8 mm thick glass | 2500.00 | RM | 0.00 | 80.00 | 200000.00 | 200000.00 | BINDAL FABRICATION
37.02 | PVC rollers | 50.00 | Nos. | 1.25 | 28.00 | 1400.00 | 1400.00 | BINDAL FABRICATION
37.03 | Sliding rollers cum hangers for top hung sliding shutters. | 50.00 | Nos. | 1.25 | 350.00 | 17500.00 | 17500.00 | BINDAL FABRICATION
37.04 | Aluminium door seal with built-in brush of standard make. | 50.00 | RM | 0.00 | 170.00 | 8500.00 | 8500.00 | BINDAL FABRICATION
38.00 | Providing and fixing accoustic and fire retardant ALU 84R plain 0.50 mm TCT ral 9003 white linear metal false ceiling system panel togather & ALU 0.91mm thick carrier with other necessary grid components as per measurement inclusive of frame by providing new squire edge panels of matching pattern confirming to fire retardant ALU 84R or equivalent, formed out of 0.5 mm thick aluminium alloy, powder coated on exposed sides, fixed on roll formed carriers of galvanised stove enamelled protruded to hold panels in a module of 100 mm.The carriers to be suspended from soffit of slab / beam with G.I. suspension system by 5 to 6 mm dia mild steel hangers at max. of 1200 mm C/C with suitable turn buckle / level adjuster fixed with connecting clips, nuts, bolts, washers, screws all complete as per specifications, drawing and direction of engineer. | 50.00 | Sqm | 100.00 | 2750.00 | 137500.00 | 137500.00 | BINDAL FABRICATION
39.00 | Supplying and fixing vaccumised double glazed glass of 6mm thickness with 12 mm air gap between the two glasses duly sealed on all the sides with silicon sealant for beading including fixing the glazed panel in the aluminum frame with aluminum channels/ clips etc and sealing the gaps with silicon sealant around the panel etc complete. | 10.00 | Sqm | 53.00 | 5600.00 | 56000.00 | 56000.00 | BINDAL FABRICATION
40.00 | Supplying & applying of chemical emulsion like aldrine 0.5% or timber guard treatment [TGT] mixed with kerosene oil in 1:1 ratio for Anti-termite treatment on wooden structures. | 200.00 | Sqm | 10.00 | 180.00 | 36000.00 | 36000.00 | BINDAL FABRICATION
41.00 | Providing & Fixing of Hettich Make Heavy Duty Cylindrical Knob Set with three keys – Keyed (Entrance) Polished Brass and as directed by the Engineer. | 20.00 | Each | 11.00 | 2200.00 | 44000.00 | 44000.00 | BINDAL FABRICATION
42.00 | Repairing work of existing vertical blinds by providing and replacing damaged parts in position as per the requirement of the job.
42.01 | Runner for holding the clips. | 100.00 | Each | 10.00 | 56.00 | 5600.00 | 5600.00 | BINDAL FABRICATION
42.02 | Strip of vertical / horizontal blinds of matching shade. | 100.00 | RM | 11.00 | 40.00 | 4000.00 | 4000.00 | BINDAL FABRICATION
42.03 | Gear. | 100.00 | Each | 10.00 | 200.00 | 20000.00 | 20000.00 | BINDAL FABRICATION
42.04 | Clips for holding vertical blinds. | 100.00 | Each | 10.00 | 10.00 | 1000.00 | 1000.00 | BINDAL FABRICATION
43.00 | Supplying & fixing of factory made woolen carpet of BAJAJ or equivalent make (Weight of wool not less then 1000 gm/m2) in approved colour including cost of cleaning, preparation of surface, adhesive all complete as per direction of Engineer. | 300.00 | Sqm | 0.00 | 3000.00 | 900000.00 | 900000.00 | BINDAL FABRICATION
44.00 | Supplying of factory made non wooven, carpet (weight of carpet not less than 400 gm/m2 in approve color including cost of cleaning, preparation of surface adhesive all complete as directed by Enginner. | 25.00 | Sqm | 1.25 | 900.00 | 22500.00 | 22500.00 | BINDAL FABRICATION
45.00 | Supplying & laying of factory made PVC carpet Durotruf or equivalent as approval. | 150.00 | Sqm | 0.00 | 2200.00 | 330000.00 | 330000.00 | BINDAL FABRICATION
46.00 | Supplying and fixing of 2 mm thick PVC anti-static flooring, skirting confirming to IS 3462 latest revision of required size & approved shade of ARMSTRONG / ROYAL HOUSE / KRISHNA make in Engineer's store. Note: Grid network of copper strip shall be paid in relevant item separately. (Sample with shade and specifications shall be submitted by the contractor prior to supply of material). | 50.00 | Sqm | 100.00 | 1200.00 | 60000.00 | 60000.00 | BINDAL FABRICATION
47.00 | Supplying & fixing of fibre sheet/acrylic sheet/for roofing for verandah platform including erection of scafolding, stagging etc at all height. Complete. as directed by Enginner.
47.01 | 3 mm thick | 50.00 | Sqm | 22.00 | 2250.00 | 112500.00 | 112500.00 | BINDAL FABRICATION
47.02 | 6 mm thick | 150.00 | Sqm | 0.00 | 3200.00 | 480000.00 | 480000.00 | BINDAL FABRICATION
47.03 | Wall paper of approved colour | 250.00 | Sqm | 0.00 | 600.00 | 150000.00 | 150000.00 | BINDAL FABRICATION
48.00 | Supplying & fixing of aluminium staircase nozing (Antiskid) of size 35x12mm complete with adhesive, drilling holes and M.S Screw etc. as per instruction of EIC. | 1000.00 | RM | 100.00 | 160.00 | 160000.00 | 160000.00 | BINDAL FABRICATION
49.00 | Supplying and fixing stainless steel fly proof jali with 12 mesh per 2.5 cm in either direction in doors/ windows/ventilators with required screws / nuts & bolts complete as per drawing and direction of Engineer. | 50.00 | Sqm | 53.00 | 950.00 | 47500.00 | 47500.00 | BINDAL FABRICATION
50.00 | Supplying & fixing of 12 mm thick Gypsum board (mositure resistance) false ceiling with or without load bearing hanger arrangements inclusive of necessary cut out to receive electrical / air ducts in Gypsum board with two coats of suitable paint including matching the new work with the existing false ceiling at all elevations and locations. (Cost of perimeter channel, main rafter, intermediate channel, connecting clip shall be paid under relevant item.)
50.01 | 12 mm thick Gypsum board false ceiling with or without load bearing hanger. | 200.00 | Sqm | 11.00 | 720.00 | 144000.00 | 144000.00 | BINDAL FABRICATION
50.02 | Perimeter channel of size 20x30x27mm on walls for repairing of false ceiling. | 200.00 | RM | 10.00 | 80.00 | 16000.00 | 16000.00 | BINDAL FABRICATION
50.03 | Main rafter for repair of false ceiling. | 200.00 | RM | 22.00 | 140.00 | 28000.00 | 28000.00 | BINDAL FABRICATION
50.04 | Intermediate channel for repair of false ceiling. | 200.00 | RM | 0.00 | 120.00 | 24000.00 | 24000.00 | BINDAL FABRICATION
50.05 | Connecting clip for repair of false ceiling. | 200.00 | Nos. | 100.00 | 12.00 | 2400.00 | 2400.00 | BINDAL FABRICATION
51.00 | Removing exisiting false ceiling/wall panelling etc. including associated fittings & fixtures, transporation, loading & unloading and desposed of within 1 km area complete. | 1000.00 | Sqm | 10.00 | 320.00 | 320000.00 | 320000.00 | BINDAL FABRICATION
52.00 | Supplying & erecting including assembling, fitting and fixing single/ double leaf hollow Galvanized MS pressed steel 1.6 mm thick flush doors of maximum thickness of 45 mm along with frame at all elevations, with or without removable panels, using Galvanized MS sheets for frames and leaves, mastic caulking and grouting the frame, reinforcing and insulating the shutters including providing vision panel, heavy duty SS hinges, thresholds, fittings complete with frame, fittings, fixtures and all hardware such as aldrops, tower lts, handles, buffers, door stoppers etc. as a complete package as indicated in 'Door Schedule' including one coat of approved primer & two coats of approved paint as necessary all complete as per drawings, door schedules & specifications. "Note : Fixtures given separately in this schedule like vision panel, heavy duty door closures, night latches, smoke seal and drop seal for achieving air tightness etc. shall be paid separately under relevant item. Clear opening shall be considered for measurement"
52.01 | Without frame | 25.00 | Sqm | 1.25 | 7200.00 | 180000.00 | 180000.00 | BINDAL FABRICATION
52.02 | With Frame and shutter | 10.00 | Sqm | 0.00 | 9000.00 | 90000.00 | 90000.00 | BINDAL FABRICATION
53.00 | Supplying, Removing and Fixing acoustical wall panel of approved size and shade of high density bio soluble resin bonded glass wool absorber with a series of textile fabric facer, plain glass issue backer and fabric wraped edges as per door schedule, drawings, specification and manufactureres details. | 400.00 | Sqm | 53.00 | 500.00 | 200000.00 | 200000.00 | BINDAL FABRICATION
54.00 | Providing & replacing rollers, motor, door cover & track as suit to site, Controller, V- belt, pully & hanger for sliding sensor door power operator for door operation complete
54.01 | Guide Rollers | 8.00 | Each | 1.25 | 400.00 | 3200.00 | 3200.00 | BINDAL FABRICATION
54.02 | Sliding door motor | 2.00 | Each | 0.00 | 44000.00 | 88000.00 | 88000.00 | BINDAL FABRICATION
54.03 | Door cover & track as suit to site | 3.00 | Each | 100.00 | 12800.00 | 38400.00 | 38400.00 | BINDAL FABRICATION
54.04 | Sliding door Belt | 4.00 | Roll | 10.00 | 6200.00 | 24800.00 | 24800.00 | BINDAL FABRICATION
54.05 | Controller | 2.00 | Each | 11.00 | 32000.00 | 64000.00 | 64000.00 | BINDAL FABRICATION
54.06 | Sliding door hanger | 8.00 | Each | 22.00 | 950.00 | 7600.00 | 7600.00 | BINDAL FABRICATION
54.07 | Sliding door pully | 8.00 | Each | 0.00 | 1400.00 | 11200.00 | 11200.00 | BINDAL FABRICATION
55.00 | Maintaining the working conditions of fire/Non fire/aluminium/wooden/Fire Hose Cabinet on daily basis. (Skilled Worker). | 1200.00 | Task/ day | 1.25 | 1440.00 | 1728000.00 | 1728000.00 | BINDAL FABRICATION
56.00 | Accomplishing the task of movement of materials, documents etc., on all working days on daily basis by engaging minimum number of manpower as specified in conditions of contract & as directed by Engineer-In-Charge complete on all working days on daily basis Un-Skilled Worker. | 1200.00 | Task/ day | 100.00 | 1200.00 | 1440000.00 | 1440000.00 | BINDAL FABRICATION
57.00 | Accomplishing the task of day to day maintenance jobs with all required tools & plants but excluding consumables which will be provided by NPCIL by engaging the required Skilled manpower as specified in condition of contract beyond eight hours. (It is applicable for beyond eight hours for item no 55) | 600.00 | Task/ day | 100.00 | 300.00 | 180000.00 | 180000.00 | BINDAL FABRICATION
58.00 | Accomplishing the task of day to day maintenance jobs with all required tools & plants but excluding consumables which will be provided by NPCIL by engaging the required Un-Skilled manpower as specified in condition of contract beyond eight hours.(It is applicable for beyond eight hours for item no 56) | 600.00 | Task/ Hour | 53.00 | 180.00 | 108000.00 | 108000.00 | BINDAL FABRICATION
59.00 | Supply & Fixing of Gal Valume sheeting over truss, Color complying to ASTM A792, base metal thickness 0.80mm, alloy coating AZ 150 (Aluminium 55%, Zin 43.50% and Silicon 1.5%),Yield Strength: 350 MPA, Paint coating regular modified polyster top coat 25 microns & bottom coat 12 microns epoxy, top color: Combination of Blue and Off White and bottom color grey. The Steel Sheet shall be 3'-0" (914mm) width which shall be curved and moulded at site using mechanical press and dies to the desired shape to form 2'-0" (605mm) wide interlocking panels. These panels shall be erected in position and the joints are seamed with gasket etc. whenever is required. The installation should be done by mechanized system. (Mesurment to be paid actul area of sheet as per site. Over lap of sheet area not to be paid.) | 200.00 | Sqm | 53.00 | 1800.00 | 360000.00 | 360000.00 | BINDAL FABRICATION
60.00 | Supplying and fixing of of side panels on wall/column paneling to consist of 37.5 mm x 50 mm treated teak wood frame work at spacing not exceeding 600 mm bothway ( horizontal and vertical). panelling framework to be secured to wall surface / column surface. Paneling frame work to be clad on one side with 8 mm thick commercial ply finished with 1.0 mm thick laminate including skirting of 100 mm high & 12 mm x 12 mm groove at skirting level. same as above but for veneer finish including melamine polish etc. all complete | 100.00 | Sqm | 22.00 | 8249.00 | 824900.00 | 824900.00 | BINDAL FABRICATION
61.00 | Supplying, providing and fixing acoustical wall panel of approved size and shade of high density bio soluble resin bonded glass wool absorber with a series of textile fabric facer, plain glass issue backer and fabric wraped edges as per door schedule, drawings, specification and manufactureres details. | 400.00 | Sqm | 22.00 | 1800.00 | 720000.00 | 720000.00 | BINDAL FABRICATION
62.00 | Providing Chemical Emulsion in sealed containers including delivery and depositing in NPCIL store as specified.Chlorpyriphos 20 E.C. of Hyderabad Chemicals / KAMAN (Cristal Crop Protection) /Echiban (Echiban crop times) conforming to IS:8944 & after approval by EIC | 100.00 | Ltr | 0.00 | 350.00 | 35000.00 | 35000.00 | BINDAL FABRICATION
63.00 | Diluting Chlorpyriphos E.C. 20% to 1% concentration (add of 19 ltr water to 1 ltr of Chlorpyriphos E.C.20%) for pre-constructional anti termite treatment (excluding cost of chemical emulsion). Anti termite treatment of soil under floors and apron on the top surface of filled earth within and along with the plinth walls @ 5 ltr / sqm of the surface before the sand / sub grade is laid. Holes upto 50 to 75 mm deep at 150mm centers both ways including at the junction of wall and floor shall be made with crow bars on the surface to facilitate saturation of the soil with chemical emulsion complete as per direction of engineer in charge. Note:- payment shall be made on the basis of the plan area of the surface treated excluding the plan area of intervening beam & walls. | 500.00 | Sqm | 1.25 | 150.00 | 75000.00 | 75000.00 | BINDAL FABRICATION
64.00 | Supply and install high-quality curtains, including the curtain rod, secure brackets, curtain rings/hooks, and decorative finials. Properly fit the curtains, ensuring a seamless appearance, and weights for optimal functionality. Install wall anchors as necessary for additional stability. Perform final adjustments for perfect alignment and complete the installation with a thorough clean-up of the area. | 250.00 | Sqm | 0.00 | 900.00 | 225000.00 | 225000.00 | BINDAL FABRICATION
65.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with Second class teak wood complete as per drawings, specifications and direction of Engineer. | 1.00 | CuM | 100.00 | 250000.00 | 250000.00 | 250000.00 | BINDAL FABRICATION
66.00 | Providing & Fixing of Taski Fresh & Clean Urinal Screen (1 Unit) as directed by the Engineer-in-Charge. | 100.00 | Each | 53.00 | 3200.00 | 320000.00 | 320000.00 | BINDAL FABRICATION
67.00 | GI TUBULAR SECTION : Supplying, providing and installing G.I. Tubular section suspension system consisting of G.I. tubular section of size 25 mm x 50 mm x 0.8 mm @ 1200 mm center to center of both directions and each joint of tubular section to be weld/screwed with, 25 mm x 6 mm M.S Flat at maximum spacing of 1200 mm center to center suspended and connecting with angle / cleat by 2 no. 10 mm dia M.S. bolt fixed to the bottom of the slab /beams at all heights including cost of bolts, nuts and washer as required and as per drawings. Note: The rate is excluding structural steel (MS flat and cleat angle, etc). | 200.00 | Sqm | 10.00 | 400.00 | 80000.00 | 80000.00 | BINDAL FABRICATION
68.00 | Providing and fixing horizontanl blinds, made out of 25 mm wide of aluminium powder coated strips with powder coated channel etc. complete (Aerolux vista, Mac as approved) as per direction by Engineer -in- charge | 150.00 | Sqm | 11.00 | 950.00 | 142500.00 | 142500.00 | BINDAL FABRICATION
| Total in Figures |  |  |  |  | 16530390.00
Lowest Amount Quoted BY: BINDAL FABRICATION(16530390.00)

## BOQ Summary
BOQ Summary Details Tender Title: Biennial contract for Maintenance of Aluminum Partitions, False Ceiling, Flooring, Door and Window Shutters, Paneling and Other Miscellaneous Civil works at RAPS-5and6, Plant Site. Tender ID: 2025_NPCIL_243081_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BINDAL FABRICATION (BID ID -891258) | 16530390.00 | L1