## BoQ1
Government eProcurement System Created By: Devi shanker Verma Created Date/Time: 29-Sep-2025 03:56 PM Tender Title: Welding, Fabrication and Erection of GI ducting Piping and Structural work at RRS - 1 and 2. Tender ID: 2025_NPCIL_243790_1
Tender Inviting Authority: Maintenance Superintendent, RRS Unit- 1&2
Name of Work : Welding, Fabrication and Erection of GI ducting Piping & Structural work at RRS#1&2.
Contract No: NPC/RRS/12/2025/CPT-A2861
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EINA ENGINEERING CO (GSTN-NA) BID ID -894128 |  | WINTECH DEVELOPERS PRIVATE LIMITED (GSTN-NA) BID ID -894992 |  | M/S S L G CONTRACTOR (GSTN-NA) BID ID -894201
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, balancing and commissioning of fabricated (at site) GI sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, and all supports etc. as per job requirement/approved drawings. Sheet thickness 20 G. (In Non – Radiation area) | 80.00 | Sq. Mtr. | 1.25 | 2200.00 | 176000.00 | 1800.00 | 144000.00 | 140.00 | 11200.00 | 11200.00 | M/S S L G CONTRACTOR
2.00 | Supply, installation, balancing and commissioning of fabricated (at site) GI sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, and all supports etc. as per approved drawings. Sheet thickness 20 G. (In Radiation area) | 30.00 | Sq. Mtr. | 0.00 | 2200.00 | 66000.00 | 1900.00 | 57000.00 | 310.00 | 9300.00 | 9300.00 | M/S S L G CONTRACTOR
3.00 | Supply, installation, balancing and commissioning of fabricated (at site) GI sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, and all supports etc. as per approved drawings. Sheet thickness 22 G. (In Non – Radiation area) | 80.00 | Sq. Mtr. | 100.00 | 2200.00 | 176000.00 | 1700.00 | 136000.00 | 200.00 | 16000.00 | 16000.00 | M/S S L G CONTRACTOR
4.00 | Supply, installation, balancing and commissioning of fabricated (at site) GI sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, and all supports etc. as per approved drawings. Sheet thickness 22 G. (In Radiation area) | 30.00 | Sq. Mtr. | 53.00 | 2200.00 | 66000.00 | 1800.00 | 54000.00 | 400.00 | 12000.00 | 12000.00 | M/S S L G CONTRACTOR
5.00 | Removal of GI duct, filter, damper and other ducting components/mountings and their Relocation / disposal to designated place. (In Non-Radiation area) | 100.00 | Sq. Mtr. | 10.00 | 395.00 | 39500.00 | 600.00 | 60000.00 | 350.00 | 35000.00 | 35000.00 | M/S S L G CONTRACTOR
6.00 | Removal of GI duct, filter, damper and other ducting components/ mountings/ supports and their Relocation / disposal to designated place after decontamination. (In Radiation area) | 50.00 | Sq. Mtr. | 11.00 | 520.00 | 26000.00 | 700.00 | 35000.00 | 520.00 | 26000.00 | 26000.00 | EINA ENGINEERING CO, M/S S L G CONTRACTOR
7.00 | Welding of CS to CS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process. End Condition : SW/FW (In Non-Radiation area ) | 1500.00 | Inch-Dia | 10.00 | 750.00 | 1125000.00 | 700.00 | 1050000.00 | 620.00 | 930000.00 | 930000.00 | M/S S L G CONTRACTOR
8.00 | Welding of CS to CS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process. End Condition : SW/FW (In Radiation area) | 500.00 | Inch-Dia | 22.00 | 800.00 | 400000.00 | 1000.00 | 500000.00 | 900.00 | 450000.00 | 400000.00 | EINA ENGINEERING CO
9.00 | Welding of CS to CS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process. End Condition : BW/NW (In Non-Radiation area) | 3000.00 | Inch-Dia | 0.00 | 1200.00 | 3600000.00 | 1100.00 | 3300000.00 | 900.00 | 2700000.00 | 2700000.00 | M/S S L G CONTRACTOR
10.00 | Welding of CS to CS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process. End Condition : BW/NW (In Radiation area) | 750.00 | Inch-Dia | 1.25 | 1300.00 | 975000.00 | 1200.00 | 900000.00 | 800.00 | 600000.00 | 600000.00 | M/S S L G CONTRACTOR
11.00 | Welding of SS to SS pipe and pipe fittings with / without consumable insert, root with GTAW/ SMAW/ Open root with / without purging and completion of weld by GTAW or SMAW process. End Condition : SW/FW (In Non-Radiation area) | 500.00 | Inch-Dia | 0.00 | 800.00 | 400000.00 | 900.00 | 450000.00 | 800.00 | 400000.00 | 400000.00 | EINA ENGINEERING CO, M/S S L G CONTRACTOR
12.00 | Welding of SS to SS pipe and pipe fittings with / without consumable insert, root with GTAW / SMAW / Open root with / without purging and completion of weld by GTAW or SMAW process. End Condition : SW/FW (In Radiation area) | 200.00 | Inch-Dia | 100.00 | 850.00 | 170000.00 | 1100.00 | 220000.00 | 900.00 | 180000.00 | 170000.00 | EINA ENGINEERING CO
13.00 | Welding of SS to SS pipe and pipe fittings with / without consumable insert, root with GTAW / SMAW / Open root with / without purging and completion of weld by GTAW or SMAW process. End Condition : BW/NW (In Non- Radiation area) | 500.00 | Inch-Dia | 53.00 | 1500.00 | 750000.00 | 1400.00 | 700000.00 | 1100.00 | 550000.00 | 550000.00 | M/S S L G CONTRACTOR
14.00 | Welding of SS to SS pipe and pipe fittings with / without consumable insert, root with GTAW / SMAW / Open root with / without purging and completion of weld by GTAW or SMAW process End condition : BW/NW (In Radiation area ) | 50.00 | Inch-Dia | 10.00 | 1600.00 | 80000.00 | 1400.00 | 70000.00 | 1800.00 | 90000.00 | 70000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
15.00 | Welding of CS to SS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process in all plant area. End Condition : SW/FW (In Non-Radiation area) | 30.00 | Inch-Dia | 11.00 | 1100.00 | 33000.00 | 1100.00 | 33000.00 | 1100.00 | 33000.00 | 33000.00 | EINA ENGINEERING CO, M/S S L G CONTRACTOR, WINTECH DEVELOPERS PRIVATE LIMITED
16.00 | Welding of CS to SS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process in all plant area. End Condition : SW/FW (In Radiation area ) | 20.00 | Inch-Dia | 10.00 | 1200.00 | 24000.00 | 1400.00 | 28000.00 | 1400.00 | 28000.00 | 24000.00 | EINA ENGINEERING CO
17.00 | Welding of CS to SS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process in all plant area. End Condition : BW/NW (In Non-Radiation area) | 50.00 | Inch-Dia | 22.00 | 1500.00 | 75000.00 | 1400.00 | 70000.00 | 1800.00 | 90000.00 | 70000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
18.00 | Welding of CS to SS pipe and pipe fittings with/without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process in all plant area. End Condition : BW/NW (In Radiation area) | 40.00 | Inch-Dia | 0.00 | 1600.00 | 64000.00 | 1500.00 | 60000.00 | 2100.00 | 84000.00 | 60000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
19.00 | Welding of CS to CS pipe or SS to SS and pipe fittings with / without consumable insert, root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process for the urgent/Special job involving Ice plugging, header Draining, High radiation field /dose exposure etc. End condition : All (All both Radiation and Non Radiation area) | 40.00 | Inch-Dia | 1.25 | 3000.00 | 120000.00 | 1600.00 | 64000.00 | 2800.00 | 112000.00 | 64000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
20.00 | Grinding, and seal welding of LIP or BODY seal joints of SS to SS / CS to CS / SS to CS Bellow Seal valves joint by root with GTAW/SMAW/ Open root with/without purging and completion of weld by GTAW or SMAW process(Mainly BSD job) End condition : All (In Radiation area ) | 40.00 | Inch-Dia | 0.00 | 1250.00 | 50000.00 | 900.00 | 36000.00 | 900.00 | 36000.00 | 36000.00 | M/S S L G CONTRACTOR, WINTECH DEVELOPERS PRIVATE LIMITED
21.00 | Dye Penetration examination of weld joints. End condition : All (In Non-Radiation area) | 10000.00 | Inch-Dia | 100.00 | 45.00 | 450000.00 | 40.00 | 400000.00 | 50.00 | 500000.00 | 400000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
22.00 | Dye penetration examination of weld joints. End condition : All (In Radiation area) | 2500.00 | Inch-Dia | 53.00 | 35.00 | 87500.00 | 50.00 | 125000.00 | 70.00 | 175000.00 | 87500.00 | EINA ENGINEERING CO
23.00 | Shifting of material (Pipe, Pipe Fitting etc.) from Main stores (upto 1.6 Kms from plant) to welding shop or Maintenance store. Material Issue Vouchers & Transportation medium will be provided by NPCIL. | 6000.00 | Inch-Meter | 10.00 | 8.00 | 48000.00 | 5.00 | 30000.00 | 20.00 | 120000.00 | 30000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
24.00 | Cleaning of pipes and pipe fittings with rotary wire brush and Erection of pipes and pipe fittings in field as per layout of drawing. (In Non-Radiation area) | 2000.00 | Inch-Meter | 11.00 | 110.00 | 220000.00 | 60.00 | 120000.00 | 170.00 | 340000.00 | 120000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
25.00 | Cleaning of pipes and pipe fittings with rotary wire brush and Erection of pipes and pipe fittings in field as per layout of drawing. (In Non-Radiation area) | 1000.00 | Inch-Meter | 10.00 | 120.00 | 120000.00 | 62.00 | 62000.00 | 230.00 | 230000.00 | 62000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
26.00 | De-erection of pipes and pipe fittings in field as per layout of drawing and shifting of pipe and/or pipe fitting to designated place. (In Non-Radiation area) | 5000.00 | Inch-Meter | 22.00 | 35.00 | 175000.00 | 15.00 | 75000.00 | 35.00 | 175000.00 | 75000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
27.00 | De-erection of pipes and pipe fittings in field as per layout of drawing and shifting of Pipes and pipe fittings to designated place after decontamination. (In Radiation area) | 2000.00 | Inch-Meter | 0.00 | 30.00 | 60000.00 | 20.00 | 40000.00 | 55.00 | 110000.00 | 40000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
28.00 | Fabrication/Modification & erection, including welding (at field) of steel structures along with necessary welding test, as per system requirements. Shifting/handling of material from store/welding shop to required location. (Structure Material -MS/CS) (In Non-Radiation area) | 5000.00 | KG | 0.00 | 60.00 | 300000.00 | 31.00 | 155000.00 | 80.00 | 400000.00 | 155000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
29.00 | Fabrication/Modification & erection, including welding (at field) of steel structures along with necessary welding test, as per system requirements. Shifting/handling of material from store/welding shop to required location. (Structure Material -MS/CS) (In Radiation area) | 5000.00 | KG | 100.00 | 60.00 | 300000.00 | 35.00 | 175000.00 | 120.00 | 600000.00 | 175000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
30.00 | Handling, cleaning, cutting, fabrication, welding and installation of supports (material will be issued by NPCIL) (In Non-Radiation area) | 5000.00 | KG | 53.00 | 62.00 | 310000.00 | 30.00 | 150000.00 | 60.00 | 300000.00 | 150000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
31.00 | Handling, cleaning, cutting, fabrication, welding and installation of supports (material will be issued by NPCIL) (In Radiation area) | 1500.00 | KG | 10.00 | 62.00 | 93000.00 | 50.00 | 75000.00 | 90.00 | 135000.00 | 75000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
32.00 | Supply and installation of synch anchors (Fisher make FAZ type or equivalent HILTI make ) for piping as well as structural work size M 10 to M16 (In Non-Radiation area) | 500.00 | Nos. | 11.00 | 110.00 | 55000.00 | 90.00 | 45000.00 | 250.00 | 125000.00 | 45000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
33.00 | Fabrication/Modification & erection, including welding (at field) of steel structures along with necessary welding test, as per system requirements. Shifting/handling of material from store/welding shop to required location. (Structure Material -SS) (In Non-Radiation area) | 1500.00 | KG | 10.00 | 65.00 | 97500.00 | 45.00 | 67500.00 | 240.00 | 360000.00 | 67500.00 | WINTECH DEVELOPERS PRIVATE LIMITED
34.00 | Fabrication/Modification & erection, including welding (at field) of steel structures along with necessary welding test, as per system requirements. Shifting/handling of material from store/welding shop to required location. (Structure Material -SS) (In Radiation area) | 1500.00 | KG | 22.00 | 65.00 | 97500.00 | 52.00 | 78000.00 | 320.00 | 480000.00 | 78000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
35.00 | Supply & Erection of synch anchors HSL-3 make-Hilti or FAZ-II of Fisher make at) for piping as well as structural work size M10 to M16. (In Radiation area) | 500.00 | Nos | 0.00 | 120.00 | 60000.00 | 95.00 | 47500.00 | 210.00 | 105000.00 | 47500.00 | WINTECH DEVELOPERS PRIVATE LIMITED
36.00 | De-erection/dismantling of structural items like platform, ladder, railing etc. including handling, Cutting, grinding and shifting to scrap yard. (Structure Material – MS/CS/SS) (In Non-Radiation area) | 5000.00 | KG | 100.00 | 10.00 | 50000.00 | 6.00 | 30000.00 | 20.00 | 100000.00 | 30000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
37.00 | De-erection/dismantling of structural items like platform, ladder, railing etc. including handling, Cutting, grinding and shifting to scrap yard after decontamination. (Structure Material – MS/CS/SS) (In Radiation area) | 2000.00 | KG | 53.00 | 8.00 | 16000.00 | 7.00 | 14000.00 | 40.00 | 80000.00 | 14000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
38.00 | Supply, Fabrication and Erection of ISI marked Chlorinated Polyvinyl Chloride (CPVC) pipe (minimum pressure rating 10 Kg/cm2) along with all fittings (elbow, bents etc.)/accessories, having thermal stability for hot & cold water. This includes jointing of pipes & fittings with CPVC solvent cement, Primer etc. Including testing of joints complete as per direction of Engineer in Charge. | 200.00 | Inch-Meter | 10.00 | 650.00 | 130000.00 | 400.00 | 80000.00 | 1400.00 | 280000.00 | 80000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
39.00 | Handling, Shifting, Cleaning, Edge preparation, Fabrication , Erection, DPT of final weld and leak testing ( if required) of Horizontal and Vertical Tanks/Vessels by SS plates of varying thickness up to 3 mm as per drawing/instructions/job requirement. In Non-Radiation area & Radiation area) | 30.00 | Running Meter | 11.00 | 890.00 | 26700.00 | 1150.00 | 34500.00 | 1500.00 | 45000.00 | 26700.00 | EINA ENGINEERING CO
40.00 | Bending, Shifting, Edge Preparation, Fabrication by Welding, DPT of final weld and leak testing (if required) of Horizontal and Vertical Tanks. Construction Material CS plates of varying thickness up to 3 mm as per drawing/instructions/ job requirement. (In Non-Radiation area) | 120.00 | Running Meter | 10.00 | 890.00 | 106800.00 | 600.00 | 72000.00 | 1500.00 | 180000.00 | 72000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
41.00 | Bending, Shifting, Edge Preparation, Fabrication by Welding, DPT of final weld and leak testing (if required) of Horizontal and Vertical Tanks. Construction Material CS plates of varying thickness up to 3 mm as per drawing/instructions/ job requirement. (In Radiation area) | 80.00 | Running Meter | 22.00 | 890.00 | 71200.00 | 700.00 | 56000.00 | 2900.00 | 232000.00 | 56000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
42.00 | Bending, Shifting, Edge Preparation, Fabrication by Welding, DPT of final weld and leak testing (if required) of Horizontal and Vertical Tanks. Construction Material CS plates of varying thickness between 8mm to 12mm as per drawing/instructions/ job requirement. (In Non-Radiation area) | 30.00 | Running Meter | 0.00 | 890.00 | 26700.00 | 1100.00 | 33000.00 | 4000.00 | 120000.00 | 26700.00 | EINA ENGINEERING CO
43.00 | Bending, Shifting, Edge Preparation, Fabrication by Welding, DPT of final weld and leak testing (if required) of Horizontal and Vertical Tanks. Construction Material CS plates of varying thickness between 8mm to 12mm as per drawing/instructions/ job requirement. (In Radiation area) | 30.00 | Running Meter | 1.25 | 890.00 | 26700.00 | 1700.00 | 51000.00 | 4000.00 | 120000.00 | 26700.00 | EINA ENGINEERING CO
44.00 | Bending, Shifting, Edge Preparation, Fabrication by Welding, DPT of final weld and leak testing (if required) of Horizontal and Vertical Tanks. Construction Material CS plates of varying thickness between 4mm to 6mm as per drawing/instructions/ job requirement. (In Non-Radiation area) | 80.00 | Running Meter | 0.00 | 890.00 | 71200.00 | 700.00 | 56000.00 | 4000.00 | 320000.00 | 56000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
45.00 | Bending, Shifting, Edge Preparation, Fabrication by Welding, DPT of final weld and leak testing (if required) of Horizontal and Vertical Tanks. Construction Material CS plates of varying thickness between 4mm to 6mm as per drawing/instructions/ job requirement. (In Radiation area) | 30.00 | Running Meter | 100.00 | 890.00 | 26700.00 | 700.00 | 21000.00 | 5000.00 | 150000.00 | 21000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
46.00 | CS Weld overlaying and dressing for pipe fittings and pipes to thickness of 4.0- 6.0 mm. (In Non-Radiation area) | 60.00 | Inch- Sq | 53.00 | 580.00 | 34800.00 | 800.00 | 48000.00 | 40.00 | 2400.00 | 2400.00 | M/S S L G CONTRACTOR
47.00 | CS Weld overlaying and dressing for pipe fittings and pipes to thickness of 4.0- 6.0 mm. (In Radiation area) | 40.00 | Inch- Sq | 10.00 | 580.00 | 23200.00 | 900.00 | 36000.00 | 60.00 | 2400.00 | 2400.00 | M/S S L G CONTRACTOR
48.00 | CS Weld overlaying and dressing for pipe fittings and pipes to thickness of 7.0- 10.0 mm. (In Non-Radiation area) | 70.00 | Inch- Sq | 11.00 | 580.00 | 40600.00 | 730.00 | 51100.00 | 60.00 | 4200.00 | 4200.00 | M/S S L G CONTRACTOR
49.00 | CS Weld overlaying and dressing for pipe fittings and pipes to thickness of 7.0- 10.0 mm. (In Radiation area) | 50.00 | Inch- Sq | 10.00 | 580.00 | 29000.00 | 800.00 | 40000.00 | 80.00 | 4000.00 | 4000.00 | M/S S L G CONTRACTOR
50.00 | CS Weld overlaying and dressing for pipe fittings and pipes up to thickness of 3.0 mm. (In Non-Radiation area) | 80.00 | Inch Sq | 22.00 | 500.00 | 40000.00 | 600.00 | 48000.00 | 50.00 | 4000.00 | 4000.00 | M/S S L G CONTRACTOR
51.00 | CS Weld overlaying and dressing for pipe fittings and pipes up to thickness of 3.0 mm. (In Radiation area) | 50.00 | Inch Sq | 0.00 | 500.00 | 25000.00 | 605.00 | 30250.00 | 60.00 | 3000.00 | 3000.00 | M/S S L G CONTRACTOR
52.00 | Dye Penetrant examination of weld overlay ( Weld overlay DPT is done only after confirmation of Thickness achieved as desired by Ultrasonic thickness gauging by NPCIL) (In Non-Radiation area) | 500.00 | Inch Sq | 1.25 | 30.00 | 15000.00 | 55.00 | 27500.00 | 80.00 | 40000.00 | 15000.00 | EINA ENGINEERING CO
53.00 | Dye Penetrant examination of weld overlay ( Weld overlay DPT is done only after confirmation of Thickness achieved as desired by Ultrasonic thickness gauging by NPCIL) (In Radiation area ) | 250.00 | Inch Sq | 0.00 | 30.00 | 7500.00 | 60.00 | 15000.00 | 100.00 | 25000.00 | 7500.00 | EINA ENGINEERING CO
54.00 | Supply and erection of rubber lined CS pipe spools and fittings (Bends, reducer, ejectors body etc.) with flange. All the internal surface of pipe/pipe fitting will be coated to rubber. Drawing will be provided by NPCIL. (In Non-Radiation area) | 150.00 | Inch meter | 100.00 | 600.00 | 90000.00 | 425.00 | 63750.00 | 900.00 | 135000.00 | 63750.00 | WINTECH DEVELOPERS PRIVATE LIMITED
55.00 | Heating of Bearing, Shaft, Gear, Housing, Coupling etc. up to 250 Degree Centigrade (As per field requirement) during overhauling or maintenance of equipment. Heating will be performed at maintenance shop/ field, Gases and Torch will be supplied by Contractor. | 100.00 | Hour | 10.00 | 550.00 | 55000.00 | 700.00 | 70000.00 | 900.00 | 90000.00 | 55000.00 | EINA ENGINEERING CO
56.00 | Fabricating of proper patch/box/sleeve of required size as per pipe /bellow conditions, providing the leak arresting device/ clamp over piping/bellows etc. at site with welding as per site conditions, DPT of weld. Material-CS/SS, Thickness of patch up to 6.00 mm (In Non-Radiation area) | 120.00 | Square inch | 11.00 | 480.00 | 57600.00 | 400.00 | 48000.00 | 180.00 | 21600.00 | 21600.00 | M/S S L G CONTRACTOR
57.00 | Fabricating of proper patch/box/sleeve of required size as per pipe /bellow conditions, providing the leak arresting device/ clamp over piping/bellows etc. at site with welding as per site conditions, DPT of weld. Material-CS/SS, Thickness of patch up to 6.00 mm (In Radiation area ) | 60.00 | Square inch | 10.00 | 480.00 | 28800.00 | 600.00 | 36000.00 | 220.00 | 13200.00 | 13200.00 | M/S S L G CONTRACTOR
58.00 | Patch welding with SMAW/GTAW, DPT of weld. The rate includes welding electrode/filler wire as per job requirement including gas cutting to suit site requirement, edge preparation, erection and welding patch on the pipeline / equipment including patch welding for all positions & heights patch thickness 7.00 mm to 10 mm (In Non-Radiation area) | 80.00 | Square inch | 22.00 | 550.00 | 44000.00 | 800.00 | 64000.00 | 80.00 | 6400.00 | 6400.00 | M/S S L G CONTRACTOR
59.00 | Patch welding with SMAW/GTAW, DPT of weld. The rate includes welding electrode/filler wire as per job requirement including gas cutting to suit site requirement, edge preparation, erection and welding patch on the pipeline / equipment including patch welding for all positions & heights patch thickness 11mm to 15 mm (In Radiation area) | 40.00 | Square inch | 0.00 | 550.00 | 22000.00 | 700.00 | 28000.00 | 40.00 | 1600.00 | 1600.00 | M/S S L G CONTRACTOR
60.00 | Patch welding with SMAW/GTAW, DPT of weld. The rate includes welding electrode/filler wire as per job requirement including gas cutting to suit site requirement, edge preparation, erection and welding patch on the pipeline / equipment including patch welding for all positions & heights patch thickness 11mm to 15 mm (In Non-Radiation area) | 80.00 | Square inch | 1.25 | 550.00 | 44000.00 | 500.00 | 40000.00 | 100.00 | 8000.00 | 8000.00 | M/S S L G CONTRACTOR
61.00 | Patch welding with SMAW/GTAW, DPT of weld. The rate includes welding electrode/filler wire as per job requirement including gas cutting to suit site requirement, edge preparation, erection and welding patch on the pipeline / equipment including patch welding for all positions & heights patch thickness 7.00 mm to 10 mm(In Non-Radiation area) | 40.00 | Square inch | 100.00 | 550.00 | 22000.00 | 600.00 | 24000.00 | 140.00 | 5600.00 | 5600.00 | M/S S L G CONTRACTOR
62.00 | Removal (Dismantling/Cutting) of flange /nozzle from location (Tanks/Vessel/Pump), cleaning, surface preparation, final welding of new flange /nozzle and final finish of the surface to conform the standard flange/nozzle profile including all electrodes, equipment and all resources for the job.(In Non-Radiation area) | 120.00 | Inch-Dia | 53.00 | 550.00 | 66000.00 | 500.00 | 60000.00 | 2400.00 | 288000.00 | 60000.00 | WINTECH DEVELOPERS PRIVATE LIMITED
63.00 | Removal (Dismantling/Cutting) of flange /nozzle from location (Tanks/Vessel/Pump), cleaning, surface preparation, final welding of new flange /nozzle and final finish of the surface to conform the standard flange/nozzle profile including all electrodes, equipment and all resources for the job.(In Radiation area) | 50.00 | Inch-Dia | 11.00 | 500.00 | 25000.00 | 600.00 | 30000.00 | 2900.00 | 145000.00 | 25000.00 | EINA ENGINEERING CO
64.00 | Handling, shifting, fabrication welding & erection of handrails with 32 NB/40 NB medium class CS/MS pipe along with removable type/fixed shoes for platforms at various locations .This includes the installation of Toe guard, fabricate by CS/MS plate. (In Non-Radiation area) | 150.00 | Running Meter | 22.00 | 500.00 | 75000.00 | 600.00 | 90000.00 | 700.00 | 105000.00 | 75000.00 | EINA ENGINEERING CO
65.00 | Handling, shifting, fabrication welding & erection of handrails with 32 NB/40 NB medium class CS/MS pipe along with removable type/fixed shoes for platforms at various locations .This includes the installation of Toe guard, fabricate by CS/MS plate. (In Radiation area) | 100.00 | Running Meter | 0.00 | 600.00 | 60000.00 | 600.00 | 60000.00 | 700.00 | 70000.00 | 60000.00 | EINA ENGINEERING CO, WINTECH DEVELOPERS PRIVATE LIMITED
66.00 | Fabrication of clamps with holding device from material given by NPCIL for arresting leak of different size as per job requirement. (In Non-Radiation area) | 120.00 | Inch-Dia | 1.25 | 300.00 | 36000.00 | 420.00 | 50400.00 | 900.00 | 108000.00 | 36000.00 | EINA ENGINEERING CO
67.00 | Supply and application (two coats) of Enamel Paint/Corrosion resistant /Chemical resistant/heat resistant/Special purpose paint along with Phosphate/Red oxide Primer on exterior surfaces on steel structures/Pipes /M.S. Grills/ Tanks/ Ducting etc. at all levels and heights after preparing the same in specified manner after grinding, mechanical buffing, scrubbing, scrapping, sand-papering, and crevice/hole/gap filling with suitable putty (putty as consumable at the cost of contractor included under the scope of item) etc. (In Non-Radiation as well as Radiation area) | 100.00 | Meter Square | 0.00 | 6000.00 | 600000.00 | 1500.00 | 150000.00 | 160.00 | 16000.00 | 16000.00 | M/S S L G CONTRACTOR
| Total in Figures |  |  |  |  | 12881500.00 |  | 11169500.00 |  | 13272900.00
Lowest Amount Quoted BY: WINTECH DEVELOPERS PRIVATE LIMITED(11169500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Welding, Fabrication and Erection of GI ducting Piping and Structural work at RRS - 1 and 2. Tender ID: 2025_NPCIL_243790_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WINTECH DEVELOPERS PRIVATE LIMITED (BID ID -894992) | 11169500.00 | L1
| 2 | EINA ENGINEERING CO (BID ID -894128) | 12881500.00 | L2
| 3 | M/S S L G CONTRACTOR (BID ID -894201) | 13272900.00 | L3