## BoQ1
Government eProcurement System Created By: Vishweshwar Gaonkar Created Date/Time: 29-Oct-2025 03:59 PM Tender Title: Miscellaneous Civil maintenance and repair works at KGS 1 and 2 Kaiga Tender ID: 2025_NPCIL_245849_1
Tender Inviting Authority: MS, KGS 1&2
Name of Work: “Miscellaneous Civil maintenance and repair works at KGS 1&2, Kaiga.”
Contract No: NPCIL/KGS/CTC/C&SM-1&2/CPPP/2025/096
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MURUGAN KANNAPPA (GSTN-NA) BID ID -901243 |  | RAVI S HALAGATI (GSTN-NA) BID ID -901030
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Cutting and clearance of grown Wild Vegetation, bushes, grass, all other unwanted plants & creepers etc. by using Weed Cutting Machine ' or by mannual including Hire charges of tractor with trailor and all required tool & tackles etc., cleaning the work area, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 60000.00 | SqM | 3.00 | 2.00 | 120000.00 | 2.00 | 120000.00 | 120000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
2.00 | Earthwork Excavation in all Sorts of Soil for foundation trenches, walls, drains, plinths, footings, pedestals, columns and for all other miscellaneous foundation works etc., including Cutting / removing & clearance of jungle, bushes, grass & creepers etc. Shoring, strutting, bailing out water [if necessary], dressing, leveling & hand ramming the bottom of foundation base using wooden hand rammer with proper watering, refilling the sides of the foundation with excavated available good quality of Soil, leveling & hand ramming the sides of foundation base using wooden hand rammer with proper watering, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the waste soil or surplus soil, generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 300.00 | CuM | 521.00 | 350.00 | 105000.00 | 400.00 | 120000.00 | 105000.00 | MURUGAN KANNAPPA
3.00 | Providing and laying 150 mm thick Stone Soling below floor & foundations bed etc. using hard, durable & approved quality stones, rubbles, filling interstices using small size stones, stone chips, murum & watering [to fill up all gaps] etc. including preparation of base properly, levelling, dressing & hand ramming, providing; fixing & removing necessary staging / platform / scaffolding, collecting & disposing the generated waste, costruction waste up to a lead of 2000 to 3000 meters from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations and at all lift & height. | 75.00 | CuM | 3094.00 | 2700.00 | 202500.00 | 3000.00 | 225000.00 | 202500.00 | MURUGAN KANNAPPA
4.00 | Providing and laying PCC 1:2:4 using 20 mm & downsize, clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, plinth works including preparation of base by close hacking / chipping the old surface, racking out the joints & cleaning, mixing, transporting, laying, spreading, consolidation, levelling, finishing, curing, providing; fixing & removing necessary formwork, providing, fixing & removing staging / platform / scaffoldiong, collecting & disposing the generated waste, costruction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations and at all lift & height. | 20.00 | CuM | 10134.00 | 8600.00 | 172000.00 | 8000.00 | 160000.00 | 160000.00 | RAVI S HALAGATI
5.00 | Providing and laying PCC 1:3:6 using 40 mm & downsize, clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, plinth works including preparation of base by close hacking / chipping the old surface, racking out the joints & cleaning, mixing, transporting, laying, spreading, consolidation, levelling, finishing, curing, providing; fixing & removing necessary formwork, providing, fixing & removing staging / platform / scaffoldiong, collecting & disposing the generated waste, costruction waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations and at all lift & height. | 80.00 | CuM | 8450.00 | 8200.00 | 656000.00 | 7500.00 | 600000.00 | 600000.00 | RAVI S HALAGATI
6.00 | Providing and laying RCC, 1:1.5:3, using 20 mm & downsize, clean, crushed, well graded of hard, durable and approved quality for RCC works including mixing [volumetric / as directed by engineer-in-charge] including preparation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, machine mixing, transporting, laying, spreading, consolidation, leveling, finishing, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts & heights. Note: OPC 43 grade Cement of reputed brand & brand as selected by EIC shall be used. | 75.00 | CuM | 10481.00 | 10000.00 | 750000.00 | 10000.00 | 750000.00 | 750000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
7.00 | Providing, placing and removing formwork for all in-situ concrete works including providing, fixing & removing centering, shuttering, supports, brackets, clips, preparation of surface etc, providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts & heights. Note: The measurement shall be made for the form work in contact with concrete surface. | 500.00 | SqM | 372.00 | 350.00 | 175000.00 | 350.00 | 175000.00 | 175000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
8.00 | Providing and laying reputed make [make as selected by engineer-in-charge] high yeild strength deformed Reinforcement Bars of all diameters confirming to grade D-550 of IS:1786 [latest edition] including preparation of base, cutting, bending, transporting, placing in position & providing & tying using binding wire of suitable guage [soft annealed binding wire] for all in situ concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly] ,providing, fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard & manufacturers technical specification and as directed by the engineer-in-charge at all locations and at all lifts & heights. | 7.00 | MT | 108618.00 | 100000.00 | 700000.00 | 100000.00 | 700000.00 | 700000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
9.00 | Providing & Constructing Masonry with approved C. C. Solid Blocks of size 400 X 200 X 200 mm / 300 X 200 X 200 mm, having crushing strength not less than 45 Kgs/cm2 and confirming to the BIS 2185 part-I of the latest edition, in CM 1:5 for foundations, trenches, walls, drains, plinths and all other miscellaneous masonry works etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 3000 to 4000 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 50.00 | CuM | 7661.00 | 7800.00 | 390000.00 | 8000.00 | 400000.00 | 390000.00 | MURUGAN KANNAPPA
10.00 | Providing & Constructing Burnt Brick Masonry, of 230 mm thick, in CM 1:5 using well Burnt Bricks of standard size & shape for up to plinth level & Super Structure, plinth and all other Miscellaneous Masonry Works including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the general waste up to a lead of 3 Kms. From the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations & lifts / heights. | 17.00 | CuM | 11187.00 | 9000.00 | 153000.00 | 9500.00 | 161500.00 | 153000.00 | MURUGAN KANNAPPA
11.00 | Providing and laying Cement Plaster, 15 mm thick for internal surfaces of walls and columns in CM 1:5, rubbed perfectly so as to obtain smooth and even finish including preparation of base by closed hacking / chipping the concrete / plastered surfaces; racking out the adjoining masonry joints and cleaning, curing, providing; fixing removing staging / platform, collecting and disposing the generated waste upto a lead of 3000 meters from the place of work & cleaning the work area etc., complete all as per standard technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 350.00 | SqM | 428.00 | 350.00 | 122500.00 | 400.00 | 140000.00 | 122500.00 | MURUGAN KANNAPPA
12.00 | Providing , fabricating and erecting Mild Steel Structural items of various thickness & sizes such as channels, angles, I sections, MS pipes, GI Pipes; flats, plates, MS & Reinf. rods, and other approved sections etc. & transporting to the work place, including loading, unloading, cutting, fabricating the MS gates, MS grills, ladders, hand rails, angle frames, panels, struts, tubular space frames, columns, beams, purlins, rafters, fencing posts, EP Plates, EP Flats & all other required miscellaneous structural steel works and fixing / erecting the same in position as directed. including providing & fixing wherever required suitable anchor Fasteners, of approved quality, providing, fixing and removing necessary scaffolding, staging, platform wherever required , surface preparation , providing & painting One coat of approved Primer and two coats synthetic enamel paint of approved make , shade / colour. disposing the debris up to a lead of 2 to 3 km out side the periphery of the work premises etc., complete all as per specification, and as directed by the Engineer -in-charge at all lifts / heights & at all locations. | 14.00 | MT | 126965.00 | 120000.00 | 1680000.00 | 125000.00 | 1750000.00 | 1680000.00 | MURUGAN KANNAPPA
13.00 | Providing and laying 40 mm. thick Indian Patent Stone Flooring with cement concrete 1:2:4 using 10 / 12 mm. & down size, clean, crushed, well graded, cubical shape, sharp edged aggregates of hard, durable & approved quality stones / rubbles including machine mixing, transporting, laying, spreading, compaction, laying in bays to proper line; slope or level etc. using 6 mm. thick plane glass dividing strips for flooring, steps, landings & ramps including smooth finish ,providing; fixing & removing necessary staging / platform,colleting & stacking the generated waste / dead debris up to a lead of 100 meters from the place of work etc. complete all as per specifications and as directed by engineer-in-charge at all locations & all lifts / heights. | 100.00 | SqM | 590.00 | 550.00 | 55000.00 | 650.00 | 65000.00 | 55000.00 | MURUGAN KANNAPPA
14.00 | Providing and Mixing of Wet maccadam using supplied/stacked material with mechanical mixture as per specification, laying, spreading and compacting graded stone aggregate (size range 40 mm to 0.075 mm ) including premixing the material with water at OMC for all leads & lifts, laying in uniform layers with manual/ mechanical in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne or with suitable vibratary method to achieve the desired density,complete as per specifications and directions of Engineer-in-Charge.Note: Net quantity of measurement will be considered | 50.00 | CuM | 3382.00 | 2800.00 | 140000.00 | 3500.00 | 175000.00 | 140000.00 | MURUGAN KANNAPPA
15.00 | Providing and fixing Powder Coated [of approved shade / colour] /Anodized Aluminium, frames and shutters for Windows & Ventilators, partitions & other miscellaneous works with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285, fixed with rawl plugs and screws, clips, including cleat angle, aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. Note: Glazing shall be paid separately under relevant item. | 2000.00 | Kg | 641.00 | 650.00 | 1300000.00 | 650.00 | 1300000.00 | 1300000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
16.00 | Providing and fixing 4 mm thick [minimum] Clear Glass for Windows, Door & Ventilator Shutters and Partitions etc. with nylon clear beading, Glass shall be of approved make and free from all defects including preparation of base, providing; fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the construction waste up to a lead of 2 to 3 kms. from the place of work etc. complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations and at all lift & height. | 100.00 | SqM | 877.00 | 800.00 | 80000.00 | 900.00 | 90000.00 | 80000.00 | MURUGAN KANNAPPA
17.00 | Providing and fixing 2 mm thick, PVC flooring of Tusker brand from M/S Krishna Vinyls or Royal House brand confirming to relavent BIS specification of latest edition, of approved shades and pattern with necessary adhesive of approved quality, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 400.00 | SqM | 725.00 | 700.00 | 280000.00 | 800.00 | 320000.00 | 280000.00 | MURUGAN KANNAPPA
18.00 | Providing and laying/fixing Suspended False ceiling using Gyp Boards[of approved first quality & of approved make such as of India Gypsum] with GI Grid Work made using Perimeter channels [MF 6A], Ceiling Sections [MF5 : placing at 457 mm. (Maximum) C/C] , Intermediate channels [MF7: placing @ 1220 mm. (Maximum) C/C], Ceiling angles 25 x 25 mm. Size, placing @ 1220 mm. (Maximum) C/C], Screws, soffit cleefts, nuts & bolts, connecting clips, Gyp board Dry wall screws, Jointing compound, Tape and all other required miscellaneous materials & consumable [of approved first quality & of approved make, such as of India Gypsum] etc.,. [all materials shall be confirming to the relevant BIS specification of the latest edition], Providing & applying One coat of Interior grade primer [Of approved quality & make] and Two coats of plastic emulsion paint of approved shade /colour [of approved quality & make], providing; fixing & removing necessary staging/platform wherever as and when directed/required, colleting & stacking the generated waste / dead debris up to a lead of 100 meters from the place of work etc. complete all as per specifications and as directed by engineer-in-charge at all locations & all lifts / heights. | 100.00 | SqM | 1148.00 | 1200.00 | 120000.00 | 1200.00 | 120000.00 | 120000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
19.00 | Providing & installation at all floors, height,levels & locations of Aluminium Composite panel (ACP) Cladding over aluminium tube frame structure including fixing of sheets and filling of joints with structural silicon to acquire a smooth ripple free finish without any undulations. The composite panel sheet shall be a double layer aluminium panel consisting of a anti-toxic polythene layer core compressed between the aluminium layers. One side of the panel shall be a fluorocarbon paint finish in silver colour (as approved) with resistance to fading on exposure in exterior conditions & with a protective film on top to be removed after total completion of cladding. the sheet shall be 3mm thick of total flatness with no distortion or deflection. the sheets shall be corrossion resistant and not be affected by varying temperature variations and should resist thermal expansion. The sheets shall be fixed over aluminium framing system of tubing od size 1" X 1.5" evenly spaced at maximum 2'c/c to provide complete support to the sheets. The sheets shall be fixed to the framing system with double sided tape and duly anchored with maximum no. of screws all groves and finished edges etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 35.00 | SqM | 5272.00 | 4500.00 | 157500.00 | 4500.00 | 157500.00 | 157500.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
20.00 | Providing and laying 18 mm to 20 mm thick, mirror polished Granite slab [Jet black / Ruby red / cat eye] for Kitchen platform, landing slab, selves & wash basin etc. over a bedding of 20 mm thick, in CM 1:4 using approved quality, granite stones shall be closely jointed properly, grout filling in the joints with matching pigmented cement slurry [@ 5.0 kgs. of cement / Sqm.], mirror polishing the joints, finished to true line & levels / slope / plumb etc., including preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, machine cutting, smooth rounding all the exposed corners & edges and fixing in wall up to a depth of 75 mm by making the groove of size 75 mm [wide] X 75 mm [deep] in the BB wall / CC wall, providing & filling the gap in PCC 1:2:4 [after fixing the Granite Stone Slab in position to the true line; level & plumb] & finishing smooth, curing, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. Note: Basic rate of 18 - 20 mm thick mirror polished Granite Stone Slab shall not be less than Rs.1400.00 per Sqm. (excluding GST). | 10.00 | SqM | 3769.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 30000.00 | MURUGAN KANNAPPA
21.00 | Providing and fixing in position Premium Quality, Vitrified [straight edge] Tiles for flooring, Skirting & dado of Johnson / Bell / Regency / Marbit o/ Nitco / Naveen diamontile / Somany make of approved approved shade / colours [as per the design] including laying in CM 1:4, 20 mm thick, base layer for flooring, in CM 1:3, 12 mm thick, base layer for Skirting & dado, Cement Slurry @ 3.3 Kgs [for flooring, skirting & dado] per sqm.,or using approved adhesive [such as laticrete L290, laid thickness of laticrete shall not be less than 6 mm], pointing the joints neatly with white cement mixed with matching [tiles] colouring pigment, including preparation of base by close hacking / chipping the concrete / plastered surfaces, racking out the adjoining masonry joints & cleaning, curing etc., providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. Note: Basic cost of vitrified tile should not be less than Rs.1300 per Sqm. | 100.00 | SqM | 1513.00 | 1400.00 | 140000.00 | 1600.00 | 160000.00 | 140000.00 | MURUGAN KANNAPPA
22.00 | Providing and laying Glazed Ceramic Tiles of approved size, approved make & shade / colour & thickness of tile shall benot be less than 8 to 10 mm, for Skirting & Dado with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [Skirting & Dado] pasting the glazed tiles on concrete or on masonry or on plastered surfaces, cement slurry shall be used @ 3.3 Kgs / Sqm. of area, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended washing, preparation of base by close hacking / roughening concrete / plastered surfaces, racking out all the adjoining masonry joints, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. NOTE: 1) Basic rate of Premium Quality glazed ceramic Tiles, shall not be less then Rs. 650/- per Sqm. [Excluding GST]. 2) Tiles shall be confirming relavent BIS of latest edition | 100.00 | SqM | 1422.00 | 1200.00 | 120000.00 | 1300.00 | 130000.00 | 120000.00 | MURUGAN KANNAPPA
23.00 | Providing and applying One Coat of Interior Grade Primer of asian paints / berger paints / ICIC duluk of approved quality [Primer shall be confirming to the relavent BIS specification of the latest edition] over the interior surface of newly / old plastered concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces, including providing & applying Two Coats of Acrylic wall care Putty for entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Primer & Paint shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 1000.00 | SqM | 48.00 | 50.00 | 50000.00 | 50.00 | 50000.00 | 50000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
24.00 | Providing and applying one Coat of Interior Grade Acrylic Plastic Emulsion Paint, of asian paints [Such as Premium Emulsion] / berger pains [Such as Rangoli] / dulux paint [Such as Super Smooth] / nerolac paints [Such as Beauty Gold], of approved shade / colour, over the interior surface of newly / on interior grade primer, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 2000.00 | SqM | 62.00 | 40.00 | 80000.00 | 55.00 | 110000.00 | 80000.00 | MURUGAN KANNAPPA
25.00 | Providing and applying two Coats of Interior Grade Acrylic Plastic Emulsion Paint, of asian paints [Such as Premium Emulsion] / berger pains [Such as Rangoli] / dulux paint [Such as Super Smooth] / nerolac paints [Such as Beauty Gold], of approved shade / colour, over the interior surface of newly / on first coat of interior grade acrylic plastic emulsion paint, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 600.00 | SqM | 123.00 | 80.00 | 48000.00 | 100.00 | 60000.00 | 48000.00 | MURUGAN KANNAPPA
26.00 | Providing and applying One Coat of Exterior Grade Primer of asian paints / berger pains / dulux Paint / nerolac paints and Two Coats of Exterior Grade weather & water Proof Paint, of asian paints [Such as Apex Altima] / berger paints [Such as weather coat alguard] / ICI dulux paint [Such as weather shieldmax] / nerolac paints [Such as Excel Total], of approved shade / colour for New / old Surfaces of concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces including providing & filling Crack Sealing Compound [of approved make & quality] in the cracks, preparation of surfaces by sand papering & Pressured Water Jet machine, cleaning the surface, surface shall be neat; clean & dry before application of crack sealing compound; primer, paint & crack sealing compound shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 600.00 | SqM | 122.00 | 90.00 | 54000.00 | 145.00 | 87000.00 | 54000.00 | MURUGAN KANNAPPA
27.00 | Providing and applying One Coat of Aluminium Paint of Asian [such as Three Mangoes] / Berger [such as Super Aluminium] / Dulux [such as Super Synthetic] / Nerolack / Equivalent including cleaning the surfaces, removing rusted particles, providing staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 8300.00 | SqM | 67.00 | 40.00 | 332000.00 | 60.00 | 498000.00 | 332000.00 | MURUGAN KANNAPPA
28.00 | Dismantling / breaking / removing of PCC/ BB Masonary by Manual or Mechanical means including collecting & stacking neately; all serviceable materials [such as stone aggregates - if any] in Civil sectional sectional store, preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 20.00 | CuM | 1006.00 | 700.00 | 14000.00 | 750.00 | 15000.00 | 14000.00 | MURUGAN KANNAPPA
29.00 | Engaging JCB for removal & disposal of road side collapsed soil / earth; stone boulders; wooden logs; dried trees & other unwanted materials / things which are making obstruction for free movement of men & vehicles etc., cleaning of existing drains for free flow of rain water, formation of new drains for free flow of rain water and other miscellaneous works etc, including hire charges of JCB; operator wages; JCB maintenance charges; cost of diesel & lubricants and tool & tackles etc, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 125.00 | Hour | 1222.00 | 1200.00 | 150000.00 | 1400.00 | 175000.00 | 150000.00 | MURUGAN KANNAPPA
30.00 | Providing and fixing 20 micron thick Sun Control Film of GARWARE or equivalent make, of approved quality, of approved colour/shade & confirming the relevant BIS specification of latest edition including cutting to the required size & shape, fixing the same to the glass panel, also including providing & applying adhesive of approved quality & make, surface preparation properly by cleaning & washing the surface (base) with clean water for removal of oil, grease, dead mortar & other unwanted matters/materials, surface(base) shall be fully neat, clean & dry before fixing sun control film, providing, fixing & removing necessary staging/platform, wherever as & when directed/ required additional lead & lift for carriage of construction/work materials upto the work spot(s)/place(s), cleaning the work area & disposing the debris/unwanted materials upto a lead of 1500 mtrs. outside the periphery of work premises etc. complete all as per specificaiton, as per manufacturer's technical specification and as directed by Engineer-in-Charge at all locations and at all lifts/at all heights. | 20.00 | SqM | 792.00 | 650.00 | 13000.00 | 700.00 | 14000.00 | 13000.00 | MURUGAN KANNAPPA
31.00 | Filling the selected & good quality soil brought from 2 to 3 Kms filling in below plinth level to the required gradient, watering properly and compacting the each layer by using portable hand compactor, collecting & disposing the generated waste-up to a lead of 2 to 3Kms from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing (if any) and as directed by Engineer-in- charge at all location and at all lift/height | 200.00 | CuM | 461.00 | 400.00 | 80000.00 | 300.00 | 60000.00 | 60000.00 | RAVI S HALAGATI
32.00 | Providing, fixing and frabricating Stainless steel handrails, kitchen hand wash etc [shall be confirming to relevant BIS specification of latest edition of 304L grade] of required size as suitable to work place with necessary stand support consist of SS pipe, SS hollow box section including labour charges, required consumables tools & tackles and ensuring smooth functioning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 500.00 | Kg | 747.00 | 750.00 | 375000.00 | 750.00 | 375000.00 | 375000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
33.00 | Providing and laying / fixing Plain or Curved Galvalum Sheets for Roofing, c. [ 0.45 to 0 .47 mm thick] of Colour Mat Finish Coating: AZ - 150 / 550 MPA, Paint : RMP [Regular Modified Polyester], Top Coat: 18 - 20 Micron, Bottom Coat: 5 - 7 Micron, Trapezoidal Profile 0.47 mm thick at pitch 250 mm., Width 1060 mm, Length as per site measurement, Aluminium - Zinc Steel Sheet [Galvalume Base] 55 % aluminium, 43 % Zinc, 1.60 % Silicon with Tensile strength of 345 to 550 MPA including providing & fixing necessary self drilling screws of best quality & EPDM washers, Galvalum sheets Roofing shall be of approved shade / colour & confirming to the relavent BIS specification of the latest edition and of approved make, preparation of base, providing; fixing & removing Staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 300.00 | SqM | 605.00 | 600.00 | 180000.00 | 600.00 | 180000.00 | 180000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
34.00 | Providing and fixing in position factory made, FRP, Door Shutters made out of fibre glass reinforced plastic sheets having over all thickness not less than 2.00 mm [with a tolerance of ± 0.2 mm]. The shutter shall have outer wooden frame made out of 65 mm wide X 30 mm thick well seasoned hard wood and also with vertical, horizontal, middle & locking rails to mount the hardware & fixturers. The door surface further to have depressed mould design with special impression of wood veins of tan [brown] colour. The infil shall be with polyurethe thermo cole dipped in resin / non-decaying type layers of cardboards dipped in resin. The entire shutter shall have glossy polish with with IS specification including providing & fixing [to each shutteres] One number of 250 mm long &16 mm dia. Aldrop, One number of 200 mm long & 10 mm dia. Tower Bolt; One number of 150 mm long & 10 mm dia. Tower Bolt, Two numbers of 125 mm grip 'D' handles, Two numbers of 40 mm dia. & 50 mm long rubber bushes [Aldrop,Tower Bolts & 'D' handles shall be of approved make aluminium powder coated], prepartation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 20.00 | SqM | 3477.00 | 3500.00 | 70000.00 | 4000.00 | 80000.00 | 70000.00 | MURUGAN KANNAPPA
35.00 | Providing and laying / fixing CPVC Pipes ( SDR 11) with its all required plain & brass threaded fittings ( Such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings [BIS 2065 of the latest edition] of Ashirvad / Finolex / Supreme make including concealing in the wall ( Making groove of 75 mm deep in wall with suitable width and finishing same with PCC 1:2: 4 - Using 6 mm downsize aggregate & plastering in cm 1:5) with suitable GI clamps, jointing the pipes & fittings using CPVC solvent, cost of all material like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water ( As per specification) and ensuring smooth functioning, providing , fixing & removing necessary scaffolding / staging / platform, cleaning the work area, collecting & disposing the costruction waste up to a lead of 2 to 3 kms. from the place of work etc, complete all as per specification, as per manufacturer's technical specification and as directed by engineer-in-charge at all locations and at all lift & height.
35.10 | 20 mm dia | 50.00 | RM | 585.00 | 500.00 | 25000.00 | 350.00 | 17500.00 | 17500.00 | RAVI S HALAGATI
35.20 | 25 mm dia | 50.00 | RM | 474.00 | 500.00 | 25000.00 | 350.00 | 17500.00 | 17500.00 | RAVI S HALAGATI
35.30 | 32 mm dia | 100.00 | RM | 667.00 | 600.00 | 60000.00 | 500.00 | 50000.00 | 50000.00 | RAVI S HALAGATI
36.00 | Providing and laying / fixing following dia truflo / Astral / Finolex / Supreme / Ashirwad make UPVC Pipes & its required all CP Brass Fittings [Pipes & Fittings shall be of Plumbing Quality and confirming to the relavent IS:15778 , Schedule D - 80 specification of the latest edition] including providing & fixing UPVC fittings like collars; elbows; tees; unions; coupling; reducers; enlargers; bends; nipples and all other fittings required for completing the job; as per code of practice for water supply to the buildings [BIS 2065 of the latest edition], fixing on the wall Surface [inside the building], jointing the pipes & fittings with using UPVC solvent cement, cost of all materials like white or red lead; clamps; cement; sand; tools & tackles; testing the pipe with clean water as per specifications and ensuring smooth functioning including cost of all materials like white or red lead; clamps; cement; sand; tools & tackles; testing the pipe with clean water as per specifications and ensuring smooth functioning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste up to a lead of 2 to 3 kms. from the place of work & cleaning the work area, etc. complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height.
36.10 | 20 mm OD [wall Surface / Laid under ground] | 24.00 | RM | 144.00 | 120.00 | 2880.00 | 150.00 | 3600.00 | 2880.00 | MURUGAN KANNAPPA
36.20 | 32 mm OD [wall Surface / Laid under ground] | 12.00 | RM | 238.00 | 200.00 | 2400.00 | 300.00 | 3600.00 | 2400.00 | MURUGAN KANNAPPA
37.00 | Providing & laying / fixing SWR, Type A, PVC Pipes of 3" dia with- for laying below ground with its all required fittings [such as collars, elbows,tees, unions, coupling, reducers, enlargers, bends nipples and all other fittings required for completing th job, as per code of practice for water supply to the buildings -BIS 2065 of the latest edition) for flow of water & waste with water from kitchen, bath, wash basin,urinals & tiolets, SWR PVC pipes & fittings shall be of superior 1st quality, of Truflo/ Ashirwad / Astral make and conforming to relevant BIS specification of latest edition including jointing the pipes & fittings using CPVC solvent and ensuring smooth functioning , preparation of base, providing; fixing & removing necessary staging/ platform, collecting & disposing the generated waste up to a alead of 3000 meters from the place of work & cleaning the work area, etc complete all as per standard & manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 25.00 | RM | 468.00 | 400.00 | 10000.00 | 400.00 | 10000.00 | 10000.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
38.00 | Providing & laying / fixing SWR, Type A, PVC Pipes of 4" dia with- for laying below ground with its all required fittings [such as collars, elbows,tees, unions, coupling, reducers, enlargers, bends nipples and all other fittings required for completing th job, as per code of practice for water supply to the buildings -BIS 2065 of the latest edition) for flow of water & waste with water from kitchen, bath, wash basin,urinals & tiolets, SWR PVC pipes & fittings shall be of superior 1st quality, of Truflo/ Ashirwad / Astral make and conforming to relevant BIS specification of latest edition including jointing the pipes & fittings using CPVC solvent and ensuring smooth functioning , preparation of base, providing; fixing & removing necessary staging/ platform, collecting & disposing the generated waste up to a alead of 3000 meters from the place of work & cleaning the work area, etc complete all as per standard & manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts/heights. | 25.00 | RM | 554.00 | 500.00 | 12500.00 | 500.00 | 12500.00 | 12500.00 | RAVI S HALAGATI, MURUGAN KANNAPPA
39.00 | Providing & filling Chemical grout for embedding reinforcement steel using Fisher chemical FIS EM 390S or equivalent material at all locations as per direction of EIC. | 30000.00 | ml | 9.00 | 10.00 | 300000.00 | 8.00 | 240000.00 | 240000.00 | RAVI S HALAGATI
40.00 | Providing and fixing 600x450 mm beweled edge mirror of superior glass (of approved quality) complete with 5 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete all as per standard & manufacturers technical specification, drawing [if any] and as directed by engineer-in-charge at all locations and at all lift / height. | 10.00 | SqM | 3787.00 | 3500.00 | 35000.00 | 2500.00 | 25000.00 | 25000.00 | RAVI S HALAGATI
41.00 | Supply of Angle cock of parryware / cera / hindware or equivalent of superior quality of standard make and confirming to relevant BIS specification. Note: For Type ,Size,Shape and Pattern Cera code: SAMSON G1017201 is to be referred. | 20.00 | Each | 1429.00 | 1200.00 | 24000.00 | 600.00 | 12000.00 | 12000.00 | RAVI S HALAGATI
42.00 | Supply of Pushcock of parryware / cera / hindware or equivalent of superior quality of standard make and confirming to relevant BIS specification. Note : Weight of pushcock shall be 0.62 kg | 20.00 | Each | 870.00 | 600.00 | 12000.00 | 800.00 | 16000.00 | 12000.00 | MURUGAN KANNAPPA
43.00 | Supply of Bib tap short body of parryware / cera / hindware or equivalent of superior quality of standard make and confirming to relevant BIS specification. Note: For Type ,Size,Shape and Pattern Parryware code: G5204A1 is to be referred. | 20.00 | Each | 935.00 | 900.00 | 18000.00 | 800.00 | 16000.00 | 16000.00 | RAVI S HALAGATI
44.00 | Supply of Bib tap long body of parryware / cera / hindware or equivalent of superior quality of standard make and confirming to relevant BIS specification. For Type ,Size,Shape and Pattern CERA code : SAMSON G1017152 is to be referred | 20.00 | Each | 1719.00 | 1600.00 | 32000.00 | 1500.00 | 30000.00 | 30000.00 | RAVI S HALAGATI
45.00 | Supply of Pillar cock of parryware / cera / hindware or equivalent of superior quality of standard make and confirming to relevant BIS specification. Note: For Type ,Size,Shape and Pattern Cera code: SAMSON G1017101 is to be referred. | 20.00 | Each | 1851.00 | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 20000.00 | RAVI S HALAGATI
46.00 | Supply of Stop cock of parryware / cera / hindware or equivalent of superior quality of standard make and confirming to relevant BIS specification. For Type ,Size,Shape and Pattern CERA code :VICTOR F1015361 is to be referred | 20.00 | Each | 1263.43 | 1200.00 | 24000.00 | 700.00 | 14000.00 | 14000.00 | RAVI S HALAGATI
| Total in Figures |  |  |  |  | 9717280.00 |  | 10045700.00
Lowest Amount Quoted BY: MURUGAN KANNAPPA(9717280.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil maintenance and repair works at KGS 1 and 2 Kaiga Tender ID: 2025_NPCIL_245849_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MURUGAN KANNAPPA (BID ID -901243) | 9717280.00 | L1
| 2 | RAVI S HALAGATI (BID ID -901030) | 10045700.00 | L2