## BoQ1
Government eProcurement System Created By: Vishweshwar Gaonkar Created Date/Time: 29-Oct-2025 04:09 PM Tender Title: Execution of balance work of school cum Anganwadi building at Siddarmane Village, Mavinamane Panchayat, Tq. Yellapur Tender ID: 2025_NPCIL_247203_1
Tender Inviting Authority: ACE (E&US) & Chairman CSR
Name of Work: Execution of balance work of school cum Anganwadi building at Siddarmane Village, Mavinamane Panchayat, Tq. Yellapur.
Contract No: NPCIL/KGS/CTC/CSR/CPPP/2025/098
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHILASH N VASAVAN (GSTN-NA) BID ID -905831
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | "PART - A Civil works" Earthwork Excavation in all Sorts of Soil for foundation trenches, walls, drains, plinths, footings, pedestals, colunmns, water sump & pits, pipe line works and for all other miscellaneous foundation works etc., including Cutting / removing & clearance of jungle, bushes, grass & creepers etc. Shoring, strutting, bailing out water [if necessary], dressing, leveling & hand ramming he bottom of foundation base using wooden hand rammer with proper watering, refilling the sides of the foundation with excavated available good quality of Soil, leveling & hand ramming the sides of foundation base using wooden hand rammer with proper watering, providing; fixing & removing necessary staging / platform, collecting & disposing the waste soil or surplus soil, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts. | 224.00 | CuM | 135.00 | 160.00 | 35840.00 | 35840.00 | ABHILASH N VASAVAN
2.00 | "PART - A Civil works" Excavation in Soft Rock for foundation of walls, trenches, walls, drains, plinths, footings, pedestals, columns, underground water sump & pits, pipe line works and for all other miscellaneous foundation works etc. including Cutting / removing & clearance of jungle; bushes, grass & all other unwanted plants / creepers, shoring; strutting; bailing out water [if necessary]; leveling / dressing the bottom of foundations, refilling the sides of the foundation with excavated available good quality Soil, leveling / dressing , providing; fixing & removing necessary staging / platform, collecting & disposing the waste soft rock or surplus soft rock, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts. | 30.00 | CuM | 480.00 | 425.00 | 12750.00 | 12750.00 | ABHILASH N VASAVAN
3.00 | "PART - A Civil works" Providing and laying PCC 1:3:6 using 20 mm & downsize, clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, plinth works, path ways, platforms and for all other miscellaneous foundation works etc. including preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, mixing, transporting, laying, spreading, consolidation, levelling, finishing, curing, providing; fixing & removing necessary staging / platform & form work, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 9.00 | CuM | 8216.00 | 8500.00 | 76500.00 | 76500.00 | ABHILASH N VASAVAN
4.00 | "PART - A Civil works" Providing and laying RCC M 25 grade using 20 mm & downsize clean, crushed, well graded, aggregates of hard, durable & approved quality for foundation, rafts, footings, plinth, columns, beams, slabs, Chejjas, Lintels & for all insitu concrete works including preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, mechanical mixing, transporting, laying, spreading, consolidation, levelling, finishing & curing, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. NOTE: OPC 43 grade cement shall be used. | 24.00 | CuM | 9044.00 | 8900.00 | 213600.00 | 213600.00 | ABHILASH N VASAVAN
5.00 | "PART - A Civil works" Providing, placing and removing form work for all in-situ concrete works such as floor / roof beam, slab, lintels, lofts & chajjas & stairs in all floors [Above ground Level] including centering & staging, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. Note: The measurement for the form work will be actual area of form in contact with the concrete surfaces.
5.10 | For floor / roof beam, slab, lintels, lofts & chajjas & stairs in all floors [Above ground Level] | 59.00 | SqM | 819.00 | 620.00 | 36580.00 | 36580.00 | ABHILASH N VASAVAN
6.00 | "PART - A Civil works" Providing and laying approved make high yeild strength deformed Reinforcement bars of all dia meters, confirming to grade D - 500 of IS:1786 [latest edition] including cutting, bending, transporting, placing in position & binding with suitable guage soft annealed binding wire for all insitu concrete works and all other miscellaneous RCC works, providing & placing spacer bars, cover blocks [cover blocks shall be cast in same grade of concrete & cured properly], providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 107.00 | Kg | 118.00 | 100.00 | 10700.00 | 10700.00 | ABHILASH N VASAVAN
7.00 | "PART - A Civil works" Filling in Plinth using selected excavated available earth [excluding soft rock & rock muck] including Cutting / removing & clearance of jungle, bushes, grass & creepers etc. [from the filling area, filling earth shall be free from roots, stones, pebbles, leaves, unwanted materials] and filling in layers not exceeding 200 mm thick, breaking the clods, levelling, dressing to required line, level, slope / gradient & watering and compacting the each layer, using suitable weight hand rammer, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts. | 12.00 | CuM | 352.00 | 300.00 | 3600.00 | 3600.00 | ABHILASH N VASAVAN
8.00 | "PART - A Civil works" Providing and laying 150 mm thick Stone Soling using hard; durable & approved quality stones / rubbles of 150 mm and down size including preparation of bed properly by leveling dressing & hand ramming using hand rammer with watering, providing & filling interstices using small size stones / chips, providing & spreading binding materials such as murrum / gravel with proper watering, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts. | 4.00 | CuM | 2906.00 | 2920.00 | 11680.00 | 11680.00 | ABHILASH N VASAVAN
9.00 | "PART - A Civil works" Providing & Constructing Burnt Brick Masonry of 230 mm thick in CM 1:5 using well Burnt Bricks of standard size & shape with compressive strength of not less than 35 Kg/cm2 for up to Super Structure, plinth and all other Miscellaneous Masonry Works including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 19.00 | CuM | 10532.00 | 9500.00 | 180500.00 | 180500.00 | ABHILASH N VASAVAN
10.00 | "PART - A Civil works" Providing & Constructing Burnt Brick Masonry of 115 mm thickness using well Burnt Bricks of standard size & shape with compressive strength of not less than 35 Kg/cm2, in CM 1:4 for Super Structure of Partition walls and all other miscellaneous masonry works of 115 mm thickness including laying of RC horizontal bands and RC stub columns of size 115 mm x 115 mm @ every 1.00 to 1.50 meter interval [horizantly & verically], simultaneous flush pointing, curing, preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. Note: 1] Concrete shall be measured & paid under item no 04 A. 2] Formwork shall be measured & paid under item no 5.1 A. 3] Reinforcement shall be measured & paid under item no 06 A. | 12.00 | SqM | 1365.00 | 1050.00 | 12600.00 | 12600.00 | ABHILASH N VASAVAN
11.00 | "PART - A Civil works" Providing & Constructing Masonry with approved C. C. Solid Blocks of size 400 X 200 X 200 mm / 300 X 200 X 200 mm, having crushing strength not less than 45 Kgs/cm2 and confirming to the BIS 2185 part-I of the latest edition, in CM 1:5 for foundations, trenches, walls, drains, plinths and all other miscellaneous masonry works etc. including simultaneous flush pointing, curing, preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 20.00 | CuM | 8656.00 | 8500.00 | 170000.00 | 170000.00 | ABHILASH N VASAVAN
12.00 | "PART - A Civil works" Providing Cement Plaster 10 mm thick [average - mimimum 6 mm] to the underside of all concrete surfaces such as ceiling, chejjas, lofts & stair case etc, in CM 1:3, rubbed perfectly so as to obtain smooth & even finish including curing, preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 300.00 | SqM | 371.00 | 375.00 | 112500.00 | 112500.00 | ABHILASH N VASAVAN
13.00 | "PART - A Civil works" Providing and laying Internal Cement Plaster 15 mm thick in CM 1:5 to the masonry & concrete surfaces etc., rubbed perfectly so as to obtain smooth & even finish including curing, preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 600.00 | SqM | 369.00 | 415.00 | 249000.00 | 249000.00 | ABHILASH N VASAVAN
14.00 | "PART - A Civil works" Providing and laying External Cement Plaster 18 mm thick in Two Coats. Base coat shall be 12 mm thick in CM 1:5 & finishing coat shall be 6 mm thick in CM 1:3 (sponge finished) with Non-Shrink Water Proofing Compound [confirming to the BIS 2645 of the latest edition] @ 2 % by the weight of cement / as per the recommendation of the manufacturer to the Masonry surfaces & concrete surfaces etc., rubbed perfectly so as to obtain smooth & even finish including curing, preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 500.00 | SqM | 490.00 | 475.00 | 237500.00 | 237500.00 | ABHILASH N VASAVAN
15.00 | "PART - A Civil works" Providing and fixing Single Rebate Door Frames made out of 110 X 65 mm hollow metal pressed steel section [all materials shall be confirming to the BIS 513 of the latest edition] of 1.66 mm thick, galvanized as per BIS 277 of the latest edition with Zinc @ 120 gm. per Sqm., of approved make including preparation of base, providing & fixing four numbers of heavy duty MS Oxidised Hinges of 125 mm long, three numbers of hold fastes of MS Flats 25 mm X 3 mm X 300 mm long on each side of frame or three numbers of 10 mm dia suitable length anchor fasteners by the side of column [wherever required / as directed], making provision for fixing required hardware fixturers, door closers & fittings, filling the hallow section & embedding the hold fasts using PCC 1:3:6 [using 20 mm down graded stone aggregates with curing], providing & applying metal putty [wherever required], Providing & painting with One Coat of Red oxide Primer / Zinc phosaphate Primer & Two Coats Ist Quality Synthetic Enamel Paint [of asian / beger make, of approved shade / colour] on the all faces of frame, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 60.00 | RM | 884.00 | 950.00 | 57000.00 | 57000.00 | ABHILASH N VASAVAN
16.00 | "PART - A Civil works" Providing and fixing in position the factory made 30 mm thick Single / Double, Leaf Flush Door Shutter of boiled water proof solid core block board with 30 X 20 mm external teak wood lipping alround, bonded with phenol formaldehdye synthetic resin, hot pressed including preparation of base, providing & fixing approved make, One number of 250 mm long & 16 mm dia Aldrop, One number of 200 mm long & 10 mm dia Tower Bolt; Two numbers of 125 mm grip ,'D' handles, One number of Door Stopper, One Number of Door Bush [Aldrop, Tower Bolts, 'D' handles, Door Stopers & Door Bushes etc. shall be of approved make & aluminium powder coated], providing & applying wooden putty [wherever required], Providing & painting with One Coat of wood primer & Two Coats of first quality synthetic enamel paint [of berger / asian piant, of approved shade / colour] to the entire shutter, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 20.00 | SqM | 6188.00 | 5400.00 | 108000.00 | 108000.00 | ABHILASH N VASAVAN
17.00 | "PART - A Civil works" Providing and fixing in position factory made FRP door Shutters made out of fibre glass reinforced plastic sheets having over all thickness not less than 2.00 mm [with a tolerance of ± 0.2 mm]. The shutter shall have outer wooden frame made out of 65 mm wide X 30 mm thick well seasoned hard wood and also with vertical, horizontal, middle & locking rails to mount the hardware & fixturers. The infill material shall be with polyurethe thermo cole dipped in resin, including preparation of base, providing & fixing One number of 250 mm long & 16 mm dia. Aldrop, One number of 200 mm long & 10 mm dia. Tower Bolt; One number of 150 mm long & 10 mm dia. Tower Bolt, Two numbers of 125 mm grip 'D' handles, Two numbers of 40 mm dia. & 50 mm long rubber bushes [Aldrop,Tower Bolts & 'D' handles shall be of approved make aluminium powder coated], providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 8.00 | SqM | 5347.00 | 5000.00 | 40000.00 | 40000.00 | ABHILASH N VASAVAN
18.00 | "PART - A Civil works" Providing MS Structural Steel Works such as Grills for Windows & Ventilators, sliding gates, entrence gates, ladders, hand rails & all other miscellaneous structural steel works etc using approved & approved Mild Steel Sections. Including collecting, loading / unloading, carriage, fabricating and fixing in position with hold fasts embeding in PCC 1:2:4 [using 20 mm down graded stone aggregates with curing] by chipping the masonry / concrete, preparation of base, finishing the same, curing, aligning the grills to true line, level, plumb, providing, providing & applying metal putty [wherever required], Providing & painting with One Coat of Red oxide Primer / Zinc phosaphate Primer & Two Coats Ist Quality Synthetic Enamel Paint [of asian / beger make, of approved shade / colour] on the surfaces of fabricated members, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. | 850.00 | Kg | 222.00 | 170.00 | 144500.00 | 144500.00 | ABHILASH N VASAVAN
19.00 | Providing and fixing Powder Coated [of approved shade / colour] Aluminium frames and shutters for Windows & Ventilators, partitions & other miscellaneous works with extruded built up standard tubular and other sections of approved make conforming to IS:733 and IS:1285, fixed with rawl plugs and screws, clips, including cleat angle, aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. Note: Glazing shall be paid separately under relevant item. | 437.00 | Kg | 646.00 | 535.00 | 233795.00 | 233795.00 | ABHILASH N VASAVAN
20.00 | Providing, fabricating and fixing Stainless Steel items made out of SS, 304 grade steel pipes [of 32 nb, 40 nb & 50 nb etc with 5 mm thick wall], tubes, angles, plates, bars and other standard sections for railings / handrails & other miscellaneous works including fabrication, transportation and fixing in the location by using suitable Stainless Steel anchoring bolts & hilty bolts and buffing etc., providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. | 60.00 | Kg | 747.00 | 750.00 | 45000.00 | 45000.00 | ABHILASH N VASAVAN
21.00 | "PART - A Civil works" Providing and fixing 4 mm thick [minimum] Clear Glass for Windows, Ventilator and Partitions etc. with nylon / rubber clear beading, Glass shall be of approved make and free from all defects, cutting to required shape & size as per site requirement, preparation of base, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. | 31.00 | SqM | 1205.00 | 1050.00 | 32550.00 | 32550.00 | ABHILASH N VASAVAN
22.00 | "PART - A Civil works" Providing and laying Vitrified Tiles of minimum 600 X 600 mm size, approved make, shade / colour & thickness of tile shall be 8 mm to 8.9 mm, for flooring with 20 mm thick in CM 1:4 [bedding] & for Skirting with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [for Flooring & Skirting] pasting the Vitrified tiles on concrete or on masonry or on plastered surfaces, cement slurry shall be used @ 3.3 Kgs / Sqm. of area, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended washing, preparation of base by close hacking / roughening of existing base, racking out all the adjoining masonry joints, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. NOTE: 1) Basic rate of Premium Quality Vitrified Tiles, shall not be less then Rs. 510/- per Sqm. [Excluding GST]. 2) Flooring and skirting shall be of same colour and Design. 3] Tiles shall be confirming relavent BIS of latest edition | 210.00 | SqM | 1513.00 | 1430.00 | 300300.00 | 300300.00 | ABHILASH N VASAVAN
23.00 | "PART - A Civil works" Providing and laying Anti Skid Vitrified Tiles of approved size, approved make & shade / colour & thickness of tile shall be 8 mm to 8.9 mm, for Flooring with 20 mm thick in CM 1:4 [backing] or using approved Adhesive [Flooring] pasting the Anti-Skid Vitrified tiles on concrete or on masonry or on plastered surfaces, cement slurry shall be used @ 3.3 Kgs / Sqm. of area, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended washing, preparation of base by close hacking / roughening of existing base, racking out all the adjoining masonry joints, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. NOTE: 1) Basic rate of Premium Quality Vitrified Tiles, shall not be less then Rs. 550/- per Sqm. [Excluding GST]. 2) Tiles shall be confirming relavent BIS of latest edition | 30.00 | SqM | 1513.00 | 1400.00 | 42000.00 | 42000.00 | ABHILASH N VASAVAN
24.00 | "PART - A Civil works" Providing and laying Glazed Ceramic Tiles of approved size, approved make & shade / colour & thickness of tile shall be 5 mm to 6 mm, for Skirting & Dado with 12 mm thick in CM 1:3 [backing] or using approved Adhesive [Skirting & Dado] pasting the glazed tiles on concrete or on masonry or on plastered surfaces, cement slurry shall be used @ 3.3 Kgs / Sqm. of area, close jointed [with or without spacers] as directed, grout filling in the joints with matching pigmented cement slurry, finished to true line & levels / slope / plumb etc., including cutting of tiles, recommended washing, preparation of base by close hacking / roughening of existing base, racking out all the adjoining masonry joints, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. NOTE: 1) Basic rate of Premium Quality Vitrified Tiles, shall not be less then Rs. 405/- per Sqm. [Excluding GST]. 2) Tiles shall be confirming relavent BIS of latest edition | 90.00 | SqM | 1462.00 | 1390.00 | 125100.00 | 125100.00 | ABHILASH N VASAVAN
25.00 | "PART - A Civil works" Providing and laying 18 mm to 20 mm thick mirror polished Granite slab [Jet black / Ruby red / cat eye] for Kitchen platform, landing slab, selves, urinal platforms & wash basin etc. over a bedding of 20 mm thick in CM 1:4 using approved quality, granite stones shall be closely jointed properly, grout filling in the joints with matching pigmented cement slurry [@ 5.0 kgs. of cement / Sqm.], mirror polishing the joints, finished to true line & levels / slope / plumb etc., including preparation of base by close hacking / chipping the old surface, racking out the masonry joints & cleaning, machine cutting, smooth rounding all the exposed corners & edges and fixing in wall up to a depth of 75 mm by making the groove of size 75 mm [wide] X 75 mm [deep] in the BB wall / CC wall / concrete, providing & filling the gap in PCC 1:2:4 [after fixing the Granite Stone Slab in position to the true line; level & plumb] & finishing smooth, curing, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 500 mtrs.. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by engineer-in-charge at all locations & lifts / heights. Note: Basic rate of 18 - 20 mm thick mirror polished Granite Stone Slab shall not be less than Rs.1400.00 per Sqm. (excluding GST). | 10.00 | SqM | 3769.00 | 4000.00 | 40000.00 | 40000.00 | ABHILASH N VASAVAN
26.00 | "PART - A Civil works" Single Moulding [as directed] the Corners & Edges of Granite Slab [already provideed under item No.: 21 above] including required tools & tackles and labour charge, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, site requirement and as directed by engineer-in-charge at all locations & lifts / heights. | 30.00 | RM | 433.00 | 340.00 | 10200.00 | 10200.00 | ABHILASH N VASAVAN
27.00 | "PART - A Civil works" Embossing / Engraving the title of the project in Kannada Script and “NPCIL LOGO " of standard size & shape [to suit structure] on the external plastered surface of the building by using CM 1:3 and painting the same over a Coat of exterior grade primer in contrast with wall Colour. The script and the logo shall be traced on the plastered surface with 'computer printed template cut-out ' to get the title very neat clean and print like finish including preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by engineer-in-charge at all locations & heights. | 1.00 | Each | 5001.00 | 5000.00 | 5000.00 | 5000.00 | ABHILASH N VASAVAN
28.00 | "PART - A Civil works" Providing and painting the title of the project in Kannada Script and "NPCIL LOGO" using approved paint and shade on the plastered surface of the internal wall of the building by professional painter. The alphabets of the script and the logo shall be very neat clean and print like finish. The high of the alphabets shall be 6'' to 8'' and logo shall be in a Square frame of 1.5 feet side including preparation of base, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by engineer-in-charge at all locations & heights. | 1.00 | Each | 2405.00 | 2559.00 | 2559.00 | 2559.00 | ABHILASH N VASAVAN
29.00 | "PART - A Civil works" Proving and fixing Inaugural board of Black jet granite stone of 18 to 20 mm thickness in approved size & shape and quality printed with Computerized Script & "NPCIL LOGO" etc., Inaugural board shall be fixed firmely on the surface of the structure as directed including preparation of base, providing; fixing & removing necessary staging / platform / laddder, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, as per site requirement and as directed by engineer-in-charge at all locations & heights. Note: 1]Script shall be given by the department. 2] Basic rate of Jet Black granite stone of 18 - 20 mm thick shall not be less than Rs.1700.00 per Sqm. (excluding GST). | 1.00 | Sqm | 16988.00 | 15000.00 | 15000.00 | 15000.00 | ABHILASH N VASAVAN
30.00 | "PART - A Civil works" Providing and applying One Coat of Interior Grade Primer of asian paints / berger paints / ICIC duluk of approved quality [Primer shall be confirming to the relavent BIS specification of the latest edition] and Two Coats of Interior Grade White Acrylic Plastic Emulsion Paint, of asian paints [Such as Premium Emulsion] / berger pains [Such as Rangoli] / dulux paint [Such as Super Smooth] / nerolac paints [Such as Beauty Gold], of white shade / colour, over the interior surface of newly plastered concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces, including providing & applying Two Coats of Acrylic Putty for entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Primer & Paint shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 325.00 | SqM | 201.00 | 175.00 | 56875.00 | 56875.00 | ABHILASH N VASAVAN
31.00 | "PART - A Civil works" Providing and applying One Coat of Interior Grade Primer of asian paints / berger paints / ICIC duluk of approved quality [Primer shall be confirming to the relavent BIS specification of the latest edition] and Two Coats of Interior Grade Acrylic Plastic Emulsion Paint, of shade / colour [as per site requirement & as selected by engineer-in-charge], of asian paints [Such as Premium Emulsion] / berger pains [Such as Rangoli] / dulux paint [Such as Super Smooth] / nerolac paints [Such as Beauty Gold], of approved shade / colour, over the interior surface of newly plastered concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces, including providing & applying Two Coats of Acrylic Putty for entire surface, preparation of surfaces by sand papering properly before application of putty; primer & paint. Putty, Primer & Paint shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 650.00 | SqM | 201.00 | 175.00 | 113750.00 | 113750.00 | ABHILASH N VASAVAN
32.00 | "PART - A Civil works" Providing and applying One Coat of Exterior Grade Primer of asian paints / berger paints / dulux Paint / nerolac paints and Two Coats of Exterior Grade weather Proof Paint of asian paints [Such as Apex Altima] / berger pains [Such as weather coat alguard] / ICI dulux paint [Such as weather shiedmax] / nerolac paints [Such as Excel Total], of approved shade / colour for New Surfaces of concrete or masonry wall, RCC members such as columns; beams & other concrete surfaces including providing & filling Creack Sealing Compound [of approved make & quality] in the cracks, preparation of surfaces by sand papering & Pressured Water Jet machine, cleaning the surface, surface shall be neat; clean & dry before application of creack sealing compound; primer, paint. Primer, Paint & Creack sealing compound shall be confirming relevant BIS specification, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing, manufacturers technical specification and as directed by engineer-in-charge at all locations & lifts / heights. | 550.00 | SqM | 235.00 | 195.00 | 107250.00 | 107250.00 | ABHILASH N VASAVAN
33.00 | "PART - A Civil works" Providing and fixing of standard quality Green Glass Board of approved size & shape, made out of 50 mm [wide] X 20 mm [thick] teak wood frame work in the class room walls including fixing firmely using clamps / hooks, nails / screws,providing; fixing & removing necessary staging / platform / ladder etc. complete all as per standard technical specification, manufacturers technical specification and as directed by engineer-in-charge at all locations & heights. Note: Each board shall be labled with NPCIL Logo and script given by the engineer- in-Charge | 12.00 | SqM | 7415.00 | 7000.00 | 84000.00 | 84000.00 | ABHILASH N VASAVAN
34.00 | "PART - A Civil works" Providing and fixing of standard quality "Box Yype" Notice board of size 5' X 3', made out of teak wood frame work of 100 mm [wide] X 25 mm [thick] with sliding glass shutter usiing 5.5 mm thick [minimum] plane glass & aluminium U channal etc., 12 mm thick ply [1st quality marine ply wood] backing laminated with super quality sun-mayaka [minimum 0.50 mm thick] work, suitable steel metal locking arrangment [1st quality] for glass shutter including fixing firmely using clamps / hooks, nails / screws etc. complete all as per standard technical specification, manufacturers technical specification and as directed by engineer-in-charge at all locations & heights. Note: Each board shall be labled with NPCIL Logo and script given by the engineer- in-Charge | 1.00 | Each | 9185.00 | 9250.00 | 9250.00 | 9250.00 | ABHILASH N VASAVAN
35.00 | "PART - A Civil works" Providing and laying Water Proof Cement Plaster, 30 mm thick [minimum 20 mm & maximum 40 mm - average 30 mm thick] in CM 1:3 (smooth finished) on the roof & chajja's top surcace including application of Cement Slurry @ 1.50 kgs / Sqm. area - as a base coat and application of Cement Slurry @ 2.50 kgs / Sqm. area - as a finishing / final coat, additing Non-Shrink Water Proofing Compound [confirming to the BIS 2645 of the latest edition] @ 2 % by the weight of cement / as per the recommendation of the manufacturer in cement mortar & cement slurry, rubbed perfectly so as to obtain smooth & even finish including curing, preparation of base by close hacking / chipping the concrete surface, racking out the masonry joints & cleaning, providing; fixing & removing necessary staging / platform / ladder, collecting & disposing the generated waste, up to a lead of 500 mtrs. from the place of work & cleaning the work area, etc. complete all as per standard technical specification, drawing and as directed by engineer-in-charge at all locations & lifts / heights. | 150.00 | SqM | 587.00 | 500.00 | 75000.00 | 75000.00 | ABHILASH N VASAVAN
36.00 | PART - B "Water Supply and Sanitory works" Providing and fixing in position Hindware / Parryware / CERA make white vitreous china Hand Wash Basin of size 550 X 400 mm with Plain Rims. One number of 15 NB CP brass stop cock [Confirming to relevant IS & weight shall not be less 450 gms.], One number of 15 NB CP brass Piller cock [Confirming to relevant IS & weight shall not be less 450 gms.], One number of PVC waste pipe, One number of 32 NB CP brass Waste Coupling, [Confirming to relevant IS], One number of 15 NB PVC Inlet Connector - 450 mm long, One Pair CI brackets [brackets shall be painted with One Coat of Red Oxide Primer and Two Coats of approved make 1st quality synthetic enamel paint of approved shade / colour]. All materials shall be of approved quality including chipping the wall / making hole in the wall for fixing the brackets in position, finishing the same & ensuring smooth functioning, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts. | 3.00 | Each | 3515.00 | 3500.00 | 10500.00 | 10500.00 | ABHILASH N VASAVAN
37.00 | PART - B "Water Supply and Sanitory works" Providing and fixing in position White Indian Water Closet, ORISSA PAN of size 580 mm X 440 mm, of Hindware / Parryware make with P or S trap [of approved quality - confirming to the relevant BIS specification of the latest edition] with or without vent with all jointing materials, including necessary excavation, making hole in masonry & making good the same, encasing the pan & trap with PCC & backfilling extra space with river sand of good quality, curing, finishing the same & ensuring smooth functioning, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts. Note: Providing & placing of PCC 1:3:6 will be paid under relevant PCC Item of part A. | 3.00 | Each | 3080.00 | 3100.00 | 9300.00 | 9300.00 | ABHILASH N VASAVAN
38.00 | PART - B "Water Supply and Sanitory works" Providing & fixing on the wall surface UPVC pressure Pipes [4 Kgs. / cm2 pressure] of 5" dia. with UPVC specials [such as Tees; bends; junction with or without doors; flanges and all other required fittings etc.] of Ashirwad / Astral / Finolex / Supreme make, for Rain Water Down Commer Pipes - on Wall surface & for Rain Harvesting - on Wall surface & below GL including providing & fixing necessary clamps [GI clamps of 25 mm. wide x 4 mm. thick] of length [as per site requirement], hard wood packing pieces, PVC solvents, screws / nails, cement & sand etc, finishing the same & ensuring smooth functioning, providing; fixing & removing staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 30.00 | RM | 1666.00 | 1600.00 | 48000.00 | 48000.00 | ABHILASH N VASAVAN
39.00 | PART - B "Water Supply and Sanitory works" Providing and fixing Heavy quality, Ashirwad / Astral / Finolex / Supreme make CPVC Ball Valves as per [IS: 15778-2007] with all required accessories, finishing the same & ensuring smooth functioning, preparation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights.
39.10 | 20 mm dia Ball Valves | 2.00 | Each | 438.00 | 430.00 | 860.00 | 860.00 | ABHILASH N VASAVAN
39.20 | 25 mm dia Ball Valves | 2.00 | Each | 626.00 | 640.00 | 1280.00 | 1280.00 | ABHILASH N VASAVAN
39.30 | 32 mm dia Ball Valves | 4.00 | Each | 713.00 | 725.00 | 2900.00 | 2900.00 | ABHILASH N VASAVAN
40.00 | PART - B "Water Supply and Sanitory works" Providing and fixing PVC heavy duty, "Nahani Trap" [SWR Fittings IS:14735] 100 X 75 mm of self cleaning design with 75 mm. outlet having a minimum water seal of 50 mm of Ashirwad / Astral / Finolex / Supreme make with heavy duty "PVC grating" of 125 mm dia, finishing neatly, curing, ensuring smooth functioning including prepartation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts. | 4.00 | Each | 291.00 | 290.00 | 1160.00 | 1160.00 | ABHILASH N VASAVAN
41.00 | PART - B "Water Supply and Sanitory works" Providing and fixing of Stoneware Gully traps of size 200 X 200 mm of self cleaning design outlet having a minimum water seal including construction of 9" thick brick masonry [in CM 1:3] chamber [of inner clear size 200 X 200 x 300 mm with smooth plasreing at bottom, on both inner & ouer faces of chamber and 3" thick rich PCC at bed] with providing 50 mm thick RCC precast slab for covering camber and finishing neatly, curing, ensuring smooth functioning, prepartation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts. | 4.00 | Each | 3346.00 | 3350.00 | 13400.00 | 13400.00 | ABHILASH N VASAVAN
42.00 | PART - B "Water Supply and Sanitory works" Providing and fixing NP2 Class, Pre-Cast RCC, Septic Tank of size 2.50 meter long & 1.20 meter dia., including necessary excavation [Size of pit shall be 3.50 mete (L) X 2.20 meter (W) X 1.30 meter (D) including laying bed PCC 1:4:8 of 100 mm thick using 40 mm down size stone aggregartes at bottom of Precast RCC Septic Tank] in in all sorts of soil, soft rock & soft / hard laterite, loading; carriage; unloading; lowering [without damaging the RCC Septic Tank] in the pit; alighining [to true line & level / slope etc.]; finishing smooth; ensuring smooth functioning & back filling the sides [as directed] etc., preparation of base, curing, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts. | 1.00 | Each | 30775.00 | 30000.00 | 30000.00 | 30000.00 | ABHILASH N VASAVAN
43.00 | PART - B "Water Supply and Sanitory works" Providing and fixing 5 mm thick approved brand / make bewelled edge Mirror made out of best Indian glass mounted on 6 mm thick marine plywood sheet backing and teak wood beading alround of size 25 mm [Wide], 15 mm [thick] of approved shape & design, fixed to the wall using two numbers of CP coated hanging clips, washers, rawl plugs & screws, preparation of base, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 2.00 | Each | 1612.00 | 1610.00 | 3220.00 | 3220.00 | ABHILASH N VASAVAN
44.00 | PART - B "Water Supply and Sanitory works" Providing and fixing "SEIKO make", 15 NB, C.P Brass, Clutch Head, Long body Bib tap [Jal / Equivalent make] with all its required accessories and ensuring smooth functioning including prepartation of base, providing; fixing & removing necessary staging / platform, preparation of base, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 10.00 | Each | 1118.00 | 1100.00 | 11000.00 | 11000.00 | ABHILASH N VASAVAN
45.00 | Supply, erecting and fixing approved brand / Make [confirming to the relevant BIS specification of the latest edition] 1000 liter Capacity, High Density, PE, 3 Layer blow moulded, food grade, water storage tank including providing and fixing, 1” dia. heavy & 1st quality, float valve. 1” dia. heavy & 1st quality, PVC valve for inlet. 1” dia. heavy & 1st quality, PVC valve for supply pipe. 1” dia. heavy & 1st quality, PVC valve for waste hoot pipe. 1” dia. heavy & 1st quality, PVC valve over flow pipe, ensuring smooth functioning, providing; fixing & removing necessary staging / platform, preparation of base, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. Note: 1] Basic rate of High Density PE, 3 Layer blow moulded, food grade water storage tank shall not be less than Rs. 10.40 per Ltr. [excluding GST]. | 1000.00 | l | 12.00 | 10.00 | 10000.00 | 10000.00 | ABHILASH N VASAVAN
46.00 | PART - B "Water Supply and Sanitory works" Providing and laying / fixing CPVC Pipes [SDR 11] with its all required Plain & brass threaded fittings [such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings -BIS 2065 of the latest edition] of Ashirwad / Astral / Finolex / Supreme make including concealing in the wall [making groove of 75 mm deep in wall with suiitable width and filling & finishing same with PCC - 1:2:4 - using 6 mm down aggregates & plastering in C:M 1:5] with suitable GI clamps, jointing the pipes & fittings using CPVC solvent, cost of all materials like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water [as per specification] and ensuring smooth functioning, preparation of base, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights.
46.10 | 20 mm [fixing / concealing in the walls], 3/4" dia. | 10.00 | RM | 501.00 | 500.00 | 5000.00 | 5000.00 | ABHILASH N VASAVAN
46.20 | 25 mm [fixing / concealing in the walls], 1" dia. | 12.00 | RM | 630.00 | 625.00 | 7500.00 | 7500.00 | ABHILASH N VASAVAN
47.00 | PART - B "Water Supply and Sanitory works" Providing and laying / fixing UPVC Pipes [Schedule - 80] with its all required Plain & brass threaded fittings [such as collars, elbows, tees, unions, coupling, reducers, enlargers, bends, nipples and all other fittings required for completing the job, as per code of practice for water supply to the buildings -BIS 2065 of the latest edition] of Ashirwad / Astral / Finolex / Supreme make including fixing on wall surface or below floor / base using suitable GI clamps, jointing the pipes & fittings using CPVC solvent, cost of all materials like white or red lead, clamps, cement, sand, tools & tackles, testing the pipe with clean water [as per specification] and ensuring smooth functioning, preparation of base, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights.
47.10 | 20 mm [wall Surface / Laid under ground], 3/4" dia. | 12.00 | RM | 227.00 | 225.00 | 2700.00 | 2700.00 | ABHILASH N VASAVAN
47.20 | 25 mm [wall Surface / Laid under ground], 12" dia. | 30.00 | RM | 296.00 | 300.00 | 9000.00 | 9000.00 | ABHILASH N VASAVAN
47.30 | 32 mm [wall Surface / Laid under ground], 1 1/4" dia. | 50.00 | RM | 359.00 | 350.00 | 17500.00 | 17500.00 | ABHILASH N VASAVAN
48.00 | PART - B "Water Supply and Sanitory works" Providing & laying below ground level / floor / basement / wall etc. SWR, Type A, PVC Pipes with SWR specials [such as Tees; bends; junction with or without doors; flanges, reducers, enlargers and all other required fittings etc.] of Ashirwad / Astral / Finolex / Supreme make, for flow of drainage water / sewage etc. including jointing the pipes & fittings using CPVC solvent, cost of all materials like white or red lead, cement, sand, tools & tackles, testing the pipe with clean water [as per specification] and ensuring smooth functioning, preparation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts.
48.10 | Laying 3" dia UPVC SWR Pipes and specials | 10.00 | RM | 382.00 | 385.00 | 3850.00 | 3850.00 | ABHILASH N VASAVAN
48.20 | Laying 4" mm dia UPVC SWR Pipes and specials | 12.00 | RM | 509.00 | 500.00 | 6000.00 | 6000.00 | ABHILASH N VASAVAN
48.30 | Laying 6" dia UPVC SWR Pipes and specials | 12.00 | RM | 1015.00 | 1000.00 | 12000.00 | 12000.00 | ABHILASH N VASAVAN
49.00 | PART - B "Water Supply and Sanitory works" Providing and fixing in position 10 Litres Capacity [of Parryware / Hindware make] Low leve, unbreakable, Flushing Cistern with all internal fittings & accessories, assembling the cistern components including providing and fixing One Number of 15 NB Angle Cock / Valve & One Number of 15 NB PVC Inlet Connector; 600 mm. long [of Kohinoor / Symet make] with brass checknuts at both ends & with 'X' Nipple, necessary PVC Flush bend, washers, suitable tools & tackles and required consumables etc., confirming to IS 2556-1970 with all necessary jointing materials, chasing / making holes in masonry, making good the surface, providing 25 mm. dia GI [medium duty] over flow pipe embedded in wall, brought up to 150 mm. above floor level, with brass mosquito proof net at end, ensuring smooth functioning, prepartation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 3.00 | Each | 4443.00 | 4400.00 | 13200.00 | 13200.00 | ABHILASH N VASAVAN
50.00 | PART - B "Water Supply and Sanitory works" Providing and fixing in position best White Vitreous China Flat Back, Urinal Basin of [Hindware / Parryware make], of size 460 mm. X 260 mm. X 350 mm. with 7 litres capacity flushing cistern with flush pipe and CP brass spreaders with brass unions, GI clamps including painting of fittings, brackets, cutting & making good the walls & floors, ensuring smooth functioning & finishing the same, prepartation of base, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 2.00 | Each | 11421.00 | 11000.00 | 22000.00 | 22000.00 | ABHILASH N VASAVAN
51.00 | PART - B "Water Supply and Sanitory works" Providing and fixing Stainless steel Kitchen Sink of size 610 X 510 X 200 mm of approved make with coupler, PVC drainage connector pipe, all consuambles, preparation of base, providing; fixing & removing necessary staging / platform, collecting and disposing the generated waste & cleaning the work area etc., complete all as per standared technical specification, manufacturer's technical specification and as directed by the engineer-in-charge at all locations and at all lifts / heights. | 1.00 | Each | 4791.00 | 4900.00 | 4900.00 | 4900.00 | ABHILASH N VASAVAN
52.00 | PART - C "Electricals" Supply and laying of PVC conduits: The item sample shall be shown to engineer in-charge and get approved before bulk All accessories and consumables required for installation are in the scope of contractor to complete the job in all respect. All as instructed by the Electrical engineer in-charge. The PVC conduit shall Precession/Presto plast' or equivalent ISI approved make. Supply and laying of O.D.20/25 mm of corrugated PVC conduits in concealed fashion at Ceiling, column and wall with necessary wire pulling in inspection JB, bends etc along with one run of steel wire. All civil works related to wiring installation such as chasing of walls for embedding PVC conduits and necessary rough plastering should be part of the wiring work. Every junction an inspection JB with cover must be provided. | 80.00 | RM | 137.00 | 135.00 | 10800.00 | 10800.00 | ABHILASH N VASAVAN
53.00 | PART - C "Electricals" Supply and laying of concealed 20/25mm corrugated PVC Conduit, wiring for light points wired from modular switch control with 3Run of 1.5sqmm PVC insulated copper conductor wire as Phase Neutral and earth for each fitting taken in 20/25mm PVC pipe complete with accessories. All civil works related to wiring installation such as chasing of walls for embedding PVC conduits and necessary rough plastering should be part of the wiring work. Every junction an inspection JB with cover must be provided. . The 3 core X 0.75 sq.mm copper flexible cable for connection of LED fixtures and fans. The lighting accessories such as ceiling rose, angle/batten holders and required copper lugs are in contractors scope. All wires are of PVC insulated 650/ 1100 volt grade, copper conductor, Finolex / V-guard/ HAVELLS/Premier/NICCO/ POLYCAB make multi stranded wire confirming to latest IS : 694. All as instructed by the engineer in-charge.Light/ fan point:The rate quoted should also be inclusive of providing combination switches of Anchor make part no. 66101sockets 66407of modular range. | 49.00 | Point | 2535.00 | 2540.00 | 124460.00 | 124460.00 | ABHILASH N VASAVAN
54.00 | PART - C "Electricals" Supply, Installation and wiring for 10 amps, 5 pin socket of anchor make (part no. 66455 and 66101)modular switch board with the connections. Switch board cover in item no 5.1 .All as instructed by the engineer in charge | 6.00 | No. | 332.00 | 335.00 | 2010.00 | 2010.00 | ABHILASH N VASAVAN
55.00 | PART - C "Electricals" Supply and Pulling of wire :Supply & pulling of 3 run of Wire of PVC insulated 650 / 1100V grade, copper conductor, multi stranded wire of make Finolex / V-guard / PREMIER / NICCO / SIRCO / HAVELLS / POLYCAB confirming to latest IS: 694. Unless otherwise specified. The colour code of wires for phase shall be red and black for neutral. The earth wire shall be of green colourThe required consumables to complete the job of pulling wires are in the scope of contractor. All as instructed by engineer-in-charge.The wires shall be pulled for main supply from Main MCB board to switch boards (3number of main circuits, i.e.; 2 nos for ground and 1 no for First floor) installed through PVC concealed conduit. 1C X 1.5Sq.mm X 3run | 97.00 | RM | 74.00 | 75.00 | 7275.00 | 7275.00 | ABHILASH N VASAVAN
56.00 | PART - C "Electricals" Supply and Installation of concealed mounting GI 18 Gauge Switch boxes with metal threads of Anchor/ /Havells /legrandor equivalent BIS approved make of following size suitable for modular switch/sockets/regulators. .Work includes chasing of wall also. All as instructed by the engineer in-charge.
56.10 | Size 79x135x52 mm for 3 or 4 module Anchor roma make Part no.35661 for box and Part no 66904SL for Tressa solid plate. with base frame | 13.00 | No. | 593.00 | 600.00 | 7800.00 | 7800.00 | ABHILASH N VASAVAN
56.20 | Size 79x75x46 mm for 1 or 2 module Anchor roma make Part no.35640for box and Part no 66902SL for Tressa solid plate. with base frame | 8.00 | No. | 510.00 | 505.00 | 4040.00 | 4040.00 | ABHILASH N VASAVAN
56.30 | Size79x230x52 mm for 9 modules Anchor roma make Part no. for box and Part no 66909SL for Tressa solid plate. with base frame | 4.00 | No. | 771.00 | 775.00 | 3100.00 | 3100.00 | ABHILASH N VASAVAN
57.00 | PART - C "Electricals" Supply and installation of ceiling fan 1200 mm. sweep, 300-375 rpm,Rich brown colour, Usha (Model -Tecnix plus)or galaxiy striker / Crompton Greaves (Model - High breez plusBajaj (Model - CrestLX3)) OR equivalent model in Bajaj / Khetan with down rod and its accessories. And Panasonic Anchor OR equivalent in Greatwhite / Lisha make, electronic, step type, white colour fan regulators (Anchor cat. No.66502 ) and installing them on Modular swith board. The item sample shall be shown to engineer in-charge and get approved before bulk supply. All as instructed by the engineer in-charge and technical specification. | 9.00 | No. | 4755.00 | 4725.00 | 42525.00 | 42525.00 | ABHILASH N VASAVAN
58.00 | PART - C "Electricals" Supply and installation of Exhaust fan 300 mm dia/ sweep, brown colour. 230 V, 1 Ph, 50 Hz, AC.Usha (turbo jet) Crompton Greaves / Bajaj / Khetan and its accessories. Also supply of SS Wire mesh guard for back and opening. Installation work includes assembling, fixing at wall with anchor fasteners and making all the connections including earth connection. Make shall BIS approved.Usha Crompton Greaves / Bajaj / Khetan . All as instructed by the engineer in-charge and technical specification. | 3.00 | No. | 2396.00 | 2340.00 | 7020.00 | 7020.00 | ABHILASH N VASAVAN
59.00 | PART - C "Electricals" Supply and Installation of light fixtures. Supply and Installation of Wipro/Syska/Philips / Crompton Greaves make LED fixtures including all accessories with all connections made up to connector. The fixtures shall be installed on the wall/ ceiling by using two number PVC round block and 6mm coach screw for fixing. Necessary connections has to be made and fittings shall be connected by using adaptor with 3C X 0.5 Sq.mm PVC insulated, PVC sheathed, copper conductor cable from nearest ceiling rose / angle holder. (The angle/ pendent holder is covered in item no.2). All as instructed by the engineer in charge and technical specification
59.10 | Supply and Installation of Wipro/Syska/Philips / Crompton Greaves make, 1x22/20 watt, cool day white, Batten Type , LED fixtures including all accessories with all connections made up to connector. The fixture shall be of Wipro make Part Number D532265_2 (1x22W ) or Syska make Item Model Number SSK-T5-22W-6K-2) or Philips make;21 W-BN021CLED20SPSUCDLGR ,Havells or Crompton make | 18.00 | No. | 1151.00 | 1150.00 | 20700.00 | 20700.00 | ABHILASH N VASAVAN
59.20 | Supply and Installation of Philips / Bajaj / Crompton make 7watt, LED (Light emitting Diode)lamp), All as instructed by engineer in charge and technical specification. | 16.00 | No | 225.00 | 235.00 | 3760.00 | 3760.00 | ABHILASH N VASAVAN
60.00 | PART - C "Electricals" Supply and installation of plate type earth pit (Confirming to BIS : 3043) with 600mm X 600mm X 6.3mm G.I. plate including all required items such as salt, charcoal etc,. The earth pit shall be of 2.5 meter deep excavated in all type of soil. The plate shall be placed at centre of pit and shall be covered with alternate layer of salt and charcoal. Two number 50mm X 6mm G.I. flat shall be welded to the plate and brought up to the top of pit. 40mm medium class G.I. pipe with funnel shall be provided to the full depth of pit for watering. A masonry chamber of 450mm X 450mm (from inside ) with 50mm thick RCC cover with lifting hook shall be provided for earth pit. A G.I wire of 8 SWG shall be connected from earth pit to meter board. All the items to complete the job in all respect is in contractors scope. And all as instructed by the engineer- in-charge and technical specification. | 1.00 | Each | 7345.00 | 7400.00 | 7400.00 | 7400.00 | ABHILASH N VASAVAN
61.00 | PART - C "Electricals" Supply and providing catnary service connection by using 4.0 sq.mm, 2 run of pvc insulated, pvc sheathed (CTS), aluminium conductor/wire, reel insulator and 10 SWG G.I wire. The required accessories such as GI wire, hardwares, binding wire, reel insulators etc to complete the job in all respect is in contractors scope. All as instructed by engineer in charge. | 35.00 | RM | 87.00 | 86.00 | 3010.00 | 3010.00 | ABHILASH N VASAVAN
62.00 | PART - C "Electricals" Supply and installation of teak wood meter board, 450mm Wx300mm Lappx.installed with one number 32 amps fuse unit, one number 25 amps, 30 mA sensitivity ELCB (RCCB) of make L&T / Siemens / Havells / MDS / HPL. The termination / connection of catnery service from pole to meter board including earth connection shall be done by contractor. The required accessories such as GI pipe, GI wire, hardwares, GI clamps etc., to complete the job in all respect is in contractors scope. The board shall mount in recessed fashion. All as instructed by engineer in charge. | 1.00 | Each | 7089.00 | 7050.00 | 7050.00 | 7050.00 | ABHILASH N VASAVAN
63.00 | PART - C "Electricals" Supply and installation of single phase MCB DB6Way,-1 No.The DB onsisting of 1 No DP 25 Amp,, 415 V, MCB and 3 numbers of10 amps, single pole MCB's with concealed mounting type metal enclosure DB. And supply of cable end box 6 way ) concealed mounting type. The DB shall mount on concealed fashion and the required hardware’s and wall chasing and finishing are in contractors scope. The maker of DB shall be legrand (DB 607701 and cable end box 607753) L&T ( DBSPN006SD and cable end box,. DBSPN006CB). | 1.00 | Set | 6406.00 | 6400.00 | 6400.00 | 6400.00 | ABHILASH N VASAVAN
64.00 | PART - C "Electricals" Solar LED street light 12W, Fixture with battery, 20W Panel and LED. Light fixture shall weather proof (IP65) with inbuilt dusk to down circuit to ON/OFF automatically. Lumen output shall 1200apprx. All in one without pole. Make: - Mazda Energy, Model No. ME-ST-12W - W88 or Future Energy,NewDelhi.Part no FOSLSTL-AIO15 W orBright Sun Solar Power Enterprises or MNRE approved make which is Mazda/AURA/Future energy/Urja and installation includes fabrications of GI bracket suitable to fitting and to be mounted on outdoor wall. | 1.00 | set | 13007.00 | 12900.00 | 12900.00 | 12900.00 | ABHILASH N VASAVAN
65.00 | PART - C "Electricals" GENERAL NOTE FOR ALL ELECTRICAL ITEMS . 1] work shall be executed as specified in the each item description and as directed by the Engineer-in-charge. 2] Item Description shall be read; in conjection with the Technical specification and,drawing, General conditions of the contract and all other terms & conditions specified in the entire bid document.
| Total in Figures |  |  |  |  | 3525999.00
Lowest Amount Quoted BY: ABHILASH N VASAVAN(3525999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Execution of balance work of school cum Anganwadi building at Siddarmane Village, Mavinamane Panchayat, Tq. Yellapur Tender ID: 2025_NPCIL_247203_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHILASH N VASAVAN (BID ID -905831) | 3525999.00 | L1