## BoQ1
Government eProcurement System Created By: mitendra singh Created Date/Time: 17-Feb-2026 04:44 PM Tender Title: Electrical work in Fire Industrial Safety and Health Complex at GHAVP site. Tender ID: 2025_NPCIL_248988_1
Tender Inviting Authority: Chief Construction Engineer
Name of Work: Electrical work in Fire Industrial Safety & Health Complex at GHAVP site.
Contract No: NPCIL/GHAVP/CTC/2025/PT-273
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VRISHANK ELECTRICALS (GSTN-07APWPC9572L1Z0) BID ID -912312 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -912311 |  | NEW TECH ENGINEERING CO. (GSTN-NA) BID ID -912096
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 18W LED round down lighter with pressure die cast aluminium housing with suitable diffuser. | 21.00 | Nos. |  | 1362.90 | 28620.90 | 999.00 | 20979.00 | 670.00 | 14070.00 | 14070.00 | NEW TECH ENGINEERING CO.
2.00 | 40W/2*20W LED luminaire with extruded aluminium housing, powder coated finish, polycarbonate diffuser suitable for surface and suspension mounting | 212.00 | Nos. |  | 1103.30 | 233899.60 | 1999.00 | 423788.00 | 550.00 | 116600.00 | 116600.00 | NEW TECH ENGINEERING CO.
3.00 | 40W LED luminaire, batten type weather proof IP-65 with suitable surface and suspension mounting arrangements | 32.00 | Nos. |  | 1921.04 | 61473.28 | 1999.00 | 63968.00 | 1170.00 | 37440.00 | 37440.00 | NEW TECH ENGINEERING CO.
4.00 | 20 W LED luminaire with extruded aluminium housing, powder coated finish,polycarbonate diffuser suitable for surface and suspension mounting. | 22.00 | Nos. |  | 337.48 | 7424.56 | 1499.00 | 32978.00 | 300.00 | 6600.00 | 6600.00 | NEW TECH ENGINEERING CO.
5.00 | 20 W LED street lighting luminaire with pressure die cast aluminium alloy housing with heat resistant toughened glass cover, corrosion resistant powder coated finish with side arm and all necessary accessoies | 2.00 | Nos. |  | 1492.70 | 2985.40 | 2499.00 | 4998.00 | 1050.00 | 2100.00 | 2100.00 | NEW TECH ENGINEERING CO.
6.00 | 50 W flood light LED fixtures with minimum IP-65 rating suitable for outdoor installion. | 11.00 | Nos. |  | 1947.00 | 21417.00 | 3999.00 | 43989.00 | 1700.00 | 18700.00 | 18700.00 | NEW TECH ENGINEERING CO.
7.00 | 20 W LED round bulb with connector & holder | 2.00 | Nos. |  | 421.85 | 843.70 | 429.00 | 858.00 | 300.00 | 600.00 | 600.00 | NEW TECH ENGINEERING CO.
8.00 | 240V AC,15A single pase 03 pin industrial type receptacle with 2 pole and earth, plug top alongwith MCB provided with ELCB. | 42.00 | Nos. |  | 2401.30 | 100854.60 | 2999.00 | 125958.00 | 3500.00 | 147000.00 | 100854.60 | VRISHANK ELECTRICALS
9.00 | 240V AC,32A single pase 03 pin industrial type receptacle with 2 pole and earth, plug top alongwith MCB provided with ELCB. | 42.00 | Nos. |  | 2920.50 | 122661.00 | 3299.00 | 138558.00 | 4000.00 | 168000.00 | 122661.00 | VRISHANK ELECTRICALS
10.00 | 415V, 32A three phase power receptacle with plug top alongwith with suitable MCB. | 2.00 | Nos. |  | 4413.20 | 8826.40 | 5499.00 | 10998.00 | 7500.00 | 15000.00 | 8826.40 | VRISHANK ELECTRICALS
11.00 | Cntrol box contain photo sensor and timer for controlling outdoor lighting provision for manual on and off also provided. | 7.00 | Nos. |  | 13629.00 | 95403.00 | 12999.00 | 90993.00 | 4500.00 | 31500.00 | 31500.00 | NEW TECH ENGINEERING CO.
12.00 | 4 way junction box with 5pair terminal point including provision for termination of 14 SWG GI earthing wire externally, this is required to distribute the earth wire to multiple conduit which are joint at junction box. | 650.00 | Nos. |  | 713.90 | 464035.00 | 529.00 | 343850.00 | 500.00 | 325000.00 | 325000.00 | NEW TECH ENGINEERING CO.
13.00 | Weather proof 4 way junction box | 25.00 | Nos. |  | 324.50 | 8112.50 | 1499.00 | 37475.00 | 750.00 | 18750.00 | 8112.50 | VRISHANK ELECTRICALS
14.00 | ERW heavy duty rigid GI conduit (25mm dia) alongwith accessories in surface. | 8100.00 | Mtr |  | 127.20 | 1030320.00 | 179.00 | 1449900.00 | 350.00 | 2835000.00 | 1030320.00 | VRISHANK ELECTRICALS
15.00 | Flexible metal conduit (20mm dia.) alongwith accessories in surface. | 650.00 | Mtr |  | 28.56 | 18564.00 | 69.00 | 44850.00 | 200.00 | 130000.00 | 18564.00 | VRISHANK ELECTRICALS
16.00 | 14 SWG GI earthing wire for lighting (running along the conduit). | 9530.00 | Mtr |  | 28.56 | 272176.80 | 9.00 | 85770.00 | 5.00 | 47650.00 | 47650.00 | NEW TECH ENGINEERING CO.
17.00 | 35x6 GI flats for lighting boards (LBs). | 1200.00 | Mtr |  | 168.74 | 202488.00 | 219.00 | 262800.00 | 160.00 | 192000.00 | 192000.00 | NEW TECH ENGINEERING CO.
18.00 | 1Cx1.5 sq. mm 650 V grade copper conductor PVC insulated wires | 8250.00 | Mtr |  | 25.96 | 214170.00 | 24.99 | 206167.50 | 18.00 | 148500.00 | 148500.00 | NEW TECH ENGINEERING CO.
19.00 | 1C x 2.5 sq. mm 650 V grade copper conductor PVC insulated wires | 8250.00 | Mtr |  | 36.34 | 299805.00 | 39.00 | 321750.00 | 28.00 | 231000.00 | 231000.00 | NEW TECH ENGINEERING CO.
20.00 | 1C x 4 sq. mm 650 V grade copper conductor PVC insulated wires. | 2700.00 | Mtr |  | 50.62 | 136674.00 | 59.00 | 159300.00 | 42.00 | 113400.00 | 113400.00 | NEW TECH ENGINEERING CO.
21.00 | 4C 16 sq. mm 1100V grade copper conductor XLPE insulated , FRLS PVC sheathed armoured cable. | 1000.00 | Mtr |  | 1233.10 | 1233100.00 | 999.00 | 999000.00 | 700.00 | 700000.00 | 700000.00 | NEW TECH ENGINEERING CO.
22.00 | 3.5C 120 sq. mm 1100V grade AL. conductor XLPE insulated , FRLS PVC sheathed armoured cable | 400.00 | Mtr |  | 700.92 | 280368.00 | 799.00 | 319600.00 | 850.00 | 340000.00 | 280368.00 | VRISHANK ELECTRICALS
23.00 | 250 mm Exhaust Fan with shutter/guard and its all accessories suitable for operation on 230V single phase, 50 Hz, AC supply complete as required as per specification. | 13.00 | Nos. |  | 3115.20 | 40497.60 | 2499.00 | 32487.00 | 1500.00 | 19500.00 | 19500.00 | NEW TECH ENGINEERING CO.
24.00 | Ceiling fan 1200 mm sweep,5 Star BEE, ISI marked with down rod including painting as required complete as per specification. | 66.00 | Nos. |  | 2855.60 | 188469.60 | 2499.00 | 164934.00 | 2650.00 | 174900.00 | 164934.00 | JAGGI ELECTRICALS
25.00 | Cable tray of size 150mm Width x 100depth x1.6 thickness (Hot dip galvanized soild type straight piece with cover) | 20.00 | Meter |  | 726.88 | 14537.60 | 899.00 | 17980.00 | 1000.00 | 20000.00 | 14537.60 | VRISHANK ELECTRICALS
26.00 | Installation of following sizes of GI conduits including supply & installation of all accessories like bends, elbows, couplers, hospital saddles, spacers, GI pull boxes, screw/nylon rawl plug etc., and other accessories required to complete the job on wall/ column/ ceiling etc. as per specification and drawings. (The running length shall be measured along the centre line including bends, fittings etc along the run installed, but excluding the hidden length of conduits and lengths of pull boxes and junction boxes) Note: The Installation charge quoted shall include supply of accessories like bends, elbows, couplers, hospital saddles, spacers, GI pull boxes, etc.
26.10 | ERW heavy duty rigid 25mm dia GI conduit | 8100.00 | Mtr |  | 45.43 | 367983.00 | 179.00 | 1449900.00 | 250.00 | 2025000.00 | 367983.00 | VRISHANK ELECTRICALS
27.00 | Installation of following sizes of GI conduits including supply & installation of all accessories like hospital saddles, spacers, GI pull boxes, screw/nylon rawl plug etc. (except bends & couplers ), and other accessories required to complete the job on wall/ column/ ceiling etc. as per specification and drawings. (The running length shall be measured along the centre line including bends, fittings etc along the run installed, but excluding the hidden length of conduits and lengths of pull boxes and junction boxes) Note: The Installation charge quoted shall include supply of accessories like elbows, hospital saddles, spacers, GI pull boxes, etc. GI conduit, bends & coupler will be free issued and not included in this item scope
27.10 | 25mm dia GI conduit | 1680.00 | Mtr |  | 45.43 | 76322.40 | 159.00 | 267120.00 | 210.00 | 352800.00 | 76322.40 | VRISHANK ELECTRICALS
28.00 | Flexible metal conduit (20mm dia.) alongwith all accessories and hardware etc to complete the work. | 650.00 | Mtr |  | 23.36 | 15184.00 | 29.00 | 18850.00 | 150.00 | 97500.00 | 15184.00 | VRISHANK ELECTRICALS
29.00 | Installation/ termination/ connection of following sizes of wires as specified. Note: Payment for installation of each size of wire provided for lighting system shall be based on the measured length of conduits carrying the wires multiplied by the wires of each type in the conduit system.
29.10 | 1Cx1.5 sq. mm 650 V grade copper conductor PVC insulated wires | 8250.00 | Mtrs |  | 12.98 | 107085.00 | 9.00 | 74250.00 | 5.00 | 41250.00 | 41250.00 | NEW TECH ENGINEERING CO.
29.20 | 1C x 2.5 Sq.mm 650V grade copper conductor PVC insulated wires | 8250.00 | Mtrs |  | 19.47 | 160627.50 | 9.00 | 74250.00 | 5.00 | 41250.00 | 41250.00 | NEW TECH ENGINEERING CO.
29.30 | 1C x 4 Sq.mm 650V grade copper conductor PVC insulated wires | 2700.00 | Mtrs |  | 23.36 | 63072.00 | 9.99 | 26973.00 | 5.00 | 13500.00 | 13500.00 | NEW TECH ENGINEERING CO.
30.00 | Installation/ termination/ connection of following sizes of cable as specified.
30.10 | 4C 16 sq. mm 1100V grade copper conductor XLPE insulated , FRLS PVC sheathed armoured cable | 1000.00 | Mtr |  | 97.35 | 97350.00 | 59.00 | 59000.00 | 60.00 | 60000.00 | 59000.00 | JAGGI ELECTRICALS
30.20 | 3.5C 120 sq. mm 1100V grade AL. conductor XLPE insulated , FRLS PVC sheathed armoured cable | 400.00 | Mtr |  | 123.31 | 49324.00 | 99.00 | 39600.00 | 100.00 | 40000.00 | 39600.00 | JAGGI ELECTRICALS
31.00 | Installation/ termination/ connection of following sizes of SWG GI grounding wire including supply and installation of clamps, connection to earthing terminals, lighting fixtures, Junction boxes, pull boxes, lighting poles etc., clamping over conduits using GI earth clips as detailed in the specification and drawings.
31.10 | 14 SWG GI earthing wire for lighting (running along the conduits) | 9530.00 | Mtrs |  | 6.49 | 61849.70 | 9.00 | 85770.00 | 5.00 | 47650.00 | 47650.00 | NEW TECH ENGINEERING CO.
32.00 | Cntrol box contain photo sensor and timer for controlling outdoor lighting provision for manual on and off also provided | 7.00 | Nos. |  | 454.30 | 3180.10 | 799.00 | 5593.00 | 500.00 | 3500.00 | 3180.10 | VRISHANK ELECTRICALS
33.00 | Installation and testing of following types of receptacles including supply and installation of anchor fasteners, mounting brackets, support structure, hardwares etc (wherever required) along with necessary welding, drilling, painting etc
33.10 | 240V AC,15A single pase 03 pin industrial type receptacle with 2 pole and earth, plug top alongwith MCB provided with ELCB | 42.00 | Nos. |  | 454.30 | 19080.60 | 499.00 | 20958.00 | 500.00 | 21000.00 | 19080.60 | VRISHANK ELECTRICALS
33.20 | 240V AC,32A single pase 03 pin industrial type receptacle with 2 pole and earth, plug top alongwith MCB provided with ELCB | 42.00 | Nos. |  | 454.30 | 19080.60 | 499.00 | 20958.00 | 500.00 | 21000.00 | 19080.60 | VRISHANK ELECTRICALS
33.30 | 415V, 32A three phase power receptacle with plug top alongwith with suitable MCB. | 2.00 | Nos. |  | 454.30 | 908.60 | 599.00 | 1198.00 | 500.00 | 1000.00 | 908.60 | VRISHANK ELECTRICALS
34.00 | Installation of following types of junction boxes/ pull boxes for Lighting/ receptacle/ space heating system including supply and installation of anchor fasteners, mounting brackets, support structure, hardwares etc (wherever required) along with necessary welding, drilling, painting etc.
34.10 | 4 way junction box with 5pair terminal point | 650.00 | Nos. |  | 64.90 | 42185.00 | 249.00 | 161850.00 | 400.00 | 260000.00 | 42185.00 | VRISHANK ELECTRICALS
34.20 | Weather proof 4 way junction box | 25.00 | Nos. |  | 64.90 | 1622.50 | 349.00 | 8725.00 | 1000.00 | 25000.00 | 1622.50 | VRISHANK ELECTRICALS
35.00 | Installation of GS earthing leads of following sizes for connecting equipment earthing terminal to nearest earthing pads including bolting/ welding / brazing / cad-welding of conductor/ lug to equipment/ earthing pad, making chase in the floor, grouting the chased area of the floor, hardwares etc, as required/ specified
35.10 | 35x6 GI flats for lighting boards (LBs) | 1200.00 | Mtr |  | 36.34 | 43608.00 | 89.00 | 106800.00 | 125.00 | 150000.00 | 43608.00 | VRISHANK ELECTRICALS
36.00 | Installation, testing and commissioning of pre-wired, LED light fittings of all types, complete with all accessories and tube / lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. also including providing hilti M-10 anchor fasteners angle & hook arrangement, hardwares etc as required. | 302.00 | Each |  | 194.70 | 58799.40 | 399.00 | 120498.00 | 250.00 | 75500.00 | 58799.40 | VRISHANK ELECTRICALS
37.00 | Installation, testing and commissioning of 1200mm, ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 66.00 | Each |  | 194.70 | 12850.20 | 429.00 | 28314.00 | 250.00 | 16500.00 | 12850.20 | VRISHANK ELECTRICALS
38.00 | Installation testing and commissioning of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. along with fixing the louvers/ shutters complete with frame for a exhaust fan of all sizes. | 13.00 | Each |  | 454.30 | 5905.90 | 379.00 | 4927.00 | 250.00 | 3250.00 | 3250.00 | NEW TECH ENGINEERING CO.
39.00 | Installation of cable trays and accessories including supply & installation of special parts,coupler plates, fixing hardwares for coupler plates/ cable trays/ tray accessories, identification paint etc. along with suports, anchor fasteners, tie rod & all accessories & hardwares
39.10 | cable tray of size 150mm Width x 100depth x1.6 thickness | 20.00 | Meter |  | 97.35 | 1947.00 | 379.00 | 7580.00 | 250.00 | 5000.00 | 1947.00 | VRISHANK ELECTRICALS
40.00 | Supply & installation of 100mm width x 50mm depth 1.6mm tickness perforated hot dipped galvanised iron cable tray (galvanisation thickness not less than 50micron) with perforration not more than 17.5%, in convenient sections, joined with connectors, fixed with wall/ceiling along with suports, anchor fasteners & all accessories & hardwares. | 700.00 | Meter |  | 610.06 | 427042.00 | 679.00 | 475300.00 | 300.00 | 210000.00 | 210000.00 | NEW TECH ENGINEERING CO.
41.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 10.00 | Each |  | 28.56 | 285.60 | 19.00 | 190.00 | 20.00 | 200.00 | 190.00 | JAGGI ELECTRICALS
42.00 | 415V AC indoor type distribution board with 415V, 32A, 3 phase, 4 wire bus, 10kA symmetrical fault current, 4 pole 32A, 415V disconnecting switch as incomer, 12 nos. (6A to 32A) 240V 2 pole MCBs (9kA) as outgoing feeder | 5.00 | Nos. |  | 26868.60 | 134343.00 | 34999.00 | 174995.00 | 25000.00 | 125000.00 | 125000.00 | NEW TECH ENGINEERING CO.
43.00 | 415V AC indoor type distribution board with 415V, 63A, 3 phase, 4 wire bus, 10kA symmetrical fault current, 4 pole 63A, 415V disconnecting switch as incomer, 12 nos. (6A to 32A) 240V 2 pole MCBs (9kA) as outgoing feeder | 6.00 | Nos. |  | 29205.00 | 175230.00 | 44999.00 | 269994.00 | 32000.00 | 192000.00 | 175230.00 | VRISHANK ELECTRICALS
44.00 | Main Distribution Board for operation on 415V, 50 Hz, 3 phase, 4 wire, AC system. The panel shall be wall/floor mounted, metal clad, power coated, dust & vermin proof, compartment type enclosure & fabricated out of 2mm thick CRCA sheet with necessary bus bar and cable alleyes and foundation channel. The incoming and outgoing feeders shall be accomodated in a multi-tier arrangement, painting, earthing, sign writing, numbering shall be complete with foundation channel as per specifications & single line diagram and comprise of the following switchgear and accessories: (Shop drawing to be got approved by the Engineer-In-Charge prior to fabrication). a) Incoming: i) 200A, TPN SFU ii) 1 No. R, Y, B PHASE, ON, OFF, Trip LED Indicator Lights and Digital VAF meter b) Bus Bar: i) 415V, 50Hz, 200A, 3Phase, 4W, Copper bus-bar for complete panel with colour coded PVC sleeves. c) Outgoing: i) 18 Nos. 63Amp TP SFU | 1.00 | Set |  | 210084.00 | 210084.00 | 399999.00 | 399999.00 | 265000.00 | 265000.00 | 210084.00 | VRISHANK ELECTRICALS
45.00 | Providing and fixing 25*5mm GI strip on surface for connections etc. as required. | 20.00 | Meter |  | 162.25 | 3245.00 | 189.00 | 3780.00 | 250.00 | 5000.00 | 3245.00 | VRISHANK ELECTRICALS
46.00 | Earthing with G.I Earth pipe 4.5 meter long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangements and watering pipe etc. with charcoal/coke and salt as required | 2.00 | Each |  | 8437.00 | 16874.00 | 7499.00 | 14998.00 | 6500.00 | 13000.00 | 13000.00 | NEW TECH ENGINEERING CO.
47.00 | Earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable , including supply of 1.5 sq.mm FRLS PVC cable (i.e. 500mm length for each point), external connection with 14SWG GI earth wire & internal connection in switchboard etc. as required. | 200.00 | Each |  | 32.45 | 6490.00 | 129.00 | 25800.00 | 500.00 | 100000.00 | 6490.00 | VRISHANK ELECTRICALS
48.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches on surface, having earthing terminal for connection of earth wire etc. as required.
48.10 | 1 or 2 module (75mmX75 mm) | 16.00 | Each |  | 162.25 | 2596.00 | 229.00 | 3664.00 | 125.00 | 2000.00 | 2000.00 | NEW TECH ENGINEERING CO.
48.20 | 3 Module (100 mmX75 mm) | 182.00 | Each |  | 188.21 | 34254.22 | 259.00 | 47138.00 | 170.00 | 30940.00 | 30940.00 | NEW TECH ENGINEERING CO.
48.30 | 6 Module (200 mmX75 mm) | 59.00 | Each |  | 262.20 | 15469.80 | 429.00 | 25311.00 | 300.00 | 17700.00 | 15469.80 | VRISHANK ELECTRICALS
48.40 | 8 Module (125 mmX 125 mm) | 59.00 | Each |  | 350.46 | 20677.14 | 699.00 | 41241.00 | 550.00 | 32450.00 | 20677.14 | VRISHANK ELECTRICALS
49.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
49.10 | 5/6 A switch | 413.00 | Each |  | 45.43 | 18762.59 | 49.00 | 20237.00 | 30.00 | 12390.00 | 12390.00 | NEW TECH ENGINEERING CO.
49.20 | 5/6 A 2 way switch | 6.00 | Each |  | 106.44 | 638.64 | 89.00 | 534.00 | 45.00 | 270.00 | 270.00 | NEW TECH ENGINEERING CO.
49.30 | 3 pin 5/6 A socket outlet | 182.00 | Each |  | 110.33 | 20080.06 | 129.00 | 23478.00 | 45.00 | 8190.00 | 8190.00 | NEW TECH ENGINEERING CO.
50.00 | Supplying installation testing & commissioning of two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate, wiring etc. as required. | 66.00 | Each |  | 356.95 | 23558.70 | 399.00 | 26334.00 | 350.00 | 23100.00 | 23100.00 | NEW TECH ENGINEERING CO.
51.00 | Supplying installation testing & commissioning of 415V AC indoor type distribution board with 415V, 40A, 3 phase, 4 wire bus, 10kA symmetrical fault current, 40A TP MCB as incomer, 12 nos. (6A to 32A) 240V 2 pole MCBs (9kA) as outgoing feeder | 1.00 | Nos. |  | 24142.80 | 24142.80 | 49999.00 | 49999.00 | 25000.00 | 25000.00 | 24142.80 | VRISHANK ELECTRICALS
52.00 | Supplying installation testing & commissioning of following way, single pole and neutral, sheet steel, MCB distribution board, 240V, 25A, 2 pole RCCB as incommer, 12 nos., 16A, SP MCB as outgoing feeder, on surface, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required.
52.10 | 12 way, Double door | 6.00 | Each |  | 8437.00 | 50622.00 | 19999.00 | 119994.00 | 15000.00 | 90000.00 | 50622.00 | VRISHANK ELECTRICALS
53.00 | Supply, installation, testing & commissioning of 15KVA UPS with surge protection & battery for power back up of PCs as per attached specifications. | 1.00 | Each |  | 356950.00 | 356950.00 | 379999.00 | 379999.00 | 425000.00 | 425000.00 | 356950.00 | VRISHANK ELECTRICALS
54.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface existing GI conduit as required
54.10 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 500.00 | Metre |  | 32.45 | 16225.00 | 269.00 | 134500.00 | 250.00 | 125000.00 | 16225.00 | VRISHANK ELECTRICALS
55.00 | Supply & Installation of 1.5 TR Hi-wall Inverter 5 star with Refrigerant Copper Piping for High wall units with insulation, Drain Pipe with 6mm Insulation, Communication Cable with Electrical P.V.C Pipe, Outdoor Stand, complete as required. | 18.00 | Each |  | 67496.00 | 1214928.00 | 49999.00 | 899982.00 | 55000.00 | 990000.00 | 899982.00 | JAGGI ELECTRICALS
56.00 | Supply & installation of Stabilizer for 1.5 TR High wall Units (4 KVA). | 18.00 | Each |  | 5451.60 | 98128.80 | 4999.00 | 89982.00 | 6000.00 | 108000.00 | 89982.00 | JAGGI ELECTRICALS
57.00 | Supplying, Installation, Testing & commissioning of 25Ltr storage type 5 star Electric Geyser with flexible pipes and its all accessories suitable for operation on 230V single phase, 50 Hz, ISI marked, as per specification. | 3.00 | Each |  | 22715.00 | 68145.00 | 12999.19 | 38997.57 | 12500.00 | 37500.00 | 37500.00 | NEW TECH ENGINEERING CO.
| Total in Figures |  |  |  |  | 9234465.39 |  | 11253489.07 |  | 11991750.00
Lowest Amount Quoted BY: VRISHANK ELECTRICALS(9234465.39)

## BOQ Summary
BOQ Summary Details Tender Title: Electrical work in Fire Industrial Safety and Health Complex at GHAVP site. Tender ID: 2025_NPCIL_248988_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VRISHANK ELECTRICALS (BID ID -912312) | 9234465.39 | L1
| 2 | JAGGI ELECTRICALS (BID ID -912311) | 11253489.07 | L2
| 3 | NEW TECH ENGINEERING CO. (BID ID -912096) | 11991750.00 | L3