## BoQ1
Government eProcurement System Created By: HASTI MAL NAHAR Created Date/Time: 27-Mar-2026 09:54 AM Tender Title: Supply, Installation, testing and commissioning including accessories removal of Wiring Tender ID: 2025_NPCIL_250106_1
Tender Inviting Authority:
Name of Work: Supply, Installation, testing & commissioning of copper wiring including accessories removal of existing aluminum wiring, from Type-II, Type-III in Anukiran colony and H2B quarters in Anuchhaya colony including associated work at RR Site....
Contract No: NPC/RRS/90/2025/CPT-A2888
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -917681 |  | JAGGI ELECTRICALS (GSTN-NA) BID ID -917531 |  | NEW TECH ENGINEERING CO. (GSTN-NA) BID ID -917527 |  | Vijayvargia Electricals (GSTN-NA) BID ID -916734
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & commissioning of Point wiring with 1100 volt grade, 1.5 Sqmm, multi stranded, FRPVC insulated copper wire as per commercial colour code includes terminations at both ends. Wire Make : Finolex/ Havells/Polycab. For more details refer relevant technical specification under section - V of tender.
1.10 | Point wiring for Lamp / Fan / Exhaust fan / Tube light etc. Point wiring to be done with 3 runs (phase, neutral & earth) wire. Neutral & earth wire looping shall not be permitted. For more details refer relevant technical specification under section - V of tender. | 5820.00 | Nos. |  | 454.00 | 2642280.00 | 409.00 | 2380380.00 | 600.00 | 3492000.00 | 450.00 | 2619000.00 | 2380380.00 | JAGGI ELECTRICALS
1.20 | Point wiring for Door bell with 2 runs (phase & neutral) of wire. Neutral wire looping shall not be permitted. For more details refer relevant technical specification under section - V of tender. | 405.00 | Nos. |  | 175.00 | 70875.00 | 349.00 | 141345.00 | 600.00 | 243000.00 | 500.00 | 202500.00 | 70875.00 | Aditya Techno Products Private Limited
2.00 | Supply, Installation, testing and commissioning of main wiring, Sub main wiring, power wiring with 1100 volt grade, multi stranded, FRPVC insulated copper wire as per commercial colour code includes terminations at both ends. Wire Make : Finolex / Havells/Polycab. For more details refer relevant technical specification under section - V of tender.
2.10 | 3 Nos. Length of 2.5 Sq.mm wire. For more details refer relevant technical specification under section - V of tender. | 24859.00 | Metre |  | 145.00 | 3604555.00 | 149.00 | 3703991.00 | 140.00 | 3480260.00 | 130.00 | 3231670.00 | 3231670.00 | Vijayvargia Electricals
2.20 | 3 Nos. Length of 4.0 Sq.mm wire. For more details refer relevant technical specification under section - V of tender. | 28213.00 | Metre |  | 212.00 | 5981156.00 | 229.00 | 6460777.00 | 200.00 | 5642600.00 | 200.00 | 5642600.00 | 5642600.00 | Vijayvargia Electricals, NEW TECH ENGINEERING CO.
2.30 | 3 Nos. Length of 6.0 Sq.mm wire. For more details refer relevant technical specification under section - V of tender. | 4555.00 | Metre |  | 321.00 | 1462155.00 | 329.00 | 1498595.00 | 300.00 | 1366500.00 | 300.00 | 1366500.00 | 1366500.00 | Vijayvargia Electricals, NEW TECH ENGINEERING CO.
3.00 | Supply and installation of ISI marked, 32x12 mm Size, colour White / Ivory or as approved by EIC, PVC casing & capping / Trunking including coupler, Tee, Elbow, bend and all other accessories as per site requirement to complete the casing & capping surface wiring. Make : AKG/Anchor/Precision/Finolex. For more details refer relevant technical specification under section - V of tender. | 47263.00 | Metre |  | 52.00 | 2457676.00 | 79.00 | 3733777.00 | 90.00 | 4253670.00 | 60.00 | 2835780.00 | 2457676.00 | Aditya Techno Products Private Limited
4.00 | Supply, installation, testing & commissioning of Ceiling Rose & Angle / Batten holder BC type with 3 Star LED Lamp and Angle / Batten holder ES type. The Angle / Batten holder shall be in White / Ivory colour or as approved by EIC. The ceiling rose and holder are to be installed on appropriate size of PVC surface type box. For more details refer relevant technical specification under section - V of tender.
4.10 | Angle / Batten Holder 6Amp. BC type. Make : Anchor/Havells/ Legrand. with 3 star 5 W LED Lamp. Make : Philips / Bajaj / Wipro / Crompton / Syska/Havells. For more details refer relevant technical specification under section - V of tender. | 3170.00 | Nos. |  | 202.00 | 640340.00 | 209.00 | 662530.00 | 150.00 | 475500.00 | 125.00 | 396250.00 | 396250.00 | Vijayvargia Electricals
4.20 | Angle / Batten Holder 6Amp. ES type. Make : Anchor/Havells/ Legrand. For more details refer relevant technical specification under section - V of tender. | 367.00 | Nos. |  | 71.00 | 26057.00 | 79.19 | 29062.73 | 50.00 | 18350.00 | 65.00 | 23855.00 | 18350.00 | NEW TECH ENGINEERING CO.
4.30 | 6Amp 3-Plate (Phase, Neutral, Earth) Ceiling rose. Make:-Anchor / Havells /Legrand. For more details refer relevant technical specification under section - V of tender. | 2734.00 | Nos. |  | 58.00 | 158572.00 | 69.00 | 188646.00 | 50.00 | 136700.00 | 65.00 | 177710.00 | 136700.00 | NEW TECH ENGINEERING CO.
5.00 | Supply, Installation, testing & commissioning of metallic double door single phase MCBDB complete with internal wiring, neutral and earth link, copper bus bar, RCBO and MCB. Make : Legrand/ L&T(LK)/ Anchor /Schneider /Siemens. For more details refer relevant technical specification under section - V of tender.
5.10 | 16 way MCBDB having one single phase double pole 30mA leakage current C curve 10KA 32Amp RCBO, 3 Nos. 6 Amp single pole C curve 10KA MCB, 4 Nos. 16A single pole C curve 10KA MCB and 2 Nos. 20A single pole C curve10KA MCB. For more details refer relevant technical specification under section - V of tender. | 152.00 | Nos. |  | 7250.00 | 1102000.00 | 10229.00 | 1554808.00 | 18000.00 | 2736000.00 | 6500.00 | 988000.00 | 988000.00 | Vijayvargia Electricals
5.20 | 12 way MCBDB having one single phase double pole 30mA leakage current C curve 10KA 25Amp RCBO, 2 Nos. 6 amp single pole C Curve 10KA MCB, 3 Nos. 16A single pole C Curve10KA MCB and 1 Nos. 20A single pole C Curve10KA MCB. For more details refer relevant technical specification under section - V of tender. | 121.00 | Nos. |  | 6301.00 | 762421.00 | 9229.00 | 1116709.00 | 15000.00 | 1815000.00 | 5300.00 | 641300.00 | 641300.00 | Vijayvargia Electricals
6.00 | Supply, installation, testing & commissioning of single phase 20 Amp. DP, 2P+E metal clad box with plug & socket having one Double pole C curve10KA 20A MCB. Make :Legrand/ L&T(LK)/ Anchor /Schneider /Siemens. For more details refer relevant technical specification under section - V of tender.. | 557.00 | Nos. |  | 1852.00 | 1031564.00 | 1699.00 | 946343.00 | 1850.00 | 1030450.00 | 2050.00 | 1141850.00 | 946343.00 | JAGGI ELECTRICALS
7.00 | Supply and installation of Plastic surface mounting PVC boxes and Modular type Switches, Sockets, Fan Regulator, Bell push and plate with frame etc. All the items suitable for fixing on PVC Surface type mounting boxes. Note - All items must be white in colour or as approved by EIC. All items shall be single make or as approved by EIC. Make:- Legrand/Anchor/ Havells. For more details refer relevant technical specification under section - V of tender.
7.01 | 6 A, 1 Module One Way Switch. For more details refer relevant technical specification under section - V of tender. | 9950.00 | Nos. |  | 80.00 | 796000.00 | 79.00 | 786050.00 | 60.00 | 597000.00 | 36.00 | 358200.00 | 358200.00 | Vijayvargia Electricals
7.02 | 6 A, 2 Modules Socket. For more details refer relevant technical specification under section - V of tender. | 4298.00 | Nos. |  | 115.00 | 494270.00 | 129.00 | 554442.00 | 72.00 | 309456.00 | 73.00 | 313754.00 | 309456.00 | NEW TECH ENGINEERING CO.
7.03 | 16 A, 1 Module One Way Switch. For more details refer relevant technical specification under section - V of tender. | 2233.00 | Nos. |  | 116.00 | 259028.00 | 139.00 | 310387.00 | 100.00 | 223300.00 | 87.00 | 194271.00 | 194271.00 | Vijayvargia Electricals
7.04 | 6/16 A, 2 Modules Three Pin Socket. For more details refer relevant technical specification under section - V of tender. | 2233.00 | Nos. |  | 345.00 | 770385.00 | 189.00 | 422037.00 | 125.00 | 279125.00 | 118.00 | 263494.00 | 263494.00 | Vijayvargia Electricals
7.05 | 5/4 Step, 2 Modules Fan Regulator. For more details refer relevant technical specification under section - V of tender. | 1000.00 | Nos. |  | 811.00 | 811000.00 | 429.00 | 429000.00 | 325.00 | 325000.00 | 305.00 | 305000.00 | 305000.00 | Vijayvargia Electricals
7.06 | 6 A, 1 Module Bell Push switch. For more details refer relevant technical specification under section - V of tender. | 405.00 | Nos. |  | 221.00 | 89505.00 | 99.00 | 40095.00 | 55.00 | 22275.00 | 75.00 | 30375.00 | 22275.00 | NEW TECH ENGINEERING CO.
7.07 | 1 or 2 Modules Plastic Surface mounting box. For more details refer relevant technical specification under section - V of tender. | 1457.00 | Nos. |  | 125.00 | 182125.00 | 109.00 | 158813.00 | 60.00 | 87420.00 | 65.00 | 94705.00 | 87420.00 | NEW TECH ENGINEERING CO.
7.08 | 1 Module Plate with Frame. For more details refer relevant technical specification under section - V of tender. | 405.00 | Nos. |  | 145.00 | 58725.00 | 109.00 | 44145.00 | 125.00 | 50625.00 | 65.00 | 26325.00 | 26325.00 | Vijayvargia Electricals
7.09 | 2 Modules Plate with Frame. For more details refer relevant technical specification under section - V of tender. | 1052.00 | Nos. |  | 153.00 | 160956.00 | 149.00 | 156748.00 | 125.00 | 131500.00 | 65.00 | 68380.00 | 68380.00 | Vijayvargia Electricals
7.10 | 3 Modules Plastic Surface mounting Box including 3 Modules plate with Frame. For more details refer relevant technical specification under section - V of tender. | 3385.00 | Nos. |  | 311.00 | 1052735.00 | 239.00 | 809015.00 | 180.00 | 609300.00 | 140.00 | 473900.00 | 473900.00 | Vijayvargia Electricals
7.11 | 4 Modules Plastic Surface mounting Box including 4 Modules Plate with Frame. For more details refer relevant technical specification under section - V of tender. | 405.00 | Nos. |  | 365.00 | 147825.00 | 259.00 | 104895.00 | 215.00 | 87075.00 | 170.00 | 68850.00 | 68850.00 | Vijayvargia Electricals
7.12 | 6 Modules Plastic Surface mounting Box including 6 Modules Plate with Frame. For more details refer relevant technical specification under section - V of tender. | 967.00 | Nos. |  | 518.00 | 500906.00 | 289.00 | 279463.00 | 350.00 | 338450.00 | 230.00 | 222410.00 | 222410.00 | Vijayvargia Electricals
7.13 | 8 Modules Plastic Surface mounting Box including 8 Modules Plate with Frame. For more details refer relevant technical specification under section - V of tender. | 96.00 | Nos. |  | 521.00 | 50016.00 | 349.00 | 33504.00 | 400.00 | 38400.00 | 285.00 | 27360.00 | 27360.00 | Vijayvargia Electricals
7.14 | 9 / 10 Modules Plastic Surface mounting Box including 9 / 10 Modules Plate with Frame. For more details refer relevant technical specification under section - V of tender. | 962.00 | Nos. |  | 600.00 | 577200.00 | 429.00 | 412698.00 | 550.00 | 529100.00 | 350.00 | 336700.00 | 336700.00 | Vijayvargia Electricals
7.15 | Blank / Dummy plate single module for PVC switch board. For more details refer relevant technical specification under section - V of tender. | 7234.00 | Nos. |  | 55.00 | 397870.00 | 29.00 | 209786.00 | 20.00 | 144680.00 | 17.00 | 122978.00 | 122978.00 | Vijayvargia Electricals
8.00 | Supply, installation, testing & commissioning of Ceiling Fan and LED light fittings. For more details refer relevant technical specification under section - V of tender.
8.10 | Ceiling fan 5 Star rating latest, approx. 900 mm / 36 inches sweep white / cream colour or as approved by EIC complete with all accessories. Make : Crompton / Bajaj / Almonard / Usha / Havells. For more details refer relevant technical specification under section - V of tender. | 38.00 | Nos. |  | 5500.00 | 209000.00 | 2299.49 | 87380.62 | 2500.00 | 95000.00 | 1800.00 | 68400.00 | 68400.00 | Vijayvargia Electricals
8.20 | LED Batten Light fitting 18 watts with supply of 2 Nos PVC blocks / box. The fitting is to be installed on wall through 2 Nos PVC blocks / boxes and connection to fitting through ceiling rose by PVC insulated copper cable. Make :Philips / Bajaj / Wipro / Crompton / Syska/Havells. For more details refer relevant technical specification under section - V of tender. | 405.00 | Nos. |  | 360.00 | 145800.00 | 429.00 | 173745.00 | 525.00 | 212625.00 | 200.00 | 81000.00 | 81000.00 | Vijayvargia Electricals
9.00 | Dismantling & removal of embedded MS Box GI/ Wooden from the wall and to be deposited in departmental store. NOTE : Area of plaster in Sq.M shall be considered for measurement after completion of all work mentioned in this item. For more details refer relevant technical specification under section - V of tender. | 233.00 | Sq.M |  | 210.00 | 48930.00 | 2999.00 | 698767.00 | 200.00 | 46600.00 | 1500.00 | 349500.00 | 46600.00 | NEW TECH ENGINEERING CO.
10.00 | Dismantling & removal of existing surface mounted switch boards, switch board cover sheet including switches, sockets, regulators, MCBs, RCBOs, Fuses and other associated electrical components including all types of wirings, casing & capping, conduits, battens etc. Note: the quantity under this item shall be measured and paid only for the length of conduit / casing-capping / battens (accommodating circuit wiring irrespective of Nos. of wires) dismantled and removed without any consideration to actual length of circuit wiring accommodated within conduits / casing- capping / battens etc. For more details refer relevant technical specification under section - V of tender. | 24523.00 | Metre |  | 55.00 | 1348765.00 | 39.00 | 956397.00 | 20.00 | 490460.00 | 50.00 | 1226150.00 | 490460.00 | NEW TECH ENGINEERING CO.
11.00 | Supply, installation, testing & commissioning of Point wiring for Stair case / common areas /garage /terrace etc with 3 runs (phase, neutral & earth) of 1100 volt grade 1.5 sq. mm multi stranded, FRPVC insulated copper wire for the common lights in the block. NOTE : Measurement shall be paid in Number of point / fitting connected in the circuit. Wire Make : Finolex/ Havells/Polycab. For more details refer relevant technical specification under section - V of tender. | 451.00 | Nos. |  | 454.00 | 204754.00 | 639.00 | 288189.00 | 700.00 | 315700.00 | 450.00 | 202950.00 | 202950.00 | Vijayvargia Electricals
12.00 | Supply and installation of ISI marked, 25 mm dia Heavy duty (HMS) PVC conduit, pull box, JB elbow, Tee, joint / couplar, saddle, spacer colour White / Ivory or as approved by EIC including all other accessories as per site requirement to complete the PVC conduit surface type wiring. Make: AKG/Anchor/Precision/Finolex. For more details refer relevant technical specification under section - V of tender. | 5331.00 | Metre |  | 94.00 | 501114.00 | 99.00 | 527769.00 | 60.00 | 319860.00 | 75.00 | 399825.00 | 319860.00 | NEW TECH ENGINEERING CO.
| Total in Figures |  |  |  |  | 28746560.00 |  | 29900289.35 |  | 29942981.00 |  | 24501542.00
Lowest Amount Quoted BY: Vijayvargia Electricals(24501542.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, testing and commissioning including accessories removal of Wiring Tender ID: 2025_NPCIL_250106_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vijayvargia Electricals (BID ID -916734) | 24501542.00 | L1
| 2 | Aditya Techno Products Private Limited (BID ID -917681) | 28746560.00 | L2
| 3 | JAGGI ELECTRICALS (BID ID -917531) | 29900289.35 | L3
| 4 | NEW TECH ENGINEERING CO. (BID ID -917527) | 29942981.00 | L4