## BoQ1
Government eProcurement System Created By: Vishweshwar Gaonkar Created Date/Time: 11-Dec-2025 11:28 AM Tender Title: Internal Painting of Induced Draft Cooling Towers (Unit 1 and 2) at KGS 1 and 2, Kaiga Tender ID: 2025_NPCIL_250127_1
Tender Inviting Authority: MS KGS 1&2, Kaiga Site
Name of Work: Internal Painting of Induced Draft Cooling Towers (Unit # 1&2) at KGS 1&2, Kaiga
Contract No: NPCIL/KGS1&2/CTC/C&SM/CPPP/2025/101
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Naveen Engineering and Speciality Coating Pvt Ltd (GSTN-NA) BID ID -916712 |  | MURUGAN KANNAPPA (GSTN-NA) BID ID -917864 |  | Sundaram Associates (GSTN-NA) BID ID -917358 |  | WIN-TECH ENGINEERS & CONTRACTORS (GSTN-NA) BID ID -917722 |  | UNITED ENGINEERS (GSTN-NA) BID ID -917081
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Removing the existing damaged Tarfelt, Isothene layer, Polystyrene boards, Plaster coating from the existing surfaces including required tools, tackles & consuambles, Providing; fixing & removing necessary staging / platform / ladder / Jhoola [if required], collecting, lowering, shifting at ground level, cleaning the work area & disposing the generated debris / waste at the dump yard up a lead of 2 to 3 kms. from the work place etc., Complete all as per standard & manufacturers technical specification, as directed by engineer in-charge at all locations, lifts & heights. | 900.00 | Sqm | 96.00 | 300.00 | 270000.00 | 80.00 | 72000.00 | 119.00 | 107100.00 | 100.00 | 90000.00 | 98.00 | 88200.00 | 72000.00 | MURUGAN KANNAPPA
2.00 | Providing and applying two coats of Asian Paints APCOREP KRETECOAT coating or equivalent alternative of approved make/shade/colour and quality to the internal plastered masonry/concrete walls, RCC, columns, beams, stairs, railings etc., over the existing concrete surfaces including preparation of surface by cleaning the substrate thoroughly to remove dust, hardened cement slurry, using oily residues by scrubbing with coarse wire brush/using pressure water pump/ chipping/wire brushing/sand papering/grinding/chipping off the top layer/sweep blasting method etc. depending on site requirements. Also, filling holes on concrete surface by epoxy mortar; providing, fixing and removing necessary scaffolding/platform etc.,. complete all as per manufacturer's technical specification, and as directed by Engineer-in-Charge at all heights/lifts and at all locations. | 15000.00 | Sqm | 546.00 | 500.00 | 7500000.00 | 436.00 | 6540000.00 | 491.00 | 7365000.00 | 469.00 | 7035000.00 | 450.00 | 6750000.00 | 6540000.00 | MURUGAN KANNAPPA
3.00 | Providing and applying Two coats of first quality Synthetic enamel paint of Berger/Nerolac/Asian/Shalimar/Dulux make of approved shade/colour and conforming to relevant BIS specification of latest edition over existing painted/new surfaces exterior including preparation of surfaces by sand papering and cleaning the area , providing, fixing and removing necessary scaffolding/platform etc.,. complete all as per specification, and as directed by Engineer-in-Charge at all heights/lifts and at all locations. | 318.00 | Sqm | 145.00 | 350.00 | 111300.00 | 100.00 | 31800.00 | 140.00 | 44520.00 | 139.00 | 44202.00 | 112.00 | 35616.00 | 31800.00 | MURUGAN KANNAPPA
| Total in Figures |  |  |  |  | 7881300.00 |  | 6643800.00 |  | 7516620.00 |  | 7169202.00 |  | 6873816.00
Lowest Amount Quoted BY: MURUGAN KANNAPPA(6643800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Internal Painting of Induced Draft Cooling Towers (Unit 1 and 2) at KGS 1 and 2, Kaiga Tender ID: 2025_NPCIL_250127_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MURUGAN KANNAPPA (BID ID -917864) | 6643800.00 | L1
| 2 | UNITED ENGINEERS (BID ID -917081) | 6873816.00 | L2
| 3 | WIN-TECH ENGINEERS & CONTRACTORS (BID ID -917722) | 7169202.00 | L3
| 4 | Sundaram Associates (BID ID -917358) | 7516620.00 | L4
| 5 | Naveen Engineering and Speciality Coating Pvt Ltd (BID ID -916712) | 7881300.00 | L5