## BoQ1
Government eProcurement System Created By: mitendra singh Created Date/Time: 28-Jan-2026 11:25 AM Tender Title: Construction of library building in nearby villages under Corporate Social Responsibility CSR works. Tender ID: 2025_NPCIL_251396_1
Tender Inviting Authority: Chief Engineer
Name of Work: Construction of library building in nearby villages under Corporate Social Responsibility (CSR) works.
Contract No: NPCIL/GHAVP/CTC/2025/PT-279
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RBT Projects India Pvt. tLtd. (GSTN-NA) BID ID -920163 |  | SS Contractors (GSTN-NA) BID ID -920477
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish as per direction of Engineer-In-Charge. | 1600.00 | SQM |  | 12.00 | 19200.00 | 10.00 | 16000.00 | 16000.00 | SS Contractors
2.00 | EXCAVATION:- Earth work in excavation by mechanical means (Hydraulic excavator) / manual means including dressing of sides and ramming of bottoms, including getting out the excavated soil and disposal of surplus excavated soil as per direction of Engineer-In-Charge. | 2200.00 | CUM |  | 160.00 | 352000.00 | 120.00 | 264000.00 | 264000.00 | SS Contractors
3.00 | BACKFILLING-EXCAVATED EARTH:- Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering as per direction of Engineer-In-Charge. | 1960.00 | CUM |  | 160.00 | 313600.00 | 120.00 | 235200.00 | 235200.00 | SS Contractors
4.00 | Supplying of earth free from weeds, roots, pebbles and other foreign material including royalty and carriage and filling the earth wherever required in layers not exceeding 20cm in depth, consolidating each deposited layers by ramming and watering etc. complete as directed by Engineer-Incharge (only consolidated fill shall be paid). | 920.00 | CUM |  | 220.00 | 202400.00 | 120.00 | 110400.00 | 110400.00 | SS Contractors
5.00 | Supplying chemical emulsion Chlorpyriphos/ Lindane emulsifiable concentrate of 20% in sealed containers including delivery as specified | 740.00 | Ltr |  | 220.00 | 162800.00 | 150.00 | 111000.00 | 111000.00 | SS Contractors
6.00 | ANTI TERMITE TREATMENT :- Dilution and injecting chemical emulsion tratement with chemical emulsion @ one litre per hole at 300 mm interval including drilling holes and plugging them with cement mortar 1:2 (1 cement : 2 coarse sand) to the full depth of the hole : With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration) | 1280.00 | SQM |  | 100.00 | 128000.00 | 30.00 | 38400.00 | 38400.00 | SS Contractors
7.00 | Providing and laying in position cement concrete 1:3:6 [1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size] for all works excluding the cost of centering and shuttering | 540.00 | CUM |  | 4000.00 | 2160000.00 | 4000.00 | 2160000.00 | 2160000.00 | RBT Projects India Pvt. tLtd., SS Contractors
8.00 | CONCRETE (M25) :- Providing and laying structural reinforced cement concrete work, machine batched and machine mixed, design mix M-25 grade cement concrete conforming to IS:456 at all heights and depth for construction of beams, columns, staircases chajja, roof slabs, facia, canopies, fins, porch, water tank etc. excluding the cost of centering, shuttering and reinforcement, including cost of staging, scaffolding, finishing, compaction, curing and mixing approved chemical admixtures (if required) conforming to IS 9103 in recommended proportions to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge complete in all respects, inclusive of cost of all labour, materials, tools, tackles etc. | 690.00 | CUM |  | 5800.00 | 4002000.00 | 7100.00 | 4899000.00 | 4002000.00 | RBT Projects India Pvt. tLtd.
9.00 | Providing and laying Thermo-Mechanically Treated reinforcement bars of grade Fe 500D or more and as directed by engineer conforming to IS : 1786 latest revision or the latest relevent code for RCC work including placing, straightening, cutting, bending, placing in position and binding with binding wire and cement mortar cover block of all size all complete as per drawings, specifications & direction of engineer in charge. | 83000.00 | KG |  | 84.00 | 6972000.00 | 78.00 | 6474000.00 | 6474000.00 | SS Contractors
10.00 | Centering and shuttering including strutting, propping etc. and removal of form work for:
10.10 | Foundations, footings, bases of columns etc. | 400.00 | SQM |  | 300.00 | 120000.00 | 250.00 | 100000.00 | 100000.00 | SS Contractors
10.20 | Suspended floors, roofs, landings, balconies and access platform etc. | 1200.00 | SQM |  | 580.00 | 696000.00 | 600.00 | 720000.00 | 696000.00 | RBT Projects India Pvt. tLtd.
10.30 | Lintels, beams, plinth beams, girders, bressumers and cantilevers etc. | 1980.00 | SQM |  | 580.00 | 1148400.00 | 400.00 | 792000.00 | 792000.00 | SS Contractors
10.40 | Columns, Pillars, Piers, Abutments, Posts and Struts. | 1580.00 | SQM |  | 630.00 | 995400.00 | 450.00 | 711000.00 | 711000.00 | SS Contractors
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 for all works at all heights in Cement mortar 1:6 (1 cement : 6 coarse sand) | 780.00 | CUM |  | 5800.00 | 4524000.00 | 5800.00 | 4524000.00 | 4524000.00 | RBT Projects India Pvt. tLtd., SS Contractors
12.00 | Providing and laying 15 mm cement plaster of mix 1:4 (1 cement: 4 fine sand) including finishing, curing, scaffoldings etc. complete at all height as per direction of Engineer-in-charge including fixing chicken mesh over junctions of brick work, beams and column as required including making necessary grooves, as directed and finished even and smooth as per specifications and direction of Engineer-In-Charge. | 5930.00 | SQM |  | 290.00 | 1719700.00 | 280.00 | 1660400.00 | 1660400.00 | SS Contractors
13.00 | WALL PUTTY :- Providing and applying cement based wall putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 5930.00 | SQM |  | 100.00 | 593000.00 | 95.00 | 563350.00 | 563350.00 | SS Contractors
14.00 | GRANITE WORKS :- Providing and fixing 18 mm thick gang saw cut Granite of any colour and shade, mirror polished, premoulded and prepolished, machine cut for window sills and ventillator sill, facias and similar locations of required size, approved shade ,colour and texture laid over 20 mm thick base cement morter 1:4 (1 cement : 4 corase sand) joints treated with white cement, mixed with matching pigment, including rubbing, curing, moulding and polishing to give high gloss finish etc. complete at all levels. | 160.00 | SQM |  | 3000.00 | 480000.00 | 2500.00 | 400000.00 | 400000.00 | SS Contractors
15.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade on New work (two or more coats) and including water thinnable priming coat with cement primer. | 2840.00 | SQM |  | 150.00 | 426000.00 | 130.00 | 369200.00 | 369200.00 | SS Contractors
16.00 | ACRYLIC SMOOTH EXTERIOR PAINT :- Finishing walls with Acrylic Smooth exterior paint of required shade on New work as per manufacturer's specifications (Two or more coat and including priming coat of exterior primer). | 2800.00 | SQM |  | 150.00 | 420000.00 | 130.00 | 364000.00 | 364000.00 | SS Contractors
17.00 | SYNTHETIC ENAMEL PAINT :- Painting with synthetic enamel paint of approved brand and manufacture to give an even shade with Two or more coats on new work after application of primer coat. | 130.00 | SQM |  | 150.00 | 19500.00 | 130.00 | 16900.00 | 16900.00 | SS Contractors
18.00 | Ceramic Floor Tiles :- Providing and laying branded (Kajaria,NITCO,Johnson or Somany) Ceramic floor tiles conforming to IS : 15622 of approved make in all colours and shades laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), jointing with cement slurry including pointing as per directions of Engineer-In-charge. | 260.00 | SQM |  | 950.00 | 247000.00 | 700.00 | 182000.00 | 182000.00 | SS Contractors
19.00 | Ceramic Glazed Wall Tiles :- Providing and fixing ceramic glazed wall tiles conforming to IS: 15622 of approved make, in all colours and shades of any size as approved by Engineer-in-Charge, in walls, skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 380.00 | SQM |  | 1100.00 | 418000.00 | 750.00 | 285000.00 | 285000.00 | SS Contractors
20.00 | Providing and laying 150 mm thick Brick soling under floors using 25 mm to 115 mm common burnt clay FPS (Non modular) bricks of class designation 7.5, filling interstices with spalls and binding material consolidating to required gradient and camber, spreading, watering etc. complete as per drawings, specifications and direction of Engineer. | 1240.00 | SQM |  | 200.00 | 248000.00 | 200.00 | 248000.00 | 248000.00 | RBT Projects India Pvt. tLtd., SS Contractors
21.00 | 25mm thick Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) | 1240.00 | SQM |  | 950.00 | 1178000.00 | 1400.00 | 1736000.00 | 1178000.00 | RBT Projects India Pvt. tLtd.
22.00 | CC CHEQUERED TILES :- Providing and laying Chequerred precast cement concrete tiles 22 mm thick, jointed with neat cement slurry mixed with Light shade pigment using white cement to match the shade of tiles, including rubbing and cleaning etc. complete, on 20mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand) . | 52.00 | SQM |  | 600.00 | 31200.00 | 1000.00 | 52000.00 | 31200.00 | RBT Projects India Pvt. tLtd.
23.00 | CEMENT BASEDWATER PROOFING :- Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls up to 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with waterproofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick joint less cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 1240.00 | SQM |  | 600.00 | 744000.00 | 1200.00 | 1488000.00 | 744000.00 | RBT Projects India Pvt. tLtd.
24.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 36.00 | Each |  | 500.00 | 18000.00 | 250.00 | 9000.00 | 9000.00 | SS Contractors
25.00 | STRUCTURAL STEEL (TUBULAR SECTION ) :-Steel work in built up tubular Hot finished type tubes (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer, including welding and bolted with washers etc. complete. | 2000.00 | KG |  | 120.00 | 240000.00 | 130.00 | 260000.00 | 240000.00 | RBT Projects India Pvt. tLtd.
26.00 | STRUCTURAL STEEL (BUILT-UP SECTION ) :- Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and and applying two coats of synthetic enamel paint of approved make and shade over a coat of primer. | 2300.00 | KG |  | 110.00 | 253000.00 | 95.00 | 218500.00 | 218500.00 | SS Contractors
27.00 | STRUCTURAL STEEL:- Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including 2 coats of synthetic enamel paint and 1 priming coat with approved steel primer all complete. | 2080.00 | KG |  | 125.00 | 260000.00 | 130.00 | 270400.00 | 260000.00 | RBT Projects India Pvt. tLtd.
28.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and ventilators using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. | 160.00 | SQM |  | 300.00 | 48000.00 | 250.00 | 40000.00 | 40000.00 | SS Contractors
29.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs, beams during laying including painting the exposed portion of loop, all as per standard design complete. | 50.00 | Each |  | 100.00 | 5000.00 | 100.00 | 5000.00 | 5000.00 | RBT Projects India Pvt. tLtd., SS Contractors
30.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges and making necessary holes and if required angle threshold of mild steel angle of section 50x25 mm, including M.S. pressed butt hinges 2.5 mm thick with mortar guards and lock strike-plate as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge | 300.00 | Metre |  | 400.00 | 120000.00 | 400.00 | 120000.00 | 120000.00 | RBT Projects India Pvt. tLtd., SS Contractors
31.00 | FLUSH DOORS :- Providing and fixing ISI marked flush door shutters 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws conforming to IS: 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters including 1.0 mm thick decorative lamination sheet on both sides and including lipping. | 120.00 | SQM |  | 2000.00 | 240000.00 | 2500.00 | 300000.00 | 240000.00 | RBT Projects India Pvt. tLtd.
32.00 | Providing and fixing Powder coated aluminium work for doors, windows (sliding/openable), ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing as per standard industry practice including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle and sliding locks, Aluminium snap beading for glazing/ paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and paneling to be paid for separately):- For Fixed portion | 730.00 | KG |  | 300.00 | 219000.00 | 450.00 | 328500.00 | 219000.00 | RBT Projects India Pvt. tLtd.
33.00 | Providing and fixing Powder coated aluminium aluminium work for doors, windows (sliding/ openable), ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing as per standard industry practice including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle and sliding locks, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and paneling to be paid for separately):- For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket as required | 600.00 | KG |  | 350.00 | 210000.00 | 450.00 | 270000.00 | 210000.00 | RBT Projects India Pvt. tLtd.
34.00 | Providing and fixing glazing with float glass panes of 5 mm thickness in door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item) | 120.00 | SQM |  | 900.00 | 108000.00 | 1000.00 | 120000.00 | 108000.00 | RBT Projects India Pvt. tLtd.
35.00 | Providing and fixing 200x10 mm bright finished brass tower bolts (barrel type) with necessary screws etc. complete | 36.00 | Each |  | 300.00 | 10800.00 | 310.00 | 11160.00 | 10800.00 | RBT Projects India Pvt. tLtd.
36.00 | Providing and fixing 150x10 mm bright finished brass tower bolts (barrel type) with necessary screws etc. complete | 24.00 | Each |  | 250.00 | 6000.00 | 260.00 | 6240.00 | 6000.00 | RBT Projects India Pvt. tLtd.
37.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg with necessary accessories and screws etc. complete. | 30.00 | Each |  | 1200.00 | 36000.00 | 200.00 | 6000.00 | 6000.00 | SS Contractors
38.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 30.00 | Each |  | 100.00 | 3000.00 | 150.00 | 4500.00 | 3000.00 | RBT Projects India Pvt. tLtd.
39.00 | Providing and fixing White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap with C.I. brackets, pedestal, 32 mm C.P. brass waste pipe of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required. Note: Size mentioned above is tentative , it may vary slightly as per model of different brands as approved by EIC | 12.00 | Each |  | 3200.00 | 38400.00 | 1800.00 | 21600.00 | 21600.00 | SS Contractors
40.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) of with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests. Note: Size mentioned above is tentative, it may vary slightly as per model of different brands as approved by EIC | 18.00 | Each |  | 4000.00 | 72000.00 | 800.00 | 14400.00 | 14400.00 | SS Contractors
41.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design: With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 and providing adequate manholes and layign arrangements for sewage pipelines. (manhole and pipeline to be paid in relevent items) | 6.00 | Each |  | 25000.00 | 150000.00 | 10000.00 | 60000.00 | 60000.00 | SS Contractors
42.00 | Providing and fixing white vitreous china flat back urinal of size 580x380x350 mm, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass , including urinal partition , flushing system and painting of fittings and cutting and making good the walls and floors wherever required : Note: Size mentioned above is tentative , it may vary slightly as per model of different brands as approved by EIC. | 18.00 | Each |  | 5000.00 | 90000.00 | 4500.00 | 81000.00 | 81000.00 | SS Contractors
43.00 | Providing and fixing C.P. 15 mm nominal bore brass bib cock/ long nose bib cock of approved brand as per directions of EIC. | 30.00 | Each |  | 600.00 | 18000.00 | 350.00 | 10500.00 | 10500.00 | SS Contractors
44.00 | Providing and fixing 15mm nominal bore C.P. brass stop cock (concealed) of standard design and of approved make. | 30.00 | Each |  | 600.00 | 18000.00 | 550.00 | 16500.00 | 16500.00 | SS Contractors
45.00 | Providing and fixing 20 mm nominal dia. nominal bore Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps as required. This includes jointing of pipes & fittings with one step CPVC solvent and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge: Concealed work, including cutting chases and making good the walls etc. | 190.00 | Metre |  | 150.00 | 28500.00 | 100.00 | 19000.00 | 19000.00 | SS Contractors
46.00 | Providing and fixing 25 mm nominal dia Pipes Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | 48.00 | Metre |  | 200.00 | 9600.00 | 125.00 | 6000.00 | 6000.00 | SS Contractors
47.00 | Providing and fixing 25 mm dia. nominal bore G.I. pipes complete with G.I. fittings including trenching and refilling etc. : External work | 520.00 | Metre |  | 200.00 | 104000.00 | 200.00 | 104000.00 | 104000.00 | RBT Projects India Pvt. tLtd., SS Contractors
48.00 | Providing and fixing 25 mm nominal bore ball valve (brass) of approved quality, High or low pressure | 24.00 | Each |  | 500.00 | 12000.00 | 350.00 | 8400.00 | 8400.00 | SS Contractors
49.00 | Providing and fixing on wall face 110 mm diameter unplasticised Single socketed Rigid PVC rain water pipes conforming to IS : 13592 Type A including necessary fittings (Bends, Tees, Joints, Traps, Elbows) and other accessories, as required | 360.00 | Metre |  | 170.00 | 61200.00 | 200.00 | 72000.00 | 61200.00 | RBT Projects India Pvt. tLtd.
50.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board fixed to wooden cleats with C.P. brass screws and washers complete. | 12.00 | Each |  | 1200.00 | 14400.00 | 500.00 | 6000.00 | 6000.00 | SS Contractors
51.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 6000.00 | Ltr |  | 12.00 | 72000.00 | 10.00 | 60000.00 | 60000.00 | SS Contractors
52.00 | Providing and fixing 25 mm nominal bore ball valve (brass) of approved quality, High or low pressure, with plastic floats complete | 6.00 | Each |  | 500.00 | 3000.00 | 350.00 | 2100.00 | 2100.00 | SS Contractors
53.00 | Providing and fixing 25 mm nominal bore G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete | 30.00 | Each |  | 225.00 | 6750.00 | 200.00 | 6000.00 | 6000.00 | SS Contractors
54.00 | LIQUID SOAP DISPENSER :- Providing and fixing PTMT liquid soap container (spring loaded push type) with lid and brackets fixed to PVC cleats with C.P. brass screws etc. complete in all respects; inclusive of cost of all materials, labour, tools, tackles etc. as per specifications and direction of EIC. | 12.00 | Each |  | 150.00 | 1800.00 | 120.00 | 1440.00 | 1440.00 | SS Contractors
55.00 | Providing and fixing 300x16 mm ISI marked S.S. sliding door bolts with nuts and screws etc. complete. | 42.00 | Each |  | 200.00 | 8400.00 | 200.00 | 8400.00 | 8400.00 | RBT Projects India Pvt. tLtd., SS Contractors
56.00 | ALUMINIUM HANDLES (125MM) :- Providing and fixing 125 mm aluminium handles ISI marked anodised transparent or dyed torequired colour or shade with necessary screws etc. complete | 66.00 | Each |  | 60.00 | 3960.00 | 80.00 | 5280.00 | 3960.00 | RBT Projects India Pvt. tLtd.
57.00 | CHROMIUM PLATED BRASS HANDLES :- Providing and fixing 125 mm chromium plated brass handles with necessary screws etc. complete as per direction of Engineer-in-charge. | 96.00 | Each |  | 200.00 | 19200.00 | 220.00 | 21120.00 | 19200.00 | RBT Projects India Pvt. tLtd.
58.00 | Providing and laying 80mm factory made M-35 chamfered edge Cement Concrete paver blocks of required strength, thickness & size/ shape, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/ laying of inter locking paver blocks into the sand bedding layer filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand complete all as per direction of Engineer-in-Charge. | 1300.00 | SQM |  | 480.00 | 624000.00 | 600.00 | 780000.00 | 624000.00 | RBT Projects India Pvt. tLtd.
59.00 | Providing and fixing 20mm thick black Granite stone plaque of required size engraved with specified text, NPCIL logo, etc. inside a decorative border and inscription coated with indelible ink/paint all complete as per direction of EIC. | 6.00 | SQM |  | 5500.00 | 33000.00 | 7000.00 | 42000.00 | 33000.00 | RBT Projects India Pvt. tLtd.
60.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). | 60.00 | CUM |  | 7000.00 | 420000.00 | 6500.00 | 390000.00 | 390000.00 | SS Contractors
61.00 | Manufacturing, supplying and fixing retro reflective sign board made up of 4 mm thick Aluminium Composite panel sheet, face to be fully covered with retro reflective sheeeting in any colour combination as decided by EIC including subject matter, message (bilingual), symbols and border etc. pasted on substrate by an adhesive backing complete as per direction of EIC. | 24.00 | SQM |  | 2500.00 | 60000.00 | 4800.00 | 115200.00 | 60000.00 | RBT Projects India Pvt. tLtd.
62.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 350 mm dia. R.C.C. pipe | 300.00 | Metre |  | 900.00 | 270000.00 | 580.00 | 174000.00 | 174000.00 | SS Contractors
63.00 | Providing and fixing rollar blinds of good quality of make VISTA (or as approved by EIC) of approved shade and color | 150.00 | SQM |  | 1300.00 | 195000.00 | 950.00 | 142500.00 | 142500.00 | SS Contractors
64.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary levelling & dressing & finishing the top smooth. | 220.00 | SQM |  | 700.00 | 154000.00 | 450.00 | 99000.00 | 99000.00 | SS Contractors
65.00 | Providing & Fixing 18mm thk. prelaminated particle board (middle straight partition and table top) (decorative lamination on both side) Grade-1 medium density first pressed three layers particle board, conforming to IS 3087 bonded with BWP type synthetic resin adhesive. The other three sides of the board shall be finished with matching 2mm thick PVC edge binding tape complete in all respect in desired shape & size to the entire satisfaction of Engineer Incharge including cost of Minifix, Dowels. "L" brackets, cable manager/PVC buffore. | 760.00 | SQM |  | 1050.00 | 798000.00 | 2500.00 | 1900000.00 | 798000.00 | RBT Projects India Pvt. tLtd.
66.00 | Providing & Fixing 12mm thk. prelaminated particle board (Straight or curved on sides partition) (decorative lamination on both side) Grade-1 medium density first pressed three layers particle board, conforming to IS 3087 bonded with BWP type synthetic resin adhesive. The other three sides of the board shall be finished with matching 2mm thick PVC edge binding tape complete in all respect in desired shape & size to the entire satisfaction of Engineer Incharge including cost of Minifix, Dowels. "L" brackets, cable manager/PVC buffore. | 230.00 | SQM |  | 950.00 | 218500.00 | 2000.00 | 460000.00 | 218500.00 | RBT Projects India Pvt. tLtd.
67.00 | Providing and supplying chair with mild steel tubular frame (minimum dia 19 mm, 1.2 mm thick), PU foam (medium density) seat cushion upholstered in durable stain-resistant polyester blend fabric, high-back contoured with foam padding and armrest with black molded polypropylene arms. There shall be co-polymer polypropylene shoe provided at the base to avoid scratches. Seat height: 450 mm; Width: 460 mm; Backrest height: 400–500 mm | 480.00 | Each |  | 2800.00 | 1344000.00 | 3000.00 | 1440000.00 | 1344000.00 | RBT Projects India Pvt. tLtd.
68.00 | TABLE :- Supplying & Placing executive table of size 1350mm X 600mm X 750mm The construction of the main table shall be free standing structure constructed with the help of minifix dowels and pins. The table top shall be made up of 25mm thick particle board with approved laminate and finish as per approved shade. The profile shall be in rectangle shape with edges shall be sealed with 2mm thick thin strip of impermeable PVC that is cut to fit the size of board panel and duly pasted The top shall be supported over particle board base gable end. The end wall of the table on the side shall be topped by gable end. It should be made up of 25mm thick particle board and profile shall be in linear shape and other edge with appropriate PVC edge banding. The table shall be clad with 18mm thick modesty panel which provide structural support for the table. It shall be 18mm thick particle board with appropriate PVC edge banding connected with both end. There shall be buffers provided at the base to avoid scratches on the floor. | 6.00 | Each |  | 14000.00 | 84000.00 | 10000.00 | 60000.00 | 60000.00 | SS Contractors
69.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable/wire incuding all accessories required for steel conduite Surface/ Recessed Steel conduit as required.
69.10 | 2 x 4 +1 x 4 (E) Sq. mm. | 1200.00 | Meter |  | 330.00 | 396000.00 | 400.00 | 480000.00 | 396000.00 | RBT Projects India Pvt. tLtd.
70.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable/wire incuding all accessories required for PVC conduite in surface/recessed medium class PVC conduit as required.
70.10 | 2 x 2.5 +1 x 2.5 (E) Sq. mm. | 2400.00 | Meter |  | 250.00 | 600000.00 | 250.00 | 600000.00 | 600000.00 | RBT Projects India Pvt. tLtd., SS Contractors
70.20 | 2 x 4 +1 x 4 (E) Sq. mm. | 2040.00 | Meter |  | 300.00 | 612000.00 | 250.00 | 510000.00 | 510000.00 | SS Contractors
70.30 | 2 x 6 +1 x 6 (E) Sq. mm. | 150.00 | Meter |  | 350.00 | 52500.00 | 250.00 | 37500.00 | 37500.00 | SS Contractors
71.00 | Group C Point Wiring for light point/ fan point/ exhaust point/ call bell point with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable/wire in surface / recessed PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 300.00 | Piont |  | 1150.00 | 345000.00 | 2000.00 | 600000.00 | 345000.00 | RBT Projects India Pvt. tLtd.
72.00 | Group C Loop Wiring for group controlled (looped) light point/ fan point/ exhaust point/ call bell point (without independent switch etc.) with 1.5 sqmm FRLS PVC Insulated copper conductor single core cable in surface / recessed PVC conduit and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required. | 120.00 | Piont |  | 780.00 | 93600.00 | 750.00 | 90000.00 | 90000.00 | SS Contractors
73.00 | Supply & laying of 4 C X 10 Sq mm, 1.1 KV grade, XLPE insulated, PVC sheathed, Aluminium conductor, armoured power cable. | 600.00 | Mtr. |  | 440.00 | 264000.00 | 300.00 | 180000.00 | 180000.00 | SS Contractors
74.00 | Design, Supply, Erection, Testing and Commissioning of a 5kWp Roof Top Solar PV Power Plant (Hybrid System) with Battery (Maintenance free Battery) Back of approx. 9.6kWhrs . | 6.00 | Set |  | 390000.00 | 2340000.00 | 400000.00 | 2400000.00 | 2340000.00 | RBT Projects India Pvt. tLtd.
75.00 | Supply, fixing, testing and commissioning of 8 Way (4+24), double door, horizontal type three pole and neutral, STEEL sheet, MCB distribution board, 240V on surface or recess, complete with tinned copper busbar, neutral bus bar, earth bus bar, Din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 6.00 | Each |  | 4500.00 | 27000.00 | 6000.00 | 36000.00 | 27000.00 | RBT Projects India Pvt. tLtd.
76.00 | Supply, fixing, testing and commissioning of 16 way , Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 6.00 | Each |  | 4000.00 | 24000.00 | 2800.00 | 16800.00 | 16800.00 | SS Contractors
77.00 | Earthing with G.I Earth pipe approx. 3/4.5 meter long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangements and watering pipe etc. with charcoal/coke and salt as required (Standard Earthing system and suitable connection to DBs complete in all respect) | 12.00 | Each |  | 2500.00 | 30000.00 | 7000.00 | 84000.00 | 30000.00 | RBT Projects India Pvt. tLtd.
78.00 | Supply, fixing, testing and commissioning of 25*5mm GI strip on surface or in recess for connections etc. as required. | 120.00 | Meter |  | 180.00 | 21600.00 | 200.00 | 24000.00 | 21600.00 | RBT Projects India Pvt. tLtd.
79.00 | Supplying and fixing of 32/40A, double pole (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 3000.00 | 18000.00 | 2000.00 | 12000.00 | 12000.00 | SS Contractors
80.00 | Supplying and fixing of 63A, four pole (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 4000.00 | 24000.00 | 2000.00 | 12000.00 | 12000.00 | SS Contractors
81.00 | Supplying and fixing of 6A to 32A, ratings, 240V, SPN, MCB "C" Curve, 10 kA breaking capecity | 240.00 | Each |  | 490.00 | 117600.00 | 400.00 | 96000.00 | 96000.00 | SS Contractors
82.00 | Supplying and fixing suitable size GI/ PVC box with modular plate and cover in front on surface or in recess, including providing and fixing set of Two Nos. 3 pin 6/10A modular socket outlet and Two Nos. 6/10A modular switch, connections etc. as required. | 530.00 | Each |  | 590.00 | 312700.00 | 500.00 | 265000.00 | 265000.00 | SS Contractors
83.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing set of 16/25A modular socket outlet and 16/25A modular DP MCB switch, connections etc. as required. | 74.00 | Each |  | 700.00 | 51800.00 | 500.00 | 37000.00 | 37000.00 | SS Contractors
84.00 | Supply, installation, testing and cmmissioning of 1200mm sweep size Ceiling fans, having BEE star rating-5, double ball bearing, along with socket/ modular type regulator/ dimmer, down rod of required length, Fan box for ceiling fan clamp and canopy. | 110.00 | Each |  | 2500.00 | 275000.00 | 2000.00 | 220000.00 | 220000.00 | SS Contractors
85.00 | Supply, fixing, testing and commissioning of approved make 250 mm Exhaust Fan with shutter and its all accessories suitable for operation on 230V single phase, 50 Hz, AC supply complete as required. | 25.00 | No. |  | 2100.00 | 52500.00 | 2000.00 | 50000.00 | 50000.00 | SS Contractors
86.00 | Supply, fixing, testing and commissioning of 10W wall/surface LED light fixture (Baten Light). | 34.00 | No. |  | 300.00 | 10200.00 | 200.00 | 6800.00 | 6800.00 | SS Contractors
87.00 | Supply, fixing, testing and commissioning of 20W wall/surface LED light fixture (Baten Light). | 52.00 | No. |  | 600.00 | 31200.00 | 300.00 | 15600.00 | 15600.00 | SS Contractors
88.00 | Supply, fixing, testing and commissioning of 36/40W 2x2LED recess mounted light fixture as per technical specification. | 124.00 | No. |  | 2500.00 | 310000.00 | 2000.00 | 248000.00 | 248000.00 | SS Contractors
89.00 | Supply, fixing, testing and commissioning of 35-55 W LED Street/Building light fixture with wall mounting metallic arm and all required accessaries. | 36.00 | No. |  | 2900.00 | 104400.00 | 2500.00 | 90000.00 | 90000.00 | SS Contractors
90.00 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | 120.00 | No. |  | 80.00 | 9600.00 | 100.00 | 12000.00 | 9600.00 | RBT Projects India Pvt. tLtd.
| Total in Figures |  |  |  |  | 41151410.00 |  | 42738290.00
Lowest Amount Quoted BY: RBT Projects India Pvt. tLtd.(41151410.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of library building in nearby villages under Corporate Social Responsibility CSR works. Tender ID: 2025_NPCIL_251396_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RBT Projects India Pvt. tLtd. (BID ID -920163) | 41151410.00 | L1
| 2 | SS Contractors (BID ID -920477) | 42738290.00 | L2