## BoQ1
Government eProcurement System Created By: Omkar Chaturvedi Created Date/Time: 15-Apr-2026 09:50 AM Tender Title: Supply ,Storage, handling, erection, installation of electrical system at OESC building at RR Site. Tender ID: 2025_NPCIL_258902_3
Tender Inviting Authority:
Name of Work: Supply Storage, handling erection, installation, commissioning and testing of electrical equipment like power & control cable trays & supports lighting system and at RR Site in OESC system..
Contract No: NPC/RRS/34/2025/CPT-A2902
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JAGGI ELECTRICALS (GSTN-NA) BID ID -966292
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply and installation of following pre-fabricated and galvanized cable tray supporting structure materials as per specification, tender drawing (RAPS-1TO8/ 01652/2053/GA) and reference drawings nos. KAPP-3&4/ 21490/ 2002, 2003 & 2004/DD.
1.01 | 22∅ (22 mm dia) FIRST ROD WITH M22x55 LONG THREADING ON ONE END & M 22 HEX NUT | 260.00 | Meter |  | 1729.00 | 449540.00 | 449540.00 | JAGGI ELECTRICALS
1.02 | ISA 65X65X6 | 81.00 | Meter |  | 999.00 | 80919.00 | 80919.00 | JAGGI ELECTRICALS
1.03 | 22∅ (22 mm dia) ROD | 13.00 | Meter |  | 2729.00 | 35477.00 | 35477.00 | JAGGI ELECTRICALS
1.04 | ISA 65X65X8 | 15.00 | Meter |  | 1129.00 | 16935.00 | 16935.00 | JAGGI ELECTRICALS
1.05 | ISMC 75 CHANNELS | 10.00 | Meter |  | 1129.00 | 11290.00 | 11290.00 | JAGGI ELECTRICALS
1.06 | COUPLERS (36 ODX6 THK.) | 250.00 | Nos. |  | 359.00 | 89750.00 | 89750.00 | JAGGI ELECTRICALS
1.07 | WELD ATTACHMENT (MADE OF 75x10 THK. PLATE,320 LONG) | 200.00 | Nos. |  | 549.00 | 109800.00 | 109800.00 | JAGGI ELECTRICALS
1.08 | SWIVEL WASHER SEAT (46∅x16 THK.) | 200.00 | Nos. |  | 99.00 | 19800.00 | 19800.00 | JAGGI ELECTRICALS
1.09 | SWIVEL WASHER (40∅x16 THK.) | 200.00 | Nos. |  | 39.00 | 7800.00 | 7800.00 | JAGGI ELECTRICALS
1.10 | ISO 1234, 3.5x32 SPILIT PIN | 200.00 | Nos. |  | 229.00 | 45800.00 | 45800.00 | JAGGI ELECTRICALS
1.11 | SHEAR BOLT M10X70 WITH HEX. HEAD & NUT & WASHER | 300.00 | Nos. |  | 19.00 | 5700.00 | 5700.00 | JAGGI ELECTRICALS
1.12 | ISO 1234, 3.5X20 SPLIT PIN | 300.00 | Nos. |  | 189.00 | 56700.00 | 56700.00 | JAGGI ELECTRICALS
1.13 | WASHER (48∅, IS 2016) | 250.00 | Nos. |  | 19.00 | 4750.00 | 4750.00 | JAGGI ELECTRICALS
1.14 | 3 mm thick L clamp with M8x30 mm long bolt, 2 plain washer, 1 spring washer and nut | 260.00 | Nos. |  | 89.00 | 23140.00 | 23140.00 | JAGGI ELECTRICALS
1.15 | 600mm long, 30 mm wide & 2.5 mm hot dip galvanized strip with two nos. of M8x30 mm long bolt, 4 plain washer, 2 spring washer and 2 nuts | 12.00 | Nos. |  | 349.00 | 4188.00 | 4188.00 | JAGGI ELECTRICALS
2.00 | Supply and installation of following sizes of 1100V rated, Cu conductor, XLPE insulated, FRLS PVC (ST2) inner and outer sheathed un-armoured power cables along with wooden cable drums
2.10 | 3Cx2.5 sq.mm | 300.00 | Meter |  | 329.00 | 98700.00 | 98700.00 | JAGGI ELECTRICALS
2.20 | 4Cx2.5 sq.mm | 150.00 | Meter |  | 389.00 | 58350.00 | 58350.00 | JAGGI ELECTRICALS
2.30 | 2Cx2.5 sq.mm | 150.00 | Meter |  | 199.00 | 29850.00 | 29850.00 | JAGGI ELECTRICALS
3.00 | Supply and installation of following medium duty GI pipes/ heavy duty ERW Rigid Conduits for routing cables from cable trays to Distribution Boards or to various field equipment or between equipment as directed by Engineer- in- charge.
3.10 | 100 mm Dia Pipe | 20.00 | Meter |  | 2299.00 | 45980.00 | 45980.00 | JAGGI ELECTRICALS
3.20 | 65 mm Dia Pipe | 35.00 | Meter |  | 1229.00 | 43015.00 | 43015.00 | JAGGI ELECTRICALS
3.30 | 40 mm Dia Pipe | 15.00 | Meter |  | 649.00 | 9735.00 | 9735.00 | JAGGI ELECTRICALS
3.40 | 25 mm Dia Conduit | 1000.00 | Meter |  | 259.00 | 259000.00 | 259000.00 | JAGGI ELECTRICALS
4.00 | Supply and Termination / connection of following types and sizes of 415V power cables at both ends along with cable glands, lugs, ferrules, clamps, hardware etc., and drilling of gland plates, crimping of lugs for termination of following cables (Source end & load end considered separately).
4.01 | Supply of 3.5Cx300, Al, Unarmoured | 4.00 | Nos. |  | 2229.00 | 8916.00 | 8916.00 | JAGGI ELECTRICALS
4.02 | Supply of 3.5Cx185, Al, Unarmoured | 2.00 | Nos. |  | 1699.00 | 3398.00 | 3398.00 | JAGGI ELECTRICALS
4.03 | Supply of 4Cx16, Cu, Unarmoured | 20.00 | Nos. |  | 429.00 | 8580.00 | 8580.00 | JAGGI ELECTRICALS
4.04 | Supply of 3Cx6, Cu, Unarmoured | 4.00 | Nos. |  | 399.00 | 1596.00 | 1596.00 | JAGGI ELECTRICALS
4.05 | Supply of 4Cx2.5, Cu, Unarmoured | 34.00 | Nos. |  | 299.00 | 10166.00 | 10166.00 | JAGGI ELECTRICALS
4.06 | Supply of 3Cx2.5, Cu, Unarmoured | 32.00 | Nos. |  | 279.00 | 8928.00 | 8928.00 | JAGGI ELECTRICALS
4.07 | Supply of 2Cx2.5, Cu, Unarmoured | 4.00 | Nos. |  | 259.00 | 1036.00 | 1036.00 | JAGGI ELECTRICALS
4.08 | Termination / connection of 3.5Cx300, Al, Unarmoured | 4.00 | Nos. |  | 1229.00 | 4916.00 | 4916.00 | JAGGI ELECTRICALS
4.09 | Termination / connection of 3.5Cx185, Al, Unarmoured | 2.00 | Nos. |  | 929.00 | 1858.00 | 1858.00 | JAGGI ELECTRICALS
4.10 | Termination / connection of 4Cx16, Cu, Unarmoured | 20.00 | Nos. |  | 299.00 | 5980.00 | 5980.00 | JAGGI ELECTRICALS
4.11 | Termination / connection of 3Cx6, Cu, Unarmoured | 4.00 | Nos. |  | 209.00 | 836.00 | 836.00 | JAGGI ELECTRICALS
4.12 | Termination / connection of 4Cx2.5, Cu, Unarmoured | 34.00 | Nos. |  | 199.00 | 6766.00 | 6766.00 | JAGGI ELECTRICALS
4.13 | Termination / connection of 3Cx2.5, Cu, Unarmoured | 32.00 | Nos. |  | 179.00 | 5728.00 | 5728.00 | JAGGI ELECTRICALS
4.14 | Termination / connection of 2Cx2.5, Cu, Unarmoured | 4.00 | Nos. |  | 159.00 | 636.00 | 636.00 | JAGGI ELECTRICALS
5.00 | Supply and termination of lugs for the following power cables (Suitable bi-metallic connector shall be provided for termination of Aluminium cable on copper bus bar) (Neutral core lug shall be of suitable size).
5.10 | Lugs for 3.5Cx300, Al, Unarmoured | 16.00 | Nos. |  | 1499.00 | 23984.00 | 23984.00 | JAGGI ELECTRICALS
5.20 | Lugs for 3.5Cx185, Al, Unarmoured | 8.00 | Nos. |  | 1029.00 | 8232.00 | 8232.00 | JAGGI ELECTRICALS
5.30 | Lugs for 4Cx16, Cu, Unarmoured | 80.00 | Nos. |  | 209.00 | 16720.00 | 16720.00 | JAGGI ELECTRICALS
5.40 | Lugs for 3Cx6, Cu, Unarmoured | 12.00 | Nos. |  | 119.00 | 1428.00 | 1428.00 | JAGGI ELECTRICALS
5.50 | Lugs for 4Cx2.5, Cu, Unarmoured | 136.00 | Nos. |  | 89.00 | 12104.00 | 12104.00 | JAGGI ELECTRICALS
5.60 | Lugs for 3Cx2.5, Cu, Unarmoured | 96.00 | Nos. |  | 59.00 | 5664.00 | 5664.00 | JAGGI ELECTRICALS
5.70 | Lugs for 2Cx2.5, Cu, Unarmoured | 8.00 | Nos. |  | 49.00 | 392.00 | 392.00 | JAGGI ELECTRICALS
6.00 | Supply and installation of mortar based fire stops and fire break for all floor & wall openings of cable trays and in the run of cable trays and for sealing of electrical conduits including supply of structural steel support material if required.
6.10 | Supply of 3 hr. rated fire stop for cable penetration in floor/walls + Fire stop for cable/wire conduits & pipe sleeves | 4.00 | SqM |  | 25999.00 | 103996.00 | 103996.00 | JAGGI ELECTRICALS
6.20 | Supply of 30 minute rated fire retardant compound (Fire break) over cable | 40.00 | SqM |  | 4499.00 | 179960.00 | 179960.00 | JAGGI ELECTRICALS
6.30 | Installation of 3 hr. rated fire stop for cable penetration in floor/walls + Fire stop for cable/wire conduits & pipe sleeves | 4.00 | SqM |  | 11999.00 | 47996.00 | 47996.00 | JAGGI ELECTRICALS
6.40 | Installation of 30 minute rated fire retardant compound (Fire break) over cable | 40.00 | SqM |  | 5999.00 | 239960.00 | 239960.00 | JAGGI ELECTRICALS
7.00 | Supply and Installation of following sizes of GI conduits including supply & installation of all accessories like bends, elbows, couplers, hospital saddles, spacers, GI Junction boxes, GI pull boxes, etc., and other accessories required to complete the job on wall/ column/ ceiling etc. as per specification and drawings. (The running length shall be measured along the center line including bends, fittings etc. along the run installed, but excluding the hidden length of conduits and lengths of pull boxes and junction boxes)
7.10 | Supply of 25 mm dia GI conduit | 10000.00 | Meter |  | 329.00 | 3290000.00 | 3290000.00 | JAGGI ELECTRICALS
7.20 | Installation of 25 mm dia GI conduit | 10000.00 | Meter |  | 259.00 | 2590000.00 | 2590000.00 | JAGGI ELECTRICALS
8.00 | Supply and Installation/ termination / connection of following sizes of wires as specified following sizes.
8.10 | Supply of 4 sq.mm. copper wire | 18000.00 | Meter |  | 69.00 | 1242000.00 | 1242000.00 | JAGGI ELECTRICALS
8.20 | Supply of 6 sq.mm. copper wire | 5000.00 | Meter |  | 99.00 | 495000.00 | 495000.00 | JAGGI ELECTRICALS
8.30 | Installation/ termination / connection of 4 sq.mm. copper wire | 18000.00 | Meter |  | 19.00 | 342000.00 | 342000.00 | JAGGI ELECTRICALS
8.40 | Installation/ termination / connection of 6 sq.mm. copper wire | 5000.00 | Meter |  | 29.00 | 145000.00 | 145000.00 | JAGGI ELECTRICALS
9.00 | Supply and installation of 10 SWG GI grounding wire.
9.10 | Supply of 10 SWG GI grounding wire as detailed in this specification | 10000.00 | Meter |  | 49.00 | 490000.00 | 490000.00 | JAGGI ELECTRICALS
9.20 | Installation/ termination/ connection of 10 SWG GI grounding wire including supply and installation of clamps, connection to earthing terminals, lighting fixtures, Junction boxes, pull boxes etc., as detailed in the specification and drawings. | 10000.00 | Meter |  | 29.00 | 290000.00 | 290000.00 | JAGGI ELECTRICALS
10.00 | Supply and Installation of additional items required for Lighting system including supply and installation of all hardware required for mounting and connection to lighting circuit.
10.10 | Supply of 5A, decorative type lighting control switch with MS painted box | 80.00 | Nos. |  | 1999.00 | 159920.00 | 159920.00 | JAGGI ELECTRICALS
10.20 | Supply of 10A, decorative type lighting control switch with MS painted box | 5.00 | Nos. |  | 3999.00 | 19995.00 | 19995.00 | JAGGI ELECTRICALS
10.30 | Installation of 5A, decorative type lighting control switch with MS painted box | 80.00 | Nos. |  | 229.00 | 18320.00 | 18320.00 | JAGGI ELECTRICALS
10.40 | Installation of 10A, decorative type lighting control switch with MS painted box | 5.00 | Nos. |  | 229.00 | 1145.00 | 1145.00 | JAGGI ELECTRICALS
11.00 | Supply and Installation & testing of following types of receptacles including supply and installation of anchor fasteners, mounting brackets, support structure, hardware etc. (wherever required) along with necessary welding, drilling, painting etc.
11.10 | Supply of 5/15A, 240V AC, 1-Ph, 3 pin, decorative receptacle with MCB having ELCB feature | 90.00 | Nos. |  | 10229.00 | 920610.00 | 920610.00 | JAGGI ELECTRICALS
11.20 | Supply of 30A, 240V AC, 1-Ph, 3 pin, Industrial receptacle with MCB having ELCB feature | 40.00 | Nos. |  | 10229.00 | 409160.00 | 409160.00 | JAGGI ELECTRICALS
11.30 | Supply of 16A, 415V AC, 3-Ph, 5 pin, Industrial receptacle with MCB having ELCB feature | 7.00 | Nos. |  | 10229.00 | 71603.00 | 71603.00 | JAGGI ELECTRICALS
11.40 | Supply of 63A, 415V AC, 3-Ph, 5 pin, Industrial receptacle with MCB having ELCB feature | 4.00 | Nos. |  | 12999.00 | 51996.00 | 51996.00 | JAGGI ELECTRICALS
11.50 | Installation of 5/15A, 240V AC, 1-Ph, 3 pin, decorative receptacle with MCB having ELCB feature | 90.00 | Nos. |  | 799.00 | 71910.00 | 71910.00 | JAGGI ELECTRICALS
11.60 | Installation of 30A, 240V AC, 1-Ph, 3 pin, Industrial receptacle with MCB having ELCB feature | 40.00 | Nos. |  | 799.00 | 31960.00 | 31960.00 | JAGGI ELECTRICALS
11.70 | Installation of 16A, 415V AC, 3-Ph, 5 pin, Industrial receptacle with MCB having ELCB feature | 7.00 | Nos. |  | 799.00 | 5593.00 | 5593.00 | JAGGI ELECTRICALS
11.80 | Installation of 63A, 415V AC, 3-Ph, 5 pin, Industrial receptacle with MCB having ELCB feature | 4.00 | Nos. |  | 999.00 | 3996.00 | 3996.00 | JAGGI ELECTRICALS
12.00 | Supply and Installation of following types of junction boxes/ pull boxes for Lighting & receptacle including supply and installation of anchor fasteners, mounting brackets, support structure, hardware etc. (wherever required) along with necessary welding, drilling, painting etc.
12.10 | Supply of JB for lighting and 1 phase receptacle | 1000.00 | Nos. |  | 1729.00 | 1729000.00 | 1729000.00 | JAGGI ELECTRICALS
12.20 | Supply of Pull boxes for lighting and 1 phase receptacle | 400.00 | Nos. |  | 1379.00 | 551600.00 | 551600.00 | JAGGI ELECTRICALS
12.30 | Installation of JB for lighting and 1 phase receptacle | 1000.00 | Nos. |  | 299.00 | 299000.00 | 299000.00 | JAGGI ELECTRICALS
12.40 | Installation of Pull boxes for lighting and 1 phase receptacle | 400.00 | Nos. |  | 299.00 | 119600.00 | 119600.00 | JAGGI ELECTRICALS
13.00 | Supply and Installation of GS earthing leads of following sizes for connecting equipment earthing terminal to nearest earthing pads including welding/ bolting of earthing flat to equipment earthing studs/ terminals, welding of earthing flat to earthing pad/ earth riser, applying cold galvanizing paint over welded surface, making chase in the floor, grouting the chased area of the floor, hardware, bi-metallic connector etc., as required shall be supplied and installed.
13.10 | Supply of 35x6 mm. GI flat | 65.00 | Meter |  | 249.00 | 16185.00 | 16185.00 | JAGGI ELECTRICALS
13.20 | Supply of 25x6 mm. GI flat | 200.00 | Meter |  | 179.00 | 35800.00 | 35800.00 | JAGGI ELECTRICALS
13.30 | Supply of 20x3 mm. GI flat | 125.00 | Meter |  | 99.00 | 12375.00 | 12375.00 | JAGGI ELECTRICALS
13.40 | Supply of Supply of 25 X 6 mm Galvanized steel earth continuity conductor to be run along cable pans/ trays | 160.00 | Meter |  | 179.00 | 28640.00 | 28640.00 | JAGGI ELECTRICALS
13.50 | Installation of 35x6 mm. GI flat | 65.00 | Meter |  | 209.00 | 13585.00 | 13585.00 | JAGGI ELECTRICALS
13.60 | Installation of 25x6 mm. GI flat | 200.00 | Meter |  | 199.00 | 39800.00 | 39800.00 | JAGGI ELECTRICALS
13.70 | Installation of 20x3 mm. GI flat | 125.00 | Meter |  | 159.00 | 19875.00 | 19875.00 | JAGGI ELECTRICALS
13.80 | Installation of Installation of 25 X 6 mm Galvanized steel earth continuity conductor to be run along cable pans/ trays including supply and installation all required hardware for fixing of this GI strip to cable pans/ trays | 160.00 | Meter |  | 199.00 | 31840.00 | 31840.00 | JAGGI ELECTRICALS
14.00 | Supply and installation of ADG room louvers and its associated bird mesh
14.10 | Supply of ADG room louvers and its associated bird mesh as per the details and size given in attached electrical equipment layout drawing (RAPS-1to8/01652/2054/GA). | 4.00 | Nos. |  | 119999.00 | 479996.00 | 479996.00 | JAGGI ELECTRICALS
14.20 | Installation of ADG room louvers and its associated bird mesh including supply and installation all required hardware, seismically qualified anchor fastener, welding, bolting, civil work modification, repairing of modified civil work, finishing touches on civil work etc. | 4.00 | Nos. |  | 24999.00 | 99996.00 | 99996.00 | JAGGI ELECTRICALS
15.00 | Supply and installation of coupler plates along with 6 nos. of bolts, standard washer and standard nut as per drawing KAIGA-5&6/53330/2101/DD | 260.00 | Nos. |  | 349.00 | 90740.00 | 90740.00 | JAGGI ELECTRICALS
16.00 | Supply and installation of 0.63A-1A, 3 Pole MPCB
16.10 | Supply of 0.63A-1A, 3 Pole MPCB | 5.00 | Nos. |  | 6999.00 | 34995.00 | 34995.00 | JAGGI ELECTRICALS
16.20 | Installation of 0.63A-1A, 3 pole MPCB on the wall near to each exhaust and propeller fans and connecting the same to exhaust/ propeller fan power supply cable along with supply and installation of all necessary mounting hardware | 5.00 | Nos. |  | 999.00 | 4995.00 | 4995.00 | JAGGI ELECTRICALS
17.00 | Supply and installation of 2 channel unidirectional/ 1 channel bi-directional dry contact closure fiber optic converters
17.10 | Supply of 2 channel unidirectional/ 1 channel bi-directional dry contact closure fiber optic converters (transmitter and receiver) for conversion of electromagnetic relay contact to optical signal for transmission through existing fiber optic cable along with necessary cabling/ power adapter for connection to nearest power supply source to feed auxiliary power supply to the converter | 2.00 | Nos. |  | 39999.00 | 79998.00 | 79998.00 | JAGGI ELECTRICALS
17.20 | Installation & mounting of 2 channel unidirectional/ 1 channel bi-directional dry contact closure fiber optic converters (transmitter and receiver) in existing SAPMS panel and connection of its power adapter/ auxiliary power wiring to nearest power source. Connection of the output and input terminals of these converters to control cable from electromagnetic relay contact and also to existing fiber optic cable spare core is included in installation scope. Supply and installation of all accessory required for complete connection, integration and successful transfer through existing fiber optic cable and reading of electromagnetic relay contact status at other end, along with configuration, setting of converter is included in this installation part. Testing and commission of the complete system after connection of site end cable to MCR WAN is also included in the scope of this installation. | 2.00 | Nos. |  | 3999.00 | 7998.00 | 7998.00 | JAGGI ELECTRICALS
18.00 | Supply and installation of 240V, Outdoor compound lighting photo-voltaic cell control panel
18.10 | Supply of 240V, Outdoor compound lighting photo-voltaic cell control panel as per specification and drawing. | 2.00 | Nos. |  | 44999.00 | 89998.00 | 89998.00 | JAGGI ELECTRICALS
18.20 | Installation of Outdoor compound lighting photo-voltaic cell control panel including supply and installation of seismically qualified anchor fasteners, mounting brackets, support structure, hardware etc. along with necessary welding, drilling, painting, bolting etc. | 2.00 | Nos. |  | 1229.00 | 2458.00 | 2458.00 | JAGGI ELECTRICALS
19.00 | Supply and installation of Outdoor compound lighting fixture (SL1 type)
19.10 | Supply of Outdoor compound lighting fixture (SL1 type) as per specification requirement. | 12.00 | Nos. |  | 8599.00 | 103188.00 | 103188.00 | JAGGI ELECTRICALS
19.20 | Installation of Outdoor compound lighting fixture (SL1 type) as per specification requirement. | 12.00 | Nos. |  | 1129.00 | 13548.00 | 13548.00 | JAGGI ELECTRICALS
20.00 | Supply and installation of Class-A Insulating Mat as per IS-15652 for complete front and back side of ADG set, PMCCs, ACDBs, UPS and Battery bank.
20.10 | Supply of Class-A Insulating Mat as per IS-15652 for complete front and back side of ADG set, PMCCs, ACDBs, UPS and Battery bank. One square meter shall consist of following item:- - Insulating compound Class-A (Base Coat): 1.6 Kg/SqMtr. - Insulating compound Top Coat: 0.5 Kg/SqMtr. - Floor Primer: 0.3 Kg/SqMtr. - Epoxy Diluent: 0.3 ltr/SqMtr. | 100.00 | SqM |  | 4999.00 | 499900.00 | 499900.00 | JAGGI ELECTRICALS
20.20 | Installation of Application of Dielectric insulating solvent free epoxy insulating compound (Class-A) as per IS 15652:2006 (>30KV BDV) for floor coating at 415 Volt switchgear panel. Insulating coating for complete front and back side of Electrical equipments/panels including application of primer coat, base coat, top coat etc. | 100.00 | SqM |  | 799.00 | 79900.00 | 79900.00 | JAGGI ELECTRICALS
21.00 | Installation of following cable tray supporting structure including site works such as cutting, drilling, threading, welding, fixing the hardware, touch up painting using zinc rich paint for welded surfaces etc., as per the specification, cable installation note, tender drawing (RAPS-1TO8/01652/2053/GA) and reference drawings nos. KAPP-3&4/ 21490/2002, 2003 & 2004/DD
21.10 | TYPE- CE, ceiling support for supporting one number of straight run of tray or elbow (1 TIER) of 150 mm width | 54.00 | Nos. |  | 2799.00 | 151146.00 | 151146.00 | JAGGI ELECTRICALS
21.20 | TYPE- CE, ceiling support for supporting one number of straight run of tray or elbow (1 TIER) of 300 mm width | 7.00 | Nos. |  | 3429.00 | 24003.00 | 24003.00 | JAGGI ELECTRICALS
21.30 | TYPE- CT, ceiling support for supporting one number of TEE accessory (1 TIER) of 150 mm width | 2.00 | Nos. |  | 4599.00 | 9198.00 | 9198.00 | JAGGI ELECTRICALS
21.40 | TYPE- CT, ceiling support for supporting one number of TEE accessory (1 TIER) of 300 mm width | 2.00 | Nos. |  | 5599.00 | 11198.00 | 11198.00 | JAGGI ELECTRICALS
21.50 | TYPE- D2, wall/column support for supporting one number of vertical straight run of tray (1 TIER) of 150 mm width | 18.00 | Nos. |  | 1799.00 | 32382.00 | 32382.00 | JAGGI ELECTRICALS
21.60 | TYPE- D2, wall/column support for supporting one number of vertical straight run of tray (1 TIER) of 300 mm width | 12.00 | Nos. |  | 2299.00 | 27588.00 | 27588.00 | JAGGI ELECTRICALS
21.70 | Common cable tray and ventilation duct support for supporting 1 Tier of straight tray or elbow of 150 mm width | 24.00 | Nos. |  | 3799.00 | 91176.00 | 91176.00 | JAGGI ELECTRICALS
22.00 | Installation of following medium duty GI pipes/ Conduits for routing cables (from cable trays to Distribution Boards or to various field equipment or between equipment as directed by Engineer- in- charge), including supply and installation of clamps/ fasteners/ supports, accessories like bends/ couplers along with cutting, threading etc.
22.10 | 100 mm Dia Pipe | 20.00 | Meter |  | 249.00 | 4980.00 | 4980.00 | JAGGI ELECTRICALS
22.20 | 65 mm Dia Pipe | 35.00 | Meter |  | 229.00 | 8015.00 | 8015.00 | JAGGI ELECTRICALS
22.30 | 40 mm Dia Pipe | 15.00 | Meter |  | 199.00 | 2985.00 | 2985.00 | JAGGI ELECTRICALS
22.40 | 25 mm Dia Conduit | 1000.00 | Meter |  | 189.00 | 189000.00 | 189000.00 | JAGGI ELECTRICALS
23.00 | Installation of following sizes and types of cable trays and accessories inside and on outer wall of OESC as detailed in drawings and specification including supply & installation of coupler plates, fixing hardware for coupler plates, L clamps, strip clamps, cable trays identification paint etc. (The rate quoted shall be based on per meter route length of cable trays considering installation of tray accessories. Length of cable tray installation shall be measured taking the lengths of cable trays and tray accessories along the center line).
23.10 | Ladder Type 150mm wide | 140.00 | Meter |  | 999.00 | 139860.00 | 139860.00 | JAGGI ELECTRICALS
23.20 | Ladder Type 300mm wide | 35.00 | Meter |  | 1299.00 | 45465.00 | 45465.00 | JAGGI ELECTRICALS
23.30 | Solid Covered Type 300mm wide | 20.00 | Meter |  | 1449.00 | 28980.00 | 28980.00 | JAGGI ELECTRICALS
23.40 | Covers for solid trays 300mm wide | 20.00 | Meter |  | 249.00 | 4980.00 | 4980.00 | JAGGI ELECTRICALS
24.00 | Laying and dressing of following types of power cables in cable trays & conduits/GI pipes in building, through hume pipes including supply & installation of cable binding wires, cable dressing wires, hardware for clamping/ fixing etc., as specified.
24.10 | 3.5Cx300, Al, Unarmoured – Laid in Cable Tray | 50.00 | Meter |  | 329.00 | 16450.00 | 16450.00 | JAGGI ELECTRICALS
24.20 | 3.5Cx185, Al, Unarmoured - Laid in Cable Tray | 80.00 | Meter |  | 249.00 | 19920.00 | 19920.00 | JAGGI ELECTRICALS
24.30 | 4Cx16, Cu, Unarmoured - Laid in Cable Tray | 500.00 | Meter |  | 99.00 | 49500.00 | 49500.00 | JAGGI ELECTRICALS
24.40 | 3Cx6, Cu, Unarmoured - Laid in Cable Tray | 125.00 | Meter |  | 49.00 | 6125.00 | 6125.00 | JAGGI ELECTRICALS
24.50 | 4Cx2.5, Cu, Unarmoured - Laid in Rigid Conduit/ Cable Tray | 640.00 | Meter |  | 49.00 | 31360.00 | 31360.00 | JAGGI ELECTRICALS
24.60 | 3Cx2.5, Cu, Unarmoured - Laid in Cable Tray/ Rigid Conduit | 430.00 | Meter |  | 49.00 | 21070.00 | 21070.00 | JAGGI ELECTRICALS
24.70 | 2Cx2.5, Cu, Unarmoured - Laid in Rigid Conduit/ Cable Tray | 230.00 | Meter |  | 49.00 | 11270.00 | 11270.00 | JAGGI ELECTRICALS
25.00 | Installation of following types of lighting fixtures including supply and installation of GI rigid & flexible conduits, suitable size of wires between nearest JBs and fixture terminals, mounting hardware, structural steel swan neck pipe, clamping/ fixing hardware etc. required for mounting the fittings, seismically qualified anchor fasteners, mounting brackets, support structure, plates, hardware etc. (as required) along with necessary welding, drilling, painting etc. Fixture mounting hardware, anchor fasteners and structural steel members shall be as per qualified fixture supports and the qualified fixture support details will be shared with successful Bidder.
25.10 | Surface mounting (Wall/ Column/ Floor slab soffit/ beam soffit) of Equivalent Type A LED fixture | 74.00 | Nos. |  | 2429.00 | 179746.00 | 179746.00 | JAGGI ELECTRICALS
25.20 | Surface mounting (Wall/ Column/ Floor slab soffit/ beam soffit) of Equivalent Type B LED fixture | 241.00 | Nos. |  | 2429.00 | 585389.00 | 585389.00 | JAGGI ELECTRICALS
25.30 | Surface mounting (Wall/ Column/ Floor slab soffit/ beam soffit) of Equivalent Type D LED fixture | 41.00 | Nos. |  | 2529.00 | 103689.00 | 103689.00 | JAGGI ELECTRICALS
25.40 | Type-VB mounting of Equivalent Type SL1 LED fixture | 12.00 | Nos. |  | 2529.00 | 30348.00 | 30348.00 | JAGGI ELECTRICALS
| Total in Figures |  |  |  |  | 19177036.00
Lowest Amount Quoted BY: JAGGI ELECTRICALS(19177036.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply ,Storage, handling, erection, installation of electrical system at OESC building at RR Site. Tender ID: 2025_NPCIL_258902_3
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAGGI ELECTRICALS (BID ID -966292) | 19177036.00 | L1