## BoQ1
Government eProcurement System Created By: Arun Kumar Tiwari Created Date/Time: 16-Feb-2026 12:06 PM Tender Title: Maintenance of Residential Township at NAPS, Narora. Tender ID: 2025_NPCIL_259078_1
Tender Inviting Authority: Chief Superintendent
Name of Work: Maintenance of Residential Township at NAPS, Narora.
Contract No: NAPS/CMM-WG/CVL/2025/CPPP/PT/1188
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KHAN CONTRACTOR (GSTN-NA) BID ID -961114 |  | Technical Construction Co. (GSTN-NA) BID ID -958976 |  | ROYAL ENGINEERING SERVICES (GSTN-NA) BID ID -959308
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART-I : Service
2.00 | Excavation of earth in all kinds of soil by Hydraulic excavator / manual means for trenches, footing, drains, steps etc. in soft soil up to a depth not exceeding 1.5 m, filling around foundation and in plinth with selected excavated soil in layers not exceeding 150 mm in thickness watering and consolidating etc. disposing surplus earth upto a lead of 10 Km all as per specification complete as per directions of Engineer-in-charge. | 980.00 | CuM | 1.25 | 126.00 | 123480.00 | 150.00 | 147000.00 | 125.00 | 122500.00 | 122500.00 | ROYAL ENGINEERING SERVICES
3.00 | Supplying and laying cement concrete 1:3:6 (1 Cement : 3 coarse sand: 6 graded stone aggregate) for using graded stone aggregate 20mm maximum size including, formwork, consolidation, finishing and curing as per specification and drawing. (Cement content. 220 Kg./ M3) | 229.00 | CuM | 0.00 | 5186.00 | 1187594.00 | 4150.00 | 950350.00 | 4400.00 | 1007600.00 | 950350.00 | Technical Construction Co.
4.00 | Supplying and laying bricks masonry using bricks having minimum compressive strength 70 Kg./sq.cm. and water absorption shall not exceed 20% by weight with cement mortar 1:6 (1 cement : 6 coarse sand) at all elevation including, simultaneous pointing below plinth level and racking out joints above ground level, curing, scafolding etc. complete | 365.00 | CuM | 100.00 | 5086.00 | 1856390.00 | 4400.00 | 1606000.00 | 4200.00 | 1533000.00 | 1533000.00 | ROYAL ENGINEERING SERVICES
5.00 | Laying of bricks masonry using old available brick with Cement mortar 1:6 (1 cement : 6 coarse sand) including removing, cleaning, stacking, simultaneous pointing, racking out of joints, curing etc. complete for at all levels as per specification including Scafolding complete. | 150.00 | CuM | 53.00 | 2186.00 | 327900.00 | 1750.00 | 262500.00 | 1700.00 | 255000.00 | 255000.00 | ROYAL ENGINEERING SERVICES
6.00 | Providing pointing on brick masonry wall with cement mortar 1:3 (1 cement : 3 coarse sand) including racking out joints, cleaning brick work, scaffolding and curing etc. complete as per direction of Engineer-in-charge. | 435.00 | SqM | 10.00 | 186.00 | 80910.00 | 45.00 | 19575.00 | 50.00 | 21750.00 | 19575.00 | Technical Construction Co.
7.00 | Providing 15 mm thick cement plaster with cement mortar 1:4 (1 cement : 4 coarse sand) on brick or concrete surface etc. including preparation of surface, hacking, removing of loose materials cleaning of joints, finishing, curing, scaffolding complete all as per direction of Engineer-in-charge. including disposal of rubbish upto a lead of 10 Km all as per specification.. | 5655.00 | SqM | 11.00 | 236.00 | 1334580.00 | 170.00 | 961350.00 | 170.00 | 961350.00 | 961350.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
8.00 | Providing and laying cement concrete 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate (Minimum Compressive Strength 150 Kg. / cm2 ) using graded stone aggregate 20mm maximum size for R.C.C., P.C.C., precast work as per site requirement including mixing with mechanical mixer, form-work, consolidation, finishing, and curing complete for all works (Cement content 320 Kg/Cum ) including repair works and as per specification and direction of Engineer-in-charge. | 652.00 | CuM | 11.00 | 5586.00 | 3642072.00 | 5000.00 | 3260000.00 | 5200.00 | 3390400.00 | 3260000.00 | Technical Construction Co.
9.00 | Providing and laying 1:1.5:3 (1 Cement : 1.5 Coarse sand : 3 graded stone aggregate) (Minimum Compressive Strength 200 Kg. / cm2 ) for boundary wall coping, footpaths ,R.C.C., P.C.C., precast work & others floors etc. as per site requirement using graded stone aggregate 20 mm maximum size and down graded including scaffolding, formwork, mixing by mechanical mixer, pouring, mechanical vibrating, consolidation, finishing, curing by hessian and making removable cement bunds where ever applicable etc. complete all as per specification and directed by EIC. (Using minimum Cement Content 350 Kg./M3). Note: Reinforcemnt will be paid in separate item. | 302.00 | CuM | 10.00 | 6086.00 | 1837972.00 | 6000.00 | 1812000.00 | 6000.00 | 1812000.00 | 1812000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
10.00 | Providing & placing in position Reinforcement bars (TMT) conforming to IS-1786, for reinforced cement concrete at all levels including supplying, cutting, bending, fixing, tying in position with 1.6 mm dia. soft drawn annealed binding wire with chair supports, spacer bars etc. complete including cost of transporting, decoiling, straightening and binding wire. | 31.00 | MT | 22.00 | 81786.00 | 2535366.00 | 70000.00 | 2170000.00 | 67000.00 | 2077000.00 | 2077000.00 | ROYAL ENGINEERING SERVICES
11.00 | Dismantling/breaking of existing concrete/RCC and brick work, cleaning of bricks, stacking serviceable material and disposal of rubbish by Tractor/buggi upto a lead of 10 Km as directed by Engineer-in-charge. | 920.00 | CuM | 0.00 | 1186.00 | 1091120.00 | 500.00 | 460000.00 | 600.00 | 552000.00 | 460000.00 | Technical Construction Co.
12.00 | Providing and laying cement concrete flooring 1:2:4 (1 Cement : 2 Coarse sand : 4 graded stone aggregate) (IPS) finished with a floating coat of neat cement, including cement slurry, 40 mm thick using graded stone aggregate up to 20 mm max size laid to level, slope, in alternate days finished smooth including providing and fixing 40 mm wide and 4 mm thick glass dividing strip, ramming curing etc. complete. | 1800.00 | SqM | 1.00 | 416.00 | 748800.00 | 350.00 | 630000.00 | 225.00 | 405000.00 | 405000.00 | ROYAL ENGINEERING SERVICES
13.00 | Providing and laying 40 mm thick marble chips flooring, rubbed and polished to granolithic finish, under layer 28 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) and top layer 12 mm thick with white, black, chocolate, grey yellow, green etc. marble chips of sizes from 7 mm to 10 mm nominal size, laid in cement marble powder mix 3:1 (3 cement : 1 marble powder) by weight in proportion of 2:3 (2 cement marble powder mix : 3 marble chips) by volume, including cement slurry etc. complete. | 400.00 | SqM | 1.25 | 586.00 | 234400.00 | 450.00 | 180000.00 | 500.00 | 200000.00 | 180000.00 | Technical Construction Co.
14.00 | Providing and laying 115mm thick soling with brick of uniform shape using bricks having minimum compressive strength 70 Kg./sq.cm2 including leveling, compaction and dressing the surface by cutting, transporting and filling the earth, complete to the required level and shape laying bricks with joints staggered and filling with earth and disposal of surplus earth upto a lead of 2Km all as per specification. | 1450.00 | SqM | 0.00 | 416.00 | 603200.00 | 330.00 | 478500.00 | 300.00 | 435000.00 | 435000.00 | ROYAL ENGINEERING SERVICES
15.00 | Supply and fixing of Stainless Steel wire mesh mosquito proof jali 12 mesh per inch, having wire of approx. minimum 0.28mm dia as per requirement at site etc. complete on door/window shutters including, removing of old net fixed to MS/Wooden Door/Window shutters with supply and replacing of wooden/steel beading, screws etc. complete all as per direction of Engineer-in-charge. | 3500.00 | SqM | 100.00 | 386.00 | 1351000.00 | 340.00 | 1190000.00 | 400.00 | 1400000.00 | 1190000.00 | Technical Construction Co.
16.00 | Supplying and fixing of window glass panes of make Saint gobain or Modi guard, 4mm thick with wooden/M.S beading including removal of broken fittings, if needed for window shutters all sizes and at all height complete all as per direction of Engineer-in-charge. | 1250.00 | SqM | 53.00 | 616.00 | 770000.00 | 680.00 | 850000.00 | 650.00 | 812500.00 | 770000.00 | KHAN CONTRACTOR
17.00 | Supplying and Fixing 5mm thick frosted glass of make Saint gobain or Modi guard in window after removing the damaged glass pieces, beading including removal of broken fittings, if needed for window shutters all sizes and at all height complete all as per direction of Engineer-in-charge. | 75.00 | SqM | 10.00 | 686.00 | 51450.00 | 775.00 | 58125.00 | 700.00 | 52500.00 | 51450.00 | KHAN CONTRACTOR
18.00 | Providing and laying Vitrified tiles (Double charge) of minimum size 600X600mm (thickness not less than 8 mm) of make H&R JOHNSON or KAJARIA or NITCO or Orient Bell, conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Note- In order to maintain the slope of the flooring of the room, the extra mortar at the high and of the rooms will have to be provided by the Contractor at his own cost. No extra paymet will be made for the extra thickness of mortar provided by the contractor to maintain the minimum slope of the granite flooring. | 906.00 | SqM | 11.00 | 1136.00 | 1029216.00 | 950.00 | 860700.00 | 1000.00 | 906000.00 | 860700.00 | Technical Construction Co.
19.00 | Providing and fixing Ist quality ceramic glazed wall / floor tiles make conforming to IS: 15622 (thickness not less than 8 mm), of make H&R JOHNSON or KAJARIA or NITCO or Orient Bell, in all colours, shades as approved by Engineer-in- Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. Note- In order to maintain the slope of the flooring of the room, the extra mortar at the high and of the rooms will have to be provided by the contractor at his own cost. No extra paymet will be made for the extra thickness of mortar provided by the contractor to maintain the minimum slope of the granite flooring. | 2411.00 | SqM | 11.00 | 836.00 | 2015596.00 | 700.00 | 1687700.00 | 800.00 | 1928800.00 | 1687700.00 | Technical Construction Co.
20.00 | Providing and fixing premium quality mat finished Anti skid ceramic floor tiles of required size (thickness not less than 8 mm) of H&R JOHNSON or KAJARIA or NITCO or Orient Bell make, in all colours, shades as approved by Engineer-in- Charge, in bathroom, skirting, risers of steps, flooring, outdoor, indoor etc. over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. Note- In order to maintain the slope of the flooring of the room, the extra mortar at the high and of the rooms will have to be provided by the contractor at his own cost. No extra paymet will be made for the extra thickness of mortar provided by the contractor to maintain the minimum slope of the granite flooring. | 600.00 | SqM | 10.00 | 1036.00 | 621600.00 | 750.00 | 450000.00 | 950.00 | 570000.00 | 450000.00 | Technical Construction Co.
21.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete with minimum 15 mm thick stone slab over 12 mm (average) thick base of cement mortar 1:3 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Note- In order to maintain the slope of the flooring of the room, the extra mortar at the high and of the rooms will have to be provided by the contractor at his own cost. No extra paymet will be made for the extra thickness of mortar provided by the contractor to maintain the minimum slope of the granite flooring. | 90.00 | SqM | 22.00 | 3786.00 | 340740.00 | 1800.00 | 162000.00 | 2750.00 | 247500.00 | 162000.00 | Technical Construction Co.
22.00 | Providing and laying 18 mm thick Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand). Note- In order to maintain the slope of the flooring of the room, the extra mortar at the high and of the rooms will have to be provided by the contractor at his own cost. No extra paymet will be made for the extra thickness of mortar provided by the contractor to maintain the minimum slope of the granite flooring. | 425.00 | SqM | 0.00 | 1086.00 | 461550.00 | 1000.00 | 425000.00 | 900.00 | 382500.00 | 382500.00 | ROYAL ENGINEERING SERVICES
23.00 | Supplying & Laying 80mm thick (± 3mm) factory made cement concrete colored interlocking paver block of M – 40 grade confirming to IS – 15658 (minimum compressive strength 400 Kg/Sq.m. & water absorbtion should not be more than 6% by mass) having smooth finish and of approved size and design/shape laid in required colour and pattern over 50mm thick compacted bed of Ganga Sand / Natural Sand / Other approved sand and filling the joints with same etc. all complete as per the direction of Engineer-In-Charge. | 500.00 | SqM | 1.00 | 886.00 | 443000.00 | 700.00 | 350000.00 | 750.00 | 375000.00 | 350000.00 | Technical Construction Co.
24.00 | Supply, fabrication and erection of Commercial grade structural steel used for general fabrication work including 'handling, Marking, cutting, grinding, fit-up, welding, and thereafter applying one coat of Red Oxide primer (Berger/Asian/ Nerolac) & two coats of S.E. paint (Berger/ Asian/Nerolac) on structural steels, fencing, ornamental grills, & Ladders etc. at various location. All consumables like Welding Electrodes, gas, grinding wheels and other consumables including T&P is in the scope of contractor. | 2000.00 | Kg | 1.25 | 96.00 | 192000.00 | 80.00 | 160000.00 | 75.00 | 150000.00 | 150000.00 | ROYAL ENGINEERING SERVICES
25.00 | Supplying and fixing 0.45mm (Approx.) Galvalume profile Sheet of M/S TATA, M/S Jindal, M/S Bhushan make, fixing over roofing including Sheet for drain, G.I.'J' or'U' bolts & nuts 8mm diameter with bitumen & G.I. washers to be fixing over existing purlins etc. including fixing of wind ties and colour. Note: No Overlapping will be paid. | 100.00 | SqM | 0.00 | 586.00 | 58600.00 | 700.00 | 70000.00 | 480.00 | 48000.00 | 48000.00 | ROYAL ENGINEERING SERVICES
26.00 | Providing & laying integral cement based waterproofing treatment including preparation of surface as required for treatment of roofs including dismantling of existing waterproofing (Brickbat tiles with mud phaska etc.) upto slab level of balconies, terraces, chajjas etc. consisting of the following: -(1) Applying & grouting a slurry coat of neat cement using 2.75 kg/SqM of cement admixed with approved water proofing compound over RCC slab including cleaning the surface before treatment. (2) Laying brick bats/Broken bricks 25mm to 115 mm size with cement mortar 1:5 (1 cement: 5 coarse sand) admixed with approved water proofing compound over 20 mm thick layer of cement mortar 1:5 (1 cement: 5 coarse sand) admixed with approved water proofing compound to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (3) After two days of proper curing, applying a second coat of cement slurry 2.75 kg/sqm of cement admixed with water proofing compound (4) Finishing the surface with 20mm thick joint less cement mortar of mix 1:4 admixed with approved water proofing compound and finally finishing the surface with trowel and neat cement slurry and making false marking of size 300X300 mm square 3 mm deep.(5) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test of all the above operations to be done in presence of Engineer-In-Charge. (6) With average thickness of 120 mm and minimum thickness at khurra as 65 mm. 7)Dismantling of existing waterproofing including removal of mud phaska, brick tiles, mortar, concrete, pointing etc. upto roof slabe level at terrace and disposal of above upto lead of 10 km will lie under the scope of the Contractor and no extra payment will be made separately. | 4000.00 | SqM | 100.00 | 1036.00 | 4144000.00 | 590.00 | 2360000.00 | 675.00 | 2700000.00 | 2360000.00 | Technical Construction Co.
27.00 | Providing and laying Heavy duty APP membrane of modified polymer of Pidilite / Texsa / S.T.P make reinforced with polyster mat in minimum 3mm thickness conforming to specification (without any mineral finish) including preparation of surface as required for treatment of roofs, over coat of bitumen primer with minimum coverage of 0.40 litre/SqM of make Berger, Asian, Nerolac, jointing the strips and bottom by torch welding, minimum overlapping joints at side and ends of strips shall be 100 mm and 75 mm respectively, rolling, finish with super silver shield of make STP limited / Makphalt for roofs and parapet including testing of the treatment as per specification for water tightness as per instruction of Engineer, overlapping will not be paid seperately, including repairing of expansion joint with polysulphide as per requirement. Note- 1) If leakage is observed from the APP membrane portion, contractor will have to remove and relay the APP membrane at his own cost. 2) Minor surface repair at roof and making of fillet of size 75mm x 75mm at junction of roof and parapet wall with CC 1:2:4 will lie under the scope of Contractor and no extra payment will be made separately. 3) Plastering of the terrace for maintaining uniform slope and level before laying of primer, payment will be made in relevant item. | 12700.00 | SqM | 53.00 | 406.00 | 5156200.00 | 390.00 | 4953000.00 | 425.00 | 5397500.00 | 4953000.00 | Technical Construction Co.
28.00 | Attending various maintenance jobs related to maintenance supervisor, Office-cum-site supervisor, Carpentry, Masonry, Plumbing Painting including letter writing , by providing skilled manpower such as Carpenter, Mason, Plumber and Painter etc. including provididng all necessary tools and tackles and tool Bags for proper completion of jobs at various location as decided by the Engineer-in-Charge. As per relevant clauses of technical specifications. NOTE: (1) Please read clause no. 10.1 of Technical specification for minimum supply of manpower. | 7684.00 | Mandays | 10.00 | 1236.00 | 9497424.00 | 780.00 | 5993520.00 | 890.00 | 6838760.00 | 5993520.00 | Technical Construction Co.
29.00 | Attending various maintenance jobs related to Carpentary, Masonry, Plumbing and other miscellaneous job etc. by providing semi-skilled manpower such as Carpenter, Mason, Plumber, Painter and supervisor etc. including providing all necessary tools and tackles and tool Bags for proper completion of jobs at various location as decided by the Engineer-in-Charge. As per relevant clauses of technical specifications. NOTE: (1) Please read clause no. 10.2 of Technical specification for minimum supply of manpower. | 4000.00 | Mandays | 11.00 | 1046.00 | 4184000.00 | 700.00 | 2800000.00 | 720.00 | 2880000.00 | 2800000.00 | Technical Construction Co.
30.00 | Assistance in attending complaints of various trades as mentioned in item 25 & 26 above and other works as directed by Engineer. As per relevant clauses of technical specifications. NOTE: (1) Please read clause no. 10.3 of Technical specification for minimum supply of manpower. | 10084.00 | Mandays | 11.00 | 936.00 | 9438624.00 | 575.00 | 5798300.00 | 625.00 | 6302500.00 | 5798300.00 | Technical Construction Co.
31.00 | Providing services of skilled data entry operator for office work including operating computer systems, preparing data entry sheets, maintaining records, generating reports, scaning, printing and performing other miscellaneous work all as per direction of EIC. | 621.00 | Mandays | 10.00 | 1236.00 | 767556.00 | 1100.00 | 683100.00 | 970.00 | 602370.00 | 602370.00 | ROYAL ENGINEERING SERVICES
32.00 | Hiring of Hydra Crane (at least 30 ft. boom) (including driver, diesel and all T& P) for safely felling / displacement / removal of cut main trunk / branches of trees of any girth, shielding from overhead lines and cables , garages, residential quarters etc. using jacking arrangement as required, assisting the whole operation, safe transportation of cut branches to store / upto 10 km. lead etc. all as per site conditions and as per direction of Engineer-In-Charge. | 100.00 | Hours | 22.00 | 1086.00 | 108600.00 | 1000.00 | 100000.00 | 800.00 | 80000.00 | 80000.00 | ROYAL ENGINEERING SERVICES
33.00 | Supply, laying & compacting the earth, brought from outer side (i.e. not from the excavated site it self) for filling side of road etc., the layers not exceeding 150mm in thickness watering, compaction by ramming, compactor, roller etc. as required and consolidation etc. disposing surplus earth as per directed by Engineer-In-Charge. | 50.00 | CuM | 0.00 | 186.00 | 9300.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 5000.00 | ROYAL ENGINEERING SERVICES
34.00 | Cleaning and removal of spider webs, cobwebs, and dust from ceilings (plain or inclined), walls, beams, trusses, columns, windows, doors, chajja, fans, electrical fittings, and other surfaces at all heights using suitable tools such as long-handle brushes, brooms, dry/wet cloth, and vacuum cleaner, including providing and fixing necessary scaffolding, ladders, or working platforms wherever required, and safe disposal of removed material to location within 10 km lead, with monthly operation as directed by the Engineer-in-Charge. The work shall be carried out carefully without causing damage to existing finishes, fittings, or structures, and shall include all labour, materials, tools, plants, scaffolding, and safety arrangements complete as per direction of the Engineer-in-Charge. Note: 1) Clearance from safety department is to be obtained before execution of the work. 2) Use of PPE, height pass, etc. is to be ensured. | 45000.00 | SqM | 1.00 | 6.00 | 270000.00 | 0.50 | 22500.00 | 5.00 | 225000.00 | 22500.00 | Technical Construction Co.
35.00 | PART-II : Supply Items
36.00 | Stainless steel Towel rail 600mm long. (Min weight 500gm ±50gm) | 50.00 | Each | 1.25 | 286.00 | 14300.00 | 245.00 | 12250.00 | 250.00 | 12500.00 | 12250.00 | Technical Construction Co.
37.00 | CP drawer knob 50mm (Minimum 15 Gm Weight) | 100.00 | Each | 0.00 | 16.00 | 1600.00 | 15.00 | 1500.00 | 15.00 | 1500.00 | 1500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
38.00 | Hydraulic door closer conforming to Designation No.3 universal type of IS 3564 make Godrej/Everite. | 25.00 | Each | 100.00 | 786.00 | 19650.00 | 1700.00 | 42500.00 | 1200.00 | 30000.00 | 19650.00 | KHAN CONTRACTOR
39.00 | MS door handle 100mm long of Pressed oval type with stove enamelled black finish conforming to IS 208 | 2500.00 | Each | 53.00 | 16.00 | 40000.00 | 15.00 | 37500.00 | 10.00 | 25000.00 | 25000.00 | ROYAL ENGINEERING SERVICES
40.00 | M.S. butt hinges 125mm long ISI mark weight 180 gram each ±5 gram. | 250.00 | Each | 10.00 | 36.00 | 9000.00 | 35.00 | 8750.00 | 30.00 | 7500.00 | 7500.00 | ROYAL ENGINEERING SERVICES
41.00 | M.S. butt hinges 100mm long ISI mark weight 120 gram each ±5 gram. | 1738.00 | Each | 11.00 | 26.00 | 45188.00 | 25.00 | 43450.00 | 20.00 | 34760.00 | 34760.00 | ROYAL ENGINEERING SERVICES
42.00 | M.S. butt hinges 75mm long ISI mark weight 60 gram each ±5gram. | 500.00 | Each | 11.00 | 16.00 | 8000.00 | 20.00 | 10000.00 | 20.00 | 10000.00 | 8000.00 | KHAN CONTRACTOR
43.00 | M.S. hasp & staple (Chhapka Kunda) safety type 150mm±2 mm long | 50.00 | Each | 10.00 | 36.00 | 1800.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 1250.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
44.00 | Stainless Steel hanging type door stopper with Twin rubber & stopper heavy duty 75mm long.Min weight 110gm ± 10 gm | 1000.00 | Each | 22.00 | 56.00 | 56000.00 | 80.00 | 80000.00 | 70.00 | 70000.00 | 56000.00 | KHAN CONTRACTOR
45.00 | Oxidised mild steel single acting spring hinges 150 mm long. | 100.00 | Each | 0.00 | 136.00 | 13600.00 | 190.00 | 19000.00 | 150.00 | 15000.00 | 13600.00 | KHAN CONTRACTOR
46.00 | Oxidised mild steel single acting spring hinges 100 mmlong. | 542.00 | Each | 1.25 | 96.00 | 52032.00 | 95.00 | 51490.00 | 85.00 | 46070.00 | 46070.00 | ROYAL ENGINEERING SERVICES
47.00 | Chrome Finish M.S. Tower bolt 8 mm dia rod 100mm long weight 75 gm minimum. | 1000.00 | Each | 0.00 | 16.00 | 16000.00 | 22.00 | 22000.00 | 23.00 | 23000.00 | 16000.00 | KHAN CONTRACTOR
48.00 | Chrome Finish M.S. Tower bolt 8 mm dia rod 150mm long weight 135 gm. | 500.00 | Each | 100.00 | 26.00 | 13000.00 | 35.00 | 17500.00 | 30.00 | 15000.00 | 13000.00 | KHAN CONTRACTOR
49.00 | Chrome Finish M.S. Tower bolt 8 mm dia rod 250mm long weight 155 gm. | 20.00 | Each | 53.00 | 46.00 | 920.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 920.00 | KHAN CONTRACTOR
50.00 | M.S. Door safety chain (heavy duty chain with lock button) weight 55 gm. | 10.00 | Each | 10.00 | 26.00 | 260.00 | 65.00 | 650.00 | 40.00 | 400.00 | 260.00 | KHAN CONTRACTOR
51.00 | M.S. pelmet hanger flat minimum size (15 x 120) mm (patti). | 200.00 | Each | 11.00 | 6.00 | 1200.00 | 8.00 | 1600.00 | 7.00 | 1400.00 | 1200.00 | KHAN CONTRACTOR
52.00 | SS Screw 35 mm x 8 mm (Each packet contain 100 Nos.) confirm to IS 6760 | 200.00 | Each | 11.00 | 46.00 | 9200.00 | 190.00 | 38000.00 | 50.00 | 10000.00 | 9200.00 | KHAN CONTRACTOR
53.00 | SS Screw 30 mm x 7 mm (Each packet contain 100 Nos.) confirm to IS 6760 | 150.00 | Each | 10.00 | 46.00 | 6900.00 | 190.00 | 28500.00 | 50.00 | 7500.00 | 6900.00 | KHAN CONTRACTOR
54.00 | SS Screw 20 mm x 5 mm (Each packet contain 100 Nos.) confirm to IS 6760 | 200.00 | Each | 22.00 | 26.00 | 5200.00 | 110.00 | 22000.00 | 30.00 | 6000.00 | 5200.00 | KHAN CONTRACTOR
55.00 | Chrome finish MS brackets for Curtain rod with 20mm dia threaded sockets. | 200.00 | Pair | 0.00 | 26.00 | 5200.00 | 55.00 | 11000.00 | 30.00 | 6000.00 | 5200.00 | KHAN CONTRACTOR
56.00 | Aluminium heavy duty curtain pipe 19 mm dia min 1.57mm thick wall. | 100.00 | RM | 1.00 | 56.00 | 5600.00 | 180.00 | 18000.00 | 80.00 | 8000.00 | 5600.00 | KHAN CONTRACTOR
57.00 | Stainless Steel 304 grade curtain rod 20 mm dia and 1.2 mm thickness. | 100.00 | RM | 1.25 | 126.00 | 12600.00 | 240.00 | 24000.00 | 100.00 | 10000.00 | 10000.00 | ROYAL ENGINEERING SERVICES
58.00 | Stainless Steel cloth hanger with 5 hooks fixer with flat 325mm long. | 50.00 | Each | 0.00 | 86.00 | 4300.00 | 80.00 | 4000.00 | 65.00 | 3250.00 | 3250.00 | ROYAL ENGINEERING SERVICES
59.00 | Godrej night latch 7 levers for inside / outside opening doors with 3 keys. | 120.00 | Each | 100.00 | 1186.00 | 142320.00 | 1450.00 | 174000.00 | 1200.00 | 144000.00 | 142320.00 | KHAN CONTRACTOR
60.00 | Brass Mortice latch and lock 100X65 mm with 6 lever and pair of brass lever handle body in golden colour | 20.00 | Each | 53.00 | 886.00 | 17720.00 | 1600.00 | 32000.00 | 800.00 | 16000.00 | 16000.00 | ROYAL ENGINEERING SERVICES
61.00 | Door viewer 35mm to 50mm long. | 25.00 | Each | 10.00 | 35.96 | 899.00 | 90.00 | 2250.00 | 35.00 | 875.00 | 875.00 | ROYAL ENGINEERING SERVICES
62.00 | PTMT Symet Shelf for washbasin of Prayag / Polytuf make. | 150.00 | Each | 11.00 | 226.00 | 33900.00 | 290.00 | 43500.00 | 240.00 | 36000.00 | 33900.00 | KHAN CONTRACTOR
63.00 | Mirror 5mm thick size 450mm x 300mm having 4 holes at corner of Modigard/ Sant Gobain/ Atul make | 50.00 | Each | 11.00 | 286.00 | 14300.00 | 290.00 | 14500.00 | 360.00 | 18000.00 | 14300.00 | KHAN CONTRACTOR
64.00 | Mirror beveled edge 5mm thick size 600 x 450mm having 4 holes at corner of Modi Gard/ Atul/ Sant Gobain make. | 100.00 | Each | 10.00 | 486.00 | 48600.00 | 400.00 | 40000.00 | 550.00 | 55000.00 | 40000.00 | Technical Construction Co.
65.00 | Double action hydraulically operated floor spring medium size (11.5" x 6.75" x 2.5") ISI Mark . | 5.00 | Each | 22.00 | 786.00 | 3930.00 | 1850.00 | 9250.00 | 1450.00 | 7250.00 | 3930.00 | KHAN CONTRACTOR
66.00 | Commercial plywood 4mm thick size: 2440 x 1220mm of M/S Century or Duro make conform to IS:303 of BWP Grade | 30.00 | Each | 0.00 | 1186.00 | 35580.00 | 1000.00 | 30000.00 | 1200.00 | 36000.00 | 30000.00 | Technical Construction Co.
67.00 | Commercial plywood 6mm thick size: 2440 x 1220mm of M/S Century or Duro make conform to IS:303 of BWP Grade | 40.00 | Each | 1.00 | 1586.00 | 63440.00 | 1250.00 | 50000.00 | 1400.00 | 56000.00 | 50000.00 | Technical Construction Co.
68.00 | Commercial plywood 12mm thick size: 2440 x 1220mm of M/S Century or Duro make conform to IS:303 of BWP Grade | 100.00 | Each | 1.25 | 2186.00 | 218600.00 | 1800.00 | 180000.00 | 2100.00 | 210000.00 | 180000.00 | Technical Construction Co.
69.00 | Commercial blockboard 19mm thick size: 2440 x 1220mm of M/S Century or Duro make conform to IS:1659 of BWP Grade | 100.00 | Each | 0.00 | 3486.00 | 348600.00 | 2500.00 | 250000.00 | 3000.00 | 300000.00 | 250000.00 | Technical Construction Co.
70.00 | Flush door shutters 35 mm thick of M/S Century / DURO make conform to IS:1659 of BWP Grade | 200.00 | SqM | 100.00 | 1986.00 | 397200.00 | 1800.00 | 360000.00 | 1800.00 | 360000.00 | 360000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
71.00 | 32mm thick seasoned Sheeshum wood panel door shutter with 18mm thick Sheeshum wood planks with lock rail 150 mm, top and side style 100mm width, bottom 150mm complete as per existing pattern. | 290.00 | SqM | 53.00 | 3186.00 | 923940.00 | 3700.00 | 1073000.00 | 3700.00 | 1073000.00 | 923940.00 | KHAN CONTRACTOR
72.00 | Seasoned Sheeshum wood window shutter frame of 62mm X 32mm section smooth finishing & making 10mm X 10mm groove for glass fixing with beading. | 150.00 | SqM | 10.00 | 1886.00 | 282900.00 | 1850.00 | 277500.00 | 1950.00 | 292500.00 | 277500.00 | Technical Construction Co.
73.00 | 32mm thick seasoned Sheeshum wooden jali shutter of bottom rail 150 mm and other 100 mm, existing pattern using Stainless Steel wire 0.46 mm dia and having approximately 14 mesh in one linear inch. | 617.00 | SqM | 11.00 | 2286.00 | 1410462.00 | 2700.00 | 1665900.00 | 2400.00 | 1480800.00 | 1410462.00 | KHAN CONTRACTOR
74.00 | Fevicol SH synthetic resin adhesive in 1 kg pack. | 25.00 | Each | 11.00 | 286.00 | 7150.00 | 400.00 | 10000.00 | 285.00 | 7125.00 | 7125.00 | ROYAL ENGINEERING SERVICES
75.00 | Fevicol SR 998 1 litre pack. | 5.00 | Each | 10.00 | 386.00 | 1930.00 | 450.00 | 2250.00 | 410.00 | 2050.00 | 1930.00 | KHAN CONTRACTOR
76.00 | Fevicol Probond 1 kg pack. | 50.00 | Each | 22.00 | 386.00 | 19300.00 | 400.00 | 20000.00 | 400.00 | 20000.00 | 19300.00 | KHAN CONTRACTOR
77.00 | Fevicol Heatx 1 liter pack | 10.00 | Each | 0.00 | 586.00 | 5860.00 | 450.00 | 4500.00 | 450.00 | 4500.00 | 4500.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
78.00 | Season sheeshum wood | 2.50 | CuM | 1.00 | 66786.00 | 166965.00 | 110000.00 | 275000.00 | 70000.00 | 175000.00 | 166965.00 | KHAN CONTRACTOR
79.00 | Factory made Solid WPC (Wood Polymer Composite) door chowkhat of section 100 mm X 65 mm, single rebate frame made of termite-proof and water proof WPC material with smooth finish with minimum density of 750kg/cum of make Alstone, Ecoste, Century. Material TC is to submitted. | 250.00 | RM | 1.25 | 386.00 | 96500.00 | 700.00 | 175000.00 | 650.00 | 162500.00 | 96500.00 | KHAN CONTRACTOR
80.00 | Factory made Solid WPC (Wood Polymer Composite) door chowkat of section 125 mm X 65 mm, double rebate, frame made of termite-proof and water proof WPC material with smooth finish with minimum density of 750 kg/cum of make Alstone, Ecoste, Century WPC. Material TC is to submitted. | 250.00 | RM | 0.00 | 436.00 | 109000.00 | 850.00 | 212500.00 | 750.00 | 187500.00 | 109000.00 | KHAN CONTRACTOR
81.00 | Factory made Solid WPC (Wood Polymer Composite) door chowkat of section 70 mm X 45 mm, single rebate, frame made of termite-proof and water proof WPC material with smooth finish with minimum density of 750 kg/cum of make Alstone, Ecoste, Century WPC. Material TC is to submitted. | 250.00 | RM | 100.00 | 286.00 | 71500.00 | 600.00 | 150000.00 | 400.00 | 100000.00 | 71500.00 | KHAN CONTRACTOR
82.00 | Factory made 35 mm thick WPC flush door shutter, made of solid wood polymer composite board of make Alstone, Ecoste, Century of minimun density 650 kg/m3, waterproof, termite-proof, with smooth factory finish and machine trimmed edges of make Alstone, Ecoste, Century WPC. TC of material is to submitted. Sample will be approved by EIC for style and rails before fixing at site. | 100.00 | SqM | 53.00 | 2186.00 | 218600.00 | 4200.00 | 420000.00 | 3000.00 | 300000.00 | 218600.00 | KHAN CONTRACTOR
83.00 | Stainless steel anchor Fastners Brick M-10 X 100 mm | 100.00 | Each | 10.00 | 56.00 | 5600.00 | 65.00 | 6500.00 | 78.00 | 7800.00 | 5600.00 | KHAN CONTRACTOR
84.00 | Helicol Spring Hinges | 50.00 | Each | 11.00 | 66.00 | 3300.00 | 150.00 | 7500.00 | 85.00 | 4250.00 | 3300.00 | KHAN CONTRACTOR
85.00 | Chrome Finish MS Aldrop set -300mm long with nut bolt weight 750 gm ± 20 gm . | 20.00 | Each | 11.00 | 116.00 | 2320.00 | 110.00 | 2200.00 | 110.00 | 2200.00 | 2200.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
86.00 | CP Brass grating 125mm dia having 6mm hole weight 60 gm ± 5 gm. | 400.00 | Each | 10.00 | 36.00 | 14400.00 | 35.00 | 14000.00 | 42.00 | 16800.00 | 14000.00 | Technical Construction Co.
87.00 | CP Brass DOME grating 125mm dia and 25mm dia waste hole weight 60 gm ± 5 gm. | 200.00 | Each | 22.00 | 36.00 | 7200.00 | 35.00 | 7000.00 | 44.00 | 8800.00 | 7000.00 | Technical Construction Co.
88.00 | C.P. Brass Bib taps 15mm n.b Weight 400 gm ± 20 gm make K K GOLD/K K / SHREE/ SUPERTECH. | 1500.00 | Each | 0.00 | 386.00 | 579000.00 | 450.00 | 675000.00 | 425.00 | 637500.00 | 579000.00 | KHAN CONTRACTOR
89.00 | C.P. Brass Stop cock 15mm n.b Weight 400 gm ± 20 gm make K K GOLD / K K / SHREE / SUPERTECH. | 50.00 | Each | 1.00 | 386.00 | 19300.00 | 450.00 | 22500.00 | 425.00 | 21250.00 | 19300.00 | KHAN CONTRACTOR
90.00 | CP Brass long body bib tap 15mm n.b Weight 400 gm ± 20 gm make K K GOLD / K K / SHREE / SUPERTECH. | 50.00 | Each | 1.25 | 386.00 | 19300.00 | 450.00 | 22500.00 | 531.00 | 26550.00 | 19300.00 | KHAN CONTRACTOR
91.00 | C.P. Brass Pillar cock 15mm n.b Weight 580 gm ± 20 gm make SEECO/SHREE/KK GOLD/KK/SUPERTECH. | 200.00 | Each | 0.00 | 586.00 | 117200.00 | 650.00 | 130000.00 | 1000.00 | 200000.00 | 117200.00 | KHAN CONTRACTOR
92.00 | C.P. Brass Push Cock 15mm n.b weight 250 gm ± 20 gm make K K GOLD / K K / SHREE / SUPERTECH. | 25.00 | Each | 100.00 | 226.00 | 5650.00 | 350.00 | 8750.00 | 350.00 | 8750.00 | 5650.00 | KHAN CONTRACTOR
93.00 | Angle Cock size 15mm of K K GOLD / K K / SHREE / SUPERTECH make. | 100.00 | Each | 53.00 | 356.00 | 35600.00 | 400.00 | 40000.00 | 350.00 | 35000.00 | 35000.00 | ROYAL ENGINEERING SERVICES
94.00 | C.P. Angle valve Make Seeco | 50.00 | Each | 10.00 | 436.00 | 21800.00 | 750.00 | 37500.00 | 650.00 | 32500.00 | 21800.00 | KHAN CONTRACTOR
95.00 | C.P. Three way swan cock | 10.00 | Each | 11.00 | 1386.00 | 13860.00 | 1700.00 | 17000.00 | 1900.00 | 19000.00 | 13860.00 | KHAN CONTRACTOR
96.00 | C.P. Brass Round overhead swerving shower rose 100 mm dia heavy duty size 15mm | 300.00 | Each | 11.00 | 256.00 | 76800.00 | 265.00 | 79500.00 | 240.00 | 72000.00 | 72000.00 | ROYAL ENGINEERING SERVICES
97.00 | C.P. brass waste Coupling 32mm dia , 75mm long for Wash Basin Weight 125 Gram ± 10 Gram. | 300.00 | Each | 10.00 | 116.00 | 34800.00 | 120.00 | 36000.00 | 70.00 | 21000.00 | 21000.00 | ROYAL ENGINEERING SERVICES
98.00 | C.P. brass waste Coupling 32mm dia , 75mm long for Sink Weight 125 Gram ± 10 Gram. | 200.00 | Each | 22.00 | 116.00 | 23200.00 | 120.00 | 24000.00 | 80.00 | 16000.00 | 16000.00 | ROYAL ENGINEERING SERVICES
99.00 | C.P. Waste Coupling 32mm dia for wash basin make Jaquar (Cat. No.: ALD-705) /Hindware (Cat. No.: F850002). | 5.00 | Each | 0.00 | 486.00 | 2430.00 | 600.00 | 3000.00 | 450.00 | 2250.00 | 2250.00 | ROYAL ENGINEERING SERVICES
100.00 | C.P. Waste Coupling 40mm dia for wash basin. | 10.00 | Each | 1.00 | 136.00 | 1360.00 | 175.00 | 1750.00 | 150.00 | 1500.00 | 1360.00 | KHAN CONTRACTOR
101.00 | C.P Wall Mixer of Jaquar (Product Code: CON-CHR-219KN) or Hindware (Cat. No.: F740019) make. | 40.00 | Each | 1.25 | 3186.00 | 127440.00 | 4400.00 | 176000.00 | 3500.00 | 140000.00 | 127440.00 | KHAN CONTRACTOR
102.00 | C.P Central Hole Wash Basin Mixer of Jaquar(Product Code: CON-CHR-167KNB) or Hindware (Cat. No.: F330014CP) make. | 20.00 | Each | 0.00 | 3186.00 | 63720.00 | 4400.00 | 88000.00 | 3500.00 | 70000.00 | 63720.00 | KHAN CONTRACTOR
103.00 | SS Hand shower 15 mm dia with 1.5 mtr. flexible pipe for WC (Min. weight 250gm) | 50.00 | Each | 100.00 | 216.00 | 10800.00 | 450.00 | 22500.00 | 250.00 | 12500.00 | 10800.00 | KHAN CONTRACTOR
104.00 | C.P. Brass Extension Nipple 15mmX50mm size | 50.00 | Each | 53.00 | 36.00 | 1800.00 | 29.00 | 1450.00 | 40.00 | 2000.00 | 1450.00 | Technical Construction Co.
105.00 | C.P R-Extension Nipple 3/4" X 1/2". | 50.00 | Each | 10.00 | 86.00 | 4300.00 | 110.00 | 5500.00 | 250.00 | 12500.00 | 4300.00 | KHAN CONTRACTOR
106.00 | C.P. Telephonic Bathroom wall Mixer of Jaquar (Cat. No. QQT - 7217). | 6.00 | Each | 11.00 | 4786.00 | 28716.00 | 7200.00 | 43200.00 | 5500.00 | 33000.00 | 28716.00 | KHAN CONTRACTOR
107.00 | C.P.Bottel trap Make Hindware (Cat. No.: F850015) / Jaguar (Cat. No. ALD-CHR-769L / ALD-769L) | 5.00 | Each | 11.00 | 686.00 | 3430.00 | 1700.00 | 8500.00 | 1400.00 | 7000.00 | 3430.00 | KHAN CONTRACTOR
108.00 | C.P. Flush Valve Make Cera (Cat. No. F8010301) / Jaguar (Cat. No. FLV-CHR-1015NEL / FLV-1015NEL) | 10.00 | Each | 10.00 | 5186.00 | 51860.00 | 5500.00 | 55000.00 | 4000.00 | 40000.00 | 40000.00 | ROYAL ENGINEERING SERVICES
109.00 | C.P. Z Type Extention Nipple / leg 15mmx20mm (Full Size) | 50.00 | Each | 22.00 | 86.00 | 4300.00 | 110.00 | 5500.00 | 280.00 | 14000.00 | 4300.00 | KHAN CONTRACTOR
110.00 | C.P. Z Type Extention Nippel / leg 20mmx25mm (Full Size) | 20.00 | Each | 0.00 | 126.00 | 2520.00 | 130.00 | 2600.00 | 280.00 | 5600.00 | 2520.00 | KHAN CONTRACTOR
111.00 | C.P. Brass bib cock jumper valve washer (Each packet contain 100 nos.) | 100.00 | Pkt | 1.00 | 136.00 | 13600.00 | 1150.00 | 115000.00 | 400.00 | 40000.00 | 13600.00 | KHAN CONTRACTOR
112.00 | C.P. Soap Dish make jaguar (Cat. No. CAN-1131N or Parryware (Cat. No. T6503A1) | 15.00 | Each | 1.00 | 286.00 | 4290.00 | 700.00 | 10500.00 | 700.00 | 10500.00 | 4290.00 | KHAN CONTRACTOR
113.00 | C.P. Toilet paper holder make jaguar (Cat. No. ACN-CHR-1151N or Hindware(Cat. No.: F450027) | 10.00 | Each | 1.25 | 326.00 | 3260.00 | 1350.00 | 13500.00 | 700.00 | 7000.00 | 3260.00 | KHAN CONTRACTOR
114.00 | Gun Metal non-return valve - vertical (screwed end) size 15 mm Leader or Sant make screwed female ends with ISI mark . | 5.00 | Each | 0.00 | 586.00 | 2930.00 | 600.00 | 3000.00 | 625.00 | 3125.00 | 2930.00 | KHAN CONTRACTOR
115.00 | Gun Metal non-return valve - horizontal (screwed end) size 15 mm Leader or Sant make screwed female ends with ISI mark . | 2.00 | Each | 100.00 | 686.00 | 1372.00 | 650.00 | 1300.00 | 650.00 | 1300.00 | 1300.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
116.00 | Gun Metal non-return valve - vertical (screwed end) size 20 mm Leader or Sant make screwed female ends with ISI mark . | 2.00 | Each | 53.00 | 586.00 | 1172.00 | 750.00 | 1500.00 | 700.00 | 1400.00 | 1172.00 | KHAN CONTRACTOR
117.00 | Gun Metal non-return valve - horizontal (screwed end) size 20 mm Leader or Sant make screwed female ends with ISI mark . | 2.00 | Each | 10.00 | 686.00 | 1372.00 | 900.00 | 1800.00 | 850.00 | 1700.00 | 1372.00 | KHAN CONTRACTOR
118.00 | Gun Metal non-return valve - vertical (screwed end) size 25 mm Leader or Sant make screwed female ends with ISI mark . | 2.00 | Each | 11.00 | 786.00 | 1572.00 | 1000.00 | 2000.00 | 1100.00 | 2200.00 | 1572.00 | KHAN CONTRACTOR
119.00 | Gun Metal non-return valve - horrizontal (screwed end) size 25 mm Leader or Sant make screwed female ends with ISI mark . | 2.00 | Each | 11.00 | 886.00 | 1772.00 | 1250.00 | 2500.00 | 1400.00 | 2800.00 | 1772.00 | KHAN CONTRACTOR
120.00 | Gun Metal Gate Valve size 15 mm Leader or Sant make screwed female ends with ISI mark inside thread 6 Kg/CMSQ. | 20.00 | Each | 10.00 | 686.00 | 13720.00 | 850.00 | 17000.00 | 750.00 | 15000.00 | 13720.00 | KHAN CONTRACTOR
121.00 | Gun Metal Gate Valve size 20 mm Leader or Sant make screwed female ends with ISI mark inside thread 6 Kg/CMSQ. | 150.00 | Each | 22.00 | 986.00 | 147900.00 | 1100.00 | 165000.00 | 1000.00 | 150000.00 | 147900.00 | KHAN CONTRACTOR
122.00 | Gun Metal Gate Valve size 25 mm Leader or Sant make screwed female ends with ISI mark inside thread 6 Kg/CMSQ. | 150.00 | Each | 0.00 | 1386.00 | 207900.00 | 1450.00 | 217500.00 | 1450.00 | 217500.00 | 207900.00 | KHAN CONTRACTOR
123.00 | Gun Metal Gate Valve size 40 mm Leader or Sant make screwed female ends with ISI mark inside thread 6 Kg/CMSQ. | 5.00 | Each | 1.25 | 2786.00 | 13930.00 | 2700.00 | 13500.00 | 2500.00 | 12500.00 | 12500.00 | ROYAL ENGINEERING SERVICES
124.00 | GI pipe class 'B' confirming to IS-1239 with one end socket and other protect with PVC cap of make TATA / JINDAL/ SWASTIK of dia 15 mm | 1000.00 | Each | 0.00 | 106.00 | 106000.00 | 150.00 | 150000.00 | 700.00 | 700000.00 | 106000.00 | KHAN CONTRACTOR
125.00 | GI pipe class 'B' confirming to IS-1239 with one end socket and other protect with PVC cap of make TATA / JINDAL/ SWASTIK of dia 20mm. | 600.00 | Each | 100.00 | 136.00 | 81600.00 | 210.00 | 126000.00 | 950.00 | 570000.00 | 81600.00 | KHAN CONTRACTOR
126.00 | GI pipe class 'B' confirming to IS-1239 with one end socket and other protect with PVC cap of make TATA / JINDAL/ SWASTIK of dia 25mm. | 800.00 | Each | 53.00 | 216.00 | 172800.00 | 300.00 | 240000.00 | 1275.00 | 1020000.00 | 172800.00 | KHAN CONTRACTOR
127.00 | G.I. Socket 15mm dia of make UNIK/SARIN/DRP/YASH. | 1200.00 | Each | 10.00 | 16.00 | 19200.00 | 19.00 | 22800.00 | 20.00 | 24000.00 | 19200.00 | KHAN CONTRACTOR
128.00 | G.I. Socket 20mm dia of make UNIK/SARIN/DRP/YASH. | 200.00 | Each | 11.00 | 26.00 | 5200.00 | 27.00 | 5400.00 | 25.00 | 5000.00 | 5000.00 | ROYAL ENGINEERING SERVICES
129.00 | G.I. Socket 25mm dia of make UNIK/SARIN/DRP/YASH. | 150.00 | Each | 11.00 | 36.00 | 5400.00 | 35.00 | 5250.00 | 32.00 | 4800.00 | 4800.00 | ROYAL ENGINEERING SERVICES
130.00 | G.I. Socket 32mm dia of make UNIK/SARIN/DRP/YASH. | 500.00 | Each | 10.00 | 56.00 | 28000.00 | 50.00 | 25000.00 | 70.00 | 35000.00 | 25000.00 | Technical Construction Co.
131.00 | G.I. Reducer Socket 20 X 15mm of make UNIK/SARIN/DRP/YASH. | 100.00 | Each | 22.00 | 26.00 | 2600.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 2600.00 | KHAN CONTRACTOR
132.00 | G.I. Reducing Socket 25 mm x 15 mm of make UNIK/SARIN/DRP/YASH | 150.00 | Each | 0.00 | 36.00 | 5400.00 | 38.00 | 5700.00 | 40.00 | 6000.00 | 5400.00 | KHAN CONTRACTOR
133.00 | G.I. Reducer Socket 25 mm x 20 mm of make UNIK/SARIN/DRP/YASH | 200.00 | Each | 1.00 | 36.00 | 7200.00 | 38.00 | 7600.00 | 40.00 | 8000.00 | 7200.00 | KHAN CONTRACTOR
134.00 | G.I. Reducer Socket 32 mm x 25 mm of make UNIK/SARIN/DRP/YASH | 200.00 | Each | 1.25 | 56.00 | 11200.00 | 59.00 | 11800.00 | 60.00 | 12000.00 | 11200.00 | KHAN CONTRACTOR
135.00 | G..I Reducer Socket 40 X 32mm of make UNIK/SARIN/DRP/YASH. | 150.00 | Each | 0.00 | 66.00 | 9900.00 | 70.00 | 10500.00 | 75.00 | 11250.00 | 9900.00 | KHAN CONTRACTOR
136.00 | G.I. Reducer Socket 50 mm x 20 mm of make UNIK/SARIN/DRP/YASH | 10.00 | Each | 100.00 | 86.00 | 860.00 | 120.00 | 1200.00 | 120.00 | 1200.00 | 860.00 | KHAN CONTRACTOR
137.00 | G.I. Reducer Socket 50 mm x 25 mm of make UNIK/SARIN/DRP/YASH | 10.00 | Each | 53.00 | 86.00 | 860.00 | 120.00 | 1200.00 | 120.00 | 1200.00 | 860.00 | KHAN CONTRACTOR
138.00 | G.I. Reducer Socket 50 mm x 32 mm of make UNIK/SARIN/DRP/YASH | 10.00 | Each | 10.00 | 86.00 | 860.00 | 120.00 | 1200.00 | 120.00 | 1200.00 | 860.00 | KHAN CONTRACTOR
139.00 | G.I. Elbow 15mm dia of make UNIK/SARIN/DRP/YASH. | 2000.00 | Each | 11.00 | 26.00 | 52000.00 | 23.00 | 46000.00 | 23.00 | 46000.00 | 46000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
140.00 | G.I. Elbow 20mm dia of make UNIK/SARIN/DRP/YASH. | 500.00 | Each | 11.00 | 36.00 | 18000.00 | 33.00 | 16500.00 | 35.00 | 17500.00 | 16500.00 | Technical Construction Co.
141.00 | G.I. Elbow 25mm dia of make UNIK/SARIN/DRP/YASH. | 200.00 | Each | 10.00 | 56.00 | 11200.00 | 50.00 | 10000.00 | 50.00 | 10000.00 | 10000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
142.00 | G.I. Elbow 32mm dia of make UNIK/SARIN/DRP/YASH. | 50.00 | Each | 22.00 | 66.00 | 3300.00 | 70.00 | 3500.00 | 75.00 | 3750.00 | 3300.00 | KHAN CONTRACTOR
143.00 | G.I. Reducing Elbow 20mm X 15mm of make UNIK/SARIN/DRP/YASH. | 50.00 | Each | 0.00 | 36.00 | 1800.00 | 35.00 | 1750.00 | 38.00 | 1900.00 | 1750.00 | Technical Construction Co.
144.00 | G.I. Reducing Elbow 25mm X 15mm of make UNIK/SARIN/DRP/YASH. | 100.00 | Each | 1.00 | 36.00 | 3600.00 | 55.00 | 5500.00 | 52.00 | 5200.00 | 3600.00 | KHAN CONTRACTOR
145.00 | G.I. Reducing Elbow 25mm X 20mm of make UNIK/SARIN/DRP/YASH. | 100.00 | Each | 1.25 | 36.00 | 3600.00 | 55.00 | 5500.00 | 55.00 | 5500.00 | 3600.00 | KHAN CONTRACTOR
146.00 | G.I. Reducing Elbow 32 mm x 25 mm of make UNIK/SARIN/DRP/YASH | 50.00 | Each | 0.00 | 56.00 | 2800.00 | 85.00 | 4250.00 | 80.00 | 4000.00 | 2800.00 | KHAN CONTRACTOR
147.00 | G.I. Tee 15mm dia of make UNIK/SARIN/DRP/YASH | 600.00 | Each | 100.00 | 36.00 | 21600.00 | 30.00 | 18000.00 | 33.00 | 19800.00 | 18000.00 | Technical Construction Co.
148.00 | G.I. Tee 20mm dia of make UNIK/SARIN/DRP/YASH | 25.00 | Each | 53.00 | 46.00 | 1150.00 | 50.00 | 1250.00 | 50.00 | 1250.00 | 1150.00 | KHAN CONTRACTOR
149.00 | G.I. Tee 25mm dia of make UNIK/SARIN/DRP/YASH. | 50.00 | Each | 10.00 | 56.00 | 2800.00 | 65.00 | 3250.00 | 66.00 | 3300.00 | 2800.00 | KHAN CONTRACTOR
150.00 | G.I. Reducing Tee 20 mm x 15 mm dia of make UNIK/SARIN/DRP/YASH. | 100.00 | Each | 11.00 | 46.00 | 4600.00 | 55.00 | 5500.00 | 55.00 | 5500.00 | 4600.00 | KHAN CONTRACTOR
151.00 | G.I. Reducing Tee 32 mm x 20 mm dia of make UNIK/SARIN/DRP/YASH. | 50.00 | Each | 11.00 | 86.00 | 4300.00 | 100.00 | 5000.00 | 135.00 | 6750.00 | 4300.00 | KHAN CONTRACTOR
152.00 | G.I. Union 15mm dia of make UNIK/SARIN/DRP/YASH. | 300.00 | Each | 10.00 | 66.00 | 19800.00 | 55.00 | 16500.00 | 58.00 | 17400.00 | 16500.00 | Technical Construction Co.
153.00 | G.I. Union 20mm dia of make UNIK/SARIN/DRP/YASH. | 150.00 | Each | 22.00 | 66.00 | 9900.00 | 75.00 | 11250.00 | 75.00 | 11250.00 | 9900.00 | KHAN CONTRACTOR
154.00 | G.I. Union 25mm dia of make UNIK/SARIN/DRP/YASH. | 200.00 | Each | 0.00 | 76.00 | 15200.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 15200.00 | KHAN CONTRACTOR
155.00 | GI Union 32 mm of make UNIK/SARIN/DRP/YASH | 150.00 | Each | 1.00 | 86.00 | 12900.00 | 145.00 | 21750.00 | 150.00 | 22500.00 | 12900.00 | KHAN CONTRACTOR
156.00 | G.I. Nipple15mm dia 50mm long. | 250.00 | Each | 1.25 | 7.86 | 1965.00 | 10.00 | 2500.00 | 11.00 | 2750.00 | 1965.00 | KHAN CONTRACTOR
157.00 | G.I. Nipple15mm dia 100mm long. | 1500.00 | Each | 0.00 | 11.86 | 17790.00 | 14.00 | 21000.00 | 20.00 | 30000.00 | 17790.00 | KHAN CONTRACTOR
158.00 | G.I. Nipple20mm dia 100mm long. | 400.00 | Each | 100.00 | 16.00 | 6400.00 | 20.00 | 8000.00 | 22.00 | 8800.00 | 6400.00 | KHAN CONTRACTOR
159.00 | G.I. Nipple25mm dia 100mm long. | 300.00 | Each | 53.00 | 26.00 | 7800.00 | 29.00 | 8700.00 | 25.00 | 7500.00 | 7500.00 | ROYAL ENGINEERING SERVICES
160.00 | G.I. Nipple32mm dia 100mm long. | 300.00 | Each | 10.00 | 36.00 | 10800.00 | 40.00 | 12000.00 | 32.00 | 9600.00 | 9600.00 | ROYAL ENGINEERING SERVICES
161.00 | G.I. Cross 15mm dia of make UNIK/SARIN/DRP/YASH | 5.00 | Each | 11.00 | 56.00 | 280.00 | 45.00 | 225.00 | 47.00 | 235.00 | 225.00 | Technical Construction Co.
162.00 | G.I. Cross 20mm dia of make UNIK/SARIN/DRP/YASH | 5.00 | Each | 11.00 | 76.00 | 380.00 | 65.00 | 325.00 | 65.00 | 325.00 | 325.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
163.00 | G.I. Cross 25mm dia of make UNIK/SARIN/DRP/YASH | 5.00 | Each | 10.00 | 86.00 | 430.00 | 100.00 | 500.00 | 100.00 | 500.00 | 430.00 | KHAN CONTRACTOR
164.00 | G.I. Bend pipe 32mm dia | 500.00 | Each | 22.00 | 46.00 | 23000.00 | 70.00 | 35000.00 | 85.00 | 42500.00 | 23000.00 | KHAN CONTRACTOR
165.00 | G.I. Flush Pipe 32mm dia. | 150.00 | Each | 0.00 | 86.00 | 12900.00 | 400.00 | 60000.00 | 100.00 | 15000.00 | 12900.00 | KHAN CONTRACTOR
166.00 | M.S. Hex Nipple 15MM DIA. | 500.00 | Each | 1.00 | 16.00 | 8000.00 | 10.00 | 5000.00 | 16.00 | 8000.00 | 5000.00 | Technical Construction Co.
167.00 | M.S. Hex Nipple 20MM DIA. | 300.00 | Each | 1.25 | 16.00 | 4800.00 | 18.00 | 5400.00 | 20.00 | 6000.00 | 4800.00 | KHAN CONTRACTOR
168.00 | M.S. Hex Nipple 25MM DIA. | 150.00 | Each | 0.00 | 16.00 | 2400.00 | 30.00 | 4500.00 | 25.00 | 3750.00 | 2400.00 | KHAN CONTRACTOR
169.00 | M.S. Hex Nipple 32MM DIA. | 200.00 | Each | 100.00 | 16.00 | 3200.00 | 45.00 | 9000.00 | 36.00 | 7200.00 | 3200.00 | KHAN CONTRACTOR
170.00 | M.S. Plug 15mm dia. | 200.00 | Each | 53.00 | 6.00 | 1200.00 | 11.00 | 2200.00 | 6.00 | 1200.00 | 1200.00 | ROYAL ENGINEERING SERVICES, KHAN CONTRACTOR
171.00 | M.S. Plug 20mm dia. | 100.00 | Each | 10.00 | 6.00 | 600.00 | 17.00 | 1700.00 | 12.00 | 1200.00 | 600.00 | KHAN CONTRACTOR
172.00 | M.S. Plug 25mm dia. | 100.00 | Each | 11.00 | 6.00 | 600.00 | 20.00 | 2000.00 | 25.00 | 2500.00 | 600.00 | KHAN CONTRACTOR
173.00 | MS hook for GI Pipe. | 25.00 | Kg | 11.00 | 86.00 | 2150.00 | 100.00 | 2500.00 | 80.00 | 2000.00 | 2000.00 | ROYAL ENGINEERING SERVICES
174.00 | GI Saddle clamp for GI Pipe of all size | 100.00 | Kg | 10.00 | 86.00 | 8600.00 | 120.00 | 12000.00 | 80.00 | 8000.00 | 8000.00 | ROYAL ENGINEERING SERVICES
175.00 | PVC Saddle clip clamp for UPVC Pipe for 110mm pipe | 20.00 | Kg | 22.00 | 386.00 | 7720.00 | 200.00 | 4000.00 | 325.00 | 6500.00 | 4000.00 | Technical Construction Co.
176.00 | M.S. Flush Chain | 5.00 | Kg | 0.00 | 86.00 | 430.00 | 120.00 | 600.00 | 100.00 | 500.00 | 430.00 | KHAN CONTRACTOR
177.00 | M.S. nails all types | 300.00 | Kg | 1.00 | 86.00 | 25800.00 | 110.00 | 33000.00 | 85.00 | 25500.00 | 25500.00 | ROYAL ENGINEERING SERVICES
178.00 | PTMT Symet Bib Tab 15mm size of Prayag / Supreme make. | 250.00 | Each | 1.25 | 106.00 | 26500.00 | 150.00 | 37500.00 | 120.00 | 30000.00 | 26500.00 | KHAN CONTRACTOR
179.00 | PTMT Symet Float Valve with Ball 15mm size complete set of Prayag / Supreme make | 500.00 | Each | 0.00 | 286.00 | 143000.00 | 250.00 | 125000.00 | 180.00 | 90000.00 | 90000.00 | ROYAL ENGINEERING SERVICES
180.00 | PTMT Symet Float Valve with Ball 20mm size complete set of Prayag / Supreme make | 150.00 | Each | 100.00 | 356.00 | 53400.00 | 350.00 | 52500.00 | 270.00 | 40500.00 | 40500.00 | ROYAL ENGINEERING SERVICES
181.00 | PTMT Symet Float Valve with Ball 25mm size complete set of Prayag/Supreme make | 50.00 | Each | 53.00 | 426.00 | 21300.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 20000.00 | ROYAL ENGINEERING SERVICES
182.00 | PTMT Symet Float Valve with Ball 32mm size complete set of Prayag/Supreme make | 50.00 | Each | 10.00 | 486.00 | 24300.00 | 750.00 | 37500.00 | 600.00 | 30000.00 | 24300.00 | KHAN CONTRACTOR
183.00 | 15mm epoxy coated alumium rod for PTMT Float valve make Prayag/Supreme | 150.00 | Each | 11.00 | 36.00 | 5400.00 | 75.00 | 11250.00 | 60.00 | 9000.00 | 5400.00 | KHAN CONTRACTOR
184.00 | 20 mm epoxy coated alumium rod for PTMT Float valve make Prayag/Supreme | 100.00 | Each | 11.00 | 46.00 | 4600.00 | 95.00 | 9500.00 | 70.00 | 7000.00 | 4600.00 | KHAN CONTRACTOR
185.00 | 32mm epoxy coated alumium rod for PTMT Float valve make Prayag/Supreme | 100.00 | Each | 10.00 | 56.00 | 5600.00 | 240.00 | 24000.00 | 200.00 | 20000.00 | 5600.00 | KHAN CONTRACTOR
186.00 | Unplasticised PVC connection pipe with brass union 45cm long 15mm bore for Hot and cold water | 1500.00 | Each | 22.00 | 56.00 | 84000.00 | 60.00 | 90000.00 | 50.00 | 75000.00 | 75000.00 | ROYAL ENGINEERING SERVICES
187.00 | Stainless steel braided connection pipe with union 45cm long 15mm bore for Hot water | 500.00 | Each | 0.00 | 116.00 | 58000.00 | 75.00 | 37500.00 | 90.00 | 45000.00 | 37500.00 | Technical Construction Co.
188.00 | Semi Rigid PVC waste pipe for sink and wash basin 32 mm dia with length not less than 900 mm | 1000.00 | Each | 1.00 | 36.00 | 36000.00 | 35.00 | 35000.00 | 35.00 | 35000.00 | 35000.00 | Technical Construction Co., ROYAL ENGINEERING SERVICES
189.00 | PTMT Bottle Trap size 32mm dia. | 100.00 | Each | 1.25 | 286.00 | 28600.00 | 300.00 | 30000.00 | 415.00 | 41500.00 | 28600.00 | KHAN CONTRACTOR
190.00 | PVC Low Level Cistern of approx. 10 lit. capacity of HINDWARE / PARRYWARE / CERA /KOHLAR make. | 250.00 | Each | 0.00 | 886.00 | 221500.00 | 1000.00 | 250000.00 | 765.00 | 191250.00 | 191250.00 | ROYAL ENGINEERING SERVICES
191.00 | PTMT Symet Liquid Soap Container Prayag / Polytuf make . | 50.00 | Each | 100.00 | 186.00 | 9300.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 9300.00 | KHAN CONTRACTOR
192.00 | P.V.C. Long Bend 32mm dia for cistern | 250.00 | Each | 53.00 | 36.00 | 9000.00 | 70.00 | 17500.00 | 50.00 | 12500.00 | 9000.00 | KHAN CONTRACTOR
193.00 | Exposed part kit of Concealed Stop Cock with Fitting Sleeve,Operating Lever & Adjustable wall Flange of make Jaguar & Marc. | 20.00 | Each | 10.00 | 686.00 | 13720.00 | 700.00 | 14000.00 | 650.00 | 13000.00 | 13000.00 | ROYAL ENGINEERING SERVICES
194.00 | Stainless steel Flexible tube/Hose for shower 1.5m long with nuts of make Jaguar/Marc/Seeco. | 100.00 | Each | 11.00 | 386.00 | 38600.00 | 1000.00 | 100000.00 | 650.00 | 65000.00 | 38600.00 | KHAN CONTRACTOR
195.00 | Single Action elbow lever Bib cock of make Jaguar/Marc | 50.00 | Each | 11.00 | 1286.00 | 64300.00 | 1200.00 | 60000.00 | 1100.00 | 55000.00 | 55000.00 | ROYAL ENGINEERING SERVICES
196.00 | Bib Cock of make Jaguar (Cat. QQT-CHR-7037) | 20.00 | Each | 10.00 | 1186.00 | 23720.00 | 2350.00 | 47000.00 | 900.00 | 18000.00 | 18000.00 | ROYAL ENGINEERING SERVICES
197.00 | OWC China ware white glazed size 580 X 440mm of make PERRYWARE/ CERA/HINDWARE/VARMORA. | 200.00 | Each | 22.00 | 1186.00 | 237200.00 | 1200.00 | 240000.00 | 1100.00 | 220000.00 | 220000.00 | ROYAL ENGINEERING SERVICES
198.00 | Nylon washer for C.P. brass pillar cock & stopcock (100 Nos each packet) | 50.00 | Pkt | 0.00 | 56.00 | 2800.00 | 120.00 | 6000.00 | 65.00 | 3250.00 | 2800.00 | KHAN CONTRACTOR
199.00 | Toilet Jet spray silver with 1.5 m heavy PVC Hose set. | 100.00 | Each | 1.25 | 156.00 | 15600.00 | 200.00 | 20000.00 | 120.00 | 12000.00 | 12000.00 | ROYAL ENGINEERING SERVICES
200.00 | Vitreous china flat back Wash Basin of size 450x300mm of HINDWARE/PARRYWARE / CERA /KOHLAR/ VARMORA make with required fixture | 100.00 | Each | 0.00 | 786.00 | 78600.00 | 800.00 | 80000.00 | 800.00 | 80000.00 | 78600.00 | KHAN CONTRACTOR
201.00 | Vitreous china flat back Wash Basin of size 550x400mm of HINDWARE/PARRYWARE / CERA /KOHLAR/ VARMORA makE with required fixture. | 150.00 | Each | 100.00 | 986.00 | 147900.00 | 1100.00 | 165000.00 | 1300.00 | 195000.00 | 147900.00 | KHAN CONTRACTOR
202.00 | White vitreous china clay half stall urinal flat back 580x380x350 mm of HINDWARE/PARRYWARE / CERA /KOHLAR/ VARMORA make | 5.00 | Each | 53.00 | 3786.00 | 18930.00 | 2800.00 | 14000.00 | 1500.00 | 7500.00 | 7500.00 | ROYAL ENGINEERING SERVICES
203.00 | Round shape single flow hand shower of Jaquar (Product Code: HSH-CHR-1937) or Marc (Product Code: MVT-2120) make. | 5.00 | Each | 10.00 | 886.00 | 4430.00 | 1250.00 | 6250.00 | 1100.00 | 5500.00 | 4430.00 | KHAN CONTRACTOR
204.00 | Round shape single flow Overhead shower of Jaquar with Shower arm of Jaquar/Marc make. | 40.00 | Each | 11.00 | 1286.00 | 51440.00 | 1300.00 | 52000.00 | 1350.00 | 54000.00 | 51440.00 | KHAN CONTRACTOR
205.00 | Chinaware 'P' Trap 100 mm dia for OWC of Standard depth. | 300.00 | Each | 11.00 | 66.00 | 19800.00 | 60.00 | 18000.00 | 70.00 | 21000.00 | 18000.00 | Technical Construction Co.
206.00 | EWC white glazed with P/S trap of HINDWARE/ PARRYWARE / CERA /KOHLAR/VARMORA make | 100.00 | Each | 10.00 | 1386.00 | 138600.00 | 1100.00 | 110000.00 | 1250.00 | 125000.00 | 110000.00 | Technical Construction Co.
207.00 | EWC Seat Cover (White) | 200.00 | Each | 22.00 | 286.00 | 57200.00 | 300.00 | 60000.00 | 150.00 | 30000.00 | 30000.00 | ROYAL ENGINEERING SERVICES
208.00 | Wall Vit Pan with Bracket HINDWARE/PARRYWARE / CERA /KOHLAR/ VARMORA MAKE | 5.00 | Each | 0.00 | 5186.00 | 25930.00 | 5500.00 | 27500.00 | 4000.00 | 20000.00 | 20000.00 | ROYAL ENGINEERING SERVICES
209.00 | Cooper Tube 8 mm | 50.00 | RM | 1.00 | 46.00 | 2300.00 | 300.00 | 15000.00 | 100.00 | 5000.00 | 2300.00 | KHAN CONTRACTOR
210.00 | Brass Checknut 40mm x 32mm | 50.00 | Each | 1.25 | 66.00 | 3300.00 | 150.00 | 7500.00 | 55.00 | 2750.00 | 2750.00 | ROYAL ENGINEERING SERVICES
211.00 | Chinawear Laboraroty White Sink of Size 600 x 400 x200 mm of make Cera / Parryware / Hindware. | 10.00 | Each | 0.00 | 2186.00 | 21860.00 | 5500.00 | 55000.00 | 4550.00 | 45500.00 | 21860.00 | KHAN CONTRACTOR
212.00 | Chinawear Urinal Pot Size 44 cm x 26.5 cm x 35.5 cm of HINDWARE/ PARRYWARE / CERA /KOHLAR/ VARMORA mak | 20.00 | Each | 100.00 | 786.00 | 15720.00 | 500.00 | 10000.00 | 1050.00 | 21000.00 | 10000.00 | Technical Construction Co.
213.00 | Unplasticised Polyvinyl Chloride (UPVC) SWR pipes 50mm (conforming to IS 13592-Type B ) of working pressure rating 4 Kg/cm2 (make- SUPREME / ASTRAL / PRINCE) | 50.00 | RM | 53.00 | 86.00 | 4300.00 | 150.00 | 7500.00 | 85.00 | 4250.00 | 4250.00 | ROYAL ENGINEERING SERVICES
214.00 | Unplasticised Polyvinyl Chloride (UPVC) SWR pipes 110mm (conforming to IS 13592-Type B ) of working pressure rating 4 Kg/cm2 (make- SUPREME / ASTRAL / PRINCE) | 500.00 | RM | 10.00 | 286.00 | 143000.00 | 250.00 | 125000.00 | 230.00 | 115000.00 | 115000.00 | ROYAL ENGINEERING SERVICES
215.00 | UPVC Waste trap(Nahani trap) 75mm confirm to IS 14735 | 50.00 | Each | 11.00 | 86.00 | 4300.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 4300.00 | KHAN CONTRACTOR
216.00 | UPVC Waste trap(Nahani trap) 110mm confirm to IS 14735 | 150.00 | Each | 11.00 | 126.00 | 18900.00 | 200.00 | 30000.00 | 120.00 | 18000.00 | 18000.00 | ROYAL ENGINEERING SERVICES
217.00 | UPVC bend 90O with inspection doors 75mm confirm to IS 14735 for SWR | 50.00 | Each | 10.00 | 86.00 | 4300.00 | 150.00 | 7500.00 | 105.00 | 5250.00 | 4300.00 | KHAN CONTRACTOR
218.00 | UPVC bend 90O with inspection doors 110mm confirm to IS 14735 for SWR | 50.00 | Each | 22.00 | 126.00 | 6300.00 | 200.00 | 10000.00 | 120.00 | 6000.00 | 6000.00 | ROYAL ENGINEERING SERVICES
219.00 | P.V.C. Socket 110mm dia for SWR | 250.00 | Each | 0.00 | 86.00 | 21500.00 | 120.00 | 30000.00 | 85.00 | 21250.00 | 21250.00 | ROYAL ENGINEERING SERVICES
220.00 | UPVC Tee 110mm confirm to IS 14735 for SWR | 100.00 | Each | 1.00 | 106.00 | 10600.00 | 200.00 | 20000.00 | 190.00 | 19000.00 | 10600.00 | KHAN CONTRACTOR
221.00 | UPVC Reducer Socket 110mm x 90mm for SWR | 100.00 | Each | 1.25 | 86.00 | 8600.00 | 120.00 | 12000.00 | 90.00 | 9000.00 | 8600.00 | KHAN CONTRACTOR
222.00 | UPVC Cowl 110mm confirm to IS 14735 for SWR | 40.00 | Each | 0.00 | 56.00 | 2240.00 | 200.00 | 8000.00 | 38.00 | 1520.00 | 1520.00 | ROYAL ENGINEERING SERVICES
223.00 | Solvent Cement confirming to ASTM F493 in 100ml packaging | 20.00 | Each | 100.00 | 36.00 | 720.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 720.00 | KHAN CONTRACTOR
224.00 | Dhaga for plumbing work (20 Nos each packet) | 200.00 | Pkt | 53.00 | 86.00 | 17200.00 | 80.00 | 16000.00 | 75.00 | 15000.00 | 15000.00 | ROYAL ENGINEERING SERVICES
225.00 | Safeda for plumbing work in 100 Gram pack make Astral,M-seal | 50.00 | Each | 10.00 | 46.00 | 2300.00 | 80.00 | 4000.00 | 40.00 | 2000.00 | 2000.00 | ROYAL ENGINEERING SERVICES
226.00 | Polyethylene cylinderical vertical water storage tank of capacity 2000 Liters conform to IS:12701with cover and suitable locking arrangement | 2.00 | Each | 11.00 | 16786.00 | 33572.00 | 17000.00 | 34000.00 | 12500.00 | 25000.00 | 25000.00 | ROYAL ENGINEERING SERVICES
227.00 | Polyethylene cylindrical vertical water storage tank of capacity 1000 Liters conform to IS:12701 with cover and suitable locking arrangement | 4.00 | Each | 11.00 | 8786.00 | 35144.00 | 8500.00 | 34000.00 | 6250.00 | 25000.00 | 25000.00 | ROYAL ENGINEERING SERVICES
228.00 | Polyethylene cylindrical vertical water storage tank of capacity 5000 Liters conform to IS:12701 with cover and suitable locking arrangement | 1.00 | Each | 10.00 | 51786.00 | 51786.00 | 50000.00 | 50000.00 | 30000.00 | 30000.00 | 30000.00 | ROYAL ENGINEERING SERVICES
229.00 | Polyethylene cylinderical vertical water storage tank of capacity 500 Liters conform to IS:12701 with cover and suitable locking arrangement | 2.00 | Each | 22.00 | 4786.00 | 9572.00 | 4500.00 | 9000.00 | 3100.00 | 6200.00 | 6200.00 | ROYAL ENGINEERING SERVICES
230.00 | Single Piece Conceal Cistern of Jaquar with installation kit for wall hung WC (Without Flush control Plate) (Cat. JCS-WHT-2400). | 8.00 | Each | 0.00 | 3786.00 | 30288.00 | 4000.00 | 32000.00 | 3800.00 | 30400.00 | 30288.00 | KHAN CONTRACTOR
231.00 | Brass Concealed Face as per sample available in Civil Store | 10.00 | Each | 1.00 | 36.00 | 360.00 | 1250.00 | 12500.00 | 50.00 | 500.00 | 360.00 | KHAN CONTRACTOR
232.00 | OPC Cement of 43 grade(50Kg.bags) in phased manner as per the requirement of Engineer-in-charge including unloading and stacking in civil maintenance store. Cement shall be any one of M/s Gujrat Ambuja, Ultra Tech, Birla Uttam & JK Super cement Brand. | 1700.00 | Bag | 1.25 | 356.00 | 605200.00 | 400.00 | 680000.00 | 355.00 | 603500.00 | 603500.00 | ROYAL ENGINEERING SERVICES
233.00 | Araldite Gy 257 make HUNTSMAN | 30.00 | Kg | 0.00 | 486.00 | 14580.00 | 500.00 | 15000.00 | 425.00 | 12750.00 | 12750.00 | ROYAL ENGINEERING SERVICES
234.00 | Hardner Aradur 140 make HUNTSMAN | 30.00 | Kg | 100.00 | 486.00 | 14580.00 | 650.00 | 19500.00 | 500.00 | 15000.00 | 14580.00 | KHAN CONTRACTOR
235.00 | Silica Sand | 15.00 | CuM | 53.00 | 11786.00 | 176790.00 | 15000.00 | 225000.00 | 11000.00 | 165000.00 | 165000.00 | ROYAL ENGINEERING SERVICES
236.00 | Haldwani Sand FM not less than 2.30 | 250.00 | Cum | 10.00 | 1786.00 | 446500.00 | 2000.00 | 500000.00 | 1900.00 | 475000.00 | 446500.00 | KHAN CONTRACTOR
237.00 | White Cement (Each packet contain 1Kg.) | 100.00 | Pkt | 11.00 | 16.00 | 1600.00 | 35.00 | 3500.00 | 25.00 | 2500.00 | 1600.00 | KHAN CONTRACTOR
238.00 | Stone aggregate 10 / 12.5 mm size | 50.00 | CuM | 11.00 | 1786.00 | 89300.00 | 2100.00 | 105000.00 | 1800.00 | 90000.00 | 89300.00 | KHAN CONTRACTOR
239.00 | Intergal waterproofing compound of make Dr. Fixit/Sika/Asian Paint/Fosroc in 1Liter packaging as approved by Engineer-In-Charge. | 100.00 | Liters | 10.00 | 136.00 | 13600.00 | 150.00 | 15000.00 | 140.00 | 14000.00 | 13600.00 | KHAN CONTRACTOR
240.00 | Waterproofing coating system of make HS PU Roofkoat of M/S Berger or smart care damp proof Ultra of M/S Asian Paint or Dr. Fixit Roof seal classic of M/S Dr. Fixit. | 4000.00 | Liters | 22.00 | 216.00 | 864000.00 | 300.00 | 1200000.00 | 270.00 | 1080000.00 | 864000.00 | KHAN CONTRACTOR
241.00 | AC Sheet of 6 mm thick (Average) of M/S Everest / Uppal / Charminar / JP make | 100.00 | SqM | 0.00 | 306.00 | 30600.00 | 230.00 | 23000.00 | 300.00 | 30000.00 | 23000.00 | Technical Construction Co.
242.00 | G.I. J' or 'U' bolts & nuts 8mm diameter with bitumen & G.I. washers | 50.00 | Kg | 1.00 | 106.00 | 5300.00 | 150.00 | 7500.00 | 80.00 | 4000.00 | 4000.00 | ROYAL ENGINEERING SERVICES
243.00 | Welding electrode 2.5 mm dia code - 6013. (Each packet contain 110 electrods) | 50.00 | Each | 1.25 | 236.00 | 11800.00 | 350.00 | 17500.00 | 240.00 | 12000.00 | 11800.00 | KHAN CONTRACTOR
244.00 | Barbed Wire | 250.00 | Kg | 0.00 | 66.00 | 16500.00 | 90.00 | 22500.00 | 70.00 | 17500.00 | 16500.00 | KHAN CONTRACTOR
245.00 | Punched tape concertina coil 600 mm dia 10 m openable length. | 50.00 | Bundle | 100.00 | 686.00 | 34300.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 34300.00 | KHAN CONTRACTOR
246.00 | RBT reinforced barbed wire | 150.00 | RM | 53.00 | 10.86 | 1629.00 | 15.00 | 2250.00 | 12.00 | 1800.00 | 1629.00 | KHAN CONTRACTOR
247.00 | Rubber choke remover (Butach) with handle & rubber size 125mm dia. | 150.00 | Each | 10.00 | 76.00 | 11400.00 | 100.00 | 15000.00 | 85.00 | 12750.00 | 11400.00 | KHAN CONTRACTOR
248.00 | Lime Powder. | 4000.00 | Kg | 11.00 | 8.86 | 35440.00 | 10.00 | 40000.00 | 4.00 | 16000.00 | 16000.00 | ROYAL ENGINEERING SERVICES
249.00 | Digital Vernier caliper size 150 mm with calibration report from NABL approved lab | 1.00 | Each | 11.00 | 1846.00 | 1846.00 | 6000.00 | 6000.00 | 1500.00 | 1500.00 | 1500.00 | ROYAL ENGINEERING SERVICES
250.00 | Rubber Gasket U-type for aluminum door and window | 200.00 | RM | 10.00 | 8.86 | 1772.00 | 40.00 | 8000.00 | 10.00 | 2000.00 | 1772.00 | KHAN CONTRACTOR
251.00 | Plain Acrylic Sheet 5mm thick, Size (8x4) feet. | 40.00 | Each | 22.00 | 2786.00 | 111440.00 | 2800.00 | 112000.00 | 2000.00 | 80000.00 | 80000.00 | ROYAL ENGINEERING SERVICES
252.00 | 65 mm steel pad lock with 3 keys of make link / Hindson / Harison. | 200.00 | Each | 0.00 | 136.00 | 27200.00 | 180.00 | 36000.00 | 120.00 | 24000.00 | 24000.00 | ROYAL ENGINEERING SERVICES
253.00 | M-seal (Fast curing epoxy compound) | 60.00 | Kg | 1.00 | 286.00 | 17160.00 | 350.00 | 21000.00 | 200.00 | 12000.00 | 12000.00 | ROYAL ENGINEERING SERVICES
254.00 | Heavy duty swing rubber seat with SS huck handle of size 30" x 7.5" x 10mm | 60.00 | Each | 1.25 | 536.00 | 32160.00 | 2100.00 | 126000.00 | 1200.00 | 72000.00 | 32160.00 | KHAN CONTRACTOR
| Total in Figures |  |  |  |  | 68666786.00 |  | 56643110.00 |  | 59586765.00
Lowest Amount Quoted BY: Technical Construction Co.(56643110.00)

## BOQ Summary
BOQ Summary Details Tender Title: Maintenance of Residential Township at NAPS, Narora. Tender ID: 2025_NPCIL_259078_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Technical Construction Co. (BID ID -958976) | 56643110.00 | L1
| 2 | ROYAL ENGINEERING SERVICES (BID ID -959308) | 59586765.00 | L2
| 3 | KHAN CONTRACTOR (BID ID -961114) | 68666786.00 | L3