## BoQ1
Government eProcurement System Created By: Manoj Kumar Singh Created Date/Time: 26-Feb-2026 02:36 PM Tender Title: Supply and erection of Outdoor piping for AFR of KKNPP 3to6. Tender ID: 2025_NPCIL_259337_1
Tender Inviting Authority: DGM (C&MM-Works)
Name of Work: Supply & erection of Outdoor piping for AFR of KKNPP-3-6.
Contract No: NPCIL/KK-5&6/CONST/MECH/PT/2025/177
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SPECTRON ENGINEERS PRIVATE LIMITED (GSTN-27AABCS6119G1ZF) BID ID -953560 |  | Sterling and Wilson Private Limited (GSTN-NA) BID ID -955903 |  | MGR FABRICATORS PRIVATE LIMITED (GSTN-NA) BID ID -954576 |  | ANNU INSULATION & ENGG. COMPANY (GSTN-NA) BID ID -957728 |  | MANNAN PERUMAL (GSTN-NA) BID ID -959093
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of pipe of material ASTM A 106 Gr.B, following design standard ASME B 36.10 schedule 40 as per technical specifications
1.10 | 100NB | 1104.00 | M | 100.00 | 1850.00 | 2042400.00 | 2397.00 | 2646288.00 | 2000.00 | 2208000.00 | 2510.00 | 2771040.00 | 2700.00 | 2980800.00 | 2042400.00 | SPECTRON ENGINEERS PRIVATE LIMITED
1.20 | 80NB | 6.00 | M | 10.00 | 1320.00 | 7920.00 | 1678.00 | 10068.00 | 1400.00 | 8400.00 | 2510.00 | 15060.00 | 1440.00 | 8640.00 | 7920.00 | SPECTRON ENGINEERS PRIVATE LIMITED
2.00 | Supply of pipe fittingsASTM A234 Gr.WPB, following design standard ASME B 16.9 schedule 40 as per technical specifications
2.10 | 100NB Bend 90 | 18.00 | Nos | 10.00 | 1207.00 | 21726.00 | 1503.00 | 27054.00 | 1500.00 | 27000.00 | 1700.00 | 30600.00 | 1900.00 | 34200.00 | 21726.00 | SPECTRON ENGINEERS PRIVATE LIMITED
2.20 | 100NB Bend 45 | 7.00 | Nos | 10.00 | 818.00 | 5726.00 | 1051.00 | 7357.00 | 1000.00 | 7000.00 | 1250.00 | 8750.00 | 1300.00 | 9100.00 | 5726.00 | SPECTRON ENGINEERS PRIVATE LIMITED
2.30 | 200NB Equal Tee | 1.00 | Nos | 10.00 | 8760.00 | 8760.00 | 8880.00 | 8880.00 | 6000.00 | 6000.00 | 8000.00 | 8000.00 | 8800.00 | 8800.00 | 6000.00 | MGR FABRICATORS PRIVATE LIMITED
2.40 | 100NB Equal Tee | 5.00 | Nos | 10.00 | 1620.00 | 8100.00 | 2179.00 | 10895.00 | 2600.00 | 13000.00 | 2960.00 | 14800.00 | 2300.00 | 11500.00 | 8100.00 | SPECTRON ENGINEERS PRIVATE LIMITED
2.50 | 200-100NB E Reducer | 1.00 | Nos | 10.00 | 3240.00 | 3240.00 | 3173.00 | 3173.00 | 2600.00 | 2600.00 | 3050.00 | 3050.00 | 3200.00 | 3200.00 | 2600.00 | MGR FABRICATORS PRIVATE LIMITED
3.00 | Supply of pipe of material ASTM A312 TP304L, following design standard ASME B 36.19 schedule 40s as per technical specifications
3.10 | 100NB | 2778.00 | M | 10.00 | 7970.00 | 22140660.00 | 8969.00 | 24915882.00 | 7000.00 | 19446000.00 | 9720.00 | 27002160.00 | 9400.00 | 26113200.00 | 19446000.00 | MGR FABRICATORS PRIVATE LIMITED
3.20 | 65NB | 30.00 | M | 10.00 | 4382.00 | 131460.00 | 4818.00 | 144540.00 | 3800.00 | 114000.00 | 5030.00 | 150900.00 | 5000.00 | 150000.00 | 114000.00 | MGR FABRICATORS PRIVATE LIMITED
3.30 | 50NB | 90.00 | M | 10.00 | 2762.00 | 248580.00 | 3035.00 | 273150.00 | 2500.00 | 225000.00 | 3230.00 | 290700.00 | 3100.00 | 279000.00 | 225000.00 | MGR FABRICATORS PRIVATE LIMITED
4.00 | Supply of pipe fittings ASTM A403 Gr.WP304L, following design standard ASME B 16.9 schedule 40s as per technical specifications
4.10 | 100NB Bend 90 | 39.00 | Nos | 10.00 | 7060.00 | 275340.00 | 5620.00 | 219180.00 | 7000.00 | 273000.00 | 2600.00 | 101400.00 | 9000.00 | 351000.00 | 101400.00 | ANNU INSULATION & ENGG. COMPANY
4.20 | 100NB Bend 45 | 20.00 | Nos | 10.00 | 3375.00 | 67500.00 | 4685.00 | 93700.00 | 5000.00 | 100000.00 | 2300.00 | 46000.00 | 6650.00 | 133000.00 | 46000.00 | ANNU INSULATION & ENGG. COMPANY
4.30 | 100NB Elbow 90 | 7.00 | Nos | 10.00 | 4700.00 | 32900.00 | 5620.00 | 39340.00 | 4500.00 | 31500.00 | 2600.00 | 18200.00 | 5200.00 | 36400.00 | 18200.00 | ANNU INSULATION & ENGG. COMPANY
4.40 | 65NB Elbow 90 | 2.00 | Nos | 10.00 | 1795.00 | 3590.00 | 1984.00 | 3968.00 | 2500.00 | 5000.00 | 750.00 | 1500.00 | 2700.00 | 5400.00 | 1500.00 | ANNU INSULATION & ENGG. COMPANY
4.50 | 50NB Elbow 90 | 11.00 | Nos | 10.00 | 1135.00 | 12485.00 | 927.00 | 10197.00 | 1000.00 | 11000.00 | 650.00 | 7150.00 | 1100.00 | 12100.00 | 7150.00 | ANNU INSULATION & ENGG. COMPANY
4.60 | 100NB Equal Tee | 2.00 | Nos | 10.00 | 3935.00 | 7870.00 | 8431.00 | 16862.00 | 6000.00 | 12000.00 | 4200.00 | 8400.00 | 7500.00 | 15000.00 | 7870.00 | SPECTRON ENGINEERS PRIVATE LIMITED
4.70 | 50NB Equal Tee | 4.00 | Nos | 10.00 | 1235.00 | 4940.00 | 2313.00 | 9252.00 | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 4940.00 | SPECTRON ENGINEERS PRIVATE LIMITED
4.80 | 100-65NB Reducer | 2.00 | Nos | 10.00 | 3375.00 | 6750.00 | 2563.00 | 5126.00 | 2700.00 | 5400.00 | 3500.00 | 7000.00 | 2800.00 | 5600.00 | 5126.00 | Sterling and Wilson Private Limited
4.90 | 65-50NB Reducer | 6.00 | Nos | 10.00 | 1755.00 | 10530.00 | 1189.00 | 7134.00 | 1050.00 | 6300.00 | 1500.00 | 9000.00 | 1200.00 | 7200.00 | 6300.00 | MGR FABRICATORS PRIVATE LIMITED
5.00 | Supply of HDPE pipe of material ISO 4427, PE100, PN10 following design standard ASME B 31.1 as per technical specifications
5.10 | 75NB | 1540.00 | M | 10.00 | 190.00 | 292600.00 | 236.00 | 363440.00 | 550.00 | 847000.00 | 350.00 | 539000.00 | 525.00 | 808500.00 | 292600.00 | SPECTRON ENGINEERS PRIVATE LIMITED
6.00 | Supply of HDPE pipe fittings ISO 4427, PE100, PN10 following design standard ASME B 31.1 as per technical specifications
6.10 | 75NB Bend 90 | 30.00 | Nos | 10.00 | 175.00 | 5250.00 | 850.00 | 25500.00 | 400.00 | 12000.00 | 600.00 | 18000.00 | 400.00 | 12000.00 | 5250.00 | SPECTRON ENGINEERS PRIVATE LIMITED
6.20 | 75NB Bend 45 | 11.00 | Nos | 10.00 | 135.00 | 1485.00 | 1527.00 | 16797.00 | 430.00 | 4730.00 | 550.00 | 6050.00 | 450.00 | 4950.00 | 1485.00 | SPECTRON ENGINEERS PRIVATE LIMITED
7.00 | DOUBLE FLANGED BUTTERFLY VALVE: Supply of DOUBLE FLANGED BUTTERFLY VALVE (including mating flanges, nut, bolts etc) Pressure rating 150 of design standard API609-A / BS EN 593 and testing standard API598 / BS EN 12266-1 as per technical specifications
7.10 | 80NB | 5.00 | Nos | 10.00 | 9075.00 | 45375.00 | 173936.00 | 869680.00 | 27500.00 | 137500.00 | 12500.00 | 62500.00 | 27000.00 | 135000.00 | 45375.00 | SPECTRON ENGINEERS PRIVATE LIMITED
7.20 | 100NB | 2.00 | Nos | 10.00 | 12500.00 | 25000.00 | 197126.00 | 394252.00 | 32500.00 | 65000.00 | 15000.00 | 30000.00 | 38000.00 | 76000.00 | 25000.00 | SPECTRON ENGINEERS PRIVATE LIMITED
8.00 | GATE VALVE: Supply of CS GATE VALVE (including mating flanges, nut, bolts etc) Pressure rating 150 of design standard API600 and testing standard API598 as per technical specifications
8.10 | 100NB | 3.00 | Nos | 10.00 | 42205.00 | 126615.00 | 64704.00 | 194112.00 | 40000.00 | 120000.00 | 12000.00 | 36000.00 | 45000.00 | 135000.00 | 36000.00 | ANNU INSULATION & ENGG. COMPANY
9.00 | GATE VALVE: Supply of SS GATE VALVE (including mating flanges, nut, bolts etc) Pressure rating 150 of design standard API600 and testing standard API598 as per technical specifications
9.10 | 100NB | 1.00 | Nos | 10.00 | 93170.00 | 93170.00 | 149140.00 | 149140.00 | 120000.00 | 120000.00 | 24000.00 | 24000.00 | 130500.00 | 130500.00 | 24000.00 | ANNU INSULATION & ENGG. COMPANY
9.20 | 65NB | 3.00 | Nos | 10.00 | 50000.00 | 150000.00 | 82986.00 | 248958.00 | 70000.00 | 210000.00 | 15000.00 | 45000.00 | 79900.00 | 239700.00 | 45000.00 | ANNU INSULATION & ENGG. COMPANY
9.30 | 50NB | 5.00 | Nos | 10.00 | 28250.00 | 141250.00 | 55427.00 | 277135.00 | 40000.00 | 200000.00 | 8500.00 | 42500.00 | 54000.00 | 270000.00 | 42500.00 | ANNU INSULATION & ENGG. COMPANY
10.00 | Supply of flexible Hose with flange SS end Flange of Hose standard SAE 100 R1 of inner material BUNA-N (Nitrile Rubber) and with ASTM A 182 F 304 for flanges class 150 as per technical specification
10.10 | 65NB | 2.00 | Nos | 10.00 | 20250.00 | 40500.00 | 117194.00 | 234388.00 | 48000.00 | 96000.00 | 8500.00 | 17000.00 | 49900.00 | 99800.00 | 17000.00 | ANNU INSULATION & ENGG. COMPANY
11.00 | Supply of pipe of material IS 1239 Gr410 as per technical specifications for pipe sleeve for burried piping
11.10 | 150NB | 138.00 | M | 10.00 | 1710.00 | 235980.00 | 2316.00 | 319608.00 | 1650.00 | 227700.00 | 13275.00 | 1831950.00 | 2100.00 | 289800.00 | 227700.00 | MGR FABRICATORS PRIVATE LIMITED
12.00 | Supply of SS FlangeWNRF as per as per ASTM A182, F304 as per ASME B16.5 150#, including Bolt with nut for class 150 as per technical specification
12.10 | 100NB | 2.00 | Nos | 10.00 | 3970.00 | 7940.00 | 10907.00 | 21814.00 | 2500.00 | 5000.00 | 1400.00 | 2800.00 | 3575.00 | 7150.00 | 2800.00 | ANNU INSULATION & ENGG. COMPANY
12.20 | 65NB | 2.00 | Nos | 10.00 | 3120.00 | 6240.00 | 6790.00 | 13580.00 | 1800.00 | 3600.00 | 1100.00 | 2200.00 | 2550.00 | 5100.00 | 2200.00 | ANNU INSULATION & ENGG. COMPANY
12.30 | 50NB | 2.00 | Nos | 10.00 | 1985.00 | 3970.00 | 4613.00 | 9226.00 | 1000.00 | 2000.00 | 850.00 | 1700.00 | 1450.00 | 2900.00 | 1700.00 | ANNU INSULATION & ENGG. COMPANY
13.00 | Supply of SS Blind as per as per ASTM A240 Gr.304L 150#, including Bolt with nut for class 150 as per technical specification
13.10 | 100NB | 2.00 | Nos | 10.00 | 3400.00 | 6800.00 | 9553.00 | 19106.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 3400.00 | 6800.00 | 3000.00 | ANNU INSULATION & ENGG. COMPANY
13.20 | 65NB | 4.00 | Nos | 10.00 | 2125.00 | 8500.00 | 5476.00 | 21904.00 | 1800.00 | 7200.00 | 1100.00 | 4400.00 | 2400.00 | 9600.00 | 4400.00 | ANNU INSULATION & ENGG. COMPANY
13.30 | 50NB | 1.00 | Nos | 10.00 | 1275.00 | 1275.00 | 3561.00 | 3561.00 | 1200.00 | 1200.00 | 950.00 | 950.00 | 1380.00 | 1380.00 | 950.00 | ANNU INSULATION & ENGG. COMPANY
14.00 | Supply of CS Blind as per as per ASTM A105 150#, including Bolt with nut for class 150 as per technical specification
14.10 | 100NB | 2.00 | Nos | 10.00 | 1275.00 | 2550.00 | 3249.00 | 6498.00 | 975.00 | 1950.00 | 900.00 | 1800.00 | 770.00 | 1540.00 | 1540.00 | MANNAN PERUMAL
14.20 | 80NB | 4.00 | Nos | 10.00 | 640.00 | 2560.00 | 2024.00 | 8096.00 | 700.00 | 2800.00 | 800.00 | 3200.00 | 1100.00 | 4400.00 | 2560.00 | SPECTRON ENGINEERS PRIVATE LIMITED
15.00 | Gasket for Flanges of sizes (Non asbestos BS-7531 Gr.X RING, #150, 2mm thick) as per technical specification
15.10 | 100NB | 18.00 | Nos | 10.00 | 70.00 | 1260.00 | 301.00 | 5418.00 | 125.00 | 2250.00 | 150.00 | 2700.00 | 120.00 | 2160.00 | 1260.00 | SPECTRON ENGINEERS PRIVATE LIMITED
15.20 | 80NB | 16.00 | Nos | 10.00 | 60.00 | 960.00 | 215.00 | 3440.00 | 100.00 | 1600.00 | 120.00 | 1920.00 | 100.00 | 1600.00 | 960.00 | SPECTRON ENGINEERS PRIVATE LIMITED
15.30 | 65NB | 16.00 | Nos | 10.00 | 51.00 | 816.00 | 129.00 | 2064.00 | 100.00 | 1600.00 | 110.00 | 1760.00 | 95.00 | 1520.00 | 816.00 | SPECTRON ENGINEERS PRIVATE LIMITED
15.40 | 50NB | 10.00 | Nos | 10.00 | 40.00 | 400.00 | 103.00 | 1030.00 | 60.00 | 600.00 | 100.00 | 1000.00 | 70.00 | 700.00 | 400.00 | SPECTRON ENGINEERS PRIVATE LIMITED
16.00 | Supply of 63 mm dia ISI marked Single Headed, Gunmetal External Yard Hydrant valve,Oblique type fire hydrant with instaneous spring loaded valve brass coupling, blank cap, chain and matching flanges, nuts & bolts, gaskets, etc., complete confirming to IS: 5290, Nozzle, as per IS: 903 as per technical specification | 8.00 | Nos | 10.00 | 12300.00 | 98400.00 | 15052.00 | 120416.00 | 12000.00 | 96000.00 | 4500.00 | 36000.00 | 12500.00 | 100000.00 | 36000.00 | ANNU INSULATION & ENGG. COMPANY
17.00 | Supply & installation of Hose cabinet: Supply of Hose cabineas per IS 636 along with Nozzle & branch pipe as per IS 903 and Hoses shall confirm to IS 636 Type B & BS 6391 Type 3 fitted with suitableStainless steel instantaneous couplings at both end winded with stainless steel wire as per aproved drawings and technical specification. This work also includes supply and fixing of anchors/ screws for installation of hose box assembly at location along with Nozzle & branch pipe and Hoses, SS couplings, verification and handing over to NPCIL as per technical specifications. | 4.00 | Set | 10.00 | 17890.00 | 71560.00 | 23562.00 | 94248.00 | 24000.00 | 96000.00 | 10000.00 | 40000.00 | 19900.00 | 79600.00 | 40000.00 | ANNU INSULATION & ENGG. COMPANY
18.00 | Supply of various sizes of Hilti Anchor fasteners & Fixing of hilti anchor fasteners using hammer drilling method: The work involves supply of various sizes of Hilti Anchor fasteners and hole drilling in the wall, cleaning and fixing of Hilti anchor fasteners using hammer drilling method in various buildings, location & positions as per the developed drawings and specification. This work includes providing manpower,identification, marking, providing hilti machine of required capacities, shifting & positioning, tools, tackles, performing drilling using drill bit in reinforced concrete by qualified operators, cleaning, torqueing with torque wrenches, cleaning aids, preparation of reports and submission for acceptance.
18.10 | HSL4-G M10 of all types | 100.00 | Nos | 10.00 | 840.00 | 84000.00 | 1403.00 | 140300.00 | 2100.00 | 210000.00 | 450.00 | 45000.00 | 1550.00 | 155000.00 | 45000.00 | ANNU INSULATION & ENGG. COMPANY
18.20 | HSL4-G M12 of all types | 50.00 | Nos | 10.00 | 1810.00 | 90500.00 | 1515.00 | 75750.00 | 2800.00 | 140000.00 | 950.00 | 47500.00 | 2100.00 | 105000.00 | 47500.00 | ANNU INSULATION & ENGG. COMPANY
18.30 | HSL4-G M16 of all types | 40.00 | Nos | 10.00 | 3370.00 | 134800.00 | 3529.00 | 141160.00 | 4500.00 | 180000.00 | 1650.00 | 66000.00 | 3900.00 | 156000.00 | 66000.00 | ANNU INSULATION & ENGG. COMPANY
19.00 | Erection of CS/SS piping: Study of layout drawngs, development of isometric or erection drawings and obtianing acceptance form NPCIL, Identification of fabricated pipe spools, handling, erection and alignment of CS, SS piping, pipe fittings and accessories, at various elevations and locations, FME inspection, preparation of erection reports, asbuilt drawings and work completion as per approved drawings, documents and specifications. The scope also includes providing scaffolidng, temporary support arrangements, SS shims, man power, material hanlding equipment such as crane / hydra for trestle portion of piping , other P&M, tools & tackles and other consumables preparation of reports and submission for acceptance. Note: No separate payment for portion of piping on the trestle. | 17405.00 | Inch-m | 10.00 | 182.00 | 3167710.00 | 334.00 | 5813270.00 | 450.00 | 7832250.00 | 350.00 | 6091750.00 | 625.00 | 10878125.00 | 3167710.00 | SPECTRON ENGINEERS PRIVATE LIMITED
20.00 | Fabrication of pipe and pipe fittings, erection & testing of HDPE piping : Study of layout drawngs, development of isometrics or erection drawings and obtaining acceptance from NPCIL, Handling, pre-fabrication as per the developed drawings, erection of HDPE pipe and pipe fittings on already provided pedestals or ground using permanent supports, welding, inspection, preparation of CRR, carrying hydro testing, draining, drying , de-watering, preparation of reports and submission for accetance. The scope also includes establishing welding procedure, preparation of asbuilt drawings, arrangement of man power, tools & tackles, P&M ( such as crane / hydra), consumables as per drawings and tender technical specification. Note: payment for the pedestals and the supports will be made in the relevant BOQ item. | 1540.00 | Running Meter | 10.00 | 540.00 | 831600.00 | 1001.00 | 1541540.00 | 320.00 | 492800.00 | 440.00 | 677600.00 | 430.00 | 662200.00 | 492800.00 | MGR FABRICATORS PRIVATE LIMITED
21.00 | Erection of Valves, flexible Hose, Hydrant Valves (CS/SS) : Handling, de-preservation, identification, pre-assembly, installation of valves, hose and accessories in design position, FME, boxup, preservation as per drawings and specification. This work also includes arranging man power, P&M, tools & tackles, all other consumables , temporary supports, preparation of reports and submission for acceptance. | 2586.00 | Kg | 10.00 | 150.00 | 387900.00 | 67.00 | 173262.00 | 44.00 | 113784.00 | 62.00 | 160332.00 | 55.00 | 142230.00 | 113784.00 | MGR FABRICATORS PRIVATE LIMITED
22.00 | Welding of CS pipe: Handling, marking, cutting as per the developed drawings, removal of paint from the joint area, edge preparation, cleaning, fit up, welding using GTAW/ SMAW process as per established procedures, mechanical cleaning of weld joint, engraving, visual inspection, repair of welding if any, FME, inspection as per drawings and specification. The work also includes joint identification & marking by engraving, arranging man power, P&M, tools & tackles, all consumables including supply of welding filler wire & welding electrode of approved make, cleaning aids etc , preparation of reports and submission for accetance. Note: payment for NDE will be made in the releavant BOQ item , no separate payment for temporary supports or fixures. | 1148.00 | Inch Dia | 10.00 | 780.00 | 895440.00 | 1251.00 | 1436148.00 | 1650.00 | 1894200.00 | 1950.00 | 2238600.00 | 1750.00 | 2009000.00 | 895440.00 | SPECTRON ENGINEERS PRIVATE LIMITED
23.00 | Welding of SS pipe: Handling, marking, cutting as per the developed drawings, edge preparation, cleaning, fit up, purging, welding using GTAW/SMAW processas per established procedures, mechanical cleaning of weld joint, engraving, pickling and passivation of joints , visual inspection, repair of welding if any, FME inspection as per drawings and specification. The work also includes joint identification & marking by engraving, preparation of welding inspection report (WIR), QAP, WPS, PQR, JHA, purging dam log sheet, scaffolding & platforms, arranging man power, P&M, tools & tackles, all consumables including supply of welding filler wire & welding electrode of approved make, cleaning aids etc preparation of reports and submission for accetance. Note: payment for NDE will be made in the releavant BOQ item , no separate payment for temporary supports or fixures. | 3183.00 | Inch Dia | 10.00 | 1270.00 | 4042410.00 | 1751.00 | 5573433.00 | 2300.00 | 7320900.00 | 2800.00 | 8912400.00 | 2600.00 | 8275800.00 | 4042410.00 | SPECTRON ENGINEERS PRIVATE LIMITED
24.00 | Supply, Fabrication and erection of fixed/sliding/guide sliding supports: Development of the support drawings based on the piping layout made , supply of raw materials, Identification of members, marking, cutting, grinding, fabrication, fit up, welding using SMAW process, inspection, shifitng , erection, alignment , fitup , carryingout field welding using GTAW / SMAW process, with pipe and the support members or embedded parts etc, fastening using mechanical fasteners such as U clamps , bolts , nuts etc, inspection and NDE as per drawings and specification. The work also includes arrangement of SS shims, man power, temporary support arrangements, scaffolding & platforms, tools & tackles, P&M ( such as crane or hydra), consumables, supply of filler wire or electrodes, supply of fasteners, cleaning aids etc, preparation of reports and submission for acceptance. |  |  | 10.00
24.10 | Supply Fabrication and erection of pipe supports other than trestle area: | 9806.00 | Kg | 10.00 | 175.00 | 1716050.00 | 225.00 | 2206350.00 | 275.00 | 2696650.00 | 240.00 | 2353440.00 | 325.00 | 3186950.00 | 1716050.00 | SPECTRON ENGINEERS PRIVATE LIMITED
24.20 | Supply Fabrication and erection of pipe supports in trestle area | 504.00 | Kg | 10.00 | 203.00 | 102312.00 | 267.00 | 134568.00 | 300.00 | 151200.00 | 240.00 | 120960.00 | 470.00 | 236880.00 | 102312.00 | SPECTRON ENGINEERS PRIVATE LIMITED
25.00 | Weld Joint Inspection by RT : Identification of the weld joints, marking, radiographic examination of the weld joint by ISNT/ ASNT RT qualified personnel with all radiologial safety guide lines, developing of films, as per drawings and specification. This work also includes arrangement of man power, tools & tackles, plant & machinery, consumables, platforms, cleaning aids, arrangment of storage of source ( pit room) etc, as per drawings, preparation of reports and submission to NPCIL for acceptance along with RT film. | 622.00 | Inch Dia | 10.00 | 945.00 | 587790.00 | 834.00 | 518748.00 | 1100.00 | 684200.00 | 1400.00 | 870800.00 | 1750.00 | 1088500.00 | 518748.00 | Sterling and Wilson Private Limited
26.00 | Weld Joint Inspection by DPT (Dye Penetrant Test): Identification of the weld joints, marking, pre-cleaning, dye penetrant examination of the weld joint by ISNT/ ASNT PT qualified personnel as per drawings and specification, post cleaning. This work also includes arrangement of man power, tools & tackles, plant & machinery, consumables, scaffolding & platforms, cleaning aids etc, as per drawings, preparation of reports and submission to NPCIL for acceptance | 2983.00 | Inch Dia | 10.00 | 135.00 | 402705.00 | 100.00 | 298300.00 | 84.00 | 250572.00 | 95.00 | 283385.00 | 90.00 | 268470.00 | 250572.00 | MGR FABRICATORS PRIVATE LIMITED
27.00 | Hydro/Pneumatic test of Piping System : Study of layout, marking and identificaiton of loops, prepration of CRR ( circuit release reports) , hydro test loops, obtaining approval from NPCIL, blanking, filling of pipeline, venting, pressurising, holding for required time, flushing, draining, drying as per drawings and specification. This work also inlcudes arranging manpower, required hydrotest manifolds, valves, calibrated safety relief valves & pressure gauges, required tools and tackles, gasket, blank and fastners, hoses, clamps, tools & tackles, P&M, scaffolding & platforms, consumables, cleaning aids etc, preparation of reports and submission for acceptance. | 17405.00 | Inch-m | 10.00 | 60.00 | 1044300.00 | 217.00 | 3776885.00 | 120.00 | 2088600.00 | 35.00 | 609175.00 | 110.00 | 1914550.00 | 609175.00 | ANNU INSULATION & ENGG. COMPANY
28.00 | Grit blasting and primer application including supply : Handling of CS pipes and fittings, shifting to blasting area, grit blasting using steel grits/shot, supply & application of Inorganic Zinc Silicate primer with minimum thickness(DFT) of 70 microns as per technical specification, inspection, testing, preparation of reports and work completion as per drawings, documents and specifications The scope includes assesement of material requirement, procurement of grit/shot, primer with material test certificate, inspection at contractor's store, establishment of workshop, qualification of procedures, arrangement of man power, tools & tackles, P&M, consumables, cleaning aids as per drawings and technical specifications Note : Work includes application of primer on field weld joints for pipes after Hydrotest. | 392.50 | Square Meter | 10.00 | 1170.00 | 459225.00 | 2502.00 | 982035.00 | 1700.00 | 667250.00 | 650.00 | 255125.00 | 1900.00 | 745750.00 | 255125.00 | ANNU INSULATION & ENGG. COMPANY
29.00 | Supply & Application of intermediate & finish paint coats on pipes : Identification of pipelines and fittings, surface cleaning, supply and application of intermediate & finish paint of Epoxy MIO intermediate coat of thickness 100 to 120 microns and two coat of Aliphatic Polyurethane painting of thickness 30 microns each on outside surface of specified color shade, inspection, preparation of reports, testing and work completion as per the drawings, documents and specification. The work scope includes assessment of material requirement, procurement with material test certificate, handling, inspection at contractor's store, establishment of workshop, application, arrangement of man power, qualification of procedures, scaffolding and platforms, tools & tackles, P&M, consumables Note : Work includes application of paint on field weld joints for pipes after Hydrotest. | 392.50 | Square Meter | 10.00 | 910.00 | 357175.00 | 709.00 | 278282.50 | 1400.00 | 549500.00 | 750.00 | 294375.00 | 1500.00 | 588750.00 | 278282.50 | Sterling and Wilson Private Limited
30.00 | Grit blasting and primer application for support structures : Handling of supports, metal structure, shifting to blasting area, grit blasting using steel grits/shot,supply & application of Inorganic Zinc Silicate primer with minimum thickness(DFT) of 70 microns as per technical specification , inspection, testing, preparation of reports and work completion as per drawings, documents and specifications. The scope includes assesement of material requirement, procurement of grit/shot, primer with material test certificate, inspection at contractor's store, preparation of IMIR (incoming material inspection report), establishment of workshop, qualification of procedures, arrangement of man power, tools & tackles, P&M, consumables, cleaning aids etc with acceptance of EIC. Note : Work includes application of primer on field weld joints for metal structures after welding. | 10310.00 | Kg | 10.00 | 46.00 | 474260.00 | 135.00 | 1391850.00 | 40.00 | 412400.00 | 65.00 | 670150.00 | 59.00 | 608290.00 | 412400.00 | MGR FABRICATORS PRIVATE LIMITED
31.00 | Supply & Application of intermediate & finish paint coats on structure: Identification of metal structures, surface cleaning, supply and application of intermediate & finish paint of Epoxy MIO intermediate coat of thickness 100 to 120 microns and two coat of Aliphatic Polyurethane painting of thickness 30 microns each on outside surface of specified color shade, inspection, preparation of reports, testing and work completion as per the drawings, documents and specification with acceptance of EIC. The work scope includes assessment of material requirement, procurement with material test certificate, handling, inspection at contractor's store, establishment of workshop, application, arrangement of man power, qualification of procedures, scaffolding and platforms, tools & tackles, P&M, consumables Note : Work includes application of paint on field weld joints for metal structures after welding. | 10310.00 | Kg | 10.00 | 36.50 | 376315.00 | 117.00 | 1206270.00 | 27.00 | 278370.00 | 35.00 | 360850.00 | 52.00 | 536120.00 | 278370.00 | MGR FABRICATORS PRIVATE LIMITED
32.00 | Wrapping and coating : Surface preparation of outside surface of pipes by cleaning and inspection, supply and application of bitumen based primer with thickness not less than 0.6mm, polymer-bitumen tape to be applied in two layers ( 2mm each) & final thickness not less than 4.0 mm thick, and protective layer adhesive wrap 0.6mm (Polyethene tape),Inspection and holiday testing, preparation of reports including material, man power, P&M, tools and tackles, consumables etc. and completion of work as per tender specification and drawings. | 314.00 | Sqm | 10.00 | 845.00 | 265330.00 | 2085.00 | 654690.00 | 1200.00 | 376800.00 | 3500.00 | 1099000.00 | 1600.00 | 502400.00 | 265330.00 | SPECTRON ENGINEERS PRIVATE LIMITED
33.00 | Core cutting on reinforced concrete : This includes Identification of marking , arranging & shifting necessary tools, tackles & machinery to required location , arrangement of water supply, drilling mounting hole , mounting & setting up machines, performing core cutting in reinforced concrete using diamond core drilling as per required diameter, removing & disposal debris & cleaning the area , inspection preparation and submission of report, including arrangment of all plant & machinery , manpower , tools tackles & consumables (unit of measurement is mm-mtr i.e.mm dia of hole and meter depth of hole) completion of work as per tender specification and drawings. | 250.00 | mm-meter | 10.00 | 550.00 | 137500.00 | 166.00 | 41500.00 | 250.00 | 62500.00 | 3500.00 | 875000.00 | 228.00 | 57000.00 | 41500.00 | Sterling and Wilson Private Limited
34.00 | Earth work excavation by mechanical means(hydraulic excavator)/manual means for foundation, trenches etc., in all types of soils below ground level including shoring, strutting, bailing / pumping of water, leveling, ramming the bottom of excavation, refilling with selected excavated materials in the sides of the foundation in layers, consolidating and disposing off the surplus earth at places as directed with in a lead of 2 Kms all as per instruction of EIC. - up to 1.5m ht | 5080.00 | Cu. Meter | 10.00 | 945.00 | 4800600.00 | 1084.00 | 5506720.00 | 220.00 | 1117600.00 | 210.00 | 1066800.00 | 215.00 | 1092200.00 | 1066800.00 | ANNU INSULATION & ENGG. COMPANY
35.00 | Filling with selected earth in layers of not more than 150 mm thick compacted layer, each layer well rammed, watered and consolidated as per drawings and specifications Selected earth shall be brought from within a lead of 2 Km (including excavation soil as directed by EIC) | 6096.00 | Cu. Meter | 10.00 | 800.00 | 4876800.00 | 500.00 | 3048000.00 | 150.00 | 914400.00 | 2600.00 | 15849600.00 | 130.00 | 792480.00 | 792480.00 | MANNAN PERUMAL
36.00 | Providing and laying plain cement concrete 1:2:4, using 20 mm and down graded stone aggregate at all height including mechanical mixing, leveling, compaction, vibrating, finishing smooth the exposed surfaces of concrete, curing etc complete as per instruction of EIC | 43.00 | Cu. Meter | 10.00 | 10930.00 | 469990.00 | 16678.00 | 717154.00 | 8500.00 | 365500.00 | 7500.00 | 322500.00 | 8500.00 | 365500.00 | 322500.00 | ANNU INSULATION & ENGG. COMPANY
37.00 | Providing and laying M35 Design mix concrete with cement content up to 370kg/Cum using 20mm and down graded stone aggregates, admixtures including Mixing ,Ramming, Compaction, leveling, curing, placing at all lifts, including scaffolding and Finishing smooth all exposed faces complete as per instruction of EIC | 126.00 | Cu. Meter | 10.00 | 12550.00 | 1581300.00 | 29187.00 | 3677562.00 | 12500.00 | 1575000.00 | 11500.00 | 1449000.00 | 10900.00 | 1373400.00 | 1373400.00 | MANNAN PERUMAL
38.00 | Providing ,placing in position and removing Form work for all insitu concrete works including scaffolding etc., complete at all elevations as per drawing and specification (measurement for form work shall be the area of forms in contact with concrete surfaces) | 1056.00 | Sqm | 10.00 | 570.00 | 601920.00 | 1501.00 | 1585056.00 | 600.00 | 633600.00 | 550.00 | 580800.00 | 750.00 | 792000.00 | 580800.00 | ANNU INSULATION & ENGG. COMPANY
39.00 | Applicable GST Rate (%) Included in the Quoted Price
| Total in Figures |  |  |  |  | 54298865.00 |  | 72794290.50 |  | 55786006.00 |  | 78559282.00 |  | 69134435.00
Lowest Amount Quoted BY: SPECTRON ENGINEERS PRIVATE LIMITED(54298865.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply and erection of Outdoor piping for AFR of KKNPP 3to6. Tender ID: 2025_NPCIL_259337_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SPECTRON ENGINEERS PRIVATE LIMITED (BID ID -953560) | 54298865.00 | L1
| 2 | MGR FABRICATORS PRIVATE LIMITED (BID ID -954576) | 55786006.00 | L2
| 3 | MANNAN PERUMAL (BID ID -959093) | 69134435.00 | L3
| 4 | Sterling and Wilson Private Limited (BID ID -955903) | 72794290.50 | L4
| 5 | ANNU INSULATION & ENGG. COMPANY (BID ID -957728) | 78559282.00 | L5