## BoQ1
Government eProcurement System Created By: Mohd Umar Farooq Sofi Created Date/Time: 29-Apr-2025 01:16 PM Tender Title: Revamping of electrical wiring of B C Type quarters at ONGC Colony Uran Tender ID: 2025_ONGC_225432_1
Tender Inviting Authority: ERG ONGC Uran
Name of Work: Revamping of electrical wiring of B & C Type quarters at ONGC Colony, Uran
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sara enterprises (GSTN-NA) BID ID -819962 |  | hind electricals (GSTN-NA) BID ID -819766 |  | DHANSHREE ELECTRICALS (GSTN-NA) BID ID -818004 |  | damani enterprises (GSTN-NA) BID ID -818495
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/fan point/Call bell point/exhaust fan point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed medium size PVC conduit with modular switch , modular plate ,suitable box and earthing the point with 1.5 sq.mm PVC insulated copper conductor single core cable etc. as required | 878.00 | NO | 100.00 | 751.00 | 659378.00 | 800.00 | 702400.00 | 1260.00 | 1106280.00 | 1200.00 | 1053600.00 | 659378.00 | sara enterprises
2.00 | Supply & Fixing of 5/6Amp Modular switch and socket on the existing modular plate & switch box including connection but excluding modular plat etc. as required | 182.00 | NO | 100.00 | 444.00 | 80808.00 | 210.00 | 38220.00 | 815.00 | 148330.00 | 210.00 | 38220.00 | 38220.00 | damani enterprises, hind electricals
3.00 | Point wiring for independent plug in PVC trunking (casing?capping) with 1.5 sq.mm (2+1E )FRLS grade copper wire, modular type switch, earthing and required accessores (For Independen 5/6 Amp switch/socket board ) | 71.00 | NO | 10.00 | 884.00 | 62764.00 | 400.00 | 28400.00 | 3190.00 | 226490.00 | 600.00 | 42600.00 | 28400.00 | hind electricals
4.00 | Supply & Fixing of 15/16Amp Modular switch and socket on the modular plate & switch box including connection and modular plat etc. as required | 151.00 | NO |  | 590.00 | 89090.00 | 400.00 | 60400.00 | 1065.00 | 160815.00 | 330.00 | 49830.00 | 49830.00 | damani enterprises
5.00 | Wiring for circuit / submain wiring along with earth wire with the size 2x2.5 sq mm plus 1 x 2.5 sq.mm earth wire FRLS PVC insulated copper conductor , single core cable in surface / recessed medium class PVC conduit as required . | 1200.00 | METER |  | 73.00 | 87600.00 | 340.00 | 408000.00 | 195.00 | 234000.00 | 120.00 | 144000.00 | 87600.00 | sara enterprises
6.00 | Wiring for circuit / submain wiring along with earth wire with the size 2x4 sq mm plus 1 x 4 sq.mm earth wire FRLS PVC insulated copper conductor , single core cable in surface / recessed medium class PVC conduit as required . | 800.00 | METER |  | 95.00 | 76000.00 | 385.00 | 308000.00 | 235.00 | 188000.00 | 150.00 | 120000.00 | 76000.00 | sara enterprises
7.00 | Wiring for circuit / submain wiring along with earth wire with the size 2x6 sq mm plus 1 x 6 sq.mm earth wire FRLS PVC insulated copper conductor , single core cable in surface / recessed medium class PVC conduit as required . | 1600.00 | METER |  | 129.00 | 206400.00 | 418.00 | 668800.00 | 410.00 | 656000.00 | 270.00 | 432000.00 | 206400.00 | sara enterprises
8.00 | Supplying & fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | 158.00 | NO |  | 424.00 | 66992.00 | 500.00 | 79000.00 | 815.00 | 128770.00 | 450.00 | 71100.00 | 66992.00 | sara enterprises
9.00 | Supplying & Fixing 20A ,240V, SPN industrial type socket outlet , with 2 pole earth ,metal enclosed plug top along with 20A "C" curve ,SP, MCB , in sheet steel enclosure , on surface with chained metal cover for the socket out let and complete with connections , testing and commissioning etc. as required (for A/C) | 60.00 | NO |  | 1895.00 | 113700.00 | 420.00 | 25200.00 | 3190.00 | 191400.00 | 600.00 | 36000.00 | 25200.00 | hind electricals
10.00 | Supplying and fixing 8 way , single pole and neutral link , sheet steel, MCB distribution board 240V on surface / recesse , complete with tinned coper bus bar , earth bar , din bar, interconnections , powder painted including earthing etc .as required . | 30.00 | NO |  | 3313.00 | 99390.00 | 3250.00 | 97500.00 | 2275.00 | 68250.00 | 3600.00 | 108000.00 | 68250.00 | DHANSHREE ELECTRICALS
11.00 | Supplying andfixing 25 A rating , double pole (single phase & neutral) ,240V , residual current circuit breaker ( RCCB) , having a sensitivity current 30mA in the existing MCB DB complete with connections , testing and commissioning etc. as required | 30.00 | NO |  | 2650.00 | 79500.00 | 3500.00 | 105000.00 | 2815.00 | 84450.00 | 900.00 | 27000.00 | 27000.00 | damani enterprises
12.00 | Supplying and fixing 5 A to 32 A rating ,single pole, 240V/415V,10K,"C" curve, miniature circuit breaker suitable for inductive load of single poles in existing MCB DB complete with connections , testing and commissioning etc. as required | 150.00 | NO |  | 398.00 | 59700.00 | 250.00 | 37500.00 | 235.00 | 35250.00 | 150.00 | 22500.00 | 22500.00 | damani enterprises
13.00 | Supply and fixing of call bell / buzzer suitable for single phase , 230V , complete as required . | 30.00 | NO |  | 1060.00 | 31800.00 | 300.00 | 9000.00 | 1190.00 | 35700.00 | 240.00 | 7200.00 | 7200.00 | damani enterprises
14.00 | Supplying and erecting five star rated energy saving Ceiling fan 230 V A.C. 50 cycles 1200 mm complete erected in position. | 128.00 | NO |  | 3842.00 | 491776.00 | 2400.00 | 307200.00 | 3940.00 | 504320.00 | 2100.00 | 268800.00 | 268800.00 | damani enterprises
15.00 | Supplying and erecting regular/ standard model ceiling fan of 600mm. sweep complete erected in position . | 30.00 | NO |  | 2584.00 | 77520.00 | 2000.00 | 60000.00 | 3565.00 | 106950.00 | 2100.00 | 63000.00 | 60000.00 | hind electricals
16.00 | Supplying and erecting exhaust fan medium duty 230 V A.C. 50 cycles 225 mm. 1400 RPM with condenser complete erected in position with necessary materials. Fan motor with moisture proof treatment and ‘E’ class insulation. | 30.00 | NO |  | 2471.00 | 74130.00 | 2000.00 | 60000.00 | 2315.00 | 69450.00 | 1260.00 | 37800.00 | 37800.00 | damani enterprises
17.00 | Supplying & erecting LED 20W tube light fitting (4 feet) with aluminium housing, heat sink, integrated HF electronic driver complete . | 421.00 | NO |  | 490.00 | 206290.00 | 255.00 | 107355.00 | 440.00 | 185240.00 | 300.00 | 126300.00 | 107355.00 | hind electricals
18.00 | Supplying and erecting bulkhead fitting suitable for LED upto 12W fixed on wall with 12 W LED bulb. | 111.00 | NO |  | 861.00 | 95571.00 | 600.00 | 66600.00 | 2440.00 | 270840.00 | 540.00 | 59940.00 | 59940.00 | damani enterprises
19.00 | Supplying & erecting 5W-7W, 230V integral type LED Lamp | 128.00 | NO |  | 795.00 | 101760.00 | 150.00 | 19200.00 | 690.00 | 88320.00 | 120.00 | 15360.00 | 15360.00 | damani enterprises
20.00 | Supplying and erecting ISI mark midget type 3.0 Ltr instant type water heater of ABS plastic body 3 kW, heating element 230/250 Volts 50 cycle AC supply with inlet and outlet, thermostatic control and thermal cutoff with 3 core PVC flexible wire leads complete duly tested and marking sr. no. and date of erection | 30.00 | NO |  | 7288.00 | 218640.00 | 5000.00 | 150000.00 | 4565.00 | 136950.00 | 4200.00 | 126000.00 | 126000.00 | damani enterprises
21.00 | Supplying, Installation, commissioning of pre-wired metal clad 16 gauge CRCA sheet distribution board cubical type 16 Way 415/500 V of approved make MCB, digital Energy Meter etc with suitable nos of neutral connection and housing the following as per single line diagram attached. Digital Energy Meter should be duly tested and callibrated by competent approving agency/MSEDCL as required 63 A TPN MCB-as Incommer-1 No 25/32 A DP MCB-as outdoing- 8 Nos The DB shall have necessary mounting arrangement on the wall/ floor as required. | 3.00 | NO |  | 132500.00 | 397500.00 | 105000.00 | 315000.00 | 14375.00 | 43125.00 | 6600.00 | 19800.00 | 19800.00 | damani enterprises
22.00 | Supplying, Installation, commissioning of pre-wired metal clad 16 gauge CRCA sheet distribution board cubical type 16 Way 415/500 V of approved make MCB, digital Energy Meter etc with suitable nos of neutral connection and housing the following as per single line diagram attached. Digital Energy Meter should be duly tested and callibrated by competent approving agency/MSEDCL as required 63 A TPN MCB-as Incommer-1 No 25/32 A DP MCB-as outdoing- 6 Nos The DB shall have necessary mounting arrangement on the wall/ floor as required. | 1.00 | NO |  | 132500.00 | 132500.00 | 140000.00 | 140000.00 | 13125.00 | 13125.00 | 7200.00 | 7200.00 | 7200.00 | damani enterprises
23.00 | Supplying, erecting & terminating XLPE armoured cable 3½ core 50 sq. mm. aluminium conductor with continuous 5.48 sq. mm. (12 SWG) G.I. earth wire complete erected with glands & lugs, on wall/ trusses/pole or laid in provided trench/ pipe | 440.00 | METER |  | 570.00 | 250800.00 | 450.00 | 198000.00 | 535.00 | 235400.00 | 540.00 | 237600.00 | 198000.00 | hind electricals
24.00 | Supply & erection of earth pit as per SOW and specifications. | 4.00 | NO |  | 33125.00 | 132500.00 | 7000.00 | 28000.00 | 21875.00 | 87500.00 | 6000.00 | 24000.00 | 24000.00 | damani enterprises
25.00 | Supply & installation of earthing stripp size 25mm x 5 mm | 40.00 | METER |  | 398.00 | 15920.00 | 150.00 | 6000.00 | 185.00 | 7400.00 | 120.00 | 4800.00 | 4800.00 | damani enterprises
26.00 | Supplying and erecting LED Flood light fitting of 30-40W, including lamp, with PF > 0.95,class IP 65 and above class IP 65 and above housing of pressure die cast aluminium alloy and heat sink extruded aluminium complete | 4.00 | NO |  | 1696.00 | 6784.00 | 4000.00 | 16000.00 | 5625.00 | 22500.00 | 2100.00 | 8400.00 | 6784.00 | sara enterprises
27.00 | Dismantling the existing light, fan, bell, clock, independent plug point, wiring including circuit mains of all types along with accessories etc. complete. | 1200.00 | NO |  | 99.00 | 118800.00 | 25.00 | 30000.00 | 190.00 | 228000.00 | 60.00 | 72000.00 | 30000.00 | hind electricals
28.00 | Providing & erecting 4 Pole MCCB upto 100A, 415V, with short circuit rating 25 kA (Ics=100% of Icu), adjustable thermal (overload) setting and fixed magnetic setting with provided leads, provision for installation of shunt/ UV/ trip alarm contact and MCCB should have phase barriers both sides, in provided enclosure on iron /GI frame | 4.00 | NO |  | 8613.00 | 34452.00 | 8000.00 | 32000.00 | 1540.00 | 6160.00 | 6000.00 | 24000.00 | 6160.00 | DHANSHREE ELECTRICALS
| Total in Figures |  |  |  |  | 4068065.00 |  | 4102775.00 |  | 5269015.00 |  | 3247050.00
Lowest Amount Quoted BY: damani enterprises(3247050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Revamping of electrical wiring of B C Type quarters at ONGC Colony Uran Tender ID: 2025_ONGC_225432_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | damani enterprises (BID ID -818495) | 3247050.00 | L1
| 2 | sara enterprises (BID ID -819962) | 4068065.00 | L2
| 3 | hind electricals (BID ID -819766) | 4102775.00 | L3
| 4 | DHANSHREE ELECTRICALS (BID ID -818004) | 5269015.00 | L4