## BoQ1
Government eProcurement System Created By: Ankit Kumar Created Date/Time: 03-Jun-2025 04:55 PM Tender Title: Automation of existing Fire Water Spray System at ONGC Uran Plant Tender ID: 2025_ONGC_226457_1
Tender Inviting Authority:
Name of Work: Automation of existing Fire Water Spray System at ONGC Uran Plant
Contract No: UP1AC25002
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CEASE FIRE EXTINGUISHERS AND SYSTEMS INDIA PVT LTD. (GSTN-27AACCC3726A1Z7) BID ID -830104 |  | Efficient Fire Security and Solutions Limited (GSTN-NA) BID ID -833933 |  | M/s.Mitra Contractors (GSTN-NA) BID ID -819101 |  | M/s. GOI ENGINEERS (GSTN-NA) BID ID -830771 |  | Hitek Engineering Services (GSTN-NA) BID ID -827949
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Material Cost
1.10 | Supply of 6" Size Skid Mounted Deluge Valve in SS Cabinet having UL/FM approval of complete Set as per Scope of Work | 5.00 | Nos. |  | 1438100.00 | 7190500.00 | 1794147.00 | 8970735.00 | 1522999.00 | 7614995.00 | 772200.00 | 3861000.00 | 800000.00 | 4000000.00 | 3861000.00 | M/s. GOI ENGINEERS
1.20 | Supply of Strainer along with 6" size Pipe for modification and upgradeation of Sprinkler System Network as per Scope of Work | 5.00 | Nos. |  | 84944.00 | 424720.00 | 193688.00 | 968440.00 | 75259.00 | 376295.00 | 63000.00 | 315000.00 | 200000.00 | 1000000.00 | 315000.00 | M/s. GOI ENGINEERS
1.30 | Supply of Armoured cable, Junction Box from Deluge Valve to Fire Control Room including 2" Pipe for undergroud laying from respective Deluge Valve Location to Fire Control Room | 5.00 | Nos. |  | 205960.00 | 1029800.00 | 764823.00 | 3824115.00 | 115259.00 | 576295.00 | 117000.00 | 585000.00 | 300000.00 | 1500000.00 | 576295.00 | M/s.Mitra Contractors
1.40 | Supply of digital linear heat detection cable with twisted pair low resistance, tri-metallic conductor with Nylon outer jacket along with Monitor Module, Release Module, Abort Switch and Manual Release, 1-loop Addressable Type Fire Alarm Control Panel with color Touch screen display | 5.00 | Nos. |  | 904045.00 | 4520225.00 | 464117.00 | 2320585.00 | 85029.00 | 425145.00 | 180000.00 | 900000.00 | 175000.00 | 875000.00 | 425145.00 | M/s.Mitra Contractors
2.00 | Service Cost
2.10 | Lumpsum Price for Fabrication, Installation, Commissioning of Deluge Valve, Strainers, Under ground Laying of Cables, Linear Heat Detection Cable, Fire Alarm Control Panel, UL Listed Software for calculation, etc as per Scope of Work on LSTK basis at one location. | 5.00 | Nos. |  | 735391.00 | 3676955.00 | 707690.00 | 3538450.00 | 102455.27 | 512276.35 | 216000.00 | 1080000.00 | 114859.00 | 574295.00 | 512276.35 | M/s.Mitra Contractors
| Total in Figures |  |  |  |  | 16842200.00 |  | 19622325.00 |  | 9505006.35 |  | 6741000.00 |  | 7949295.00
Lowest Amount Quoted BY: M/s. GOI ENGINEERS(6741000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Automation of existing Fire Water Spray System at ONGC Uran Plant Tender ID: 2025_ONGC_226457_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. GOI ENGINEERS (BID ID -830771) | 6741000.00 | L1
| 2 | Hitek Engineering Services (BID ID -827949) | 7949295.00 | L2
| 3 | M/s.Mitra Contractors (BID ID -819101) | 9505006.35 | L3
| 4 | CEASE FIRE EXTINGUISHERS AND SYSTEMS INDIA PVT LTD. (BID ID -830104) | 16842200.00 | L4
| 5 | Efficient Fire Security and Solutions Limited (BID ID -833933) | 19622325.00 | L5