## BoQ1
Government eProcurement System Created By: Kavita Kumari Meena Created Date/Time: 30-Jun-2025 03:52 PM Tender Title: Revamping of damaged heat tracing system at BPA and BPB Tender ID: 2025_ONGC_231863_2
Tender Inviting Authority: Oil and Natural Gas Corporation Limited, Mumbai
Name of Work: Revamping/Replacement of heat tracing system at BPA and heating tracing in BCPB1 and BCPB2 Fuel gas system at BPB
Tender No: QY1SC25004
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | V TECH OFFSHORE SERVICES PVT. LTD. (GSTN-NA) BID ID -848068 |  | Ctech Engineering Consulting supply and project company. (GSTN-NA) BID ID -849676
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Item description
1.10 | Self-Regulating Heat tracing cable, 230Vac, 20W/ft | 548.64 | meter |  | 2240.00 | 1376428.03 | 2600.00 | 1597639.68 | 1376428.03 | V TECH OFFSHORE SERVICES PVT. LTD.
1.20 | Thermal insulation (compatible with heat tracing) 1200 X 6 ft*ft | 7200.00 | ft*ft |  | 350.00 | 2822400.00 | 110.00 | 887040.00 | 887040.00 | Ctech Engineering Consulting supply and project company.
1.30 | Line sensing control thermostat with flameproof JB, (10-110Deg.C), contactor (20Amp) and thermostat relay & sensor – 10ft steel capillary | 60.00 | no |  | 14720.00 | 989184.00 | 25300.00 | 1700160.00 | 989184.00 | V TECH OFFSHORE SERVICES PVT. LTD.
1.40 | End Seal kit of heat tracing system (tolerance 150 degC) | 50.00 | no |  | 180.00 | 10080.00 | 200.00 | 11200.00 | 10080.00 | V TECH OFFSHORE SERVICES PVT. LTD.
1.50 | Thermal conductive paste (100gm) | 30.00 | tubes |  | 1920.00 | 64512.00 | 500.00 | 16800.00 | 16800.00 | Ctech Engineering Consulting supply and project company.
1.60 | Adhesive Aluminum tape (2.5’’ wide, 50m roll) | 50.00 | no |  | 640.00 | 35840.00 | 700.00 | 39200.00 | 35840.00 | V TECH OFFSHORE SERVICES PVT. LTD.
1.70 | Adhesive Rubber tape (2’’ wide, 20m) | 75.00 | roll |  | 640.00 | 53760.00 | 700.00 | 58800.00 | 53760.00 | V TECH OFFSHORE SERVICES PVT. LTD.
1.80 | Dismantiling of existing material at BPA | 1.00 | Lump sum |  | 635000.00 | 711200.00 | 400000.00 | 448000.00 | 448000.00 | Ctech Engineering Consulting supply and project company.
1.90 | Installtion and commisioning of new material at BPA | 1.00 | Lump sum |  | 635000.00 | 711200.00 | 650000.00 | 728000.00 | 711200.00 | V TECH OFFSHORE SERVICES PVT. LTD.
2.10 | Heat tracing cable Self regulating heat tracing cable 240Vac, 9W/m, with termination kit | 300.00 | meter |  | 2240.00 | 752640.00 | 900.00 | 302400.00 | 302400.00 | Ctech Engineering Consulting supply and project company.
2.20 | Heat tracing cable Self regulating heat tracing cable 240Vac, 32W/m, with termination kit | 650.00 | meter |  | 2240.00 | 1630720.00 | 900.00 | 655200.00 | 655200.00 | Ctech Engineering Consulting supply and project company.
2.30 | Heat tracing cable Self regulating heat tracing cable 240Vac, 24W/m, with termination kit | 50.00 | meter |  | 2240.00 | 125440.00 | 900.00 | 50400.00 | 50400.00 | Ctech Engineering Consulting supply and project company.
2.40 | Heat tracing cable Self regulating EL. Heating cable, 240Vac, 50Hz, 36W/m, with termination kit | 125.00 | meter |  | 2240.00 | 313600.00 | 1100.00 | 154000.00 | 154000.00 | Ctech Engineering Consulting supply and project company.
2.50 | Thermostat Voltage: 120-270Vac, 30A Temperature range: 0 to 250OF Bulb dimensions-1/4” x 6-3/8” (6.4 x 162 mm) Bulb material -nickel-plated copper Capillary length-6’ (1.8 m) Capillary material-nickel-plated copper Capillary armor -flexible stainless stee | 25.00 | nos |  | 14720.00 | 412160.00 | 1100.00 | 30800.00 | 30800.00 | Ctech Engineering Consulting supply and project company.
2.60 | Thermostat Voltage: 250Vac, 30A Temperature range: 0 to 250OF Bulb dimensions-1/4” x 6-3/8” (6.4 x 162 mm) Bulb material -nickel-plated copper Capillary length-6’ (1.8 m) Capillary material-nickel-plated copper Capillary armor -flexible stainless stee | 4.00 | nos |  | 14720.00 | 65945.60 | 1100.00 | 4928.00 | 4928.00 | Ctech Engineering Consulting supply and project company.
2.70 | LCS with selector switch Ex-d zone-1, IP-66, 3 position ‘Hand-Off-Auto’ switch, 3 nos of ¾ ET cable entry Material: SS 304/ SS 316 Area classification: Gas Group IIA & IIB | 47.00 | nos |  | 10864.00 | 571880.96 | 16800.00 | 884352.00 | 571880.96 | V TECH OFFSHORE SERVICES PVT. LTD.
2.80 | Junction box Ex-d zone-I, Gas group IIA & IIB, IP-66, 2 nos ¾” ET (F) and 1 nos 1” ET (F) cable entry. Material: SS 304/ SS 316 | 63.00 | nos |  | 13600.00 | 959616.00 | 3500.00 | 246960.00 | 246960.00 | Ctech Engineering Consulting supply and project company.
2.90 | Main Distribution board for BCP-B2 Incoming feeder, outgoing feeder consisting of MCCB, MCB, RCBO, Indication lamps, CT, Ammeters, Voltmeters, Selector Switches Material: SS 304/ SS 316 Type of enclosure: Ex-d, Zone-I Area Classification: Gas Group IIA & IIB | 2.00 | lot |  | 760000.00 | 1702400.00 | 1700000.00 | 3808000.00 | 1702400.00 | V TECH OFFSHORE SERVICES PVT. LTD.
3.00 | Glands (M20, M25, ¾” ET, 1” ET, ½” NPT, ¾” NPT etc) Gas group IIA & IIB, Armoured cable Material: SS | 1.00 | Lump sum |  | 1280.00 | 1433.60 | 80000.00 | 89600.00 | 1433.60 | V TECH OFFSHORE SERVICES PVT. LTD.
3.10 | Heat tracing cable glands (PG 16 Raychem C1629 or equivalent is acceptable) | 1.00 | Lump sum |  | 65000.00 | 72800.00 | 75000.00 | 84000.00 | 72800.00 | V TECH OFFSHORE SERVICES PVT. LTD.
3.20 | Thermal insulation (compatible with heat tracing) | 2798.00 | sq ft |  | 350.00 | 1096816.00 | 120.00 | 376051.20 | 376051.20 | Ctech Engineering Consulting supply and project company.
3.30 | Thermal conductive paste (100gm) | 1.00 | lump sum |  | 2000.00 | 2240.00 | 15000.00 | 16800.00 | 2240.00 | V TECH OFFSHORE SERVICES PVT. LTD.
3.40 | Adhesive Aluminum tape (2.5’’ wide, 50m roll) | 1.00 | lump sum |  | 640.00 | 716.80 | 10000.00 | 11200.00 | 716.80 | V TECH OFFSHORE SERVICES PVT. LTD.
3.50 | Adhesive Rubber tape (2’’ wide, 20m) | 1.00 | lump sum |  | 640.00 | 716.80 | 5999.00 | 6718.88 | 716.80 | V TECH OFFSHORE SERVICES PVT. LTD.
3.60 | Dismantiling of existing material BPB | 1.00 | Lump sum |  | 635000.00 | 711200.00 | 400000.00 | 448000.00 | 448000.00 | Ctech Engineering Consulting supply and project company.
3.70 | Installtion and commisioning of new material BPB | 1.00 | Lump sum |  | 653000.00 | 731360.00 | 800000.00 | 896000.00 | 731360.00 | V TECH OFFSHORE SERVICES PVT. LTD.
| Total in Figures |  |  |  |  | 15926289.79 |  | 13552249.76
Lowest Amount Quoted BY: Ctech Engineering Consulting supply and project company.(13552249.76)

## BOQ Summary
BOQ Summary Details Tender Title: Revamping of damaged heat tracing system at BPA and BPB Tender ID: 2025_ONGC_231863_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ctech Engineering Consulting supply and project company. (BID ID -849676) | 13552249.76 | L1
| 2 | V TECH OFFSHORE SERVICES PVT. LTD. (BID ID -848068) | 15926289.79 | L2