## BoQ1
Government eProcurement System Created By: Ajit Kumar Created Date/Time: 02-Jun-2025 03:54 PM Tender Title: Testing and Calibration of Protective Relays at Surface Installations under Rajahmundry Asset Tender ID: 2025_ONGC_235421_1
Tender Inviting Authority: Electrical Maintenance- FMP, ONGC Rajahmundry Asset
Name of Work: Calibration of Protective Relays at Surface Installations under Rajahmundry Asset
Tender No: KY1AL25005
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY (GSTN-37BTWPC0647P1ZY) BID ID -855960 |  | Laxmi Associates (GSTN-NA) BID ID -854000
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Relays for Calibration & Testing
1.00 | Over Current Relay, EE Make, Model:CDV62EG213A, S.No: 93071163001, 100-110V DC, 2.5-10A, NV:250V AC, U/V:150VAC | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Over Current Relay, EE Make, Model:CDG11AF002SA(M), S.No: 93124426004, 110V DC, 0.5-2 A | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Reverse Power Relay-1, EE Make, Model:CCUM21PF162A, 110V DC, 5A,110V | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Inst. Overvoltage Relay, EE Make, Model:VAGM22AF71C, S.No: 93103337003, 110V DC, 121-154V | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.00 | Inst. Undervoltage Relay, EE Make, Model:VAGM22AF171G, 110V DC, 44-88V | 3.00 | Nos |  | 600.00 | 2124.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Inst. Earth Fault Relay, EE Make, Model:CAG14AF15A, 110V DC, 0.5-2A | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Trip Circuit Supervision Relay, EE Make, Model:VAX31ZG8074B(M), S.No: 91040983016, 110V DC | 5.00 | Nos |  | 400.00 | 2360.00 | 600.00 | 3540.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Tripping Relay, EE Make, Model:VAJH13YF61A, S.No: 91031093006, 110V DC | 5.00 | Nos |  | 400.00 | 2360.00 | 600.00 | 3540.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Undervoltage Relay, EE Make, Model:VAG11YF8011H(M), S.No: 91030693001, 110V DC | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Over Current Relay, EE Make, Model:CDG31FF012SB(M), 110V DC, 2.5-10A/0.5-2A | 8.00 | Nos |  | 600.00 | 5664.00 | 600.00 | 5664.00 | 5664.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Earth Fault Relay, EE Make, Model:CDG31FF012SB(M), 110V DC, 2.5-10A/0.5-2A | 4.00 | Nos |  | 600.00 | 2832.00 | 600.00 | 2832.00 | 2832.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Definite Time Relay, EE Make, Model:VTT11ZG8195B(M), S.No: 91030753001, 110V DC | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Auxilary relay, EE Make, Model:VAA11HF8402F(M), S.No: 99088797074, 110/250V DC | 1.00 | Nos |  | 300.00 | 354.00 | 600.00 | 708.00 | 354.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | Over Current Relay, EE Make, Model:CDG31EG0011SA(M), 110V DC, 2.5-10A | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.01 | EarthFault Relay, EE Make, Model:CDG31EG0011SA(M), S.No: 98412648002, 110V DC, 1-4 A | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Auxilary relay1(Xmer Alarm Relay), EE Make, Model:VAA22ZG8015B(M), 110V DC | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Over Current Relay, EE Make, Model:CDG61EG006ZR(M), S.No: 90082343001, 110V DC, OC:2.5-10A, EF:1-4A | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Earth Fault Relay, EE Make, Model:CDG61EG006ZR(M), S.No: 90082343001, 110V DC, OC:2.5-10A, EF:1-4A | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Earth Leakage Relay, PROK-dv's Make, Model:EL02, 85-275V AC/DC | 5.00 | Nos |  | 400.00 | 2360.00 | 600.00 | 3540.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Phase failure relay with variable under and over voltage cutout, Make-Minilec | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Bucholz Relay, 110V DC | 1.00 | Nos |  | 400.00 | 472.00 | 600.00 | 708.00 | 472.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.02 | Synchronization Relay, CSPC Make Model SR-1 | 1.00 | Nos |  | 800.00 | 944.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.02 | Synchronization Relay, SYM Make | 1.00 | Nos |  | 800.00 | 944.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.02 | OC,SC, Earth Fault Relays, L&T Make ACB, UW-MTX1.5G, 230V AC | 1.00 | Nos |  | 2000.00 | 2360.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.02 | OC,SC, Earth Fault Relays, GE- MPACT ACB, 230V AC | 4.00 | Nos |  | 2000.00 | 9440.00 | 600.00 | 2832.00 | 2832.00 | Laxmi Associates
1.03 | OC,SC, Earth Fault Relays, MERLIN GERIN ACB, 230V AC | 1.00 | Nos |  | 2000.00 | 2360.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.03 | Motor Over Load Relays, L&T/ABB/Schnieder Make: Range varying from 1-50A | 5.00 | Nos |  | 500.00 | 2950.00 | 600.00 | 3540.00 | 2950.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Inst. Undervoltage Relay-1, AREVA Make, Model:VAGM22AF171G, 110V DC, CTR: 630/1A, 44-88 V | 8.00 | Nos |  | 1000.00 | 9440.00 | 600.00 | 5664.00 | 5664.00 | Laxmi Associates
1.03 | Tripping Relay, AREVA Make, Model:VAJH13YF8014ACH, 110V DC | 3.00 | Nos |  | 600.00 | 2124.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.03 | Definite Time Relay, AREVA Make, Model:VAG11YF8050LCH, 110V AC | 5.00 | Nos |  | 800.00 | 4720.00 | 600.00 | 3540.00 | 3540.00 | Laxmi Associates
1.03 | Control relay, AREVA Make, Model:VAJC11BF802BCH, 110-125 V AC | 3.00 | Nos |  | 800.00 | 2832.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates
1.03 | Sensitive Earth Fault Relay, AREVA Make, Model:CTUM15AF002A, 110-250V AC/DC, CTR 60/1 A | 31.00 | Nos |  | 800.00 | 29264.00 | 600.00 | 21948.00 | 21948.00 | Laxmi Associates
1.03 | Check Sychronising relay, AREVA Make, Model:SKE11BF8041BCH, S.No: 31050501, 48-500V DC, Rated 63.5/110V | 1.00 | Nos |  | 1200.00 | 1416.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.03 | OC,SC, Earth Fault Relays, MERLIN GERIN ACB, 230V AC | 2.00 | Nos |  | 2000.00 | 4720.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates
1.03 | Motor Over Load Relays L&T/ABB/Schnieder Make Range varying from 1-50A | 15.00 | Nos |  | 500.00 | 8850.00 | 600.00 | 10620.00 | 8850.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Earth Leakage Relay, Protime Make, Model:ELR96 | 14.00 | Nos |  | 500.00 | 8260.00 | 600.00 | 9912.00 | 8260.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Alternator Protection Control Panel, EASY GEN 3500-5 WOODWARD MAKE, 24V DC | 5.00 | Nos |  | 1500.00 | 8850.00 | 600.00 | 3540.00 | 3540.00 | Laxmi Associates
1.04 | OC,SC, Earth Fault Relays, L&T Make ACB, UW-MTX1.5G, 230V AC | 7.00 | Nos |  | 2000.00 | 16520.00 | 600.00 | 4956.00 | 4956.00 | Laxmi Associates
1.04 | OC,SC, Earth Fault Relays, ABB Make ACB SACE PR121/P, 8-36 V DC | 3.00 | Nos |  | 2000.00 | 7080.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates
1.04 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Auxilary Relay, Alstom Make, Model:VAA11YF8407ECH, S.No: 130172220116001, 110/250V AC/DC | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | OC, SC, Earth Fault Relays, GE MPACT ACB, 230V AC | 1.00 | Nos |  | 2000.00 | 2360.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.04 | Motor Over Load Relays, L&T/ABB/Schnieder Make Range varying from 1-50A | 30.00 | Nos |  | 500.00 | 17700.00 | 600.00 | 21240.00 | 17700.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Earth Leakage Relay, PROK-dv's Make, Model:EL02, 85-275V AC/DC | 15.00 | Nos |  | 500.00 | 8850.00 | 600.00 | 10620.00 | 8850.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.04 | Earth Leakage Relay, NAGOBA Make Model:EL01 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, NAGOBA Make Model:EL02 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Fault Relay Module, L&T Make, Model:GF2 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Fault Relay Module, L&T Make, Model:GF3 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | OC, SC, Earth Fault Relays, GE- MPACT ACB | 1.00 | Nos |  | 2000.00 | 2360.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.05 | Motor Over Load Relays, L&T/ABB/Schnieder Make Range varying from 1-50A | 20.00 | Nos |  | 500.00 | 11800.00 | 600.00 | 14160.00 | 11800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, ALSTOM Make | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | BPCL B MOTPRO RELAY, ALSTOM Make MCHNM | 1.00 | Nos |  | 1200.00 | 1416.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.05 | Earth Leakage Relay, PROK-dv's Make, Model:EL02, 85-275V AC/DC | 4.00 | Nos |  | 500.00 | 2360.00 | 600.00 | 2832.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, PROK-dv's Make | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.05 | Earth Leakage Relay, PROK-dv's Make | 10.00 | Nos |  | 500.00 | 5900.00 | 600.00 | 7080.00 | 5900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Earth Leakage Relay, PROK-dv's Make | 11.00 | Nos |  | 500.00 | 6490.00 | 600.00 | 7788.00 | 6490.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load relay, Make: Siemens, | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Auxiliary Relay Make L&T- MO-TA4, RTO-37-49A | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 7.5 KW, DOL, SCHNEIDER ,LRD 16 RANGE :9-13 AMPS,B600R 300,CLASS 10A | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 3.75 KW, DOL, SCHNEIDER ,LRD 14 RANGE :7-10 AMPS,B600R 300,CLASS 10A | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 3.75 KW, DOL, SCHNEIDER ,LRD 16 RANGE :7-10 AMPS,B600R 300,CLASS 10A | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 5.5 KW, DOL, SCHNEIDER ,LRD 16 RANGE :9-13 AMPS,B600R 300,CLASS 10A | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 0.75 KW, DOL, SCHNEIDER ,LRD 07 RANGE :1.62-2.5 AMPS,B600R 300,CLASS 10A | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 25 HP, ATS STARTER, L&T, RANGE 30-50 | 9.00 | Nos |  | 500.00 | 5310.00 | 600.00 | 6372.00 | 5310.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.06 | Over Load Relay, 20 HP, DOL, L&T, RANGE 20-30 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 10 HP, DOL, L&T, RANGE 09-15 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 10 HP, DOL, L&T, RANGE 20-30 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 7.5 HP, DOL, L&T, RANGE 09-15 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 20 HP, DOL, L&T, RANGE 20-33 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 10 HP, DOL, L&T, RANGE 09-15 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 7.5 HP, DOL, L&T, RANGE 09-15 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, SCHNEIDER ,LRE 03, RANGE :37-50 AMPS. | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | OWS MOTOR STARTER 20hp 1 no , 10 hp 3nos OLR | 4.00 | Nos |  | 500.00 | 2360.00 | 600.00 | 2832.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | MCC ROOM KOD MOTOR STARTER SCHENIDER OLR 6-24A | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.07 | Over Load Relay, 0.37 KW, DOL, SCHNEIDER ,LRD 06 RANGE :1-1.6 AMPS,B600R 300,CLASS 10A | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Over Load Relay, 1.5 KW, DOL, SCHNEIDER ,LRD 10 RANGE :4-6 AMPS,B600R 300,CLASS 10A | 4.00 | Nos |  | 500.00 | 2360.00 | 600.00 | 2832.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | 50 HP air compresssor SCHNEIDER 37-50A OLR | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Air Compressor Phase Sequence Relay, Make Minilec, S2 VMR3 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Over Load Relay, 75 HP, ATS STARTER, SIEMENS, RANGE 85-135 AMPS. | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Neutral Displacement Relay TYPE VDG ALSTOM MAKE | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Voltage monitoring relay make minilec | 3.00 | Nos |  | 600.00 | 2124.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2, Type/ ART No.- JRV-402-2 | 2.00 | Nos |  | 600.00 | 1416.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.08 | SCHNEIDER 800A ACB (380KVA ALTERNATOR) with LSI protection | 1.00 | Nos |  | 2000.00 | 2360.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.08 | ABB SACE E1N 08 800A ACB(170KVA GG AND ETP FEEDER) with LSIG protection | 2.00 | Nos |  | 2000.00 | 4720.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates
1.08 | 380 kva gg auxillary pump motors OLR 25HP -1 NO, 3 HP -1 NO ,1.5HP- 3 NO | 5.00 | Nos |  | 500.00 | 2950.00 | 600.00 | 3540.00 | 2950.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | NGR RELAY MAKE SP ENTERPRISE | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Earth Leakage Relay, PROK dv's Make | 64.00 | Nos |  | 600.00 | 45312.00 | 600.00 | 45312.00 | 45312.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Dosing motors starters OLR | 12.00 | Nos |  | 600.00 | 8496.00 | 600.00 | 8496.00 | 8496.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay, AUTO TR., L&T,30--50 AMPS | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay,5HP DOL | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay, DOL, L&T22-32 AMPS | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Earth Leakage Relay, PROK dv's/NEGOBA Make, AB042001(230 VOLT,AC | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Over Load Relay DOL-3,ATS-2 | 5.00 | Nos |  | 400.00 | 2360.00 | 600.00 | 3540.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | NGR RELAY SP ENTERPRISE | 2.00 | Nos |  | 400.00 | 944.00 | 600.00 | 1416.00 | 944.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.09 | Earth Leakage Relay, Nagoba Electrical,PROK dv's Make | 5.00 | Nos |  | 400.00 | 2360.00 | 600.00 | 3540.00 | 2360.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Earth Leakage Relay, PROK-dv'sMake | 17.00 | Nos |  | 500.00 | 10030.00 | 600.00 | 12036.00 | 10030.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Breaker Multiple Relay, VAJM Make, Model VAJC11BF8402BCH, Supply 110VAC | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | DMT Sensitive Earth Fault Relay, CTUM Make, Model CTUM15AF002A, Supply 110-250VAC | 27.00 | Nos |  | 900.00 | 28674.00 | 600.00 | 19116.00 | 19116.00 | Laxmi Associates
1.10 | Under Voltage Relay, VAGM Make, Model VAGM22AF171G, Supply 110VAC | 7.00 | Nos |  | 700.00 | 5782.00 | 600.00 | 4956.00 | 4956.00 | Laxmi Associates
1.10 | Timer Relay, VTT Make, Model VTT11ZG8050 LCH, Supply 110VAC | 5.00 | Nos |  | 600.00 | 3540.00 | 600.00 | 3540.00 | 3540.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Lockout Relay, VAJ Make, Model VAJH13YF8015ACH, SR. No. 31060774, Supply 110VAC | 3.00 | Nos |  | 400.00 | 1416.00 | 600.00 | 2124.00 | 1416.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.10 | Synchro check Relay, SKE Make, Model SKE11BF0A1BCH, SR. No. 31050498, Supply 48-50DC | 1.00 | Nos |  | 1000.00 | 1180.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.10 | MFM Meter, Schneider Make, Model PM710MGCA, SR. No. 4905f526 & 4936406cSupply Supply 110-415V | 2.00 | Nos |  | 1000.00 | 2360.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates
1.10 | Earth Fault Relay, NAGOBA Make | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Multi function meter, Emgis make, Old plant | 1.00 | Nos |  | 1000.00 | 1180.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates
1.11 | Neutral Displacement Relay | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Prok dv's Make, EL- 02/03/05 | 18.00 | Nos |  | 500.00 | 10620.00 | 600.00 | 12744.00 | 10620.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Earthing Resistor Monitoring Relay, Make - JVS Electronics, Type/ ART No.- JRV-402-2 | 2.00 | Nos |  | 1000.00 | 2360.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates
1.11 | Overload relay, 2-3.5A, Air compressors | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Overload relay, 17.4-24A, Jockey pumps | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Overload relay, 6-10A, Loading pump | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Over load relay, 15-75A, Effluent pump | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.11 | Neutral Earthing Resistor Monitoring Relay, Make - JVS, Electronics, Type/ ART No.- JRV-402-2, Type/ ART No.- JRV-402-2 | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Earth Leakage Relay, GIC/Prok dv's/NAGOBA Make | 20.00 | Nos |  | 500.00 | 11800.00 | 600.00 | 14160.00 | 11800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx32, (9A-15A)Booster pump 1 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (9A-15A)Booster pump 2 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (9A-15A) Air compressor1 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (9A-15A) Air compressor2 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (4.5-7.5A) loading pump | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx2, (0.9A-1.5A) dosing motors | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Over load relay, L&T MNx25, (30-40A) Jockey pump | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Earth Leakage Relay, Prok dv's Make, EL- 02/03/05 | 33.00 | Nos |  | 600.00 | 23364.00 | 600.00 | 23364.00 | 23364.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.12 | Neutral Earthing Resistor Monitoring Relay, Make - JVS, Electronics, Type/ ART No.- JRV-402-2, Type/ ART No.- JRV-402-2 | 2.00 | Nos |  | 1000.00 | 2360.00 | 600.00 | 1416.00 | 1416.00 | Laxmi Associates
1.13 | Overload rely, 9-14A, Air compressors | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload relay,20-30A, Jockey pump | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload relay, 12-18A , KOD motor | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Over volt relay, minilec, Booster pumps | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Overload relay, 12-18A, Booster pumps | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Earth fault relay, D2 EFR1, minilec, Booster pumps | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Over Voltage Relay,Air Compressor03 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Phase Sequence Relay, Make Minilec, S2 VMR3, Air Compressor03 make Atlas Copco | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Main MCC Room Earth Leakage Relay, Prok dv's Make, EL- 01/02/03/05 | 38.00 | Nos |  | 500.00 | 22420.00 | 600.00 | 26904.00 | 22420.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.13 | Neutral Dispalcement Relay Type VDG, V- (24-250 VAC) Make- ALSTOM, VDG14AF9111ACH 33472860/10/15 | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | PIC realys(ELR-01, 50-500mA)(Reverse power-01)(Over volt relay-01) in GG1 panel | 3.00 | Nos |  | 600.00 | 2124.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | PIC realys(ELR-01, 30-300mA)(Reverse power-01)(Over volt relay-01) in GG2 panel | 3.00 | Nos |  | 600.00 | 2124.00 | 600.00 | 2124.00 | 2124.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Thermal Overload Relay, MN12, Make L&T, No.- 160971, (90 KW TPK Pump 2)(3-5A) | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Thermal Overload Relay, MN2, Make L&T, No.- 1531157, (90 KW TPK Pump 2)(4.5-7.5A) | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Over voltage Relay & Undervoltage Relay, S2 VMR3, 18.5 KW VFD | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Earth Leakage Relay, S2 CMR4, 18.5 KW VFD | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Over Voltage Relay, Make-L&T, No. LRD3355, Air Compressor 1 | 1.00 | Nos |  | 600.00 | 708.00 | 600.00 | 708.00 | 708.00 | Laxmi Associates, SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Phase Sequence Relay, Make Minilec, S2 VMR3, Air Compressor 1 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Over Voltage Relay, Make-L&T, No. LRD3045, Air Compressor 2 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.14 | Phase Sequence Relay, Make Minilec, S2 VMR3, Air Compressor 2 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | Over load relay, 30-40A, Air compressor 1&2 | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | Over load relay, 48-65A, Air compressor 3 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | Overvoltage Relay, Undervoltage Relay, Make- Minilec, Model- ALV D2, Jockey Pump 1 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | Overvoltage Relay, Undervoltage Relay, Make- Minilec, Model- ALV D2, Jockey Pump 2 | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | 500 KVA GG 1, NGR Tripping Relay with Earth Fault , make- S.P. Enterprises, ELF1A | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | 500 KVA GG 1, NGR Tripping Relay with Earth Fault , make- S.P. Enterprises, ELF1A | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | 380 KVA GG 1, NGR Tripping Relay with Earth Fault , make- S.P. Enterprises, ELF1A | 1.00 | Nos |  | 500.00 | 590.00 | 600.00 | 708.00 | 590.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | ETP MCC ROOM Earth Leakage Relay, Prok dv's Make, ELSPL-MA | 20.00 | Nos |  | 500.00 | 11800.00 | 600.00 | 14160.00 | 11800.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | ETP MCC ROOM, OLR-06-1.0 to 1.6 A | 13.00 | Nos |  | 500.00 | 7670.00 | 600.00 | 9204.00 | 7670.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.15 | ETP MCC ROOM, OLR-08-2.5 to 4 A | 10.00 | Nos |  | 500.00 | 5900.00 | 600.00 | 7080.00 | 5900.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR-07-1.6 to 2.5 A | 6.00 | Nos |  | 500.00 | 3540.00 | 600.00 | 4248.00 | 3540.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR, 188 to 300 Amps | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR-10- 4 to 6 A | 3.00 | Nos |  | 500.00 | 1770.00 | 600.00 | 2124.00 | 1770.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR-14 - 7 to 10 A | 6.00 | Nos |  | 500.00 | 3540.00 | 600.00 | 4248.00 | 3540.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR-16 - 9 to 13 A | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR-12 - 5.5 to 8 A | 2.00 | Nos |  | 500.00 | 1180.00 | 600.00 | 1416.00 | 1180.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
1.16 | ETP MCC ROOM, OLR-21 - 12 to 18 A | 5.00 | Nos |  | 510.00 | 3009.00 | 600.00 | 3540.00 | 3009.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
2.00 | Replacement of Malfunctioning Relays
2.01 | Providing, fixing, connecting, and testing of new ELR with CBCT and necessary accessories. Make Prok dv or equivalent | 10.00 | Nos |  | 5000.00 | 59000.00 | 12440.00 | 146792.00 | 59000.00 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY
| Total in Figures |  |  |  |  | 599853.00 |  | 672128.00
Lowest Amount Quoted BY: SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY(599853.00)

## BOQ Summary
BOQ Summary Details Tender Title: Testing and Calibration of Protective Relays at Surface Installations under Rajahmundry Asset Tender ID: 2025_ONGC_235421_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SUNRISE ELECTRICAL SERVICES AND TESTING AGENCY (BID ID -855960) | 599853.00 | L1
| 2 | Laxmi Associates (BID ID -854000) | 672128.00 | L2