## BoQ1
Government eProcurement System Created By: SOORAJ P S Created Date/Time: 11-Aug-2025 04:20 PM Tender Title: Supply Installation testing commissioning of 03 Nos 30 Mtr. High Mast 06 Nos 20 Mtr. High Mast Lighting System at ONGC Uran Plant Main Store CISF Barrack Uran Tender ID: 2025_ONGC_238895_1
Tender Inviting Authority:
Name of Work:Supply, Installation, testing & commissioning of 03 No’s 30 Mtr. High Mast & 06 No’s 20 Mtr. High Mast Lighting System at ONGC Uran Plant, Main Store & CISF Barrack Uran
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ENERGYGREEN TECHNOPOWER PVT LTD (GSTN-23AAECE7344J1ZM) BID ID -865116 |  | Bajaj Electricals Limited (GSTN-27AAACB2484Q1Z8) BID ID -868829 |  | WM Energy and Lighting Pvt Ltd. (GSTN-09AADCV1649Q1ZM) BID ID -869737 |  | ANU ELECTRICALS (GSTN-29AKWPM5631P1Z2) BID ID -870069 |  | elektron (GSTN-09AAFFE6230P1Z2) BID ID -870982 |  | Utkarsh India Limited (GSTN-19AAACW4982C1Z6) BID ID -871441 |  | Gaurav Electricals (GSTN-NA) BID ID -870459 |  | DAMANI ENTERPRISES (GSTN-NA) BID ID -869006 |  | Vishal Technopower Private Limited (GSTN-NA) BID ID -871432 |  | Pyrotech technologies Pvt. Ltd. (GSTN-NA) BID ID -871438 |  | MANKHA ELECTROTECH PRIVATE LIMITED (GSTN-NA) BID ID -870493
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 30 M high mast shaft in three sections suitable for 44 m/sec wind speed as per IS: 875 part-III, with head frame, winch mounting bracket, luminaries carriage suitable to install 9 nos 500 W LED Flood light luminaries in symmetrical arrangement, with raising lowering system comprising double drum winch, 6 mm diameter SS wire rope, trailing cable, suitable flameproof plug-socket arrangement shall be provided at the base compartment of the mast, trailing cables shall have FLP plugs connected at the bottom end. connector, integral power tool motor, manual handle, junction box, lightening finial, wiring with suitable flexible copper cable from JB to individual luminaire & MCB in base compartment , complete as required including all labour & materials and as per Scope of work and approved design drawings & Specifications and directions of Engineer-in-charge. | 3.00 | Nos |  | 411075.00 | 1370250.00 | 261500.00 | 934500.00 | 341857.80 | 1159173.00 | 451000.00 | 1383000.00 | 380000.00 | 1170000.00 | 272450.00 | 943350.00 | 388500.00 | 1279500.00 | 270000.00 | 846000.00 | 337730.00 | 1058190.00 | 322018.00 | 1034814.00 | 272800.00 | 890400.00 | 846000.00 | DAMANI ENTERPRISES
2.00 | SITC of 20 M high mast shaft in two sections suitable for 44 m/sec wind speed as per IS: 875 part-III, with head frame, winch mounting bracket, luminaries carriage suitable to install 9 nos 250 W LED Flood light luminaries in symmetrical arrangement, with raising lowering system comprising double drum winch, 6 mm diameter SS wire rope, trailing cable, suitable flameproof plug-socket arrangement shall be provided at the base compartment of the mast, trailing cables shall have FLP plugs connected at the bottom end. connector, integral power tool motor, manual handle, junction box, lightening finial, wiring with suitable flexible copper cable from JB to individual luminaire & MCB in base compartment , complete as required including all labour & materials and as per Scope of work and approved design drawings & Specifications and directions of Engineer-in-charge. | 6.00 | Nos |  | 287100.00 | 1914000.00 | 165500.00 | 1218000.00 | 191885.70 | 1418513.40 | 280000.00 | 1740000.00 | 240000.00 | 1500000.00 | 193250.00 | 1389900.00 | 247500.00 | 1713000.00 | 132000.00 | 846000.00 | 236580.00 | 1479480.00 | 182450.00 | 1218480.00 | 141360.00 | 981360.00 | 846000.00 | DAMANI ENTERPRISES
3.00 | Supply & Installation of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. | 9.00 | Set |  | 15660.00 | 156600.00 | 10828.00 | 97452.00 | 13098.00 | 117882.00 | 25000.00 | 252000.00 | 21000.00 | 193500.00 | 12700.00 | 130500.00 | 7500.00 | 85500.00 | 9000.00 | 83700.00 | 12000.00 | 135000.00 | 20380.00 | 183420.00 | 7800.00 | 73170.00 | 73170.00 | MANKHA ELECTROTECH PRIVATE LIMITED
4.00 | Supply & Installation of new age 500 W LED floodlight fitting with LED lights suitable for HM fitting as per specification/SOW | 27.00 | Nos |  | 10440.00 | 313200.00 | 15000.00 | 405000.00 | 10740.36 | 314744.94 | 19000.00 | 526500.00 | 17415.00 | 481005.00 | 21250.00 | 601290.00 | 19400.00 | 537300.00 | 21000.00 | 575100.00 | 11900.00 | 334800.00 | 13220.00 | 373950.00 | 12000.00 | 335340.00 | 313200.00 | ENERGYGREEN TECHNOPOWER PVT LTD
5.00 | Supply & Installation of new age 250 W LED floodlight fitting with LED lights suitable for HM fitting as per specification/SOW | 54.00 | Nos |  | 7830.00 | 469800.00 | 6900.00 | 372600.00 | 4911.75 | 311208.48 | 15000.00 | 837000.00 | 7830.00 | 439020.00 | 9375.00 | 554850.00 | 8500.00 | 486000.00 | 9000.00 | 502200.00 | 5950.00 | 332100.00 | 3830.00 | 234360.00 | 6000.00 | 346680.00 | 234360.00 | Pyrotech technologies Pvt. Ltd.
6.00 | Supply & Installation of new age LED single doom aviation light fitting with LED lights suitable for HM fitting as per specification /SOW ( 02 no's fitting in each mast) | 18.00 | Nos |  | 2610.00 | 52200.00 | 1780.00 | 32040.00 | 4584.30 | 94305.60 | 3000.00 | 63000.00 | 2322.00 | 43596.00 | 2500.00 | 55800.00 | 2500.00 | 48600.00 | 2100.00 | 38340.00 | 1785.00 | 34830.00 | 7100.00 | 135000.00 | 3030.00 | 57240.00 | 32040.00 | Bajaj Electricals Limited
7.00 | SITC of FLP Feeder panel housing suitable control circuit for operation of the mast lights. It shall also consist of suitable control for the power tool motor as per scope of work and specification complete with all necessary civil works for installation . | 6.00 | Nos |  | 71775.00 | 474900.00 | 66763.00 | 435378.00 | 79242.90 | 510822.00 | 60000.00 | 378000.00 | 113520.00 | 705120.00 | 193750.00 | 1194900.00 | 58000.00 | 378000.00 | 150000.00 | 918000.00 | 71400.00 | 443400.00 | 108310.00 | 697980.00 | 150000.00 | 990000.00 | 378000.00 | ANU ELECTRICALS, Gaurav Electricals
8.00 | SITC of Non-FLP Feeder panel housing suitable control circuit for operation of the mast lights. It shall also consist of suitable control for the power tool motor as per scope of work and specification complete with all necessary civil works for installation | 3.00 | Nos |  | 32625.00 | 108750.00 | 23616.00 | 88248.00 | 30780.30 | 100199.70 | 50000.00 | 159000.00 | 24510.00 | 78030.00 | 43750.00 | 143850.00 | 35000.00 | 114000.00 | 18000.00 | 58500.00 | 35700.00 | 114600.00 | 44600.00 | 157860.00 | 23100.00 | 76500.00 | 58500.00 | DAMANI ENTERPRISES
9.00 | Design and casting of suitable Cement Concrete foundation with M-20 concrete for high mast considering the safe soil bearing capacity at site as 05 T / Sq. mtr. at 2 mtrs. depth as per approved designs and the relevant standards. | 9.00 | Nos |  | 156600.00 | 1566000.00 | 0.00 | 1125000.00 | 0.00 | 1296702.00 | 73000.00 | 702000.00 | 90000.00 | 900000.00 | 75000.00 | 1026000.00 | 65000.00 | 873000.00 | 36000.00 | 351000.00 | 0.00 | 925497.00 | 50970.00 | 974430.00 | 80007.00 | 749763.00 | 351000.00 | DAMANI ENTERPRISES
10.00 | Supplying and erecting pipe type earthing with 40 mm diameter 2.5 mtrs. long G.I. pipe and GI plate 60cmx60cmx4mm including supply of G.I. Strip of 25mmX5mm size of approximate 5 mtrs. Length complete with necessary hardware, erected and connected to nearest switchgears/Earth terminal and duly tested using charcoal and salt as required at site and as directed by EIC. (Two nos. earthing per Mast required).confirming relevant IS for Earthing | 18.00 | Nos |  | 15660.00 | 313200.00 | 0.00 | 225000.00 | 7858.80 | 247552.20 | 5000.00 | 108000.00 | 9000.00 | 180900.00 | 10000.00 | 337500.00 | 6000.00 | 167400.00 | 1200.00 | 24300.00 | 5355.00 | 258390.00 | 1820.00 | 166860.00 | 13200.00 | 264600.00 | 24300.00 | DAMANI ENTERPRISES
11.00 | Supply, laying and termination of 4 x 70 Sq.mm FRLS armoured PVC insulated and PVC sheathed Aluminum Conductor cable of 1100V grade for interconnection between the supply source (Sub-Station / nearest Power DB ) and the Feeder panel as per Scope of work, as required and as directed by EIC. | 1400.00 | Meter |  | 692.10 | 1076600.00 | 478.00 | 1019200.00 | 628.70 | 1118558.00 | 450.00 | 910000.00 | 600.00 | 957600.00 | 675.00 | 1173200.00 | 480.00 | 882000.00 | 540.00 | 882000.00 | 524.00 | 803600.00 | 1010.00 | 1722000.00 | 366.00 | 596400.00 | 596400.00 | MANKHA ELECTROTECH PRIVATE LIMITED
12.00 | Supply, laying and termination of 4 x 35 Sq.mm FRLS armoured PVC insulated and PVC sheathed Aluminum Conductor cable of 1100V grade for interconnection between the supply source (Sub-Station / nearest Power DB ) and the Feeder panel as per Scope of work, as required and as directed by EIC. | 2350.00 | Meter |  | 469.80 | 1226700.00 | 275.00 | 1158550.00 | 379.84 | 1292758.50 | 350.00 | 1292500.00 | 370.00 | 1038700.00 | 385.00 | 1073950.00 | 275.00 | 998750.00 | 210.00 | 634500.00 | 289.00 | 784900.00 | 550.00 | 1739000.00 | 303.00 | 853050.00 | 634500.00 | DAMANI ENTERPRISES
13.00 | Supply ,installation ,testing and commissioning of Outdoor type 4 way FLP Junction boxe including suitable floor mounted Stand along with Ex‘d’ type with suitable size double compression gland /blind as required for cable connection of 4 core 70 SqMM armored cable. | 2.00 | Nos |  | 40572.00 | 89844.00 | 36440.00 | 84400.00 | 5239.20 | 13098.00 | 5000.00 | 10970.00 | 30637.00 | 64674.00 | 150000.00 | 310000.00 | 6800.00 | 17600.00 | 18000.00 | 39000.00 | 17850.00 | 40700.00 | 34710.00 | 76280.00 | 9600.00 | 20040.00 | 10970.00 | ANU ELECTRICALS
| Total in Figures |  |  |  |  | 9132044.00 |  | 7195368.00 |  | 7995517.82 |  | 8361970.00 |  | 7752145.00 |  | 8935090.00 |  | 7580650.00 |  | 5798640.00 |  | 6745487.00 |  | 8714434.00 |  | 6234543.00
Lowest Amount Quoted BY: DAMANI ENTERPRISES(5798640.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation testing commissioning of 03 Nos 30 Mtr. High Mast 06 Nos 20 Mtr. High Mast Lighting System at ONGC Uran Plant Main Store CISF Barrack Uran Tender ID: 2025_ONGC_238895_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DAMANI ENTERPRISES (BID ID -869006) | 5798640.00 | L1
| 2 | MANKHA ELECTROTECH PRIVATE LIMITED (BID ID -870493) | 6234543.00 | L2
| 3 | Vishal Technopower Private Limited (BID ID -871432) | 6745487.00 | L3
| 4 | Bajaj Electricals Limited (BID ID -868829) | 7195368.00 | L4
| 5 | Gaurav Electricals (BID ID -870459) | 7580650.00 | L5
| 6 | elektron (BID ID -870982) | 7752145.00 | L6
| 7 | WM Energy and Lighting Pvt Ltd. (BID ID -869737) | 7995517.82 | L7
| 8 | ANU ELECTRICALS (BID ID -870069) | 8361970.00 | L8
| 9 | Pyrotech technologies Pvt. Ltd. (BID ID -871438) | 8714434.00 | L9
| 10 | Utkarsh India Limited (BID ID -871441) | 8935090.00 | L10
| 11 | ENERGYGREEN TECHNOPOWER PVT LTD (BID ID -865116) | 9132044.00 | L11