## BoQ1
Government eProcurement System Created By: Kiran Kumar Voodari Created Date/Time: 15-Sep-2025 12:00 PM Tender Title: AMC of 5/10/11 TR PACs along with Need based on-call repair jobs at drilling rigs for a period of three years 2025-28 of Rajahmundry asset Tender ID: 2025_ONGC_240263_1
Tender Inviting Authority: Electrical Maintenance- FMP, ONGC Rajahmundry Asset
Name of Work: AMC of 5/10/11 TR PACs along with Need based on-call repair jobs at drilling rigs for a period of three years 2025-28 of Rajahmundry asset
Tender No: KD1YC25003
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K B S ELECTRICALS (GSTN-07ASBPS3251L1ZJ) BID ID -873228 |  | Logos Air Conditioning Services (GSTN-NA) BID ID -877614 |  | Joy Engineering Services (GSTN-NA) BID ID -875436
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | PART-A
1.01 | BI-MONTHLY SERVICE FOR 5 TON PAC E-2000-3 AC PCR(2),TDS HOUSE OF EV 2000-1(2), E-2000-1(2) & E-2000-3(2) & EV-2000-2(2) ,E-2000-3 DC PCR FLOOR STANDING PACs(2) | 216.00 | AU |  | 15300.00 | 3899664.00 | 3500.00 | 892080.00 | 4864.00 | 1239736.32 | 892080.00 | Logos Air Conditioning Services
1.02 | BI-MONTHLY SERVICE FOR 10 TON PAC E-2000-3 DC PCR(2) & DS CANTEEN(1), EV-2000-1 MP3 VFD HOUSE (2) | 90.00 | AU |  | 18000.00 | 1911600.00 | 7000.00 | 743400.00 | 9692.00 | 1029290.40 | 743400.00 | Logos Air Conditioning Services
1.03 | BI-MONTHLY SERVICE FOR 11 TON PAC E1400-17 DC PCR(2) & E-2000-1 PCR (2),NG-2000-5 DS CANTEEN(1), E-2000-1 DS CANTEEN(1),E-2000-1 SCADA(1), E-1400-17 SCADA(1) & E-2000-3 DSA CANTEEN(1) | 162.00 | AU |  | 18000.00 | 3440880.00 | 7700.00 | 1471932.00 | 10660.00 | 2037765.60 | 1471932.00 | Logos Air Conditioning Services
2.00 | PART-B
2.01 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for 15 TR PAC per circuit. | 9.00 | AU |  | 8100.00 | 86022.00 | 17000.00 | 180540.00 | 18500.00 | 196470.00 | 86022.00 | K B S ELECTRICALS
2.02 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for 25 TR PAC per circuit | 9.00 | AU |  | 9000.00 | 95580.00 | 17950.00 | 190629.00 | 26750.00 | 284085.00 | 95580.00 | K B S ELECTRICALS
2.03 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for 60 kW (~17 TR) PAC | 9.00 | AU |  | 8100.00 | 86022.00 | 47000.00 | 499140.00 | 20150.00 | 213993.00 | 86022.00 | K B S ELECTRICALS
2.04 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for 15 kW (~ 4.2 TR) PAC | 6.00 | AU |  | 6000.00 | 42480.00 | 16500.00 | 116820.00 | 8900.00 | 63012.00 | 42480.00 | K B S ELECTRICALS
2.05 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for 10 kW (~ 3 TR) PAC | 6.00 | AU |  | 6100.00 | 43188.00 | 10000.00 | 70800.00 | 8900.00 | 63012.00 | 43188.00 | K B S ELECTRICALS
2.06 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for 9 kW (~ 2.5 TR) PAC | 3.00 | AU |  | 4500.00 | 15930.00 | 10600.00 | 37524.00 | 7500.00 | 26550.00 | 15930.00 | K B S ELECTRICALS
2.07 | Uninstallation & Installation of floor standing 05 ton PAC | 9.00 | Nos |  | 4500.00 | 47790.00 | 3500.00 | 37170.00 | 9200.00 | 97704.00 | 37170.00 | Logos Air Conditioning Services
2.08 | Leak testing, brazing, pressure testing, Vacuuming and Gas charging with existing refrigerant of sufficient quantity for floor standing 05 ton PAC | 9.00 | AU |  | 4100.00 | 43542.00 | 12200.00 | 129564.00 | 9200.00 | 97704.00 | 43542.00 | K B S ELECTRICALS
2.09 | Leak testing, brazing, Vacuuming and Gas charging with 2.6 Kg of R134a for 2KD 040B model air dryer | 3.00 | AU |  | 4500.00 | 15930.00 | 10000.00 | 35400.00 | 9000.00 | 31860.00 | 15930.00 | K B S ELECTRICALS
2.10 | Leak testing, brazing, Vacuuming and Gas charging with 3.1 Kg of R404a for 3GX 040B model air dryer | 3.00 | AU |  | 4600.00 | 16284.00 | 11000.00 | 38940.00 | 7500.00 | 26550.00 | 16284.00 | K B S ELECTRICALS
| Total in Figures |  |  |  |  | 9744912.00 |  | 4443939.00 |  | 5407732.32
Lowest Amount Quoted BY: Logos Air Conditioning Services(4443939.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of 5/10/11 TR PACs along with Need based on-call repair jobs at drilling rigs for a period of three years 2025-28 of Rajahmundry asset Tender ID: 2025_ONGC_240263_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Logos Air Conditioning Services (BID ID -877614) | 4443939.00 | L1
| 2 | Joy Engineering Services (BID ID -875436) | 5407732.32 | L2
| 3 | K B S ELECTRICALS (BID ID -873228) | 9744912.00 | L3