## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 17-Feb-2026 05:48 PM Tender Title: Strengthening of power supply system of perimeter lighting and watch towers at Kishangarh Airport, Ajmer. Tender ID: 2026_AAI_261672_1
Tender Inviting Authority:-Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:-Strengthening of power supply system of perimeter lighting and watch towers at Kishangarh Airport, Ajmer.
Contract No:-2026_AAI_261672_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -965986 |  | Taral Electricals (GSTN-24ACMPR0280M1Z9) BID ID -966055 |  | Aditya Techno Products Private Limited (GSTN-09AAGCA0910L1ZS) BID ID -966503 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -965886 |  | Elsa Tech (GSTN-NA) BID ID -970119
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5C x 150 Sq.mm size 1.1 KV grade, XLPE insulated and PVC sheathed, FRLS at outer sheath, Aluminium conductor armoured power cable conforming to IS: 7098(Part-1) 1988 with up to date amendments etc. complete as required. | 5152.00 | Mtr | 100.00 | 770.00 | 3967040.00 | 963.00 | 4961376.00 | 1250.00 | 6440000.00 | 1100.00 | 5667200.00 | 825.00 | 4250400.00 | 3967040.00 | DOSHI ELECTRIC ENGG. CO.
2.00 | Supply of 3.5C x 185 Sq.mm size 1.1 KV grade, XLPE insulated and PVC sheathed, FRLS at outer sheath, Aluminium conductor armoured power cable conforming to IS: 7098(Part-1) 1988 with up to date amendments etc. complete as required. | 1250.00 | Mtr | 100.00 | 970.00 | 1212500.00 | 1219.00 | 1523750.00 | 1402.00 | 1752500.00 | 1250.00 | 1562500.00 | 990.00 | 1237500.00 | 1212500.00 | DOSHI ELECTRIC ENGG. CO.
3.00 | Supply of 4C x 10 Sqmm, 1.1 KV grade, Armoured, XLPE insulated, PVC sheated, Aluminium conductor cable confirming to IS: 7098 (Part -1) 1988 amended upto date. | 448.00 | Mtr | 100.00 | 135.00 | 60480.00 | 179.00 | 80192.00 | 225.00 | 100800.00 | 180.00 | 80640.00 | 115.00 | 51520.00 | 51520.00 | Elsa Tech
4.00 | Supply of 4C x 25 Sqmm, 1.1 KV grade, Armoured, XLPE insulated, PVC sheated, FRLS at outer sheath Aluminium conductor cable confirming to IS: 7098 (Part -1) 1988 amended upto date. | 1803.00 | Mtr | 100.00 | 210.00 | 378630.00 | 249.00 | 448947.00 | 285.00 | 513855.00 | 300.00 | 540900.00 | 250.00 | 450750.00 | 378630.00 | DOSHI ELECTRIC ENGG. CO.
5.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/surface mounted, double door, outdoor LT feeder panel PTTA type made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 200A 4P MCCB (Ics=Icu=50 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction VAF Meter, suitable for measure Volatge, Current, frequency with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and 'ON'. BUS COUPLER 1 Nos. 200A 4P MCCB (Ics=Icu=25 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON', and 'OFF'. BUS BAR 1 Set of 250A TPN Busbars of aluminium alloy. OUTGOING 01 Nos. 125 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release. 03 Nos. 32 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release also with Timer and suitable contactor etc. 4 Sets (1 Set for each outgoing) LED type 'ON' Indication. | 1.00 | Job | 100.00 | 285000.00 | 285000.00 | 368751.00 | 368751.00 | 210000.00 | 210000.00 | 20000.00 | 20000.00 | 100000.00 | 100000.00 | 20000.00 | SAURABH ENTERPRISES
6.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/Surface mounted, double door, outdoor LT distribution panel PTTA type made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 125A 4P MCCB (Ics=Icu=25 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction VAF Meter, suitable for measure Volatge, Current, frequency with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON'. BUS COUPLER 1 Nos. 125A 4P MCCB (Ics=Icu=25 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON', and 'OFF'. BUS BAR 1 Set of 150A TPN Busbars of aluminium alloy. OUTGOING 03 Nos. 32 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release also with Timer and suitable contactor etc. 03 Sets (1 Set for each outgoing) LED type 'ON'. | 2.00 | Job | 100.00 | 225000.00 | 450000.00 | 200384.00 | 400768.00 | 195000.00 | 390000.00 | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 40000.00 | SAURABH ENTERPRISES
7.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/surface mounted, double door, outdoor LT feeder panel PTTA type made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 250 A 4P MCCB (Ics=Icu=36KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Volatge, Current, Energy, frequency, power factor etc.with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON' lamps. BUS COUPLER 1 Nos. 250 A 4P MCCB (Ics=Icu=36 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON' indicaton lamp. BUS BAR 1 Set of 400 A TPN Busbars of aluminium alloy. OUTGOING 02 Nos. 160 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release. 02 Nos. 63 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release. 02 Nos. 32 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release also with Timer and suitable contactor etc.-01 No. 06 Sets (1 Set for each outgoing) LED type 'ON' Indication Lamps. | 2.00 | Job | 100.00 | 300000.00 | 600000.00 | 543365.00 | 1086730.00 | 212000.00 | 424000.00 | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 40000.00 | SAURABH ENTERPRISES
8.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/surface mounted, double door, outdoor LT feeder panel PTTA type made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 200A 4P MCCB (Ics=Icu=36 KA) with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Volatge, Current, Energy, frequency, power factor etc.with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON', indicaton lamp . BUS COUPLER 1 Nos. 200A 4P MCCB (Ics=Icu=36 KA) with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON', lamp. BUS BAR 1 Set of 250A TPN Busbars of aluminium alloy. OUTGOING 02 Nos. 125 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release. 02 Nos. 63 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release also with Timer and suitable contactor etc. 4 Sets (1 Set for each outgoing) LED type 'ON' Indication Lamp. | 1.00 | Job | 100.00 | 270000.00 | 270000.00 | 375137.00 | 375137.00 | 210008.00 | 210008.00 | 20000.00 | 20000.00 | 50000.00 | 50000.00 | 20000.00 | SAURABH ENTERPRISES
9.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/surface mounted, double door, outdoor LT distribution panel PTTA type made out of 2 mm thick CRCA sheet duly, powder coated paint, complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking, etc. and having following accessories. INCOMER 2 Nos. 200A 4P MCCB (Ics=Icu=50 KA) with terminal extension. Each Incomer shall have one set of Indication Lamps, LED type, R,Y,B and 'ON. BUS COUPLER 1 Nos. 200A 4P MCCB (Ics=Icu=25 KA) with terminal extension. Bus coupler shall have indication 'ON'. BUS BAR 1 Set of 250A TPN Busbars of aluminium alloy. OUTGOING 01 Nos. 125 A TPN MCCB (Ics=Icu=30 KA) with thermal magnetic release. 01 Set of LED type 'ON' Indication. | 1.00 | Job | 100.00 | 185000.00 | 185000.00 | 293920.00 | 293920.00 | 205000.00 | 205000.00 | 19576.00 | 19576.00 | 50000.00 | 50000.00 | 19576.00 | SAURABH ENTERPRISES
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Above 95 sq. mm and upto 185 sq. mm in the existing masonry open duct as required. | 40.00 | Mtr | 100.00 | 50.00 | 2000.00 | 115.00 | 4600.00 | 40.00 | 1600.00 | 50.00 | 2000.00 | 200.00 | 8000.00 | 1600.00 | Aditya Techno Products Private Limited
11.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade size of above 95 Sqmm and up to 185 Sqmm cable in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE/DWC pipe as required. | 6362.00 | Mtr | 100.00 | 50.00 | 318100.00 | 115.00 | 731630.00 | 40.00 | 254480.00 | 50.00 | 318100.00 | 150.00 | 954300.00 | 254480.00 | Aditya Techno Products Private Limited
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of Upto 35 sq. mm size in the existing RCC/ HUME/ METAL/DWC /HDPE pipe as required. | 2201.00 | Mtr | 100.00 | 40.00 | 88040.00 | 52.00 | 114452.00 | 20.00 | 44020.00 | 40.00 | 88040.00 | 80.00 | 176080.00 | 44020.00 | Aditya Techno Products Private Limited
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade Upto 35 sq. mm (clamped with 1mm thick saddle) on wall surface as required. | 50.00 | Mtr | 100.00 | 80.00 | 4000.00 | 68.00 | 3400.00 | 25.00 | 1250.00 | 100.00 | 5000.00 | 180.00 | 9000.00 | 1250.00 | Aditya Techno Products Private Limited
14.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size of 3.5 x 150 Sqmm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 4.00 | Each | 100.00 | 3000.00 | 12000.00 | 4145.00 | 16580.00 | 2500.00 | 10000.00 | 2200.00 | 8800.00 | 5000.00 | 20000.00 | 8800.00 | SAURABH ENTERPRISES
15.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size of 3.5 x 185 Sqmm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Each | 100.00 | 3500.00 | 7000.00 | 4145.00 | 8290.00 | 2500.00 | 5000.00 | 2700.00 | 5400.00 | 5000.00 | 10000.00 | 5000.00 | Aditya Techno Products Private Limited
16.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 C x 185 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 4.00 | Each | 100.00 | 1500.00 | 6000.00 | 1349.00 | 5396.00 | 900.00 | 3600.00 | 600.00 | 2400.00 | 800.00 | 3200.00 | 2400.00 | SAURABH ENTERPRISES
17.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 C x 150 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 13.00 | Each | 100.00 | 1200.00 | 15600.00 | 1116.00 | 14508.00 | 750.00 | 9750.00 | 600.00 | 7800.00 | 800.00 | 10400.00 | 7800.00 | SAURABH ENTERPRISES
18.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 C x 240 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 4.00 | Each | 100.00 | 1700.00 | 6800.00 | 1650.00 | 6600.00 | 1250.00 | 5000.00 | 900.00 | 3600.00 | 4000.00 | 16000.00 | 3600.00 | SAURABH ENTERPRISES
19.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C x 25 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 19.00 | Each | 100.00 | 600.00 | 11400.00 | 603.00 | 11457.00 | 165.00 | 3135.00 | 350.00 | 6650.00 | 150.00 | 2850.00 | 2850.00 | Elsa Tech
20.00 | Supplying and making end termination with aluminium lugs for 4C x 25 sq.mm size but without gland of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 45.00 | Each | 100.00 | 200.00 | 9000.00 | 272.00 | 12240.00 | 55.00 | 2475.00 | 250.00 | 11250.00 | 80.00 | 3600.00 | 2475.00 | Aditya Techno Products Private Limited
21.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C x 10 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 15.00 | Each | 100.00 | 500.00 | 7500.00 | 469.00 | 7035.00 | 155.00 | 2325.00 | 350.00 | 5250.00 | 110.00 | 1650.00 | 1650.00 | Elsa Tech
22.00 | Supplying and making end termination with aluminium lugs for 4C x 10 sq.mm size but excluding gland of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 15.00 | Each | 100.00 | 200.00 | 3000.00 | 244.00 | 3660.00 | 45.00 | 675.00 | 250.00 | 3750.00 | 100.00 | 1500.00 | 675.00 | Aditya Techno Products Private Limited
23.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1658.00 | Mtr | 100.00 | 200.00 | 331600.00 | 191.00 | 316678.00 | 55.00 | 91190.00 | 165.00 | 273570.00 | 125.00 | 207250.00 | 91190.00 | Aditya Techno Products Private Limited
24.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 90 mm dia (OD-90 mm & ID-76 mm nominal) | 4050.00 | Mtr | 100.00 | 230.00 | 931500.00 | 223.00 | 903150.00 | 88.00 | 356400.00 | 170.00 | 688500.00 | 180.00 | 729000.00 | 356400.00 | Aditya Techno Products Private Limited
25.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 1140.00 | Mtr | 100.00 | 250.00 | 285000.00 | 261.00 | 297540.00 | 102.00 | 116280.00 | 200.00 | 228000.00 | 250.00 | 285000.00 | 116280.00 | Aditya Techno Products Private Limited
26.00 | Supply of 110 mm high density polyethylene HDPE pipe (PE- 80, PN-6) as per IS - 4984 with up to date amendment along with accessories like socket, bend, couplers etc. complete as required. | 1445.00 | Mtr | 100.00 | 280.00 | 404600.00 | 225.00 | 325125.00 | 461.00 | 666145.00 | 310.00 | 447950.00 | 200.00 | 289000.00 | 289000.00 | Elsa Tech
27.00 | Laying of HDPE pipe (PE- 80, PN-6) of size 110 mm (OD) in suitable depth by trencheless horizontal directional drilling (HDD) method by deploying HDD machines with necessary arrangements complete as required as per the site requirements. (Excluding the cost of 110 mm HDPE Pipe) | 1447.00 | Mtr | 100.00 | 400.00 | 578800.00 | 823.00 | 1190881.00 | 105.00 | 151935.00 | 425.00 | 614975.00 | 500.00 | 723500.00 | 151935.00 | Aditya Techno Products Private Limited
28.00 | Cutting of cement concrete (Nominal concrete 1:3:6 or richer mix) road/surface by mechanical means as per direction of Engineer - in -charge for laying of 50mm and 63mm dia GI/HDPE/DWC pipes including disposal of material within 50 metres lead etc complete as required. | 1.92 | Cum | 100.00 | 8000.00 | 15360.00 | 2418.00 | 4642.56 | 1100.00 | 2112.00 | 3000.00 | 5760.00 | 15000.00 | 28800.00 | 2112.00 | Aditya Techno Products Private Limited
29.00 | Repairing of CC road/Surface by providing and laying in position specified grade of cement concrete 1:2:4 including watering etc complete as required. | 6.00 | Cum | 100.00 | 6000.00 | 36000.00 | 2418.00 | 14508.00 | 3950.00 | 23700.00 | 6000.00 | 36000.00 | 6000.00 | 36000.00 | 14508.00 | Taral Electricals
30.00 | Providing, laying and fixing 50 mm dia G.I. pipe (medium class) in the existing CC surface cutting, complete with G.I. fittings etc. complete as required. | 200.00 | Mtr | 100.00 | 500.00 | 100000.00 | 507.00 | 101400.00 | 292.00 | 58400.00 | 410.00 | 82000.00 | 500.00 | 100000.00 | 58400.00 | Aditya Techno Products Private Limited
31.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement etc. with charcoal/ coke and salt as required. | 10.00 | Job | 100.00 | 7000.00 | 70000.00 | 6563.00 | 65630.00 | 2500.00 | 25000.00 | 6000.00 | 60000.00 | 10451.00 | 104510.00 | 25000.00 | Aditya Techno Products Private Limited
32.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 76.00 | Mtr | 100.00 | 150.00 | 11400.00 | 190.00 | 14440.00 | 111.00 | 8436.00 | 200.00 | 15200.00 | 35.00 | 2660.00 | 2660.00 | Elsa Tech
33.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 10.00 | Mtr | 100.00 | 30.00 | 300.00 | 29.00 | 290.00 | 15.00 | 150.00 | 30.00 | 300.00 | 35.30 | 353.00 | 150.00 | Aditya Techno Products Private Limited
| Total in Figures |  |  |  |  | 10663650.00 |  | 13713703.56 |  | 12089221.00 |  | 10911111.00 |  | 10112823.00
Lowest Amount Quoted BY: Elsa Tech(10112823.00)

## BOQ Summary
BOQ Summary Details Tender Title: Strengthening of power supply system of perimeter lighting and watch towers at Kishangarh Airport, Ajmer. Tender ID: 2026_AAI_261672_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Elsa Tech (BID ID -970119) | 10112823.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. (BID ID -965986) | 10663650.00 | L2
| 3 | SAURABH ENTERPRISES (BID ID -965886) | 10911111.00 | L3
| 4 | Aditya Techno Products Private Limited (BID ID -966503) | 12089221.00 | L4
| 5 | Taral Electricals (BID ID -966055) | 13713703.56 | L5