## BoQ1
Government eProcurement System Created By: Rudra Prasad Acharya Created Date/Time: 27-Feb-2026 05:57 PM Tender Title: Miscellaneous Electrical works inside operational area at B.P.I Airport, Bhubaneswar. Tender ID: 2026_AAI_262731_1
Tender Inviting Authority: Asst. General Manager(Engg.-Elect.)-II, Airprots Authority of India, B.P.I Airport, Bhubaneswar.
Name of Work: Miscellaneous Electrical works inside operational area at B.P.I Airport,Bhubaneswar.
Contract No: 2026_AAI_262731_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -980702 |  | Vardhman Airport Solutions Limited (GSTN-NA) BID ID -980390
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-A: GLF works for operational Area (Sl. No. - 1.01 to 1.35)
1.01 | Dismantling of existing elevated light fittings and re-installation of the same, including reconnection with isolating transformer, cabling, testing and commissioning, complete as required. | 50.00 | Nos. | 0.00 | 400.00 | 20000.00 | 125.00 | 6250.00 | 6250.00 | Vardhman Airport Solutions Limited
1.02 | Excavation of soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 200.00 | Cum | 0.00 | 200.00 | 40000.00 | 250.00 | 50000.00 | 40000.00 | Manish Electricals
1.03 | Excavation of ordinary rock soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 100.00 | Cum | 0.00 | 200.00 | 20000.00 | 560.00 | 56000.00 | 20000.00 | Manish Electricals
1.04 | Providing and laying cement concrete in position in mix 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over brick soling, including mixing, placing, compacting, finishing and curing, complete as per site requirement and directions of the Engineer-in-Charge. | 60.00 | Cum | 0.00 | 9000.00 | 540000.00 | 7000.00 | 420000.00 | 420000.00 | Vardhman Airport Solutions Limited
1.05 | Providing and laying 12 mm thick cement plaster in mix 1:3 (1 cement : 3 coarse sand), including surface preparation, application, finishing with floating coat of neat cement, and curing, complete as required. | 200.00 | Sq. Mt. | 0.00 | 250.00 | 50000.00 | 400.00 | 80000.00 | 50000.00 | Manish Electricals
1.06 | Providing brick work with FPS bricks of class designation 7.5, in cement mortar 1:4 (1 cement : 4 coarse sand), in walls of thickness 225 mm or more, at all levels, including curing, complete as required. | 15.00 | Cum | 0.00 | 6500.00 | 97500.00 | 7500.00 | 112500.00 | 97500.00 | Manish Electricals
1.07 | Removing existing broken bolts from transformer housing boxes, drilling and tapping new holes as required, and supplying and fixing suitable size stainless steel bolts, washers, etc., including use of necessary tools and plants such as drilling and tapping machines, complete as required. | 300.00 | Job | 0.00 | 2500.00 | 750000.00 | 100.00 | 30000.00 | 30000.00 | Vardhman Airport Solutions Limited
1.08 | Providing and fixing cover plates of size 750 mm × 350 mm, fabricated from 10 mm thick MS sheet, for isolating transformer housing boxes, including supply and fixing of 18 Nos. stainless steel bolts with SS washers, neoprene gaskets; making holes, drilling, tapping, finishing, painting, and fixing with 18 Nos. 1.5″ long M-10 stainless steel bolts, complete as per directions of the Engineer-in-Charge. | 20.00 | Job | 0.00 | 4500.00 | 90000.00 | 3500.00 | 70000.00 | 70000.00 | Vardhman Airport Solutions Limited
1.09 | Providing and fixing cover plates of size 600 mm × 350 mm, fabricated from 10 mm thick MS sheet, for isolating transformer housing boxes, including supply and fixing of 12 Nos. stainless steel bolts with SS washers, neoprene gaskets; making holes, drilling, tapping, finishing, painting, and fixing with 18 Nos. 1.5″ long M-10 stainless steel bolts, complete as per directions of the Engineer-in-Charge. | 40.00 | Job | 0.00 | 3500.00 | 140000.00 | 3000.00 | 120000.00 | 120000.00 | Vardhman Airport Solutions Limited
1.10 | Providing and fixing cover plates of size 350 mm × 350 mm, fabricated from 10 mm thick MS sheet, for isolating transformer housing boxes, including supply and fixing of 06 Nos. stainless steel bolts with SS washers, neoprene gaskets; making holes, drilling, tapping, finishing, painting, and fixing with 18 Nos. 1.5″ long M-10 stainless steel bolts, complete as per directions of the Engineer-in-Charge. | 5.00 | Job | 0.00 | 2500.00 | 12500.00 | 2400.00 | 12000.00 | 12000.00 | Vardhman Airport Solutions Limited
1.11 | Fabrication, supply and installation of rectangular MS transformer housing box of size 600 mm × 350 mm × 450 mm (height), including excavation in soil; providing two Nos. 250 mm long, 15 mm dia ‘B’ class GI pipes at bottom for drainage with cutting and threading; leveling of housing box using suitable instruments; providing base cement concrete in mix 1:3:6 of size 950 mm × 550 mm × 150 mm thick; providing PCC in mix 1:2:4 all around the housing box of width not less than 100 mm; construction of suitable pedestal of 300 mm width and 100 mm thickness with proper slope flush with surrounding surface; painting, lettering and numbering; disposal of excavated material and making good the area to original condition, complete as required and as directed by the Engineer-in-Charge. | 10.00 | Job | 0.00 | 22000.00 | 220000.00 | 18000.00 | 180000.00 | 180000.00 | Vardhman Airport Solutions Limited
1.12 | Dismantling of C.I./M.S. transformer housing boxes of various sizes from concrete/bituminous foundations, including removal, disposal of debris, making the boxes serviceable for re-use, and transportation to AAI store, complete as required. | 40.00 | Job | 0.00 | 1000.00 | 40000.00 | 1200.00 | 48000.00 | 40000.00 | Manish Electricals
1.13 | Providing, laying and fixing of 40 mm dia dia GI pipe (medium class) in ground complete with GI fittings/coupler including trenching (up to 75 cm deep) and refilling etc. as required. | 30.00 | Mtr | 0.00 | 750.00 | 22500.00 | 780.00 | 23400.00 | 22500.00 | Manish Electricals
1.14 | Supply and laying of 50 mm diameter (OD) ISI-marked HDPE pipe conforming to IS:4984:2016, grade PE-80, PN-10, including provision of 4 mm nylon rope, laying, jointing and testing, complete as required. | 250.00 | Mtr | 0.00 | 450.00 | 112500.00 | 250.00 | 62500.00 | 62500.00 | Vardhman Airport Solutions Limited
1.15 | Scraping and cleaning of surfaces and painting of following light fittings with one coat of red lead primer followed by two coats of approved make Aviation Yellow synthetic enamel paint, including surface preparation, complete as required (b) Turn pad/taxi fittings/RWY edge light/Approach light/PAPI fixture/Landing H etc | 200.00 | Nos. | 0.00 | 150.00 | 30000.00 | 200.00 | 40000.00 | 30000.00 | Manish Electricals
1.16 | Scraping and cleaning of MS cover plates and exposed MS box surfaces, including thorough surface preparation, application of one coat of red lead primer and two coats of black synthetic enamel paint, complete as required. | 100.00 | Sq. Mt. | 0.00 | 450.00 | 45000.00 | 320.00 | 32000.00 | 32000.00 | Vardhman Airport Solutions Limited
1.17 | Writing of identification letters or numbers, not exceeding 50 mm (2 inches) in height, on the surface of base plates and cover plates of light fittings, as well as on the body of LT panels, feeder pillars and CCRs, using ICI/DECO or any other approved make paint, in White / Red / Black colour, complete in all respects, including surface cleaning, layout marking, neat finishing including all labour, materials and tools, as directed by the Engineer-in-Charge. | 3000.00 | Nos. | 0.00 | 20.00 | 60000.00 | 50.00 | 150000.00 | 60000.00 | Manish Electricals
1.18 | Supply of Base Plate Neoprene Rubber Gasket, 3 mm thick, provided with 6 (six) bolt holes, suitable for elevated type Aeronautical Ground Light (AGL) fittings, complete in all respects, including material, cutting, finishing, and conformity to approved dimensions and quality standards, as required and as directed by the Engineer-in-Charge. | 30.00 | Nos. | 0.00 | 300.00 | 9000.00 | 300.00 | 9000.00 | 9000.00 | Vardhman Airport Solutions Limited, Manish Electricals
1.19 | Dismantling of existing old/damaged earthing pit chamber and reconstruction of the same by providing and laying brick masonry, cement concrete, and all associated civil works, including installation of earthing pit cover made of 6 mm thick MS plate over the pipe, complete with MS frame, neat cement plastering, finishing, and all materials and labour, as per site requirement and as directed by the Engineer-in-Charge. | 20.00 | Nos. | 0.00 | 1000.00 | 20000.00 | 8500.00 | 170000.00 | 20000.00 | Manish Electricals
1.20 | Earthing with ‘B’ class G.I. earth pipe of 40 mm diameter and 4.5 m length, including all accessories, charcoal/coke and salt, watering arrangement, and construction of masonry earthing chamber complete with MS cover plate having locking arrangement, complete in all respects as per CPWD/Indian standrdas /specifications and as directed by the Engineer-in-Charge. | 5.00 | Job | 0.00 | 9000.00 | 45000.00 | 9000.00 | 45000.00 | 45000.00 | Vardhman Airport Solutions Limited, Manish Electricals
1.21 | Providing and laying earthing connection from earth electrode using 6 SWG diameter G.I. wire, laid inside 15 mm diameter G.I. pipe, including connection with G.I. thimble, excavation, refilling, and all associated materials and labour, complete as required and as directed by the Engineer-in-Charge. | 100.00 | Mtr | 0.00 | 300.00 | 30000.00 | 600.00 | 60000.00 | 30000.00 | Manish Electricals
1.22 | Supply of plug and receptacle connector, suitable for 6 sqmm cable, 5 kV grade, Type-I, Class ‘B’, complete with field-attachable arrangement, contacts, sealing accessory , silicon gel and all components required for proper termination and connection, conforming to applicable AGL/ICAO standards, complete as required and as directed by the Engineer-in-Charge. | 200.00 | Each | 0.00 | 600.00 | 120000.00 | 700.00 | 140000.00 | 120000.00 | Manish Electricals
1.23 | Supply of 2-pin plug and receptacle connectors, suitable for 2 × 4 sq mm copper conductor secondary leads, complete with field-attachable contacts, insulating body, locking/sealing arrangement, and all accessories required for proper termination, conforming to approved electrical/AGL standards, complete as required and as directed by the Engineer-in-Charge. | 200.00 | Each | 0.00 | 900.00 | 180000.00 | 700.00 | 140000.00 | 140000.00 | Vardhman Airport Solutions Limited
1.24 | Supply of wind sock (nylon fabric) for Wind Direction Indicator (WDI), manufactured from weather-resistant, high-visibility nylon fabric, complete with attachment arrangements, conforming to ICAO Annex-14 requirements with respect to dimensions, colour bands, wind response and durability, complete as required and as directed by the Engineer-in-Charge. | 6.00 | Nos. | 0.00 | 9000.00 | 54000.00 | 12000.00 | 72000.00 | 54000.00 | Manish Electricals
1.25 | Supply and fixing of pasteable elastomeric insulation mat, ISI marked, 11 kV , 50 Hz grade, of nominal thickness 2.5 mm (±10%), anti-skid, fire retardant, alkali and acid resistant, conforming to IS 15652 : 2006, including all sundry materials such as approved adhesive, polyurethane resin, sealing compound, sealing tape, etc., complete with surface preparation, cutting to size, fixing, sealing of joints, cleaning, chipping and minor civil works, complete in all respects as required and as directed by the Engineer-in-Charge. | 100.00 | Sq. Mt. | 0.00 | 900.00 | 90000.00 | 1200.00 | 120000.00 | 90000.00 | Manish Electricals
1.26 | Dismantling and removal of 1 no. PVC/XLPE insulated AFL cable, 5 kV grade, of size up to 25 sq mm, from soil, including excavation, removal of protective covering, handling, and refilling of trench, complete in all respects as required and as directed by the Engineer-in-Charge. | 200.00 | Mtr | 0.00 | 50.00 | 10000.00 | 220.00 | 44000.00 | 10000.00 | Manish Electricals
1.27 | Dismantling and removal of 1 no. PVC/XLPE insulated AFL cable, 5 kV grade, of size not exceeding 25 sq mm, laid in existing G.I./HDPE pipe, including pulling out of cable, handling, and making good the work, complete in all respects as required and as directed by the Engineer-in-Charge. | 500.00 | Mtr | 0.00 | 50.00 | 25000.00 | 50.00 | 25000.00 | 25000.00 | Vardhman Airport Solutions Limited, Manish Electricals
1.28 | Laying of 1 no. PVC/XLPE insulated and sheathed AFL cable, 5 kV grade, of size not exceeding 25 sq mm, in the existing G.I./HDPE pipe, including pulling, proper alignment, and making good the installation, complete in all respects as required and as directed by the Engineer-in-Charge. | 500.00 | Mtr | 0.00 | 50.00 | 25000.00 | 45.00 | 22500.00 | 22500.00 | Vardhman Airport Solutions Limited
1.29 | Laying of 1 no. 2 × 4 sq mm AFL secondary cable along with 1 × 4 sq mm earth cable, of voltage grade up to 1.1 kV, in existing cable duct / masonry trench / RCC, HUME, metal, G.I. or HDPE pipes, including pulling, proper laying and dressing, complete in all respects as required and as directed by the Engineer-in-Charge. | 200.00 | Mtr | 0.00 | 50.00 | 10000.00 | 22.00 | 4400.00 | 4400.00 | Vardhman Airport Solutions Limited
1.30 | Machine kerf cutting in taxiway/runway/apron pavement of PQC or bituminous surface, to a depth up to 50 mm and width up to 15 mm, for laying of 1 or 2 nos. secondary leads along with earth cable and earth cable duly wrapped with cotton tape, refilling of kerf with approved polysulphide or equivalent sealing compound, finishing and making good the surface, complete in all respects as required and as directed by the Engineer-in-Charge. | 150.00 | Mtr | 0.00 | 700.00 | 105000.00 | 850.00 | 127500.00 | 105000.00 | Manish Electricals
1.31 | Dismantling and removal of 8-inch diameter inset type light fixture along with shallow base from bituminous / concrete pavement, including core cutting, safe removal of fitting, disconnecting isolating transformer, removal of secondary lead cable, cleaning and making the shallow base serviceable, refilling and reinstatement of the pavement with bitumen / cement concrete / early-setting cement as applicable, and transportation of dismantled materials to AAI store, complete in all respects as required and as directed by the Engineer-in-Charge | 20.00 | Job | 0.00 | 2500.00 | 50000.00 | 3300.00 | 66000.00 | 50000.00 | Manish Electricals
1.32 | Dismantling and removal of 12-inch diameter inset type light fixture along with shallow base from bituminous / concrete pavement, including core cutting, safe removal of fitting, disconnecting isolating transformer, removal of secondary lead cable, cleaning and making the shallow base serviceable, refilling and reinstatement of the pavement with bitumen / cement concrete / early-setting cement as applicable, and transportation of dismantled materials to AAI store, complete in all respects as required and as directed by the Engineer-in-Charge | 10.00 | Job | 0.00 | 3500.00 | 35000.00 | 3600.00 | 36000.00 | 35000.00 | Manish Electricals
1.33 | Installation, testing and commissioning of inset type Ground Light Fitting (GLF) of 8 inch dia in bituminous / concrete pavement, including core cutting, proper alignment, leveling and setting, provision and application of approved sealing material, grouting/finishing, and all accessories required for successful commissioning, excluding supply of fixture, plug & receptacles and isolating transformer, complete in all respects as per site conditions and as directed by the Engineer-in-Charge. | 8.00 | Job | 0.00 | 4000.00 | 32000.00 | 5500.00 | 44000.00 | 32000.00 | Manish Electricals
1.34 | Installation, testing and commissioning of inset type Ground Light Fitting (GLF) of 12 inch dia in bituminous / concrete pavement, including core cutting, proper alignment, leveling and setting, provision and application of approved sealing material, grouting/finishing, and all accessories required for successful commissioning, excluding supply of fixture, plug & receptacles and isolating transformer, complete in all respects as per site conditions and as directed by the Engineer-in-Charge. | 5.00 | Job | 0.00 | 4800.00 | 24000.00 | 8000.00 | 40000.00 | 24000.00 | Manish Electricals
1.35 | Supply of M-10 stainless steel (SS) hardware set, comprising 12 nos. SS bolts and 12 nos. SS washers, of approved grade (AISI 304/316 or equivalent), suitable for aeronautical ground lighting fittings, including packaging, handling and delivery at site, complete in all respects as required and as directed by the Engineer-in-Charge. | 200.00 | Set | 0.00 | 30.00 | 6000.00 | 300.00 | 60000.00 | 6000.00 | Manish Electricals
2.00 | SH-B: Maintenance of cable lines.(Sl. No. 2 to 6)
2.01 | Dismantling of UG cable above 11 KV grade by excavation of soil i/c removing of soil, sand cushioning, protective covering, backfilling the trench etc as required. a) Above 120 sq. mm but not exceeding 400 sq. mm | 100.00 | Mtr | 0.00 | 180.00 | 18000.00 | 300.00 | 30000.00 | 18000.00 | Manish Electricals
3.00 | Dismantling of UG cable of 1.1 KV grade by excavation of soil i/c removing of soil, sand cushioning, protective covering, backfilling the trench etc as required.
3.01 | a) Upto 120 sq. mm | 300.00 | Mtr | 0.00 | 120.00 | 36000.00 | 200.00 | 60000.00 | 36000.00 | Manish Electricals
3.02 | b) Above 120 sq mm but not exceeding 400 sq mm. | 300.00 | Mtr | 0.00 | 150.00 | 45000.00 | 300.00 | 90000.00 | 45000.00 | Manish Electricals
4.00 | Dismantling of UG cable of 1.1 KV grade from masonary duct etc as required.
4.01 | a) Upto 120 sq. mm | 50.00 | Mtr | 0.00 | 120.00 | 6000.00 | 60.00 | 3000.00 | 3000.00 | Vardhman Airport Solutions Limited
4.02 | b) Above 120 sq mm but not exceeding 400 sq mm. | 50.00 | Mtr | 0.00 | 150.00 | 7500.00 | 120.00 | 6000.00 | 6000.00 | Vardhman Airport Solutions Limited
5.00 | Dismantling of UG cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required.
5.01 | a) Above 185 sq. mm and upto 400 sq. mm | 200.00 | Mtr | 0.00 | 50.00 | 10000.00 | 140.00 | 28000.00 | 10000.00 | Manish Electricals
6.00 | Providing and making masonary inspection chamber of size not less than 1000 x 1000 x 1200 mm. deep (inside) i/c. excavation of soil, 75 mm. flat brick soiling at the bottom, 50 mm. base concrete over brick soiling, 250 mm. brick work with cement morter, cement plaster on brick work and bottom (only inside surface), providing hinzed MS plate ( minimum thick ness 6 mm.) cover of suitable size duly painted with suitable supporting arrangements, providing suitable lifting arrangement on the top of the chamber etc. complete as reqd. | 5.00 | Job | 0.00 | 14500.00 | 72500.00 | 23000.00 | 115000.00 | 72500.00 | Manish Electricals
7.00 | SH-C: Callibration of Instruments fron approved NABL Lab(Sl. No.7) Testing and callibration of following types measuring instruments at B.P.I airport,Bhubaneswar.
7.01 | a) Digital Clinometer | 1.00 | Nos. | 0.00 | 20000.00 | 20000.00 | 12000.00 | 12000.00 | 12000.00 | Vardhman Airport Solutions Limited
7.02 | b) Angle Meter | 1.00 | Nos. | 0.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 5000.00 | Vardhman Airport Solutions Limited
7.03 | c) Digital 5 KV Insulation Tester(Make-Sonel) | 1.00 | Nos. | 0.00 | 2500.00 | 2500.00 | 8000.00 | 8000.00 | 2500.00 | Manish Electricals
7.04 | d) Digital Earth Tester (Make-Sonel) | 1.00 | Nos. | 0.00 | 2500.00 | 2500.00 | 6000.00 | 6000.00 | 2500.00 | Manish Electricals
7.05 | e) Digital Power Quality Analyzer (Make-Sonel) | 1.00 | Nos. | 0.00 | 3000.00 | 3000.00 | 16000.00 | 16000.00 | 3000.00 | Manish Electricals
7.06 | f) Digital AC & DC Current clamp Meter(Make-Sonel) | 1.00 | Nos. | 0.00 | 1500.00 | 1500.00 | 5000.00 | 5000.00 | 1500.00 | Manish Electricals
7.07 | g) Digital Phase Sequence Meter(Make-Sonel) | 1.00 | Nos. | 0.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 1500.00 | Manish Electricals
7.08 | h) Digital Cable Fault Locator(type -TDR,Make-Stanlay) | 1.00 | Nos. | 0.00 | 11500.00 | 11500.00 | 14000.00 | 14000.00 | 11500.00 | Manish Electricals
7.09 | i) Digital Lux Meter(Make-Sonel) | 2.00 | Nos. | 0.00 | 1500.00 | 3000.00 | 8000.00 | 16000.00 | 3000.00 | Manish Electricals
7.10 | j) Digital Multimeter(make-Fluke) | 1.00 | Nos. | 0.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 1500.00 | Manish Electricals
8.00 | SH-D: Painting & lettering of various panels, feeder pillars, transformers, DG sets etc.(Sl. No.8 to 14) Scrubbing and cleaning of existing surfaces of existing LT panels/feeder pillars/CCR panels at various locations inside the operational area, including removal of dirt, grease and loose paint, followed by spray painting with two coats of ISI-marked synthetic enamel paint of approved colour over one coat of red oxide metal primer, including surface preparation, masking, finishing, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 300.00 | Sq. Mt. | 0.00 | 400.00 | 120000.00 | 400.00 | 120000.00 | 120000.00 | Vardhman Airport Solutions Limited, Manish Electricals
9.00 | Scrubbing and cleaning of existing rolling shutters at CCR Power House, including removal of old/flaking paint, rust, dirt and grease, followed by painting with two coats of ISI-marked synthetic enamel paint of approved colour, including surface preparation, finishing, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 20.00 | Sq. Mt. | 0.00 | 400.00 | 8000.00 | 900.00 | 18000.00 | 8000.00 | Manish Electricals
10.00 | Scrubbing and cleaning of existing surfaces of power transformer of 1 MVA rating located at CCR Power House, including removal of old/flaking paint, rust, dirt and grease, followed by spray painting with two coats of ISI-marked synthetic enamel paint / aluminium paint or matching the existing approved colour, including necessary surface preparation, masking, finishing, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 2.00 | Job | 0.00 | 14000.00 | 28000.00 | 3200.00 | 6400.00 | 6400.00 | Vardhman Airport Solutions Limited
11.00 | Cleaning and rubbing down of existing painted surfaces of stand-alone / mobile Diesel Generator (DG) set of 63 kVA capacity located at CCR Power Houses inside the operational area, including removal of old/flaking paint, rust, oil and dirt, followed by heat-resistant spray painting with two coats of ISI-marked synthetic enamel paint of approved colour, including lettering and numbering, surface preparation, masking, finishing, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 22000.00 | 22000.00 | 10000.00 | Manish Electricals
12.00 | Cleaning of both surfaces of MS chequered plates available at CCR Power Houses and other operational areas, including scrubbing and removal of dirt, grease, rust and old/flaking paint, followed by application of two coats of approved anti-corrosive metallic primer and two coats of synthetic enamel black paint, including surface preparation, finishing, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 50.00 | Sq. Mt. | 0.00 | 300.00 | 15000.00 | 200.00 | 10000.00 | 10000.00 | Vardhman Airport Solutions Limited
13.00 | Supply and fixing of 6 mm thick MS chequered plates, including cutting to required size, welding in position, surface preparation, application of one coat of red oxide anti-corrosive metallic primer followed by two coats of synthetic enamel black paint, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 50.00 | Sq. Mt. | 0.00 | 2500.00 | 125000.00 | 6000.00 | 300000.00 | 125000.00 | Manish Electricals
14.00 | Supply and fixing of 75 mm wide MS channel for fabrication of MS supporting frame for fixing MS chequered plate over concrete chamber, including cutting to size, welding, grinding, alignment and fixing in position, surface preparation, application of two coat of red oxide anti-corrosive primer followed by two coats of synthetic enamel black paint, and all materials, tools and labour, complete in all respects as required and as directed by the Engineer-in-Charge. | 10.00 | Sq. Mt. | 0.00 | 3000.00 | 30000.00 | 1900.00 | 19000.00 | 19000.00 | Vardhman Airport Solutions Limited
15.00 | SH-E: Miscellaneous Maintenance Works(Sl. No. 15 to 22) Supply, installation, testing and commissioning of solar powered taxiway holding position lights inside airport operational area, complete with LED light unit, in-built solar panel, rechargeable battery, charge controller and automatic dusk-to-dawn operation, suitable for all weather conditions, including fixing, alignment, sealing, minor civil works and reinstatement, complying with DGCA CAR and ICAO Annex-14 requirements, complete as required and as directed by the Engineer-in-Charge. | 10.00 | Nos. | 0.00 | 19000.00 | 190000.00 | 60000.00 | 600000.00 | 190000.00 | Manish Electricals
16.00 | Supply and fixing of anti-bird spike system made of UV-stabilized polycarbonate with blunt ends, suitable for installation on elevated approach lights, frangible masts, lighting structures and allied airport buildings, including clamps/adhesive, fasteners, cutting to size and secure fixing, without affecting frangibility, light output or structural integrity, complying with DGCA CAR and ICAO Annex-14 safety requirements, complete as required and as directed by the Engineer-in-Charge. | 3000.00 | Mtr | 0.00 | 450.00 | 1350000.00 | 200.00 | 600000.00 | 600000.00 | Vardhman Airport Solutions Limited
17.00 | Supply of electrical grade silicone gel / silicone insulating compound, suitable for sealing and insulation of primary and secondary connectors used for airfield ground lighting (AGL) cables, having excellent dielectric strength, moisture resistance, thermal stability and UV/weather resistance, compatible with 5 kV / 1.1 kV AGL systems, complete as required and as directed by the Engineer-in-Charge. | 5.00 | Kg | 0.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 7500.00 | Manish Electricals
18.00 | Supply of ISI-marked PVC insulation tape having good adhesion, dielectric strength, moisture and flame resistance etc.complete as required and as directed by the Engineer-in-Charge. | 300.00 | Nos. | 0.00 | 40.00 | 12000.00 | 200.00 | 60000.00 | 12000.00 | Manish Electricals
19.00 | Supply of self-bonding (self-amalgamating) electrical insulating tape, suitable for low and high voltage applications up to 69 kV, of size 25 mm (width) × 9.1 m (length) × 0.76 mm (thickness), having excellent dielectric strength, moisture and weather resistance, non-adhesive, stretchable, and capable of forming a homogeneous insulation layer on application, suitable for electrical joints, terminations and sealing, complete as required and as directed by the Engineer-in-Charge. | 100.00 | Each | 0.00 | 750.00 | 75000.00 | 900.00 | 90000.00 | 75000.00 | Manish Electricals
20.00 | Supply of completely enclosed, rubber-covered isolating transformer suitable for 6.6 A series airfield ground lighting circuits, having nominal primary voltage rating of 5 kV, designed for operation at 50 Hz, weatherproof and suitable for underground / in-pavement use, with secondary suitable for AGL fittings, high dielectric strength and reliable insulation, complying with applicable DGCA CAR and ICAO Annex-14 requirements, complete as required and as directed by the Engineer-in-Charge.
20.01 | a)15 watt , 6.6/6.6 Amp | 100.00 | Nos. | 0.00 | 4500.00 | 450000.00 | 3200.00 | 320000.00 | 320000.00 | Vardhman Airport Solutions Limited
20.02 | b) 25 watt , 6.6/6.6 Amp | 200.00 | Nos. | 0.00 | 4000.00 | 800000.00 | 3400.00 | 680000.00 | 680000.00 | Vardhman Airport Solutions Limited
20.03 | c)45 watt , 6.6/6.6 Amp | 100.00 | Nos. | 0.00 | 5000.00 | 500000.00 | 3600.00 | 360000.00 | 360000.00 | Vardhman Airport Solutions Limited
20.04 | d)65 watt , 6.6/6.6 Amp | 50.00 | Nos. | 0.00 | 6000.00 | 300000.00 | 4300.00 | 215000.00 | 215000.00 | Vardhman Airport Solutions Limited
20.05 | e)150 watt , 6.6/6.6 Amp | 30.00 | Nos. | 0.00 | 7000.00 | 210000.00 | 4800.00 | 144000.00 | 144000.00 | Vardhman Airport Solutions Limited
21.00 | Supply of LED strip suitable for air field signage illumination, compatible with driver of 2.8 A to 6.6 A series airfield lighting circuits, DC output voltage up to 35 V (maximum on load) complete with one-side connector arrangement suitable for fixing/termination with the existing signage board connector provided inside the signage box and complying with applicable DGCA CAR and ICAO Annex-14 requirements, complete as required and as directed by the Engineer-in-Charge. | 50.00 | Nos. | 0.00 | 1000.00 | 50000.00 | 1100.00 | 55000.00 | 50000.00 | Manish Electricals
22.00 | Supply of LED driver suitable for airport signage illumination, compatible with series lighting circuits, having input current range 2.8–6.6 A, DC output voltage up to 35 V (maximum on load), maximum output power of 80 W, and power factor ≥ 0.95, complete as required and as directed by the Engineer-in-Charge. | 50.00 | Nos. | 0.00 | 4500.00 | 225000.00 | 5000.00 | 250000.00 | 225000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 7927500.00 |  | 7019450.00
Lowest Amount Quoted BY: Vardhman Airport Solutions Limited(7019450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical works inside operational area at B.P.I Airport, Bhubaneswar. Tender ID: 2026_AAI_262731_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vardhman Airport Solutions Limited (BID ID -980390) | 7019450.00 | L1
| 2 | Manish Electricals (BID ID -980702) | 7927500.00 | L2