## BoQ1
Government eProcurement System Created By: SREEKUMAR P V Created Date/Time: 05-Mar-2026 12:17 PM Tender Title: Provision of Emergency Medical Centre at Mysuru Airport. SH- Electrical Works Tender ID: 2026_AAI_263156_1
Tender Inviting Authority: Manager (E-E), Airports Authority of India, Mysuru.
Name of Work: Provision of Emergency Medical Centre at Mysuru Airport. SH:Electrical Works.
Contract No: 2026_AAI_263156_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | C P MONCHESTER ELECTRICALS (GSTN-33AJOPP7842E1ZY) BID ID -974406 |  | DEEPAKELECTRICALS (GSTN-33ALUPD3531C1ZI) BID ID -975683
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | INTERNAL ELECTRIFICATION: Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 72.00 | EACH | 100.00 | 1200.00 | 86400.00 | 1200.00 | 86400.00 | 86400.00 | C P MONCHESTER ELECTRICALS, DEEPAKELECTRICALS
2.00 | Wiring for twin control light point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 3.00 | EACH | 100.00 | 1800.00 | 5400.00 | 1400.00 | 4200.00 | 4200.00 | DEEPAKELECTRICALS
3.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 2.5 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 2.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 10.00 | EACH | 100.00 | 1800.00 | 18000.00 | 1200.00 | 12000.00 | 12000.00 | DEEPAKELECTRICALS
4.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 55.00 | Metre | 100.00 | 210.00 | 11550.00 | 100.00 | 5500.00 | 5500.00 | DEEPAKELECTRICALS
5.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 55.00 | METER | 100.00 | 450.00 | 24750.00 | 300.00 | 16500.00 | 16500.00 | DEEPAKELECTRICALS
6.00 | 4 X 16 sq. mm + 2 X 6 sq. mm earth wire | 60.00 | METER | 100.00 | 1400.00 | 84000.00 | 2400.00 | 144000.00 | 84000.00 | C P MONCHESTER ELECTRICALS
7.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 55.00 | Meter | 100.00 | 120.00 | 6600.00 | 300.00 | 16500.00 | 6600.00 | C P MONCHESTER ELECTRICALS
8.00 | Wiring for light/ power plug with 2X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 374.00 | METER | 100.00 | 210.00 | 78540.00 | 400.00 | 149600.00 | 78540.00 | C P MONCHESTER ELECTRICALS
9.00 | Wiring for light/ power plug with 4X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos 4 sq. mm FR PVC insulated copper conductor single core cable for loop earthing as required. | 151.44 | METER | 100.00 | 475.00 | 71934.00 | 500.00 | 75720.00 | 71934.00 | C P MONCHESTER ELECTRICALS
10.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 26.00 | EACH | 100.00 | 810.00 | 21060.00 | 500.00 | 13000.00 | 13000.00 | DEEPAKELECTRICALS
11.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 16.00 | EACH | 100.00 | 450.00 | 7200.00 | 300.00 | 4800.00 | 4800.00 | DEEPAKELECTRICALS
12.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 8.00 | EACH | 100.00 | 600.00 | 4800.00 | 450.00 | 3600.00 | 3600.00 | DEEPAKELECTRICALS
13.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 9.00 | EACH | 100.00 | 900.00 | 8100.00 | 550.00 | 4950.00 | 4950.00 | DEEPAKELECTRICALS
14.00 | Supplying & fixing of the following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plates etc as required.5/6 Amps One way modular switch | 12.00 | EACH | 100.00 | 210.00 | 2520.00 | 65.00 | 780.00 | 780.00 | DEEPAKELECTRICALS
15.00 | Supplying & fixing of the following modular switch/socket on the existing modular plate & switch box including connections but excluding modular plates etc as required. 5/6 A socket | 12.00 | EACH | 100.00 | 300.00 | 3600.00 | 78.00 | 936.00 | 936.00 | DEEPAKELECTRICALS
16.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A SWITCH | 8.00 | EACH | 100.00 | 300.00 | 2400.00 | 100.00 | 800.00 | 800.00 | DEEPAKELECTRICALS
17.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket outlet | 8.00 | EACH | 100.00 | 360.00 | 2880.00 | 145.00 | 1160.00 | 1160.00 | DEEPAKELECTRICALS
18.00 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 68.00 | Each | 100.00 | 180.00 | 12240.00 | 76.00 | 5168.00 | 5168.00 | DEEPAKELECTRICALS
19.00 | Supplying and fixing following way, horizontal type three pole and neutral , sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing and suitable cable end box etc. as required. (But without MCB/RCCB/Isolator) 6 way (8+18) Double door | 3.00 | EACH | 100.00 | 9000.00 | 27000.00 | 21000.00 | 63000.00 | 27000.00 | C P MONCHESTER ELECTRICALS
20.00 | Supplying and fixing following way, horizontal type three pole and neutral , sheet steel, MCB distribution board, 415 Volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing and suitable cable end box etc. as required. (But without MCB/RCCB/Isolator) 12 way (8+36) Double door | 1.00 | EACH | 100.00 | 18000.00 | 18000.00 | 30000.00 | 30000.00 | 18000.00 | C P MONCHESTER ELECTRICALS
21.00 | Supplying and fixing following rating Triple Pole and Neutral, 415 volts, C curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 AMPS | 1.00 | EACH | 100.00 | 3600.00 | 3600.00 | 2100.00 | 2100.00 | 2100.00 | DEEPAKELECTRICALS
22.00 | Supplying and fixing following rating Triple Pole and Neutral, 415 volts, C curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 AMPS | 3.00 | EACH | 100.00 | 3600.00 | 10800.00 | 1700.00 | 5100.00 | 5100.00 | DEEPAKELECTRICALS
23.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 AMPS | 1.00 | EACH | 100.00 | 12000.00 | 12000.00 | 5600.00 | 5600.00 | 5600.00 | DEEPAKELECTRICALS
24.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 100 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40 AMPS | 3.00 | EACH | 100.00 | 9000.00 | 27000.00 | 4500.00 | 13500.00 | 13500.00 | DEEPAKELECTRICALS
25.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 62.00 | EACH | 100.00 | 240.00 | 14880.00 | 230.00 | 14260.00 | 14260.00 | DEEPAKELECTRICALS
26.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 28.00 | EACH | 100.00 | 80.00 | 2240.00 | 22.00 | 616.00 | 616.00 | DEEPAKELECTRICALS
27.00 | Supply of 1200 mm sweep BLDC Ceiling fan, 5 star rated with double ball bearing , including motor,shckle kit, pair of canopies,down rod,afety wires and other standard accessories ,remote without regulator as required. | 19.00 | EACH | 100.00 | 3600.00 | 68400.00 | 6500.00 | 123500.00 | 68400.00 | C P MONCHESTER ELECTRICALS
28.00 | Supply of 300 mm dia single phase 900 RPM Heavy Duty Industrial Exhaust fan including all accessories etc as required. | 6.00 | EACH | 100.00 | 2700.00 | 16200.00 | 4000.00 | 24000.00 | 16200.00 | C P MONCHESTER ELECTRICALS
29.00 | Supply of 40 W surface mounted extruded aluminium LED batten (4 feet) with opal diffuser along with all acessories like heat sink, constant current output driver, reflector, cover etc. complete suitable for operating at 230 V,50 Hz, single phase AC supply as per specifications. | 39.00 | EACH | 100.00 | 360.00 | 14040.00 | 1900.00 | 74100.00 | 14040.00 | C P MONCHESTER ELECTRICALS
30.00 | Supply of 20 W surface mounted extruded aluminium LED batten (4 feet) with opal diffuser along with all acessories like heat sink, constant current output driver, reflector, cover etc. complete suitable for operating at 230 V,50 Hz, single phase AC supply as per specifications. | 6.00 | EACH | 100.00 | 360.00 | 2160.00 | 1000.00 | 6000.00 | 2160.00 | C P MONCHESTER ELECTRICALS
31.00 | Supply of Integral 45 Watts LED Street Light Luminaire with pressure die cast aluminium housing with IP 66 protection along with all acessories like heat sink, constant current output driver, reflector, glass cover etc. complete suitable for operating at 230 V,50 Hz, single phase AC supply as per specifications. | 6.00 | EACH | 100.00 | 2460.00 | 14760.00 | 4500.00 | 27000.00 | 14760.00 | C P MONCHESTER ELECTRICALS
32.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable etc. as required. | 19.00 | EACH | 100.00 | 360.00 | 6840.00 | 120.00 | 2280.00 | 2280.00 | DEEPAKELECTRICALS
33.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.Upto 450 mm sweep | 6.00 | EACH | 100.00 | 600.00 | 3600.00 | 230.00 | 1380.00 | 1380.00 | DEEPAKELECTRICALS
34.00 | Installation, Testing and Commissioning of pre-wired, fluorescent fitting / compact fluorescent/ LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS/HFFR PVC insulated, copper conductor, single core cable and earthing etc. as required. | 39.00 | EACH | 100.00 | 300.00 | 11700.00 | 100.00 | 3900.00 | 3900.00 | DEEPAKELECTRICALS
35.00 | ITC of Street Light Luminaire on wall with suitable Medium class GI pipe bent to shape including wiring the pipe,making connections etc.complete as required. | 6.00 | EACH | 100.00 | 900.00 | 5400.00 | 120.00 | 720.00 | 720.00 | DEEPAKELECTRICALS
36.00 | Supplying, Installation, Testing and commissioning of Astronomical time switch of following configuration to be mounted in feeder pillars / Lighting DBs for automatic switching On & OFF of street lights at sun Each & sun rise or twilight(Auto ON, Auto OFF, Auto modes) with manual override facility with 12/24 hour display format with suitable battery and indication for relay status i/c programming at site complete as required. nominal switching current of 16 A, with 1 NO contact, power reserve for minimum 3 years and One number 3 pole contactor with 12 amps rating (AC3) suitable for 230 V, 50 HZ AC Supply in suitable metal enclosure including providing connections testing and commissioning etc. as required. | 1.00 | EACH | 100.00 | 4500.00 | 4500.00 | 10000.00 | 10000.00 | 4500.00 | C P MONCHESTER ELECTRICALS
37.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet RJ 11 | 3.00 | EACH | 100.00 | 360.00 | 1080.00 | 145.00 | 435.00 | 435.00 | DEEPAKELECTRICALS
38.00 | Supply and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmoured telephone cable in the existing surface/recessed steel/PVC conduit as required. 1 Pair | 54.00 | Metre | 100.00 | 120.00 | 6480.00 | 78.00 | 4212.00 | 4212.00 | DEEPAKELECTRICALS
39.00 | EARTHING Earthing with copper Earth plate 600mm x 600mm x 3mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | EACH | 100.00 | 21000.00 | 84000.00 | 15600.00 | 62400.00 | 62400.00 | DEEPAKELECTRICALS
40.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and refilling etc. as required. | 12.00 | METER | 100.00 | 2700.00 | 32400.00 | 2100.00 | 25200.00 | 25200.00 | DEEPAKELECTRICALS
41.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 10.00 | METER | 100.00 | 2400.00 | 24000.00 | 1890.00 | 18900.00 | 18900.00 | DEEPAKELECTRICALS
42.00 | Jointing copper / G.I. tape (with another copper/ G I tape, base of the finial or any other metallic object) by riveting / nut bolting/ sweating and soldering etc as required. | 8.00 | EACH | 100.00 | 600.00 | 4800.00 | 230.00 | 1840.00 | 1840.00 | DEEPAKELECTRICALS
43.00 | CABLE LAYING: Supply of aluminium conductor XLPE insulated, PVC inner sheathed, armoured power cable of 1.1 KV grade conforming to IS-7098 Part 1(1988) amended up to date. 3.5 X 50 sq mm | 92.00 | METER | 100.00 | 543.00 | 49956.00 | 450.00 | 41400.00 | 41400.00 | DEEPAKELECTRICALS
44.00 | Supply of aluminium conductor XLPE insulated, PVC inner sheathed, armoured power cable of 1.1 KV grade conforming to IS-7098 Part 1(1988) amended up to date. 3.5 X 25 sq mm | 92.00 | METER | 100.00 | 360.00 | 33120.00 | 230.00 | 21160.00 | 21160.00 | DEEPAKELECTRICALS
45.00 | Supplying and laying of following size HDPE pipe of PE 80 grade PN 8 pressure rating conforming to IS 4984 -2016 along with all accessories complete with fitting and cutting, jointing etc. in the existing trench, complete as required. 63mm dia (OD) HDPE pipe | 75.00 | METER | 100.00 | 210.00 | 15750.00 | 245.00 | 18375.00 | 15750.00 | C P MONCHESTER ELECTRICALS
46.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Above 35 sq. mm and up to 95 sq.mm | 25.00 | METER | 100.00 | 60.00 | 1500.00 | 33.00 | 825.00 | 825.00 | DEEPAKELECTRICALS
47.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Upto 35 Sqmm | 50.00 | METER | 100.00 | 60.00 | 3000.00 | 23.00 | 1150.00 | 1150.00 | DEEPAKELECTRICALS
48.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 6.00 | METER | 100.00 | 150.00 | 900.00 | 44.00 | 264.00 | 264.00 | DEEPAKELECTRICALS
49.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required Upto 35 sq. mm (clamped with 1mm thick saddle) | 6.00 | METER | 100.00 | 120.00 | 720.00 | 33.00 | 198.00 | 198.00 | DEEPAKELECTRICALS
50.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 35 sq. mm and upto 95 sq. mm | 8.00 | METER | 100.00 | 60.00 | 480.00 | 22.00 | 176.00 | 176.00 | DEEPAKELECTRICALS
51.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 Sqmm | 8.00 | METER | 100.00 | 60.00 | 480.00 | 22.00 | 176.00 | 176.00 | DEEPAKELECTRICALS
52.00 | Supplying and installing following size of perforated painted with powder coating hot dipped galvanised iron cable tray with perforation not more than 17.5% in convenient sections ,joined with connectors ,suspended from ceiling with G.I suspenders including GI bolts and nuts etc as required. 300 mm width x 50 mm depth x 1.6 mm thickness | 40.00 | METER | 100.00 | 1650.00 | 66000.00 | 890.00 | 35600.00 | 35600.00 | DEEPAKELECTRICALS
53.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 40.00 | METER | 100.00 | 150.00 | 6000.00 | 45.00 | 1800.00 | 1800.00 | DEEPAKELECTRICALS
54.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 40.00 | METER | 100.00 | 120.00 | 4800.00 | 35.00 | 1400.00 | 1400.00 | DEEPAKELECTRICALS
55.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5x50 sq mm(35 mm) | 2.00 | Set | 100.00 | 2100.00 | 4200.00 | 550.00 | 1100.00 | 1100.00 | DEEPAKELECTRICALS
56.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 25 sq. mm (28mm) | 2.00 | Set | 100.00 | 2100.00 | 4200.00 | 350.00 | 700.00 | 700.00 | DEEPAKELECTRICALS
57.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 6.00 | CUM | 100.00 | 3000.00 | 18000.00 | 700.00 | 4200.00 | 4200.00 | DEEPAKELECTRICALS
58.00 | Supplying and fixing 4 pole, Load Break Switch in Sheet Steel Enclosure of following rating conforms to IEC 947-3 AC-23A, Front operated suitable for 415V, 50Hz AC supply as required. 100 Amps | 1.00 | Set | 100.00 | 10800.00 | 10800.00 | 12000.00 | 12000.00 | 10800.00 | C P MONCHESTER ELECTRICALS
59.00 | Supplying and fixing 4 pole, Load Break Switch in Sheet Steel Enclosure of following rating conforms to IEC 947-3 AC-23A, Front operated suitable for 415V, 50Hz AC supply as required. 63 Amps | 1.00 | Set | 100.00 | 9000.00 | 9000.00 | 10000.00 | 10000.00 | 9000.00 | C P MONCHESTER ELECTRICALS
60.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, Ics=100% Icu and Operational Voltage 690V etc. as required. 100 A,36KA,FPMCCB | 1.00 | Set | 100.00 | 21000.00 | 21000.00 | 9000.00 | 9000.00 | 9000.00 | DEEPAKELECTRICALS
61.00 | Providing, Laying & Fixing following dia GI pipe (Medium class) in ground complete with GI fittings excluding trenching as required. 100 mm dia | 45.00 | METER | 100.00 | 2100.00 | 94500.00 | 2300.00 | 103500.00 | 94500.00 | C P MONCHESTER ELECTRICALS
62.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead asper direction of Engineer - in- charge. | 1.01 | Cum | 100.00 | 35000.00 | 35437.50 | 450.00 | 455.63 | 455.63 | DEEPAKELECTRICALS
63.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:3:6 (1 Cement : 2 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size) | .34 | CUM | 100.00 | 21000.00 | 7087.50 | 670.00 | 226.13 | 226.13 | DEEPAKELECTRICALS
64.00 | Lightning Arrestor: Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at topwith 85 mm dia 6 mm thick G.I. base plate including holes etc. complete as required. | 2.00 | Each | 100.00 | 3600.00 | 7200.00 | 4555.50 | 9111.00 | 7200.00 | C P MONCHESTER ELECTRICALS
65.00 | Jointing copper/ G.I. tape (with another copper/ G.I. tape, base of the finial or any other metallic object) by riveting/ nut bolting/ sweating and soldering etc as required. | 4.00 | Each | 100.00 | 600.00 | 2400.00 | 300.00 | 1200.00 | 1200.00 | DEEPAKELECTRICALS
66.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For horizontal run) | 55.00 | METER | 100.00 | 300.00 | 16500.00 | 200.00 | 11000.00 | 11000.00 | DEEPAKELECTRICALS
67.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For vertical run) | 12.00 | METER | 100.00 | 900.00 | 10800.00 | 200.00 | 2400.00 | 2400.00 | DEEPAKELECTRICALS
68.00 | Providing and laying GI Tape 32 mm x 6 mm from earth electrode directly in ground as required. | 20.00 | METER | 100.00 | 720.00 | 14400.00 | 300.00 | 6000.00 | 6000.00 | DEEPAKELECTRICALS
69.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | EACH | 100.00 | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 20000.00 | DEEPAKELECTRICALS
70.00 | SITC OF ADDRESSABLE FIRE ALARM SYSTEM Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required. 2 x 1.5 sq. mm | 305.00 | METER | 100.00 | 270.00 | 82350.00 | 145.00 | 44225.00 | 44225.00 | DEEPAKELECTRICALS
71.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess includingpainting in case of surface conduit, or cutting the walland making good the same in case of recessed conduit as required. 32mm | 145.00 | METER | 100.00 | 180.00 | 26100.00 | 200.00 | 29000.00 | 26100.00 | C P MONCHESTER ELECTRICALS
72.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 22.00 | EACH | 100.00 | 3000.00 | 66000.00 | 4500.00 | 99000.00 | 66000.00 | C P MONCHESTER ELECTRICALS
73.00 | Supply, installation, testing and commissioning of UL/EN listed (LatestVersion) intelligent Addressable type Heat Detector (Fixed cum-rate of rise type) with in built fault isolator / isolator base with max. triggering temperature programable from 58 degree C to 69 degree Ccomplete with all fixing accessories like base,base box,self adhesive sticker indicating loop number and address etc. to be installed below/ above false ceiling,roof and concealed space,etc. interconnecting to loop cable,etc.as per specification complete as required. | 1.00 | EACH | 100.00 | 3590.00 | 3590.00 | 3000.00 | 3000.00 | 3000.00 | DEEPAKELECTRICALS
74.00 | Supply, installation, testing and commissioning of UL/ENlisted (latest version) Intelligent addressable Control Module/Relay Module (output module) with inbuilt fault isolator/ isolator module complete with termination etc.complete as required and as per enclosed specifications. | 2.00 | EACH | 100.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 9000.00 | C P MONCHESTER ELECTRICALS
75.00 | Supply, installation, testing and commissioning of UL/EN listed (LatestVersion) Response Indicators for getting fire indications of detectors including mounting boxes installed above false ceiling area interconnecting to loop cable etc. as per specification complete as required. | 6.00 | EACH | 100.00 | 3000.00 | 18000.00 | 2000.00 | 12000.00 | 12000.00 | DEEPAKELECTRICALS
76.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or polycarbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 2.00 | EACH | 100.00 | 3600.00 | 7200.00 | 4500.00 | 9000.00 | 7200.00 | C P MONCHESTER ELECTRICALS
77.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 2.00 | EACH | 100.00 | 9000.00 | 18000.00 | 4500.00 | 9000.00 | 9000.00 | DEEPAKELECTRICALS
78.00 | SITC OF AIRCONDITIONERS & WATER DISPENSERS Supply installation testing and commissioning of Invertrer type, 5 star rated, copper condensor & Evaporator, 2 TR hi-wall mounted split type air conditioning unit consisting of non-ductable single phase wall mounted room unit (evaporator) with cordless remote control and one number of out door condensing unit comprising sealed compressor suitable for operation on single phase 230 V 50Hz AC supply including fixing the outdoor unit on a raised angle iron platform/wall bracket, fixing of room unit (evaporator), providing and making all inter connection (control&power cable with flexible copper cable of suitable size as per manufacturer's recommendation) between evaporator and condenser unit (if required), providing and making all inter connection between evaporator and condenser unit up to a length of 3.0 (three) meter comprising of Liquid Line & Suction Line including wrapping with closed cell elastomeric nitrile rubber insulation tubes/PE foam including wrapping in white vinyl tape,25mm dia rigid PVC drain pipe up to 03Mtr embedded in suitable dia closed cell elastomeric nitrile rubber insulation/PE foam & wrapping with white vinyl tape,first charging of refrigerant,making hole/opening of suitable size on wall for refrigerant/drain pipe/cable passage , making good the opening after installation etc. complete including all accessories as required. (As per List of approved makes attached herewith) | 7.00 | EACH | 100.00 | 66000.00 | 462000.00 | 87000.00 | 609000.00 | 462000.00 | C P MONCHESTER ELECTRICALS
79.00 | SITC of extra length of copper pipe (For use alongwith item No. 01 for quantity in excess of 3 metres) (suction & discharge together) between condensor and evaporator unit ,enclosed in with nitrile ruber insulation/PE foam including wrapping in white vinyl tape etc as required. | 20.00 | Metre | 100.00 | 2100.00 | 42000.00 | 1200.00 | 24000.00 | 24000.00 | DEEPAKELECTRICALS
80.00 | SITC of extra length of drain pipe (For use alongwith item No. 01 for quantity in excess of 3 metres) from evaporator to a suitable location as per direction of Engineer In Charge ,enclosed in nitrile rubber insulation/PE foam including wrapping in white vinyl tape etc as required. | 20.00 | Metre | 100.00 | 360.00 | 7200.00 | 120.00 | 2400.00 | 2400.00 | DEEPAKELECTRICALS
81.00 | SITC of stabilizer suitable to use with 2 Ton Hi-Wall split ac (As mentioned in Sl no 1) operates in 230V,50Hz, Single phase AC power supply having feature of High and low voltage protection, initial time delay complete etc including all accessories as required. | 7.00 | Job | 100.00 | 4500.00 | 31500.00 | 6500.00 | 45500.00 | 31500.00 | C P MONCHESTER ELECTRICALS
82.00 | Supply of HOT/COLD/NORMAL Water dispenser with UV+RO filter, Cold water storage tank of 40 Ltrs, total storage 70-80 Ltrs, Cooling capacity 40 LPH, R.O capacity of 50 LPH, three taps for HOT, COLD, and NORMAL water with Stainless steel body, eco friendly refrigerant, Operating on 230 V, 50 HZ, AC supply as required | 3.00 | EACH | 100.00 | 120000.00 | 360000.00 | 225000.00 | 675000.00 | 360000.00 | C P MONCHESTER ELECTRICALS
83.00 | SITC of Vertical type, wall mounted, 5 star rated, Electric Geyser , Min. 10 liter storage capacity, Min. 1 KW heating element, suitable for operation on 230 Volt, single phase AC supply, with visual indication for ON-OFF operation , Auto off Function, Stainless steel storage tank with insulation coating, Vitreous enamelled inner tank confirming to IS:13273, etc. complete as required. | 1.00 | EACH | 100.00 | 21000.00 | 21000.00 | 9800.00 | 9800.00 | 9800.00 | DEEPAKELECTRICALS
| Total in Figures |  |  |  |  | 2484025.00 |  | 2959998.76
Lowest Amount Quoted BY: C P MONCHESTER ELECTRICALS(2484025.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Emergency Medical Centre at Mysuru Airport. SH- Electrical Works Tender ID: 2026_AAI_263156_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | C P MONCHESTER ELECTRICALS (BID ID -974406) | 2484025.00 | L1
| 2 | DEEPAKELECTRICALS (BID ID -975683) | 2959998.76 | L2