## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 06-Mar-2026 06:30 PM Tender Title: Shifting of CCR Hall to Operational Area at Chennai Airport, Chennai SH IEI Works Tender ID: 2026_AAI_264257_1
Tender Inviting Authority: AGM (Engg - Elect), Airports Authority of India, Chennai Airport, Chennai.
Name of Work:Shifting of CCR HALL to Operational Area at Chennai Airport, Chennai. SH:IEI Works
Contract No: 2026_AAI_264257_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -982181 |  | DEEPAKELECTRICALS (GSTN-33ALUPD3531C1ZI) BID ID -982424 |  | Udaya Technologies Private Limited (GSTN-NA) BID ID -982363
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I Internal Electrification Works
2.00 | Wiring for light point/ fan point/ exhaust fan point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required.
2.01 | Group C | 165.00 | Point |  | 1900.00 | 313500.00 | 1200.00 | 198000.00 | 3565.00 | 588225.00 | 198000.00 | DEEPAKELECTRICALS
3.00 | Wiring for twin control light point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required. | 3.00 | Point |  | 1900.00 | 5700.00 | 1300.00 | 3900.00 | 1462.00 | 4386.00 | 3900.00 | DEEPAKELECTRICALS
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with following sizes FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
4.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 540.00 | Mtr |  | 350.00 | 189000.00 | 165.00 | 89100.00 | 511.00 | 275940.00 | 89100.00 | DEEPAKELECTRICALS
4.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 500.00 | Mtr |  | 400.00 | 200000.00 | 225.00 | 112500.00 | 572.00 | 286000.00 | 112500.00 | DEEPAKELECTRICALS
4.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 150.00 | Mtr |  | 450.00 | 67500.00 | 325.00 | 48750.00 | 656.00 | 98400.00 | 48750.00 | DEEPAKELECTRICALS
4.04 | 4 X 2.5 sq. mm + 2 X 2.5 sq.mm earth wire | 560.00 | Mtr |  | 600.00 | 336000.00 | 350.00 | 196000.00 | 726.00 | 406560.00 | 196000.00 | DEEPAKELECTRICALS
4.05 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 300.00 | Mtr |  | 700.00 | 210000.00 | 425.00 | 127500.00 | 895.00 | 268500.00 | 127500.00 | DEEPAKELECTRICALS
5.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required.
5.01 | Group B | 442.00 | Point |  | 1000.00 | 442000.00 | 900.00 | 397800.00 | 1463.00 | 646646.00 | 397800.00 | DEEPAKELECTRICALS
6.00 | Supplying and drawing following pair 0.5 mm dia FRLSH PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
6.01 | 4 Pair | 300.00 | Mtr |  | 50.00 | 15000.00 | 65.00 | 19500.00 | 59.00 | 17700.00 | 15000.00 | Balaji Engineering
7.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required. | 300.00 | Mtr |  | 55.00 | 16500.00 | 65.00 | 19500.00 | 52.00 | 15600.00 | 15600.00 | Udaya Technologies Private Limited
8.00 | Supplying and drawing 1 run of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required. | 100.00 | Mtr |  | 55.00 | 5500.00 | 87.00 | 8700.00 | 70.00 | 7000.00 | 5500.00 | Balaji Engineering
9.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as required.
9.01 | 20 mm | 100.00 | Mtr |  | 220.00 | 22000.00 | 78.00 | 7800.00 | 262.00 | 26200.00 | 7800.00 | DEEPAKELECTRICALS
9.02 | 25 mm | 350.00 | Mtr |  | 250.00 | 87500.00 | 98.00 | 34300.00 | 274.00 | 95900.00 | 34300.00 | DEEPAKELECTRICALS
10.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
10.01 | 5/6 A switch | 18.00 | Each |  | 120.00 | 2160.00 | 65.00 | 1170.00 | 67.00 | 1206.00 | 1170.00 | DEEPAKELECTRICALS
10.02 | 3 pin 5/6 A socket outlet | 18.00 | Each |  | 130.00 | 2340.00 | 95.00 | 1710.00 | 106.00 | 1908.00 | 1710.00 | DEEPAKELECTRICALS
10.03 | Telephone socket outlet | 5.00 | Each |  | 150.00 | 750.00 | 125.00 | 625.00 | 100.00 | 500.00 | 500.00 | Udaya Technologies Private Limited
10.04 | TV antenna socket outlet | 4.00 | Each |  | 150.00 | 600.00 | 125.00 | 500.00 | 101.00 | 404.00 | 404.00 | Udaya Technologies Private Limited
10.05 | Data outlet one module for Data Points (RJ-45) | 4.00 | Each |  | 350.00 | 1400.00 | 145.00 | 580.00 | 406.00 | 1624.00 | 580.00 | DEEPAKELECTRICALS
11.00 | Supplying and fixing following size GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
11.01 | 1 or 2 Module | 9.00 | Each |  | 350.00 | 3150.00 | 120.00 | 1080.00 | 328.00 | 2952.00 | 1080.00 | DEEPAKELECTRICALS
11.02 | 9 Module | 6.00 | Each |  | 600.00 | 3600.00 | 433.00 | 2598.00 | 509.00 | 3054.00 | 2598.00 | DEEPAKELECTRICALS
12.00 | Supplying and fixing suitable size GI box with modular plate and cover in front, on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 60.00 | Each |  | 500.00 | 30000.00 | 333.00 | 19980.00 | 341.00 | 20460.00 | 19980.00 | DEEPAKELECTRICALS
13.00 | Supplying and fixing suitable size GI box with modular plate and cover in front, on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required | 21.00 | Each |  | 700.00 | 14700.00 | 490.00 | 10290.00 | 503.00 | 10563.00 | 10290.00 | DEEPAKELECTRICALS
14.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
14.01 | 8 way (4 + 24), Double door | 7.00 | Each |  | 7000.00 | 49000.00 | 24000.00 | 168000.00 | 7796.00 | 54572.00 | 49000.00 | Balaji Engineering
15.00 | Supplying and fixing Cable End Box (Loose wire box)(IP 43) suitable for following triple pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with testing and commissioning etc. as required.
15.01 | For 8 way, Double door TPN MCBDB | 7.00 | Each |  | 1500.00 | 10500.00 | 17000.00 | 119000.00 | 7796.00 | 54572.00 | 10500.00 | Balaji Engineering
16.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
16.01 | Single Pole | 168.00 | Each |  | 250.00 | 42000.00 | 240.00 | 40320.00 | 184.00 | 30912.00 | 30912.00 | Udaya Technologies Private Limited
17.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
17.01 | 63A FP | 7.00 | Each |  | 1000.00 | 7000.00 | 2000.00 | 14000.00 | 747.00 | 5229.00 | 5229.00 | Udaya Technologies Private Limited
18.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 13.00 | Each |  | 1500.00 | 19500.00 | 4500.00 | 58500.00 | 1364.00 | 17732.00 | 17732.00 | Udaya Technologies Private Limited
19.00 | Supplying and fixing of 40mm size of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 50.00 | Mtr |  | 250.00 | 12500.00 | 133.00 | 6650.00 | 122.00 | 6100.00 | 6100.00 | Udaya Technologies Private Limited
20.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc.as required.
20.01 | 300 mm width X 62.5 mm depth X 2.0 mm thickness | 150.00 | Mtr |  | 250.00 | 37500.00 | 1000.00 | 150000.00 | 1737.00 | 260550.00 | 37500.00 | Balaji Engineering
21.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "bends" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.
21.01 | 300 mm width X 62.5 mm depth X 2.0 mm thickness | 10.00 | Each |  | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 1646.00 | 16460.00 | 10000.00 | Balaji Engineering, DEEPAKELECTRICALS
22.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "Tee" (galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required.
22.01 | 300 mm width X 62.5 mm depth X 2.0 mm thickness | 4.00 | Each |  | 1000.00 | 4000.00 | 900.00 | 3600.00 | 2035.00 | 8140.00 | 3600.00 | DEEPAKELECTRICALS
23.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray "Cross member"(galvanisation not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required.
23.01 | 300 mm width X 62.5 mm depth X 2.0 mm thickness | 2.00 | Each |  | 1000.00 | 2000.00 | 900.00 | 1800.00 | 2430.00 | 4860.00 | 1800.00 | DEEPAKELECTRICALS
24.00 | SH:II Supply and Laying of Cables, Earthing
25.00 | Supply of Copper Conductor, FRLS PVC insulated, PVC sheathed, un-armoured power cable of 1.1 KV grade of following Sizes conforming to IS 694 as amended upto date as required.
25.01 | 3C x 2.5 sq.mm. | 250.00 | Mtr |  | 160.00 | 40000.00 | 355.00 | 88750.00 | 132.00 | 33000.00 | 33000.00 | Udaya Technologies Private Limited
26.00 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following sizes conforming to IS 7098 (Part-1) as amended upto date as required.
26.01 | 4C x 25 Sqmm. | 330.00 | Mtr |  | 210.00 | 69300.00 | 500.00 | 165000.00 | 218.00 | 71940.00 | 69300.00 | Balaji Engineering
27.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
27.01 | 4C x 25 sq. mm (28mm) | 7.00 | Set |  | 500.00 | 3500.00 | 400.00 | 2800.00 | 322.00 | 2254.00 | 2254.00 | Udaya Technologies Private Limited
28.00 | Drawing following size of PVC insulated copper conductor flexible cable in the existing surface/recessed steel/PVC conduit as required.
28.01 | 3C x 2.5 sq.mm | 250.00 | Mtr |  | 150.00 | 37500.00 | 25.00 | 6250.00 | 17.00 | 4250.00 | 4250.00 | Udaya Technologies Private Limited
29.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required
29.01 | Upto 35 sq. mm | 50.00 | Mtr |  | 50.00 | 2500.00 | 22.00 | 1100.00 | 25.00 | 1250.00 | 1100.00 | DEEPAKELECTRICALS
30.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
30.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 280.00 | Mtr |  | 50.00 | 14000.00 | 34.00 | 9520.00 | 13.00 | 3640.00 | 3640.00 | Udaya Technologies Private Limited
31.00 | Supply and fixing of weather proof IP 66/67 Polycarbonate Box (similar to hensel: KF 0404 G ) on the wall surface including providing & fixing suitable connectors for loop in & loop out connections for 3 core 2.5 sq.mm. copper flexible cable including termination of the cable with weather proof IP65 glands etc. as required. | 20.00 | Each |  | 1000.00 | 20000.00 | 1400.00 | 28000.00 | 1305.00 | 26100.00 | 20000.00 | Balaji Engineering
32.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required | 660.00 | Mtr |  | 30.00 | 19800.00 | 45.00 | 29700.00 | 14.00 | 9240.00 | 9240.00 | Udaya Technologies Private Limited
33.00 | SH:III Light Fixtures and Fans
34.00 | Supply of LED Well Glass Light Fixture made of single piece pressure die cast Aluminium housing and Poly Carbonate Clear/Milky shade lens to avoid glare including driver compartment with luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 4000 Lumens, suitable for operation in 140 – 270V AC supply, LED Colour Temperature from 5700K- 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, complete as required and meeting the techno commercial specifications. | 438.00 | Each |  | 2200.00 | 963600.00 | 1500.00 | 657000.00 | 1226.00 | 536988.00 | 536988.00 | Udaya Technologies Private Limited
35.00 | Supply of LED Flood light luminaire made of pressure die cast aluminium housing with toughened glass and High Purity lens optics with Surface Mounted Device (SMD) LEDs having System efficacy of more than 110 lm/W and minimum Lumen Output of 8800 Lumen with hermitically sealed separate compartments for LEDs and driver suitable to operate in temperature range of 0ᴼ to 50ᴼ C and on 230 Volt, 50 Hz AC Supply and with Lighting Characteritics of CCT 5700 K, CRI not less than 70, provided with 4 KV internal Surge Protection, IP 66 Ingress Protection etc., complete as required and meeting the techno commercial specifications. | 20.00 | Each |  | 5000.00 | 100000.00 | 17000.00 | 340000.00 | 3757.00 | 75140.00 | 75140.00 | Udaya Technologies Private Limited
36.00 | Supply of 600mm x 600mm, Surface Mounted LED fixture with powder coated CRCA housing having luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 3600 Lumen suitable to operate 140 – 270V AC supply, LED Colour Temperature from 5700K- 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected etc., complete as required and meeting the technical commercial specifications. | 75.00 | Each |  | 3000.00 | 225000.00 | 3000.00 | 225000.00 | 1855.00 | 139125.00 | 139125.00 | Udaya Technologies Private Limited
37.00 | Supply of LED industrial batten Fitting made of Powder coated aluminium extrusion housing and Special opal diffuser for uniform light output, having luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 4000 Lumen suitable to operate 150 – 270V AC supply, LED Colour Temperature from 5700K - 6500K with minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected, etc., complete as required and meeting the technical commercial specifications. | 32.00 | Each |  | 1600.00 | 51200.00 | 8600.00 | 275200.00 | 491.00 | 15712.00 | 15712.00 | Udaya Technologies Private Limited
38.00 | Supply of LED surface mount down lighter Fixture made of aluminium pressure die-cast housing and opal diffuser for uniform lighting with luminaire efficacy of not less than 100 lm/W and minimum Lumen Output of 2400 Lumen, suitable to operate 150 – 270V AC supply, LED Colour Temp. from 5700K- 6500K with Minimum 50000 burning hours life, operating at a temperature of -10⁰C to +50⁰ C, IP 20 protected,etc., complete as required and meeting the technical commercial specifications as required. | 36.00 | Each |  | 800.00 | 28800.00 | 2900.00 | 104400.00 | 1185.00 | 42660.00 | 28800.00 | Balaji Engineering
39.00 | Supply of 1200mm sweep, BLDC BEE 5 star rated ceiling fan suitable for 230 Volt 50 Hz AC Supply, with minimum 350 RPM, minimum Air delivery of 220 CMM with 30 cm down rod and other accessories, canopies, without regulator etc. complete as required | 20.00 | Each |  | 3500.00 | 70000.00 | 4500.00 | 90000.00 | 2621.00 | 52420.00 | 52420.00 | Udaya Technologies Private Limited
40.00 | Supply of 1400mm sweep, BLDC BEE 5 star rated ceiling fan suitable for 230 Volt 50 Hz AC Supply, with minimum 300 RPM and minimum Air delivery of 240 CMM with 30 cm down rod and other accessories, canopies, without regulator etc. complete as required. | 14.00 | Each |  | 3700.00 | 51800.00 | 4300.00 | 60200.00 | 4190.00 | 58660.00 | 51800.00 | Balaji Engineering
41.00 | Supply of 300mm sweep, metallic exhaust fan of minimum 1400 RPM, suitable for 230 Volt 50 Hz AC supply including all acessories etc. complete as required. | 10.00 | Each |  | 2200.00 | 22000.00 | 3400.00 | 34000.00 | 1604.00 | 16040.00 | 16040.00 | Udaya Technologies Private Limited
42.00 | Supply of 450mm sweep, metallic exhaust fan, minimum 1400 rpm, suitable for 230 volt 50 Hz AC supply including all acessories etc. complete as required. | 16.00 | Each |  | 4500.00 | 72000.00 | 3500.00 | 56000.00 | 2214.00 | 35424.00 | 35424.00 | Udaya Technologies Private Limited
43.00 | Supply of 600mm sweep, metallic Air circulator of wall mounted type with minimum 1440 RPM and minimum Air delivery of 250 CMM and having maximum noise level 60-65 db suitable for 230 Volt 50 Hz AC Supply including all acessories etc. as required. | 10.00 | Each |  | 5800.00 | 58000.00 | 9900.00 | 99000.00 | 2633.00 | 26330.00 | 26330.00 | Udaya Technologies Private Limited
44.00 | Supply of 3 kW high-grade magnesium oxide insulated copper element Instant Electric Water Geyser of minimum 3 litres storage capacity made of inner tank of high-grade 304 Stainless Steel and Rust-proof high-quality polymer constituents outer body with all standard accessories such as pressure release valve, ISI marked thermostat, disc type snap action safety device and anti-siphon protection etc., as required. | 4.00 | Each |  | 3500.00 | 14000.00 | 9900.00 | 39600.00 | 3042.00 | 12168.00 | 12168.00 | Udaya Technologies Private Limited
45.00 | Supply of LED Aviation Obstruction light in cast aluminium housing with polycarbonate enclosure as per ICAO standards. | 2.00 | Each |  | 5000.00 | 10000.00 | 9900.00 | 19800.00 | 4668.00 | 9336.00 | 9336.00 | Udaya Technologies Private Limited
46.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of length upto 60cm with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 34.00 | Job |  | 300.00 | 10200.00 | 140.00 | 4760.00 | 126.00 | 4284.00 | 4284.00 | Udaya Technologies Private Limited
47.00 | Installation of exhaust fan Upto 450 mm sweep in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 26.00 | Job |  | 300.00 | 7800.00 | 200.00 | 5200.00 | 168.00 | 4368.00 | 4368.00 | Udaya Technologies Private Limited
48.00 | Installation, testing and commissioning of light fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 603.00 | Each |  | 300.00 | 180900.00 | 120.00 | 72360.00 | 126.00 | 75978.00 | 72360.00 | DEEPAKELECTRICALS
49.00 | SH:IV Lightning Arrester
50.00 | Supply& Installation of Vertical Air Termination solid Aluminium with base- 16 mm dia and 1000 mm long. Air Terminal Base should be tested for conditioning, Ageing Test & Lightning impulse current withstand test: 100 kA of 10/350μs waveform. | 2.00 | Job |  | 50000.00 | 100000.00 | 5000.00 | 10000.00 | 1621.00 | 3242.00 | 3242.00 | Udaya Technologies Private Limited
51.00 | Supply and Installationof Vertical Air Termination Solid Aluminium with base- 16 mm dia and 1000 mm long. Air Terminal Base should be tested for conditioning, Ageing Test & Lightning impulse current withstand test: 100 kA of 10/350μs waveform,MAST 34mm dia 3 mtr long- Cold Galvanised for Side Mounting With minimum 3 nos GI-C-type Holder and other accessories without Base Plate complete as required. | 6.00 | Job |  | 50000.00 | 300000.00 | 12000.00 | 72000.00 | 8802.00 | 52812.00 | 52812.00 | Udaya Technologies Private Limited
52.00 | Supply & Installation of Vertical Air Termination Solid Aluminium with base- 16 mm dia and 1000 mm long. Air Terminal Base should be tested for conditioning, Ageing Test & Lightning impulse current withstand test: 100 kA of 10/350μs waveform, MAST 34mm dia 3 mtr long- Cold Galvanised for RCC Roof with Base Plate. | 1.00 | Job |  | 50000.00 | 50000.00 | 12000.00 | 12000.00 | 8802.00 | 8802.00 | 8802.00 | Udaya Technologies Private Limited
53.00 | Supply, fixing, testing and commissioning of 8mm dia Aluminium Round Conductor including expansion piece at every 20 Mtr to meet the requirements as per IS/IEC 62305 and IEC/EN 62561-2. | 415.00 | Mtr |  | 100.00 | 41500.00 | 600.00 | 249000.00 | 235.00 | 97525.00 | 41500.00 | Balaji Engineering
54.00 | Supply, fixing, testing and commissioning of Al Round Conductor Holder on wall surface with accessories Stainless Steel Self-Threaded Screw With washer to meet requirements to IEC/EN 62561-1. | 415.00 | Job |  | 100.00 | 41500.00 | 130.00 | 53950.00 | 250.00 | 103750.00 | 41500.00 | Balaji Engineering
55.00 | Supply and fixing of Concrete block for Conductor fixing- 100x100x50mm thick. | 10.00 | Job |  | 1000.00 | 10000.00 | 130.00 | 1300.00 | 482.00 | 4820.00 | 1300.00 | DEEPAKELECTRICALS
56.00 | Supply & Installation of Expansion Piece without connector compensate the expansion and contraction of Solid Round Al. Conductor during temperature variations to be provided on conductors length over 20 meters to connect Solid Round Al Conductor at both ends to meet the requirements of IS/IEC 62305. | 4.00 | Job |  | 500.00 | 2000.00 | 200.00 | 800.00 | 978.00 | 3912.00 | 800.00 | DEEPAKELECTRICALS
57.00 | Supply, fixing, testing and commissioning of Stainless Steel Universal Clamp as per IEC/EN 62561-1 etc complete as required | 20.00 | Job |  | 200.00 | 4000.00 | 100.00 | 2000.00 | 467.00 | 9340.00 | 2000.00 | DEEPAKELECTRICALS
58.00 | Supply, fixing, testing and commissioning of Al. Straight Splicers for 8mm/10mm conductor as per IEC/EN 62561-1 etc. complete as required | 13.00 | Job |  | 200.00 | 2600.00 | 120.00 | 1560.00 | 250.00 | 3250.00 | 1560.00 | DEEPAKELECTRICALS
59.00 | Supply, fixing, testing and commissioning of Test Clamp For Connecting down conductors with earth entries or for connecting conductors of different materials (Al round conductor for down conductor to connect 25 mm x 6 mm GI earth strip along with GI Strip holder), as per IEC/EN-62561-1 etc complete as required. | 10.00 | Job |  | 200.00 | 2000.00 | 120.00 | 1200.00 | 605.00 | 6050.00 | 1200.00 | DEEPAKELECTRICALS
60.00 | Supply & Installation of 25X6 mm GI strip on surface/in ground as required from Al conductor to the earth pit. | 50.00 | Mtr |  | 200.00 | 10000.00 | 120.00 | 6000.00 | 395.00 | 19750.00 | 6000.00 | DEEPAKELECTRICALS
61.00 | Supply & Fixing of concrete block for fixing/Mounting Vertical Air Termination / Mast on RCC Floor with special concrete compound for mounting of interception rod using anchor. | 4.00 | Job |  | 200.00 | 800.00 | 120.00 | 480.00 | 126.00 | 504.00 | 480.00 | DEEPAKELECTRICALS
62.00 | Supply and Installation of Electrode Cu bonded steel Rod 14.2mm diax 3000mm (250 microns), 14.2 OD SS clamp both side, eco safe carbon based backfill compound - 25 kg, with 450mmx450mm concrete chamber etc complete as required. | 10.00 | Job |  | 10000.00 | 100000.00 | 14000.00 | 140000.00 | 7183.00 | 71830.00 | 71830.00 | Udaya Technologies Private Limited
63.00 | Providing and fixing 25mm X 5mm G.I Strip in 40mm dia G.I. Pipe for interconnection of earth pits including connection with G.I nut, bolt, spring, washer excavation and re-filling etc. as required. | 230.00 | Mtr |  | 250.00 | 57500.00 | 120.00 | 27600.00 | 395.00 | 90850.00 | 27600.00 | DEEPAKELECTRICALS
64.00 | SH: V FIRE ALARM SYSTEM AND FIRE FIGHTING
65.00 | Supply, Installation, Testing & Commissioning of UL / EN listed Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel of 1 loop, with minimum 80 character graphics / LCD display with touch screen or other keypad and minimum 200 events history log in the non volatile memory (EPROM) ,The panel should be equiped with loop capacity to take minimum 240 intellegent addressable detectors/ devices (In any combination ) in one loop. The panel should operate on 230 volts, 50 Hz AC power supply, automatic battery charger, 24 volts sealed maintenance free lead acid batteries sufficient for 2 hours normal working and then be capable of operating the system for 30 minutes during an emergency / fault conditions along with battery stand as required. | 1.00 | Job |  | 100000.00 | 100000.00 | 65000.00 | 65000.00 | 99781.00 | 99781.00 | 65000.00 | DEEPAKELECTRICALS
66.00 | Supply, Installation, Testing & commissioning of UL / EN listed intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors) | 45.00 | Job |  | 5000.00 | 225000.00 | 6500.00 | 292500.00 | 1896.00 | 85320.00 | 85320.00 | Udaya Technologies Private Limited
67.00 | Supply, installation, testing and commissioning of UL / EN listed intelligent Addressable type Heat Detector (Fixed cum-rate of rise type) with inbuilt fault isolator / isolator base with max.triggering temperature programable from 58 degree C to 69 degree C complete with all fixing accessories like base, base box, self adhesive sticker indicating loop number and address etc. to be installed below /above false ceiling, roof and concealed space, etc. interconnecting to loop cable, etc. as per specification complete as required. | 2.00 | Job |  | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 2370.00 | 4740.00 | 4740.00 | Udaya Technologies Private Limited
68.00 | Supply, Installation, Testing & commissioning of UL / EN listed intelligent addressable Manual call station (Resetable pull / push type) suitable for semi flush mounting, IP 54 for indoor use & IP 65 for outdoor use with inbuilt fault isolator / isolator module with double gang outlet box, equipment for key operated test-reset lock, electronic or rotary switches for address setting. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be made out of LEXAN (or polycarbonate equivalent) with clear operating instruction and the word Fire appearing on the front complete with connections etc. as required and as per enclosed specifications. | 3.00 | Job |  | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 2337.00 | 7011.00 | 7011.00 | Udaya Technologies Private Limited
69.00 | Supply, installation, testing and commissioning of UL / EN listed loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 db to Max. 120 db at 1M distance complete with termination etc. as required and as per enclosed specification. | 3.00 | Job |  | 5000.00 | 15000.00 | 6700.00 | 20100.00 | 2337.00 | 7011.00 | 7011.00 | Udaya Technologies Private Limited
70.00 | Providing, installation, testing & commissioning of UL / EN listed Monitor Module / input module with inbuilt fault isolator / isolator module (for monitoring different electrical / mechanical device etc) as per specifications. | 3.00 | Job |  | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 3795.00 | 11385.00 | 11385.00 | Udaya Technologies Private Limited
71.00 | Supplying & laying of 2 x 1.5 sqmm XLPE Insulated FRLS sheathed armoured cable of 1.1KV grade with annealed copper conductor conforming to IS 7098 (Part-I) complete as required. | 500.00 | Mtr |  | 150.00 | 75000.00 | 145.00 | 72500.00 | 99.00 | 49500.00 | 49500.00 | Udaya Technologies Private Limited
72.00 | Supply, installation, testing and commissioning ISI marked (IS:15683) Fire Extinguisher, Carbon-di-oxide type capacity 4.5 Kg. Flat base including valve, discharge hose of not less than 10 mm dia, 1M long and complete in all respects including initial fill with CO2 gas conforming to IS:307-1966 and walll suspension braket complete as required & as per specifications. | 12.00 | Job |  | 5000.00 | 60000.00 | 7600.00 | 91200.00 | 11292.00 | 135504.00 | 60000.00 | Balaji Engineering
73.00 | Supply, installation, testing and commissioning of 6kg ABC (Powder Type) Fire Extinguisher, in Mild Steel Cylinders ISI marked, fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC 90 powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspension bracket complete and conforming to IS:15683 as required and as per specifications. | 6.00 | Job |  | 3000.00 | 18000.00 | 24000.00 | 144000.00 | 4816.00 | 28896.00 | 18000.00 | Balaji Engineering
74.00 | SH:VI SITC of Submersible pumps
75.00 | SITC of 3HP 3phase borwell type submersible pump set, water filled cooling typewith SS strainer, SS body, noryl impellers using anti friction bearing, energy efficient type operated on 415V 3phase 50Hz power for installation into 6-inch dia. Bore well (Maximum borewell depth 300 feet) along with the supply and installation of suitable size NRV, Butterfly valve, GI flange, Holding Clamp for pipe including all accessories as per site complete etc., complete as required.{Make : Kirloskar model no. KS4D 3017 or equivalent]. | 1.00 | Job |  | 16000.00 | 16000.00 | 89094.00 | 89094.00 | 34582.00 | 34582.00 | 16000.00 | Balaji Engineering
76.00 | Supply and laying of 3 core 4sqmm copper flat PVC insulated and PVC sheathed industrial cable for submersible pump motors 1100V, conforming to IS 694, suitable for installion with deep borewell pump of suitable length etc as required. | 50.00 | Mtr |  | 300.00 | 15000.00 | 450.00 | 22500.00 | 240.00 | 12000.00 | 12000.00 | Udaya Technologies Private Limited
77.00 | SITC of 3HP/2.2 KW DOL starter panel with single phase preventor, overload & dry run protection, suitable to operate with 415V, 50 Hz, 3 phase AC power supply including all accessories etc. complete as required. | 1.00 | Each |  | 5000.00 | 5000.00 | 7600.00 | 7600.00 | 14783.00 | 14783.00 | 5000.00 | Balaji Engineering
78.00 | Supply and fixing of 50mm B class GI pipe in the existing borewell of 2"/1.5" dia, along with supply and installation of suitable size GI coupling, GI elbow, Nipple, heavy duty 16mm Nylon rope etc. including cutting, pipe fitting (elbow, flange valves, clamps etc) complete as required. | 50.00 | Mtr |  | 500.00 | 25000.00 | 1000.00 | 50000.00 | 679.00 | 33950.00 | 25000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 5550700.00 |  | 5777777.00 |  | 5496062.00
Lowest Amount Quoted BY: Udaya Technologies Private Limited(5496062.00)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of CCR Hall to Operational Area at Chennai Airport, Chennai SH IEI Works Tender ID: 2026_AAI_264257_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Udaya Technologies Private Limited (BID ID -982363) | 5496062.00 | L1
| 2 | Balaji Engineering (BID ID -982181) | 5550700.00 | L2
| 3 | DEEPAKELECTRICALS (BID ID -982424) | 5777777.00 | L3