## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 25-Feb-2026 06:08 PM Tender Title: Job Contract of Misc. Repair and Maintenance work of EandM installation and DSR derived works at Bagdogra Airport for 02 Years (2026-2028) Tender ID: 2026_AAI_264592_1
Tender Inviting Authority: DGM(E-E)
Name of Work: Job Contract of Misc. Repair and Maintenance work of E&M installation and DSR derived works at Bagdogra Airport for 02 Years [ 2026-2028]
Contract No: 2026_AAI_264592_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -982227 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -982514
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Complete items of CPWD schedule of rates ( DSR-2022 (E & M) as per CPWD Specification as and when required basis. Total amount of work to be executed amounting to Rs. 10,00,000/- during contract period as per DSR 2022. [Note: Example for quoting the rate- (i) If bidder wants to quote the rates at par with rates of DSR-2022 (E & M), then bidder has to quote Rs10,00,000/- in the rate column. (ii) If bidder wants to quote the rate 10% above on rate of DSR-2022 (E & M), then bidder has to quote Rs. 11,00,000/- in the rate column. (iii) If bidder wants to quote the rate 10% below on rate of DSR-2022 (E & M), then bidder has to quote Rs.9,00,000/- in the rate column. Above examples are for guidance to bidders only.If the Bidder wants to quote in some other above or below then the rate may be quoted accordingly] | 1.00 | Job | 1000000.00 | 850000.00 | 850000.00 | 850000.00 | 850000.00 | 850000.00 | Youngmen Traders, ABHISHEK INTEGRATIONS LIMITED
2.00 | Servicing, Calibration & Testing of existing 11 KV HT panel consist of (a) 1 incomer- 1250 A VCB & 2 outgoing - 800 A VCB (b) Overcurrent & earth fault current relay (3 Nos.), (c) Auxiliary/Trip relays -7 Nos (d) Annuciator(03 Nos.) and meters(03 Nos.) through calibration machine having valid calibrated certificate of Govt./NABL lab and submission of test reports complete as reqd.[ 1 Job/ Year ] | 2.00 | Jobs | 32320.00 | 26830.00 | 53660.00 | 25000.00 | 50000.00 | 50000.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Servicing, Calibration & Testing of LT Panel ACB consist of following Make , Model and Rating through calibration machine having valid calibrated certificate of Govt./NABL lab and submission of test reports complete as reqd:[ 1 Job/Year] a. Make LnT- Model C-Power - 2000A ( 3 Nos) b. Make LnT- Model C-Power - 1000A ( 2 Nos) c. Make LnT- Model Omega - 1250 Amps ( 4 Nos ) d. Make Legrand Model DMX3- 1250 Amps ( 2Nos) e. Make Legrand Model DMX3- 1000 Amps ( 4Nos) f. Make Legrand Model DMX3- 2000 Amps ( 3Nos) | 2.00 | Jobs | 106050.00 | 90145.00 | 180290.00 | 25000.00 | 50000.00 | 50000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Replacement of Spring Charge Motor Mechanism by Supply Installation testing and recommissioning for ACB .[ Make Legrand Model DMX3- PART No X/LGR022 37 Suitable to operate in 220-250 V supply ] | 2.00 | Each | 54496.00 | 46320.00 | 92640.00 | 44748.00 | 89496.00 | 89496.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Repair of Hand Drier Machine by replacement of Heating Coil/ Sensor/ repairing of Blower Motor of all Makes and Models. [ Reference to Make Technocrats Model T825 ] | 15.00 | Each | 3698.00 | 3035.00 | 45525.00 | 2200.00 | 33000.00 | 33000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Supply of Following replacement spares as and when requsitioned basis for smooth operation of HT and LT Panels
6.10 | (a)Shunt Tripping Coil/ Closing Coil for Siemens Make VCB Model 3AHO 104 – 1Z [ Part No 3AY 1510-3BY 24 V DC OPERATED 2.65 OHM MAKE INSPROS/ EQUIVALENT ] | 2.00 | Each | 18770.00 | 15955.00 | 31910.00 | 3883.00 | 7766.00 | 7766.00 | ABHISHEK INTEGRATIONS LIMITED
6.20 | (b)Annunciator Relay having 12 Window having provision to operate in auxillary supply of Single Phase Supply , inputs configurable in both NO/NC through Dip Switch , 2 Zone Alarm configurable through DIP Switch , Accept , Reset , Mute , buttons along with external Electronic Hooter of dimention 96 mm x 96 mm. | 2.00 | Each | 12052.00 | 10245.00 | 20490.00 | 12936.00 | 25872.00 | 20490.00 | Youngmen Traders
6.30 | (c) Panel Indication Lamps Colour Red/Green/Blue/Amber/White suitable to operate in universal voltage range i.e 24-240Volt AC/ DC. | 30.00 | Each | 262.00 | 222.00 | 6660.00 | 160.00 | 4800.00 | 4800.00 | ABHISHEK INTEGRATIONS LIMITED
6.40 | (d)Numerical Over Current & Earth Fault Relay suitable to operate in single phase auxillary supply details as per technical specification [ Make C&S Model F 500 ] | 1.00 | Each | 76252.00 | 64815.00 | 64815.00 | 13306.00 | 13306.00 | 13306.00 | ABHISHEK INTEGRATIONS LIMITED
6.50 | ( e ) 3 Pole Power Contactor suitable to operate in single phase auxillary supply along with 2 No +2 NC contacts for AMF Panel [ Lautitz and Knusdsen Make , Model MNX 110 ] | 1.00 | Each | 15479.00 | 13157.00 | 13157.00 | 18554.00 | 18554.00 | 13157.00 | Youngmen Traders
7.00 | Modification of Settings Parameters as per System Requirement & Testing of LT/HT Panel Relay ( 1 Relay /Job) ( as detailed below ) through secondary Injection Test kit and submission of Test Report complete as required [ Make L&T MC61 /Make C&S Model F 500/ Make L&T MC12A /Equivalent Numerical Relay ] | 11.00 | Job | 8333.00 | 6920.00 | 76120.00 | 16500.00 | 181500.00 | 76120.00 | Youngmen Traders
8.00 | Replacement of defective and unserviceable Fire Alarm Detector by SITC including adressing and integration in existing system of Fire Alarm Detection system on as and when required basis.[ Make Siemens , Model OH921 ] | 75.00 | Job | 3354.00 | 2850.00 | 213750.00 | 3135.00 | 235125.00 | 213750.00 | Youngmen Traders
9.00 | Filtration of transformer oil in 1.25 MVA, 11KV / 415 V transformer including testing of transformer oil (acidity, BDV, etc.) before and after filtration, confirming to latest indian standard at site till the reach of satisfactory di-electric strength of 50KV or above and submitting the report, also Testing of Winding Temperature Indicator (WTI), Oil Temperature Indicator (OTI), Buchholz Relay, Pressure Release Valve (PRV) AND replacement of silica gel of transformer etc as complete as required. | 4.00 | Job | 15150.00 | 12425.00 | 49700.00 | 17150.00 | 68600.00 | 49700.00 | Youngmen Traders
10.00 | Supply & Top up the Transformers with ISI marked Transformer oil during filtration as per site requirement etc complete as required. | 100.00 | Ltr. | 177.00 | 148.00 | 14800.00 | 127.00 | 12700.00 | 12700.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Repairing including rewinding , replacement of bearings, of following types ceiling fan/wall fan/ exhaust fan of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc as complete as required. (Dismantled copper wire need not to return to AAI)
11.10 | (a) Ceiling Fan or Wall Fan | 50.00 | Nos. | 591.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 22500.00 | ABHISHEK INTEGRATIONS LIMITED
11.20 | (b) Exhaust Fan upto 12 Inch | 20.00 | Nos. | 861.00 | 715.00 | 14300.00 | 650.00 | 13000.00 | 13000.00 | ABHISHEK INTEGRATIONS LIMITED
11.30 | (c) Heavy Duty Exhaust Fan more than 12 Inch upto 18 Inch | 8.00 | Nos. | 1723.00 | 1430.00 | 11440.00 | 650.00 | 5200.00 | 5200.00 | ABHISHEK INTEGRATIONS LIMITED
11.40 | (d) Pedestal Fan | 1.00 | Nos. | 787.00 | 650.00 | 650.00 | 844.00 | 844.00 | 650.00 | Youngmen Traders
12.00 | Repairing including rewinding and replacement of bearings of Air curtains/AirCirculators/ Pedestal fan of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc as complete as required. (Dismantled copper wire need not return to AAI)
12.10 | (a)Air Curtains | 10.00 | Nos. | 837.00 | 685.00 | 6850.00 | 1000.00 | 10000.00 | 6850.00 | Youngmen Traders
12.20 | (b) Heavy Duty Air Circulators [ Pedestal /Wall Mounted ] | 10.00 | Nos. | 2116.00 | 1735.00 | 17350.00 | 1000.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Repairing including rewinding and replacement of bearings of three phase monoblock pump set upto 5HP rating of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc as complete as required. (Dismantled copper wire need not return to AAI) | 10.00 | Nos. | 5660.00 | 4755.00 | 47550.00 | 7500.00 | 75000.00 | 47550.00 | Youngmen Traders
14.00 | Repairing including rewinding and replacement of bearings of three phase submersible pump [ Openwell / borewell type] set upto 5HP of all make/model/type including transporting from the AAI store (as may be required) and returning back after thorough service etc. as complete as required. (Dismantled copper wire need not return to AAI) | 8.00 | Nos. | 7628.00 | 6100.00 | 48800.00 | 7500.00 | 60000.00 | 48800.00 | Youngmen Traders
15.00 | Lifting of submersible pump set of various capacities alongwith GI pipes from a depth upto 200m due to defect in existing pump set on urgent basis within a short notice including setting up of necessary Pulley arrangement , Dismantling of GI Pipe sections, etc. as complete as required. | 4.00 | Jobs | 7382.00 | 6125.00 | 24500.00 | 10500.00 | 42000.00 | 24500.00 | Youngmen Traders
16.00 | Lowering of submersible pump set of various capacities alongwith GI pipes upto a depth upto 200m due to defect in existing pump set on urgent basis within a short notice including connection of cable, jointing of cable etc with successful testing & commissioning etc as complete as required. | 4.00 | Jobs | 6890.00 | 5720.00 | 22880.00 | 10500.00 | 42000.00 | 22880.00 | Youngmen Traders
17.00 | Painting with providing synthetic enamel paint of approved brand and manufacturer by spray painting method after thorough cleaning of existing LT panels/feeder pillars in installed condition including minor repair and providing red oxide primer as per site requirement and upto the satisfaction of EIC etc as complete as required. | 300.00 | Sq.mtr. | 192.00 | 157.00 | 47100.00 | 250.00 | 75000.00 | 47100.00 | Youngmen Traders
18.00 | Painting with providing synthetic enamel paint of approved brand and manufacturer by spray painting method after thorough cleaning of existing street poles (upto 11 m) installed including minor repair and providing red oxide primer as per site requirement and upto the satisfaction of EIC etc as complete as required. | 65.00 | Nos. | 2438.00 | 2000.00 | 130000.00 | 1050.00 | 68250.00 | 68250.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Carrying out SS/MS welding works in very minor quantities for repairing and maintenance of LT Panels /Coveyor Belts/Grouting sections/ Outdoor Feeder Pillar boxes/ Pole Clamps/ GI Pipe/etc as per site requirement including arrangement of Welding Machine , Welder, consumables etc. | 5000.00 | mm | 6.00 | 5.00 | 25000.00 | 29.00 | 145000.00 | 25000.00 | Youngmen Traders
20.00 | Maintenance and repair [ inclusive of spares and consumables ] of single/three phase High Wall/Tower/Ductable Type Split AC of following capacity of all makes and models/types with voltage stabilizers (if installed) at different locations through Specilized AC Tecnician by arranging monthly service visit and any number of breakdown visits , etc. complete as required as per Special and Particular condition of Contract. [ To be carried out round the year and Billed quarterly basis]
20.01 | 1.5 TR, Single/Three Phase High Wall Split AC [ 1 st Year ] | 65.00 | Nos. | 5227.00 | 4338.00 | 281970.00 | 900.00 | 58500.00 | 58500.00 | ABHISHEK INTEGRATIONS LIMITED
20.02 | 2 TR, Single Phase High Wall Split AC [ 1 st Year ] | 6.00 | Nos. | 5808.00 | 4820.00 | 28920.00 | 1200.00 | 7200.00 | 7200.00 | ABHISHEK INTEGRATIONS LIMITED
20.03 | 3 TR, Three Phase Tower Type Split AC [ 1 st Year ] | 3.00 | Nos. | 9292.00 | 7712.00 | 23136.00 | 1800.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
20.04 | 3 TR, Three Phase Ductable AC [ 1 st Year ] | 3.00 | Nos. | 9292.00 | 7712.00 | 23136.00 | 1800.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
20.05 | 4 TR, Three Phase Floor Mounted Tower Type Split AC [ 1 st Year ] | 41.00 | Nos. | 11615.00 | 9640.00 | 395240.00 | 2400.00 | 98400.00 | 98400.00 | ABHISHEK INTEGRATIONS LIMITED
20.06 | 1.5 TR, Single/Three Phase High Wall Split AC [ 2 ndYear ] | 72.00 | Nos. | 5808.00 | 4820.00 | 347040.00 | 900.00 | 64800.00 | 64800.00 | ABHISHEK INTEGRATIONS LIMITED
20.07 | 2 TR, Single Phase High Wall Split AC [ 2 ndYear ] | 6.00 | Nos. | 6388.00 | 5240.00 | 31440.00 | 1200.00 | 7200.00 | 7200.00 | ABHISHEK INTEGRATIONS LIMITED
20.08 | 3 TR, Three Phase Tower Type Split AC [ 2 ndYear ] | 3.00 | Nos. | 9989.00 | 8192.00 | 24576.00 | 1800.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
20.09 | 3 TR, Three Phase Ductable AC [ 2 ndYear ] | 3.00 | Nos. | 9873.00 | 8298.00 | 24894.00 | 1800.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
20.10 | 4 TR, Three Phase Floor Mounted Tower Type Split AC [ 2 ndYear ] | 66.00 | Nos. | 12196.00 | 10122.00 | 668052.00 | 2400.00 | 158400.00 | 158400.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Dismantling of split Airconditioners (Both indoor and outdoor unit as required) of different make and capacity installed at different locations of the airport complete as required as per site condition.
21.10 | High Wall Split type AC Upto 2 TR | 20.00 | Nos. | 1452.00 | 1190.00 | 23800.00 | 1500.00 | 30000.00 | 23800.00 | Youngmen Traders
21.20 | Floor Mounter Split Type Tower AC upto 4 TR | 20.00 | Nos. | 1452.00 | 1190.00 | 23800.00 | 1500.00 | 30000.00 | 23800.00 | Youngmen Traders
22.00 | Reinstallation of split Airconditioners (Both indoor and outdoor unit as required) of different make and capacity installed at different locations of the airport including gas charging, making foundation/fixing iron angle etc complete as required as per site condition.
22.10 | High Wall Split type AC Upto 2 TR | 10.00 | Nos. | 5808.00 | 4820.00 | 48200.00 | 2000.00 | 20000.00 | 20000.00 | ABHISHEK INTEGRATIONS LIMITED
22.20 | Floor Mounter Split Type Tower AC upto 4 TR | 10.00 | Nos. | 6969.00 | 5785.00 | 57850.00 | 2000.00 | 20000.00 | 20000.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Extra for Supply and Laying of suitable size Cu piping along with thermal insulation & protective tape and FRLS PVC insulated multi core Cu conductor cable for connection between indoor and outdoor unit etc. complete as required for following type of ACs.
23.10 | High Wall Split type AC Upto 2 TR | 50.00 | Meter | 1011.00 | 850.00 | 42500.00 | 1320.00 | 66000.00 | 42500.00 | Youngmen Traders
23.20 | Floor Mounter Split Type Tower AC upto 4 TR | 50.00 | Meter | 1011.00 | 850.00 | 42500.00 | 1650.00 | 82500.00 | 42500.00 | Youngmen Traders
24.00 | Supply and laying of following size of hard uPVC pipe (16KG/CM2) for draining out the water as per site conditions, as complete as required.
24.10 | 20 mm | 50.00 | Meter | 93.00 | 79.00 | 3950.00 | 110.00 | 5500.00 | 3950.00 | Youngmen Traders
24.20 | 25 mm | 50.00 | Meter | 93.00 | 80.00 | 4000.00 | 110.00 | 5500.00 | 4000.00 | Youngmen Traders
25.00 | Annual Maintenence Contract of standalone Aquaguard Water Purifiers installed at different locations including one time repalcement of all filters/candles etc.attending unlimited breakdown/repair calls, scheduled quarterly mainenance visit complete as required as per special conditions. (Maintenance should be done through OEM/ Authorized dealer only).[ To be carried out round the year and Billed quarterly basis]
25.10 | Make: Eureka Forbes, Model: Hi-Flo (AG-200) [1st Year] | 2.00 | Nos. | 5275.00 | 4325.00 | 8650.00 | 3602.00 | 7204.00 | 7204.00 | ABHISHEK INTEGRATIONS LIMITED
25.20 | Make: Eureka Forbes, Model: Hi-Flo (AG-200) [2nd Year] | 2.00 | Nos. | 5802.00 | 4758.00 | 9516.00 | 3814.00 | 7628.00 | 7628.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Annual maintenance of Aquaguard Cooler cum Purifier installed at different locations including one time annual repalcement of all filters/candles etc ., attending unlimited breakdown/repair calls, scheduled quarterly mainenance visit complete as required as per special conditions. (Maintenance should be done through OEM/ Authorized dealer only ).[ To be carried out round the year and Billed quarterly basis]
26.10 | Make: Eureka Forbes, Model: AGCCP (PG-600) [1st Year] | 2.00 | No. | 8735.00 | 7425.00 | 14850.00 | 6610.00 | 13220.00 | 13220.00 | ABHISHEK INTEGRATIONS LIMITED
26.20 | Make: Eureka Forbes, Model: 80PSS [1st Year] | 4.00 | No. | 14086.00 | 11973.00 | 47892.00 | 11102.00 | 44408.00 | 44408.00 | ABHISHEK INTEGRATIONS LIMITED
26.30 | Make: Eureka Forbes, Model: AGCCP (PG-600) ) [2nd Year] | 2.00 | No. | 9608.00 | 7975.00 | 15950.00 | 7203.00 | 14406.00 | 14406.00 | ABHISHEK INTEGRATIONS LIMITED
26.40 | Make: Eureka Forbes, Model: 80PSS [2nd Year] | 4.00 | No. | 15494.00 | 12860.00 | 51440.00 | 11864.00 | 47456.00 | 47456.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | Supply of following Additional Spares and Consumables on as and when required basis as per site requirement .
27.10 | Aquaguard Ironil for UV | 2.00 | No. | 3051.00 | 2500.00 | 5000.00 | 2797.00 | 5594.00 | 5000.00 | Youngmen Traders
27.20 | Pre Filter Assemble (20 Inch) | 2.00 | No. | 3347.00 | 2810.00 | 5620.00 | 2983.00 | 5966.00 | 5620.00 | Youngmen Traders
27.30 | Yarn wound sediment cartridge Filter | 2.00 | No. | 1181.00 | 995.00 | 1990.00 | 1119.00 | 2238.00 | 1990.00 | Youngmen Traders
27.40 | 20A C Block | 2.00 | No. | 1280.00 | 1050.00 | 2100.00 | 1212.00 | 2424.00 | 2100.00 | Youngmen Traders
27.50 | PF Candle Sleek (AR) (P) | 2.00 | No. | 728.00 | 585.00 | 1170.00 | 513.00 | 1026.00 | 1026.00 | ABHISHEK INTEGRATIONS LIMITED
27.60 | Replaceable Cartride 1 - Iron Remover | 2.00 | No. | 970.00 | 785.00 | 1570.00 | 792.00 | 1584.00 | 1570.00 | Youngmen Traders
27.70 | Hiflo UV Kit | 2.00 | No. | 2264.00 | 1880.00 | 3760.00 | 2517.00 | 5034.00 | 3760.00 | Youngmen Traders
27.80 | AG Vista UV Kit | 2.00 | No. | 2238.00 | 1860.00 | 3720.00 | 2331.00 | 4662.00 | 3720.00 | Youngmen Traders
27.90 | Fuacet BSP Push / Pull Tpe 60/80 | 2.00 | No. | 1132.00 | 950.00 | 1900.00 | 886.00 | 1772.00 | 1772.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Service visit through OEM/Specialised Agency for carrying out servicing/maintenance of Addressable/Non-addressable type Complete FAD System with all detectors, response indicators,Mannual Call station, Hooters, Fire alrarm control panel etc. installed in Admin Building/Power House of Bagdogra Airport in case of breakdown/ emergency/ as and when required and submission of service / maintenance report of OEM or Specialized Agency complete in all respect as per Special Conditions of Contract. | 10.00 | Job | 25553.00 | 20950.00 | 209500.00 | 21000.00 | 210000.00 | 209500.00 | Youngmen Traders
29.00 | Service visit through OEM/Specialised Agency for carrying out servicing/maintenance of Addressable type Complete FAD System with Graphic User Interface (GUI) / Operator work station with PC, all detectors, response indicators,Mannual Call station, Hooter-cum-Strobe,Loop Isolator module & other related accessories as applicable installed in Terminal Building of Bagdogra Airport in case of breakdown/ emergency/ as and when required and submission of service / maintenance report of OEM or Specialized Agency complete in all respect as per Special Conditions of Contract. | 10.00 | Job | 31361.00 | 25716.00 | 257160.00 | 18500.00 | 185000.00 | 185000.00 | ABHISHEK INTEGRATIONS LIMITED
30.00 | Service visit through OEM/Specialised Agency for carrying out servicing/maintenance of complete fire fighting system installed in terminal building of Bagdogra Airport in case of breakdown/ emergency/ as and when required and submission of service / maintenance report of OEM or Specialized Agency complete in all respect. | 8.00 | Job | 34845.00 | 28570.00 | 228560.00 | 27500.00 | 220000.00 | 220000.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Provision of supervisor staff ( Highly Skilled category ) at least 3 Nos Site Supervisor[ 6 Days per Week ] for overall supervision of the complete works[ Electrical /Airport Systems/Tech Dept] for various sites and maintaining log books , submission of service reports as per AAI guideleines ,receive site order instructions from EIC, co-ordination with internal / external agencies to carry miscellaneous works. | 24.00 | Month | 93865.00 | 88500.00 | 2124000.00 | 137086.00 | 3290064.00 | 2124000.00 | Youngmen Traders
32.00 | Comprehensive Maintenance Contract of 135 KLD Sewage treatement Plant based on MBR cum MBBR Technology as per OEM recommendation , carrying out quarterly service vist from Specialized Agency, attending any number of breakdown /unserviceable calls through Specialized Agency and complete as per as per Special and Particular Conditions of Contract.. (Maintenance should be done through OEM/ Specialisezed agency of STP). [ To be carried out round the year and Billed quarterly basis] | 24.00 | Month | 34845.00 | 25840.00 | 620160.00 | 20000.00 | 480000.00 | 480000.00 | ABHISHEK INTEGRATIONS LIMITED
33.00 | Supply of consumables and chemicals for 135 KLD Sewage treatement Plant based on MBR cum MBBR Technology as per OEM recommendation and complete as per as per Special Conditions of Contract. | 24.00 | Month | 23230.00 | 18585.00 | 446040.00 | 55000.00 | 1320000.00 | 446040.00 | Youngmen Traders
34.00 | Replacement of non-metallic Bubbler Tap of existing water fountain by SS material Bubler Tap as per site requirement through OEM [ M/s Oasis WFS Pvt Ltd, Model M8-CRY/CRYSBS] and complete as required. | 22.00 | Jobs | 6969.00 | 5925.00 | 130350.00 | 6600.00 | 145200.00 | 130350.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 8420839.00 |  | 8899999.00
Lowest Amount Quoted BY: Youngmen Traders(8420839.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job Contract of Misc. Repair and Maintenance work of EandM installation and DSR derived works at Bagdogra Airport for 02 Years (2026-2028) Tender ID: 2026_AAI_264592_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders (BID ID -982227) | 8420839.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED (BID ID -982514) | 8899999.00 | L2