## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 28-Apr-2026 12:14 PM Tender Title: ARMO Works of EandM Installations at Madurai Airport during 2025 28 SH AMC of 730KWp Ground Mounted Solar Power Plant and CMC of Inverter at Madurai Airport Tender ID: 2026_AAI_264777_1
Tender Inviting Authority: Asst. General Manager (Engg-Elect), Airports Authority of India, Madurai Airport, Madurai – 625 022
Name of Work: ARMO Works of E&M Installations at Madurai Airport during 2025-28. SH: AMC of 730KWp Ground Mounted Solar Power Plant & CMC of inverter at Madurai Airport
Contract No: Tender ID 2026_AAI_264777_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED (GSTN-36AACCJ7269H1Z9) BID ID -988209 |  | DHRUVNANDA VENTURES PRIVATE LIMITED (GSTN-NA) BID ID -988153
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation and maintenance of 730KWp Ground Mounted Solar Power Plant along with all its related equipments and accessories as per the list attached in the Annexure - I & II along with all its associated accessories, installed at solar farm in Two Shifts/as per need basis on all days including Sunday and public holidays, complete as required as per terms and conditions of the contract. Ist Year | 12.00 | Month | 0.00 | 137480.00 | 1649760.00 | 133615.00 | 1603380.00 | 1603380.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
2.00 | Job contract for operation and maintenance of 730KWp Ground Mounted Solar Power Plant along with all its related equipments and accessories as per the list attached in the Annexure - I & II along with all its associated accessories, installed at solar farm in Two Shifts/as per need basis on all days including Sunday and public holidays, complete as required as per terms and conditions of the contract. IInd Year | 12.00 | Month | 0.00 | 138480.00 | 1661760.00 | 146391.00 | 1756692.00 | 1661760.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
3.00 | Job contract for operation and maintenance of 730KWp Ground Mounted Solar Power Plant along with all its related equipments and accessories as per the list attached in the Annexure - I & II along with all its associated accessories, installed at solar farm in Two Shifts/as per need basis on all days including Sunday and public holidays, complete as required as per terms and conditions of the contract. IIIrd Year | 12.00 | Month | 0.00 | 140480.00 | 1685760.00 | 160829.00 | 1929948.00 | 1685760.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
4.00 | Supply of Single core 4 Sq.mm electrolytic multi stranded tinned copper conductor, XLPO insulated and sheathed, voltage rating 1000V AC, 1500V DC, Protection Class II, UV stabilised outer sheath cable confirming to EN 50618/IS17293 with latest amendments etc. as per requirement. | 2000.00 | Mtr | 0.00 | 53.00 | 106000.00 | 34.00 | 68000.00 | 68000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
5.00 | Supply of single core 70 Sq.mm electrolytic multi stranded tinned copper conductor, XLPO insulated and sheathed, voltage rating 1000V AC, 1500V DC, Protection Class II, UV stabilised outer sheath cable confirming to EN 50618/IS17293 with latest amendments etc. as per requirement. | 300.00 | Mtr | 0.00 | 2800.00 | 840000.00 | 400.00 | 120000.00 | 120000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
6.00 | Supply of MC4 connector (Male & Female) having 30A rated current, 1500V DC, IP 67, protection Class II, maximum temperature range < 85° C, contact material of Copper/Copper Alloy, Silver plated, UV stabilised etc. as per techincal specification. | 100.00 | Set | 0.00 | 60.00 | 6000.00 | 40.00 | 4000.00 | 4000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
7.00 | Supply of 10A, 1000V DC, control fuse for SMB (Elmex or equivalent make) etc. complete as required. | 10.00 | Each | 0.00 | 118.00 | 1180.00 | 60.00 | 600.00 | 600.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
8.00 | Supply of 63A, 690V AC, 80kA, HRC fuse (Ferraz Shawmut make model no: NH000GG69V63 or equivalent make) etc. complete as required. | 3.00 | Each | 0.00 | 715.00 | 2145.00 | 400.00 | 1200.00 | 1200.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
9.00 | Supply of 20A, 690V AC, 80kA, HRC fuse (Ferraz Shawmut make model no: NH000GG69V20 or equivalent make) etc. complete as required. | 3.00 | Each | 0.00 | 350.00 | 1050.00 | 800.00 | 2400.00 | 1050.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
10.00 | Supply of 10A, 690V AC, HRC fuse (Mersen make model no: FR10GR69V10 or equivalent make as per approved make list) etc. complete as required. | 4.00 | Each | 0.00 | 315.00 | 1260.00 | 1200.00 | 4800.00 | 1260.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
11.00 | Supply of 1000A, 690V AC, 500V DC, IR = 200kA, HRC fuse (Mersen make model no: SC33AR69V10CTF Y1046958 or equivalent make) etc. complete as required. | 3.00 | Each | 0.00 | 2600.00 | 7800.00 | 12000.00 | 36000.00 | 7800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
12.00 | Supply of 800A, 1100V AC, 500V DC, IR = 150kA, HRC fuse (Ferraz Shawmut make model no: PC72UD11C800TF H300502 or equivalent make as per approved make list) etc. complete as required. | 3.00 | Each | 0.00 | 2900.00 | 8700.00 | 16000.00 | 48000.00 | 8700.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
13.00 | Supply of 2A, 1000V DC HRC fuse (Liftel Fuse make model no: SPF2A or equivalent make) etc. complete as required. | 2.00 | Each | 0.00 | 290.00 | 580.00 | 2000.00 | 4000.00 | 580.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
14.00 | Supply of 15A, 1000V DC HRC fuse (Mersen make model no: HP10M15 or equivalent make) etc. complete as required. | 10.00 | Each | 0.00 | 580.00 | 5800.00 | 200.00 | 2000.00 | 2000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
15.00 | Supply of Transformer surage arrestor Model No.: SRI905 METAL OXIDE lightning Arrester rating -9KV, 5KA, MCOV-7.5 etc. complete as required. | 2.00 | Each | 0.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 3600.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
16.00 | Supply of battery backed power pack - 100 VA i/p - 230VAC suitable to replace existing battery backed power pack (Make: Gogate Electrosystems (N) Pvt. Ltd., or equivalent make) etc. complete as required. | 2.00 | Each | 0.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 12000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
17.00 | Supply and replacing all filters provided for inverter etc. complete as required. | 1.00 | Job | 0.00 | 180000.00 | 180000.00 | 20000.00 | 20000.00 | 20000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
18.00 | Supply of fan (for ABB make: inverter) suitable to operation 230/400V-50/60Hz 700/1055W (Make: ebmpapst Model: D2D160-CE02-11 or equivalent make) etc. complete as required suitable for replacing the existing inverter fan. | 1.00 | Each | 0.00 | 200000.00 | 200000.00 | 20000.00 | 20000.00 | 20000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
19.00 | Supply of RS 485 isolator repeater having suitable to replace the existing isolator repeater installed at site (Make: SANTELEQUIP, MODEL:SCO7S or equivalent make) etc. complete as required. | 2.00 | Each | 0.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 8000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
20.00 | Supply of solar string monitoring module having 15V DC auxilary supply, suitable to replace the existing string monitoing module installed at site (Existing make: Nandi Model: NA SSMM-12CH-485-PB or equivalent make) etc. complete as required. | 2.00 | Each | 0.00 | 20000.00 | 40000.00 | 16000.00 | 32000.00 | 32000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
21.00 | Supply of 35mm dia size (inner dia) DWC HDPE pipe ISI marked conforming to relevant IS etc. complete as required. | 100.00 | mtr | 0.00 | 130.00 | 13000.00 | 40.00 | 4000.00 | 4000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
22.00 | Supply of Ventilation fan (for ABB make inverter) 200-240V 50/60 Hz 170W Make: ebm papst Model:R3G225-RE07-03 etc. complete as required. | 1.00 | Each | 0.00 | 6000.00 | 6000.00 | 20000.00 | 20000.00 | 6000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
23.00 | Supply of ventilation fan (for ABB make inverter) 100-240 V -AC, 50/60 Hz 5W Make: ebm papst Model: AC 6200 NMIR etc. complete as required. | 1.00 | Each | 0.00 | 6000.00 | 6000.00 | 8000.00 | 8000.00 | 6000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
24.00 | Comprehensive Maintenance of Contract for Inverter installed in Madurai Airport Make: ABB, 1000kw Inverter including spares and consumables complete as required as per terms and conditions of the contract. (Exclusion of scope of work mentioned in special conditions of CMC) Ist Year | 12.00 | Month | 0.00 | 20000.00 | 240000.00 | 5000.00 | 60000.00 | 60000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
25.00 | Comprehensive Maintenance of Contract for Inverter installed in Madurai Airport Make: ABB, 1000kw Inverter including spares and consumables complete as required as per terms and conditions of the contract. (Exclusion of scope of work mentioned in special conditions of CMC) IInd Year | 12.00 | Month | 0.00 | 21000.00 | 252000.00 | 5000.00 | 60000.00 | 60000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
26.00 | Comprehensive Maintenance of Contract for Inverter installed in Madurai Airport Make: ABB, 1000kw Inverter including spares and consumables complete as required as per terms and conditions of the contract. (Exclusion of scope of work mentioned in special conditions of CMC) IIIrd Year | 12.00 | Month | 0.00 | 21500.00 | 258000.00 | 5000.00 | 60000.00 | 60000.00 | DHRUVNANDA VENTURES PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7206395.00 |  | 5889020.00
Lowest Amount Quoted BY: DHRUVNANDA VENTURES PRIVATE LIMITED(5889020.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works of EandM Installations at Madurai Airport during 2025 28 SH AMC of 730KWp Ground Mounted Solar Power Plant and CMC of Inverter at Madurai Airport Tender ID: 2026_AAI_264777_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DHRUVNANDA VENTURES PRIVATE LIMITED (BID ID -988153) | 5889020.00 | L1
| 2 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED (BID ID -988209) | 7206395.00 | L2