## BoQ1
Government eProcurement System Created By: KASI R Created Date/Time: 29-Apr-2026 12:48 PM Tender Title: Grading of runway basic strip 140M from centreline of runway including construction of perimeter road, Emergency access road and RCC precast drain at Madurai Airport. SH Replacement of faulty cables and other associated works. Tender ID: 2026_AAI_264891_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Grading of runway basic strip 140M from centreline of runway i/c construction of perimeter road, Emergency access road & RCC precast drain at Madurai Airport. SH: Replacement of faulty cables and other associated works.
Contract No: AAI/MDU/E-E/MDU-479/NIT-17/2025-26 Tender ID No.2026_AAI_264891_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -996346
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5C X 185 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with upto date amendments etc complete as required. | 1100.00 | Mtr |  | 1500.00 | 1650000.00 | 1650000.00 | Balaji Engineering
2.00 | Supply of 4C X 25 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with upto date amendments etc complete as required. | 200.00 | Mtr |  | 300.00 | 60000.00 | 60000.00 | Balaji Engineering
3.00 | Supply of 4C X 16 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with upto date amendments etc complete as required. | 1100.00 | Mtr |  | 300.00 | 330000.00 | 330000.00 | Balaji Engineering
4.00 | Supply of 2C X 16 sq.mm, 5KV grade, stranded copper conductor, PVC insulated and PVC sheathed, unarmoured, underground unscreened, Anti-rodent & Anti-termite treated Airfield Lighting cable generally confirming to IS 1554 Part II with upto date amendments as required. | 660.00 | Mtr |  | 800.00 | 528000.00 | 528000.00 | Balaji Engineering
5.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 6205, part 24 with up-to-date ammemnents complete with fitting and cutting, jointing etc. complete as required. 110 mm dia (outer dia) | 1760.00 | Mtr |  | 130.00 | 228800.00 | 228800.00 | Balaji Engineering
6.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 6205, part 24 complete with fitting and cutting, jointing etc. complete as required. 63 mm dia (outer dia) | 1960.00 | Mtr |  | 100.00 | 196000.00 | 196000.00 | Balaji Engineering
7.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 6205, part 24 complete with fitting and cutting, jointing etc. complete as required. 50 mm dia (outer dia) | 3619.00 | Mtr |  | 80.00 | 289520.00 | 289520.00 | Balaji Engineering
8.00 | Supply of 25W LED roadway luminaire with high power LED as Light source, inbuilt driver with aluminium/suitable alloy housing etc. as per tender specification for the proposed extension of perimeter wall etc. as required. | 75.00 | Nos |  | 2000.00 | 150000.00 | 150000.00 | Balaji Engineering
9.00 | Supply of 1X18W LED tube light fitting (4ft) with all accessories including LED tube lamp as per tender specification for the CISF watch tower etc. as required. | 4.00 | Nos |  | 750.00 | 3000.00 | 3000.00 | Balaji Engineering
10.00 | SITC of 1.5 KVA / 24V single phase inverter conforming relevant IEC codes with up-to-date amendments, suitable to operate on DC Input from the lead acid 2X12V battery and able to tap from main supply as independant Input and to deliver the AC output of 230 V on 1 Phase, 50 Hz, 2 wire system including connection, interconnections, provision for earthing with GI wire etc. as required having protection against over current, DC reverse polarity, AC & DC short circuit AC & DC under / over voltage protection etc. complete as per site requirement. | 4.00 | Nos |  | 50000.00 | 200000.00 | 200000.00 | Balaji Engineering
11.00 | SITC of 2 X 12V, 150AH @ C10 rating, tall tubular battery suitable to connect with the above mentioned 1.5KVA inverter for power storage including connection, interconnections, etc. as required and comprising MS structures to accomodate battery and inverter, provision for earthing of structures with GI wire etc. as per site requirements. | 4.00 | Nos |  | 65000.00 | 260000.00 | 260000.00 | Balaji Engineering
12.00 | Supply of 50W, 3 blades, aero dynamically balanced leaf wall mount fan complete with bearing, motor, blades, capacitor etc. complete as required. Size 400mm | 3.00 | Nos |  | 4500.00 | 13500.00 | 13500.00 | Balaji Engineering
13.00 | Supply of Astronomical timer switch capable of following output in feeder pillars / Lighting DBs for automatic switching On & OFF of street lights at sun set & sun rise or twilight(Auto ON, Auto OFF) with manual override facility with 12/24 hour display format with suitable battery and indication for relay status shall be provided for the timer switch etc. complete as required. 2 output per phase and suitable for single phase supply | 3.00 | Nos |  | 9000.00 | 27000.00 | 27000.00 | Balaji Engineering
14.00 | Supply of 3Pole 32A contactor capable of feeding Lighting DBs for automatic switching On & OFF of street lights from timer output etc. complete as required. | 3.00 | Nos |  | 3000.00 | 9000.00 | 9000.00 | Balaji Engineering
15.00 | Supply of 32A rating Three pole, 415 volts, miniature circuit breaker (MCB) matching with the existing enclosure complete with connections etc. as required. | 3.00 | Nos |  | 1500.00 | 4500.00 | 4500.00 | Balaji Engineering
16.00 | Supply of poly carbonate enclosures with hinges, protection IP54 or better & in accordance to fix in the surface/recess having size minimum of 240 mm X 130mm X 95mm suitable to mount 1 no. of TP, 2 nos. of TP MCBs, 1 no. of timer and 02 nos. of TP contactors, suitable fixing arrangement shall be provided etc. complete as required. | 25.00 | Nos |  | 20000.00 | 500000.00 | 500000.00 | Balaji Engineering
17.00 | Supply & Installation street light pole GI double arm bracket up to 750mm and 1000mm length each and 40mm dia arm fixing assembly shall be matching with the 70mm top diameter of the existing 3M, bajaj make octoganal pole already available at site.etc Complete as required. | 30.00 | Job |  | 7000.00 | 210000.00 | 210000.00 | Balaji Engineering
18.00 | Installation, testing & commissioning of 3 Mtr. Height Octagonal Street Light Pole with all accessories in RCC foundation with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) foundation of size 45x45x110 cm (90 cm below the ground and 20 cm above the ground) (or as per OEM's Standard which ever is better) including excavation and refilling, positioning of template and foundation bolts (supplied with pole to match with pole base plate) and providing and fixing of PE 63, PN 6, HDPE pipe of size 50 mm dia (2 pieces of each minimum 0.75 Mtr length) in the foundation for loop-in loop-out of the cable, numbering the pole etc., complete as required. Including mesh to cover the bottom of the pole | 30.00 | Job |  | 3500.00 | 105000.00 | 105000.00 | Balaji Engineering
19.00 | ITC of 25W LED roadway luminaire with high power LED as Light source with suitable mounting arrangement, wiring connections with 3C X 1.5sq.mm flexible cable etc. complete as required as per site requirement for the proposed extension of perimeter wall. | 62.00 | Job |  | 500.00 | 31000.00 | 31000.00 | Balaji Engineering
20.00 | Installation, testing and commissioning of prewired LED indoor fittings of all types complete with all accessories and LED tubes etc. directly on ceilling /wall including connection with 1.5 sq.mm PVC insulated copper conductor single core cable and earthing etc. as required. | 3.00 | Job |  | 500.00 | 1500.00 | 1500.00 | Balaji Engineering
21.00 | Installation, testing and commissioning of wall mount fan, including suitable bracket arrangements, modification work if required etc. as per site conditions. | 3.00 | Job |  | 500.00 | 1500.00 | 1500.00 | Balaji Engineering
22.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C (the work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 6.00 | Point |  | 1500.00 | 9000.00 | 9000.00 | Balaji Engineering
23.00 | Wiring for light/power plug with 4 x 4 sq.mm FRLS PVC insulated copper conductor single core cable in recessed steel conduit along with 2 Nos. 4 sq.mm FR PVC insulated copper conductor single core cable for loop earthing as required. (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 35.00 | Mtrs |  | 350.00 | 12250.00 | 12250.00 | Balaji Engineering
24.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in recess steel conduit as required. a) 2x1.5sq.mm+ 1x1.5 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 30.00 | Mtrs |  | 250.00 | 7500.00 | 7500.00 | Balaji Engineering
25.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes FRLS PVC insulated copper conductor, single core cable in recess steel conduit as required. a) 2x4sq.mm+ 1x4 sq.mm earth wire (The work includes supply and fixing of suitable size of MS conduits in recessed or wall surface) | 35.00 | Mtrs |  | 350.00 | 12250.00 | 12250.00 | Balaji Engineering
26.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on in recess, including providng and fixing 6 pin 15/16 amps modular socket outlets and 15/16 amps modular switches, connection etc. as required. | 6.00 | Job |  | 500.00 | 3000.00 | 3000.00 | Balaji Engineering
27.00 | Laying of 63mm dia ( Outer dia) DWC pipe direct in ground (75 cm below ground level) in all types of soil including excavation and refilling the trench but excluding sand cushioning and protective covering etc. Complete as required | 1960.00 | Mtrs |  | 125.00 | 245000.00 | 245000.00 | Balaji Engineering
28.00 | Laying of 50mm dia ( Outer dia) DWC pipe direct in ground (75 cm below ground level) in all types of soil including excavation and refilling the trench but excluding sand cushioning and protective covering etc. Complete as required | 3619.00 | Mtrs |  | 30.00 | 108570.00 | 108570.00 | Balaji Engineering
29.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/DWC/ HUME/HDPE/ METAL pipe as required. Upto 35 sq. mm | 5579.00 | Mtrs |  | 30.00 | 167370.00 | 167370.00 | Balaji Engineering
30.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/DWC/HUME/HDPE/METAL pipe as required. Above 95 sq. mm and upto 185 sq. mm | 1760.00 | Mtrs |  | 30.00 | 52800.00 | 52800.00 | Balaji Engineering
31.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 sq. mm and upto 185 sq. mm | 40.00 | Mtrs |  | 30.00 | 1200.00 | 1200.00 | Balaji Engineering
32.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C X 25 sq.mm | 6.00 | Job |  | 500.00 | 3000.00 | 3000.00 | Balaji Engineering
33.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C X 16 sq.mm | 6.00 | Job |  | 500.00 | 3000.00 | 3000.00 | Balaji Engineering
34.00 | Supplying and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4C X 16 sq.mm | 60.00 | Job |  | 500.00 | 30000.00 | 30000.00 | Balaji Engineering
35.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 185 sq.mm | 4.00 | Job |  | 1000.00 | 4000.00 | 4000.00 | Balaji Engineering
36.00 | Providing, laying 150mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc complete as required. | 18.00 | Mtrs |  | 2000.00 | 36000.00 | 36000.00 | Balaji Engineering
37.00 | Kerf cutting with machine in bituminous/ cement concrete paved area of runway for cables/ pipes of bore not exceeding 50 mm upto a depth of 0.12 meter including filling back/ sealing the cutting using cement concrete/ compound / bitumen and restoring the surface to normal condition etc complete as required but excluding pipe laying. | 18.00 | Mtrs |  | 600.00 | 10800.00 | 10800.00 | Balaji Engineering
38.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe with charcoal/coke and salt etc. as required. | 45.00 | Job |  | 8000.00 | 360000.00 | 360000.00 | Balaji Engineering
39.00 | Providing and fixing of 25mm X 5mm G.I strip in 40 mm dia G.I pipe from earth electrode including connection with G.I Nut, bolt spring, washer excavation and re-filling etc. as required. | 60.00 | Mtrs |  | 500.00 | 30000.00 | 30000.00 | Balaji Engineering
40.00 | Providing of 6 SWG dia G.I. wire on existing cable trench for loop earthing as required. | 7422.00 | Mtrs |  | 30.00 | 222660.00 | 222660.00 | Balaji Engineering
41.00 | Fixing of 6 SWG dia G.I. wire on existing cable trench for loop earthing as required. | 7422.00 | Mtrs |  | 30.00 | 222660.00 | 222660.00 | Balaji Engineering
42.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan including getting out, refilling up to ground level and disposal of remaining excavated earth lead upto 50 m and for all lift, as directed by Engineer-In-Charge. ordinary rock | 12.00 | Cum |  | 500.00 | 6000.00 | 6000.00 | Balaji Engineering
43.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer-In-Charge. Nominal Concrete 1:3:6 or richer mix (including equivalent mix) | 3.00 | Cum |  | 750.00 | 2250.00 | 2250.00 | Balaji Engineering
44.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, welding, fixing in position and applying a priming coat of approved steel primer all complete. | 20.00 | Kg |  | 120.00 | 2400.00 | 2400.00 | Balaji Engineering
45.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way, Double Door | 2.00 | Job |  | 9000.00 | 18000.00 | 18000.00 | Balaji Engineering
46.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 8.00 | Job |  | 250.00 | 2000.00 | 2000.00 | Balaji Engineering
47.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double Pole | 2.00 | Job |  | 400.00 | 800.00 | 800.00 | Balaji Engineering
48.00 | Supply and fixing following rating and breaking capactiy (Icu = Ics) and four pole MCCB with thermal magnetic release in the exisitng LT Panel complete with connections and other accesories etc. as required. a) 250Amps, 50KA, Four Pole MCCB | 6.00 | Job |  | 50000.00 | 300000.00 | 300000.00 | Balaji Engineering
49.00 | Dismantling, lifting, transportation, transinstallation, testing & Commissioning of 2 X 100KVA UPS, Model: MHT100-2No's, UPS sl.no.2305 PMHT 0002655, sl.no.2304 PMHT0002650 along with associated accessories from new CCR Hall at Madurai Airport complete as required as per technical specification & site requirement according to direction of EIC. | 1.00 | Job |  | 25000.00 | 25000.00 | 25000.00 | Balaji Engineering
50.00 | Dismantling, lifting, transportation, transinstallation, testing & Commissioning of LT Panel along with associated accessories from new CCR Hall at Madurai Airport complete as required as per technical specification & site requirement according to direction of EIC. | 1.00 | Job |  | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
51.00 | Shifting of CCRs from existing CCR hall to new CCR hall at service block including transportation, installation & commissioning of the same at the new location complete as required as per technical specification & tender document. | 1.00 | Job |  | 10000.00 | 10000.00 | 10000.00 | Balaji Engineering
52.00 | Drilling suitable horizontal bore across runway/taxiway/road/pavement and supplying & inserting 120mm dia HDPE pipe in the bore along with required fittings including providing pulling rope through the pipe. | 103.00 | Mtrs |  | 1000.00 | 103000.00 | 103000.00 | Balaji Engineering
53.00 | Supply of PE 80 HDPE Pipe (PN-6) of 120 mm dia with all necessary accessories including testing of joints laying in the pipe at >0.75 mtrs below the ground trenching & refilling etc. complete as per direction of EIC. | 103.00 | Mtrs |  | 350.00 | 36050.00 | 36050.00 | Balaji Engineering
54.00 | Supply of 3.5C X 120 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with upto date amendments etc complete as required. | 700.00 | Mtrs |  | 900.00 | 630000.00 | 630000.00 | Balaji Engineering
55.00 | Supply of 3.5C X 70 Sq.mm XLPE insulated PVC sheathed, armoured Aluminium conductor power cable of 1.1 KV grade as per IS 7098 part I 1988 with upto date amendments etc complete as required. | 940.00 | Mtrs |  | 600.00 | 564000.00 | 564000.00 | Balaji Engineering
56.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 6205, part 24 with up-to-date ammemnents complete with fitting and cutting, jointing etc. complete as required. 90 mm dia (outer dia) | 905.00 | Mtrs |  | 120.00 | 108600.00 | 108600.00 | Balaji Engineering
57.00 | Laying of 110mm dia ( Outer dia) DWC pipe direct in ground (75 cm below ground level) in all types of soil including excavation and refilling the trench but excluding sand cushioning and protective covering etc. Complete as required | 1760.00 | Mtrs |  | 125.00 | 220000.00 | 220000.00 | Balaji Engineering
58.00 | Laying of 90mm dia ( Outer dia) DWC pipe direct in ground (75 cm below ground level) in all types of soil including excavation and refilling the trench but excluding sand cushioning and protective covering etc. Complete as required | 905.00 | Mtrs |  | 125.00 | 113125.00 | 113125.00 | Balaji Engineering
59.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/DWC/HUME/HDPE/METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | 905.00 | Mtrs |  | 30.00 | 27150.00 | 27150.00 | Balaji Engineering
60.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 35 sq. mm and upto 95 sq. mm | 25.00 | Mtrs |  | 30.00 | 750.00 | 750.00 | Balaji Engineering
61.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 10.00 | Mtrs |  | 30.00 | 300.00 | 300.00 | Balaji Engineering
62.00 | Supply of omni-directional inset type LED taxiway Light fittings complete with LEDs capable of working at 6.6A, transmitting light beams in blue colour, all required electronic circuit, maximum protrusion of 13mm above ground level, double water tight barrier, 2pole plug with leads, supply of 8inch high pressure injection shallow base to fix light fittings in concrete pavement with cable entry hole in the side and M10 bolts for fixing, approximately 13watts etc. as per the technical specification meeting ICAO and FAA standards .(Item includes 2 sets of lamps with drivers as spare). A) Blue | 4.00 | Each |  | 55000.00 | 220000.00 | 220000.00 | Balaji Engineering
63.00 | ITC of inset light fittings in straight line on concrete after core cutting to the required level and fixing the shallow base can in Dobefil/equivalent compound complete with lamps, with necessary slit cutting for GI pipe for the insertaion of cable, connectors and making field connections with lamp and esna connector connections and cable etc. as required. | 4.00 | Job |  | 7500.00 | 30000.00 | 30000.00 | Balaji Engineering
64.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 9.00 | Mtrs |  | 100.00 | 900.00 | 900.00 | Balaji Engineering
65.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement: 2coarse sand: 4 graded stone aggregate 20 mm nominal size) of size 60 cm X 30 cm X 15 cm including inscription duly engraved as required. | 97.00 | Job |  | 700.00 | 67900.00 | 67900.00 | Balaji Engineering
66.00 | Supply & Installation of following size of exhaust fan complete with all accessories such as motor, blade, louvers, capacitors etc. suitable for operation on single phase 240V, 50HZ AC supply etc as required. 450mm dia, 1400RPM (Heavy Duty) | 4.00 | Job |  | 5000.00 | 20000.00 | 20000.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 8857605.00
Lowest Amount Quoted BY: Balaji Engineering(8857605.00)

## BOQ Summary
BOQ Summary Details Tender Title: Grading of runway basic strip 140M from centreline of runway including construction of perimeter road, Emergency access road and RCC precast drain at Madurai Airport. SH Replacement of faulty cables and other associated works. Tender ID: 2026_AAI_264891_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Balaji Engineering (BID ID -996346) | 8857605.00 | L1