## BoQ1
Government eProcurement System Created By: SUJITHRA GS Created Date/Time: 18-Mar-2026 12:47 PM Tender Title: ARMO of E and M Installation at Calicut International Airport 2025_26_ SH _ Operation and Annual Comprehensive Maintenance Contract for Centralized HVAC System at Calicut International Airport for 2026-28 Tender ID: 2026_AAI_266572_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work : ARMO of E&M Installations at Calicut International Airport 2025-26. SH : Operation and Annual Comprehensive Maintenance Contract for Centralized HVAC System at Calicut International Airport for 2026-28
Contract No: Tender ID -2026_AAI__266572__1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers (GSTN-07AAMPS2459M1ZZ) BID ID -987126 |  | S G TECHNOFAB PVT LTD (GSTN-NA) BID ID -988487 |  | Voltas Limited (GSTN-NA) BID ID -988519 |  | POWER TECHNOLOGIES (GSTN-NA) BID ID -988876 |  | STERLING AND WILSON PRIVATE LIMITED (GSTN-NA) BID ID -988093
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, . The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required as per list of Inventory in Technical Specification page no. TS 4 - TS 5. International terminal HVAC Installations. (i) First Year ( 2026-27) | 12.00 | Month | 1336.00 | 142500.00 | 1710000.00 | 138600.00 | 1663200.00 | 144015.00 | 1728180.00 | 200000.00 | 2400000.00 | 112429.00 | 1349148.00 | 1349148.00 | STERLING AND WILSON PRIVATE LIMITED
2.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required as per Inventory list in Technical Specification page no. TS 4 - TS 5. International terminal HVAC Installations. (ii) Second Year ( 2027-28) | 12.00 | Month | 1336.00 | 146000.00 | 1752000.00 | 144900.00 | 1738800.00 | 148335.00 | 1780020.00 | 210000.00 | 2520000.00 | 118526.00 | 1422312.00 | 1422312.00 | STERLING AND WILSON PRIVATE LIMITED
3.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as requiredas per Inventory list in Technical Specification page no. TS 6. Domestic terminal HVAC Installations. (i) First Year ( 2026-27) | 12.00 | Month | 1336.00 | 45000.00 | 540000.00 | 31500.00 | 378000.00 | 39067.00 | 468804.00 | 60000.00 | 720000.00 | 50225.00 | 602700.00 | 378000.00 | S G TECHNOFAB PVT LTD
4.00 | Annual All Inclusive Comprehensive Maintenance of water cooled complete HVAC system having screw/centrifugal chiller,chilled and condenser water circulating system,cooling tower, AHUs, associated electrical and water softener systems, and all as detailed elsewhere in the tender document. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables / spares, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required as per Inventory list in Technical Specification page no. TS 6. Domestic terminal HVAC Installations. (ii) Second Year (2027-28) | 12.00 | Month | 1336.00 | 48000.00 | 576000.00 | 33600.00 | 403200.00 | 40239.00 | 482868.00 | 65000.00 | 780000.00 | 52233.00 | 626796.00 | 403200.00 | S G TECHNOFAB PVT LTD
5.00 | Operation of water cooled complete HVAC system of International and Domestic terminal buildings, with all related equipments and accessories including AMS operations on all days including Sundays, Holidays and National Holidays, as per the requirements of AAI as indicated in elsewhere in the tender document. | 24.00 | Month | 1336.00 | 504500.00 | 12108000.00 | 460000.00 | 11040000.00 | 595744.00 | 14297856.00 | 450000.00 | 10800000.00 | 535333.00 | 12847992.00 | 10800000.00 | POWER TECHNOLOGIES
6.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.80 mm sheet | 15.00 | Sqm | 1336.00 | 1220.00 | 18300.00 | 1009.00 | 15135.00 | 1350.00 | 20250.00 | 2500.00 | 37500.00 | 2400.00 | 36000.00 | 15135.00 | S G TECHNOFAB PVT LTD
7.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.60 mm sheet | 40.00 | Sqm | 1336.00 | 1050.00 | 42000.00 | 871.00 | 34840.00 | 1100.00 | 44000.00 | 2500.00 | 100000.00 | 1800.00 | 72000.00 | 34840.00 | S G TECHNOFAB PVT LTD
8.00 | Supplying and fixing of following thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber (Class "O") insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. 19mm | 45.00 | Sqm | 1336.00 | 1050.00 | 47250.00 | 615.00 | 27675.00 | 710.00 | 31950.00 | 2000.00 | 90000.00 | 612.00 | 27540.00 | 27540.00 | STERLING AND WILSON PRIVATE LIMITED
9.00 | Replacement of existing MS Drain pipes/Overflow pipes of cooling towers with 100mm CPVC pipes from cooling tower basin to the drain header lines for 08 nos branches each includes suitable termination to existing MS drain header line complete with all accessories like all fittings,threaded sockets,flanges etc for jointing complete as required . | 4.00 | Meter | 1336.00 | 725.00 | 2900.00 | 519.00 | 2076.00 | 2250.00 | 9000.00 | 2500.00 | 10000.00 | 7500.00 | 30000.00 | 2076.00 | S G TECHNOFAB PVT LTD
10.00 | Replacement of existing MS Drain pipes/Overflow pipes of cooling towers with 80mm CPVC pipes from cooling tower basin to the drain header lines for 04nos branches each includes suitable termination to existing MS drain header line complete with all accessories like all fittings,threaded sockets,flanges etc for jointing complete as required . | 4.00 | Meter | 1336.00 | 695.00 | 2780.00 | 391.00 | 1564.00 | 1580.00 | 6320.00 | 5000.00 | 20000.00 | 2364.00 | 9456.00 | 1564.00 | S G TECHNOFAB PVT LTD
11.00 | Supplying, fixing, testing and commissioning of following BUTTERFLY VALVE (MANUAL) with C I body SS disc nitrile sheet & O - ring & PN 16 pressure rating as specified 100mm dia | 4.00 | Each | 1336.00 | 6050.00 | 24200.00 | 6733.00 | 26932.00 | 9300.00 | 37200.00 | 9000.00 | 36000.00 | 5147.75 | 20591.00 | 20591.00 | STERLING AND WILSON PRIVATE LIMITED
12.00 | Providing unskilled manpower for urgent maintenance works such as shifting materials, any sort of extra works not included in scope. | 80.00 | Day | 1336.00 | 880.00 | 70400.00 | 926.00 | 74080.00 | 810.00 | 64800.00 | 1000.00 | 80000.00 | 900.00 | 72000.00 | 64800.00 | Voltas Limited
| Total in Figures |  |  |  |  | 16893830.00 |  | 15405502.00 |  | 18971248.00 |  | 17593500.00 |  | 17116535.00
Lowest Amount Quoted BY: S G TECHNOFAB PVT LTD(15405502.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installation at Calicut International Airport 2025_26_ SH _ Operation and Annual Comprehensive Maintenance Contract for Centralized HVAC System at Calicut International Airport for 2026-28 Tender ID: 2026_AAI_266572_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S G TECHNOFAB PVT LTD (BID ID -988487) | 15405502.00 | L1
| 2 | Supertech Engineers (BID ID -987126) | 16893830.00 | L2
| 3 | STERLING AND WILSON PRIVATE LIMITED (BID ID -988093) | 17116535.00 | L3
| 4 | POWER TECHNOLOGIES (BID ID -988876) | 17593500.00 | L4
| 5 | Voltas Limited (BID ID -988519) | 18971248.00 | L5