## BoQ1
Government eProcurement System Created By: Amit Singh Created Date/Time: 18-Mar-2026 12:01 PM Tender Title: Provision of City Side and Air Side Canopy Light System and UPS Power Supply for Terminal Building at Silchar Airport Tender ID: 2026_AAI_267271_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Provision of City Side & Air Side Canopy Light System and UPS Power Supply for Technical Building at Silchar Airport.
Tender Id: 2025_AAI_267271_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals (GSTN-18AAJFM8760E1ZZ) BID ID -990380 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -990671
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 100W LED low height canopy Light Lumanaires having minimum 110 Lumen/ watt efficacy, single piece, inbuild driver, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP65, thermal management with heat sinks, Average life of LED > 50000 hrs, power factor > 0.95 etc. complete as required as per the tender technical specfications. (LED, electronic driver, accessories shall have minimum 5 years warrantee/DLP as per SCC para 13 & 14). | 170.00 | Nos. | 0.00 | 5527.00 | 939590.00 | 3400.00 | 578000.00 | 578000.00 | Awasthi Electric Works
2.00 | Supply of 70-80W LED Street Light having minimum 110 Lumen/ watt efficacy, single piece, inbuild driver, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP65, thermal management with heat sinks, Average life of LED > 50000 hrs, power factor > 0.95 etc. complete as required as per the tender technical specfications. (LED, electronic driver, accessories shall have minimum 5 years warrantee/DLP as per SCC para 13 & 14). | 25.00 | Nos | 0.00 | 2533.00 | 63325.00 | 3200.00 | 80000.00 | 63325.00 | sudarshnacoolingcentre andelectricals
3.00 | Supply of 45-50W POST TOP LED FIXTURE having pressure die cast Aluminium alloy housing for effective thermal management, excellent corrosion resistant, high ingress protection, equipped with tempered protective toughened glass cover, thermal shock proof and impact resistant fixed to the housing with SS screws, High efficiency, high powered long life LED module to ensure better uniformity of light distribution, inbuilt Electronic driver with internal surge protection, lower THD, pole mounting complete as required as per technical specification of the item. (LED, electronic driver, accessories shall have minimum 5 years warrantee/DLP as per SCC para 13 & 14). | 20.00 | Nos | 0.00 | 8290.00 | 165800.00 | 5870.00 | 117400.00 | 117400.00 | Awasthi Electric Works
4.00 | Supplying of following sizes 1.1kV grade multistrand aluminium conductor XLPE insulated and PVC sheathed armoured Heavy duty FRLS Power cable (as per IS : 7098:1988 with upto date amendments) complete as required as per specifications. 4.0 core, 16 sqmm. | 800.00 | Mtr | 0.00 | 176.00 | 140800.00 | 180.00 | 144000.00 | 140800.00 | sudarshnacoolingcentre andelectricals
5.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 1600.00 | Mtr | 0.00 | 161.00 | 257600.00 | 35.00 | 56000.00 | 56000.00 | Awasthi Electric Works
6.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 X 16 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 10.00 | Set | 0.00 | 179.00 | 1790.00 | 500.00 | 5000.00 | 1790.00 | sudarshnacoolingcentre andelectricals
7.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator) 6 way (6 + 18)Double door | 5.00 | Nos | 0.00 | 5895.00 | 29475.00 | 4500.00 | 22500.00 | 22500.00 | Awasthi Electric Works
8.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (8 + 12), Double door | 1.00 | No | 0.00 | 3393.00 | 3393.00 | 3900.00 | 3900.00 | 3393.00 | sudarshnacoolingcentre andelectricals
9.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required:6 A to 32 A ratings , SP MCB,“C” curve, 10 KA breaking capacity. | 102.00 | Nos | 0.00 | 176.00 | 17952.00 | 200.00 | 20400.00 | 17952.00 | sudarshnacoolingcentre andelectricals
10.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: 20mm | 700.00 | Mtr | 0.00 | 126.00 | 88200.00 | 200.00 | 140000.00 | 88200.00 | sudarshnacoolingcentre andelectricals
11.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: 25mm | 1300.00 | Mtr | 0.00 | 152.00 | 197600.00 | 250.00 | 325000.00 | 197600.00 | sudarshnacoolingcentre andelectricals
12.00 | Supplying and fixing 25 mm dia MS flexible pipe with PVC coating along with all accessories like coupler etc. as required. | 300.00 | Mtr | 0.00 | 190.00 | 57000.00 | 1200.00 | 360000.00 | 57000.00 | sudarshnacoolingcentre andelectricals
13.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 700.00 | Mtr | 0.00 | 262.00 | 183400.00 | 125.00 | 87500.00 | 87500.00 | Awasthi Electric Works
14.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. 6 x 1.5 sq. mm | 1300.00 | Mtr | 0.00 | 375.00 | 487500.00 | 250.00 | 325000.00 | 325000.00 | Awasthi Electric Works
15.00 | Supplying and fixing following rating, 240/415 volts, 10 kA, “C” curve, FP MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required. 40A | 6.00 | No | 0.00 | 1668.00 | 10008.00 | 1600.00 | 9600.00 | 9600.00 | Awasthi Electric Works
16.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, three core cable in the existing surface/ recessed PVC conduit as required. 3C x 2.5 Sq.mm | 600.00 | Mtr | 0.00 | 93.00 | 55800.00 | 200.00 | 120000.00 | 55800.00 | sudarshnacoolingcentre andelectricals
17.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25 mm | 600.00 | Mtr | 0.00 | 69.00 | 41400.00 | 150.00 | 90000.00 | 41400.00 | sudarshnacoolingcentre andelectricals
18.00 | Installation, Testing and Commissioning of pre-wired, LED fitting of all types, complete with all accessories etc. directly on ceiling/ wall, Canopy structure by welding including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 151.00 | Nos | 0.00 | 243.00 | 36693.00 | 200.00 | 30200.00 | 30200.00 | Awasthi Electric Works
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. (i)Upto 35 sq. mm | 600.00 | Mtr | 0.00 | 36.00 | 21600.00 | 60.00 | 36000.00 | 21600.00 | sudarshnacoolingcentre andelectricals
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required: (i)Upto 35 sq. mm | 200.00 | Mtr | 0.00 | 18.00 | 3600.00 | 25.00 | 5000.00 | 3600.00 | sudarshnacoolingcentre andelectricals
21.00 | Supply & fixing of 12V 75 AH SMF battery for online UPS complete as required. MAKE: EXIDE, Model No. POWERSAFE PLUS, EP75-12 or equivalent | 48.00 | Nos | 0.00 | 8939.00 | 429072.00 | 8900.00 | 427200.00 | 427200.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 3231598.00 |  | 2982700.00
Lowest Amount Quoted BY: Awasthi Electric Works(2982700.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of City Side and Air Side Canopy Light System and UPS Power Supply for Terminal Building at Silchar Airport Tender ID: 2026_AAI_267271_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works (BID ID -990671) | 2982700.00 | L1
| 2 | sudarshnacoolingcentre andelectricals (BID ID -990380) | 3231598.00 | L2