## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 09-Apr-2026 12:11 PM Tender Title: Provision of ILS at Kishangarh Airport, Ajmer. SH- Electrical Work. Tender ID: 2026_AAI_267335_1
Tender Inviting Authority:-Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work:-Provision of ILS at Kishangarh Airport, Ajmer. SH:- Electrical Work.
Contract No:-2026_AAI_267335_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -988325 |  | S.L. ELECTROMECH PVT. LTD. (GSTN-07AAACR1317E2ZW) BID ID -991046 |  | Taral Electricals (GSTN-24ACMPR0280M1Z9) BID ID -991234 |  | K B CONTRACT (P) LTD (GSTN-07AADCK6091P1ZX) BID ID -991239
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3.5C x 185 Sq.mm size 1.1 KV grade, XLPE insulated and PVC sheathed, FRLS at outer sheath, Aluminium conductor armoured power cable conforming to IS: 7098(Part-1) 1988 with up to date amendments etc. complete as required. | 11460.00 | Mtr | 100.00 | 1200.00 | 13752000.00 | 1092.00 | 12514320.00 | 1215.00 | 13923900.00 | 855.00 | 9798300.00 | 9798300.00 | K B CONTRACT (P) LTD
2.00 | Supply of 4C x 50 Sqmm, 1.1 KV grade, XLPE insulated and PVC sheathed, FRLS at outer sheath, Aluminium conductor armoured power cable conforming to IS: 7098(Part-1) 1988 with up to date amendments etc. complete as required. | 60.00 | Mtr | 100.00 | 360.00 | 21600.00 | 398.00 | 23880.00 | 418.00 | 25080.00 | 90.00 | 5400.00 | 5400.00 | K B CONTRACT (P) LTD
3.00 | Supply of 4C x 16 Sqmm, 1.1 KV grade, Armoured,XLPE insulated, PVC sheathed, FRLS at outer sheath, Multicore, Copper conductor cable confirming to IS: 7098 (Part -1) 1988 amended upto date. | 84.00 | Mtr | 100.00 | 1000.00 | 84000.00 | 1106.00 | 92904.00 | 188.00 | 15792.00 | 90.00 | 7560.00 | 7560.00 | K B CONTRACT (P) LTD
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade upto 185 sq. mm in the existing masonry open duct as required. | 120.00 | Mtr | 100.00 | 80.00 | 9600.00 | 82.00 | 9840.00 | 92.00 | 11040.00 | 90.00 | 10800.00 | 9600.00 | DOSHI ELECTRIC ENGG. CO.
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade size of above 95 Sqmm and up to 185 Sqmm cable in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE/DWC pipe as required. | 11410.00 | Mtr | 100.00 | 40.00 | 456400.00 | 82.00 | 935620.00 | 98.00 | 1118180.00 | 90.00 | 1026900.00 | 456400.00 | DOSHI ELECTRIC ENGG. CO.
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of Upto 50 sq. mm cable in the existing RCC/ HUME/ STONEWARE/ METAL/ HDPE/DWC pipe as required. | 40.00 | Mtr | 100.00 | 60.00 | 2400.00 | 47.00 | 1880.00 | 46.00 | 1840.00 | 90.00 | 3600.00 | 1840.00 | Taral Electricals
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of Upto 50 sq. mm (clamped with 1mm thick saddle) size on wall surface as required. | 44.00 | Mtr | 100.00 | 120.00 | 5280.00 | 59.00 | 2596.00 | 46.00 | 2024.00 | 180.00 | 7920.00 | 2024.00 | Taral Electricals
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for size of 3.5 x 185 Sqmm of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 20.00 | Each | 100.00 | 3500.00 | 70000.00 | 5478.00 | 109560.00 | 3347.00 | 66940.00 | 4500.00 | 90000.00 | 66940.00 | Taral Electricals
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5 C x 185 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 10.00 | Each | 100.00 | 1500.00 | 15000.00 | 941.00 | 9410.00 | 870.00 | 8700.00 | 720.00 | 7200.00 | 7200.00 | K B CONTRACT (P) LTD
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4 C x 50 sq.mm size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. | 8.00 | Each | 100.00 | 800.00 | 6400.00 | 353.00 | 2824.00 | 503.00 | 4024.00 | 360.00 | 2880.00 | 2824.00 | S.L. ELECTROMECH PVT. LTD.
11.00 | Supplying and making end termination with brass compression gland and copper lugs for 4 X 16 sq. mm (28mm) size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 KV grade as required. | 8.00 | Each | 100.00 | 600.00 | 4800.00 | 294.00 | 2352.00 | 233.00 | 1864.00 | 90.00 | 720.00 | 720.00 | K B CONTRACT (P) LTD
12.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 40.00 | Mtr | 100.00 | 175.00 | 7000.00 | 151.00 | 6040.00 | 172.00 | 6880.00 | 153.00 | 6120.00 | 6040.00 | S.L. ELECTROMECH PVT. LTD.
13.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. 120 mm dia (OD-120 mm & ID-103 mm nominal) | 6790.00 | Mtr | 100.00 | 150.00 | 1018500.00 | 241.00 | 1636390.00 | 263.00 | 1785770.00 | 252.00 | 1711080.00 | 1018500.00 | DOSHI ELECTRIC ENGG. CO.
14.00 | Supply of 110 mm high density polyethylene HDPE pipe (PE- 80, PN-6) as per IS - 4984 with up to date amendment along with accessories like socket, bend, couplers etc. complete as required. | 4620.00 | Mtr | 100.00 | 190.00 | 877800.00 | 259.00 | 1196580.00 | 330.00 | 1524600.00 | 342.00 | 1580040.00 | 877800.00 | DOSHI ELECTRIC ENGG. CO.
15.00 | Laying of HDPE pipe (PE- 80, PN-6) of size of 110 mm (OD) in suitable depth by trenchless horizontal directional drilling (HDD) method by deploying HDD machines with necessary arrangements complete as required as per the site requirements. (Excluding the cost of HDPE Pipe) | 4620.00 | Mtr | 100.00 | 200.00 | 924000.00 | 824.00 | 3806880.00 | 415.00 | 1917300.00 | 450.00 | 2079000.00 | 924000.00 | DOSHI ELECTRIC ENGG. CO.
16.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLSH PVC insulated copper conductor single core cable etc as required. Group B. | 44.00 | Each | 100.00 | 1000.00 | 44000.00 | 1059.00 | 46596.00 | 964.00 | 42416.00 | 1800.00 | 79200.00 | 42416.00 | Taral Electricals
17.00 | Supplying and fixing of 20mm size of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 162.00 | Mtr | 100.00 | 150.00 | 24300.00 | 152.00 | 24624.00 | 151.00 | 24462.00 | 135.00 | 21870.00 | 21870.00 | K B CONTRACT (P) LTD
18.00 | Supplying and fixing of 25mm size of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | 238.00 | Mtr | 100.00 | 200.00 | 47600.00 | 176.00 | 41888.00 | 170.00 | 40460.00 | 180.00 | 42840.00 | 40460.00 | Taral Electricals
19.00 | Supplying and drawing 3 x 2.5 sq.mm sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 27.00 | Mtr | 100.00 | 150.00 | 4050.00 | 147.00 | 3969.00 | 160.00 | 4320.00 | 135.00 | 3645.00 | 3645.00 | K B CONTRACT (P) LTD
20.00 | Supplying and drawing 6 x 2.5 sq.mm sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 14.00 | Mtr | 100.00 | 400.00 | 5600.00 | 282.00 | 3948.00 | 315.00 | 4410.00 | 270.00 | 3780.00 | 3780.00 | K B CONTRACT (P) LTD
21.00 | Supplying and drawing 3 x 4 sq.mm sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 64.00 | Mtr | 100.00 | 300.00 | 19200.00 | 287.00 | 18368.00 | 232.00 | 14848.00 | 207.00 | 13248.00 | 13248.00 | K B CONTRACT (P) LTD
22.00 | Supplying and drawing 6 x 4 sq.mm sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | 224.00 | Mtr | 100.00 | 500.00 | 112000.00 | 418.00 | 93632.00 | 458.00 | 102592.00 | 405.00 | 90720.00 | 90720.00 | K B CONTRACT (P) LTD
23.00 | Supplying and fixing suitable size GI box with modular plate and cover infront on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 68.00 | Each | 100.00 | 400.00 | 27200.00 | 676.00 | 45968.00 | 662.00 | 45016.00 | 900.00 | 61200.00 | 27200.00 | DOSHI ELECTRIC ENGG. CO.
24.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent/LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLSH PVC insulated, copper conductor, single core cable and earthing etc. as required. | 34.00 | Each | 100.00 | 400.00 | 13600.00 | 118.00 | 4012.00 | 148.00 | 5032.00 | 450.00 | 15300.00 | 4012.00 | S.L. ELECTROMECH PVT. LTD.
25.00 | Supplying and drawing 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | 128.00 | Mtr | 100.00 | 50.00 | 6400.00 | 32.00 | 4096.00 | 141.00 | 18048.00 | 27.00 | 3456.00 | 3456.00 | K B CONTRACT (P) LTD
26.00 | Supplying and fixing of modular Telephone socket outlet on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 16.00 | Each | 100.00 | 100.00 | 1600.00 | 176.00 | 2816.00 | 167.00 | 2672.00 | 135.00 | 2160.00 | 1600.00 | DOSHI ELECTRIC ENGG. CO.
27.00 | Supplying and fixing of 2 Module (75mmX75mm) GI box alongwith modular base & cover plate for modular switches in recess etc as required. | 8.00 | Each | 100.00 | 500.00 | 4000.00 | 176.00 | 1408.00 | 127.00 | 1016.00 | 90.00 | 720.00 | 720.00 | K B CONTRACT (P) LTD
28.00 | Brush Less Direct Current (BLDC) Fan without Remote, Supply, Installation, Testing and Commissioning of ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. metal( Aluminium alloy) blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, steel/Al body Power Factor not less than 0.9, Service Value (CM/M/W) minimum as below, 350 RPM (tolerance as per IS: 374-2019), THD (Total Harmonic Distortion) less than 10%, suitable for operation with regulator for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 °C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC supply, Ceiling Fan compliant to IS 374:2019 fan i/c external connections with 1.5 sq.mm FRLSH, PVC insulated copper conductor single core cable and earthing etc. as required. 1200mm, service value ≥ 6.0 CM/Min/Watt, air delivery 210 CM/Min (Minimum) | 2.00 | Each | 100.00 | 3000.00 | 6000.00 | 2588.00 | 5176.00 | 4003.00 | 8006.00 | 4500.00 | 9000.00 | 5176.00 | S.L. ELECTROMECH PVT. LTD.
29.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc, as required. | 2.00 | Each | 100.00 | 1000.00 | 2000.00 | 441.00 | 882.00 | 234.00 | 468.00 | 450.00 | 900.00 | 468.00 | Taral Electricals
30.00 | Supply of 300 mm fresh air/ventilation fan with metal body suitable for operation on 240 volt, AC supply with all accessories. | 2.00 | Each | 100.00 | 4000.00 | 8000.00 | 2176.00 | 4352.00 | 2655.00 | 5310.00 | 4500.00 | 9000.00 | 4352.00 | S.L. ELECTROMECH PVT. LTD.
31.00 | Installation of 300mm sweep exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 2.00 | Each | 100.00 | 1000.00 | 2000.00 | 2882.00 | 5764.00 | 248.00 | 496.00 | 450.00 | 900.00 | 496.00 | Taral Electricals
32.00 | Supplying and fixing 6 A to 32 As rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 50.00 | Each | 100.00 | 200.00 | 10000.00 | 171.00 | 8550.00 | 167.00 | 8350.00 | 270.00 | 13500.00 | 8350.00 | Taral Electricals
33.00 | Supplying and fixing 6 A to 32 A rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double Pole | 30.00 | Each | 100.00 | 500.00 | 15000.00 | 806.00 | 24180.00 | 467.00 | 14010.00 | 810.00 | 24300.00 | 14010.00 | Taral Electricals
34.00 | Supplying and fixing Double Pole 63 A rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 100.00 | 600.00 | 1200.00 | 1294.00 | 2588.00 | 697.00 | 1394.00 | 1350.00 | 2700.00 | 1200.00 | DOSHI ELECTRIC ENGG. CO.
35.00 | Supplying and fixing 63A four pole, 240/415 volts, "C" curve, 10kA breaking capacity miniature circuit breaker (MCB) suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 2.00 | Each | 100.00 | 1600.00 | 3200.00 | 1294.00 | 2588.00 | 1244.00 | 2488.00 | 2340.00 | 4680.00 | 2488.00 | Taral Electricals
36.00 | Supplying and fixing of 230 V single-phase (1PH+N), Type 2 + 3 AC Surge Protector Device(SPD), 40KA,Uc-275V AC with (MOV+GSG) technology including connections, testing and commissioning and providing suitable mounting box for fixing the SPD on the wall etc. complete as required. Make:- CITEL, Model-DAC50VG-11-275 or equivalent. | 30.00 | Each | 100.00 | 9000.00 | 270000.00 | 1675.00 | 50250.00 | 4244.00 | 127320.00 | 810.00 | 24300.00 | 24300.00 | K B CONTRACT (P) LTD
37.00 | Supply, Installation, Testing and Commissioning of 8 way (8 + 24), Double door, horizontal type three pole and neutral, sheet steel, IP-43, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 4.00 | Each | 100.00 | 7500.00 | 30000.00 | 9436.00 | 37744.00 | 4005.00 | 16020.00 | 12600.00 | 50400.00 | 16020.00 | Taral Electricals
38.00 | Supplying and fixing 6 way, 6 module, Double door single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 4.00 | Each | 100.00 | 2500.00 | 10000.00 | 2061.00 | 8244.00 | 1731.00 | 6924.00 | 4500.00 | 18000.00 | 6924.00 | Taral Electricals
39.00 | Supply of 20 watt LED batten type tube light (4 ft.) ultra slim with CRCA or Aluminium housing, IP-65, PC diffuser, durable industrial lighting Suitable for 230V, 50Hz, AC Supply with all accessories etc. Complete as required. | 32.00 | Each | 100.00 | 1000.00 | 32000.00 | 529.00 | 16928.00 | 279.00 | 8928.00 | 540.00 | 17280.00 | 8928.00 | Taral Electricals
40.00 | Supply, installation, testing & commissioning of 200 Watt LED type out door lighting luminaire (flood light) ,with high pressure die cast aluminium/standard alloy housing, having uniform lighting distribution with luminaire efficiency of more than 110 lumen per watt, CRI more than 70, THD less than 10%, IP 66 protection, with 5 Year warranty on complete luminaire including driver/control gear & LED, more than 50,000 burning hours, suitable size GI pipe bracket of lenth 01 mtr including bending & clamps as per technical specifications complete as required. Make/Model:- Bajaj/ZELA P 144L WH PO TG SD or Make/Model:- Havells/ ENDURASUNDOWNSL120WLED765PASY BO PC or equivalent. | 10.00 | Each | 100.00 | 4000.00 | 40000.00 | 6176.00 | 61760.00 | 4559.00 | 45590.00 | 8100.00 | 81000.00 | 40000.00 | DOSHI ELECTRIC ENGG. CO.
41.00 | Supply and fixing of Rechargeable Emergency light providing through suitable watt rating Twin High Intensity LED fitted Lamps with Adjustable Swivel Type Beam Lights fitted upon Powder Coated CRCA/MS Sheet Sleek Electronic Cabinet fitted with 12V, 7AH SMF Battery giving Battery Backup of Upto 3 Hours provided with feature of Trickle Charging facilitating Overcharging and Low Battery Protection, suitable for 230V 50Hz etc. complete as required. | 8.00 | Each | 100.00 | 5000.00 | 40000.00 | 2353.00 | 18824.00 | 2885.00 | 23080.00 | 3600.00 | 28800.00 | 18824.00 | S.L. ELECTROMECH PVT. LTD.
42.00 | Supply of portable waterproof handheld type rechargeable Emergency torch Light suitable for Fast recharge on 230V AC, minimum 6-8 Hour battery backup, Minimum 20000 mAh battery, suitable for outdoor work, Long Range upto 800 meter, with USB Cable etc. complete as required | 6.00 | Each | 100.00 | 3000.00 | 18000.00 | 4706.00 | 28236.00 | 2655.00 | 15930.00 | 2430.00 | 14580.00 | 14580.00 | K B CONTRACT (P) LTD
43.00 | SITC of High Wall single phase, 5-Star invertor type 1.5 TR capacity, minimum 16500 BTU/Hr rated Cooling capacity (100 % load), split type airconditioner fitted with hermetically sealed rotary compressor operating on green refrigerant suitable for single phase, 230V, 50Hz, including standard length of copper refrigerant pipe, copper cable and all other accessories as per OEM specifications capable of performing the functions as cooling, dehumidifying, air circulating and filtering, the units shall be supplied with standard length of copper refrigerant pipes, thermal insulation, interconnecting PVC Copper power cable, UPVC Drain pipe, LCD cordless remote, providing & fixing of suitable voltage stabilizer (operating voltage from 170 V to 250 V, auto cut, overload & short circuit protection) including civil work such as drilling for hole, painting, finish with the same and connection of refrigerant pipelines, Pipe Insulation and control cables including first charge of refrigerant etc. complete as required. | 12.00 | Each | 100.00 | 50000.00 | 600000.00 | 88235.00 | 1058820.00 | 40059.00 | 480708.00 | 54000.00 | 648000.00 | 480708.00 | Taral Electricals
44.00 | Supply and fixing of MS angle stand made by 50x50x6 mm MS angle for fixing 1.5 TR split AC outdoor unit or condensing units along with necessary anchor fastener/bolt & nuts etc with concrete, including painting etc. complete as required. | 12.00 | Each | 100.00 | 2000.00 | 24000.00 | 2353.00 | 28236.00 | 1500.00 | 18000.00 | 1350.00 | 16200.00 | 16200.00 | K B CONTRACT (P) LTD
45.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 12.00 | Each | 100.00 | 2000.00 | 24000.00 | 1176.00 | 14112.00 | 2092.00 | 25104.00 | 1530.00 | 18360.00 | 14112.00 | S.L. ELECTROMECH PVT. LTD.
46.00 | Supply, installation, testing and commissioning of 1-Phase Auto time changeover switch, time cycle of 04 hours for operation of 2 nos 1.5TR Inverter Split type AC Units with all accessories complete as required. | 6.00 | Each | 100.00 | 9000.00 | 54000.00 | 5882.00 | 35292.00 | 2251.00 | 13506.00 | 900.00 | 5400.00 | 5400.00 | K B CONTRACT (P) LTD
47.00 | Supply and fixing of extra copper refrigerant pipe of suitable size with nitrile rubber pipe insulation for installation of 1.5 TR Split AC units including jointing/brazing, all accessories for fixing the pipe etc. complete as required. | 36.00 | Mtr | 100.00 | 1000.00 | 36000.00 | 706.00 | 25416.00 | 1291.00 | 46476.00 | 450.00 | 16200.00 | 16200.00 | K B CONTRACT (P) LTD
48.00 | Supply & fixing of PVC drain piping of proper dia for installation of 1.5 TR Split AC units as required at site beyond company provided standard length. | 24.00 | Mtr | 100.00 | 300.00 | 7200.00 | 59.00 | 1416.00 | 31.00 | 744.00 | 90.00 | 2160.00 | 744.00 | Taral Electricals
49.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/surface mounted, double door, outdoor LT feeder panel PTTA type made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, depth of leg 3 feet (minimum), CC all around of the panel upto 1 Meter, control wiring, with mechanical interlocking etc. and having following accessories. INCOMER 2 Nos. 160 A 4P MCCB (Ics=Icu=36KA) thermal magnetic release with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Volatge, Current, Energy, frequency, power factor etc.with CT ratio programmable and auto ranging along with suitable range CTs. 1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON' lamps. BUS COUPLER 1 Nos. 160 A 4P MCCB (Ics=Icu=36 KA) thermal magnetic release with rotary operating mechanism including terminal extension. Bus coupler shall have indication 'ON' indicaton lamp. BUS BAR 1 Set of 200 A TPN Busbars of aluminium alloy. OUTGOING 02 Nos. 125 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release. 02 Nos. 63 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release. 04 Nos. 32 A TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release also with Timer and suitable contactor etc. 08 Sets (1 Set for each outgoing) LED type 'ON' Indication Lamps. | 2.00 | Job | 100.00 | 400000.00 | 800000.00 | 275265.00 | 550530.00 | 368794.00 | 737588.00 | 315000.00 | 630000.00 | 550530.00 | S.L. ELECTROMECH PVT. LTD.
50.00 | Design, Fabrication, Supply, installation, testing and commissioning of vermin proof, dust proof, front operated, cubicle type, floor/surface mounted, double door, outdoor LT distribution panel PTTA type made out of 2 mm thick CRCA sheet duly rust inhibited, powder coated paint, fully compartmentalized complete with double hinged front door with lockable arrangement etc. including necessary iron channel stand of size 50X50X5, control wiring, with mechanical interlocking etc. and having following accessories. (i) INCOMER 2 Nos. 63 A 4P MCCB (Ics=Icu=25KA) thermal magnetic release with rotary operating mechanism including terminal extension. Each Incomer shall have one set of the following items: Digital Multifunction Meter, suitable for measure Volatge, Current, Energy, frequency, power factor etc.with CT ratio programmable and auto ranging along with suitable range CTs.1 Set of Indication Lamps, LED type, R,Y,B and MCCB 'ON' lamps. (ii) 01 No 63A, 4P, 16KA, ATS (Automatic Transfer Switch) at incomers having following arrangements at outgoing of ATS. 01 set of 63A HRC fuse. 01 No 0-500V range Voltmeter with voltage selector switch and 2A protection MCB. 01 No 63A, 4P MCCB (Ics=Icu=16KA) thermal magnetic release with Overload, short circuit and earth fault protection, with rotary operating mechanism including terminal extension. 01 no T2, 50KA, SPD with suitable rating TPN MCB. (iii) BUS BAR 1 Set of 100 A TPN, 415V, aluminium alloy Busbars, short-circuit withstand capacity 16KA for 01 Sec. (iv) OUTGOINGS 03 Nos. 32 A, DP,RCBO (100 mA). 02 Nos. 63 A, TPN MCCB (Ics=Icu=25 KA) with thermal magnetic release and 01 no T2, 50KA, SPD with suitable rating TPN MCB. 01 No 40A, TPN MCB. 01 No 32A, DP, RCBO (100 mA) 01 No 20A, DP, MCB. 08 Sets (1 Set for each outgoing) LED type 'ON' Indication Lamps. | 2.00 | Job | 100.00 | 450000.00 | 900000.00 | 237265.00 | 474530.00 | 252635.00 | 505270.00 | 360000.00 | 720000.00 | 474530.00 | S.L. ELECTROMECH PVT. LTD.
51.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement etc. with charcoal/ coke and salt complete as required. | 8.00 | Job | 100.00 | 7000.00 | 56000.00 | 8235.00 | 65880.00 | 7444.00 | 59552.00 | 5400.00 | 43200.00 | 43200.00 | K B CONTRACT (P) LTD
52.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 140.00 | Mtr | 100.00 | 200.00 | 28000.00 | 319.00 | 44660.00 | 142.00 | 19880.00 | 180.00 | 25200.00 | 19880.00 | Taral Electricals
53.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 28.00 | Mtr | 100.00 | 30.00 | 840.00 | 25.00 | 700.00 | 28.00 | 784.00 | 36.00 | 1008.00 | 700.00 | S.L. ELECTROMECH PVT. LTD.
54.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 114.00 | Each | 100.00 | 350.00 | 39900.00 | 412.00 | 46968.00 | 721.00 | 82194.00 | 720.00 | 82080.00 | 39900.00 | DOSHI ELECTRIC ENGG. CO.
55.00 | Supply of nominal 2.0 mm thick ( Size of each piece 1Mtr x 10 Mtr) electric insulated synthetic mats conforming to IS:15652-2006, ( 3.3 KV) Class A, in dotted surface texture etc complete as required. | 20.00 | Mtr | 100.00 | 800.00 | 16000.00 | 1235.00 | 24700.00 | 531.00 | 10620.00 | 1800.00 | 36000.00 | 10620.00 | Taral Electricals
| Total in Figures |  |  |  |  | 20637670.00 |  | 23289727.00 |  | 23003966.00 |  | 19218807.00
Lowest Amount Quoted BY: K B CONTRACT (P) LTD(19218807.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of ILS at Kishangarh Airport, Ajmer. SH- Electrical Work. Tender ID: 2026_AAI_267335_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K B CONTRACT (P) LTD (BID ID -991239) | 19218807.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. (BID ID -988325) | 20637670.00 | L2
| 3 | Taral Electricals (BID ID -991234) | 23003966.00 | L3
| 4 | S.L. ELECTROMECH PVT. LTD. (BID ID -991046) | 23289727.00 | L4