## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 30-Mar-2026 10:51 AM Tender Title: Rewiring works in CISF Barracks at Dimapur Airport. Tender ID: 2026_AAI_267427_1
Tender Inviting Authority: AGM(E-E) AAI, Dimapur Airport.
Name of Work: “Rewiring work in CISF Barracks at Dimapur Airport"
Contract No: 2026_AAI_267427_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals (GSTN-18AAJFM8760E1ZZ) BID ID -990706 |  | MS BHARAT ELECTRICALS (GSTN-NA) BID ID -990177
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface/ recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 aq.mm. FR PVC insulated copper conductor single core cable etc. as requried. - Group C | 260.00 | Point |  | 917.25 | 238485.00 | 1569.00 | 407940.00 | 238485.00 | sudarshnacoolingcentre andelectricals
2.00 | Wiring for group control points for light points with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed Steel conduit, and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable including all accessories etc. as required (excluding switch & switch box).Group C | 54.00 | Point |  | 917.25 | 49531.50 | 1100.00 | 59400.00 | 49531.50 | sudarshnacoolingcentre andelectricals
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following size of FR PVC insulated copper conductor single core cable in surface / recessed steel conduit as requried. a) 2 X 1.5 sq. mm + 1 X 1.5 sq.mm earth wire | 450.00 | Mtr. |  | 77.04 | 34668.00 | 300.00 | 135000.00 | 34668.00 | sudarshnacoolingcentre andelectricals
3.10 | b) 2 X 2.5 sq. mm + 1 X 2.5 sq.mm earth wire | 300.00 | Mtr. |  | 198.12 | 59436.00 | 300.00 | 90000.00 | 59436.00 | sudarshnacoolingcentre andelectricals
3.20 | C) 2 X 4 sq. mm + 1 X 4 sq.mm earth wire | 400.00 | Mtr. |  | 271.50 | 108600.00 | 400.00 | 160000.00 | 108600.00 | sudarshnacoolingcentre andelectricals
3.30 | d) 4 X 6 sq. mm + 2 X 6 sq.mm earth wire | 180.00 | Mtr. |  | 792.50 | 142650.00 | 800.00 | 144000.00 | 142650.00 | sudarshnacoolingcentre andelectricals
4.00 | Wiring for Power plug with 2 X 4 sqmm FRLS PVC insulated copper conductor, single core cable in surface/recessed Steel conduit along with 1 No 4 sqmm. FRLS PVC insulated copper conductor, single core cable for loop earthing as required. | 400.00 | Mtr. |  | 370.57 | 148228.00 | 400.00 | 160000.00 | 148228.00 | sudarshnacoolingcentre andelectricals
5.00 | Wiring for light/power plug with 4 x 4 sq.mm. FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 2 nos. 4 sq.mm. FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Mtr. |  | 741.14 | 74114.00 | 700.00 | 70000.00 | 70000.00 | MS BHARAT ELECTRICALS
6.00 | Supplying and fixing following modular switch / socket on the existing modular plate and switch box including connections but excluding modular plate etc. as required. a) 15/16 amps switch | 60.00 | Each |  | 269.06 | 16143.60 | 120.00 | 7200.00 | 7200.00 | MS BHARAT ELECTRICALS
6.10 | b) 6 pin 15/16 amp socket outlet (shuttered type) | 60.00 | Each |  | 275.17 | 16510.20 | 160.00 | 9600.00 | 9600.00 | MS BHARAT ELECTRICALS
6.20 | C) 5/6 amp switch | 80.00 | Each |  | 151.65 | 12132.00 | 40.00 | 3200.00 | 3200.00 | MS BHARAT ELECTRICALS
6.30 | d) 3 pin 5/6 amp socket outlet (shuttered type) | 80.00 | Each |  | 165.10 | 13208.00 | 100.00 | 8000.00 | 8000.00 | MS BHARAT ELECTRICALS
7.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 180.00 | Each |  | 2017.96 | 363232.80 | 800.00 | 144000.00 | 144000.00 | MS BHARAT ELECTRICALS
8.00 | Supplying and fixing modular blanking plate on the existing modular plate and switch box excluding modular plate as required. | 30.00 | Each |  | 30.57 | 917.10 | 30.00 | 900.00 | 900.00 | MS BHARAT ELECTRICALS
9.00 | Supplying and fixing following size/ modules, GI box along with modular base and cover plate for modular switches in recess etc. as required. A) 1 or 2 module | 60.00 | Each |  | 195.68 | 11740.80 | 200.00 | 12000.00 | 11740.80 | sudarshnacoolingcentre andelectricals
9.10 | B) 3 Module | 30.00 | Each |  | 226.25 | 6787.50 | 200.00 | 6000.00 | 6000.00 | MS BHARAT ELECTRICALS
9.20 | C) 4 Module | 10.00 | Each |  | 317.98 | 3179.80 | 300.00 | 3000.00 | 3000.00 | MS BHARAT ELECTRICALS
9.30 | D) 6 Module | 40.00 | Each |  | 428.05 | 17122.00 | 350.00 | 14000.00 | 14000.00 | MS BHARAT ELECTRICALS
10.00 | Supplying and fixing of 63A, Four pole, 415V, 'C' Series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 2262.56 | 9050.24 | 800.00 | 3200.00 | 3200.00 | MS BHARAT ELECTRICALS
11.00 | Supplying and fixing 6 amps-32 amps rating, Single Pole, 240 volts, 'C' series, Miniature Circuit Breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 60.00 | Each |  | 158.99 | 9539.40 | 150.00 | 9000.00 | 9000.00 | MS BHARAT ELECTRICALS
12.00 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 8.00 | Set |  | 5503.54 | 44028.32 | 4500.00 | 36000.00 | 36000.00 | MS BHARAT ELECTRICALS
13.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required.( Double run) | 500.00 | Mtr. |  | 48.92 | 24460.00 | 50.00 | 25000.00 | 24460.00 | sudarshnacoolingcentre andelectricals
14.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 500.00 | Mtr. |  | 183.45 | 91725.00 | 40.00 | 20000.00 | 20000.00 | MS BHARAT ELECTRICALS
15.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 200.00 | Mtr. |  | 42.80 | 8560.00 | 30.00 | 6000.00 | 6000.00 | MS BHARAT ELECTRICALS
16.00 | Supply & Fixing of wall mounted batton integrated LED channel including LED tube light 1x36 watt suitable to operate on 230 volts , 50 hertz, AC supply etc as required. | 100.00 | Each |  | 388.91 | 38891.00 | 500.00 | 50000.00 | 38891.00 | sudarshnacoolingcentre andelectricals
17.00 | Supply of '5' Star rating 1400 mm sweep ceiling fan with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 230 V/240 V 50 HZ, AC supply confirms to IS 374/1979 as required complete. | 100.00 | Each |  | 4586.28 | 458628.00 | 1700.00 | 170000.00 | 170000.00 | MS BHARAT ELECTRICALS
18.00 | Supplying and fixing stepped type electronic Fan Regulator on the existing modular plate and switch box including connections but excluding modular plate etc. as required. | 100.00 | Each |  | 446.39 | 44639.00 | 280.00 | 28000.00 | 28000.00 | MS BHARAT ELECTRICALS
19.00 | Supply of 90 Watts fully weather proof with IP 66 protected, Integral type, LED Street Light Luminaire comprising of Pressure Die Cast Aluminum housing with suitable toughned glass and individual LED with secondary optics for operation on variable AC inputs employing highly efficient constant current electronic driver etc complete as required with prior approval of EIC | 50.00 | Each |  | 5870.44 | 293522.00 | 3000.00 | 150000.00 | 150000.00 | MS BHARAT ELECTRICALS
20.00 | Instalation ,testing and commissioning or pre-wired,LED fittings/down lighter /bulk head luminaries etc of all type (surface / recessed) complete with all accessories and tube etc.direcly on ceilling/wall,including connection with 1.5sqmm FRLS PVC insulated,stranded,copper conductor,single core cable with flaxible conduit and coupler and earthing etc.as required. | 50.00 | Each |  | 85.61 | 4280.50 | 600.00 | 30000.00 | 4280.50 | sudarshnacoolingcentre andelectricals
21.00 | Installation, testing and commissioning of ceiling fan, wiring the down rod of standard length (upto 30cm) with 1.5 sq.mm PVC insulated copper conductor single core cable including earthing the regulator etc. as required. | 100.00 | Each |  | 281.29 | 28129.00 | 200.00 | 20000.00 | 20000.00 | MS BHARAT ELECTRICALS
22.00 | Supply of following size of 1.1 KV grade, Armoured XLPE insulated PVC sheathed Aluminium conductor cable confirming to IS: 7098 part -I amended upto date. A) 3.5C x 35 sqmm | 200.00 | Mtr. |  | 330.21 | 66042.00 | 250.00 | 50000.00 | 50000.00 | MS BHARAT ELECTRICALS
22.10 | B) 4C x 16 sqmm | 250.00 | Mtr. |  | 385.24 | 96310.00 | 180.00 | 45000.00 | 45000.00 | MS BHARAT ELECTRICALS
23.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL pipe as required. A) Upto 35 sq.mm | 30.00 | Mtr. |  | 30.57 | 917.10 | 40.00 | 1200.00 | 917.10 | sudarshnacoolingcentre andelectricals
24.00 | Laying & fixing of one No XLPE insulated & PVC sheathed Aluminium/Copper Cable of 1.1 KV grade of following sizes on surface etc. as required. A) Upto 35 sqmm | 400.00 | Mtr. |  | 207.91 | 83164.00 | 50.00 | 20000.00 | 20000.00 | MS BHARAT ELECTRICALS
25.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. A) Upto 35 sqmm | 50.00 | Mtr. |  | 226.25 | 11312.50 | 400.00 | 20000.00 | 11312.50 | sudarshnacoolingcentre andelectricals
26.00 | Supplying and making end termination with heavy duty type brass single compression gland and aluminium lugs for following size of XLPE insulated aluminium conductor cable of 1.1 kV grade as required. A) 3.5 x 35 sqmm | 6.00 | Each |  | 672.65 | 4035.90 | 240.00 | 1440.00 | 1440.00 | MS BHARAT ELECTRICALS
26.10 | B) 4 x 16 sqmm | 6.00 | Each |  | 452.51 | 2715.06 | 300.00 | 1800.00 | 1800.00 | MS BHARAT ELECTRICALS
27.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 meter in width, and lift upto 1.5 meter, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 meter. | 50.00 | Cu.Mtr. |  | 342.44 | 17122.00 | 1200.00 | 60000.00 | 17122.00 | sudarshnacoolingcentre andelectricals
28.00 | Supply of ISI marked fans suitable for 230 VAC, 50 Hz supply :Heavy Duty Exhaust Fan 300 mm, 900 rpm, 230V, Havells Turbo force SP model or equivalent. | 12.00 | Each |  | 3316.80 | 39801.60 | 1500.00 | 18000.00 | 18000.00 | MS BHARAT ELECTRICALS
29.00 | Supply and fixing of dust & water proof, corrosion free junction box having suitable size made of Thermoplastic/ Polycarbonete having glands and studd type terminals block to accommodate incoming cable of size 25sqmm and suitable outgoing cables and fixing on existing street light pole/ surface with suitable clamps, providing 1 no. “C” series 6A SPN MCB in the box suitable for termination of 2 nos of 4 x 25 sq. mm armoured cable etc. complete as required. (Looping box of make Trinity Touch, Cat No.HE-PC 2819 17G or equivalent) | 50.00 | Each |  | 1956.81 | 97840.50 | 2500.00 | 125000.00 | 97840.50 | sudarshnacoolingcentre andelectricals
30.00 | Fabrication, installation of bracket suitable for installing two nos of street light fitting in opposite ditection made out of 32 mm dia GI pipe(M) bracket of 2 mtr lenght with suitable MS base plate in square shape having holes for mounting of wall including painting, anchor fastner or saddles etc. complete as required.(The bracket design shall be finalized by EIC at the time of execution) | 50.00 | Each |  | 1039.55 | 51977.50 | 700.00 | 35000.00 | 35000.00 | MS BHARAT ELECTRICALS
31.00 | Supply, installation, rectification, testing and commissioning of recessed type main feeder cable junction box/looping bx by dismantling the existing live junction box/looping. Termination of outgoing and incoming connections from the old distribution box to new newly installed exising recessed electrical distribution boards, including re-termination, looping and dressing of cables from existing live system, providing and fixing junction box/looping with cover plate, glands, lugs and ferrules, sealing of wall openings, making good all wall surfaces, and restoring the newly installed DBs to full working condition, complete in all respects. Details as per technical specifications. | 12.00 | Job |  | 2017.96 | 24215.52 | 6000.00 | 72000.00 | 24215.52 | sudarshnacoolingcentre andelectricals
32.00 | Supply & Fixing of 18W Surface mounted downlighter with High Purity Aluminium heat sink & PC diffuser in white powder coated finish with Independent electronic LED driver.(Make Panasonic or equivalent) | 100.00 | Each |  | 1051.78 | 105178.00 | 690.00 | 69000.00 | 69000.00 | MS BHARAT ELECTRICALS
| Total in Figures |  |  |  |  | 2972770.44 |  | 2499880.00
Lowest Amount Quoted BY: MS BHARAT ELECTRICALS(2499880.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rewiring works in CISF Barracks at Dimapur Airport. Tender ID: 2026_AAI_267427_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MS BHARAT ELECTRICALS (BID ID -990177) | 2499880.00 | L1
| 2 | sudarshnacoolingcentre andelectricals (BID ID -990706) | 2972770.44 | L2