## BoQ1
Government eProcurement System Created By: Bhavesh P Mehta Created Date/Time: 06-Apr-2026 05:55 PM Tender Title: Modification of Part of Old Terminal Building (Ground Floor) for development of International Air Cargo Terminal at S.V. Airport, Raipur. SH- Civil Works Tender ID: 2026_AAI_267641_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Modification of Part of Old Terminal Building (Ground Floor) for development of International Air Cargo Terminal at S.V. Airport, Raipur. SH- Civil Works
Contract No: 2026_AAI_267641_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRI BALAJI MINERALS AND CONSTRUCTION (GSTN-NA) BID ID -991576 |  | AXIOM CLOVER TRADING CORPORATION (GSTN-NA) BID ID -992383
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. a) All kinds of soil | 10.00 | Cum | 1.25 | 133.90 | 1339.00 | 210.00 | 2100.00 | 1339.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 8.00 | Cum | 0.00 | 147.90 | 1183.20 | 165.00 | 1320.00 | 1183.20 | SHRI BALAJI MINERALS AND CONSTRUCTION
3.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 197.00 | Cum | 100.00 | 1500.00 | 295500.00 | 2150.00 | 423550.00 | 295500.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
4.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 15.00 | Cum | 53.00 | 1141.90 | 17128.50 | 1780.00 | 26700.00 | 17128.50 | SHRI BALAJI MINERALS AND CONSTRUCTION
5.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 11.00 | Cum | 10.00 | 2697.90 | 29676.90 | 2650.00 | 29150.00 | 29150.00 | AXIOM CLOVER TRADING CORPORATION
6.00 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineerin- charge. | 10.00 | sqm | 11.00 | 870.90 | 8709.00 | 975.00 | 9750.00 | 8709.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
7.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 84.00 | sqm | 100.00 | 54.75 | 4599.00 | 75.00 | 6300.00 | 4599.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
8.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 195.00 | sqm | 53.00 | 40.53 | 7903.35 | 55.00 | 10725.00 | 7903.35 | SHRI BALAJI MINERALS AND CONSTRUCTION
9.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 620.00 | sqm | 10.00 | 41.82 | 25928.40 | 60.00 | 37200.00 | 25928.40 | SHRI BALAJI MINERALS AND CONSTRUCTION
10.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 11.00 | Sqm | 11.00 | 201.50 | 2216.50 | 55.00 | 605.00 | 605.00 | AXIOM CLOVER TRADING CORPORATION
11.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 70.00 | Cum | 10.00 | 1199.90 | 83993.00 | 650.00 | 45500.00 | 45500.00 | AXIOM CLOVER TRADING CORPORATION
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 94.00 | Cum | 22.00 | 4900.99 | 460693.06 | 6350.00 | 596900.00 | 460693.06 | SHRI BALAJI MINERALS AND CONSTRUCTION
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level a) 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 41.00 | Cum | 0.00 | 5499.00 | 225459.00 | 7175.00 | 294175.00 | 225459.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
14.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 9.00 | Cum | 1.00 | 6873.90 | 61865.10 | 8300.00 | 74700.00 | 61865.10 | SHRI BALAJI MINERALS AND CONSTRUCTION
15.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 7.00 | Cum | 1.00 | 5999.00 | 41993.00 | 8100.00 | 56700.00 | 41993.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
16.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 5.00 | cum | 1.25 | 8743.13 | 43715.65 | 8200.00 | 41000.00 | 41000.00 | AXIOM CLOVER TRADING CORPORATION
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete | 182.00 | Sqm | 0.00 | 304.87 | 55486.34 | 625.00 | 113750.00 | 55486.34 | SHRI BALAJI MINERALS AND CONSTRUCTION
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for : c) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 107.00 | Sqm | 100.00 | 573.39 | 61352.73 | 750.00 | 80250.00 | 61352.73 | SHRI BALAJI MINERALS AND CONSTRUCTION
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for : e) Suspended floors, roofs, landings, balconies and access platform | 5.00 | Sqm | 53.00 | 722.25 | 3611.25 | 790.00 | 3950.00 | 3611.25 | SHRI BALAJI MINERALS AND CONSTRUCTION
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for i) Edges of slabs and breaks in floors and walls f) Under 20 cm wide | 5.00 | Mtr | 10.00 | 161.67 | 808.35 | 90.00 | 450.00 | 450.00 | AXIOM CLOVER TRADING CORPORATION
21.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 785.00 | Kg | 11.00 | 80.00 | 62800.00 | 90.00 | 70650.00 | 62800.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
22.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 1413.00 | Kg | 100.00 | 80.00 | 113040.00 | 92.00 | 129996.00 | 113040.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
23.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. a) Fixed to openings /wooden frames with rawl plugs screws etc. | 1700.00 | Kg | 53.00 | 134.00 | 227800.00 | 130.00 | 221000.00 | 221000.00 | AXIOM CLOVER TRADING CORPORATION
24.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. a) Electric resistance or induction butt welded tubes | 12450.00 | Kg | 10.00 | 135.00 | 1680750.00 | 140.00 | 1743000.00 | 1680750.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
25.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 14288.00 | Kg | 11.00 | 103.00 | 1471664.00 | 145.00 | 2071760.00 | 1471664.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
26.00 | Supplying at site : Welded steel wire fabric of required width having rectangular mesh painted with two or more coats of enamel paint of approved shade over a coat of primer (Priming & Painting to be paid for separately). | 3136.00 | kg | 10.00 | 98.00 | 307328.00 | 155.00 | 486080.00 | 307328.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
27.00 | Providing and supplying Stainless Steel Step Can of 6 Litre capacity (K-17531T-ST of Kohler make or equivalent) complete as per directions of Engineer-in-Charge. | 15.00 | Each | 22.00 | 2899.00 | 43485.00 | 9500.00 | 142500.00 | 43485.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
28.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 5090.00 | Kg | 0.00 | 125.00 | 636250.00 | 150.00 | 763500.00 | 636250.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
29.00 | Drilling suitable holes in reinforced or plain cement concrete with power driven drill machine upto 300mm in RCC beams, lintels, columns and slabs to introduce Anchor rod of 20mm dia and 260mm length for grouting including fixing the Anchor rod in position using pure epoxy chemical anchor grout of approved make including the cost of Anchor rod and epoxy grout, all complete as per direction of Engineer-In-Charge. a) Anchor rod of 20mm dia and 260mm length. | 600.00 | each | 1.00 | 699.00 | 419400.00 | 350.00 | 210000.00 | 210000.00 | AXIOM CLOVER TRADING CORPORATION
30.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 2300.00 | Sqm | 10.00 | 160.99 | 370277.00 | 195.00 | 448500.00 | 370277.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
31.00 | Brick work with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 average compressive strength in foundation and plinth in: (a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 51.00 | cum | 22.00 | 4500.00 | 229500.00 | 5800.00 | 295800.00 | 229500.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
32.00 | Brick work with non modular Fly ash bricks conforming to IS:12894, class designation 5.0 in superstructure above plinth level up to floor five level in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 121.00 | cum | 0.00 | 5800.00 | 701800.00 | 6000.00 | 726000.00 | 701800.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
33.00 | Half brick masonry with non modular fly ash bricks of class designation 10, conformingio IS :12894, in super structure above plinth and upto floor V level. A) Cement mortar 1:4 (1 cement :4 coarse sand) | 7.00 | Sqm | 1.00 | 864.32 | 6050.24 | 875.00 | 6125.00 | 6050.24 | SHRI BALAJI MINERALS AND CONSTRUCTION
34.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 760.00 | Sqm | 1.25 | 259.29 | 197060.40 | 360.00 | 273600.00 | 197060.40 | SHRI BALAJI MINERALS AND CONSTRUCTION
35.00 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : a) 1:4 (1 cement: 4 fine sand) | 760.00 | Sqm | 0.00 | 357.42 | 271639.20 | 440.00 | 334400.00 | 271639.20 | SHRI BALAJI MINERALS AND CONSTRUCTION
36.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. a) Two Coats | 2440.00 | Sqm | 100.00 | 106.10 | 258884.00 | 190.00 | 463600.00 | 258884.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
37.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) | 3100.00 | Sqm | 53.00 | 119.45 | 370295.00 | 200.00 | 620000.00 | 370295.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
38.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 43.00 | Each | 10.00 | 1198.00 | 51514.00 | 2400.00 | 103200.00 | 51514.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
39.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm | 43.00 | Each | 11.00 | 89.99 | 3869.57 | 675.00 | 29025.00 | 3869.57 | SHRI BALAJI MINERALS AND CONSTRUCTION
40.00 | Providing and fixing frosted film over existing glass of desired opacity, complete as per the instructions of EIC. | 180.00 | Sqm | 10.00 | 69.00 | 12420.00 | 180.00 | 32400.00 | 12420.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
41.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 40.00 | Sqm | 22.00 | 2374.96 | 94998.40 | 2900.00 | 116000.00 | 94998.40 | SHRI BALAJI MINERALS AND CONSTRUCTION
42.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For fixed portion a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 3650.00 | Kg | 0.00 | 420.99 | 1536613.50 | 380.00 | 1387000.00 | 1387000.00 | AXIOM CLOVER TRADING CORPORATION
43.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : i) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) a) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 780.00 | Kg | 1.00 | 487.52 | 380265.60 | 370.00 | 288600.00 | 288600.00 | AXIOM CLOVER TRADING CORPORATION
44.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge. (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 360.00 | Sqm | 1.00 | 949.00 | 341640.00 | 3100.00 | 1116000.00 | 341640.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
45.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. a) Using M.S. angels 40x40x6 mm for diagonal braces | 10.00 | Sqm | 10.00 | 4352.00 | 43520.00 | 4850.00 | 48500.00 | 43520.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
46.00 | Providing and fixing chromium plated brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 36.00 | Each | 22.00 | 1399.00 | 50364.00 | 1750.00 | 63000.00 | 50364.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
47.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : a) 300x16 mm | 72.00 | Each | 0.00 | 231.99 | 16703.28 | 675.00 | 48600.00 | 16703.28 | SHRI BALAJI MINERALS AND CONSTRUCTION
48.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 100 mm | 86.00 | Each | 1.00 | 44.99 | 3869.14 | 275.00 | 23650.00 | 3869.14 | SHRI BALAJI MINERALS AND CONSTRUCTION
49.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. a) Single rubber stopper | 43.00 | Each | 1.25 | 30.99 | 1332.57 | 750.00 | 32250.00 | 1332.57 | SHRI BALAJI MINERALS AND CONSTRUCTION
50.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 234.00 | Sqm | 0.00 | 833.52 | 195043.68 | 1325.00 | 310050.00 | 195043.68 | SHRI BALAJI MINERALS AND CONSTRUCTION
51.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 130.00 | Sqm | 100.00 | 1099.64 | 142953.20 | 1780.00 | 231400.00 | 142953.20 | SHRI BALAJI MINERALS AND CONSTRUCTION
52.00 | Extra for providing opening of required size & shape for wash basin/kitchen sink in kitchen platform, vanity counter and similar location in marble/granite/stone work, including necessary holes for pillar taps etc including moulding,rubbing and polishing of cut edges etc. complete. | 10.00 | Each | 53.00 | 798.00 | 7980.00 | 425.00 | 4250.00 | 4250.00 | AXIOM CLOVER TRADING CORPORATION
53.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. i) Granite stone slab of colour black, Cherry/Ruby red a) Area of slab over 0.50 sqm | 20.00 | Sqm | 10.00 | 3851.22 | 77024.40 | 6100.00 | 122000.00 | 77024.40 | SHRI BALAJI MINERALS AND CONSTRUCTION
54.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. completeas per design approved by Engineer-in-Charge. a) Granite work | 40.00 | Mtrs | 11.00 | 382.21 | 15288.40 | 290.00 | 11600.00 | 11600.00 | AXIOM CLOVER TRADING CORPORATION
55.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.
55.10 | (a) 25 mm nominal dia Pipes | 40.00 | Metre | 10.00 | 469.89 | 18795.60 | 300.00 | 12000.00 | 12000.00 | AXIOM CLOVER TRADING CORPORATION
55.20 | (b) 32 mm nominal dia Pipes | 40.00 | Metre | 22.00 | 553.48 | 22139.20 | 350.00 | 14000.00 | 14000.00 | AXIOM CLOVER TRADING CORPORATION
56.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 18.00 | Each | 0.00 | 446.95 | 8045.10 | 420.00 | 7560.00 | 7560.00 | AXIOM CLOVER TRADING CORPORATION
57.00 | Providing & fixing of white vitreous china below counter oval wash basin (Jaquar cat no. FLS-WHT-5701 (550x425x195 mm) Kohler/Hindware or approved equivalent), Pressmatic Pillar Cock auto closing System (Ref CAT No. PRS-031 Pillar Cock Jaquar /Kohler/Hindware or approved equivalent) and Bottle trap (Ref. CAT No. ALD-769L300x190 Jaquar/Kohler/Hindware or approved equivalent) Size - 300x190, Waste Coupl. 32mm full thread Jaquar make CAT no. - ALD-705/Kohler/Hindware or approved equivalent), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 10.00 | Each | 1.00 | 2819.46 | 28194.60 | 5175.00 | 51750.00 | 28194.60 | SHRI BALAJI MINERALS AND CONSTRUCTION
58.00 | Providing & fixing of white vitreous china Rimless Extended Wall Hung WC with cistern (Jaquar cat no. FLS-WHT-5953PPZ (380x650x730 mm) Kohler/Hindware or approved equivalent) with PP soft close seat cover, hinges, dual flush cistern fittings, and all other accessories for waste connection , with installation kit & 'S'/'P' Type drain pipe connection set complete including , nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 9.00 | Each | 10.00 | 11188.76 | 100698.84 | 7350.00 | 66150.00 | 66150.00 | AXIOM CLOVER TRADING CORPORATION
59.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 10.00 | Each | 22.00 | 4899.99 | 48999.90 | 1325.00 | 13250.00 | 13250.00 | AXIOM CLOVER TRADING CORPORATION
60.00 | Providing and fixing toilet paper holder : a) C.P. brass | 9.00 | Each | 0.00 | 738.79 | 6649.11 | 500.00 | 4500.00 | 4500.00 | AXIOM CLOVER TRADING CORPORATION
61.00 | Providing and fixing C.P. brass Two Way Two Lever Bib Cock with wall flange (Essco by Jaquar SQT-CHR-512ANKN/ Kohler/Hindware or approved equivalent) along with Hand Shower (Health Faucet) (ABS Body) , 1 Meter Long Spirochrome flex tube & Wall Hook ( Jaquar ALD-CHR-587/ Kohler/ hindware or approved equivalent) of approved quality complete as per the instructions of EIC a) 15mm nominal bore | 9.00 | Each | 1.00 | 1774.10 | 15966.90 | 980.00 | 8820.00 | 8820.00 | AXIOM CLOVER TRADING CORPORATION
62.00 | Providing and fixing Stainless Steel towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings. a) 600 mm long towel rail with total length of 645 mm. | 5.00 | Each | 1.25 | 537.80 | 2689.00 | 1100.00 | 5500.00 | 2689.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
63.00 | Providing and fixing stainless steel grating along with PVC nahani trap etc. as per direction & satisfaction of Engineer-in-Charge. a) 100mm dia | 18.00 | Each | 0.00 | 159.00 | 2862.00 | 525.00 | 9450.00 | 2862.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
64.00 | Providing and fixing Liquid Soap Container Push Button Soap Dispensers, Capacity :0 .8L, Material : ABS, Finish : white/smoked (Jaquar SDR-WHT-DJ0010FN/kohler/hindware or equivalent) with SS Screws including making good the wall wherever required complete as directed by the Engineer-in-charge. | 9.00 | Each | 100.00 | 1061.38 | 9552.42 | 610.00 | 5490.00 | 5490.00 | AXIOM CLOVER TRADING CORPORATION
65.00 | Providing and fixing in position starwhite vitreous chinaware Urinal with spreader hole, of Jaquar Cat. no URS-WHT-13261H/Kohler/Hindware or equivalent with Pressmatic Urinal Valve ( Jaquar PRS-CHR-077/kohler/hindware or equivalent), Urinal Spreader bowl Top Inlet (Jaquar ALD-CHR-1043/kohler/hindware or equivalent),Bottle trap (Ref. CAT No. ALD-769L300x190 Jaquar) Size - 300x190, Waste Coupl. 32mm full thread Jaquar make CAT no. - ALD-705L130), wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 5.00 | Each | 53.00 | 3365.67 | 16828.35 | 7500.00 | 37500.00 | 16828.35 | SHRI BALAJI MINERALS AND CONSTRUCTION
66.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 (a) 15mm nominal bore | 10.00 | Each | 10.00 | 446.95 | 4469.50 | 550.00 | 5500.00 | 4469.50 | SHRI BALAJI MINERALS AND CONSTRUCTION
67.00 | Providing & fixing modular toilet cubicles (model Besco cubicle ZMS SS 2100MM of Merino or equivalent), consisting of high proessure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard with phenolic core panels for partitions of intermediate divider (1945mm), doors (1925mm x 600mm) and pilasters (the cubicle shall be have dimensions of 1m to 1.25m width with overall height 2.1m (Including bottom gap 100mm , but the panel area required for one cabin shall be one longer and the one shorter side of the cabin including one door) with a door size of minimum 600mm width, the assembly shall be supported by SS grade 304 head rail on top of panels and panels shall fixed on the floor with a clearance of maximum 100mm using SS grade 316 adjustable legs screwed to the floor included assessories with standard SS grade 304 accessories, butt hinges with cover, SS grade 304 top rail , privacy thumb turn i/c occupancy indicator coat hook, door knob, adjustable pedestal, SS grade 304 "U" channel door stopper channel, rubber door stopper lining, SS screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is inclusive of cost carriage of all materials, labour charge, lead & lift, all taxes etc complete. (L shaped panels matching the two dimensions of a cabin is only required to make one cubicle) | 8.00 | Each | 11.00 | 8199.00 | 65592.00 | 28750.00 | 230000.00 | 65592.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
68.00 | Providing & fixing urinal partitions (model urinal Modesty SS series SS of marino), consisting of high proessure 12mm thick compact laminate board as per IS 2046 and as per fire retardent BS-476/96 standard. urinal partition panel of size 500mm (W) x 1200mm (H) and overall height 1.85m (Including bottom gap 650mm). assembly shall be supported by SS grade 304 accessories, right angle brackets, SS screws & wall plug etc complete as per manufacturers specification and as directed by Engineer in charge. The rate is inclusive of cost carriage of all materials, labour charge, lead & lift, all taxes etc complete. | 5.00 | Each | 10.00 | 3478.20 | 17391.00 | 1900.00 | 9500.00 | 9500.00 | AXIOM CLOVER TRADING CORPORATION
69.00 | Providing and fixing Toilet Roll Holder (Code CPA-1151 of Jaquar make or equivalent) as per directions of Engineer-in-Charge. | 9.00 | Each | 22.00 | 743.56 | 6692.04 | 530.00 | 4770.00 | 4770.00 | AXIOM CLOVER TRADING CORPORATION
70.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes approved Make as per IS- 13592 (working pressure of 6kg /cm2) including all SWR UPVC fittings and cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge.
70.10 | a) 160 mm dia SWR UPVC pipe line laid complete | 20.00 | Mtr | 22.00 | 418.40 | 8368.00 | 800.00 | 16000.00 | 8368.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
70.20 | b) 110mm dia SWR UPVC pipe lines laid complete | 50.00 | Mtr | 0.00 | 620.78 | 31039.00 | 730.00 | 36500.00 | 31039.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
70.30 | c) 75mm dia SWR UPVC pipe lines laid complete | 20.00 | Mtr | 1.00 | 1173.47 | 23469.40 | 410.00 | 8200.00 | 8200.00 | AXIOM CLOVER TRADING CORPORATION
71.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 200.00 | Sqm | 10.00 | 1426.21 | 285242.00 | 2850.00 | 570000.00 | 285242.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
72.00 | Providing and fixing thermal insulation with Resin bonded rock wool conforming to IS: 8183, density 48 kg/m3, 50 mm thick, wrapped in 200 G virgin Polythene bags placed over existing false ceilng and held in position by criss-crossing Gl wire. | 200.00 | Sqm | 22.00 | 323.75 | 64750.00 | 540.00 | 108000.00 | 64750.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
73.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : a) 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) :2011 (Board with BIS certification marks) | 20.00 | sqm | 0.00 | 84.00 | 1680.00 | 1200.00 | 24000.00 | 1680.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
74.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron ‘Y’ shaped placed 2.4m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 368.00 | Mtr | 1.00 | 235.60 | 86700.80 | 1050.00 | 386400.00 | 86700.80 | SHRI BALAJI MINERALS AND CONSTRUCTION
75.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/ pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-incharge. (Only weight of grill to be measured for payment). | 641.00 | Kg | 1.25 | 484.14 | 310333.74 | 850.00 | 544850.00 | 310333.74 | SHRI BALAJI MINERALS AND CONSTRUCTION
76.00 | Drilling suitable holes in reinforced or plain cement concrete with power driven drill machine to a minimum depth of 100mm upto 200mm in RCC beams, lintels, columns and slabs to introduce steel bars for sunshades/balconies including fixing the steel bars in position using epoxy resin anchor grout of approved make but excluding the cost of reinforcement, all complete as per direction of Engineer-In-Charge. Upto and including 12mm dia. | 36.00 | Each | 0.00 | 140.20 | 5047.20 | 500.00 | 18000.00 | 5047.20 | SHRI BALAJI MINERALS AND CONSTRUCTION
77.00 | Plain Gypsum plaster board conforming to IS: 2095 Part -1:2011 (Board with BIS certification marks) 12.5 mm thick | 81.00 | Sqm | 100.00 | 274.00 | 22194.00 | 740.00 | 59940.00 | 22194.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
78.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 282.00 | Sqm | 53.00 | 835.55 | 235625.10 | 950.00 | 267900.00 | 235625.10 | SHRI BALAJI MINERALS AND CONSTRUCTION
79.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 540.00 | Sqm | 10.00 | 117.59 | 63498.60 | 100.00 | 54000.00 | 54000.00 | AXIOM CLOVER TRADING CORPORATION
80.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 54.00 | Sqm | 11.00 | 553.98 | 29914.92 | 830.00 | 44820.00 | 29914.92 | SHRI BALAJI MINERALS AND CONSTRUCTION
81.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 4961.00 | Sqm | 10.00 | 14.00 | 69454.00 | 60.00 | 297660.00 | 69454.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
82.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 67.00 | Sqm | 22.00 | 1765.25 | 118271.75 | 1050.00 | 70350.00 | 70350.00 | AXIOM CLOVER TRADING CORPORATION
83.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 14.00 | Sqm | 22.00 | 1789.57 | 25053.98 | 1640.00 | 22960.00 | 22960.00 | AXIOM CLOVER TRADING CORPORATION
84.00 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 410.00 | metre | 0.00 | 29.90 | 12259.00 | 170.00 | 69700.00 | 12259.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
85.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 46.00 | Cum | 1.00 | 6300.00 | 289800.00 | 8900.00 | 409400.00 | 289800.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
86.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 606.00 | Sqm | 1.25 | 630.00 | 381780.00 | 890.00 | 539340.00 | 381780.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
87.00 | Providing and applying 2.5 mm thick road marking strips (retroreflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 309.00 | Sqm | 0.00 | 600.00 | 185400.00 | 830.00 | 256470.00 | 185400.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
88.00 | Design, Supply, transportation at site & Installation of Security Guard Cabin of size 4ft*4ft*8.6ft of Tata Steel Ltd. Nest-in Mobinest make or equivalent with following specifications:- (i) Wall & Roof (Internal)- Finishing: -9 mm MDF (ii) Wall & Roof (External)- Roofing: - Insulation material - 50 mm thick Rockwool, Roofing - MS Corrugated [1.2 mm thick], Components - flashing with all fixtures. WALL: (Insulated Wall), Framing: 25x25x1.6 mm MS tubular pipe, Insulation Material - 50 mm thick Rockwool, Outer Skin – 1.2 mm thick. MS corrugated sheet and above epoxy primer & up paint 2 coat. Inner Skin – 9mm MDF, Wall & Roof Color: Any. (iii) Steel Framing- Structure: Column post made with (60x60x3.2) mm with base plate 6 mm thick, 150x150mm, Top Line: Top line made of tubular pipe (60x60x3.2) mm, Roof internal framing made with [60x40x2.6] mm, Lifting Hook: Lifting 16 mm thick [180x150] mm, Floor Structure: Floor line made of Tubular pipe (60x60x3.2), Internal Floor Framing made with tubular pipe (60x60x3.2), Wall Structure: Wall framing grid 1200x1200 mm made of (50x25x1.6) tubular pipe. (iv) Door- 01 No. Main door: 2100 Ht. (Profile Door with MDF & Rockwool insulation) (v) Window- 03 Nos. Alu. Sliding Window: 900 x 900 mm with MS Grill (vi) Flooring- Floor Finishing: -18 mm cemented board shall be provided over the MS frame with 1mm Vinyl Flooring (vii) Electrical Fittings- 1 Nos. LED Light Fitting: Batten Light, 01 No. Bulkhead: 9 W, 1 Nos. 12 AMP Switch & Socket, 1 Nos. Havells Ciera 300mm Cabin Fan (Ivory), 1 Nos. 16 AMP Switch & Socket for Computer, AC & Refrigerator, Inside Distribution Board with 62A, DP,30mA RCCB & 16 AMP + 10 AMP MCB, Main Incoming Junction Box with Connector. The fabrication should be done as per the Drawing in Tender Document and complete as per the instructions of Engineer-in-charge. | 3.00 | Each | 100.00 | 226000.00 | 678000.00 | 110000.00 | 330000.00 | 330000.00 | AXIOM CLOVER TRADING CORPORATION
89.00 | Providing and filling in position rubberized bitumen hot sealing compound for sealing of expansion joints in roads / pavements all complete as per direction of the Engineer-in-Charge. Using grade 'A' sealing compound conforming to IS: 1834 | 1834.00 | per cm depth per cm width per metre length | 53.00 | 8.50 | 15589.00 | 150.00 | 275100.00 | 15589.00 | SHRI BALAJI MINERALS AND CONSTRUCTION
90.00 | Supplying and Fixing Retro reflective sign board over 4 mm Acp sheet with letter writing complete in all respect as per direction of EIC. | 6.00 | Sqm | 10.00 | 730.04 | 4380.24 | 3000.00 | 18000.00 | 4380.24 | SHRI BALAJI MINERALS AND CONSTRUCTION
| Total in Figures |  |  |  |  | 15100000.20 |  | 19742141.00
Lowest Amount Quoted BY: SHRI BALAJI MINERALS AND CONSTRUCTION(15100000.20)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Part of Old Terminal Building (Ground Floor) for development of International Air Cargo Terminal at S.V. Airport, Raipur. SH- Civil Works Tender ID: 2026_AAI_267641_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRI BALAJI MINERALS AND CONSTRUCTION (BID ID -991576) | 15100000.20 | L1
| 2 | AXIOM CLOVER TRADING CORPORATION (BID ID -992383) | 19742141.00 | L2