## BoQ1
Government eProcurement System Created By: Amit Singh Created Date/Time: 29-May-2026 05:38 PM Tender Title: Shifting and reinstallation of 02 Nos. 100 KVA DG Set with other accessories from Kumbha Water Pump House to Salganga Water Pump House Tender ID: 2026_AAI_267756_2
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, Silchar Airport.
Name of Work: Shifting and reinstallation of 02 Nos. 100 KVA DG Set with other accessories from Kumbha Water Pump House to Salganga Water Pump House.
Tender Id: 2026_AAI_267756_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals (GSTN-18AAJFM8760E1ZZ) BID ID -1019688 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -1020764 |  | DEBASISH PAUL CHOWDHURY (GSTN-NA) BID ID -1019810
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling, Loading & Shifting of following equipment’s from Kumbha Pump House to AAI Store Room up to a distance of 10 KM using hydraulic machinery. Job includes dismantling of all existing LT cables/glands, earth strip/wire, water pipeline etc with proper dismantle tools without damaging the equipments etc. complete as per the site requirement. (a) 100 KVA DG Set = 02 Nos. (b) LT Panel of size upto (L= 1.90 mtr x B=0.70 mtr x H= 2.0 mtr) = 02 Nos. (c) 40 HP Water Pump Set = 02 Nos. (d) 20 HP Water Pump Set = 01 No. (e) 10 HP Water Pump Set = 01 No. (f) 5 HP Motor = 01 No. (g) 3 Hp Motor = 03 Nos. (h) Pressure Sand Filter (Size= 48/72: H=6.5 ft, Outer Dia= 7.5 ft) = 01 No. (i) Pressure Sand Filter (Size= 36/72: H=6.5 ft, Outer Dia= 3.5 ft) = 02 Nos. (j) Dismantled cable and pipe pieces. (k) 100 KVA HT Transformer - 01 No. | 1.00 | Job | 0.00 | 235330.00 | 235330.00 | 100000.00 | 100000.00 | 120000.00 | 120000.00 | 100000.00 | Awasthi Electric Works
2.00 | Installation, Testing and Commissioning of 100 KVA, minimum capacity Outdoor D.G. Set with acoustic enclosure confirming to latest environment protection regulations for emission and noise levels complete with Diesel Engine developing actual BHP calculated considering de-rating factor if any whichever is higher, water cooled, four stroke, electric start, turbo-charged & after cooled with all standard accessories, coupled with Alternator of 100 KVA rating, brushless, self-excited, self-regulated and suitable for continuous operation at 1500 RPM, generating 415 V + 5% Volts at 0.8 p.f. (lag), 50 Hz, 3 phase, 4 wire system. Both Engine and Alternator shall be mounted on common channel iron base frame, with standard accessories such as 12 V, 120 AH lead acid battery along with battery stand, day fuel tank, fuel piping from extra fuel tank of 990 Ltrs. capacity to Engine, Residential silencer, suitable size termination box (Cable / Bus duct) with extended Alternator terminal with bus bars suitable 1.5 sqmm etc. as required and as per specifications. | 2.00 | Job | 0.00 | 11766.50 | 23533.00 | 80000.00 | 160000.00 | 115000.00 | 230000.00 | 23533.00 | sudarshnacoolingcentre andelectricals
3.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 0.00 | 12943.15 | 51772.60 | 27000.00 | 108000.00 | 17000.00 | 68000.00 | 51772.60 | sudarshnacoolingcentre andelectricals
4.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonary enclosures with cover plate having locking arrangement and watering pipe of 2.7 mtr long with charcoal/coke and salt as required. | 4.00 | Set | 0.00 | 4706.60 | 18826.40 | 16000.00 | 64000.00 | 8000.00 | 32000.00 | 18826.40 | sudarshnacoolingcentre andelectricals
5.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Metre | 0.00 | 1411.98 | 42359.40 | 2400.00 | 72000.00 | 1800.00 | 54000.00 | 42359.40 | sudarshnacoolingcentre andelectricals
6.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I.pipe from earth electrode including connection with G.I. nut,bolt, spring, washer excavation and re-filling etc. as required. | 30.00 | Metre | 0.00 | 705.99 | 21179.70 | 650.00 | 19500.00 | 100.00 | 3000.00 | 3000.00 | DEBASISH PAUL CHOWDHURY
7.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 20.00 | Metre | 0.00 | 2470.96 | 49419.20 | 1850.00 | 37000.00 | 1100.00 | 22000.00 | 22000.00 | DEBASISH PAUL CHOWDHURY
8.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 20.00 | Metre | 0.00 | 294.16 | 5883.20 | 300.00 | 6000.00 | 100.00 | 2000.00 | 2000.00 | DEBASISH PAUL CHOWDHURY
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 70 sq. mm (38mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 16.00 | Set | 0.00 | 200.00 | 3200.00 | 500.00 | 8000.00 | 800.00 | 12800.00 | 3200.00 | sudarshnacoolingcentre andelectricals
10.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 20.00 | Cum | 0.00 | 277.00 | 5540.00 | 2500.00 | 50000.00 | 500.00 | 10000.00 | 5540.00 | sudarshnacoolingcentre andelectricals
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 4.00 | Cum | 0.00 | 8001.00 | 32004.00 | 9000.00 | 36000.00 | 10000.00 | 40000.00 | 32004.00 | sudarshnacoolingcentre andelectricals
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 918.00 | Kg | 0.00 | 110.60 | 101530.80 | 120.00 | 110160.00 | 90.00 | 82620.00 | 82620.00 | DEBASISH PAUL CHOWDHURY
13.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge, for the following grades of concrete.: Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. Concrete of M25 grade with minimum cement content of 330 kg /cum | 5.00 | Cum | 0.00 | 10472.19 | 52360.95 | 10000.00 | 50000.00 | 10000.00 | 50000.00 | 50000.00 | DEBASISH PAUL CHOWDHURY, Awasthi Electric Works
14.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | Kg | 0.00 | 117.66 | 58830.00 | 150.00 | 75000.00 | 120.00 | 60000.00 | 58830.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 701769.25 |  | 895660.00 |  | 786420.00
Lowest Amount Quoted BY: sudarshnacoolingcentre andelectricals(701769.25)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting and reinstallation of 02 Nos. 100 KVA DG Set with other accessories from Kumbha Water Pump House to Salganga Water Pump House Tender ID: 2026_AAI_267756_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sudarshnacoolingcentre andelectricals (BID ID -1019688) | 701769.25 | L1
| 2 | DEBASISH PAUL CHOWDHURY (BID ID -1019810) | 786420.00 | L2
| 3 | Awasthi Electric Works (BID ID -1020764) | 895660.00 | L3