## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 11-Mar-2026 03:35 PM Tender Title: SITC of various LED lights at Goa International Airport. SH Replacement of LED light of concourse Arrival and Departure and Verandah Entry side. Tender ID: 2026_AAI_267807_1
Tender Inviting Authority: DGM (E-E), Airports Authority of India, Goa International Airport, Goa.
Name of Work : SITC of various LED lights at Goa International Airport. SH: Replacement of LED light of concourse (Arrival & Departure) and Verandah Entry side.
Tender ID - 2026_AAI_267807_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.L. ELECTROMECH PVT. LTD. (GSTN-07AAACR1317E2ZW) BID ID -985017 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -985133 |  | WONDER CONSTRUCTION CO. (GSTN-NA) BID ID -984736
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Hibay nor more than 150W with Epoxy powder coated die-cast aluminium housing in White finish, the colour of the housing must be supplied in White finish from the OEM end & with elegantly designed heat sink for efficient thermal management, sturdiness & excellent corrosion resistant. High efficiency long life LED module with SMD LED package mounted on MCPCB. Lumen efficacy of LED >175 lm/W and viewing angle of 120° to ensure better uniformity. PC Lens with distribution and PC Cover fixed to housing. Built-In Potted IP66 electronic CISPR15 Compliant LED driver with APFC,lower THD, Open Circuit Protection, OverVoltage Protection, Surge Voltage Protection upto 6KV & 10KV with SPD & other safety test as per IS 15885 Part-2/Sec 13, IEC60598- 1.System Lumens >21000 , CCT 4000K / 5700K, IK10, Led Life 50000 burning hours ( as per LM80 NABL Lab report ), THD <10%, PF > 0.95, Ingress Protection IP66, Ambient Temperature range Minimum -10 to 50 Degree C, Beam angle - Narrow Beam optics LM79 & LM80 reports to be submitted along with the bid. and as per AAI preferred Make (page no 208 to 217). The fixture must have dia 290MM and Height 180 MM, to retrofit the existing fitting opening in the false ceiling. ( equivalent products must comply with above specifications, LM79 & LM80 reports to be submitted along with the material) and warraty of 5 Yrs against any manufacturing defect and as per direction of EIC. | 345.00 | Nos | 0.00 | 10700.00 | 3691500.00 | 5500.00 | 1897500.00 | 15700.00 | 5416500.00 | 1897500.00 | Variant Infratech Private Limited
2.00 | Installation testing & commissioning of Luminaire including all mounting and fixing accessories rod, bracket, wiring 1.5 mtr from connector to luminaire and designer acrylic which match the aesthetic & interior as per approved by engineering in charge, at a mounting height of approximate 22 Mtrs with arrangement of lift without disturbing of public movement and with all safety arrangements complete as required. | 345.00 | Nos | 0.00 | 500.00 | 172500.00 | 7500.00 | 2587500.00 | 1300.00 | 448500.00 | 172500.00 | S.L. ELECTROMECH PVT. LTD.
3.00 | Dismantling of old Luminaires and deposit in stores at MLCP as required. | 345.00 | Nos | 0.00 | 100.00 | 34500.00 | 2000.00 | 690000.00 | 700.00 | 241500.00 | 34500.00 | S.L. ELECTROMECH PVT. LTD.
4.00 | Hiring of Spider lift 25 Mtrs -height for replacement of fitting in Concourse and Verandah area including mobilising and demobilising and free transportation including loading / unloading etc complete as required. | 1.00 | Month | 0.00 | 400000.00 | 400000.00 | 150000.00 | 150000.00 | 448500.00 | 448500.00 | 150000.00 | Variant Infratech Private Limited
5.00 | Hiring charges for operator of Spider lift (26 Working days) - 1 Month including allowances for minimum 10 hours per day. | 1.00 | Month | 0.00 | 51000.00 | 51000.00 | 150000.00 | 150000.00 | 241500.00 | 241500.00 | 51000.00 | S.L. ELECTROMECH PVT. LTD.
| Total in Figures |  |  |  |  | 4349500.00 |  | 5475000.00 |  | 6796500.00
Lowest Amount Quoted BY: S.L. ELECTROMECH PVT. LTD.(4349500.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of various LED lights at Goa International Airport. SH Replacement of LED light of concourse Arrival and Departure and Verandah Entry side. Tender ID: 2026_AAI_267807_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.L. ELECTROMECH PVT. LTD. (BID ID -985017) | 4349500.00 | L1
| 2 | Variant Infratech Private Limited (BID ID -985133) | 5475000.00 | L2
| 3 | WONDER CONSTRUCTION CO. (BID ID -984736) | 6796500.00 | L3