## BoQ1
Government eProcurement System Created By: Jyotirmoy Boruah Created Date/Time: 22-Apr-2026 05:29 PM Tender Title: Misc. Redevelopment works of passenger toilet blocks at Jorhat Airport. Tender ID: 2026_AAI_268183_1
Tender Inviting Authority: Senior Manager (Engg-Civil)
Name of Work: Miscellaneous redevelopment works of passenger toilet blocks at Jorhat Airport.
Contract No: 2026_AAI_ 268183_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Kawari Kousick (GSTN-18BDOPK4625B1ZM) BID ID -998746 |  | M/S SAIKIA ENTERPRISE (GSTN-NA) BID ID -998517 |  | Binod Kumar Malpani (GSTN-NA) BID ID -997791
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 380.00 | Sqm |  | 75.00 | 28500.00 | 65.50 | 24890.00 | 80.00 | 30400.00 | 24890.00 | M/S SAIKIA ENTERPRISE
2.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 2100.00 | Sqm |  | 55.00 | 115500.00 | 40.50 | 85050.00 | 140.00 | 294000.00 | 85050.00 | M/S SAIKIA ENTERPRISE
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 8.00 | cum |  | 2050.00 | 16400.00 | 1750.30 | 14002.40 | 2070.00 | 16560.00 | 14002.40 | M/S SAIKIA ENTERPRISE
4.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 13.00 | Each |  | 110.00 | 1430.00 | 112.05 | 1456.65 | 115.00 | 1495.00 | 1430.00 | Kawari Kousick
5.00 | Dismantling of doors, windows and clerestory windows (steel or wood or pvc) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :Of area 3 sq. metres and below | 15.00 | Each |  | 360.00 | 5400.00 | 367.20 | 5508.00 | 368.00 | 5520.00 | 5400.00 | Kawari Kousick
6.00 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps : 100 mm diameter | 25.00 | M |  | 90.00 | 2250.00 | 89.00 | 2225.00 | 120.00 | 3000.00 | 2225.00 | M/S SAIKIA ENTERPRISE
7.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 1.00 | cum |  | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 2434.00 | 2434.00 | 1000.00 | M/S SAIKIA ENTERPRISE
8.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.00 | cum |  | 3550.00 | 3550.00 | 1000.00 | 1000.00 | 3555.00 | 3555.00 | 1000.00 | M/S SAIKIA ENTERPRISE
9.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal sizederived from natural sources). | .60 | cum |  | 11500.00 | 6900.00 | 10500.50 | 6300.30 | 11505.00 | 6903.00 | 6300.30 | M/S SAIKIA ENTERPRISE
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 70.00 | kg |  | 105.00 | 7350.00 | 105.20 | 7364.00 | 107.00 | 7490.00 | 7350.00 | Kawari Kousick
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Shelves (Cast in situ) | 7.00 | sqm |  | 550.00 | 3850.00 | 900.30 | 6302.10 | 927.00 | 6489.00 | 3850.00 | Kawari Kousick
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Lintels, beams, plinth beams, girders, bressumers and cantilevers | 1.20 | sqm |  | 550.00 | 660.00 | 736.40 | 883.68 | 737.00 | 884.40 | 660.00 | Kawari Kousick
13.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.Cement mortar 1:4 (1 cement :4 coarse sand) | 25.00 | sqm |  | 1100.00 | 27500.00 | 1100.00 | 27500.00 | 1124.00 | 28100.00 | 27500.00 | M/S SAIKIA ENTERPRISE, Kawari Kousick
14.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry.ird course of half brick masonry. | 15.00 | sqm |  | 95.00 | 1425.00 | 100.50 | 1507.50 | 105.00 | 1575.00 | 1425.00 | Kawari Kousick
15.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand) | 300.00 | Sqm |  | 320.00 | 96000.00 | 340.45 | 102135.00 | 357.00 | 107100.00 | 96000.00 | Kawari Kousick
16.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08%and conforming to IS : 15622 , of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand) jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 80.00 | Sqm |  | 1500.00 | 120000.00 | 365.45 | 29236.00 | 1500.00 | 120000.00 | 29236.00 | M/S SAIKIA ENTERPRISE
17.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondaryintermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in- Charge. 26.22.1 With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 2100.00 | sqm |  | 1480.00 | 3108000.00 | 2150.50 | 4516050.00 | 1985.00 | 4168500.00 | 3108000.00 | Kawari Kousick
18.00 | Providing & fixing false ceiling at all heights with GRG (Glass Fibre Reinforced Gypsum) false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having moisture content less than 2%, humidity resistance of 99%, NRC0.50 to 0.75 as per IS 8225:1987, Non combustible as per BS 476 (part 4)-1970 and light reflectance of 85% (minimum) to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T runners of size 15x32 mm of length 3000 mm, cross - T of size 15x32 mm of length 1200 mm and secondary intermediate cross-T of size 15x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall wood screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With fully perforated 12 mm thick micro tegular edged or 10 mm thick square edged GRG false ceiling tiles. | 35.00 | sqm |  | 1900.00 | 66500.00 | 2450.30 | 85760.50 | 1908.00 | 66780.00 | 66500.00 | Kawari Kousick
19.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. Two or more coats on new work. | 50.00 | Sqm |  | 150.00 | 7500.00 | 185.65 | 9282.50 | 186.00 | 9300.00 | 7500.00 | Kawari Kousick
20.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia. Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989. | 20.00 | M |  | 1000.00 | 20000.00 | 1100.00 | 22000.00 | 1181.00 | 23620.00 | 20000.00 | Kawari Kousick
21.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : 100 mm dia pipe | 50.00 | Each |  | 195.00 | 9750.00 | 198.15 | 9907.50 | 199.00 | 9950.00 | 9750.00 | Kawari Kousick
22.00 | Providing and fixing plain bend of required degree: 100 mm dia: Sand cast iron S&S as per IS : 3989 | 20.00 | Each |  | 550.00 | 11000.00 | 550.35 | 11007.00 | 570.00 | 11400.00 | 11000.00 | Kawari Kousick
23.00 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm;Sand cast iron S&S as per IS - 3989 | 10.00 | Each |  | 550.00 | 5500.00 | 548.70 | 5487.00 | 811.00 | 8110.00 | 5487.00 | M/S SAIKIA ENTERPRISE
24.00 | Providing and fixing sand cast iron S&S off sets as per IS: 3989, 150 mm off sets: With 100 mm dia Pipe | 10.00 | Each |  | 730.00 | 7300.00 | 734.95 | 7349.50 | 735.00 | 7350.00 | 7300.00 | Kawari Kousick
25.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet: Sand cast iron S&S as per IS: 3989. | 10.00 | Each |  | 19900.00 | 199000.00 | 1750.00 | 17500.00 | 1996.00 | 19960.00 | 17500.00 | M/S SAIKIA ENTERPRISE
26.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. : Internal work - Exposed on wall: 25 mm nominal outer dia. Pipes. | 12.00 | M |  | 195.00 | 2340.00 | 194.15 | 2329.80 | 401.00 | 4812.00 | 2329.80 | M/S SAIKIA ENTERPRISE
27.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia .Pipes. | 18.00 | M |  | 530.00 | 9540.00 | 500.50 | 9009.00 | 537.00 | 9666.00 | 9009.00 | M/S SAIKIA ENTERPRISE
28.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes | 15.00 | M |  | 620.00 | 9300.00 | 600.30 | 9004.50 | 627.00 | 9405.00 | 9004.50 | M/S SAIKIA ENTERPRISE
29.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 15.00 | M |  | 730.00 | 10950.00 | 700.20 | 10503.00 | 739.00 | 11085.00 | 10503.00 | M/S SAIKIA ENTERPRISE
30.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work : 40 mm nominal outer dia .Pipes. | 35.00 | M |  | 275.00 | 9625.00 | 255.45 | 8940.75 | 563.00 | 19705.00 | 8940.75 | M/S SAIKIA ENTERPRISE
31.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work : 50 mm nominal outer dia .Pipes. | 70.00 | M |  | 800.00 | 56000.00 | 765.55 | 53588.50 | 794.00 | 55580.00 | 53588.50 | M/S SAIKIA ENTERPRISE
32.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge : External work : 100mm nominal inner dia. Pipes. | 30.00 | M |  | 3000.00 | 90000.00 | 2550.50 | 76515.00 | 3272.00 | 98160.00 | 76515.00 | M/S SAIKIA ENTERPRISE
33.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 15.00 | sqm |  | 3200.00 | 48000.00 | 3250.65 | 48759.75 | 3848.00 | 57720.00 | 48000.00 | Kawari Kousick
34.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x4 mm | 30.00 | each |  | 16.00 | 480.00 | 15.10 | 453.00 | 105.00 | 3150.00 | 453.00 | M/S SAIKIA ENTERPRISE
35.00 | Providing and fixing aluminium sliding door bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete : 250x16 mm | 8.00 | each |  | 25.00 | 200.00 | 26.60 | 212.80 | 260.00 | 2080.00 | 200.00 | Kawari Kousick
36.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete : 200x10 mm | 8.00 | Each |  | 100.00 | 800.00 | 99.70 | 797.60 | 100.00 | 800.00 | 797.60 | M/S SAIKIA ENTERPRISE
37.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125mm | 14.00 | Each |  | 120.00 | 1680.00 | 119.20 | 1668.80 | 120.00 | 1680.00 | 1668.80 | M/S SAIKIA ENTERPRISE
38.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 8.00 | Each |  | 980.00 | 7840.00 | 950.00 | 7600.00 | 983.00 | 7864.00 | 7600.00 | M/S SAIKIA ENTERPRISE
39.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 8.00 | Each |  | 980.00 | 7840.00 | 72.35 | 578.80 | 72.00 | 576.00 | 576.00 | Binod Kumar Malpani
40.00 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 3.00 | Each |  | 6750.00 | 20250.00 | 6300.50 | 18901.50 | 6770.00 | 20310.00 | 18901.50 | M/S SAIKIA ENTERPRISE
41.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls and floors wherever required. W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each |  | 6500.00 | 6500.00 | 6250.00 | 6250.00 | 6515.00 | 6515.00 | 6250.00 | M/S SAIKIA ENTERPRISE
42.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 1.00 | Each |  | 6250.00 | 6250.00 | 5950.00 | 5950.00 | 6260.00 | 6260.00 | 5950.00 | M/S SAIKIA ENTERPRISE
43.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 1880.00 | 1880.00 | 1879.20 | 1879.20 | 1880.00 | 1880.00 | 1879.20 | M/S SAIKIA ENTERPRISE
44.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe .32 mm dia | 1.00 | Each |  | 120.00 | 120.00 | 119.55 | 119.55 | 120.00 | 120.00 | 119.55 | M/S SAIKIA ENTERPRISE
45.00 | Dismantling and staking of W.C. , urinal Pan ,Urinal partition ,Wash basin etc., of all sizes including disposal/staking of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 37.00 | Each |  | 80.00 | 2960.00 | 75.50 | 2793.50 | 500.00 | 18500.00 | 2793.50 | M/S SAIKIA ENTERPRISE
46.00 | Dismantling and staking of angle valve, Health faucet, Pillar cock, Bib cock, Bottle trap,connection hose etc., in toilets as per the directions of EIC. | 99.00 | Each |  | 45.00 | 4455.00 | 44.58 | 4413.42 | 100.00 | 9900.00 | 4413.42 | M/S SAIKIA ENTERPRISE
47.00 | Dismantling granite slab laid in cement mortar including stacking of serviceable material and disposal of unserviceable material with all leads and lifts. | 15.00 | Sqm |  | 40.00 | 600.00 | 42.98 | 644.70 | 267.00 | 4005.00 | 600.00 | Kawari Kousick
48.00 | Dismantling G.I. pipes (Internal work) including chipping taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 5.00 | M |  | 85.00 | 425.00 | 85.02 | 425.10 | 80.00 | 400.00 | 400.00 | Binod Kumar Malpani
49.00 | Providing and fixing vitrified wall tiles of size 300x600 (thickness to be specified by the manufacturer) conforming to IS : 15622 with shade as approved by Engineer in-charge in skirting,risers of steps and dados over 12mm thick bed of cement grout and pointing in white cement mixed with pigment of matching shade and providing wall highlighter if any etc. all complete. | 320.00 | sqm |  | 1600.00 | 512000.00 | 1550.00 | 496000.00 | 1900.00 | 608000.00 | 496000.00 | M/S SAIKIA ENTERPRISE
50.00 | Providing and fixing 12 mm thick Acrylic soild surface(CORIAN), for kitchen platforms,counters, vanity counters, window sills, facias,skirting and similar locations of required size, with shade as approved approved by engineer in-charge, including nessassery cutting, ,jointing,moulding,polishing and providing opening for fixing wash basin etc all complete as per direction of Engineer in-charge. | 14.00 | sqm |  | 20500.00 | 287000.00 | 18950.00 | 265300.00 | 27000.00 | 378000.00 | 265300.00 | M/S SAIKIA ENTERPRISE
51.00 | Providing and fixing 6 mm thick Lacquired glass of approved make over 6mm BWP plywood(centry or equivqlent) in walls,skirtings, dados,sills and similar locations of required size, with shade as approved approved by engineer in-charge, including nessassery cutting, ,jointing,fixing with nessassery screws and adhesive etc all complete as per direction of Engineer in-charge. | 7.00 | sqm |  | 6500.00 | 45500.00 | 6350.00 | 44450.00 | 15000.00 | 105000.00 | 44450.00 | M/S SAIKIA ENTERPRISE
52.00 | Providing and fixing wall mount type water closet (European Type) of make "Jaquar" (Code: VGS-WHT-81953UF ) or equivalent with seat cover and fixing accessories all complete as per the directions of EIC | 8.00 | Each |  | 20500.00 | 164000.00 | 18550.00 | 148400.00 | 26250.00 | 210000.00 | 148400.00 | M/S SAIKIA ENTERPRISE
53.00 | Providing and fixing floor mount type water closet (European Type) of make "Jaquar" (Code CNS-WHT-755S220SPPZ) or equivalent with seat cover and fixing accessories all complete as per the directions of EIC | 2.00 | Each |  | 11000.00 | 22000.00 | 10500.00 | 21000.00 | 14250.00 | 28500.00 | 21000.00 | M/S SAIKIA ENTERPRISE
54.00 | Providing and fixing white vitreous urinal of approved make of Jaquar (code URS-WHT-13255 ) or equivalent with fittings, clamps all complete including cutting and making good the wall and floor wherever required etc all complete as per the dirctions of the Engineer-in-charge. | 7.00 | Each |  | 12500.00 | 87500.00 | 11500.00 | 80500.00 | 14700.00 | 102900.00 | 80500.00 | M/S SAIKIA ENTERPRISE
55.00 | Providing and fixing Battery operated urinal Sensor of Jaquar (code SNR-CHR-51097 ) or equivalent including battery and accessories etc all complete as per the dirctions of the Engineer-in-charge. | 7.00 | Each |  | 9700.00 | 67900.00 | 9650.00 | 67550.00 | 14000.00 | 98000.00 | 67550.00 | M/S SAIKIA ENTERPRISE
56.00 | Providing and fixing below counter oval shaped wash basin (white colour) of Jaquar(code CNS-WHT-705 ) or equivalent,including cutting wherever required, fixing etc all complete as per the dirctions of the Engineer-in-charge. | 12.00 | Each |  | 4100.00 | 49200.00 | 3800.00 | 45600.00 | 4125.00 | 49500.00 | 45600.00 | M/S SAIKIA ENTERPRISE
57.00 | Providing and fixing 32mm Bottle trap of made "Jaquar" (code ALDCHR-769L300X190 ) or equivalent all complete as per the directions of EIC. | 21.00 | Each |  | 1980.00 | 41580.00 | 1850.00 | 38850.00 | 2750.00 | 57750.00 | 38850.00 | M/S SAIKIA ENTERPRISE
58.00 | Providing and fixing C.P brass health faucet of make "Jaquar" (code ALD-CHR-573) or equivalent with 1m flexible hose and wall hook etc all complete as per the direction of EIC. | 11.00 | Each |  | 1650.00 | 18150.00 | 1650.71 | 18157.81 | 3313.00 | 36443.00 | 18150.00 | Kawari Kousick
59.00 | Providing and fixing 32 mm full thread C.P. brass waste coupling of standard pattern of approved make like Jaquar( code ALD-CHR-705) orequivalent all complete as per the directions of EIC | 21.00 | Each |  | 655.00 | 13755.00 | 745.50 | 15655.50 | 907.00 | 19047.00 | 13755.00 | Kawari Kousick
60.00 | Providing and fixing C.P brass angle valve of make "Jaquar" (code CONCHR-059KN)or equivalent all complete as per the directions of EIC. | 37.00 | Each |  | 1020.00 | 37740.00 | 950.50 | 35168.50 | 1437.00 | 53169.00 | 35168.50 | M/S SAIKIA ENTERPRISE
61.00 | Providing and fixing C.P brass toilet paper holder of make "Jaquar" (code ACN-CHR-1153S) or equivalent all complete as per the direction of EIC. | 11.00 | Each |  | 1550.00 | 17050.00 | 1850.00 | 20350.00 | 1812.00 | 19932.00 | 17050.00 | Kawari Kousick
62.00 | Providing and fixing inwall tank (European Type) of make "Jaquar" (code JCS-WHT-2400) or equivalent all complete as per the directions of EIC | 11.00 | Each |  | 50450.00 | 554950.00 | 5250.45 | 57754.95 | 5690.00 | 62590.00 | 57754.95 | M/S SAIKIA ENTERPRISE
63.00 | Providing and fixing Jaquar make concealed flush valve with cover plate (Code FLV-CHR-1093N) CP Bevel in wall tank face with exposed shutoff provision& round flange etc complete as per the direction of EIC | 11.00 | Each |  | 4460.00 | 49060.00 | 4350.50 | 47855.50 | 5938.00 | 65318.00 | 47855.50 | M/S SAIKIA ENTERPRISE
64.00 | Providing and fixing anti foul S.S floor Pop Up gratings of make "VIKING" or equivalent of size 6 inch X 6 inch with grating opening size 100 mm dia as per the directions of EIC. | 40.00 | Each |  | 1690.00 | 67600.00 | 1550.00 | 62000.00 | 1575.00 | 63000.00 | 62000.00 | M/S SAIKIA ENTERPRISE
65.00 | Providing and fixing of soap dispenser with glass bottle of make "Jaquar"(code ACN-CHR-1135N) or equivalent as per the directions of EIC | 24.00 | Each |  | 1480.00 | 35520.00 | 1425.30 | 34207.20 | 2093.00 | 50232.00 | 34207.20 | M/S SAIKIA ENTERPRISE
66.00 | Providing and fixing 6mm thick beveled edge mirror of make SAINT GOBAIN or equivalent with 6 mm thick plywood backing fixed to walls with stainless steel studs of adequate size etc complete as approved by the EIC. | 6.50 | Sqm |  | 6760.00 | 43940.00 | 6350.50 | 41278.25 | 8165.00 | 53072.50 | 41278.25 | M/S SAIKIA ENTERPRISE
67.00 | Providing and fixing 900x380x12 mm polished edge toughened frosted glass urinal partition as per the directions of EIC | 8.00 | Each |  | 7180.00 | 57440.00 | 6550.00 | 52400.00 | 4750.00 | 38000.00 | 38000.00 | Binod Kumar Malpani
68.00 | Providing and fixing 450mm Long Flexible Connection Pipe of jaquar (code ALD-CHR-805B)or equivalent with15mm Nut, O-Ring & Rubber Washer complete as per the directions of EIC | 26.00 | Each |  | 465.00 | 12090.00 | 450.00 | 11700.00 | 406.00 | 10556.00 | 10556.00 | Binod Kumar Malpani
69.00 | Providing and fixing CP brass presmatic auto closing pillar cocks of Jaquar (code PRSCHR-031L65 ) or equivalentt as per the directions of EIC | 12.00 | Each |  | 3250.00 | 39000.00 | 2950.50 | 35406.00 | 4686.00 | 56232.00 | 35406.00 | M/S SAIKIA ENTERPRISE
70.00 | Providing and fixing wall mount paper towel dispenser of Jaquar (code PTD-SAP-DT0106CSN) or equivalent as per the directions of EIC | 11.00 | Each |  | 6380.00 | 70180.00 | 5850.30 | 64353.30 | 8687.00 | 95557.00 | 64353.30 | M/S SAIKIA ENTERPRISE
71.00 | Providing and fixing toilet cubicles of make Merino(TITAN Series) or equivalent of the same make made of heat, bacteria, water, chemical, scratch, impact and anti-bacterial resistant 12mm thick solid compact laminate panel board which includes doors, pillasters & intermediate panels ( as and where required) finished with approved texture/shade as per the detailed drawings & as per IS 2046( Indian standards) asd fire retardant B8-476/97 standards.This also include providing and fixing position necessary hardwares made out of stainless steel (grade 316) with door stopper and screws (grade 304) as per manufacturer's specification & Engineer-in-charge instruction. Accessories: Standard - Merino Make Stainless Steel - 304 Grade accessories) a) SS "U" Channel b) SS "F" Channel (Only Corner Unit) c) SS Door Stopper Channel d) SS Top Rail e) SS Coat Hook f) SS Privacy Thumb turn c/w Occupancy Indicator g) SS Door Knob h) SS Spring Loaded Butt Hinges with Cover i) SS Adjustable Foot - 316 Grade j) Rubber Lining for Door Stopper k) S.S.Screws 304 G & P.V.C Wall Plugs | 9.00 | Each |  | 41000.00 | 369000.00 | 41000.00 | 369000.00 | 63000.00 | 567000.00 | 369000.00 | M/S SAIKIA ENTERPRISE, Kawari Kousick
72.00 | Providing and laying travertine stone tiles (thickness to be specified by the manufacturer) conforming to IS : 15622 , of approved make, in all colours and shades, laid over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 14.00 | Sqm |  | 1575.00 | 22050.00 | 1500.50 | 21007.00 | 4800.00 | 67200.00 | 21007.00 | M/S SAIKIA ENTERPRISE
73.00 | Providing and fixing UV printed vinyl stickering on 6mm thick acrylic sheet without forming air bubbles and visible joints and with smooth finishing and good printing quality as per the directions and satisfaction of Engineer-in-charge. | 50.00 | Sqm |  | 5500.00 | 275000.00 | 5050.50 | 252525.00 | 3800.00 | 190000.00 | 190000.00 | Binod Kumar Malpani
74.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed MS conduit with 10 amps rating, SP MCB, "C" curve of 10 KA breaking capacity and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 54.00 | Point |  | 1670.00 | 90180.00 | 1550.00 | 83700.00 | 1845.00 | 99630.00 | 83700.00 | M/S SAIKIA ENTERPRISE
75.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed MS conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 92.00 | Point |  | 950.00 | 87400.00 | 850.00 | 78200.00 | 1981.00 | 182252.00 | 78200.00 | M/S SAIKIA ENTERPRISE
76.00 | Wiring for circuit/ submain wiring alongwith earth wire with (2 X 4 sq. mm + 1 X 4 sq. mm earth wire) FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class MS conduit complete as required | 100.00 | M |  | 410.00 | 41000.00 | 350.50 | 35050.00 | 428.00 | 42800.00 | 35050.00 | M/S SAIKIA ENTERPRISE
77.00 | Supplying, installation, Testing & Commissioning of 8-10 W, LED Recessed (Round) COB Type of Powder coated die cast /Extruded aluminium Body including trim with Aluminium Reflector and construction as per IS : 10322 with driver as per the requirement with Driver efficiency >85%, Operating voltage AC 140- 270 Volt, freq 50 hz, internal surge protection of ≥ 2.0 KV with Short & Open circuit protection ,THD < 10% , P. F.≥0.95, IP20, CRI >80 , UGR (Unified Glare Rating) ≤ 19, LED fitting life time of minimum 50000 Burning Hours with 70% of initial Lumen maintained till life ends , CCT 4000°K, SDCM(Standard Deviation Color Matching) <5, Maximum power consumption should not more than the specified rating and Fixture shall be of relevant BIS standard and trade mark certificate ( T.C.). Manufactures Word Mark/ Name Engraved/ Embossing/ Screen printing on housing. LED luminaire manufacturer shall have own in house NABL accredited photometry lab setup or manufacturer should produce necessary certificate from NABL accredited photometry lab. "complete in all respect i/c connections with 1.5 sq mm FRLS, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty System lumen efficacy ≥100 lm/Watt output . LM79 & LM80 Test report from NABL lab for all testing required for LED fixtures as per BIS shall be submitted. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement. (Thermal management: heat sink of aluminum housing such that LED junction temperature shall not rise above 90°C). | 110.00 | Each |  | 1060.00 | 116600.00 | 975.30 | 107283.00 | 700.00 | 77000.00 | 77000.00 | Binod Kumar Malpani
78.00 | Supplying, installation, Testing & Commissioning of recess mounted (in existing false ceiling) Panel light 2x2 ft. of powder coated CRCA Sheet Body (Thickness > 0.50 mm) body material and construction as per IS : 10322 with driver as per the requirement with driver efficiency >85%, Operating voltage AC 140-270 Volt, frequency 50/60 hz, Operating temp range -5 0C to 40 0C, internal surge protection of 2.5 KV with Short & Open circuit protection, THD < 10% , P. F.≥0.95, IP20, CRI >80, UGR (Unified Glare Rating) < 19, Flicker free, (flicker should be below 5 %), life time (LED, Drive & electrical circuitry) of minimum 50000 Burning Hours with, 70% of initial Lumen maintained till life ends as per LM80 extrapolation IES TM-21-11 report, CCT 5700°K (as per ANSI Bin), SDCM(Standard Deviation Colour Matching) <5, Maximum power consumption should not more than the specified rating and Fixture shall be of relevant BIS standard. Manufactures Word Mark/ Name Engraved/Embossing/ Screen printing on housing. complete in all respect i/c external connections with 1.5 sq mm FRLS/HFFR, PVC insulated copper conductor single core cable and earthing etc. as required with Minimum 5 year OEM warranty. System lumen efficacy ≥100 lm/Watt output . LM79 & LM80 Test report and all testing required for LED fixtures as per BIS shall be submitted. Shape size and CCT shall be as approved by Engineer-in-Charge as per requirement. | 70.00 | Each |  | 2495.00 | 174650.00 | 2100.65 | 147045.50 | 1500.00 | 105000.00 | 105000.00 | Binod Kumar Malpani
79.00 | Supply and fixing of flexible LED striplight with capacity of 4.8Watts/Metre(minimum) of various colors and other accessories (without driver) as required suitable to operate on 230V, 50 Hz AC supply(Through Driver) as per approval of Engineer-in-charge. | 150.00 | M |  | 160.00 | 24000.00 | 150.00 | 22500.00 | 90.00 | 13500.00 | 13500.00 | Binod Kumar Malpani
80.00 | Supply and fixing of LED Driver Suitable for LED Striplight mentioned in Item no. 6 | 40.00 | Each |  | 600.00 | 24000.00 | 575.45 | 23018.00 | 170.00 | 6800.00 | 6800.00 | Binod Kumar Malpani
81.00 | Supplying and fixing GI box of 6 module on surface or in recess with suitable size of modular cover plate in the front including providing and fixing 2 numbers 6-pin 6Amps/16 Amps Modular socket outlet and 2 numbers 16 amps modular type Switch complete as required. | 11.00 | Each |  | 1495.00 | 16445.00 | 1200.30 | 13203.30 | 1302.00 | 14322.00 | 13203.30 | M/S SAIKIA ENTERPRISE
82.00 | Supplying and fixing following way, horizontal type, surface/ recess mounting, three pole & neutral, sheet steel, MCB distribution board, 415V on surface / recess, complete with tinned copper busbar, neutral busbar, earth bar, din bar, interconnections, powder painted including earthing etc. as required (But without MCB/ RCCB/ isolator) 6 way (8+18) , double door | 3.00 | Each |  | 5630.00 | 16890.00 | 5250.00 | 15750.00 | 6000.00 | 18000.00 | 15750.00 | M/S SAIKIA ENTERPRISE
83.00 | Supplying and fixing 40 Amps rating, four pole, 415 volts, "C" curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | Each |  | 2220.00 | 6660.00 | 2100.00 | 6300.00 | 2200.00 | 6600.00 | 6300.00 | M/S SAIKIA ENTERPRISE
84.00 | Supplying and fixing 40 Amps rating, four pole, 415 volts, residual current circuit breaker (RCCB) having a sensitivity current of 30mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 3.00 | Each |  | 3370.00 | 10110.00 | 3100.00 | 9300.00 | 3500.00 | 10500.00 | 9300.00 | M/S SAIKIA ENTERPRISE
85.00 | Supplying and fixing 5 amps. to 32 amps. rating, 240 volts,"C" curve miniature circuit breaker of following sizes having 10KA or more breaking capacity in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 11.00 | Each |  | 60.00 | 660.00 | 250.00 | 2750.00 | 320.00 | 3520.00 | 660.00 | Kawari Kousick
86.00 | Supply of 3.5C X 35 sq.mm. XLPE insulated PVC sheathed, aluminium conductor armoured, power cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 with upto date amendments complete as required. | 170.00 | M |  | 500.00 | 85000.00 | 385.45 | 65526.50 | 475.00 | 80750.00 | 65526.50 | M/S SAIKIA ENTERPRISE
87.00 | Supply, installation, balancing and commissioning of site fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as and when required. a) Thickness 0.63 mm galvanised sheet steel | 236.00 | Sqm |  | 2200.00 | 519200.00 | 1550.00 | 365800.00 | 1080.00 | 254880.00 | 254880.00 | Binod Kumar Malpani
88.00 | Supply and fixing of 200 mm circular inline fan with a minimum airflow capacity of 250 CFM, suitable for 230 volts single phase operation and designed for installation in toilet. The fan should fit into the existing duct or opening, providing efficient ventilation. The supply includes all necessary connections, inter-connections, and electrical work to ensure seamless and continuous operation, with complete installation as required. | 15.00 | Each |  | 16150.00 | 242250.00 | 15750.30 | 236254.50 | 11500.00 | 172500.00 | 172500.00 | Binod Kumar Malpani
89.00 | Supplying and fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete in all respect as required at site. | 2.00 | Sqm |  | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 5910.00 | 11820.00 | 11820.00 | Binod Kumar Malpani
90.00 | Supply and installation of stainless steel, wall mounted, automatic, 1000W (approx.) hand Dryer with air speed not less than 90 m/s complete as required. Make - Euronics , model - TIERRA HAND DRYER or equivalent | 14.00 | Each |  | 9975.00 | 139650.00 | 8850.00 | 123900.00 | 25000.00 | 350000.00 | 123900.00 | M/S SAIKIA ENTERPRISE
91.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing alongwith existing surface /recessed conduit/ submain wiring/cable as required. | 100.00 | M |  | 40.00 | 4000.00 | 41.00 | 4100.00 | 70.00 | 7000.00 | 4000.00 | Kawari Kousick
92.00 | Wiring for Call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular type switch, modular cover and plate , suitable size metal box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 2.00 | Each |  | 1780.00 | 3560.00 | 1782.00 | 3564.00 | 1490.00 | 2980.00 | 2980.00 | Binod Kumar Malpani
93.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 30.00 | M |  | 25.00 | 750.00 | 24.00 | 720.00 | 40.00 | 1200.00 | 720.00 | M/S SAIKIA ENTERPRISE
94.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Upto 35 sq. mm. (clamped with 1 mm thick saddle) | 131.00 | M |  | 45.00 | 5895.00 | 46.00 | 6026.00 | 85.00 | 11135.00 | 5895.00 | Kawari Kousick
95.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5C X 35 sq. mm | 6.00 | Set |  | 390.00 | 2340.00 | 369.00 | 2214.00 | 369.00 | 2214.00 | 2214.00 | Binod Kumar Malpani, M/S SAIKIA ENTERPRISE
| Total in Figures |  |  |  |  | 8777245.00 |  | 9000716.71 |  | 9870049.90
Lowest Amount Quoted BY: Kawari Kousick(8777245.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Redevelopment works of passenger toilet blocks at Jorhat Airport. Tender ID: 2026_AAI_268183_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Kawari Kousick (BID ID -998746) | 8777245.00 | L1
| 2 | M/S SAIKIA ENTERPRISE (BID ID -998517) | 9000716.71 | L2
| 3 | Binod Kumar Malpani (BID ID -997791) | 9870049.90 | L3