## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 21-Apr-2026 02:54 PM Tender Title: Replacement of Outlived Air conditioners and Water Coolers installed at Calicut International Airport Phase II Tender ID: 2026_AAI_269495_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work : Replacement of Outlived Air conditioners and Water Coolers installed at Calicut International Airport – Phase II.
Contract No: Tender ID -2026_AAI_269495_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -998217 |  | AQUATICS ENIGINEERS (GSTN-07AEMPM9860Q1ZE) BID ID -1001463
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 1.5 TR split type 5 star AC (inverter type-minimum ISEER 5.0) consisting of single room evaporator unit comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit copper coil with sealed suitable type compressor and suitable for operation on 230V, 50Hz AC supply, non CFC refrigerant like R32 or equivalent capable of performing (a) cooling (b) Air-Circulating (c) filtering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre. b) Suitable insulated copper pipe for suction line of dia as per OEM specification for length upto 3 Metre. c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC, of suitable size for covering in the liquid line, suction line, multi strand copper cable, and drain line as required at site etc. complete as required. | 12.00 | Job | 1336.00 | 49283.00 | 591396.00 | 40000.00 | 480000.00 | 480000.00 | AQUATICS ENIGINEERS
2.00 | Supply of 1.5 TR split type 5 star AC (inverter type-minimum ISEER 5.0) consisting of single room evaporator unit comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit copper coil with sealed suitable type compressor and suitable for operation on 230V, 50Hz AC supply, non CFC refrigerant like R32 or equivalent capable of performing (a) cooling (b) Air-Circulating (c) filtering , supply of inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Supply of suitable insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre. b) Supply of suitable insulated copper pipe for suction line of dia as per OEM specification for length upto 3 Metre. c) Supply of suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Supply of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC, of suitable size for covering in the liquid line, suction line, multi strand copper cable, and drain line as required at site etc. complete as required. | 4.00 | Job | 2149.00 | 47283.00 | 189132.00 | 36000.00 | 144000.00 | 144000.00 | AQUATICS ENIGINEERS
3.00 | Installation testing and commissioning of 1.5 TR split AC units including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit in suitable stand/ mounting structure including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) L:aying of insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre. b) Laying of insulated copper pipe for suction line of dia as per OEM specification for length upto 3 Metre. c) Laying of FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking of suitable size for covering in the liquid line, suction line, multi strand copper cable, and drain line as required at site etc. complete as required. | 6.00 | Job | 4878.00 | 3500.00 | 21000.00 | 3000.00 | 18000.00 | 18000.00 | AQUATICS ENIGINEERS
4.00 | SITC of 1.5 TR split type 3 star AC (non-inverter type-minimum ISEER 3.5) consisting of single room evaporator unit of copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit with copper coil with sealed suitable type compressor and suitable for operation on 230V, 50Hz AC supply, non CFC refrigerant like R32 or equivalent capable of performing (a) cooling (b) Air-Circulating (c) filtering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr. comprising of the following including first charge of refrigerant, complete as required. a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre b) Suitable copper pipe for suction line of dia as per OEM specification for length upto 3 Metre c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable or as per OEM specification for length upto 3 Metre d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC, of suitable size for covering in the liquid line, suction line, multi strand copper cable, and drain line as required at site etc., complete as required. | 10.00 | Job | 8595.00 | 44198.00 | 441980.00 | 38000.00 | 380000.00 | 380000.00 | AQUATICS ENIGINEERS
5.00 | Supply of 1.5 TR split type 3 star AC (non-inverter type-minimum ISEER 3.5) consisting of single room evaporator unit of copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit with copper coil with sealed suitable type compressor and suitable for operation on 230V, 50Hz AC supply, non CFC refrigerant like R32 or equivalent capable of performing (a) cooling (b) Air-Circulating (c) filtering ,supply of inter connections between evaporator unit and condensing unit up to a length of 3 mtr. comprising of the following including first charge of refrigerant, complete as required. a)Supply of Suitable insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre b) Supply of Suitable copper pipe for suction line of dia as per OEM specification for length upto 3 Metre c) Supply of Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable or as per OEM specification for length upto 3 Metre d) Supply of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC, of suitable size for covering in the liquid line, suction line, multi strand copper cable, and drain line as required at site etc., complete as required. | 2.00 | Job | 16609.00 | 42198.00 | 84396.00 | 35000.00 | 70000.00 | 70000.00 | AQUATICS ENIGINEERS
6.00 | Supply and fixing of following for interconnections between evaporator unit and condensing unit mentioned in item No 1 and 2 (for additional length) including all accessories etc. complete as required a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for the item No 1&2 with minimum insulation thickness of 1/2 inch. b) Suitable insulated copper pipe for suction line of dia as per OEM specification for the item No 1&2 with minimum insulation thickness of 1/2 inch c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for the item No 1&2 d) Supply and Fixing of Heavy duty Rigid type PVC Pipe/Plastic Trunking which shall be decided by EIC as per site conditions, and of suitable size for covering in the refrigerant drain line, liquid line, suction line and multi strand copper cable, drain line as required as per site conditions as required for the item No 1&2, complete as required. | 50.00 | Mtr | 542.00 | 1171.00 | 58550.00 | 1100.00 | 55000.00 | 55000.00 | AQUATICS ENIGINEERS
7.00 | SITC of 2 TR split type 5 star AC (inverter type-minimum ISEER 5.0) consisting of single room unit (evaporator unit) comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit (copper coil) with sealed suitable type compressor and suitable for operation on 230 V, 1 phase 50Hz. AC supply , non CFC refrigerant like R32 capable of performing (a) cooling (b) Air-Circulating (c) filtering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Suitable insulated copper pipe for liquid line or as per OEM specification for length upto 3 Metre. b) Suitable copper pipe for suction or as per OEM specification for length upto 3 Metre . c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC of suitable size for covering in the liquid line, suction line and multi strand copper cable, drain line as required as per site conditions etc., complete as required. | 6.00 | Job | 514.00 | 59283.00 | 355698.00 | 50000.00 | 300000.00 | 300000.00 | AQUATICS ENIGINEERS
8.00 | Supply of 2 TR split type 5 star AC (inverter type-minimum ISEER 5.0) consisting of single room unit (evaporator unit) comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit (copper coil) with sealed suitable type compressor and suitable for operation on 230 V, 1 phase 50Hz. AC supply , non CFC refrigerant like R32 capable of performing (a) cooling (b) Air-Circulating (c) filtering , supply of inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Supply Suitable insulated copper pipe for liquid line or as per OEM specification for length upto 3 Metre. b) SupplySuitable copper pipe for suction or as per OEM specification for length upto 3 Metre . c)Supply Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Supply of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC of suitable size for covering in the liquid line, suction line and multi strand copper cable, drain line as required as per site conditions etc., complete as required. | 2.00 | Job | 58328.00 | 56953.00 | 113906.00 | 46000.00 | 92000.00 | 92000.00 | AQUATICS ENIGINEERS
9.00 | Installation testing and commissioning of 2 TR split type 5 star AC units including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Laying of insulated copper pipe for liquid line or as per OEM specification for length upto 3 Metre. b) Laying of copper pipe for suction or as per OEM specification for length upto 3 Metre . c) Laying of FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking of suitable size for covering in the liquid line, suction line and multi strand copper cable, drain line as required at site ., complete as required. | 2.00 | Job | 323.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 6000.00 | AQUATICS ENIGINEERS
10.00 | SITC of 2 TR split type 3 star AC (non-inverter type-minimum EER 3.5) consisting of single room evaporator unit comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit copper coil with sealed suitable type compressor and suitable for operation on 230 V, 1 phase 50Hz. AC supply, non CFC refrigerant like R32 capable of performing (a) cooling (b) Air-Circulating (c) filtering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre b) Suitable insulated copper pipe for suction line of dia as per OEM specification for length upto 3 Metre. c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC of suitable size for covering in the liquid line, suction line, multi strand copper cable, drain line as required at site etc. complete as required. | 16.00 | Job | 256.00 | 53351.00 | 853616.00 | 47500.00 | 760000.00 | 760000.00 | AQUATICS ENIGINEERS
11.00 | Supply of 2 TR split type 3 star AC (non-inverter type-minimum EER 3.5) consisting of single room evaporator unit comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit copper coil with sealed suitable type compressor and suitable for operation on 230 V, 1 phase 50Hz. AC supply, non CFC refrigerant like R32 capable of performing (a) cooling (b) Air-Circulating (c) filtering,supply of inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Supply of suitable insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre b) Supply of suitable insulated copper pipe for suction line of dia as per OEM specification for length upto 3 Metre. c) Supply of suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Supply and Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking as decided by EIC of suitable size for covering in the liquid line, suction line, multi strand copper cable, drain line as required at site etc. complete as required. | 18.00 | Job | 1630.00 | 51351.00 | 924318.00 | 45000.00 | 810000.00 | 810000.00 | AQUATICS ENIGINEERS
12.00 | Installation testing and commissioning of 2 TR split AC units including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator unit in suitable stand/ mounting structure including providing and making inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) L:aying of insulated copper pipe for liquid line of dia as per OEM specification for length upto 3 Metre. b) Laying of insulated copper pipe for suction line of dia as per OEM specification for length upto 3 Metre. c) Laying of FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for length upto 3 Metre d) Fixing of Heavy duty Rigid type PVC pipe / PVC Trunking of suitable size for covering in the liquid line, suction line, multi strand copper cable, and drain line as required at site etc. complete as required. | 18.00 | Job | 327.00 | 3500.00 | 63000.00 | 3000.00 | 54000.00 | 54000.00 | AQUATICS ENIGINEERS
13.00 | Supply and fixing of following for interconnections between evaporator unit and condensing unit mentioned in item No 4&5 (for additional length) including all accessories etc. complete as required a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for the item No 4&5 with minimum insulation thickness of 1/2 inch b) Suitable insulated copper pipe for suction line of dia as per OEM specification for the item No 4&5 with minimum insulation thickness of 1/2 inch c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for the item No 4&5 d) Supply and Fixing of Heavy duty Rigid type PVC Pipe/Plastic Trunking of suitable size for covering in the refrigerant drain line, liquid line, suction line, multi strand copper cable, and drain line as required at site conditions. etc., complete as required. | 125.00 | Mtr | 834.00 | 1161.00 | 145125.00 | 1200.00 | 150000.00 | 145125.00 | VOLKS ENERGIE PVT LTD
14.00 | SITC of 3 TR Cassette type, four way, minimum 4 Star energy efficient, (ISEER rating minimum 3.8 ) Inverter type, three phase supply, split Air conditioner unit, consisting of indoor unit with copper coil, out door condensing Unit with copper coil with sealed suitable type compressor, cordless remote control, non CFC refrigerant gas like R32/ R410a/R- 407c, etc. as per OEM standard and complete as required as per technical specifications and fixing of Evaporator and condensor unit complete as required as per OEM specification, including necessary mounting arrangements for evaporator and condensing units at site including suspending rods, necessary supports/stand for out door Unit and Indoor unit as required at site, dismantling of the existing false ceiling, and making it good after installation works, and fixing of Evaporator unit providing and making inter connections between evaporator unit and condensing unit, including first charge of refrigerator , complete as required. | 3.00 | Job | 49.00 | 99277.00 | 297831.00 | 108000.00 | 324000.00 | 297831.00 | VOLKS ENERGIE PVT LTD
15.00 | Supply and fixing of following for interconnections between evaporator unit and condensing unit mentioned in item No 7 including all accessories etc. complete as required a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for the item No 7 with minimum insulation thickness of 1/2 inch b) Suitable insulated copper pipe for suction line of dia as per OEM specification for the item No 7 with minimum insulation thickness of 1/2 inch c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for the item No 7 d) Supply and Fixing of Heavy duty Rigid type PVC Pipe/Plastic Trunking as per of suitable size for covering in the refrigerant liquid line, suction line, drain line as per site conditions, and multi strand copper cable as required for the item No 7., complete as required. | 35.00 | Mtr | 36.00 | 1230.00 | 43050.00 | 1400.00 | 49000.00 | 43050.00 | VOLKS ENERGIE PVT LTD
16.00 | SITC of Three phase Tower Type 3.0 Ton Stand alone AC (non -inverter) consisting of single room unit (evaporator unit) with cordless remote control and one number outdoor condensing unit comprising of sealed Scroll type compressor and other necessary safety controls, single phasing preventor etc. for operation on 415V, 50Hz. AC supply with R-32/ R 410a/ R407c refrigerant and capable of performing (a) cooling (b) Air-Circulating (c) Altering including fixing the outdoor condenser unit on a raised suitable pedestals duly painted/Metal Stand as per site requirement (Pedestals/Metal Stand included in the scope) and fixing of Evaporator and condensing unit, necessary supports/stand for out door Unit and Indoor unit as required at site, providing and making inter connections between evaporator unit and condensing unit of liquid line, suction line and multi strand copper cable, drain line etc. complete as required as per OEM specification. | 18.00 | Nos | 74.00 | 101325.00 | 1823850.00 | 108000.00 | 1944000.00 | 1823850.00 | VOLKS ENERGIE PVT LTD
17.00 | Supply and fixing of following for interconnections between evaporator unit and condensing unit mentioned in item No 9 including all accessories etc. complete as required a) Suitable insulated copper pipe for liquid line of dia as per OEM specification for the item No 9 with minimum insulation thickness of 1/2 inch b) Suitable insulated copper pipe for suction line of dia as per OEM specification for the item No 9 with minimum insulation thickness of 1/2 inch c) Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable as per OEM specification for the item No 9 d) Supply and Fixing of Heavy duty Rigid type PVC Pipe/Plastic Trunking of suitable size for covering in the refrigerant drain line, liquid line, suction line and multi strand copper cable as required for the item No 9 , complete as required. | 125.00 | Mtr | 85.00 | 1230.00 | 153750.00 | 1500.00 | 187500.00 | 153750.00 | VOLKS ENERGIE PVT LTD
18.00 | Supply and installation of 25mm dia drain piping made of PVC medium class pipe complete with fittings, supports etc. as per specifications and duly insulated with 9 mm thick nitrile rubber insulation as per specifications. | 110.00 | Mtr | 272.00 | 110.00 | 12100.00 | 200.00 | 22000.00 | 12100.00 | VOLKS ENERGIE PVT LTD
19.00 | Supplying and fixing of 25 mm Drain pipe for heavy duty PVC pipe without insulation as per OEM specifications and as required. | 140.00 | Mtr | 150.00 | 90.00 | 12600.00 | 150.00 | 21000.00 | 12600.00 | VOLKS ENERGIE PVT LTD
20.00 | Dismantling of indoor and outdoor units of the 1.5/2 TR split air conditioning including the copper piping and cabling, and other accessories and making it good etc. complete as required. | 48.00 | Job | 1140.00 | 400.00 | 19200.00 | 650.00 | 31200.00 | 19200.00 | VOLKS ENERGIE PVT LTD
21.00 | Dismantling of indoor and outdoor units of 3 TR Cassette AC units/ floor mounted tower/ductable AC Units at the automation server control room excluding the ducting, including closing the duct openings with GSS sheet, copper pipes, other accessories and making it good etc. complete as required.( | 18.00 | Job | 8627.00 | 800.00 | 14400.00 | 2000.00 | 36000.00 | 14400.00 | VOLKS ENERGIE PVT LTD
22.00 | Supplying and fixing sheet steel enclosure with 3 pin indiustrial socket suitable for fixing on surface/ recess along with 20 A 230 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 44.00 | Each | 17.00 | 1200.00 | 52800.00 | 2500.00 | 110000.00 | 52800.00 | VOLKS ENERGIE PVT LTD
23.00 | Supplying and fixing sheet steel enclosure with 5 pin indiustrial socket suitable for fixing on surface/ recess along with 32 A 415 V "C" curve FP MCB complete with connections, testing and commissioning etc. as required. | 18.00 | Each | 17.00 | 2600.00 | 46800.00 | 5000.00 | 90000.00 | 46800.00 | VOLKS ENERGIE PVT LTD
24.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Mtr | 20.00 | 230.00 | 11500.00 | 400.00 | 20000.00 | 11500.00 | VOLKS ENERGIE PVT LTD
25.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Mtr | 20.00 | 400.00 | 20000.00 | 750.00 | 37500.00 | 20000.00 | VOLKS ENERGIE PVT LTD
26.00 | SITC of Hot, Cold & Normal water dispensor with stand alone unit water purification system with inbuilt UV + OZONE water purification system with 20 inch 3 in 1 filter (spun, carbon, iron removal media etc.,). complete as per the specifications as required. The unit shall have a minimum tank capacity of (a) 30 Litres Normal Water (b) 40 Litres Cold Water (c) 5 Litres Hot Water, minimum flow rate of 125 Litres/hr with SS body and shall be suitable to connect to existing water outlet system at Various locations including all required connections. The compressor / heater / filter unit shall be suitable to work with 230V, 50 Hz AC Power Supply. | 10.00 | Job | 20.00 | 90000.00 | 900000.00 | 80000.00 | 800000.00 | 800000.00 | AQUATICS ENIGINEERS
27.00 | SITC of Hot, Cold & Normal water floor standing water dispensor with cooling cabinet.The unit shall have a minimum tank capacity of (a) Normal Water (Suitable standard water can upto 20 Litres) (b) Cooling capacity 2.5 Litres per hour or above (c) Heating capacity 5 Litres per hour or above. The compressor / heater unit shall be suitable to work with 230V, 50 Hz AC Power Supply. | 7.00 | Job | 20.00 | 9000.00 | 63000.00 | 15000.00 | 105000.00 | 63000.00 | VOLKS ENERGIE PVT LTD
28.00 | SITC of 100 Lph Reverse Osmosis with UV water purification system with 20 inch 3 in 1 filter (spun, carbon, iron removal media etc.,). complete as per the specifications as required. The unit shall have a minimum tank capacity of (a) 200 Litres Normal Water, shall be suitable to connect to existing water outlet system including all required connections. Pressure pump / filter unit shall be suitable to work with 230V, 50 Hz AC Power Supply. | 1.00 | Job | 20.00 | 120000.00 | 120000.00 | 80000.00 | 80000.00 | 80000.00 | AQUATICS ENIGINEERS
29.00 | SITC of 2 TR split, open type ceiling suspended air conditioning system suitable for passenger boarding bridge rotunda consisting of single room unit (evaporator unit) comprising copper coil with cordless remote control, suitable external voltage stabilizer unit and one number outdoor condensing unit (copper coil) with sealed suitable type compressor and suitable for operation on 230 V, 1 phase 50Hz. AC supply , non CFC refrigerant like R32 capable of performing (a) cooling (b) Air-Circulating (c) filtering , supply of inter connections between evaporator unit and condensing unit up to a length of 3 mtr, connection of drain pipe comprising of the following including first charge of refrigerant, complete as required. a) Supply Suitable insulated copper pipe for liquid line for length upto 3 Metre. b) SupplySuitable copper pipe for suction for length upto 3 Metre . c)Supply Suitable FR insulated, PVC sheathed unarmoured multi strand copper cable for length upto 3 Metre | 2.00 | Job | 20.00 | 78000.00 | 156000.00 | 90000.00 | 180000.00 | 156000.00 | VOLKS ENERGIE PVT LTD
| Total in Figures |  |  |  |  | 7595998.00 |  | 7356200.00
Lowest Amount Quoted BY: AQUATICS ENIGINEERS(7356200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Outlived Air conditioners and Water Coolers installed at Calicut International Airport Phase II Tender ID: 2026_AAI_269495_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUATICS ENIGINEERS (BID ID -1001463) | 7356200.00 | L1
| 2 | VOLKS ENERGIE PVT LTD (BID ID -998217) | 7595998.00 | L2