## BoQ1
Government eProcurement System Created By: JANARDHAN SWAMY SADULA Created Date/Time: 21-Apr-2026 01:21 PM Tender Title: R M of Ground Light Facilities at Chennai Airport during the year 2025 26. SH Procurement of Spares for GLF Installations. Tender ID: 2026_AAI_270030_1
Tender Inviting Authority: Senior Manager (Engg.Elect.)
Name of Work: R&M of Ground Light Facilities at Chennai Airport during the year 2025-26. SH: Procurement of Spares for GLF Installations.
Contract No: 2026_AAI_270030_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -1004211 |  | SHRI K.D.INDUSTRIES (GSTN-09AGAPG0773C1ZV) BID ID -1005125
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Runway Edge light fixture. (Cat No. 64386 Osram or Equivalent) as required. | 1000.00 | Nos | 1.25 | 567.00 | 567000.00 | 700.00 | 700000.00 | 567000.00 | Balaji Engineering
2.00 | Supply of 200W 6.6A Halogen lamps with PK-30d base and male connector. (Cat No. 64382 Osram or Equivalent) as required. | 200.00 | Nos | 0.00 | 1165.50 | 233100.00 | 1450.00 | 290000.00 | 233100.00 | Balaji Engineering
3.00 | Supply of 200W 6.6 A Halogen Lamps with in-built holder with PK-30d base, female connector (Make: Osram Cat no. 64382 HLX-A 200W-15 6.6A PK30d or Equivalent) as required. | 100.00 | Nos | 100.00 | 1176.00 | 117600.00 | 1250.00 | 125000.00 | 117600.00 | Balaji Engineering
4.00 | Supply of 200W 6.6A Bi-pin Halogen lamps for Runway edge light fixture. (Cat No. 58750 Osram or Equivalent) as required. | 50.00 | Nos | 53.00 | 577.50 | 28875.00 | 1000.00 | 50000.00 | 28875.00 | Balaji Engineering
5.00 | Supply of 105W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type light fixtures (Cat No. 64339A of Osram or Equivalent) as required. | 1000.00 | Nos | 10.00 | 1165.50 | 1165500.00 | 1450.00 | 1450000.00 | 1165500.00 | Balaji Engineering
6.00 | Supply of 100W 6.6A Halogen lamps with PK-30d base and male connector. (Cat No. 64342 Osram or Equivalent) as required. | 50.00 | Nos | 11.00 | 1050.00 | 52500.00 | 1400.00 | 70000.00 | 52500.00 | Balaji Engineering
7.00 | Supply of 48W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type Runway TDZ and Runway Centreline light fixtures (Cat No. 64337B of Osram or Equivalent) as required. | 500.00 | Nos | 10.00 | 955.50 | 477750.00 | 1450.00 | 725000.00 | 477750.00 | Balaji Engineering
8.00 | Supply of 48W 6.6A Prefocus dichroic coated reflector lamps suitable for inset type Rapid Exit Taxiway Indicator light fixtures (Cat No. 64337A of Osram or Equivalent) as required. | 50.00 | Nos | 22.00 | 955.50 | 47775.00 | 1400.00 | 70000.00 | 47775.00 | Balaji Engineering
9.00 | Supply of AMA Make Bi-pin Lamp holder for 200 W 6.6 A Halogen lamp as required. | 500.00 | Nos | 0.00 | 409.00 | 204500.00 | 350.00 | 175000.00 | 175000.00 | SHRI K.D.INDUSTRIES
10.00 | Supply of 200W 20/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 50.00 | Nos | 1.00 | 4882.50 | 244125.00 | 4500.00 | 225000.00 | 225000.00 | SHRI K.D.INDUSTRIES
11.00 | Supply of 200W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 25.00 | Nos | 1.25 | 4777.50 | 119437.50 | 4500.00 | 112500.00 | 112500.00 | SHRI K.D.INDUSTRIES
12.00 | Supply of 100W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 50.00 | Nos | 0.00 | 4105.50 | 205275.00 | 4000.00 | 200000.00 | 200000.00 | SHRI K.D.INDUSTRIES
13.00 | Supply of 45W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 50.00 | Nos | 100.00 | 2562.00 | 128100.00 | 3000.00 | 150000.00 | 128100.00 | Balaji Engineering
14.00 | Supply of 10W 6.6/6.6 A 5000 Volts 50 Hz AC Isolating Transformer, series type, encapsuled in polyster resin, finally moulded in neoprene type rubber with primary and secondary leads, confirming to latest specifications as required suitable for airfield lighting applications etc. as required. | 300.00 | Nos | 53.00 | 3150.00 | 945000.00 | 2500.00 | 750000.00 | 750000.00 | SHRI K.D.INDUSTRIES
15.00 | Supply of Secondary lead 2C x 4 mm2 made out of stranded annealed tinned copper conductor EPR insulated, PCP sheathed, unshield type 1.1 KV grade conforming IS 9968-I- 1980 as required with plug and socket of 1m length. | 50.00 | Nos | 10.00 | 252.00 | 12600.00 | 2500.00 | 125000.00 | 12600.00 | Balaji Engineering
16.00 | Supply of 0.5m Secondary lead with male connector suitable for Runway HIRL/Taxiway MIRL Elevated type fixtures. | 50.00 | Nos | 11.00 | 273.00 | 13650.00 | 1250.00 | 62500.00 | 13650.00 | Balaji Engineering
17.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 6 mm2 size AFL copper conductor cable. | 50.00 | Nos | 10.00 | 430.50 | 21525.00 | 750.00 | 37500.00 | 21525.00 | Balaji Engineering
18.00 | Supply of Connector kit suitable for use in the 5KV grade 1 x 25 mm2 size AFL copper conductor cable. | 500.00 | Nos | 22.00 | 420.00 | 210000.00 | 1250.00 | 625000.00 | 210000.00 | Balaji Engineering
19.00 | Supply of EPR self-amalgamating HT rubber tape having water proof, moisture proof, corrosion and chemical resistive features suitable for 5KV grade AFL cables. Size 25mm x0.76mmx9.1M. (Stanvac Plysafe W963). | 200.00 | Nos | 0.00 | 1365.00 | 273000.00 | 2250.00 | 450000.00 | 273000.00 | Balaji Engineering
20.00 | Supply of Elevated type Bi-directional High Intensity Runway Edge Light fitting suitable for use with 200W Halogen lamp consists of Halogen Lamp, Lens supporting mechanism, lens clamp mechanism, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead, Base Plate with 6 Nos. M-10 SS bolts with spring and plate washers, Rubber gasket with all other accessories and meeting ICAO/ FAA specification complete as required and as specified : (Lens - Clear/Clear). | 25.00 | Nos | 1.00 | 6877.50 | 171937.50 | 6500.00 | 162500.00 | 162500.00 | SHRI K.D.INDUSTRIES
21.00 | Supply of Elevated type Bi-directional High Intensity Runway Edge Light fitting suitable for use with 200W Halogen lamp consists of Halogen Lamp, Lens supporting mechanism, lens clamp mechanism, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead, Base Plate with 6 Nos. M-10 SS bolts with spring and plate washers, Rubber gasket with all other accessories and meeting ICAO/ FAA specification complete as required and as specified : (Lens - Clear/Amber). | 20.00 | Nos | 1.25 | 6825.00 | 136500.00 | 6500.00 | 130000.00 | 130000.00 | SHRI K.D.INDUSTRIES
22.00 | Supply of Elevated Omni directional LED Type Medium Intensity Taxiway Edge Light Fittings consists of LED, Lens supporting mechanism, lens clamp mechanism, Omni directional Blue lens, Driver Unit, Central column assembly, Breakable Coupling, two pin secondary Connecting Lead etc. with all other accessories and meeting ICAO / FAA specifications. | 400.00 | Nos | 0.00 | 3570.00 | 1428000.00 | 3200.00 | 1280000.00 | 1280000.00 | SHRI K.D.INDUSTRIES
23.00 | Supply of Inset type High intensity Bi -directional Runway Edge light fitting (Clear / Clear) complete with bottom box / Shallow base and all accessories including 2x 105W halogen lamps, lens / filter, reflector with all other accessories and meeting ICAO / FAA specifications complete as required and as specified (Make: ADB Safegate / Youyang). | 10.00 | Nos | 100.00 | 38808.00 | 388080.00 | 75000.00 | 750000.00 | 388080.00 | Balaji Engineering
24.00 | Supply of Inset type High intensity Bi -directional Runway Edge light fitting (Clear / Amber) complete with bottom box / Shallow base and all accessories including 2x 105W halogen lamps, lens / filter, reflector with all other accessories and meeting ICAO / FAA specifications complete as required and as specified (Make: ADB Safegate / Youyang). | 5.00 | Nos | 53.00 | 38808.00 | 194040.00 | 75000.00 | 375000.00 | 194040.00 | Balaji Engineering
25.00 | Supply of 1x48W, inset type uni-directional, TDZ light fittings, complete with prism assembly, optical assembly (lens/filter, reflectors etc.), "O" ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminium inner body & outer cover and other accessories complete etc. as required meeting the requirement of latest ICAO Annex 14, FAA compliant and as specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate). | 5.00 | Nos | 10.00 | 55597.50 | 277987.50 | 40000.00 | 200000.00 | 200000.00 | SHRI K.D.INDUSTRIES
26.00 | Supply of 2x48W, inset type Bi-directional (Clear/Clear), Centerline Light fitting, complete with prism assembly, optical assembly (lens/filter, reflectors etc.), "O" ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminium inner body & outer cover and other accessories complete etc. as required meeting the requirement of latest ICAO Annex 14, FAA compliant and specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate). | 10.00 | Nos | 11.00 | 99708.00 | 997080.00 | 40000.00 | 400000.00 | 400000.00 | SHRI K.D.INDUSTRIES
27.00 | Supply of 2x48W, inset type Bi-directional (Clear/Red), Centerline Light fitting, complete with prism assembly, optical assembly (lens/filter, reflectorsetc), "O" ring seal, pressure relief test plug, 6.6A halogen lamp, filters, die-cast aluminium inner body & outer cover and other accessories complete etc., as required meeting the requirement of latest ICAO Annex 14, FAA compliant and as specifications of Aerodrome Design Manual Part - IV (Visual Aids) latest edition. (without shallow base) (Make: ADB Safegate). | 10.00 | Nos | 10.00 | 99697.50 | 996975.00 | 40000.00 | 400000.00 | 400000.00 | SHRI K.D.INDUSTRIES
28.00 | Supply of Inset type Uni-directional Rapid Exit Taxiway Indicator Light fitting complete with bottom box / Shallow base and all accessories including 1x 40W Halogen lamp, lens/filter, reflector with all other accessories and meeting ICAO / FAA specifications complete as required and as specified. | 10.00 | Nos | 22.00 | 52437.00 | 524370.00 | 40000.00 | 400000.00 | 400000.00 | SHRI K.D.INDUSTRIES
29.00 | Supply of Full Thread SS 304 Hex Bolt with spring washer, Size: M10x25 for HIRL /MIRL fittings. | 2000.00 | Nos | 0.00 | 39.90 | 79800.00 | 100.00 | 200000.00 | 79800.00 | Balaji Engineering
30.00 | Supply of trip indicator fuse TI 300 | 60.00 | Nos | 1.25 | 514.50 | 30870.00 | 2000.00 | 120000.00 | 30870.00 | Balaji Engineering
31.00 | Supply of high speed semiconductor type HRC fuse, 63A, 690V. (Eaton/Bussman make FE 62a). | 50.00 | Nos | 0.00 | 777.00 | 38850.00 | 2000.00 | 100000.00 | 38850.00 | Balaji Engineering
32.00 | Supply of Thyristor Protection Fuse GS 1000/300 (suitable for 50 KW MPCCR ) | 10.00 | Nos | 100.00 | 661.50 | 6615.00 | 3500.00 | 35000.00 | 6615.00 | Balaji Engineering
33.00 | Supply of high speed semiconductor type HRC fuse, 100A, 690V. (Eaton/Bussman make 100FEa ). | 30.00 | Nos | 53.00 | 976.50 | 29295.00 | 2000.00 | 60000.00 | 29295.00 | Balaji Engineering
34.00 | Supply of HRC fuse, 63A Siemens 3NA3 822-7Y,NH00 63 A, 500 V. | 15.00 | Nos | 10.00 | 588.00 | 8820.00 | 1500.00 | 22500.00 | 8820.00 | Balaji Engineering
35.00 | Supply of HRC fuse, 100A Siemens 3NA3 830-7Y, NH00 100A, 500 V. | 5.00 | Nos | 11.00 | 829.50 | 4147.50 | 1500.00 | 7500.00 | 4147.50 | Balaji Engineering
36.00 | Supply of driver unit of AMA make Taxiway MIRL LED fittings i/c LED, Heating filament etc. complete as required. | 100.00 | Nos | 10.00 | 1890.00 | 189000.00 | 1000.00 | 100000.00 | 100000.00 | SHRI K.D.INDUSTRIES
37.00 | Supply of driver unit of VARDHAMAN make Taxiway MIRL LED fittings i/c LED, Heating filament etc. complete as required. | 20.00 | Nos | 22.00 | 2488.50 | 49770.00 | 1000.00 | 20000.00 | 20000.00 | SHRI K.D.INDUSTRIES
38.00 | Supply of Base Plate gasket for Elevated type High Intensity Runway Edge Light Fittings. Make AMA. | 200.00 | Nos | 0.00 | 73.50 | 14700.00 | 250.00 | 50000.00 | 14700.00 | Balaji Engineering
39.00 | Supply of AMA Make 360 degree Outer Clear lens for Runway Fitting. | 200.00 | Nos | 1.00 | 2992.50 | 598500.00 | 2250.00 | 450000.00 | 450000.00 | SHRI K.D.INDUSTRIES
40.00 | Supply of AMA Make 360 degree Inner Clear lens for Runway Fitting. | 50.00 | Nos | 1.25 | 3843.00 | 192150.00 | 2000.00 | 100000.00 | 100000.00 | SHRI K.D.INDUSTRIES
41.00 | Supply of AMA Make 180 Filter for Runway Fitting - Clear. | 100.00 | Nos | 0.00 | 3045.00 | 304500.00 | 2000.00 | 200000.00 | 200000.00 | SHRI K.D.INDUSTRIES
42.00 | Supply of AMA Make 180 Filter for Runway Fitting - Red. | 50.00 | Nos | 100.00 | 3108.00 | 155400.00 | 2000.00 | 100000.00 | 100000.00 | SHRI K.D.INDUSTRIES
43.00 | Supply of AMA Make 180 Filter for Runway Fitting - Yellow. | 100.00 | Nos | 53.00 | 3045.00 | 304500.00 | 2000.00 | 200000.00 | 200000.00 | SHRI K.D.INDUSTRIES
44.00 | Supply of Vardhman Make 360 degree Outer Clear lens for Runway Fitting. | 30.00 | Nos | 10.00 | 2614.50 | 78435.00 | 1750.00 | 52500.00 | 52500.00 | SHRI K.D.INDUSTRIES
45.00 | Supply of Vardhman Make inner Clear lens for Runway Fitting - Clear | 20.00 | Nos | 11.00 | 1522.50 | 30450.00 | 1250.00 | 25000.00 | 25000.00 | SHRI K.D.INDUSTRIES
46.00 | Supply of Vardhman Make inner Clear lens for Runway Fitting - Amber | 20.00 | Nos | 10.00 | 1837.50 | 36750.00 | 1250.00 | 25000.00 | 25000.00 | SHRI K.D.INDUSTRIES
47.00 | Supply of AMA Make 360 degrees Blue lens for Taxiway fitting. | 20.00 | Nos | 22.00 | 1575.00 | 31500.00 | 500.00 | 10000.00 | 10000.00 | SHRI K.D.INDUSTRIES
48.00 | Supply of Vardhman Make 360 degrees Blue lens for Taxiway fitting. | 20.00 | Nos | 0.00 | 252.00 | 5040.00 | 500.00 | 10000.00 | 5040.00 | Balaji Engineering
49.00 | Supply of Spares of ADB Safe gate, High Intensity Bi Directional Inset Light (8") Centreline fittings. MAKE ADB SAFE GATE
50.00 | a) Connecting wire. Part No. SP.010411 (10 pcs per set) | 3.00 | Set | 1.25 | 3832.50 | 11497.50 | 4000.00 | 12000.00 | 11497.50 | Balaji Engineering
51.00 | b) Terminal block assembly with fixing hardware and with cutout. Part No. 1411.21.000 | 2.00 | Set | 0.00 | 6247.50 | 12495.00 | 4000.00 | 8000.00 | 8000.00 | SHRI K.D.INDUSTRIES
52.00 | Supply of Spares of ADB Safe Gate, High Intensity Bi Directional Inset Light (12") Runway Edgelight fittings. MAKE ADB SAFE GATE
53.00 | a) Connecting wire. Part No. SP.010411 (10 pcs per set) | 2.00 | Set | 53.00 | 6195.00 | 12390.00 | 4000.00 | 8000.00 | 8000.00 | SHRI K.D.INDUSTRIES
54.00 | Supply of Porcelain connector with brass screws for AMA make Edge Light fittings | 500.00 | Nos | 10.00 | 84.00 | 42000.00 | 125.00 | 62500.00 | 42000.00 | Balaji Engineering
55.00 | Supply of Two pole plug suitable for Inset type Edge Light, TDZ, Centerline fittings Make: ADB Safegate / Youyang | 70.00 | Nos | 11.00 | 598.50 | 41895.00 | 1000.00 | 70000.00 | 41895.00 | Balaji Engineering
56.00 | Supply of LED type Omni directional portable obstruction light units for use in Airfield having input supply of 230 V AC supply and capable to switch over to battery operation in case of failure of electric supply with 16 hours of battery backup with full brightness and the intensity of light shall be as per ICAO Annex-14. | 5.00 | Nos | 10.00 | 7927.50 | 39637.50 | 3000.00 | 15000.00 | 15000.00 | SHRI K.D.INDUSTRIES
57.00 | Supply of Elevated Omni directional LED type medium intensity obstruction light fittings, consisting of LED, lens supporting mechanism, Lens clamp mechanism, Omni directional Red lens, driver unit, Central column assembly, Breakable coupling, two pin secondary connecting lead, with base plate etc., with all other accessories and meeting ICAO/FAA specifications | 5.00 | Nos | 22.00 | 7927.50 | 39637.50 | 3000.00 | 15000.00 | 15000.00 | SHRI K.D.INDUSTRIES
58.00 | Supply of reflector for AMA make approach fittings | 50.00 | Nos | 0.00 | 7927.50 | 396375.00 | 2250.00 | 112500.00 | 112500.00 | SHRI K.D.INDUSTRIES
59.00 | Supply of bird spike for AMA make approach fittings | 50.00 | Nos | 1.25 | 157.50 | 7875.00 | 100.00 | 5000.00 | 5000.00 | SHRI K.D.INDUSTRIES
60.00 | Supply of Fabric windsock of natural (white) and black with inner lining of length 168 inch in the shape of a truncated cone as per the specifications. | 20.00 | Nos | 0.00 | 8347.50 | 166950.00 | 5500.00 | 110000.00 | 110000.00 | SHRI K.D.INDUSTRIES
61.00 | Supply of inner lens gasket for AMA make Runway elevated edge light fitting | 150.00 | Nos | 100.00 | 157.50 | 23625.00 | 50.00 | 7500.00 | 7500.00 | SHRI K.D.INDUSTRIES
62.00 | Supply of light inner lens locking metal ring (360 degree) for AMA make Runway elevated edge light fitting | 150.00 | Nos | 53.00 | 262.50 | 39375.00 | 50.00 | 7500.00 | 7500.00 | SHRI K.D.INDUSTRIES
63.00 | Supply of holder bracket fixing screw for AMA make Runway elevated edge light fitting. | 500.00 | Nos | 10.00 | 73.50 | 36750.00 | 100.00 | 50000.00 | 36750.00 | Balaji Engineering
64.00 | Supply of holder fixing screw for AMA make Runway elevated edge light fitting. | 500.00 | Nos | 11.00 | 84.00 | 42000.00 | 100.00 | 50000.00 | 42000.00 | Balaji Engineering
65.00 | Supply of outer metal ring with 03 Nos Knurling screw for Vardhman make Runway elevated edge light fitting. | 100.00 | Nos | 10.00 | 840.00 | 84000.00 | 450.00 | 45000.00 | 45000.00 | SHRI K.D.INDUSTRIES
66.00 | Supply of spare power converter with output voltage of 34V DC capable of internally illuminating the existing NASU make LED signboards with uniform brightness when operating from 2.8A to 6.6A in Taxiway circuits | 25.00 | Nos | 22.00 | 13597.50 | 339937.50 | 5500.00 | 137500.00 | 137500.00 | SHRI K.D.INDUSTRIES
67.00 | Supply of reflector for AMA make 3 lamp PAPI unit | 30.00 | Nos | 0.00 | 3097.50 | 92925.00 | 2250.00 | 67500.00 | 67500.00 | SHRI K.D.INDUSTRIES
68.00 | Supply of secondary lead made out of 2C x 4 sq.mm multi stranded annealed tinned copper conductor EPR insulated, PCP sheathed, unshielded type, 1.1KV grade conforming to IS- 9968(Part-I) 1988 as amended upto date etc., complete as required | 1500.00 | Mtr. | 1.00 | 115.50 | 173250.00 | 190.00 | 285000.00 | 173250.00 | Balaji Engineering
69.00 | Supply of LED strip of size 400 mm x 20mm having 24 LEDs, each of high luminous long life 0.5 W LED assembled on aluminium PCB of minimum thickness 2mm for ensuring proper heat dissipation with provision of single non reversible jack at one end for easy replacement of strip at site etc., suitable for illumination of guidance signboards. | 50.00 | Nos | 1.25 | 1008.00 | 50400.00 | 1000.00 | 50000.00 | 50000.00 | SHRI K.D.INDUSTRIES
70.00 | Supply of LED module of 2.8 Watt, 24 V DC, IP 66, CCT 6500 K suitable for Airfield signage boards in Operational Area. (Make: OSRAM, Model: BoxLED M Core Product G5 or equivalent) | 100.00 | Nos | 0.00 | 1008.00 | 100800.00 | 1044.99 | 104499.00 | 100800.00 | Balaji Engineering
| Total in Figures |  |  |  |  | 14125190.00 |  | 13599999.00
Lowest Amount Quoted BY: SHRI K.D.INDUSTRIES(13599999.00)

## BOQ Summary
BOQ Summary Details Tender Title: R M of Ground Light Facilities at Chennai Airport during the year 2025 26. SH Procurement of Spares for GLF Installations. Tender ID: 2026_AAI_270030_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRI K.D.INDUSTRIES (BID ID -1005125) | 13599999.00 | L1
| 2 | Balaji Engineering (BID ID -1004211) | 14125190.00 | L2