## BoQ1
Government eProcurement System Created By: Ajay Kumar Verma Created Date/Time: 22-Apr-2026 04:24 PM Tender Title: AAI/AYO/ENGG-E/VRV-AC/2025-26 Tender ID: 2026_AAI_270103_1
Tender Inviting Authority: AGM (Engg.-Electrical), AAI, MVI Airport, Ayodhya.
Name of Work: SITC of additional VRV Air- Conditioning sytem in Terminal Building at MVI Airport, Ayodhya Dham.
Contract No: 2026_AAI_270103
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -1002530 |  | VOLGA AIR TECHNOLOGIES INDIA (GSTN-23AFGPC9885C1ZC) BID ID -1005148 |  | Voltas Limited (GSTN-NA) BID ID -1003619 |  | UTILITY SERVICES (GSTN-NA) BID ID -995140 |  | AIR DESIGN SOLUTIONS (GSTN-NA) BID ID -1005429 |  | Mvac Engineers (GSTN-NA) BID ID -1003630
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Consultancy charges for heat load design of HVAC system as per enclosed ambient conditions of existing Terminal building of Ayodhya Airport by specialized agency/consultant using HAP /latest software and applicable tools etc. including visit at site to collect details of building/data , submission of heat load calculation in hard copy as well as in soft copy area wise and as total heat load of building . The heat load of building shall be designed in two parts (i) Total heat load along with effect of sky light (ii) Total heat load without effect of sky light etc. complete as required. | 1.00 | Job | 1.25 | 75000.00 | 75000.00 | 120000.00 | 120000.00 | 63291.00 | 63291.00 | 35428.00 | 35428.00 | 50000.00 | 50000.00 | 37500.00 | 37500.00 | 35428.00 | UTILITY SERVICES
2.00 | VRV/VRF OUT DOOR UNITS Supply, Installation, testing & commissioning of variable refrigerent volume / flow modulur type Heat Pump (Heating & Cooling type) outdoor unit equiped with highly efficient hermetically sealed rotary /scroll type inverter compressor(s) with 14 HP onwards having multiple compressor, special heat exchanger, y branch unit support, auto check function for connection error, Refrigerant R-410A, with Variable refrigerant temperature, auto gas charging facility for proper gas charging / as per OEM, refrigerant cooled PCB for long life of PCB/as per OEM. The EER at 100% load shall be not be less than 3.73 for 20 HP outdoor unit heat pump suitable to operate from 380-415 volt, 50 Hz,3 phase AC power supply complete with individual controller and fittings with factory wired, tested with all neccessary controls and filled with first charge of refrigerent before delivering at site , connection & termination including complete as per enclosed technical specifications. Outdoors units of the VRV system shall be compact air cooled type.The outdoor units shall be suitable to operate within an ambient temperature range of "-5 Deg C to 52 Deg C" in cooling mode; & "-15 Deg C to 15.5 Deg C" in heating mode. The VRV/VRF units must be capable so that refrigerent piping between outdoor unit & the indoor units shall be extendable up to 165 Meter with maximum level difference between outdoor unit & indoor units of 90 m and level difference between two indoor units shall be maximum up to 30 Meter . The compressor should be OEM manufactured/ as per OEM of unit. Including supply and installation of painted suitable size and strength MS frame for outdoor unit etc complete as required. 20 HP Outdoor Unit Heat Pump ( As per OEM higher capacity only up to 10% of mentioned capacity is acceptable without any extra cost ) | 8.00 | Set | 0.00 | 600000.00 | 4800000.00 | 495420.00 | 3963360.00 | 347338.00 | 2778704.00 | 367689.00 | 2941512.00 | 463395.00 | 3707160.00 | 518800.00 | 4150400.00 | 2778704.00 | Voltas Limited
3.00 | VRV/VRF OUT DOOR UNITS Supply, Installation, testing & commissioning of of variable refrigerent volume / flow modulur type Heat Pump (Heating & Cooling type) outdoor unit equiped with highly efficient hermetically sealed rotary/scroll type inverter compressor(s) , special heat exchanger, y branch unit support, auto check function for connection error, Refrigerant R-410A, with Variable refrigerant temperature, auto gas charging facility for proper gas charging/ as per OEM, refrigerant cooled PCB for long life of PCB/as per OEM.The EER at 100% load shall be not be less than 4.30 for 10 HP out door unit heat pump suitable to operate from 380-415 volt, 50 Hz,3 phase AC power supply complete with individual controller and fittings with factory wired, tested with all neccessary controls and filled with first charge of refrigerent before delivering at site , connection & termination, including complete as per enclosed technical specifications. Outdoors units of the VRV system shall be compact air cooled type.The outdoor units shall be suitable to operate within an ambient temperature range of "-5 Deg C to 52 Deg C" in cooling mode; & "-15 Deg C to 15.5 Deg C" in heating mode. The VRV/VRF units must be capable so that refrigerent piping between outdoor unit & the indoor units shall be extendable up to 165 Meter with maximum level difference between outdoor unit & indoor units of 90 m and level difference between two indoor units shall be maximum up to 30 Meter . The compressor should be OEM manufactured/as per OEM of unit. Including supply and installation of painted suitable size and strength MS frame for outdoor unit etc complete as required. 10 HP Outdoor Unit Heat Pump (As per OEM higher capacity only up to 10% of mentioned capacity is acceptable without any extra cost ) | 1.00 | Set | 100.00 | 400000.00 | 400000.00 | 307985.00 | 307985.00 | 220946.00 | 220946.00 | 206443.00 | 206443.00 | 253440.00 | 253440.00 | 282300.00 | 282300.00 | 206443.00 | UTILITY SERVICES
4.00 | VRV/VRF Floor Standing Type Indoor Unit Supply, Installation, testing & commissioning of VRV/VRF Floor Standing ductable type indoor Unit ( Heating and cooling type) of following capacity including fan with minimum airflow 6072 CFM with external static presure more than or equals to 150 Pa, microprocessor thermostat for cooling and heating , safety devices , standard accessories etc. complete as required suitable to operate from 380 V to 415 V , 50 HZ, 3 phase power supply with corded remote control, fittings etc., noise level less than or equaL to 72 DB, unit shall have control valve to control refrigerent flow rate respond to load variation of the room , have cleanable type filter fixed to an integrally moduled frame etc including supply and installation of painted suitable size and strength MS frame for indoor unit ( If required) etc complete as required as per enclosed technical specifications . 15.9 TR Ducted unit (As per OEM higher capacity only up to 10% of mentioned capacity is acceptable without any extra cost ) Note:- The indoor unit shall be installed in a big hall surrounded by toughned glass from all side . Only refrigerent pipe , electrical and communication cables shall be connected from outdoor unit . The indoor unit shall be suitable to vertically connect to accoustic insulated powder quoated rectangular / square GI duct. The Zet nozzles shall be installed in duct to throw air in diffrent direction . A picture is attached for refrence . | 8.00 | Set | 53.00 | 200000.00 | 1600000.00 | 172177.00 | 1377416.00 | 131693.00 | 1053544.00 | 149360.00 | 1194880.00 | 143918.00 | 1151344.00 | 150900.00 | 1207200.00 | 1053544.00 | Voltas Limited
5.00 | VRV/VRF Ceiling mounted Indoor Unit Supply, Installation, testing & commissioning of VRV/VRF ceiling mounted type indoor Unit ( Cooling and heating type) of following capacity including fan section with airflow range from low to high 812 to 1600 CFM ,pre filters, DX coil section, safety devices , sensors for different features ,standard accessories etc. complete as required suitable to operate from 220 V to 240 V , 50 HZ, single phase power supply with corded remote control, fittings etc. , maximum noise level should not be more than 55 DBA . The unit shall have external asthetic panel for supply and return air etc. complete as required. It includes all the MS angle/ channel/GI threaded rod etc. of suitable size and strength , fastner , nut bolts, washers etc. drilling , cutting including all civil works and making same good complete to install the unit from the ceiling. 4.0 TR Four Way Cassette unit | 2.00 | Set | 10.00 | 50000.00 | 100000.00 | 49872.00 | 99744.00 | 43032.00 | 86064.00 | 37116.00 | 74232.00 | 44985.00 | 89970.00 | 37700.00 | 75400.00 | 74232.00 | UTILITY SERVICES
6.00 | Supply, Installation, testing and commissioning of necessary fittings, Refnet-joints and headers etc. along with all the accessories complete as required . | 6.00 | Set | 11.00 | 2500.00 | 15000.00 | 6060.00 | 36360.00 | 3553.00 | 21318.00 | 3344.00 | 20064.00 | 1915.00 | 11490.00 | 3000.00 | 18000.00 | 11490.00 | AIR DESIGN SOLUTIONS
7.00 | Supply and charging /filling of Refrigerant R-410A as per length of copper pipe as per site requirement. | 140.00 | KGs | 10.00 | 800.00 | 112000.00 | 1169.00 | 163660.00 | 996.00 | 139440.00 | 1028.00 | 143920.00 | 900.00 | 126000.00 | 1010.00 | 141400.00 | 112000.00 | VOLKS ENERGIE PVT LTD
8.00 | Refrigerant Piping Supply , Installation, testing and commisioning of interconnecting following sizes of one end expanded refrigerant copper pipe work of following outer diameter ( Nominal size/as recommended by OEM, if higher size than mentioned size ( 28.6/15.9 for 20 HP and 22.2/9.5 for 10 HP) is recommended by OEM , same is acceptable ,however, payment shall be made as per mentioned size), insulated with 19/13 mm thick closed cell electrometric EPDM/nitrile rubber tubular insulation between each set of indoor & outdoor units with outer mechanical protection of alluminum cladding of minimum 1.5 mm. thick of suitable size for all exposed pipes inside and outside the room as per specification. All piping inside and outside of the room shall be propelrly fixed/supported with suitable size of clamp/ M.S. hanger complete as required at site.( Whereever pipes to be laid in cable tray same shall be paid as extra ) 28.6 mm dia and 1.00 mm thick with 19 mm thick EPDM/nitrile rubber insulation | 240.00 | Mtrs | 22.00 | 1500.00 | 360000.00 | 2220.00 | 532800.00 | 2034.00 | 488160.00 | 2248.00 | 539520.00 | 1538.00 | 369120.00 | 2230.00 | 535200.00 | 360000.00 | VOLKS ENERGIE PVT LTD
9.00 | Refrigerant Piping Supply , Installation, testing and commisioning of interconnecting following sizes of one end expanded refrigerant copper pipe work of following outer diameter ( Nominal size/as recommended by OEM, if higher size than mentioned size ( 28.6/15.9 for 20 HP and 22.2/9.5 for 10 HP) is recommended by OEM , same is acceptable ,however, payment shall be made as per mentioned size), insulated with 19/13 mm thick closed cell electrometric EPDM/nitrile rubber tubular insulation between each set of indoor & outdoor units with outer mechanical protection of alluminum cladding of minimum 1.5 mm. thick of suitable size for all exposed pipes inside and outside the room as per specification. All piping inside and outside of the room shall be propelrly fixed/supported with suitable size of clamp/ M.S. hanger complete as required at site.( Whereever pipes to be laid in cable tray same shall be paid as extra ) 22.2 mm dia and 0.8 mm thick with 19mm thick EPDM/nitrile rubber insulation | 40.00 | Mtrs | 0.00 | 1200.00 | 48000.00 | 1445.00 | 57800.00 | 1431.00 | 57240.00 | 1786.00 | 71440.00 | 1223.00 | 48920.00 | 1480.00 | 59200.00 | 48000.00 | VOLKS ENERGIE PVT LTD
10.00 | Refrigerant Piping Supply , Installation, testing and commisioning of interconnecting following sizes of one end expanded refrigerant copper pipe work of following outer diameter ( Nominal size/as recommended by OEM, if higher size than mentioned size ( 28.6/15.9 for 20 HP and 22.2/9.5 for 10 HP) is recommended by OEM , same is acceptable ,however, payment shall be made as per mentioned size), insulated with 19/13 mm thick closed cell electrometric EPDM/nitrile rubber tubular insulation between each set of indoor & outdoor units with outer mechanical protection of alluminum cladding of minimum 1.5 mm. thick of suitable size for all exposed pipes inside and outside the room as per specification. All piping inside and outside of the room shall be propelrly fixed/supported with suitable size of clamp/ M.S. hanger complete as required at site.( Whereever pipes to be laid in cable tray same shall be paid as extra ) 19.1 mm dia 0.8 mm thick with 13mm thick EPDM/nitrile rubber insulation | 20.00 | Mtrs | 1.00 | 900.00 | 18000.00 | 1132.00 | 22640.00 | 1260.00 | 25200.00 | 1349.00 | 26980.00 | 1055.00 | 21100.00 | 1260.00 | 25200.00 | 18000.00 | VOLKS ENERGIE PVT LTD
11.00 | Refrigerant Piping Supply , Installation, testing and commisioning of interconnecting following sizes of one end expanded refrigerant copper pipe work of following outer diameter ( Nominal size/as recommended by OEM, if higher size than mentioned size ( 28.6/15.9 for 20 HP and 22.2/9.5 for 10 HP) is recommended by OEM , same is acceptable ,however, payment shall be made as per mentioned size), insulated with 19/13 mm thick closed cell electrometric EPDM/nitrile rubber tubular insulation between each set of indoor & outdoor units with outer mechanical protection of alluminum cladding of minimum 1.5 mm. thick of suitable size for all exposed pipes inside and outside the room as per specification. All piping inside and outside of the room shall be propelrly fixed/supported with suitable size of clamp/ M.S. hanger complete as required at site.( Whereever pipes to be laid in cable tray same shall be paid as extra ) 15.9 mm dia and 0.8 mm thick with 13mm thick EPDM/nitrile rubber insulation | 300.00 | Mtrs | 1.00 | 600.00 | 180000.00 | 855.00 | 256500.00 | 1258.00 | 377400.00 | 1131.00 | 339300.00 | 908.00 | 272400.00 | 1180.00 | 354000.00 | 180000.00 | VOLKS ENERGIE PVT LTD
12.00 | Refrigerant Piping Supply , Installation, testing and commisioning of interconnecting following sizes of one end expanded refrigerant copper pipe work of following outer diameter ( Nominal size/as recommended by OEM, if higher size than mentioned size ( 28.6/15.9 for 20 HP and 22.2/9.5 for 10 HP) is recommended by OEM , same is acceptable ,however, payment shall be made as per mentioned size), insulated with 19/13 mm thick closed cell electrometric EPDM/nitrile rubber tubular insulation between each set of indoor & outdoor units with outer mechanical protection of alluminum cladding of minimum 1.5 mm. thick of suitable size for all exposed pipes inside and outside the room as per specification. All piping inside and outside of the room shall be propelrly fixed/supported with suitable size of clamp/ M.S. hanger complete as required at site.( Whereever pipes to be laid in cable tray same shall be paid as extra ) 12.7 mm dia and 0.8 mm thick with 13mm thick EPDM/ nitrile rubber insulation | 10.00 | Mtrs |  | 450.00 | 4500.00 | 700.00 | 7000.00 | 921.00 | 9210.00 | 838.00 | 8380.00 | 637.00 | 6370.00 | 680.00 | 6800.00 | 4500.00 | VOLKS ENERGIE PVT LTD
13.00 | Refrigerant Piping Supply , Installation, testing and commisioning of interconnecting following sizes of one end expanded refrigerant copper pipe work of following outer diameter ( Nominal size/as recommended by OEM, if higher size than mentioned size ( 28.6/15.9 for 20 HP and 22.2/9.5 for 10 HP) is recommended by OEM , same is acceptable ,however, payment shall be made as per mentioned size), insulated with 19/13 mm thick closed cell electrometric EPDM/nitrile rubber tubular insulation between each set of indoor & outdoor units with outer mechanical protection of alluminum cladding of minimum 1.5 mm. thick of suitable size for all exposed pipes inside and outside the room as per specification. All piping inside and outside of the room shall be propelrly fixed/supported with suitable size of clamp/ M.S. hanger complete as required at site.( Whereever pipes to be laid in cable tray same shall be paid as extra ) 9.5 mm dia 0.8 mm thick with 13mm thick EPDM/nitrile rubber insulation | 80.00 | Mtrs |  | 370.00 | 29600.00 | 530.00 | 42400.00 | 754.00 | 60320.00 | 685.00 | 54800.00 | 506.00 | 40480.00 | 510.00 | 40800.00 | 29600.00 | VOLKS ENERGIE PVT LTD
14.00 | Drain Piping Providing & fixing of PVC Pipe complete with fittings, supports as per specifications and duly insulated with closed cell nitrile rubber as per direction of Engineer-in-charge & specifications enclosed as reqd. 40 mm dia with 6 mm thick insulation | 20.00 | Mtrs |  | 170.00 | 3400.00 | 160.00 | 3200.00 | 179.00 | 3580.00 | 263.00 | 5260.00 | 230.00 | 4600.00 | 220.00 | 4400.00 | 3200.00 | VOLGA AIR TECHNOLOGIES INDIA
15.00 | Drain Piping Providing & fixing of PVC Pipe complete with fittings, supports as per specifications and duly insulated with closed cell nitrile rubber as per direction of Engineer-in-charge & specifications enclosed as reqd. 32 mm dia with 6 mm thick insulation | 60.00 | Mtrs |  | 120.00 | 7200.00 | 185.00 | 11100.00 | 155.00 | 9300.00 | 185.00 | 11100.00 | 75.00 | 4500.00 | 180.00 | 10800.00 | 4500.00 | AIR DESIGN SOLUTIONS
16.00 | Drain Piping Providing & fixing of PVC Pipe complete with fittings, supports as per specifications and duly insulated with closed cell nitrile rubber as per direction of Engineer-in-charge & specifications enclosed as reqd. 25 mm dia with 6 mm thick insulation | 10.00 | Mtrs |  | 100.00 | 1000.00 | 197.00 | 1970.00 | 137.00 | 1370.00 | 132.00 | 1320.00 | 50.00 | 500.00 | 160.00 | 1600.00 | 500.00 | AIR DESIGN SOLUTIONS
17.00 | Control & Transmission Wiring Supply & laying of suitable size PVC conduit and control cum transmission wiring of 2 core x 1.0 sqmm copper between indoor and out door unit. | 475.00 | Mtrs |  | 100.00 | 47500.00 | 141.00 | 66975.00 | 183.00 | 86925.00 | 174.00 | 82650.00 | 100.00 | 47500.00 | 110.00 | 52250.00 | 47500.00 | VOLKS ENERGIE PVT LTD, AIR DESIGN SOLUTIONS
18.00 | Supply & fixing / Laying of M S Slotted Angle for pipes and cables horizontaly and vertically along with MS / GI channel, angle ,threaded rod, anchor fastner ,nut, bolt, saddle, tie etc.complete as required. | 200.00 | Mtrs |  | 150.00 | 30000.00 | 554.00 | 110800.00 | 238.00 | 47600.00 | 533.00 | 106600.00 | 200.00 | 40000.00 | 130.00 | 26000.00 | 26000.00 | Mvac Engineers
19.00 | Supply , fabrication and Installation of powder coated Un-Insulated Square/ Rectangular “GSS” supply air ducting complete along with all accessories as per the approved shop drawings.The color of powder coating shall be same of color of inddor unit of VRV/VRF system. 20 Gauge | 260.00 | Sq Mtrs |  | 800.00 | 208000.00 | 1144.00 | 297440.00 | 1191.00 | 309660.00 | 1271.00 | 330460.00 | 800.00 | 208000.00 | 890.00 | 231400.00 | 208000.00 | VOLKS ENERGIE PVT LTD, AIR DESIGN SOLUTIONS
20.00 | Supply , fabrication and Installation of powder coated Un-Insulated Square/ Rectangular “GSS” supply air ducting complete along with all accessories as per the approved shop drawings.The color of powder coating shall be same of color of inddor unit of VRV/VRF system. 18 Gauge | 70.00 | Sq Mtrs |  | 1400.00 | 98000.00 | 1332.00 | 93240.00 | 1427.00 | 99890.00 | 1474.00 | 103180.00 | 1529.00 | 107030.00 | 1000.00 | 70000.00 | 70000.00 | Mvac Engineers
21.00 | Supply & fixing / Installation of acoustic lining of duct with XLPE sheet for the ducts with 25 mm thick one layer internally on duct complete as required | 330.00 | Sq Mtrs |  | 400.00 | 132000.00 | 598.00 | 197340.00 | 520.00 | 171600.00 | 1504.00 | 496320.00 | 1050.00 | 346500.00 | 450.00 | 148500.00 | 132000.00 | VOLKS ENERGIE PVT LTD
22.00 | Supply & fixing/ Installation of extruded aluminum powder coated supply air/Return air eye ball jet diffuser 315 mm in the existing duct etc. complete as required. | 50.00 | Nos |  | 2000.00 | 100000.00 | 2645.00 | 132250.00 | 3250.00 | 162500.00 | 4046.00 | 202300.00 | 3000.00 | 150000.00 | 2800.00 | 140000.00 | 100000.00 | VOLKS ENERGIE PVT LTD
23.00 | Supply & Installation charges for Canvass connection between indoor unit and supply air duct complete as required . | 8.00 | Nos |  | 500.00 | 4000.00 | 2153.00 | 17224.00 | 3188.00 | 25504.00 | 4567.00 | 36536.00 | 2000.00 | 16000.00 | 530.00 | 4240.00 | 4000.00 | VOLKS ENERGIE PVT LTD
24.00 | Supply of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of grade 1.1 KV generally confirming to IS:7098 part-I with utpo date amendments etc. as required of following size. 3.5 Core X 300 Sq mm | 500.00 | Mtrs |  | 1480.00 | 740000.00 | 1621.00 | 810500.00 | 2035.00 | 1017500.00 | 2944.00 | 1472000.00 | 1995.00 | 997500.00 | 1860.00 | 930000.00 | 740000.00 | VOLKS ENERGIE PVT LTD
25.00 | Supply of 1100V PVC insulated & Sheathed with Bare Annealed Copper Conductor multi core flexible cable as per IS:694-2010 with utpo date amendments etc. as required of following size. 4 Core X 25 Sqmm. | 880.00 | Mtrs |  | 1243.00 | 1093840.00 | 1921.00 | 1690480.00 | 1968.00 | 1731840.00 | 1667.00 | 1466960.00 | 2668.00 | 2347840.00 | 1790.00 | 1575200.00 | 1093840.00 | VOLKS ENERGIE PVT LTD
26.00 | Supply of 1100V PVC insulated & Sheathed with Bare Annealed Copper Conductor multi core flexible cable as per IS:694-2010 with utpo date amendments etc. as required of following size. 4 Core X 10 Sqmm. | 845.00 | Mtrs |  | 567.00 | 479115.00 | 772.00 | 652340.00 | 795.00 | 671775.00 | 694.00 | 586430.00 | 1070.00 | 904150.00 | 720.00 | 608400.00 | 479115.00 | VOLKS ENERGIE PVT LTD
27.00 | Supply of 1100V PVC insulated & Sheathed with Bare Annealed Copper Conductor multi core flexible cable as per IS:694-2010 with utpo date amendments etc. as required of following size. 3 Core X 6 Sqmm. | 210.00 | Mtrs |  | 300.00 | 63000.00 | 337.00 | 70770.00 | 363.00 | 76230.00 | 328.00 | 68880.00 | 530.00 | 111300.00 | 330.00 | 69300.00 | 63000.00 | VOLKS ENERGIE PVT LTD
28.00 | Design, fabrication, assembly, wiring and supply, erection, testing and commissioning of front operated cubicle type compartmentalised TTA Panel as per Form 4B, rear access free standing, dust and vermin proof (IP 55 ingress protection) main switchboards conforming to IEC-61439 suitable for use at 433 volts, 3 phase 4 wire 50 Hertz system suitable for a symmetrical fault level of 36kA (specified with the panel) at 433 volts, fabricated from 2 mm thick CRCA MS sheets with hinged, gasketted (metal based neoprene) and lockable doors having structural reinforcement with suitable angle/channel/T/flat sections including 3 mm thick gland plates on top / bottom and including lifting hooks and including earth strip of required size with 2 nos. earthing terminals and including Al Busbars of 600 Amps,36 KA /suitable higher rating and size i/c powder coated paint finish of approved shade over metal surface cleaned and treated with nine tank process complete with interconnections etc. as per specifications, as required below. The incoming and outgoing feeders shall be accommodated in a modular arrangement, detachable gland plates, adequate size cable alley, Sign writing, Painting, Earthing, Numbering, Danger plate, including PVC insulated copper FRLS wires of minimum 1.5sq.mm & 2.5sq.rnm for CT's etc., exhaust fan , door limit switch, space heater , MCBs for space heaters , thermostat , LED bulb holder with lamp with MCBs with all required materials complete as required as per specifications attached. Note:- All the accessories required to complete the system shall be of suitable rating and in required quantity. (For Complete item description, refer the detailed SOQ of NIT Pg no. 220-222) | 1.00 | Job |  | 581000.00 | 581000.00 | 1131600.00 | 1131600.00 | 895079.00 | 895079.00 | 158613.00 | 158613.00 | 1050550.00 | 1050550.00 | 1095500.00 | 1095500.00 | 158613.00 | UTILITY SERVICES
29.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories,and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Each |  | 15000.00 | 30000.00 | 15990.00 | 31980.00 | 21933.00 | 43866.00 | 12570.00 | 25140.00 | 15800.00 | 31600.00 | 22100.00 | 44200.00 | 25140.00 | UTILITY SERVICES
30.00 | Percentage above or below to carry out works amounting to Rs. 5,00,000.00 by executing any items (items shall be chosen as per site requirement) listed in CPWD schedule of rates (Electrical) DSR-2022 as per CPWD specifications as and when required as per instructions of EIC. (Note:- 1.The firm has to quote the percentage above/below of the DSR'22 in the form of multiplying factor on the quantity mentioned against this item as clarified below. For example: To quote 10% above the DSR'22 rates, the rate column should be filled as Rs.550000/-, whereas to quote 10% below the DSR'22 rates, the rate column should be filled as Rs. 450000/- Note:-2 The DSR rate shall be applicable for items which are not covered in above BOQ items 1 to 29 ) | 1.00 | Job |  | 400000.00 | 400000.00 | 500000.00 | 500000.00 | 569620.00 | 569620.00 | 545683.00 | 545683.00 | 400000.00 | 400000.00 | 650000.00 | 650000.00 | 400000.00 | VOLKS ENERGIE PVT LTD, AIR DESIGN SOLUTIONS
| Total in Figures |  |  |  |  | 11760155.00 |  | 12806874.00 |  | 11304676.00 |  | 11356331.00 |  | 12915364.00 |  | 12595190.00
Lowest Amount Quoted BY: Voltas Limited(11304676.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/AYO/ENGG-E/VRV-AC/2025-26 Tender ID: 2026_AAI_270103_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Limited (BID ID -1003619) | 11304676.00 | L1
| 2 | UTILITY SERVICES (BID ID -995140) | 11356331.00 | L2
| 3 | VOLKS ENERGIE PVT LTD (BID ID -1002530) | 11760155.00 | L3
| 4 | Mvac Engineers (BID ID -1003630) | 12595190.00 | L4
| 5 | VOLGA AIR TECHNOLOGIES INDIA (BID ID -1005148) | 12806874.00 | L5
| 6 | AIR DESIGN SOLUTIONS (BID ID -1005429) | 12915364.00 | L6