## BoQ1
Government eProcurement System Created By: Ajay Sahu Created Date/Time: 27-Apr-2026 05:10 PM Tender Title: Conversion of Old Terminal Building into Domestic Cargo Terminal at Jabalpur Airport. (Civil and Electrical Works) Tender ID: 2026_AAI_270537_1
Tender Inviting Authority: AGM (E-C), Airports Authority of India, Jabalpur Airport, Jabalpur
Name of Work : Conversion of Old Terminal Building into Domestic Cargo Terminal at Jabalpur Airport. (Civil & Electrical Works)
Tender ID - 2026_AAI_270537_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMAN TRADERS (GSTN-23ABHPN5613J1ZP) BID ID -1009464 |  | shri shiv shakti enterprises (GSTN-NA) BID ID -1006243
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Sal wood | .22 | Cum | 0.00 | 91482.00 | 20126.04 | 115000.00 | 25300.00 | 20126.04 | AMAN TRADERS
2.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part 1) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 12.60 | sqm | 0.00 | 1600.00 | 20160.00 | 2500.00 | 31500.00 | 20160.00 | AMAN TRADERS
3.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 100x63x3.2 mm | 28.00 | each | 0.00 | 80.00 | 2240.00 | 85.00 | 2380.00 | 2240.00 | AMAN TRADERS
4.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISi, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 12.00 | each | 0.00 | 1150.00 | 13800.00 | 1450.00 | 17400.00 | 13800.00 | AMAN TRADERS
5.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 14.00 | each | 0.00 | 200.00 | 2800.00 | 225.00 | 3150.00 | 2800.00 | AMAN TRADERS
6.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 200x10 mm | 12.00 | each | 0.00 | 80.00 | 960.00 | 95.00 | 1140.00 | 960.00 | AMAN TRADERS
7.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 mm | 24.00 | each | 0.00 | 50.00 | 1200.00 | 70.00 | 1680.00 | 1200.00 | AMAN TRADERS
8.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 12.00 | each | 0.00 | 50.00 | 600.00 | 90.00 | 1080.00 | 600.00 | AMAN TRADERS
9.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/ sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of engineer in charge all complete. 75mm overall thickness partition with 12.5 mm thick double skin tapered edged plain Gypsum plaster board conforming to IS: 2095: (part I): 2011 (Board with BIS certification marks) | 230.00 | Sqm | 0.00 | 1500.00 | 345000.00 | 1450.00 | 333500.00 | 333500.00 | shri shiv shakti enterprises
10.00 | Providing and fixing bright finished 100 mm mortice lock with 6 levers without pair of handles of approved quality for aluminium door, with necessary screws etc complete as per direction of Engineer- in-charge. | 7.00 | each | 0.00 | 1200.00 | 8400.00 | 950.00 | 6650.00 | 6650.00 | shri shiv shakti enterprises
11.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2140.00 | kg | 0.00 | 100.00 | 214000.00 | 100.00 | 214000.00 | 214000.00 | shri shiv shakti enterprises, AMAN TRADERS
12.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1000.00 | Kg | 0.00 | 100.00 | 100000.00 | 120.00 | 120000.00 | 100000.00 | AMAN TRADERS
13.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 140.00 | Kg | 0.00 | 500.00 | 70000.00 | 460.00 | 64400.00 | 64400.00 | shri shiv shakti enterprises
14.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 100.00 | sqm | 0.00 | 850.00 | 85000.00 | 1100.00 | 110000.00 | 85000.00 | AMAN TRADERS
15.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation and backed with a black Glass fiber acoustical fleece. | 100.00 | Sqm | 0.00 | 1639.00 | 163900.00 | 1600.00 | 160000.00 | 160000.00 | shri shiv shakti enterprises
16.00 | 12mm Cement plaster of mix: 1:6 (1 Cemenr : 6 Fine sand) | 112.00 | sqm | 0.00 | 275.00 | 30800.00 | 400.00 | 44800.00 | 30800.00 | AMAN TRADERS
17.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 112.00 | sqm | 0.00 | 80.00 | 8960.00 | 85.00 | 9520.00 | 8960.00 | AMAN TRADERS
18.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. One coat | 230.00 | sqm | 0.00 | 80.00 | 18400.00 | 95.00 | 21850.00 | 18400.00 | AMAN TRADERS
19.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. Two coats | 112.00 | sqm | 0.00 | 114.00 | 12768.00 | 75.00 | 8400.00 | 8400.00 | shri shiv shakti enterprises
20.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 106.00 | kg | 0.00 | 650.00 | 68900.00 | 625.00 | 66250.00 | 66250.00 | shri shiv shakti enterprises
21.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer in-charge. Pre-laminated particle board with decorative lamination on both sides | 6.30 | sqm | 0.00 | 920.00 | 5796.00 | 950.00 | 5985.00 | 5796.00 | AMAN TRADERS
22.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 6.30 | sqm | 0.00 | 1250.00 | 7875.00 | 1100.00 | 6930.00 | 6930.00 | shri shiv shakti enterprises
23.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 200.00 | sqm | 0.00 | 100.00 | 20000.00 | 120.00 | 24000.00 | 20000.00 | AMAN TRADERS
24.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595 mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance >= 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7) in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32 mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8 mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-in-charge. With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.60) | 100.00 | sqm | 0.00 | 1900.00 | 190000.00 | 1400.00 | 140000.00 | 140000.00 | shri shiv shakti enterprises
25.00 | Brick work with local available size bricks of class designation 3.5 in foundation and plinth in: Cement mortar 1:6 (1 Cement : 6 Coarse sand) | 7.80 | Cum | 0.00 | 5150.00 | 40170.00 | 5800.00 | 45240.00 | 40170.00 | AMAN TRADERS
26.00 | Brick work with local available size bricks of class designation 3.5 in superstructure above plinth level upto floor V level in all shapes and sizes in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 12.30 | Cum | 0.00 | 6500.00 | 79950.00 | 6000.00 | 73800.00 | 73800.00 | shri shiv shakti enterprises
27.00 | Supply of recessed mounting type LED indoor lighting fixture suitable for 600 X 600 mm grid false ceiling, made of CRCA housing, having nominal system lumen output of minimum 3600 lumens, with minimum 100 Lumens / watt efficacy, high efficiency diffuser, 5 years OEM warranty etc. and shall comply with IS-10322 requirements and technical specifications etc. as required. | 12.00 | Each | 0.00 | 1900.00 | 22800.00 | 2400.00 | 28800.00 | 22800.00 | AMAN TRADERS
28.00 | Supply of LED flood light of 100 Watt with high pressure die cast Aluminium / standard alloy housing and LEDs of approved make pasted on diecast housing and high efficiency PMMA diffuser, Driver installed on cast aluminium housing and prewired upto the terminal block. It has a system lumen luminaire efficacy of not less than 110 lm/W, CCT 5700 k, suitable for outdoor applications complete as per technical specifications. | 20.00 | Each | 0.00 | 1990.00 | 39800.00 | 2800.00 | 56000.00 | 39800.00 | AMAN TRADERS
29.00 | Supply of Surface mounting LED batten Luminaire having wattage of 1X20 Watt having minimum 100 lm/watt and CCT of 6500K +/- 10% and complete as required. | 30.00 | Each | 0.00 | 190.00 | 5700.00 | 400.00 | 12000.00 | 5700.00 | AMAN TRADERS
30.00 | Dismantling of the existing old Recess mounted LED including shifting of the old light fixture in the safe manner from site to designated dismantle store of airport as per direction of Engineer In Charge. | 41.00 | Job | 0.00 | 30.00 | 1230.00 | 25.00 | 1025.00 | 1025.00 | shri shiv shakti enterprises
31.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types existing and new, complete with all accessories directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required | 62.00 | Each | 0.00 | 150.00 | 9300.00 | 40.00 | 2480.00 | 2480.00 | shri shiv shakti enterprises
32.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | 62.00 | Point | 0.00 | 900.00 | 55800.00 | 900.00 | 55800.00 | 55800.00 | shri shiv shakti enterprises, AMAN TRADERS
33.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Mtr. | 0.00 | 200.00 | 20000.00 | 235.00 | 23500.00 | 20000.00 | AMAN TRADERS
34.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Mtr. | 0.00 | 180.00 | 18000.00 | 310.00 | 31000.00 | 18000.00 | AMAN TRADERS
35.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Mtr. | 0.00 | 250.00 | 25000.00 | 325.00 | 32500.00 | 25000.00 | AMAN TRADERS
36.00 | Supply & Drawing FR PVC insulated and PVC round sheathed 4X6 sqmm bright annealed bare copper conductor heavy duty industrial flexible cables for voltage grade 1100 volts conforming to IS:694:2010. | 200.00 | Mtr. | 0.00 | 400.00 | 80000.00 | 500.00 | 100000.00 | 80000.00 | AMAN TRADERS
37.00 | Supplying and fixing of 25 mm sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 75.00 | Mtr. | 0.00 | 50.00 | 3750.00 | 75.00 | 5625.00 | 3750.00 | AMAN TRADERS
38.00 | Supply of following size XLPE insulated PVC Sheathed, armoured Aluminium conductor cable of 1.1KV grade confirming to IS:7098 part-I with up to date amendments etc. as required. (4X10 sqmm) | 500.00 | Mtr. | 0.00 | 200.00 | 100000.00 | 215.00 | 107500.00 | 100000.00 | AMAN TRADERS
39.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 100.00 | Mtr. | 0.00 | 34.00 | 3400.00 | 100.00 | 10000.00 | 3400.00 | AMAN TRADERS
40.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 400.00 | Mtr. | 0.00 | 50.00 | 20000.00 | 100.00 | 40000.00 | 20000.00 | AMAN TRADERS
41.00 | Supplying and fixing of 8 way (4 + 24), Double door surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | 1.00 | Each | 0.00 | 8300.00 | 8300.00 | 6000.00 | 6000.00 | 6000.00 | shri shiv shakti enterprises
42.00 | Supplying and fixing 12 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | 1.00 | Each | 0.00 | 1495.00 | 1495.00 | 2500.00 | 2500.00 | 1495.00 | AMAN TRADERS
43.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. 32 A TP | 5.00 | Each | 0.00 | 850.00 | 4250.00 | 155.00 | 775.00 | 775.00 | shri shiv shakti enterprises
44.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 8.00 | Each | 0.00 | 200.00 | 1600.00 | 155.00 | 1240.00 | 1240.00 | shri shiv shakti enterprises
45.00 | Supplying and fixing following rating, double pole, (single phaseand neutral), 240 V, residual current circuit breaker (RCCB),having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. As required. 40 A | 1.00 | Each | 0.00 | 1998.00 | 1998.00 | 3100.00 | 3100.00 | 1998.00 | AMAN TRADERS
46.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 1.00 | Each | 0.00 | 2500.00 | 2500.00 | 3500.00 | 3500.00 | 2500.00 | AMAN TRADERS
47.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 0.00 | 800.00 | 3200.00 | 2900.00 | 11600.00 | 3200.00 | AMAN TRADERS
48.00 | Supplying and fixing 5/6 amps modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 20.00 | Each | 0.00 | 40.00 | 800.00 | 110.00 | 2200.00 | 800.00 | AMAN TRADERS
49.00 | Supplying and fixing 15/16 amp modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | 20.00 | Each | 0.00 | 90.00 | 1800.00 | 160.00 | 3200.00 | 1800.00 | AMAN TRADERS
50.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLS on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 40.00 | Each | 0.00 | 60.00 | 2400.00 | 550.00 | 22000.00 | 2400.00 | AMAN TRADERS
51.00 | Supply of 450 mm sweep, turbo force wall fan suitable for 230 volt, 50 Hz power supply and other accessories, etc as required. | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 6000.00 | shri shiv shakti enterprises
52.00 | Supply of Heavy Duty Metal Exhaust Fan with 300 mm sweep, 1400RPM suitable for 240V 50Hz single phase AC Supply complete with louvers of required size and complete with all the accessories as required. | 2.00 | Each | 0.00 | 3300.00 | 6600.00 | 3800.00 | 7600.00 | 6600.00 | AMAN TRADERS
53.00 | SITC of HVLS Fan of size 8 Ft. diameter, Aviation grade extruded Aluminum Alloy, 110 RPM, maximum noise level 45-50 dB, suitable for 230V 50 Hz single phase AC Supply complete with all the accessories as required. | 4.00 | Each | 0.00 | 115000.00 | 460000.00 | 131000.00 | 524000.00 | 460000.00 | AMAN TRADERS
54.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 2.00 | Each | 0.00 | 300.00 | 600.00 | 75.00 | 150.00 | 150.00 | shri shiv shakti enterprises
55.00 | Installation of wall fan including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 2.00 | Each | 0.00 | 160.00 | 320.00 | 75.00 | 150.00 | 150.00 | shri shiv shakti enterprises
56.00 | Dismantling of VRF System (Consists of 03 Nos 16 HP Outdoor unit with 13 Nos 3.2 TR Four way round flow type cassette Indoor AC Units (Make : LG) including gas pump down, copper piping, refnet Y joint, indoor to outdoor cable in safe manner including transportation and handover to AAI store. | 1.00 | Job | 0.00 | 27000.00 | 27000.00 | 68000.00 | 68000.00 | 27000.00 | AMAN TRADERS
57.00 | Dismantling of Arrival side conveyor Belt (Size 37.00 Mtrs.): Endless slat conveyor belt complete with rubber salt, chain & chain track, cater pillar unit, polyurethane tyred wheel, drive unit comprising of motor, gear box, coupling & chain sprocket arrangment, frame consisting of side guards made of stainless steel in passenger area & with MS steel in the bagage loading area having 01 no. control panel & 02 nos. electrically operated rolling shutter etc. & cabling in safe manner including transportation and handover to AAI store. | 1.00 | Job | 0.00 | 80000.00 | 80000.00 | 20000.00 | 20000.00 | 20000.00 | shri shiv shakti enterprises
58.00 | Dismantling of Departure side conveyor Belt (Size: Conveyor - 8.7 Mtrs. & Take Away Conveyor - 4.2 Mtrs.) Slider bed type conveyor belt complete with PVC belt as bed, drive unit, drive and end pulleys, tail and snubpully side guard panel with stainless steel near check in counters and mild steel finish in other areas with 01 no. control panel & 01 no. electrically operated rolling shutter and all other accessories etc. & cabling in safe manner including transportation and handover to AAI store. | 1.00 | Job | 0.00 | 36000.00 | 36000.00 | 20000.00 | 20000.00 | 20000.00 | shri shiv shakti enterprises
59.00 | Dismantling of 03 Nos DORMAKABA Make, Model No:- ES 200 Easy Automatic sliding doors of Terminal Building (Security Hold Area & Arrival Hall) Jabalpur Airport & cabling in safe manner including transportation and handover to AAI store. | 3.00 | Job | 0.00 | 4800.00 | 14400.00 | 20000.00 | 60000.00 | 14400.00 | AMAN TRADERS
60.00 | Dismantling of 25mm to 100 mm dia hydrant and sprinkler MS pipe along with cutting in pieces and welding to make exiting system serviceable including transportation from site to AAI store etc complete as required. . | 100.00 | Meter | 0.00 | 299.00 | 29900.00 | 50.00 | 5000.00 | 5000.00 | shri shiv shakti enterprises
61.00 | Dismantling of 150 mm dia MS pipe along with cutting in pieces including transportation from site to AAI store house etc complete as required. | 20.00 | Meter | 0.00 | 300.00 | 6000.00 | 50.00 | 1000.00 | 1000.00 | shri shiv shakti enterprises
62.00 | Dismantling of all type of existing DB in safe manner along with shifting , reinstallation , testing and commissioning of existing DB up to maximum 5meter range including supply and drawing of extended wiring complete as per site rquirement. 4 way (4 + 12), 3 phase Double door horizontal DB | 1.00 | Job | 0.00 | 1500.00 | 1500.00 | 150.00 | 150.00 | 150.00 | shri shiv shakti enterprises
63.00 | Dismantling of all type of existing DB in safe manner along with shifting , reinstallation , testing and commissioning of existing DB up to maximum 5meter range including supply and drawing of extended wiring complete as per site rquirement. 8 way (4 + 24), 3 phase Double door horizontal DB | 1.00 | Job | 0.00 | 1800.00 | 1800.00 | 150.00 | 150.00 | 150.00 | shri shiv shakti enterprises
64.00 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. Group C | 10.00 | Each | 0.00 | 800.00 | 8000.00 | 650.00 | 6500.00 | 6500.00 | shri shiv shakti enterprises
| Total in Figures |  |  |  |  | 2647048.04 |  | 2820000.00
Lowest Amount Quoted BY: AMAN TRADERS(2647048.04)

## BOQ Summary
BOQ Summary Details Tender Title: Conversion of Old Terminal Building into Domestic Cargo Terminal at Jabalpur Airport. (Civil and Electrical Works) Tender ID: 2026_AAI_270537_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMAN TRADERS (BID ID -1009464) | 2647048.04 | L1
| 2 | shri shiv shakti enterprises (BID ID -1006243) | 2820000.00 | L2