## BoQ1
Government eProcurement System Created By: Harpal Singh Daral Created Date/Time: 15-Apr-2026 04:14 PM Tender Title: Supply, Installation, Testing and Commissioning (SITC) of Additional CCTV Cameras, Integration with existing CCTV system and its associated works at Srinagar Airport Tender ID: 2026_AAI_271170_1
Tender Inviting Authority: SM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Name of Work : Supply, Installation, Testing and Commissioning (SITC) of Additional CCTV Cameras, Integration with existing CCTV system and its associated works at Srinagar Airport
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. (GSTN-07AABCI1558D1ZW) BID ID -998236 |  | TNS Networking Solutions Pvt Ltd (GSTN-07AACCT6872E1Z7) BID ID -1007223 |  | Comtech Telesolutions Private Limited (GSTN-NA) BID ID -1006739 |  | Walsons Services Private Limited (GSTN-NA) BID ID -1000252
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 2 Megapixel Outdoor/ Indoor Colour Dome PTZ Camera complete with camera mount and all accessories outdoor weather-proof housing (IP 66) etc. as per specifications. The camera shall be STQC certified. | 12.00 | Nos |  | 75455.00 | 905460.00 | 75000.00 | 900000.00 | 120000.00 | 1440000.00 | 65000.00 | 780000.00 | 780000.00 | Walsons Services Private Limited
2.00 | SITC of 2 Megapixel Varifocal Outdoor Fixed IR Colour Box Camera complete with camera mount and all accessories Weather-proof housing (IP66) etc. as per specifica tions.The camera shall be STQC certified. | 4.00 | Nos |  | 30566.00 | 122264.00 | 26000.00 | 104000.00 | 65000.00 | 260000.00 | 26000.00 | 104000.00 | 104000.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
3.00 | SITC of 2 Megapixel Varifocal Indoor Fixed Colour Dome Camera complete with camera mount and all accessories indoor housing (IP54) etc. as per specificaions. The camera shall be STQC certified. | 44.00 | Nos |  | 18636.00 | 819984.00 | 15000.00 | 660000.00 | 27500.00 | 1210000.00 | 14500.00 | 638000.00 | 638000.00 | Walsons Services Private Limited
4.00 | SITC of 5 Megapixel Varifocal Driver Image Capturing Camera out door bullet camera complete with camera mount and all accessories outdoor weather-proof housing (IP 66) etc. as per specifications. The camera shall be STQC certified. | 2.00 | Nos |  | 37657.00 | 75314.00 | 40820.00 | 81640.00 | 95000.00 | 190000.00 | 40820.00 | 81640.00 | 75314.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.00 | SITC of Server License for Intelligent Video Management Software complete as per specifications. | 2.00 | Nos |  | 28409.00 | 56818.00 | 136500.00 | 273000.00 | 450000.00 | 900000.00 | 150500.00 | 301000.00 | 56818.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
6.00 | SITC of Driver Image capturing camera Licence as per specifications. | 2.00 | Nos |  | 51136.00 | 102272.00 | 95875.00 | 191750.00 | 325000.00 | 650000.00 | 95875.00 | 191750.00 | 102272.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
7.00 | SITC of VMS - Camera connection License and failover connection as per specifications. | 60.00 | Nos |  | 6818.00 | 409080.00 | 10140.00 | 608400.00 | 16800.00 | 1008000.00 | 10140.00 | 608400.00 | 409080.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
8.00 | SITC of Video Analytics Software IP Fixed Camera connection License to meet the technical and functional requirement as per tender at site. | 48.00 | Nos |  | 13636.00 | 654528.00 | 30000.00 | 1440000.00 | 19400.00 | 931200.00 | 25740.00 | 1235520.00 | 654528.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
9.00 | SITC of VMS Client/Workstation Viewing License . | 1.00 | Nos |  | 56818.00 | 56818.00 | 260000.00 | 260000.00 | 325000.00 | 325000.00 | 260000.00 | 260000.00 | 56818.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
10.00 | SITC of VMS Server for live monitoring, playback, camera management at centrnal monitoring station complete with all accessories as per specifications. | 2.00 | Nos |  | 625000.00 | 1250000.00 | 1348659.00 | 2697318.00 | 1480000.00 | 2960000.00 | 750000.00 | 1500000.00 | 1250000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
11.00 | SITC of Workstation (Client PC type A) including Operating system and Anti-virus with Keyboard Optical Scroll Mouse and all accessories etc. complete as per specifications. | 1.00 | Set |  | 198864.00 | 198864.00 | 156000.00 | 156000.00 | 190000.00 | 190000.00 | 125000.00 | 125000.00 | 125000.00 | Walsons Services Private Limited
12.00 | SITC of Network Attached Storage (NAS/SAN ) 100 TB usable capacity on SAS/SATA Disk (in RAID 6 configuration) with two controllers complete with all accessories etc. as per specifications. | 1.00 | Nos |  | 1420455.00 | 1420455.00 | 1105000.00 | 1105000.00 | 1434000.00 | 1434000.00 | 920000.00 | 920000.00 | 920000.00 | Walsons Services Private Limited
13.00 | SITC of L2 Switch Industrial Grade PoE Giga Managed Ethernet Switch 16 Ports 10/100/1000 Copper Ports and 2 * l0G SFP ports fully populated with required modules) as per specifications. | 4.00 | Nos |  | 68977.00 | 275908.00 | 117000.00 | 468000.00 | 120000.00 | 480000.00 | 110000.00 | 440000.00 | 275908.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
14.00 | SITC of 3X2 55'' Thin bezel LED Video wall Displays complete Video Wall Controller and frame wall/ceiling/floor mounting arrangement as per specifications. | 1.00 | Set |  | 1022727.00 | 1022727.00 | 455000.00 | 455000.00 | 650000.00 | 650000.00 | 480000.00 | 480000.00 | 455000.00 | TNS Networking Solutions Pvt Ltd
15.00 | Supply and laying of Optic Fibre Communication Outdoor cable Corrugated Steel tape Armored, Loose- tubeGel-filled (12 core SMF OS2 9/125 µm 1000 Mbps) in existing pipe on surface/ recess/ concealed with connectors/ adaptors termination etc. required as per specifications. | 2000.00 | Mtr |  | 159.00 | 318000.00 | 130.00 | 260000.00 | 134.00 | 268000.00 | 130.00 | 260000.00 | 260000.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
16.00 | Supply and laying of CAT-6 data cable in existing conduit/pipe on surface/recess/concealed with connectors termination etc. required as per specifications. | 5000.00 | Mtr |  | 85.00 | 425000.00 | 39.00 | 195000.00 | 145.00 | 725000.00 | 39.00 | 195000.00 | 195000.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
17.00 | Supply and installation of RJ-45, IO Faceplate with Gang box/ Back box as per site requirement and specifications. | 60.00 | Nos |  | 523.00 | 31380.00 | 260.00 | 15600.00 | 900.00 | 54000.00 | 260.00 | 15600.00 | 15600.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
18.00 | SITC of CAT-6A Patch Cord 1 Meter LSZH User Side as per specifications. | 60.00 | Nos |  | 307.00 | 18420.00 | 260.00 | 15600.00 | 800.00 | 48000.00 | 260.00 | 15600.00 | 15600.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
19.00 | Supply and installation of CAT-6A Patch Panel lU 24 Port Patch Panel Loaded as per specifications. | 2.00 | Nos |  | 8523.00 | 17046.00 | 5850.00 | 11700.00 | 9200.00 | 18400.00 | 5850.00 | 11700.00 | 11700.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
20.00 | SITC of 24 port Light guide Interconnect Unit (LIU) fully populated with modules/ adapters as per site requirement and specifications. | 4.00 | Nos |  | 16477.00 | 65908.00 | 10400.00 | 41600.00 | 18234.00 | 72936.00 | 10400.00 | 41600.00 | 41600.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
21.00 | SITC of LC-LC Single Mode Duplex Patch Cords- 3 Meters. as per site requirement and specifications. | 20.00 | Nos |  | 1364.00 | 27280.00 | 975.00 | 19500.00 | 1650.00 | 33000.00 | 975.00 | 19500.00 | 19500.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
22.00 | Supply of IP68 Rated OFC Dome Enclosure for jointing of fiber cables etc. | 10.00 | Nos |  | 5682.00 | 56820.00 | 4940.00 | 49400.00 | 6000.00 | 60000.00 | 4940.00 | 49400.00 | 49400.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
23.00 | Supply and laying of 32 mm dia HDPE pipe (PN-6) as per specifications. | 3000.00 | Mtr |  | 85.58 | 256740.00 | 84.50 | 253500.00 | 156.00 | 468000.00 | 84.50 | 253500.00 | 253500.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
24.00 | Supply and installation of Indoor 9U Networking Rack wall mount as per tender specification with all accessories required on site | 2.00 | Nos |  | 9091.00 | 18182.00 | 7150.00 | 14300.00 | 10400.00 | 20800.00 | 7150.00 | 14300.00 | 14300.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
25.00 | Supply and laying of 3 core 2.5 sq mm multi-strand armoured insulated PVC sheathed copper conductor power cable in existing conduit/pipe on surface/recess/ concealed including all accessories termination etc. as per specifications. | 200.00 | Mtr |  | 200.00 | 40000.00 | 175.50 | 35100.00 | 236.00 | 47200.00 | 175.50 | 35100.00 | 35100.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
26.00 | Excavation in soft soil (75 cm below ground level) complete as required. | 1500.00 | Mtr |  | 341.00 | 511500.00 | 195.00 | 292500.00 | 400.00 | 600000.00 | 195.00 | 292500.00 | 292500.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
27.00 | Excavation in hard soil (40 cm below ground level) & Road cutting complete as required | 300.00 | Mtr |  | 568.00 | 170400.00 | 286.00 | 85800.00 | 670.00 | 201000.00 | 286.00 | 85800.00 | 85800.00 | Walsons Services Private Limited, TNS Networking Solutions Pvt Ltd
28.00 | Integration with existing CCTV system installed at Srinagar Airport, Testing, Commissioning of the complete system with required accessories of all CCTV equipment including networking cabling etc. configuration of individual equipment as per secifications complete as required including providing of training and documentation at the site. | 1.00 | Job |  | 284091.00 | 284091.00 | 325000.00 | 325000.00 | 234000.00 | 234000.00 | 305089.00 | 305089.00 | 234000.00 | Comtech Telesolutions Private Limited
| Total in Figures |  |  |  |  | 9611259.00 |  | 11014708.00 |  | 15478536.00 |  | 9259999.00
Lowest Amount Quoted BY: Walsons Services Private Limited(9259999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning (SITC) of Additional CCTV Cameras, Integration with existing CCTV system and its associated works at Srinagar Airport Tender ID: 2026_AAI_271170_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Walsons Services Private Limited (BID ID -1000252) | 9259999.00 | L1
| 2 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. (BID ID -998236) | 9611259.00 | L2
| 3 | TNS Networking Solutions Pvt Ltd (BID ID -1007223) | 11014708.00 | L3
| 4 | Comtech Telesolutions Private Limited (BID ID -1006739) | 15478536.00 | L4