## BoQ1
Government eProcurement System Created By: Disha Bhatt Created Date/Time: 14-May-2026 01:02 PM Tender Title: Replacement of outlived lights fitting Approach roads , Parking Area and Terminal building at S. V. Airport Raipur. Tender ID: 2026_AAI_272140_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Replacement of outlived lights fitting Approach roads , Parking Area & Terminal building at S. V. Airport, Raipur.
Contract No : 2026_AAI_272140_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S R.K. LALA (GSTN-22ABLFM0669B1ZK) BID ID -1000337 |  | POWER AUTOMATION AND CONTROLS (GSTN-27ABMPA1796L1Z9) BID ID -1008577 |  | M/s. CHANDRA REDDY ELECTRICALS (GSTN-37ALMPK9299A1ZM) BID ID -1009029 |  | DEEPAK ELECTRICALS (GSTN-22AYUPS3846A1ZA) BID ID -1009283 |  | SYNERGY LIGHTING SOLUTIONS (GSTN-NA) BID ID -1008112 |  | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD. (GSTN-NA) BID ID -1007996 |  | Variant Infratech Private Limited (GSTN-NA) BID ID -1009241 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -1009302 |  | SAURABH ENTERPRISES (GSTN-NA) BID ID -1008895
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | H1 Amount | H1 Vendor
1.00 | SH:- I Only Supply Item
2.00 | Supply of following sizes Aluminium power cable, multistranded conductor XLPE insulated, Armoured PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required.
3.00 | 3.5 Cx150 sqmm | 455.00 | Meter | 1717.00 | 1152.00 | 524160.00 | 867.58 | 394748.90 | 990.00 | 450450.00 | 1500.00 | 682500.00 | 1268.00 | 576940.00 | 1121.00 | 510055.00 | 932.80 | 424424.00 | 845.00 | 384475.00 | 260.00 | 118300.00 | 682500.00 | DEEPAK ELECTRICALS
4.00 | 4C x16sqmm | 1540.00 | Meter | 341.00 | 210.00 | 323400.00 | 169.90 | 261646.00 | 175.00 | 269500.00 | 300.00 | 462000.00 | 265.00 | 408100.00 | 159.30 | 245322.00 | 127.60 | 196504.00 | 176.00 | 271040.00 | 1250.00 | 1925000.00 | 1925000.00 | SAURABH ENTERPRISES
5.00 | Supply of 4c X 4sqmm sizes Copper power cable, multistranded conductor XLPE insulated, Armoured PVC tape inner sheathed Cable for working voltage 1.1 KV grade & as per IS: 7098 (Part- I ) 1988 with up to date ammendments, complete etc as required. | 350.00 | Meter | 506.00 | 402.00 | 140700.00 | 285.22 | 99827.00 | 330.00 | 115500.00 | 550.00 | 192500.00 | 394.00 | 137900.00 | 318.60 | 111510.00 | 245.30 | 85855.00 | 264.00 | 92400.00 | 400.00 | 140000.00 | 192500.00 | DEEPAK ELECTRICALS
6.00 | Supply of 3C X 1.5Sqmm of PVC insulated and PVC Round Sheathed, Multicore Annealed Bare Copper Conductor (flexible) industrial cable for Voltage Grade 1100 Volt, Conforming to IS 694 : 2010 with upto date amendments. as required. | 2876.00 | Meter | 92.00 | 95.00 | 273220.00 | 75.84 | 218115.84 | 85.00 | 244460.00 | 200.00 | 575200.00 | 119.00 | 342244.00 | 70.80 | 203620.80 | 69.30 | 199306.80 | 86.00 | 247336.00 | 294.00 | 845544.00 | 845544.00 | SAURABH ENTERPRISES
7.00 | OUTDOOR LED Lights
8.00 | Supply of 110-120 Watt LED street light fitting housing made from high pressure die cast Aluminium / standard alloy powder coated Heat resistant difuser with IP 66 protection. It should have a system lumen output not less than 13200 lumens with luminaire efficacy of not less than 110 lm/W, CCT from 4000 to 5700K, IP66 CRI>70,IK-7, THD less than 10%. The driver used shall be of OEM make(same as that of fitting) & min 4 KV inbuilt surge protection and external 10 KV, SPD protection suitable for outdoor applications, suitable for outdoor applications complete as per technical specifications. (Similar to Philips CAT No BRP503 LED 168 CW R3C PSU S1 SPD or equivalent). (Make :-As per AAI preferred make list) | 216.00 | Each | 7904.00 | 5037.00 | 1087992.00 | 3977.00 | 859032.00 | 4175.00 | 901800.00 | 3900.00 | 842400.00 | 4500.00 | 972000.00 | 5947.20 | 1284595.20 | 3503.50 | 756756.00 | 3250.00 | 702000.00 | 3500.00 | 756000.00 | 1284595.20 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
9.00 | Supply of 200 watt Area LED flood light housing made from high pressure die cast Aluminium / standard alloy powder coated Heat resistant toughned glass difuser with IP 66 protection. It should have a system lumen output not less than 22000 lumens with luminaire efficacy of not less than 110 lm/W, CCT from4000 to 5700K, IP66 CRI>70,IK-7, THD less than 10%. The driver used shall be of OEM make(same as that of fitting) & and prewired upto the terminal blockwith min 4 KV inbuilt surge protection and external 10 KV, SPD protection suitable for outdoor applications complete as per technical specifications. (Similar to Philips CAT No BVP283 LED240 CW FG SY5NB 200W PSU SPD or equivalent) | 223.00 | Each | 10976.00 | 8694.00 | 1938762.00 | 5778.30 | 1288560.90 | 7500.00 | 1672500.00 | 7300.00 | 1627900.00 | 7000.00 | 1561000.00 | 5575.50 | 1243336.50 | 5710.17 | 1273367.91 | 5625.00 | 1254375.00 | 6500.00 | 1449500.00 | 1938762.00 | M/S R.K. LALA
10.00 | Supply of 100W LED Canopy Light housing made from high pressure die cast Aluminium / standard alloy powder coated Heat resistant toughned glass difuser with IP 66 protection. It should have a system lumen output not less than 22000 lumens with luminaire efficacy of not less than 110 lm/W, CCT from4000 to 5700K, IP66 CRI>70,IK-8, THD less than 10%. The driver used shall be of OEM make(same as that of fitting) & min 4 KV inbuilt surge protection and external 10 KV, SPD protection suitable for outdoor applications , easily install through bracket at ceiling etc complete as per technical specifications as required.(Similar to Philips CAT No BY286V LED190S CW SK PSU FG WH or equivalent) | 25.00 | Each | 7158.00 | 4554.00 | 113850.00 | 3646.50 | 91162.50 | 4500.00 | 112500.00 | 10000.00 | 250000.00 | 3750.00 | 93750.00 | 5203.80 | 130095.00 | 4729.19 | 118229.75 | 5850.00 | 146250.00 | 4200.00 | 105000.00 | 250000.00 | DEEPAK ELECTRICALS
11.00 | Supply of 50W LED W/W outdoor type flood Light, housing made from high pressure die cast Aluminium / standard alloy powder coated Heat resistant toughned glass difuser with IP 66 protection. It should have a system lumen output not less than 22000 lumens with luminaire efficacy of not less than 110 lm/W, CCT from 2700 K to 3000K, IP66 CRI>70,IK-8, THD less than 10%. The driver used shall be of OEM make(same as that of fitting) & and prewired upto the terminal blockwith min 4 KV inbuilt surge protection and external 10 KV, SPD protection suitable, CCT from 2700K to 3000K, suitable for outdoor applications complete as per technical specifications. | 72.00 | Each | 2991.00 | 2208.00 | 158976.00 | 1739.00 | 125208.00 | 2600.00 | 187200.00 | 3000.00 | 216000.00 | 2050.00 | 147600.00 | 1833.72 | 132027.84 | 1661.20 | 119606.40 | 1563.00 | 112536.00 | 2200.00 | 158400.00 | 216000.00 | DEEPAK ELECTRICALS
12.00 | Supply of 200W highbay outdoor lighthousing made from high pressure die cast Aluminium / standard alloy powder coated Heat resistant difuser with IP 66 protection. It should have a system lumen output not less than 22000 lumens with luminaire efficacy of not less than 110 lm/W, CCT from4000 to 5700K, IP66 CRI>70,IK-8, THD less than 10%. The driver used shall be of OEM make(same as that of fitting) & and prewired upto the terminal blockwith min 4 KV inbuilt surge protection and external 10 KV, SPD protection suitablesuitable for outdoor applications complete as per technical specifications. (Similar to Philips CAT No BY712P LED250S 5700 WB H PSU or equivalent) | 60.00 | Each | 11966.00 | 7590.00 | 455400.00 | 5454.00 | 327240.00 | 8700.00 | 522000.00 | 11000.00 | 660000.00 | 5700.00 | 342000.00 | 6690.60 | 401436.00 | 5651.95 | 339117.00 | 5463.00 | 327780.00 | 7300.00 | 438000.00 | 660000.00 | DEEPAK ELECTRICALS
13.00 | POLES & BRACKETS
14.00 | Supply of 7 mtr hight poles, GI, ERW PU painted decorative double arms pole along with base plate of size 350mm X 350mm X 25 mm thick welded to bottom of the pole along with 4 Nos. foundation bolts including template etc.along with inbuilt junction box duly equipped with bakelite plate , din rail for mounting 6A SP MCB 2Nos. & 63A 4 way heavy duty TPN connector for loop in & loop out connector with as per technical specification & drawing as required. | 12.00 | Each | 31697.00 | 53406.00 | 640872.00 | 24200.00 | 290400.00 | 30000.00 | 360000.00 | 22000.00 | 264000.00 | 61000.00 | 732000.00 | 10030.00 | 120360.00 | 26515.57 | 318186.84 | 29843.00 | 358116.00 | 51000.00 | 612000.00 | 732000.00 | SYNERGY LIGHTING SOLUTIONS
15.00 | Supply & fixing of street light decorative single arm bracket suitable for pole height of 9 mtr. & Size of pole top dia 143.2mm,arm length approx 1.5 mtr. upto (One sides) on existing pole for mounting of fitting street light fitting sutable for item no.4 etc. as per site requirement | 99.00 | Each | 1818.00 | 4830.00 | 478170.00 | 1900.00 | 188100.00 | 4000.00 | 396000.00 | 3000.00 | 297000.00 | 3500.00 | 346500.00 | 14750.00 | 1460250.00 | 2263.80 | 224116.20 | 3232.00 | 319968.00 | 2500.00 | 247500.00 | 1460250.00 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
16.00 | SH:-II SITC
17.00 | PTTA TYPE PANEL Design, manufacture, supply, installation, testing and commissioning of outdoor compartmentalized type Panel 35 kA short circuit breaking capacity for perimeter lighting, having panel of suitable size, bus bars with SMC/DMC supports, made of 14 SWG CRCA sheet steel, totally enclosed, IP-55, free standing, floor / wall mounting, powder coated painting, suitable to the existing space, operation on 3 phase and neutral, 415V, 50 Hz AC system with bus bars, G.I flat Earth strip on both side , Removable gland plates at bottom with suitable size of predrilled holes for cables, cable interconnections, wiring, earthing, rotary handles & spreader links to all MCCBs, powder coated painting etc. with following items and installation on suitable channels /elevated making concrete foundation as per site requirement/ directions of E-I-C. | 1.00 | Job | 408638.00 | 563040.00 | 563040.00 | 507930.00 | 507930.00 | 913920.00 | 913920.00 | 150000.00 | 150000.00 | 150000.00 | 150000.00 | 295000.00 | 295000.00 | 275000.00 | 275000.00 | 1091258.00 | 1091258.00 | 28543.00 | 28543.00 | 1091258.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | INCOMER
19.00 | 1no. MCCB of 250 Amps, 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. - 01 Nos.
20.00 | Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 01 Sets
21.00 | Digital Mulit functional meter-1nos. suitable range for 3 phase, 4 wire with LED display and along with MCB of suitable ratings- 01 Sets, 3no. Of cast resin CT of class 1.0, 15 VA suitable range CTs -01 Sets. Energy meter 1Nos..
22.00 | BUSBAR
23.00 | One set of 400 Amp TPN aluminium bus bars of 35 KA capacity.
24.00 | OUTGOING
25.00 | 125 Amps, MCCB 35 kA, of 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. 2Nos.
26.00 | 100 Amps, MCCB 35 kA, of 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. 2Nos. 100 A 4 pole industrial type havey duty contactor-2Nos. 63A Stud 4 pole connector.4Nos. Digital timer switch with remote & local toggle switch with ON/OFF operating push button.2Nos.
27.00 | 63 Amps, MCCB 35 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc.-4Nos.
28.00 | MCB of 63 Amps, 10 kA, 4 pole, 4Nos.
29.00 | Indication Lamps, LED type, R.Y.B and breaker 'ON', 'OFF', 'TRIP' lamps- 06 Set
30.00 | Supply, Installation,Testing & Commissioning of outdoor type cubical panel with suitable slope on top, double door front opening made out of 14 SWG CRCA sheet steel, Gland plate shall be 3mm thick, totally enclosed with IP 55 protection, dust and vermin proof, compartmentalized with powder quoted painting. Making suitable cement concrete foundation made up of 1 : 2: 4 (1 Cement: 2 Coarse Sand : 4 Grade Stone agreegate 20 mm nominal size) including wiring, inter connections, earthing etc. as required and shall consist of the following switchgear and accessories:- | 1.00 | Job | 374403.00 | 536820.00 | 536820.00 | 337834.00 | 337834.00 | 677130.00 | 677130.00 | 150000.00 | 150000.00 | 100000.00 | 100000.00 | 177000.00 | 177000.00 | 247500.00 | 247500.00 | 807450.00 | 807450.00 | 25000.00 | 25000.00 | 807450.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Incomer: 1 Nos. 250 A, 25 kA, FP, MCCB, Ics=100% Icu, Thermal Magnetic release variable range, with extended rotary handle and all accessories including providing spreader terminals and auxiliary contacts.
32.00 | Instruments: 1 sets of digital multifunction meter for 3 phase, 4 wire operation alongwith 3 Nos. suitable range CTs and control MCB's. Energy Meter-1Nos.
33.00 | 3 Ph phase indicating lamps of LED type for RYB and breaker 'ON', 'OFF' indication with control MCB for individual lamp.
34.00 | Bus Bar: 1 set of 250 Amps FP bus bar of high conductivity electrolytic quality aluminium alloy.
35.00 | Outgoings:
36.00 | 6Nos. 63Amps MCCB 25 kA, FP
37.00 | 100 Amps, MCCB 25 kA, 4 pole, microprocessor based release with Rotary operating mechanism, shunt trip, auxiliary contact etc. 2Nos. 100 A 4 pole industrial type havey duty contactor 2Nos. 63A Stud 4 pole connector.-4Nos. Digital timer switch with remote & local toggle switch with ON/OFF operating push button.-2Nos.
38.00 | SITC of Cable Junction Box of size ( L x B x H 225 x 295 x 122), IP 66 with integrated membranes / metric knockouts for cable entry with fixed 4 pole 63A industrial nut bolt type stud connector for upto 35 sqmm cable connection etc. i/c providing & fabrication of stand made up of MS L - angle size of 40mm X 40mm X5mm and 1000mm long ( Height of the stand ) with 5mm thick MS sheet welded on top of the angle, 60 digrees tilt with one coat redoxide primer and two coat black colour enamel paint sutable to install the junction box, on stand etc. the stand shall be installed on sutable size PCC foundation complete as per site requirement. | 142.00 | Job | 6761.00 | 3450.00 | 489900.00 | 2339.00 | 332138.00 | 4200.00 | 596400.00 | 500.00 | 71000.00 | 1200.00 | 170400.00 | 6490.00 | 921580.00 | 7150.00 | 1015300.00 | 4870.00 | 691540.00 | 4000.00 | 568000.00 | 1015300.00 | Variant Infratech Private Limited
39.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205, Part 24 complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. 63 mm OD dia ( inner dia as per BIS) | 882.00 | Meter | 245.00 | 283.00 | 249606.00 | 157.00 | 138474.00 | 200.00 | 176400.00 | 200.00 | 176400.00 | 150.00 | 132300.00 | 76.70 | 67649.40 | 52.80 | 46569.60 | 293.00 | 258426.00 | 130.00 | 114660.00 | 258426.00 | ABHISHEK INTEGRATIONS LIMITED
40.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required..(Make :-As per AAI preferred make list)
41.00 | 3.5 Cx150 sqmm | 2.00 | Set | 676.00 | 690.00 | 1380.00 | 1270.50 | 2541.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 150.00 | 300.00 | 1770.00 | 3540.00 | 1100.00 | 2200.00 | 1034.00 | 2068.00 | 1000.00 | 2000.00 | 3540.00 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
42.00 | 3.5 Cx 35 sqmm | 110.00 | Set | 459.00 | 248.00 | 27280.00 | 266.70 | 29337.00 | 400.00 | 44000.00 | 1200.00 | 132000.00 | 100.00 | 11000.00 | 885.00 | 97350.00 | 550.00 | 60500.00 | 700.00 | 77000.00 | 500.00 | 55000.00 | 132000.00 | DEEPAK ELECTRICALS
43.00 | 4C x16sqmm | 88.00 | Set | 310.00 | 207.00 | 18216.00 | 156.00 | 13728.00 | 400.00 | 35200.00 | 840.00 | 73920.00 | 80.00 | 7040.00 | 5203.80 | 457934.40 | 550.00 | 48400.00 | 247.00 | 21736.00 | 500.00 | 44000.00 | 457934.40 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
44.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Set | 6490.00 | 6900.00 | 69000.00 | 6200.00 | 62000.00 | 7500.00 | 75000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1833.72 | 18337.20 | 2750.00 | 27500.00 | 8165.00 | 81650.00 | 5000.00 | 50000.00 | 81650.00 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. wire in 15mm dia G.I.pipe from electrode including connection with G.I. thimble excavation and re-filling as required. | 26.00 | Meter | 265.00 | 207.00 | 5382.00 | 310.00 | 8060.00 | 150.00 | 3900.00 | 20.00 | 520.00 | 100.00 | 2600.00 | 6690.60 | 173955.60 | 605.00 | 15730.00 | 196.00 | 5096.00 | 150.00 | 3900.00 | 173955.60 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
46.00 | Providing and fixing 6 SWG GI wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 1467.00 | Meter | 71.00 | 35.00 | 51345.00 | 18.00 | 26406.00 | 30.00 | 44010.00 | 20.00 | 29340.00 | 20.00 | 29340.00 | 11.80 | 17310.60 | 11.00 | 16137.00 | 25.00 | 36675.00 | 30.00 | 44010.00 | 51345.00 | M/S R.K. LALA
47.00 | Providing, laying and fixing 300mm dia RCC pipe NP2 class in ground complete with RCC collars, jointing with cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc as required. | 85.00 | Meter | 1096.00 | 1380.00 | 117300.00 | 620.00 | 52700.00 | 1650.00 | 140250.00 | 1000.00 | 85000.00 | 1000.00 | 85000.00 | 1600.00 | 136000.00 | 935.00 | 79475.00 | 1100.00 | 93500.00 | 2000.00 | 170000.00 | 170000.00 | SAURABH ENTERPRISES
48.00 | Constructing masonry Chamber for NP2 Pipe size 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) and 100 mm RCC top slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, 150mm foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 7.00 | Each | 9595.00 | 12400.00 | 86800.00 | 10500.00 | 73500.00 | 7000.00 | 49000.00 | 1500.00 | 10500.00 | 2000.00 | 14000.00 | 7080.00 | 49560.00 | 4950.00 | 34650.00 | 9350.00 | 65450.00 | 15000.00 | 105000.00 | 105000.00 | SAURABH ENTERPRISES
49.00 | Providing, laying and fixing following dia HDPE Pipe, PE-63, PN-6 as per IS:4984 in ground complete with HDPE Pipe fittings including trenching (40 cm deep), surface cutting by kerf / saw cutting machine and re-filling of PCC( 1:2:4 Cement concreat ) road Crossing, hard surface parking area etc. as required
50.00 | 110 mm nominal dia | 204.00 | Meter | 455.00 | 1015.00 | 207060.00 | 346.00 | 70584.00 | 1100.00 | 224400.00 | 500.00 | 102000.00 | 300.00 | 61200.00 | 483.80 | 98695.20 | 308.00 | 62832.00 | 1441.00 | 293964.00 | 2000.00 | 408000.00 | 408000.00 | SAURABH ENTERPRISES
51.00 | 160 mm nominal dia | 80.00 | Meter | 859.00 | 1822.00 | 145760.00 | 450.00 | 36000.00 | 1600.00 | 128000.00 | 500.00 | 40000.00 | 600.00 | 48000.00 | 649.00 | 51920.00 | 682.00 | 54560.00 | 2052.00 | 164160.00 | 2500.00 | 200000.00 | 200000.00 | SAURABH ENTERPRISES
52.00 | Providing, laying and fixing of GI Pipe 50mm dia in ground complete with GI Pipe fittings including trenching (100mm deep), surface cutting by kerf / saw cutting machine and re-filling of PCC( 1:2:4 Cement concreat ) road Crossing, hard surface parking area etc. as required | 300.00 | Meter | 1008.00 | 2070.00 | 621000.00 | 1100.00 | 330000.00 | 1000.00 | 300000.00 | 700.00 | 210000.00 | 300.00 | 90000.00 | 2360.00 | 708000.00 | 110.00 | 33000.00 | 1716.00 | 514800.00 | 1200.00 | 360000.00 | 708000.00 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
53.00 | Supply, Installation, testing and commissioning of 15-20W LED decorative bollard made of aluminum die casting . Height should be 900-1100mm with polycarbonate unbreakable diffuser with mechanical impact protection of IK10 and rated as dust protection as IP66. The fixture should be PU painted . The efficiency of the LEDs should be greater than 100 lumen per watt and should be powered with at least 3KV surge protection driver. The fixture must have an external surge protection device of 10KV, Input Voltage- AC 240 Volts, Mandatory certifications – BIS for complete product in the name of lighting company. (Goldwynled Cat No.GB-27Jali 2 or eqivalent ) | 30.00 | Each | 26747.00 | 6210.00 | 186300.00 | 6500.00 | 195000.00 | 750.00 | 22500.00 | 7000.00 | 210000.00 | 8500.00 | 255000.00 | 3717.00 | 111510.00 | 3988.60 | 119658.00 | 26986.00 | 809580.00 | 5500.00 | 165000.00 | 809580.00 | ABHISHEK INTEGRATIONS LIMITED
54.00 | SH:-III ITC
55.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/ DWC HDPE pipe as required.
56.00 | Upto 35 sq. mm | 1540.00 | Meter | 40.00 | 35.00 | 53900.00 | 20.00 | 30800.00 | 50.00 | 77000.00 | 100.00 | 154000.00 | 20.00 | 30800.00 | 59.00 | 90860.00 | 38.50 | 59290.00 | 25.00 | 38500.00 | 20.00 | 30800.00 | 154000.00 | DEEPAK ELECTRICALS
57.00 | Above 95 sq. mm and upto 185 sq. mm | 55.00 | Meter | 82.00 | 138.00 | 7590.00 | 25.00 | 1375.00 | 75.00 | 4125.00 | 100.00 | 5500.00 | 50.00 | 2750.00 | 106.20 | 5841.00 | 88.00 | 4840.00 | 50.00 | 2750.00 | 50.00 | 2750.00 | 7590.00 | M/S R.K. LALA
58.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
59.00 | Above 95 sq. mm and upto 185 sq. mm | 68.00 | Meter | 68.00 | 138.00 | 9384.00 | 50.00 | 3400.00 | 100.00 | 6800.00 | 100.00 | 6800.00 | 60.00 | 4080.00 | 88.50 | 6018.00 | 110.00 | 7480.00 | 40.00 | 2720.00 | 40.00 | 2720.00 | 9384.00 | M/S R.K. LALA
60.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
61.00 | Above 95 sq. mm and upto 185 sq. mm (clamped with25/40x3mm MS flat clamp) | 153.00 | Meter | 153.00 | 138.00 | 21114.00 | 150.00 | 22950.00 | 150.00 | 22950.00 | 100.00 | 15300.00 | 100.00 | 15300.00 | 5203.80 | 796181.40 | 143.00 | 21879.00 | 45.00 | 6885.00 | 50.00 | 7650.00 | 796181.40 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
62.00 | Installation, Testing, Commissioning of wall bracket /ceiling fittings/ steet light bracket of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 535.00 | Each | 128.00 | 138.00 | 73830.00 | 450.00 | 240750.00 | 450.00 | 240750.00 | 300.00 | 160500.00 | 100.00 | 53500.00 | 1746.40 | 934324.00 | 330.00 | 176550.00 | 450.00 | 240750.00 | 100.00 | 53500.00 | 934324.00 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.
63.00 | Erection of Upto 7 mtr. height decorative street light pole and making all connections including the RCC foundation made from cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone agregate 20mm nominal size) as per OEM design including excavation and refilling etc. as per site requirement. | 12.00 | Each | 9385.00 | 5530.00 | 66360.00 | 10500.00 | 126000.00 | 8000.00 | 96000.00 | 10000.00 | 120000.00 | 2000.00 | 24000.00 | 6690.60 | 80287.20 | 9900.00 | 118800.00 | 5500.00 | 66000.00 | 3500.00 | 42000.00 | 126000.00 | POWER AUTOMATION AND CONTROLS
| Total in Figures |  |  |  |  | 9743869.00 |  | 6785548.14 |  | 9111645.00 |  | 7995280.00 |  | 6966644.00 |  | 11141462.34 |  | 6583320.50 |  | 9588234.00 |  | 9277777.00
Highest Amount Quoted BY: TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD.(11141462.34)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of outlived lights fitting Approach roads , Parking Area and Terminal building at S. V. Airport Raipur. Tender ID: 2026_AAI_272140_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TOUCHWELL MARKETING & MFG (INDIA)PVT. LTD. (BID ID -1007996) | 11141462.34 | H1
| 2 | M/S R.K. LALA (BID ID -1000337) | 9743869.00 | H2
| 3 | ABHISHEK INTEGRATIONS LIMITED (BID ID -1009302) | 9588234.00 | H3
| 4 | SAURABH ENTERPRISES (BID ID -1008895) | 9277777.00 | H4
| 5 | M/s. CHANDRA REDDY ELECTRICALS (BID ID -1009029) | 9111645.00 | H5
| 6 | DEEPAK ELECTRICALS (BID ID -1009283) | 7995280.00 | H6
| 7 | SYNERGY LIGHTING SOLUTIONS (BID ID -1008112) | 6966644.00 | H7
| 8 | POWER AUTOMATION AND CONTROLS (BID ID -1008577) | 6785548.14 | H8
| 9 | Variant Infratech Private Limited (BID ID -1009241) | 6583320.50 | H9