## BoQ1
Government eProcurement System Created By: Asim Amitav Swain Created Date/Time: 13-May-2026 06:16 PM Tender Title: Improvement of road including provision of footpath in front of T1 at B.P.I. Airport, Bhubaneswar Tender ID: 2026_AAI_272595_1
Tender Inviting Authority: Sr. Manager Engg.(C), B.P.I. Airport, Bhubaneswar
Name of Work: Improvement of road including provision of footpath infront of T1 at B.P.I. Airport. Bhubaneswar
Contract No: 2026_AAI_272595_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -1009248 |  | Garg Associates (GSTN-07AEJPG9976Q1ZE) BID ID -1010236 |  | AMRIT RANJAN NAYAK (GSTN-NA) BID ID -1009767 |  | NARESH KUMAR BEHERA (GSTN-NA) BID ID -1010036
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-incharge. All kinds of soil | 420.00 | Cum |  | 105.00 | 44100.00 | 100.00 | 42000.00 | 120.00 | 50400.00 | 100.00 | 42000.00 | 42000.00 | NARESH KUMAR BEHERA, Garg Associates
2.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 110.00 | Cum |  | 1165.00 | 128150.00 | 1000.00 | 110000.00 | 1200.00 | 132000.00 | 1000.00 | 110000.00 | 110000.00 | NARESH KUMAR BEHERA, Garg Associates
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 410.00 | Cum |  | 4655.00 | 1908550.00 | 5500.00 | 2255000.00 | 4800.00 | 1968000.00 | 3300.00 | 1353000.00 | 1353000.00 | NARESH KUMAR BEHERA
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 145.00 | Cum |  | 5680.00 | 823600.00 | 7000.00 | 1015000.00 | 5300.00 | 768500.00 | 4200.00 | 609000.00 | 609000.00 | NARESH KUMAR BEHERA
5.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 90.00 | sqm |  | 205.00 | 18450.00 | 350.00 | 31500.00 | 200.00 | 18000.00 | 300.00 | 27000.00 | 18000.00 | AMRIT RANJAN NAYAK
6.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 90.00 | sqm |  | 235.00 | 21150.00 | 350.00 | 31500.00 | 250.00 | 22500.00 | 300.00 | 27000.00 | 21150.00 | S.K. CONSTRUCTION
7.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 2500.00 | Sqm |  | 90.00 | 225000.00 | 100.00 | 250000.00 | 150.00 | 375000.00 | 100.00 | 250000.00 | 225000.00 | S.K. CONSTRUCTION
8.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 1000.00 | Sqm |  | 65.00 | 65000.00 | 70.00 | 70000.00 | 15.00 | 15000.00 | 15.00 | 15000.00 | 15000.00 | AMRIT RANJAN NAYAK, NARESH KUMAR BEHERA
9.00 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 5350.00 | Sqm |  | 4.00 | 21400.00 | 90.00 | 481500.00 | 2.50 | 13375.00 | 2.00 | 10700.00 | 10700.00 | NARESH KUMAR BEHERA
10.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (including equivalent design mix) | 50.00 | cum |  | 865.00 | 43250.00 | 1000.00 | 50000.00 | 1500.00 | 75000.00 | 100.00 | 5000.00 | 5000.00 | NARESH KUMAR BEHERA
11.00 | Providing and applying tack coat using bitumen emulsion conforming to IS:8887, using emulsion pressure distributer including preparing the surface & cleaning with mechanical broom. With rapid setting bitumen emulsion On bituminous surface @ 0.25kg/sqm | 27000.00 | sqm |  | 24.00 | 648000.00 | 30.00 | 810000.00 | 7.50 | 202500.00 | 6.00 | 162000.00 | 162000.00 | NARESH KUMAR BEHERA
12.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 180.00 | Cum |  | 5815.00 | 1046700.00 | 7000.00 | 1260000.00 | 5300.00 | 954000.00 | 4800.00 | 864000.00 | 864000.00 | NARESH KUMAR BEHERA
13.00 | Providing and applying 2.5 mm thick road marking strips (retro- reflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 1300.00 | sqm |  | 415.00 | 539500.00 | 500.00 | 650000.00 | 590.00 | 767000.00 | 500.00 | 650000.00 | 539500.00 | S.K. CONSTRUCTION
14.00 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 4000.00 | Metre |  | 65.00 | 260000.00 | 100.00 | 400000.00 | 25.00 | 100000.00 | 25.00 | 100000.00 | 100000.00 | AMRIT RANJAN NAYAK, NARESH KUMAR BEHERA
15.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 4900.00 | sqm |  | 70.00 | 343000.00 | 150.00 | 735000.00 | 60.00 | 294000.00 | 100.00 | 490000.00 | 294000.00 | AMRIT RANJAN NAYAK
16.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking etc. of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineerin-Charge. 60 mm thick cement concrete paver block of M-35 grade with approved colour, design & pattern. | 1770.00 | Sqm |  | 705.00 | 1247850.00 | 1100.00 | 1947000.00 | 620.00 | 1097400.00 | 700.00 | 1239000.00 | 1097400.00 | AMRIT RANJAN NAYAK
17.00 | Supplying and fixing C.I. cover without frame for manholes : 560 mm diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg | 23.00 | each |  | 11650.00 | 267950.00 | 15000.00 | 345000.00 | 5900.00 | 135700.00 | 600.00 | 13800.00 | 13800.00 | NARESH KUMAR BEHERA
18.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 350 to 450 mm diameter | 23.00 | each |  | 650.00 | 14950.00 | 2000.00 | 46000.00 | 1020.00 | 23460.00 | 520.00 | 11960.00 | 11960.00 | NARESH KUMAR BEHERA
19.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm dia RCC pipes. | 146.00 | Metre |  | 1255.00 | 183230.00 | 4250.00 | 620500.00 | 2400.00 | 350400.00 | 700.00 | 102200.00 | 102200.00 | NARESH KUMAR BEHERA
20.00 | Providing and laying gang saw cut 30 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20 mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. With granite stone of all colour except black, cherry/ruby red of area less than 0.50 sqm. | 220.00 | sqm |  | 3825.00 | 841500.00 | 3100.00 | 682000.00 | 4050.00 | 891000.00 | 900.00 | 198000.00 | 198000.00 | NARESH KUMAR BEHERA
21.00 | Providing and laying at or near ground level cast in situ kerb stone of 1:1½:3 (1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources)) cement concrete in position to the required line, level, curvature and shuttering including making drainage opening wherever required complete etc. as per direction and satisfaction of Engineer-in-charge. | 780.00 | Cum |  | 6525.00 | 5089500.00 | 7750.00 | 6045000.00 | 5300.00 | 4134000.00 | 5000.00 | 3900000.00 | 3900000.00 | NARESH KUMAR BEHERA
22.00 | Providing and applying tack coat using bitumen emulsion (Rapid setting) complying with IS:8887, spraying the bitumen ( bitumen emulsion (Rapid setting)) with mechanically operated spray unit, cleaning and preparing the existing pavement surface as per specifications complete in all respects as per direction of Engineer-In-Charge.. 0.30 kg/sqm on existing concrete surface | 13500.00 | sqm |  | 32.00 | 432000.00 | 35.00 | 472500.00 | 8.00 | 108000.00 | 6.00 | 81000.00 | 81000.00 | NARESH KUMAR BEHERA
23.00 | Providing and laying of Hot Mix Dense Bituminous Macadam(DBM) using crushed stone aggregate of quality, size and grading as specified and 2% cement by weight of aggregates as filler of quality as specified and Viscosity Grade Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels, grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8 - 10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete [for tendering purpose VG bitumen of grade VG-30 shall be taken as 110 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 1510.00 | Cum |  | 9120.00 | 13771200.00 | 12500.00 | 18875000.00 | 7650.00 | 11551500.00 | 7000.00 | 10570000.00 | 10570000.00 | NARESH KUMAR BEHERA
24.00 | Providing and laying of Hot Mix Semi Dense Asphaltic Concrete(SDAC) using crushed stone aggregate of quality, size and grading as specified and cement as filler as specified and Viscosity Grade VG-30 Bitumen (supplied in bulk) in proportions as per job mix formula and laid to specified levels,grade and camber as per specification, drawings and as directed by the Engineer-in-Charge including compacting with 8-10 tonne, preferably vibratory road roller of adequate capacity to achieve the specified values of compaction, strength, surface accuracy complete.[for tendering purpose VG bitumen of grade VG-30 content shall be taken as 120 kg/m3 of mix supplied in bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material]. | 1010.00 | Cum |  | 10155.00 | 10256550.00 | 13500.00 | 13635000.00 | 8650.00 | 8736500.00 | 7500.00 | 7575000.00 | 7575000.00 | NARESH KUMAR BEHERA
25.00 | Repairing of concrete pavement joints/cracks/broken edges etc. of varying width and depth using polymer modified cold bitumen mix shalipath or equivalent including application of emulsion, peparation of surfaces by cutting, chiseling, cleaning by air compressor etc. complete as per direction and satisfaction of Engineer In-Charge. | 4690.00 | Metre |  | 305.00 | 1430450.00 | 150.00 | 703500.00 | 150.00 | 703500.00 | 150.00 | 703500.00 | 703500.00 | AMRIT RANJAN NAYAK, NARESH KUMAR BEHERA, Garg Associates
26.00 | Providing and Laying at all heights, levels & depths of 15 to 20 mm thick premium quality exterior vitrified tiles of size 120x240 / 240x240 / 360x240 mm or suitable size of make Johnson, Kajaria or equivalent in all colours and shades laid over 20mm thick cement sand mortar bed of 1:3 (1 cement :3 fine sand), and joints grouted with white cement slurry containing pigment to match the shade including machinery, T&P, curing, all leads, lifts, sampling, testing complete in all respects as per direction and satisfaction of Engineer-in-charge. | 4500.00 | sqm |  | 1650.00 | 7425000.00 | 1500.00 | 6750000.00 | 1850.00 | 8325000.00 | 1970.00 | 8865000.00 | 6750000.00 | Garg Associates
27.00 | Supplying and fixing of single mould twin shank reflective road studs made out of poly carbonate/ABS moulded body and reflective panels with micro prismatic lens capable of providing total internal reflection of the light entering the lens face with retro reflectance and chromaticity values @ ASTM E 809 with photomatric range setup shall be as given in the detailed specifications and the product shall conform to ASTM D4280. The raised pavement marker shall also meet all the testing conditions of ASTM D4280 like abrasion resistance etc and shall be supported with test report from government lab (ARAI/CRRI/CPRI) and fixed to the road surface using the epoxy adhesive. Two cylindrical Polymer Shanks of not less than 20 mm diameter and not less than 30 mm length shall be molded in the RPM body. The marker shall support a load of 13635 Kg tested in accordance with ASTM D4280. The marker shall withstand flexural strength of 909 kgf force in accordance with ASTM D4280. Marker lenses shall be moulded of Polycarbonate or methyl methecrylate conforming to ASTM D788. The supplier shall provide a 2 years warranty for satisfactory field performance as per clause 804.7.3 of MORT&H 5th revision specifications. Make shall be of 3M or Equivalent. | 1060.00 | each |  | 235.00 | 249100.00 | 350.00 | 371000.00 | 180.00 | 190800.00 | 170.00 | 180200.00 | 180200.00 | NARESH KUMAR BEHERA
28.00 | Providing and fixing of standard Metal Delineator as per IRC 79:2019 consisting of retroreflective area in white colour using full cube corner microprismatic non-metalliic retroreflective sheeting on each side conforming with IRC 67 2012 and meeting the coefficient of retroreflection values as per ASTM D 4956 Type XI table specification & a certified copy of test reports from an independent test laboratory including three year outdoor weathering test report for sheeting tested in India condition from an independent test laboratory (ARAI/CRRI/ICAT) conforming to clause 6.7 of IRC 67-2022.. The delineator shalll be painted with only black colour powder coat of minimum 40 microns thickness, on top of retroreflective sheeting only in white colour shall be pasted on both sides. the structure shall have height not less than 800 mm above ground, width not less than 100 mm and shall extend not more than 300 mm below ground while being installed. the delineator shall have grooves across the length to make the reflective sheet vandal proof. the delineator is meant for application on gaps in median, traffic islands, dangerous bends, roundabouts, narrow bridges etc or as desired and satisfaction by engineer in Charge. Make shall be of 3M or equivalent. | 310.00 | each |  | 750.00 | 232500.00 | 3500.00 | 1085000.00 | 900.00 | 279000.00 | 900.00 | 279000.00 | 232500.00 | S.K. CONSTRUCTION
29.00 | Providing and Fixing of Flexible Median Markers as per IRC 79:2019 which shall be made of combination of tough, high impact resistant molded thermoplastic body along with florescent yellow color retro-reflective type XI sheeting with minimum exposed reflective area 90 sq. cm and with rebound property. The reflective sheeting should confirm to Type XI Florescent Yellow sheeting as per IRC 67 2012 and ASTM D4956- 11. The flexible median marker shall have overall height of minimum 180 mm, width of minimum 120 mm, body thickness of minimum 6.5 mm and shank depth of minimum 30mm. The retro-reflective sheeting shall be on both sides of the Flexible Median Marker and shall be edge protected with no exposed edges which will prevent edge lifting, vandalism, sheeting damage, etc. The edge of sheeting should not come out easily by putting nails, sharp objects etc. The logo of the manufacturer shall be embossed on either side of the body. The product design has to with stand all natural impacts and should not get damaged if any pedestrian stamp on top of it intentionally or unintentionally. The product should bend up to 90 degree on both sides without breakage or damage. The flexible median marker shall be tested from government lab (CRRI/ARAI/CPRI) for reboundability and tensile test as per IRC 79-2019. Make Shall be of 3M or Equivalent | 830.00 | each |  | 105.00 | 87150.00 | 1400.00 | 1162000.00 | 220.00 | 182600.00 | 230.00 | 190900.00 | 87150.00 | S.K. CONSTRUCTION
30.00 | Providing and installing retro-reflective Single Sided Overhead signboards comprising of customised modular PU Epoxy Coated MS Angle iron frame work, aluminum composite panel (ACP) as base board, micro prismatic retro reflective sheet and electro cut coloured overlay film. On the front face of the ACP, Micro prismatic retro-reflective sheet conforming to Type-XI of ASTM: D 4956-09 shall be pressure fixed as background sheet which will be over laid with electro - cut transparent film of approved make and colour of create a desired road sign. The retroreflective Type XI sheeting shall be of make 3M or equivalent. Overhead Gantry Facia Replacement 1080 sf ft | 1.00 | each |  | 315000.00 | 315000.00 | 800000.00 | 800000.00 | 750000.00 | 750000.00 | 600000.00 | 600000.00 | 315000.00 | S.K. CONSTRUCTION
31.00 | Providing and installing retro-reflective Single Sided Overhead signboards comprising of customised modular PU Epoxy Coated MS Angle iron frame work, aluminum composite panel (ACP) as base board, micro prismatic retro reflective sheet and electro cut coloured overlay film. The horizontal and vertical members of the MS frame module shall be made of a pair of MS Angle iron 50x50x5mm in box shape. No panel size shall be more than one sqm and each panel shall be braced diagonally (one way only) with MS angle iron 50x50x5mm. The MS frame module shall have length not more than 3 m and multiple modules shall be connected together with 15 mm, dia SS bolts of 304 grade spaced not more than 300 mm centre to centre. The aluminum composite panel (ACP) shall have a thickness of 4 mm with 0.5 mm thick skin of aluminum of both sides. The ACP shall be routed, folded and fixed on the MS frame with VHB tape 25 mm wide provided through out the length and breadth of the frame including riveting at the right angle face of the frame with pop riveting or with self taping SS screws 5mm dia spaced not more than 300 mm centre to centre ensuring that no riveting is seen on either face of the frame. On the front face of the ACP, Micro prismatic retro-reflective sheet conforming to Type-XI of ASTM: D 4956-09 shall be pressure fixed as background sheet which will be over laid with electro - cut transparent film of approved make and colour of create a desired road sign. The rear side of the MS frame shall be covered with balancing ACP of the same description as mentioned above and shall be fixed in similar manner as described above. The rate shall include all materials, labour, equipments, fabrication, transportation, erection, installation and incidentals all complete as per direction of Engineer-In-charge. Only front area of the board shall be measured for payment. (Structural steel work, except MS angle iron frame work for the sign boards, shall be paid for separately under the relevant agreement item).The retroreflective Type XI sheeting shall be of make 3M or equivalent. 4800 x 2400 mm Cantilever Advance Direction Sign Board | 2.00 | each |  | 125000.00 | 250000.00 | 350000.00 | 700000.00 | 300000.00 | 600000.00 | 3000.00 | 6000.00 | 6000.00 | NARESH KUMAR BEHERA
32.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 900 mm Stop Octagonal Sign Board | 1.00 | each |  | 10150.00 | 10150.00 | 8000.00 | 8000.00 | 8200.00 | 8200.00 | 8000.00 | 8000.00 | 8000.00 | NARESH KUMAR BEHERA, Garg Associates
33.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 900 mm No Parking Circular Sign Board | 10.00 | each |  | 10220.00 | 102200.00 | 8000.00 | 80000.00 | 8200.00 | 82000.00 | 8000.00 | 80000.00 | 80000.00 | NARESH KUMAR BEHERA, Garg Associates
34.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 900 mm No Stopping Circular Sign Board | 2.00 | each |  | 10350.00 | 20700.00 | 8000.00 | 16000.00 | 8200.00 | 16400.00 | 7000.00 | 14000.00 | 14000.00 | NARESH KUMAR BEHERA
35.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 900 mm Speed Limit Circular Sign Board | 5.00 | each |  | 10300.00 | 51500.00 | 8000.00 | 40000.00 | 8200.00 | 41000.00 | 7000.00 | 35000.00 | 35000.00 | NARESH KUMAR BEHERA
36.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 900 mm Triangular Rumble Strip sign board | 3.00 | each |  | 10610.00 | 31830.00 | 8000.00 | 24000.00 | 7100.00 | 21300.00 | 7000.00 | 21000.00 | 21000.00 | NARESH KUMAR BEHERA
37.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 900 mm Triangle Pedestrian Crossing sign Board | 5.00 | each |  | 11110.00 | 55550.00 | 8000.00 | 40000.00 | 7100.00 | 35500.00 | 6000.00 | 30000.00 | 30000.00 | NARESH KUMAR BEHERA
38.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 600 x 900 mm Car Parking Sign Board | 5.00 | each |  | 11015.00 | 55075.00 | 8000.00 | 40000.00 | 5800.00 | 29000.00 | 6000.00 | 30000.00 | 29000.00 | AMRIT RANJAN NAYAK
39.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 750 x 1200 mm Pickup & Dropoff Point Sign Board | 5.00 | each |  | 14120.00 | 70600.00 | 8000.00 | 40000.00 | 11000.00 | 55000.00 | 2000.00 | 10000.00 | 10000.00 | NARESH KUMAR BEHERA
40.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 750 x 1200 mm Arrival & Departure Sign Board | 2.00 | each |  | 14250.00 | 28500.00 | 8000.00 | 16000.00 | 11000.00 | 22000.00 | 1500.00 | 3000.00 | 3000.00 | NARESH KUMAR BEHERA
41.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 600 x 900 mm Two Away Zone Sign Board | 2.00 | each |  | 16650.00 | 33300.00 | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 1200.00 | 2400.00 | 2400.00 | NARESH KUMAR BEHERA
42.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 600 x 900 mm Toilet Sign Board | 3.00 | each |  | 10450.00 | 31350.00 | 8000.00 | 24000.00 | 6000.00 | 18000.00 | 5600.00 | 16800.00 | 16800.00 | NARESH KUMAR BEHERA
43.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 600 x 900 mm Pedestrian-walkway-Sign Board | 6.00 | each |  | 10605.00 | 63630.00 | 8000.00 | 48000.00 | 6000.00 | 36000.00 | 6000.00 | 36000.00 | 36000.00 | AMRIT RANJAN NAYAK, NARESH KUMAR BEHERA
44.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 600 x 900 mm Facility Information Sign Board | 6.00 | each |  | 10862.00 | 65172.00 | 8000.00 | 48000.00 | 6000.00 | 36000.00 | 5500.00 | 33000.00 | 33000.00 | NARESH KUMAR BEHERA
45.00 | Providing and fixing retro-reflective signboards comprising customised modular PU epoxy-coated MS angle iron frame work, aluminium composite panel (ACP) as base board, and micro-prismatic retro-reflective sheeting with electro-cut coloured overlay film / HP latex printing with Clear Overlay film.The horizontal and vertical members, including inclined outer members of the MS frame, shall be made of MS angle iron. No panel size shall be more than 1 square metre, and each panel shall be braced diagonally (one way only) with MS angle. The MS frame module shall have a length not exceeding 3.0 metres.The aluminium composite panel (ACP) shall be of 4 mm thickness with 0.5 mm thick aluminium skin on both sides. The ACP shall be fixed on the MS frame by pop rivets along with self-tapping SS screws of 5 mm diameter, spaced not more than 300 mm centre-to-centre, ensuring that no riveting is visible on the front face of the ACP.Micro-prismatic retro-reflective sheeting conforming to Type-XI as per ASTM D-4956-09 shall be pressure fixed on the visible face of the ACP. The retro-reflective sheeting shall be tested for 3-year outdoor weathering in Indian conditions as per IRC:67-2022, and proof of the same in the form of a government report shall be produced before installation.The rate shall include the cost of all materials, labour, equipment, fabrication, transportation, erection, installation, and all incidental charges, complete as per the directions of the Engineer-in-Charge.Signage shall be mounted on MS angle frame of size 35 × 35 × 5 mm,. The retroreflective Type XI sheeting shall be of make 3M or equivalent. 600 x 900 mm Car Parking Way-Finding Sign Board | 6.00 | each |  | 10658.00 | 63948.00 | 8000.00 | 48000.00 | 6000.00 | 36000.00 | 6000.00 | 36000.00 | 36000.00 | AMRIT RANJAN NAYAK, NARESH KUMAR BEHERA
46.00 | Brick work with fly ash F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:4 (1 cement : 4 coarse sand) | 35.00 | Cum |  | 5420.00 | 189700.00 | 7750.00 | 271250.00 | 5200.00 | 182000.00 | 1200.00 | 42000.00 | 42000.00 | NARESH KUMAR BEHERA
47.00 | Transportation of old paver blocks and dismantled kerb stone including similar unserviceable, dismantled or waste material by mechanical transport including loading, transporting, unloading to approved location for lead upto 3 km for all lifts, complete as per directions and satisfaction of Engineer-in-charge. | 100.00 | Trip |  | 1250.00 | 125000.00 | 1250.00 | 125000.00 | 300.00 | 30000.00 | 400.00 | 40000.00 | 30000.00 | AMRIT RANJAN NAYAK
| Total in Figures |  |  |  |  | 49227985.00 |  | 63315250.00 |  | 44474535.00 |  | 39667460.00
Lowest Amount Quoted BY: NARESH KUMAR BEHERA(39667460.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of road including provision of footpath in front of T1 at B.P.I. Airport, Bhubaneswar Tender ID: 2026_AAI_272595_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NARESH KUMAR BEHERA (BID ID -1010036) | 39667460.00 | L1
| 2 | AMRIT RANJAN NAYAK (BID ID -1009767) | 44474535.00 | L2
| 3 | S.K. CONSTRUCTION (BID ID -1009248) | 49227985.00 | L3
| 4 | Garg Associates (BID ID -1010236) | 63315250.00 | L4