## BoQ1
Government eProcurement System Created By: Chandrakanth Gupta Gattu Created Date/Time: 08-May-2026 03:27 PM Tender Title: SITC of additional Air conditioners and replacement of outlived old Air Conditioners at various location of Agatti Airport Tender ID: 2026_AAI_272601_1
Tender Inviting Authority: Senior Manager (Engg-E). Airports Authority of India, Agatti Airport
Name of Work: SITC of additional Air conditioners and replacement of outlived/old Air Conditioners at various location of Agatti Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AQUATICS ENIGINEERS (GSTN-07AEMPM9860Q1ZE) BID ID -1003073 |  | LIFE STYLE INTERIORS (GSTN-08AEWPT8384E1ZJ) BID ID -1013084
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, testing, and commissioning of air cooled factory assembled 5-star rated minimum 1.0 TR Split type Inverter AC having remote operation, minimum 5.00 ISEER rated, eco friendly refrigerant, copper condensor coil, Inverter Rotary compressor i/c drilling necessary hole on the wall(if required) and making good the damages(if any) along with the supply and installation of manufacturer standard length of copper refregerant liquid, suction pipe and Copper conductor multi core cable etc. with all necessary standard protections, features as per OEM suitable for operation on 230V, 50 Hz, 1-Phase AC Supply etc. complete as required. | 3.00 | Nos |  | 36000.00 | 108000.00 | 46000.00 | 138000.00 | 108000.00 | AQUATICS ENIGINEERS
2.00 | Supply, Installation, testing, and commissioning of air cooled factory assembled 5-star rated minimum 1.5 TR Split type Inverter AC having remote operation, minimum 5.00 ISEER rated, eco friendly refrigerant, copper condensor coil, Inverter Rotary compressor i/c drilling necessary hole on the wall(if required) and making good the damages(if any) along with the supply and installation of manufacturer standard length of copper refregerant liquid, suction pipe and Copper conductor multi core cable etc. with all necessary standard protections, features as per OEM suitable for operation on 230V, 50 Hz, 1-Phase AC Supply etc. complete as required. | 4.00 | Nos |  | 38000.00 | 152000.00 | 48500.00 | 194000.00 | 152000.00 | AQUATICS ENIGINEERS
3.00 | Supply, Installation, testing, and commissioning of air cooled factory assembled 5-star rated minimum 2.0 TR Split type Inverter AC having remote operation, minimum 5.00 ISEER rated, eco friendly refrigerant, copper condensor coil, Inverter Rotary compressor i/c drilling necessary hole on the wall(if required) and making good the damages(if any) along with the supply and installation of manufacturer standard length of copper refregerant liquid, suction pipe and Copper conductor multi core cable etc. with all necessary standard protections, features as per OEM suitable for operation on 230V, 50 Hz, 1-Phase AC Supply etc. complete as required. | 4.00 | Nos |  | 52000.00 | 208000.00 | 60500.00 | 242000.00 | 208000.00 | AQUATICS ENIGINEERS
4.00 | Supply, Installation, testing, and commissioning of air cooled factory assembled 3-star rated minimum 3.0 TR Split type Inverter AC having remote operation, eco friendly refrigerant, copper condensor coil, Inverter Rotary compressor i/c drilling necessary hole on the wall(if required) and making good the damages(if any) along with the supply and installation of manufacturer standard length of copper refregerant liquid, suction pipe and Copper conductor multi core cable etc. with all necessary standard protections, features as per OEM suitable for operation on 415 V, 50 Hz, 3-Phase AC Supply etc. complete as required. | 5.00 | Nos |  | 75000.00 | 375000.00 | 77000.00 | 385000.00 | 375000.00 | AQUATICS ENIGINEERS
5.00 | Supplying, Installation, Testing and Commissioning of minimum 4 TR Floor mounted tower AC system having remote Operation and Rotary/scroll compressor suitable for operation on 415 V, 50Hz, 3-Ph A.C supply including iron stand for IDU along with the supply and laying of standard length of copper refregerant liquid and suction pipe and Cu conductor multi core cable as per OEM recommendation by drilling necessary hole on the concrete wall and making good the damages(if any) etc. with all necessary protections and features as per OEM etc. complete as required. | 8.00 | Nos |  | 114000.00 | 912000.00 | 122500.00 | 980000.00 | 912000.00 | AQUATICS ENIGINEERS
6.00 | Supplying, Installation, Testing and Commissioning of minimum 2 TR Ductable split AC system having remote Operation and Rotary/scroll compressor suitable for operation on 230 V, 50Hz,Single phase A.C supply including supply and laying of standard length of copper refregerant liquid and suction pipe and Cu conductor multi core cable as per OEM recommendation by drilling necessary holes and making good the damages(if any) etc. with all necessary protections and features as per OEM etc. complete as required. | 2.00 | Nos |  | 100000.00 | 200000.00 | 51000.00 | 102000.00 | 102000.00 | LIFE STYLE INTERIORS
7.00 | Supply, installation, testing, and commissioning of floor-standing cold & normal water cooler with stainless steel body, 40 LPH cooling capacity, 80 Ltr storage, eco-friendly refrigerant, push-type taps, and drain arrangement etc. complete as required. | 2.00 | Nos |  | 52000.00 | 104000.00 | 39000.00 | 78000.00 | 78000.00 | LIFE STYLE INTERIORS
8.00 | Supply and laying of OEM recommended refrigerant copper piping with Nitrile rubber insulation of suitable size for following capacity split air conditioners i/c jointing/bracing with the existing copper piping (wherever applicable) etc. complete as required.
8.10 | 1TR Split AC | 6.00 | Meters |  | 650.00 | 3900.00 | 1250.00 | 7500.00 | 3900.00 | AQUATICS ENIGINEERS
8.20 | 1.5TR Split AC | 16.00 | Meters |  | 800.00 | 12800.00 | 1425.00 | 22800.00 | 12800.00 | AQUATICS ENIGINEERS
8.30 | 2TR Split AC | 9.00 | Meters |  | 1000.00 | 9000.00 | 1600.00 | 14400.00 | 9000.00 | AQUATICS ENIGINEERS
8.40 | 3TR Split AC | 10.00 | Meters |  | 1200.00 | 12000.00 | 1650.00 | 16500.00 | 12000.00 | AQUATICS ENIGINEERS
8.50 | 4TR Tower AC | 50.00 | Meters |  | 1400.00 | 70000.00 | 2000.00 | 100000.00 | 70000.00 | AQUATICS ENIGINEERS
9.00 | Supply and laying of OEM recommended refrigerant copper piping with Nitrile rubber insulation of suitable size with suirtable multi core cablefor following capacity of Ductable split AC i/c jointing/bracing with the existing copper piping (wherever applicable) etc. complete as required.
9.10 | 2TR Ductable Split AC | 15.00 | Meters |  | 1200.00 | 18000.00 | 1800.00 | 27000.00 | 18000.00 | AQUATICS ENIGINEERS
10.00 | Supply and laying of suitable size Hard PVC pipe for draining out the water for above AC's complete with accessories etc. as required. | 163.00 | Meters |  | 200.00 | 32600.00 | 280.00 | 45640.00 | 32600.00 | AQUATICS ENIGINEERS
11.00 | Supply and fixing of PVC trunking on wall for enclosing refrigerant copper piping and multi core copper cable of various AC's etc. with suitable accessories etc. complete as required. | 96.00 | Meters |  | 500.00 | 48000.00 | 400.00 | 38400.00 | 38400.00 | LIFE STYLE INTERIORS
12.00 | Supply and installation of 4 kVA voltage stabilizer suitable for single-phase split-type inverter AC units with required accessories etc. complete as required. | 7.00 | Nos |  | 3600.00 | 25200.00 | 5500.00 | 38500.00 | 25200.00 | AQUATICS ENIGINEERS
13.00 | Supply and installation of 5 kVA voltage stabilizer suitable for single-phase split-type inverter AC units with required accessories etc. complete as required. | 4.00 | Nos |  | 4800.00 | 19200.00 | 7200.00 | 28800.00 | 19200.00 | AQUATICS ENIGINEERS
14.00 | Supply and Fixing of MS work with angles on edges made with mild steel sections to hold the AC Outdoor unit of following capacity AC's on ground, wall, surface /roof truss including welding, fixing with suitable supports etc. complete as required.
14.10 | 1.0 TR Split AC | 3.00 | Job |  | 3000.00 | 9000.00 | 2400.00 | 7200.00 | 7200.00 | LIFE STYLE INTERIORS
14.20 | 1.5 TR Split AC | 4.00 | Job |  | 3500.00 | 14000.00 | 2900.00 | 11600.00 | 11600.00 | LIFE STYLE INTERIORS
14.30 | 2.0 TR Split AC | 4.00 | Job |  | 3500.00 | 14000.00 | 3400.00 | 13600.00 | 13600.00 | LIFE STYLE INTERIORS
14.40 | 3.0 TR Split AC | 3.00 | job |  | 5000.00 | 15000.00 | 3900.00 | 11700.00 | 11700.00 | LIFE STYLE INTERIORS
14.50 | 4.0 TR Tower AC | 2.00 | job |  | 9500.00 | 19000.00 | 4200.00 | 8400.00 | 8400.00 | LIFE STYLE INTERIORS
15.00 | Construction of Brick pedestal of Minimum height of 600mm for fixing outdoor unit of AC's of following capacity after making necessary foundation including Excavation, finish Plastering etc., complete as required.
15.10 | 3.0 TR Split AC | 2.00 | Nos |  | 2500.00 | 5000.00 | 10000.00 | 20000.00 | 5000.00 | AQUATICS ENIGINEERS
15.20 | 4.0 TR Tower AC | 6.00 | Nos |  | 2500.00 | 15000.00 | 15000.00 | 90000.00 | 15000.00 | AQUATICS ENIGINEERS
16.00 | Supply and fixing of follwing sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good in case of recessed conduit as required.
16.10 | 20 mm | 85.00 | Meters |  | 300.00 | 25500.00 | 190.00 | 16150.00 | 16150.00 | LIFE STYLE INTERIORS
16.20 | 25 mm | 100.00 | Meters |  | 350.00 | 35000.00 | 210.00 | 21000.00 | 21000.00 | LIFE STYLE INTERIORS
17.00 | Supplying and fixing of MCB protected socket on surface/ recess along with 20A, C curve SP MCB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 3000.00 | 15000.00 | 200.00 | 1000.00 | 1000.00 | LIFE STYLE INTERIORS
18.00 | Supplying and fixing FP sheet steel enclosure on surface/ recess along with 20 A, 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required | 13.00 | Each |  | 6000.00 | 78000.00 | 1300.00 | 16900.00 | 16900.00 | LIFE STYLE INTERIORS
19.00 | Dismantling of split AC units of 1.0 TR to 3.0 TR capacity from various locations within Agatti Airport premises, including indoor and outdoor units, safe recovery of refrigerant, dismantling of refrigerant pipes, drain pipes, and stands, and shifting of the same within the premises or to AAI store etc., complete as required. | 15.00 | Job |  | 600.00 | 9000.00 | 1900.00 | 28500.00 | 9000.00 | AQUATICS ENIGINEERS
20.00 | Wiring for light/power plug for 4x 4sqmm FRLS PVC insulated copper conductor single core cable in surface/Recess in medium class PVC conduit along with 2 Nos. 4 sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 105.00 | Metres |  | 472.00 | 49560.00 | 370.00 | 38850.00 | 38850.00 | LIFE STYLE INTERIORS
21.00 | Supply of 3.5C x25 Sq.mm. of XLPE insulated and PVC Sheathed Armoured Aluminium conductor cable of 1.1 KV grade confirming to IS : 7098 with upto ammendment etc., as required. | 454.00 | Metres |  | 180.00 | 81720.00 | 310.00 | 140740.00 | 81720.00 | AQUATICS ENIGINEERS
22.00 | Supply and making end termination with brass compression gland and aluminium lugs for 3.5Cx 25 sqmm of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1KV as required. | 4.00 | Each |  | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 4000.00 | AQUATICS ENIGINEERS, LIFE STYLE INTERIORS
23.00 | Supplying and laying of 63 mm dia. (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 329.00 | Metres |  | 180.00 | 59220.00 | 220.00 | 72380.00 | 59220.00 | AQUATICS ENIGINEERS
24.00 | Supplying and installing 300mm width x 50mm depth x 1.6 mm thickness perforated Hot Dipped Galvanised Iron cable tray, in convenient sections, joined with connectors, suspended from the ceiling/wall with two numbers GI Suspenders i/c base of suitable size GI angle, GI bolts & nuts, fastner etc as required. | 76.00 | Metres |  | 500.00 | 38000.00 | 290.00 | 22040.00 | 22040.00 | LIFE STYLE INTERIORS
25.00 | Supply and laying of 160mm dia size HDPE pipe along with all accessories like socket, couplers etc. conforming to IS 4984-1995, PE63 grade etc. complete as required. | 19.00 | Metres |  | 500.00 | 9500.00 | 700.00 | 13300.00 | 9500.00 | AQUATICS ENIGINEERS
26.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.(Upto 35sqmm) | 33.00 | Metres |  | 200.00 | 6600.00 | 370.00 | 12210.00 | 6600.00 | AQUATICS ENIGINEERS
27.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ DWC/HUME/ METAL pipe as required.(upto 35sqmm) | 329.00 | Metres |  | 145.00 | 47705.00 | 390.00 | 128310.00 | 47705.00 | AQUATICS ENIGINEERS
28.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.(Upto 35sqmm) | 76.00 | Metres |  | 150.00 | 11400.00 | 390.00 | 29640.00 | 11400.00 | AQUATICS ENIGINEERS
29.00 | Excavation of the cable trenches in hard rock by demolishing cement concrete roads/bituminous road by manual/mechanical means as per site requirement of required width and depth including getting out the excavated soil and disposal of excavated soil etc. complete as required. | 4.75 | Cu.M |  | 2000.00 | 9500.00 | 2500.00 | 11875.00 | 9500.00 | AQUATICS ENIGINEERS
30.00 | Providing and laying in position cement concrete for making good the damaged portion of all type of roads etc., complete as required. | 4.75 | Cu.M |  | 4000.00 | 19000.00 | 3000.00 | 14250.00 | 14250.00 | LIFE STYLE INTERIORS
31.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 908.00 | Metres |  | 100.00 | 90800.00 | 80.00 | 72640.00 | 72640.00 | LIFE STYLE INTERIORS
32.00 | Supply and fixing of 1200 mm, 1100 CFM capacity double door SS air curtain having sensor operation, SS304 body along with mounting holders, clamps including all required accessories suitable for operation on 230V, 50 Hz, single phase AC supply etc. complete as required. | 3.00 | Job |  | 22000.00 | 66000.00 | 30000.00 | 90000.00 | 66000.00 | AQUATICS ENIGINEERS
33.00 | Supplying and fixing of 8 way (8 + 24), Double door surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder coated, inclusive of required capacity tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required. | 2.00 | Each |  | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 8000.00 | AQUATICS ENIGINEERS
34.00 | Supplying and fixing of 63 A four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete withconnections, testing and commissioning etc. as required. | 2.00 | Each |  | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 7000.00 | AQUATICS ENIGINEERS
35.00 | Supplying and fixing of following 32A Triple Pole , 415V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections etc., as required. | 12.00 | Each |  | 1000.00 | 12000.00 | 1100.00 | 13200.00 | 12000.00 | AQUATICS ENIGINEERS
36.00 | Supply and fixing of single pole 240V, 10A "C" curve MCB suitable for inductive load in the existing MCB DB complete with connections etc as required | 12.00 | Each |  | 300.00 | 3600.00 | 200.00 | 2400.00 | 2400.00 | LIFE STYLE INTERIORS
37.00 | Supply and Installation of 20 Litre Cabinet capacity Hot, cold and Normal water dispenser having 3 Nos Faucets, Floor mounted type, body made of plastic, Eco friendly refrigrant etc. complete as required. | 2.00 | Each |  | 16000.00 | 32000.00 | 16000.00 | 32000.00 | 32000.00 | AQUATICS ENIGINEERS, LIFE STYLE INTERIORS
38.00 | All Inclusive comprehensive maintenance (AICMC) of above 01 TR Split AC at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, supply and charging of refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
38.10 | First Year after DLP @ 10.0% of SITC COST including Freight, insuarance , transportation | 3.00 | Job/Annum |  | 3600.00 | 10800.00 | 4600.00 | 13800.00 | 10800.00 | AQUATICS ENIGINEERS
38.20 | Second Year after DLP @10 % Cummulative enhancement on first year cost shall be applicable for Second Year | 3.00 | Job/Annum |  | 3960.00 | 11880.00 | 5060.00 | 15180.00 | 11880.00 | AQUATICS ENIGINEERS
38.30 | Third Year after DLP @ 9.11 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 3.00 | Job/Annum |  | 4320.76 | 12962.28 | 5520.97 | 16562.91 | 12962.28 | AQUATICS ENIGINEERS
38.40 | Fouth Year after DLP @ 8.33 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 3.00 | Job/Annum |  | 4680.68 | 14042.04 | 5980.87 | 17942.61 | 14042.04 | AQUATICS ENIGINEERS
38.50 | Fifth Year after DLP @ 7.69 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 3.00 | Job/Annum |  | 5040.62 | 15121.86 | 6440.80 | 19322.40 | 15121.86 | AQUATICS ENIGINEERS
39.00 | All Inclusive comprehensive maintenance (AICMC) of above 1.5 TR Split AC at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, supply and charging of refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
39.10 | First Year after DLP @ 10.0% of SITC COST including Freight, insuarance , transportation | 4.00 | Job/Annum |  | 3800.00 | 15200.00 | 4850.00 | 19400.00 | 15200.00 | AQUATICS ENIGINEERS
39.20 | Second Year after DLP @9.99 % Cummulative enhancement on first year cost shall be applicable for Second Year | 4.00 | Job/Annum |  | 4179.62 | 16718.48 | 5334.52 | 21338.08 | 16718.48 | AQUATICS ENIGINEERS
39.30 | Third Year after DLP @ 9.10 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 4.00 | Job/Annum |  | 4559.97 | 18239.88 | 5819.96 | 23279.84 | 18239.88 | AQUATICS ENIGINEERS
39.40 | Fouth Year after DLP @ 8.32 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 4.00 | Job/Annum |  | 4939.36 | 19757.44 | 6304.18 | 25216.72 | 19757.44 | AQUATICS ENIGINEERS
39.50 | Fifth Year after DLP @ 7.70 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 4.00 | Job/Annum |  | 5319.69 | 21278.76 | 6789.60 | 27158.40 | 21278.76 | AQUATICS ENIGINEERS
40.00 | All Inclusive comprehensive maintenance (AICMC) of above 2.0 TR Split AC at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, supply and charging of refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
40.10 | First Year after DLP @ 8.45% of SITC COST including Freight, insuarance , transportation | 4.00 | Job/Annum |  | 4394.00 | 17576.00 | 5112.25 | 20449.00 | 17576.00 | AQUATICS ENIGINEERS
40.20 | Second Year after DLP @5 % Cummulative enhancement on first year cost shall be applicable for Second Year | 4.00 | Job/Annum |  | 4613.70 | 18454.80 | 5367.86 | 21471.44 | 18454.80 | AQUATICS ENIGINEERS
40.30 | Third Year after DLP @ 4.76 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 4.00 | Job/Annum |  | 4833.31 | 19333.24 | 5623.37 | 22493.48 | 19333.24 | AQUATICS ENIGINEERS
40.40 | Fouth Year after DLP @ 5.45 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 4.00 | Job/Annum |  | 5096.73 | 20386.92 | 5929.84 | 23719.36 | 20386.92 | AQUATICS ENIGINEERS
40.50 | Fifth Year after DLP @6.9 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 4.00 | Job/Annum |  | 5448.40 | 21793.60 | 6339.00 | 25356.00 | 21793.60 | AQUATICS ENIGINEERS
41.00 | All Inclusive comprehensive maintenance (AICMC) of above 3.0 TR Split AC at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, supply and charging of refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
41.10 | First Year after DLP @ 8.5% of SITC COST including Freight, insuarance , transportation | 5.00 | Job/Annum |  | 6375.00 | 31875.00 | 6545.00 | 32725.00 | 31875.00 | AQUATICS ENIGINEERS
41.20 | Second Year after DLP @5 % Cummulative enhancement on first year cost shall be applicable for Second Year | 5.00 | Job/Annum |  | 6693.75 | 33468.75 | 6872.25 | 34361.25 | 33468.75 | AQUATICS ENIGINEERS
41.30 | Third Year after DLP @ 4.76 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 5.00 | Job/Annum |  | 7012.37 | 35061.85 | 7199.37 | 35996.85 | 35061.85 | AQUATICS ENIGINEERS
41.40 | Fouth Year after DLP @ 5.19 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 5.00 | Job/Annum |  | 7376.31 | 36881.55 | 7573.02 | 37865.10 | 36881.55 | AQUATICS ENIGINEERS
41.50 | Fifth Year after DLP @ 4.94 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 5.00 | Job/Annum |  | 7740.70 | 38703.50 | 7947.13 | 39735.65 | 38703.50 | AQUATICS ENIGINEERS
42.00 | All Inclusive comprehensive maintenance (AICMC) of above 4.0 TR Split AC at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, supply and charging of refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
42.10 | First Year after DLP @ 5.75% of SITC COST including Freight, insuarance , transportation | 8.00 | Job/Annum |  | 6555.00 | 52440.00 | 7043.75 | 56350.00 | 52440.00 | AQUATICS ENIGINEERS
42.20 | Second Year after DLP @ 4% Cummulative enhancement on first year cost shall be applicable for Second Year | 8.00 | Job/Annum |  | 6817.20 | 54537.60 | 7325.50 | 58604.00 | 54537.60 | AQUATICS ENIGINEERS
42.30 | Third Year after DLP @ 5.13 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 8.00 | Job/Annum |  | 7166.92 | 57335.36 | 7701.30 | 61610.40 | 57335.36 | AQUATICS ENIGINEERS
42.40 | Fouth Year after DLP @4.88 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 8.00 | Job/Annum |  | 7516.67 | 60133.36 | 8077.12 | 64616.96 | 60133.36 | AQUATICS ENIGINEERS
42.50 | Fifth Year after DLP @ 10.47 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 8.00 | Job/Annum |  | 8303.67 | 66429.36 | 8922.79 | 71382.32 | 66429.36 | AQUATICS ENIGINEERS
43.00 | All Inclusive comprehensive maintenance (AICMC) of above 2.0 TR Ductable AC at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, supply and charging of refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
43.10 | First Year after DLP @ 10% of SITC COST including Freight, insuarance , transportation | 2.00 | Job/Annum |  | 10000.00 | 20000.00 | 5100.00 | 10200.00 | 10200.00 | LIFE STYLE INTERIORS
43.20 | Second Year after DLP @ 7.79% Cummulative enhancement on first year cost shall be applicable for Second Year | 2.00 | Job/Annum |  | 10779.00 | 21558.00 | 5497.29 | 10994.58 | 10994.58 | LIFE STYLE INTERIORS
43.30 | Third Year after DLP @ 4.76 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 2.00 | Job/Annum |  | 11292.08 | 22584.16 | 5758.96 | 11517.92 | 11517.92 | LIFE STYLE INTERIORS
43.40 | Fouth Year after DLP @5.45 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 2.00 | Job/Annum |  | 11907.50 | 23815.00 | 6072.82 | 12145.64 | 12145.64 | LIFE STYLE INTERIORS
43.50 | Fifth Year after DLP @ 6.9 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 2.00 | Job/Annum |  | 12729.12 | 25458.24 | 6491.84 | 12983.68 | 12983.68 | LIFE STYLE INTERIORS
44.00 | All Inclusive comprehensive maintenance (AICMC) of above 40 LPH 80 Litres water cooler at various locations of Agatti Airport including supply and fixing / repair / replacement of defective components, carrying out preventive and breakdown maintenance as per manufacturer's/AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc to ensure serviceablity and operation of units etc. as per terms and conditions of contract for the period of 05 years after Defect Liability period of 01 year etc. complete as required.
44.10 | First Year after DLP @ 11.53% of SITC COST including Freight, insuarance , transportation | 2.00 | Job/Annum |  | 5995.60 | 11991.20 | 4496.70 | 8993.40 | 8993.40 | LIFE STYLE INTERIORS
44.20 | Second Year after DLP @ 5% Cummulative enhancement on first year cost shall be applicable for Second Year | 2.00 | Job/Annum |  | 6295.38 | 12590.76 | 4721.54 | 9443.08 | 9443.08 | LIFE STYLE INTERIORS
44.30 | Third Year after DLP @ 3.7 % Cummulative enhancement onSecond year cost shall be applicable for Third Year | 2.00 | Job/Annum |  | 6528.31 | 13056.62 | 4896.24 | 9792.48 | 9792.48 | LIFE STYLE INTERIORS
44.40 | Fouth Year after DLP @6.12 % Cummulative enhancement on Third Year year cost shall be applicable for Fourth Year | 2.00 | Job/Annum |  | 6927.84 | 13855.68 | 5195.89 | 10391.78 | 10391.78 | LIFE STYLE INTERIORS
44.50 | Fifth Year after DLP @5.77 % Cummulative enhancement on Fourth year cost shall be applicable for Fifth Year | 2.00 | Job/Annum |  | 7327.58 | 14655.16 | 5495.69 | 10991.38 | 10991.38 | LIFE STYLE INTERIORS
| Total in Figures |  |  |  |  | 4018781.45 |  | 4335816.71
Lowest Amount Quoted BY: AQUATICS ENIGINEERS(4018781.45)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of additional Air conditioners and replacement of outlived old Air Conditioners at various location of Agatti Airport Tender ID: 2026_AAI_272601_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUATICS ENIGINEERS (BID ID -1003073) | 4018781.45 | L1
| 2 | LIFE STYLE INTERIORS (BID ID -1013084) | 4335816.71 | L2