## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 15-May-2026 12:29 PM Tender Title: Facility Management Contract of Fire Fighting System and Fire Alarm System at Chennai Airport for the year 2026-28 Tender ID: 2026_AAI_273171_1
Tender Inviting Authority: Asst.General Manager (Engg-Elect), AMED-V, Chennai Airport, Chennai-600 016.
Name of Work: Facility Management Contract of Fire Fighting System and Fire Alarm System at Chennai Airport for the year 2026-28.
Contract No: 2026_AAI_273171_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -1013383 |  | NATIONAL SAFETY ENGINEERS (GSTN-07ADCPT3599E3Z6) BID ID -1016812 |  | DElite System Engineering (India) Pvt. Ltd. (GSTN-NA) BID ID -1011999 |  | ABHISHEK INTEGRATIONS LIMITED (GSTN-NA) BID ID -1016955 |  | Sterling and wilson pvt ltd (GSTN-NA) BID ID -1013429
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Fire Fighting System ( i/c Fire Hydrant & Sprinkler System)
1.01 | Facility Management Services for Fire Fighting System consisting of Fire Hydrant & Sprinkler Systems along with associated installations as per inventory mentioned in Annexure-A1, i/c monitoring, operation and carrying out maintenance activities as per Annexure-B1 to ensure the uninterrupted serviceability of entire system on round the clock basis by deploying minimum manpower as per Annexure - C including maintaining registers/ records etc., as per the special conditions and specifications etc., as required.
1.02 | For First Year | 12.00 | Months |  | 594999.00 | 7139988.00 | 640000.00 | 7680000.00 | 609780.00 | 7317360.00 | 639779.00 | 7677348.00 | 662039.00 | 7944468.00 | 7139988.00 | CHENNAI ENGINEERING SERVICES
1.03 | For Second Year | 12.00 | Months |  | 594999.00 | 7139988.00 | 640000.00 | 7680000.00 | 609780.00 | 7317360.00 | 639779.00 | 7677348.00 | 662039.00 | 7944468.00 | 7139988.00 | CHENNAI ENGINEERING SERVICES
2.00 | Fire Alarm System ( i/c VESDA & Beam Detector)
2.01 | Facility Management Services for Fire Alarm System consisting of VESDA & Beam Detector along with associated installations as per inventory mentioned in Annexure-A2, i/c monitoring, operation and carrying out maintenance activities as per Annexure-B2 to ensure the uninterrupted serviceability of entire system on round the clock basis by deploying minimum manpower as per Annexure-C including maintaining registers/ records etc., as per the special conditions and specifications etc., as required.
2.02 | For First Year | 12.00 | Months |  | 521999.00 | 6263988.00 | 557000.00 | 6684000.00 | 532027.00 | 6384324.00 | 558469.00 | 6701628.00 | 577437.50 | 6929250.00 | 6263988.00 | CHENNAI ENGINEERING SERVICES
2.03 | For Second Year | 12.00 | Months |  | 521999.00 | 6263988.00 | 557000.00 | 6684000.00 | 532027.00 | 6384324.00 | 558469.00 | 6701628.00 | 577437.50 | 6929250.00 | 6263988.00 | CHENNAI ENGINEERING SERVICES
3.00 | Repairing and servicing of Fire Fighting system and associated accessories i/c supply of spares as and when required basis (spares shall be supplied as per list of preferred make)
3.01 | Repairing and servicing of following fire pumps including replacement of defective bearings, mechanical seal, gland packing, gasket, rubber bush for coupling and other defective hardware items such as fixing stud/bolt & nuts etc. including cleaning, lubrication, reassembling of pump with motor/diesel engine, painting of complete set with one or more coat with suitable synthetic enamel paint of approved make and colour, reinstallation, connection, testing, commissioning etc., complete as required.
3.02 | (i) Fire Main Pump:
3.03 | 137 cum/hr, Horizontal split case type, Make: Kirloskar Brothers/Mather & Platt make | 1.00 | Job |  | 39999.00 | 39999.00 | 35000.00 | 35000.00 | 1999.00 | 1999.00 | 15000.00 | 15000.00 | 1500.00 | 1500.00 | 1500.00 | Sterling and wilson pvt ltd
3.04 | 171 cum/hr, Horizontal split case type, Make: Kirloskar Brothers/Mather & Platt make | 1.00 | Job |  | 49999.00 | 49999.00 | 40000.00 | 40000.00 | 1999.00 | 1999.00 | 15000.00 | 15000.00 | 1500.00 | 1500.00 | 1500.00 | Sterling and wilson pvt ltd
3.05 | (ii) Fire Jockey Pump:
3.06 | 10.8 cum/hr - Make: Kirloskar | 1.00 | Job |  | 19999.00 | 19999.00 | 6000.00 | 6000.00 | 25000.00 | 25000.00 | 8000.00 | 8000.00 | 1500.00 | 1500.00 | 1500.00 | Sterling and wilson pvt ltd
3.07 | 15 cum/hr - Make: Kirloskar | 1.00 | Job |  | 20999.00 | 20999.00 | 7000.00 | 7000.00 | 1999.00 | 1999.00 | 8000.00 | 8000.00 | 1500.00 | 1500.00 | 1500.00 | Sterling and wilson pvt ltd
3.08 | (iii) Diesel Engine coupled pump:
3.09 | 171 cum/hr - Horizontal split case - Make: Kirloskar Brother | 1.00 | Job |  | 49999.00 | 49999.00 | 40000.00 | 40000.00 | 1999.00 | 1999.00 | 15000.00 | 15000.00 | 1500.00 | 1500.00 | 1500.00 | Sterling and wilson pvt ltd
3.10 | 137 cum/hr - Make: Kirloskar Brother | 1.00 | Job |  | 39999.00 | 39999.00 | 25000.00 | 25000.00 | 1999.00 | 1999.00 | 15000.00 | 15000.00 | 1500.00 | 1500.00 | 1500.00 | Sterling and wilson pvt ltd
4.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239/Class-II of IS 3589 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required :
4.01 | 25 mm dia (Heavy 'C' class) | 12.00 | Mtr |  | 689.00 | 8268.00 | 600.00 | 7200.00 | 99.00 | 1188.00 | 421.00 | 5052.00 | 206.00 | 2472.00 | 1188.00 | DElite System Engineering (India) Pvt. Ltd.
4.02 | 32 mm dia (Heavy 'C' class) | 6.00 | Mtr |  | 819.00 | 4914.00 | 700.00 | 4200.00 | 99.00 | 594.00 | 485.00 | 2910.00 | 100.00 | 600.00 | 594.00 | DElite System Engineering (India) Pvt. Ltd.
4.03 | 40 mm dia (Heavy 'C' class) | 6.00 | Mtr |  | 999.00 | 5994.00 | 850.00 | 5100.00 | 299.00 | 1794.00 | 528.00 | 3168.00 | 100.00 | 600.00 | 600.00 | Sterling and wilson pvt ltd
4.04 | 80 mm dia (Heavy 'C' class) | 30.00 | Mtr |  | 1399.00 | 41970.00 | 1400.00 | 42000.00 | 1499.00 | 44970.00 | 988.00 | 29640.00 | 100.00 | 3000.00 | 3000.00 | Sterling and wilson pvt ltd
4.05 | 100 mm dia (Heavy 'C' class) | 30.00 | Mtr |  | 1599.00 | 47970.00 | 2000.00 | 60000.00 | 1499.00 | 44970.00 | 1320.00 | 39600.00 | 997.00 | 29910.00 | 29910.00 | Sterling and wilson pvt ltd
4.06 | 150 mm dia (Heavy 'C' class) | 200.00 | Mtr |  | 1599.00 | 319800.00 | 3000.00 | 600000.00 | 2699.00 | 539800.00 | 1825.00 | 365000.00 | 1464.00 | 292800.00 | 292800.00 | Sterling and wilson pvt ltd
4.07 | 200 mm dia (Heavy 'C' class) | 100.00 | Mtr |  | 2129.00 | 212900.00 | 4000.00 | 400000.00 | 1999.00 | 199900.00 | 3387.00 | 338700.00 | 100.00 | 10000.00 | 10000.00 | Sterling and wilson pvt ltd
5.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239/Class-II of 3589 including fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. in ground i/c welding, excavation and providing cement concrete blocks as supports, anticorrosive treatment with coaltar/asphalt tape as per IS 10221, refilling the trench etc., of following sizes complete as required.
5.01 | 80 mm dia (Heavy 'C' class)) | 15.00 | Mtr |  | 1999.00 | 29985.00 | 2000.00 | 30000.00 | 99.00 | 1485.00 | 988.00 | 14820.00 | 687.00 | 10305.00 | 1485.00 | DElite System Engineering (India) Pvt. Ltd.
5.02 | 100mm dia (Heavy 'C' class) | 15.00 | Mtr |  | 2699.00 | 40485.00 | 2500.00 | 37500.00 | 99.00 | 1485.00 | 1320.00 | 19800.00 | 997.00 | 14955.00 | 1485.00 | DElite System Engineering (India) Pvt. Ltd.
5.03 | 150mm dia (Heavy 'C' class) | 100.00 | Mtr |  | 2499.00 | 249900.00 | 3700.00 | 370000.00 | 99.00 | 9900.00 | 1876.00 | 187600.00 | 1464.00 | 146400.00 | 9900.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required :
6.01 | 65mm dia (PN 16 Rated) | 1.00 | Nos. |  | 2999.00 | 2999.00 | 2500.00 | 2500.00 | 100.00 | 100.00 | 2296.00 | 2296.00 | 500.00 | 500.00 | 100.00 | DElite System Engineering (India) Pvt. Ltd.
6.02 | 80mm dia (PN 16 Rated) | 1.00 | Nos. |  | 3229.00 | 3229.00 | 3000.00 | 3000.00 | 100.00 | 100.00 | 2471.00 | 2471.00 | 500.00 | 500.00 | 100.00 | DElite System Engineering (India) Pvt. Ltd.
6.03 | 100mm dia (PN 16 Rated) | 1.00 | Nos. |  | 4199.00 | 4199.00 | 4500.00 | 4500.00 | 100.00 | 100.00 | 3208.00 | 3208.00 | 2916.00 | 2916.00 | 100.00 | DElite System Engineering (India) Pvt. Ltd.
6.04 | 150mm dia (PN 16 Rated) | 5.00 | Nos. |  | 6589.00 | 32945.00 | 6000.00 | 30000.00 | 5999.00 | 29995.00 | 5042.00 | 25210.00 | 4307.00 | 21535.00 | 21535.00 | Sterling and wilson pvt ltd
6.05 | 200mm dia (PN 16 Rated) | 1.00 | Nos. |  | 15649.00 | 15649.00 | 11000.00 | 11000.00 | 100.00 | 100.00 | 11968.00 | 11968.00 | 500.00 | 500.00 | 100.00 | DElite System Engineering (India) Pvt. Ltd.
6.06 | 250mm dia (PN 16 Rated) | 1.00 | Nos. |  | 25469.00 | 25469.00 | 12000.00 | 12000.00 | 100.00 | 100.00 | 19481.00 | 19481.00 | 500.00 | 500.00 | 100.00 | DElite System Engineering (India) Pvt. Ltd.
6.07 | 300mm dia (PN 16 Rated) | 1.00 | Nos. |  | 30299.00 | 30299.00 | 13000.00 | 13000.00 | 100.00 | 100.00 | 23174.00 | 23174.00 | 500.00 | 500.00 | 100.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Providing of following size of Non return valves/ check Valve/ Gate valves of approved make after dismantling the existing damaged one i/c replacement of the gasket, nut, bolts etc. as required.
7.01 | 100 mm dia Non return valve | 1.00 | Nos. |  | 11069.00 | 11069.00 | 7000.00 | 7000.00 | 999.00 | 999.00 | 8469.00 | 8469.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
7.02 | 150 mm dia Non return valve | 2.00 | Nos. |  | 21059.00 | 42118.00 | 9500.00 | 19000.00 | 5500.00 | 11000.00 | 16108.00 | 32216.00 | 6799.00 | 13598.00 | 11000.00 | DElite System Engineering (India) Pvt. Ltd.
7.03 | 200 mm dia Non return valve | 1.00 | Nos. |  | 37899.00 | 37899.00 | 20000.00 | 20000.00 | 999.00 | 999.00 | 28798.00 | 28798.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
7.04 | 100 mm dia swing type water check valve | 1.00 | Nos. |  | 2559.00 | 2559.00 | 5000.00 | 5000.00 | 999.00 | 999.00 | 8469.00 | 8469.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
7.05 | 150 mm dia swing type water check valve | 1.00 | Nos. |  | 3859.00 | 3859.00 | 6500.00 | 6500.00 | 999.00 | 999.00 | 16108.00 | 16108.00 | 13628.00 | 13628.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
7.06 | 80mm dia sluice Gate valve | 1.00 | Nos. |  | 9999.00 | 9999.00 | 7000.00 | 7000.00 | 999.00 | 999.00 | 8763.00 | 8763.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
7.07 | 150mm dia sluice Gate valve | 1.00 | Nos. |  | 19999.00 | 19999.00 | 15000.00 | 15000.00 | 999.00 | 999.00 | 19350.00 | 19350.00 | 18481.00 | 18481.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Replacement of faulty sprinkler flexible hose drops from the system, which are above the false ceiling, hose drops up to 1.5 Mtr length along with all required connectors, threading, coupler etc., complete as required. | 50.00 | Nos. |  | 1499.00 | 74950.00 | 1200.00 | 60000.00 | 1299.00 | 64950.00 | 903.00 | 45150.00 | 500.00 | 25000.00 | 25000.00 | Sterling and wilson pvt ltd
9.00 | Fabrication, Supply and Fixing of 6mm thick chequered plates including providing and fixing 40mm×40mm×6mm MS angle iron supports on cable trenches, Firefighting sumps, 25mm×6mm MS flat around the chequered plate by welding, providing lifting hook, painting etc., complete as required. | 50.00 | KG |  | 139.00 | 6950.00 | 200.00 | 10000.00 | 199.00 | 9950.00 | 153.00 | 7650.00 | 90.00 | 4500.00 | 4500.00 | Sterling and wilson pvt ltd
10.00 | Wrapping of existing Mild steel pipe with suitable 4mm thick insulation of tar felt sheet etc., complete as required as per the specifications. | 25.00 | Sq Mtr |  | 349.00 | 8725.00 | 550.00 | 13750.00 | 100.00 | 2500.00 | 153.00 | 3825.00 | 860.00 | 21500.00 | 2500.00 | DElite System Engineering (India) Pvt. Ltd.
11.00 | Replacement of following spares suitable for existing 63 mm dia hydrant delivery/ Landing valves (Single/ Double head), First aid Hose reel drums, other related accessories and valves in Fire hydrant and sprinkler system etc., complete as required.
11.01 | Rubber Coupling washer | 250.00 | Nos. |  | 59.00 | 14750.00 | 100.00 | 25000.00 | 49.00 | 12250.00 | 46.00 | 11500.00 | 35.00 | 8750.00 | 8750.00 | Sterling and wilson pvt ltd
11.02 | Rubber Seating washer | 50.00 | Nos. |  | 59.00 | 2950.00 | 110.00 | 5500.00 | 49.00 | 2450.00 | 46.00 | 2300.00 | 35.00 | 1750.00 | 1750.00 | Sterling and wilson pvt ltd
11.03 | Rubber Gasket 4mm thickness | 25.00 | Sq.m |  | 39.00 | 975.00 | 300.00 | 7500.00 | 99.00 | 2475.00 | 2254.00 | 56350.00 | 25.00 | 625.00 | 625.00 | Sterling and wilson pvt ltd
11.04 | 12mm dia, 3" long bolts & Nuts | 100.00 | Set |  | 129.00 | 12900.00 | 70.00 | 7000.00 | 99.00 | 9900.00 | 12.00 | 1200.00 | 50.00 | 5000.00 | 1200.00 | ABHISHEK INTEGRATIONS LIMITED
11.05 | Rubber hose 20mm x 30 Mtr. Suitable for First aid Hose reel drum | 20.00 | Nos. |  | 4999.00 | 99980.00 | 3000.00 | 60000.00 | 99.00 | 1980.00 | 5559.00 | 111180.00 | 1600.00 | 32000.00 | 1980.00 | DElite System Engineering (India) Pvt. Ltd.
11.06 | O ring seal for First aid Hose reel drum | 50.00 | Nos. |  | 49.00 | 2450.00 | 150.00 | 7500.00 | 99.00 | 4950.00 | 459.00 | 22950.00 | 50.00 | 2500.00 | 2450.00 | CHENNAI ENGINEERING SERVICES
11.07 | 25mm dia forged brass Ball Valve | 50.00 | Nos. |  | 1499.00 | 74950.00 | 1000.00 | 50000.00 | 1499.00 | 74950.00 | 561.00 | 28050.00 | 796.00 | 39800.00 | 28050.00 | ABHISHEK INTEGRATIONS LIMITED
11.08 | Brass Shutoff Nozzle with 1/2" ball valve | 25.00 | Nos. |  | 799.00 | 19975.00 | 700.00 | 17500.00 | 99.00 | 2475.00 | 459.00 | 11475.00 | 400.00 | 10000.00 | 2475.00 | DElite System Engineering (India) Pvt. Ltd.
11.09 | 25mm GM Air release valve (Screwed type) | 10.00 | Nos |  | 1699.00 | 16990.00 | 1300.00 | 13000.00 | 99.00 | 990.00 | 612.00 | 6120.00 | 950.00 | 9500.00 | 990.00 | DElite System Engineering (India) Pvt. Ltd.
12.00 | Providing of 100mm dia Pressure gauges, 0-200 PSI, H. Guru make or as per the approved make, specifications etc., complete as required. | 8.00 | Nos. |  | 1799.00 | 14392.00 | 800.00 | 6400.00 | 1699.00 | 13592.00 | 1632.00 | 13056.00 | 1500.00 | 12000.00 | 6400.00 | NATIONAL SAFETY ENGINEERS
13.00 | Providing of pressure switch suitable for the existing system with a pressure range of 1 to 10 Bar etc., complete as required. | 8.00 | Nos. |  | 4199.00 | 33592.00 | 1200.00 | 9600.00 | 1699.00 | 13592.00 | 1989.00 | 15912.00 | 1500.00 | 12000.00 | 9600.00 | NATIONAL SAFETY ENGINEERS
14.00 | Calibration of Pressure gauges & submission of reports etc., complete as required, | 15.00 | Nos. |  | 699.00 | 10485.00 | 800.00 | 12000.00 | 99.00 | 1485.00 | 1020.00 | 15300.00 | 900.00 | 13500.00 | 1485.00 | DElite System Engineering (India) Pvt. Ltd.
15.00 | Calibration of pressure switches & submission of reports etc., complete as required. | 11.00 | Nos. |  | 999.00 | 10989.00 | 1200.00 | 13200.00 | 99.00 | 1089.00 | 1020.00 | 11220.00 | 1000.00 | 11000.00 | 1089.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | Repairing and servicing of following Induction motor, including dismantling and rewinding of burnt out coil, insulation (class F), varnishing, replacement of bush/ball bearings and other deteriorated hardware items, assembling, reinstallation with the existing system, painting with one or more coat with synthetic enamelled paint of approved make and colour, testing and commissioning etc., as required.
16.01 | (i) Fire Main Pump Motor:
16.02 | 3 phase, 45 kw | 1.00 | Job |  | 45999.00 | 45999.00 | 17500.00 | 17500.00 | 999.00 | 999.00 | 49776.00 | 49776.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
16.03 | 3 phase, 75 kw | 1.00 | Job |  | 54999.00 | 54999.00 | 25000.00 | 25000.00 | 999.00 | 999.00 | 82416.00 | 82416.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
16.04 | (ii) Fire Jockey Pump Motor:
16.05 | 3 phase, 5.5 kw | 1.00 | Job |  | 9999.00 | 9999.00 | 5000.00 | 5000.00 | 999.00 | 999.00 | 11220.00 | 11220.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
16.06 | 3 phase, 11 kw | 1.00 | Job |  | 14999.00 | 14999.00 | 10000.00 | 10000.00 | 999.00 | 999.00 | 16320.00 | 16320.00 | 1000.00 | 1000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
16.07 | 3 phase, 9.3 kw | 1.00 | Job |  | 11999.00 | 11999.00 | 8000.00 | 8000.00 | 1299.00 | 1299.00 | 15300.00 | 15300.00 | 1049.00 | 1049.00 | 1049.00 | Sterling and wilson pvt ltd
17.00 | Painting (two or more coats) with Synthetic enamel paint of approved shade and colour over one coat of red oxide primer over pipe lines including cleaning/ scrapping and marking the existing indications/numbers with white paint/sticker etc., complete as required. | 500.00 | Sq Mtr |  | 189.00 | 94500.00 | 120.00 | 60000.00 | 199.00 | 99500.00 | 306.00 | 153000.00 | 198.50 | 99250.00 | 60000.00 | NATIONAL SAFETY ENGINEERS
18.00 | Providing Minor Civil Repair Works etc., as and when required for attending breakdown of Hydrant system as detailed below:
18.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | 30.00 | Cum. |  | 239.00 | 7170.00 | 500.00 | 15000.00 | 999.00 | 29970.00 | 306.00 | 9180.00 | 800.00 | 24000.00 | 7170.00 | CHENNAI ENGINEERING SERVICES
18.02 | Demolishing cement concrete manually/mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - Charge. Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 15.00 | Cum. |  | 999.00 | 14985.00 | 1300.00 | 19500.00 | 999.00 | 14985.00 | 1094.00 | 16410.00 | 800.00 | 12000.00 | 12000.00 | Sterling and wilson pvt ltd
18.03 | Laying cement concrete in 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 15.00 | Cum. |  | 7999.00 | 119985.00 | 7000.00 | 105000.00 | 999.00 | 14985.00 | 1224.00 | 18360.00 | 800.00 | 12000.00 | 12000.00 | Sterling and wilson pvt ltd
18.04 | Cement mortar in 1:6 (1 cement: 6 coarse sand) i/c curing etc. | 3.00 | Cum. |  | 3999.00 | 11997.00 | 3000.00 | 9000.00 | 999.00 | 2997.00 | 3423.00 | 10269.00 | 800.00 | 2400.00 | 2400.00 | Sterling and wilson pvt ltd
18.05 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: 1:6 (1 cement: 6 coarse sand) i/c curing etc. | 3.00 | Cum. |  | 5999.00 | 17997.00 | 4000.00 | 12000.00 | 999.00 | 2997.00 | 6280.00 | 18840.00 | 800.00 | 2400.00 | 2400.00 | Sterling and wilson pvt ltd
18.06 | 12mm mix Cement plaster 1:6 (1 Cement: 6 coarse sand) i/c curing etc. | 3.00 | Sq Mtr |  | 289.00 | 867.00 | 350.00 | 1050.00 | 999.00 | 2997.00 | 357.00 | 1071.00 | 800.00 | 2400.00 | 867.00 | CHENNAI ENGINEERING SERVICES
18.07 | Supplying and filling in plinth with river sand under floors, including watering, ramming, consolidating and dressing complete. | 15.00 | Cum. |  | 1999.00 | 29985.00 | 2000.00 | 30000.00 | 999.00 | 14985.00 | 1224.00 | 18360.00 | 800.00 | 12000.00 | 12000.00 | Sterling and wilson pvt ltd
18.08 | Carriage of materials by Mechanical Transport including loading, unloading and stacking complete for a lead of 1 Km. Earth/ building rubbish/ similar unserviceable, dismantled or waste material | 15.00 | Cum. |  | 999.00 | 14985.00 | 600.00 | 9000.00 | 999.00 | 14985.00 | 357.00 | 5355.00 | 800.00 | 12000.00 | 5355.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Providing MS fire box with nut and bolt as per standard etc. complete as required. | 15.00 | Each |  | 4499.00 | 67485.00 | 7500.00 | 112500.00 | 5299.00 | 79485.00 | 2193.00 | 32895.00 | 2600.00 | 39000.00 | 32895.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Providing SS holding lugs with nut and bolt etc. complete as required. | 15.00 | Each |  | 489.00 | 7335.00 | 400.00 | 6000.00 | 1999.00 | 29985.00 | 82.00 | 1230.00 | 375.00 | 5625.00 | 1230.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Providing female coupling with nut and bolt etc. complete as required. | 15.00 | Each |  | 1999.00 | 29985.00 | 1200.00 | 18000.00 | 999.00 | 14985.00 | 51.00 | 765.00 | 1200.00 | 18000.00 | 765.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Providing MS wheel with nut and bolt with suitable as complete as required. | 15.00 | Each |  | 239.00 | 3585.00 | 200.00 | 3000.00 | 99.00 | 1485.00 | 122.00 | 1830.00 | 350.00 | 5250.00 | 1485.00 | DElite System Engineering (India) Pvt. Ltd.
23.00 | Providing MS trim kit and gong bell for alarm valve 150 NB with nut and bolt etc. complete as required. | 1.00 | Each |  | 49999.00 | 49999.00 | 19000.00 | 19000.00 | 999.00 | 999.00 | 32640.00 | 32640.00 | 10000.00 | 10000.00 | 999.00 | DElite System Engineering (India) Pvt. Ltd.
24.00 | Providing 15mm and 50 mm ball valve etc. complete as required. | 2.00 | Each |  | 1299.00 | 2598.00 | 4000.00 | 8000.00 | 999.00 | 1998.00 | 5610.00 | 11220.00 | 1000.00 | 2000.00 | 1998.00 | DElite System Engineering (India) Pvt. Ltd.
25.00 | Providing 63mm SS hose reel nozzle with suitable nut and bolt etc. complete as required. | 10.00 | Each |  | 679.00 | 6790.00 | 1200.00 | 12000.00 | 999.00 | 9990.00 | 1123.00 | 11230.00 | 1200.00 | 12000.00 | 6790.00 | CHENNAI ENGINEERING SERVICES
26.00 | Providing 25 mm PVC hose reel SS nozzle with nut and bolt/ clamps etc. complete as required. | 10.00 | Each |  | 409.00 | 4090.00 | 250.00 | 2500.00 | 99.00 | 990.00 | 393.00 | 3930.00 | 500.00 | 5000.00 | 990.00 | DElite System Engineering (India) Pvt. Ltd.
27.00 | Providing & fixing of hydrant valve PVC cap, with nuts and screws etc. complete as required. | 60.00 | Each |  | 189.00 | 11340.00 | 200.00 | 12000.00 | 99.00 | 5940.00 | 77.00 | 4620.00 | 150.00 | 9000.00 | 4620.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Providing solenoid valve (model ISD - 15) with nut and bolt etc. complete as required. | 6.00 | Each |  | 6999.00 | 41994.00 | 3500.00 | 21000.00 | 8999.00 | 53994.00 | 2315.00 | 13890.00 | 11000.00 | 66000.00 | 13890.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Providing 1" SS ball valve heavy class type etc. complete as required. | 1.00 | Each |  | 899.00 | 899.00 | 1800.00 | 1800.00 | 99.00 | 99.00 | 561.00 | 561.00 | 1553.00 | 1553.00 | 99.00 | DElite System Engineering (India) Pvt. Ltd.
30.00 | Providing MS key for Fire Hydrant Box with washers etc., complete as required. | 20.00 | Each |  | 189.00 | 3780.00 | 150.00 | 3000.00 | 99.00 | 1980.00 | 31.00 | 620.00 | 50.00 | 1000.00 | 620.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Providing & fixing of suitable glass for Fire hydrant box door with screws for fire hydrant box etc. complete as required. | 20.00 | Each |  | 199.00 | 3980.00 | 1200.00 | 24000.00 | 99.00 | 1980.00 | 189.00 | 3780.00 | 700.00 | 14000.00 | 1980.00 | DElite System Engineering (India) Pvt. Ltd.
32.00 | Providing Fire Fighting PVC lined rubber hose of length 15 meters with suitable nuts, couplings etc., complete as required. | 20.00 | Each |  | 4999.00 | 99980.00 | 4500.00 | 90000.00 | 99.00 | 1980.00 | 5559.00 | 111180.00 | 3000.00 | 60000.00 | 1980.00 | DElite System Engineering (India) Pvt. Ltd.
33.00 | Providing 1" GI Nipple etc. complete as required. | 10.00 | Each |  | 389.00 | 3890.00 | 90.00 | 900.00 | 299.00 | 2990.00 | 71.00 | 710.00 | 30.00 | 300.00 | 300.00 | Sterling and wilson pvt ltd
34.00 | Supply of distilled water etc. complete as required. | 75.00 | ltrs |  | 49.00 | 3675.00 | 30.00 | 2250.00 | 39.00 | 2925.00 | 36.00 | 2700.00 | 100.00 | 7500.00 | 2250.00 | NATIONAL SAFETY ENGINEERS
35.00 | Supply of 25mm dia SS ball valve etc., complete as required. | 4.00 | No |  | 999.00 | 3996.00 | 1800.00 | 7200.00 | 999.00 | 3996.00 | 561.00 | 2244.00 | 900.00 | 3600.00 | 2244.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Providing hose reel drum set with hose 20mm dia x 30 mtr long, hose reel nozzle with nut, bolt, clamp etc., complete as required. | 8.00 | No |  | 8999.00 | 71992.00 | 8000.00 | 64000.00 | 9999.00 | 79992.00 | 4233.00 | 33864.00 | 5700.00 | 45600.00 | 33864.00 | ABHISHEK INTEGRATIONS LIMITED
37.00 | Providing Double headed gunmetal landing hydrant valve with nut, bolt, washer, gaskets etc., complete as required. | 2.00 | Each |  | 10999.00 | 21998.00 | 9000.00 | 18000.00 | 999.00 | 1998.00 | 10047.00 | 20094.00 | 10000.00 | 20000.00 | 1998.00 | DElite System Engineering (India) Pvt. Ltd.
38.00 | Providing single headed gunmetal fire hydrant landing valve with suitable bolt nuts and gaskets, etc., complete as required. | 2.00 | Each |  | 5899.00 | 11798.00 | 6000.00 | 12000.00 | 9999.00 | 19998.00 | 4233.00 | 8466.00 | 9000.00 | 18000.00 | 8466.00 | ABHISHEK INTEGRATIONS LIMITED
39.00 | Numbering Fire hydrant box/Fire hydrant landing pipe with double coated Red enamel paint with numbering in white paint of suitable size etc. complete as required. | 250.00 | Each |  | 169.00 | 42250.00 | 150.00 | 37500.00 | 99.00 | 24750.00 | 20.00 | 5000.00 | 20.00 | 5000.00 | 5000.00 | Sterling and wilson pvt ltd, ABHISHEK INTEGRATIONS LIMITED
40.00 | Providing Sprinkler bulb with washer, gaskets, nipple etc., complete as required. | 50.00 | Each |  | 299.00 | 14950.00 | 450.00 | 22500.00 | 299.00 | 14950.00 | 112.00 | 5600.00 | 183.00 | 9150.00 | 5600.00 | ABHISHEK INTEGRATIONS LIMITED
41.00 | Providing suitable thickness Rubber beading for Fire Hydrant box etc., complete as required. | 500.00 | Mtr. |  | 59.00 | 29500.00 | 75.00 | 37500.00 | 99.00 | 49500.00 | 87.00 | 43500.00 | 100.00 | 50000.00 | 29500.00 | CHENNAI ENGINEERING SERVICES
42.00 | Hiring of welding machine with welder including welding rods for carrying out urgent maintenance/repair/breakdown works etc as and when required. | 50.00 | Hrs |  | 499.00 | 24950.00 | 500.00 | 25000.00 | 99.00 | 4950.00 | 2550.00 | 127500.00 | 500.00 | 25000.00 | 4950.00 | DElite System Engineering (India) Pvt. Ltd.
43.00 | Supply of Fire Alarm Systems spares as and when required basis.
44.00 | Supply of 2 core, 1.5 Sq.mm FRLS Copper conductor overall PVC sheathed GI / Al wire Braided (Armoured) FRLS grade cable etc. complete as required. | 300.00 | Mtr |  | 109.00 | 32700.00 | 110.00 | 33000.00 | 129.00 | 38700.00 | 65.00 | 19500.00 | 95.00 | 28500.00 | 19500.00 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Laying of one number 2 core 1.5 Sq.mm Copper conductor overall PVC sheathed GI wire Braided (Armoured) FRLS grade cable/3 core, 1.5 Sq.mm flexible FRLS Copper conductor cable on surface/recess for fire alarm circuit etc., complete as required. | 300.00 | Mtr |  | 29.00 | 8700.00 | 60.00 | 18000.00 | 40.00 | 12000.00 | 31.00 | 9300.00 | 20.00 | 6000.00 | 6000.00 | Sterling and wilson pvt ltd
46.00 | Supply of 3 core, 1.5 Sq.mm flexible FRLS Copper conductor cable complete as required. | 200.00 | Mtr |  | 109.00 | 21800.00 | 100.00 | 20000.00 | 129.00 | 25800.00 | 91.00 | 18200.00 | 200.00 | 40000.00 | 18200.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Supply of Solo A5 -001 Smoke Detector Tester 250 ml etc. complete as required. | 12.00 | Can |  | 2999.00 | 35988.00 | 2000.00 | 24000.00 | 3399.00 | 40788.00 | 2550.00 | 30600.00 | 1500.00 | 18000.00 | 18000.00 | Sterling and wilson pvt ltd
48.00 | Supply of Solo A10S -001 HFC Free Smoke Detector Tester 250 ml etc. as required. | 12.00 | Can |  | 2999.00 | 35988.00 | 3500.00 | 42000.00 | 3399.00 | 40788.00 | 3975.00 | 47700.00 | 1500.00 | 18000.00 | 18000.00 | Sterling and wilson pvt ltd
49.00 | Supply of Smoke Detector Testing Kit Aerosol Dispenser and Telescopic Access Poles (6m Maximum Reach) | 2.00 | Nos |  | 39999.00 | 79998.00 | 20000.00 | 40000.00 | 65999.00 | 131998.00 | 147899.00 | 295798.00 | 5000.00 | 10000.00 | 10000.00 | Sterling and wilson pvt ltd
50.00 | AMC of KIRLOSKAR make Diesel Engines.
51.00 | Periodical Monthly Inspection and Maintenance service contract i/c attending breakdown complaint as and when required for kirloskar make Diesel Engine - Model 6R1080T, Sr.No : 6H.2419/ 16/1000032 installed at Utility Building for Sprinkler system as per manufacturer's standard Instructions / catalogues/ Practices etc., as required.
51.01 | For First Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3000.00 | 36000.00 | 1999.00 | 23988.00 | 2876.00 | 34512.00 | 1833.00 | 21996.00 | 21996.00 | Sterling and wilson pvt ltd
51.02 | For Second Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3100.00 | 37200.00 | 2299.00 | 27588.00 | 3590.00 | 43080.00 | 1834.00 | 22008.00 | 22008.00 | Sterling and wilson pvt ltd
52.00 | Periodical Monthly Inspection and Maintenance service contract i/c attending breakdown complaint as and when required for kirloskar make Diesel Engine - Model 6R1080T, Sr.No : 6H.2419.16/ 1000056 installed at Utility Building for Hydrant system as per manufacturer's standard Instructions / catalogues/ Practices etc., as required.
52.01 | For First Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3000.00 | 36000.00 | 1999.00 | 23988.00 | 2876.00 | 34512.00 | 1833.00 | 21996.00 | 21996.00 | Sterling and wilson pvt ltd
52.02 | For Second Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3100.00 | 37200.00 | 2299.00 | 27588.00 | 3590.00 | 43080.00 | 1834.00 | 22008.00 | 22008.00 | Sterling and wilson pvt ltd
53.00 | Periodical Monthly Inspection and Maintenance service contract i/c attending breakdown complaint as and when required for kirloskar make Diesel Engine - Model 4R1040, Sr.No : 4H.2431.16/ 1920011 installed at Admin Fire Pump House as per manufacturer's standard Instructions / catalogues/ Practices etc., as required.
53.01 | For First Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3000.00 | 36000.00 | 2299.00 | 27588.00 | 2244.00 | 26928.00 | 1500.00 | 18000.00 | 18000.00 | Sterling and wilson pvt ltd
53.02 | For Second Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3100.00 | 37200.00 | 2299.00 | 27588.00 | 3060.00 | 36720.00 | 1500.00 | 18000.00 | 18000.00 | Sterling and wilson pvt ltd
54.00 | Periodical Monthly Inspection and Maintenance service contract i/c attending breakdown complaint as and when required for kirloskar make Diesel Engine - Model 4R1040T, Sr.No : 4H.2431.16/ 0900011 installed at Old SpiceJet Hanger as per manufacturer's standard Instructions / catalogues/ Practices etc., as required.
54.01 | For First Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3000.00 | 36000.00 | 2299.00 | 27588.00 | 2244.00 | 26928.00 | 1500.00 | 18000.00 | 18000.00 | Sterling and wilson pvt ltd
54.02 | For Second Year | 12.00 | Months |  | 2499.00 | 29988.00 | 3100.00 | 37200.00 | 2299.00 | 27588.00 | 3060.00 | 36720.00 | 1500.00 | 18000.00 | 18000.00 | Sterling and wilson pvt ltd
55.00 | Supply of B-Check spares including transportation, loading, unloading etc., complete as required.
55.01 | KOEL CARE Super Genuine oil -13 litres CAN | 2.00 | Each |  | 7999.00 | 15998.00 | 4500.00 | 9000.00 | 4999.00 | 9998.00 | 7796.00 | 15592.00 | 5261.00 | 10522.00 | 9000.00 | NATIONAL SAFETY ENGINEERS
55.02 | KOEL CARE Super Genuine oil - 20 litres CAN | 2.00 | Each |  | 7999.00 | 15998.00 | 6500.00 | 13000.00 | 6999.00 | 13998.00 | 13873.00 | 27746.00 | 8100.00 | 16200.00 | 13000.00 | NATIONAL SAFETY ENGINEERS
55.03 | Spin on Lube Oil Filter | 6.00 | Each |  | 999.00 | 5994.00 | 550.00 | 3300.00 | 899.00 | 5394.00 | 869.00 | 5214.00 | 709.00 | 4254.00 | 3300.00 | NATIONAL SAFETY ENGINEERS
55.04 | Fuel Filter Kit 1.1 Ltr. | 4.00 | Each |  | 699.00 | 2796.00 | 550.00 | 2200.00 | 899.00 | 3596.00 | 665.00 | 2660.00 | 549.00 | 2196.00 | 2196.00 | Sterling and wilson pvt ltd
55.05 | Primary Filter Element | 2.00 | Each |  | 1399.00 | 2798.00 | 550.00 | 1100.00 | 1999.00 | 3998.00 | 3203.00 | 6406.00 | 4735.00 | 9470.00 | 1100.00 | NATIONAL SAFETY ENGINEERS
55.06 | Air Cleaner Element-14'' | 2.00 | Each |  | 1199.00 | 2398.00 | 3000.00 | 6000.00 | 899.00 | 1798.00 | 3537.00 | 7074.00 | 3606.00 | 7212.00 | 1798.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 30153791.00 |  | 32300550.00 |  | 29709611.00 |  | 32087677.00 |  | 31500000.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(29709611.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management Contract of Fire Fighting System and Fire Alarm System at Chennai Airport for the year 2026-28 Tender ID: 2026_AAI_273171_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. (BID ID -1011999) | 29709611.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES (BID ID -1013383) | 30153791.00 | L2
| 3 | Sterling and wilson pvt ltd (BID ID -1013429) | 31500000.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED (BID ID -1016955) | 32087677.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS (BID ID -1016812) | 32300550.00 | L5