## BoQ1
Government eProcurement System Created By: Giduthuri Ch.Jagadish Created Date/Time: 09-Jun-2026 06:04 PM Tender Title: Replacement of Split ACs and RO water Coolers at Tirupati Airport Tender ID: 2026_AAI_273341_1
Tender Inviting Authority: The Senior Manager(Engg-E)-I, AAI, Tirupati Airport.
Name of Work: Replacement of Split ACs & RO water Coolers at Tirupati Airport.
Contract No: AAI/TPT/ENGG (E)/C-01/2026-27
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | General Electricals and Refrigeration (GSTN-36AAGFG4251M1Z7) BID ID -1017100 |  | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -1019658 |  | ASHOKA ELECTRICALS (GSTN-NA) BID ID -1022847
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 1.5 TR with BEE 5 Star rating Inverter type Air cooled Hi wall split Air-Conditioner with non ductile fan coil unit (Indoor Unit), Copper Condensing unit (Outdoor Unit) with fan and high energy efficiency ratio rotary compressor and works with eco-friendly refrigerant gas (R32), suitable for operation on 1 phase, 230 +/- 10% V, 50Hz, AC supply. The supply of the unit shall include the copper piping with nitrile rubber insulation (i.e Copper Piping of not less than 3 Mtrs), interconnecting power cables between the Indoor and Outdoor unit, drain pipe, cordless remote controller etc. as per the standard manufacturer design. Job includes installation of outdoor unit on suitable MS stand for installation and initial charge of refrigerat gas etc., complete as required. | 15.00 | Job |  | 46000.00 | 690000.00 | 45000.00 | 675000.00 | 52000.00 | 780000.00 | 675000.00 | VOLKS ENERGIE PVT LTD
2.00 | SITC of 2.0 TR with BEE 5 Star rating Inverter type Air cooled Hi wall split Air-Conditioner with non ductile fan coil unit (Indoor Unit), Copper Condensing unit (Outdoor Unit) with fan and high energy efficiency ratio rotary compressor and works with eco-friendly refrigerant gas (R32), suitable for operation on 1 phase, 230 +/- 10% V, 50Hz, AC supply. The supply of the unit shall include the copper piping with nitrile rubber insulation (i.e Copper Piping of not less than 3 Mtrs), interconnecting power cables between the Indoor and Outdoor unit, drain pipe, cordless remote controller etc. as per the standard manufacturer design. Job includes installation of outdoor unit on suitable MS stand for installation and initial charge of refrigerat gas etc., complete as required. | 20.00 | Job |  | 54000.00 | 1080000.00 | 50000.00 | 1000000.00 | 62000.00 | 1240000.00 | 1000000.00 | VOLKS ENERGIE PVT LTD
3.00 | SITC of 3.0 TR Floor standing (Tower type) split Air-conditioner unit complete with indoor unit, outdoor condensing unit with high efficiency rotary/scroll compressors, cordless remote controller, copper refrigerant piping with nitrile rubber insulation, drain pipe, interconnecting power cables between the indoor and outdoor unit and all standard accessories as per OEM. The unit shall operate with eco-friendly refrigerant gas (R32/R410A or equivalent), suitable for operation on 3 phase, 415 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. Job includes providing base MS stand/ pedestal for outdoor unit as per site requirement, grouting, core cutting and making good the same, anti-vibration pads as required for proper installation, testing and satisfactory performance etc., complete as required. | 1.00 | Job |  | 94000.00 | 94000.00 | 120000.00 | 120000.00 | 95000.00 | 95000.00 | 94000.00 | General Electricals and Refrigeration
4.00 | SITC of 4.0 TR Floor standing (Tower type) split Air-conditioner unit complete with indoor unit, outdoor condensing unit with high efficiency rotary/scroll compressors, cordless remote controller, copper refrigerant piping with nitrile rubber insulation, drain pipe, interconnecting power cables between the indoor and outdoor unit and all standard accessories as per OEM. The unit shall operate with eco-friendly refrigerant gas (R32/R410A or equivalent), suitable for operation on 3 phase, 415 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. Job includes providing base MS stand/ pedestal for outdoor unit as per site requirement, grouting, core cutting and making good the same, anti-vibration pads as required for proper installation, testing and satisfactory performance etc., complete as required. | 10.00 | Job |  | 105000.00 | 1050000.00 | 140000.00 | 1400000.00 | 97000.00 | 970000.00 | 970000.00 | ASHOKA ELECTRICALS
5.00 | SITC of celling suspended 3.0 TR 4-way Cassette type Air-conditioner unit complete with indoor unit, outdoor condensing unit with rotary/scroll compressors, high performance condensate drain pump, cordless remote controller and all standard accessories as per OEM. The unit shall operate with eco-friendly refrigerant gas (R32/R410A or equivalent), suitable for operation on 3 phase, 415 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. Job includes providing base MS stand/ pedestal for outdoor unit as per site requirement, grouting, core cutting and making good the same, anti-vibration pads as required for proper installation, testing and satisfactory performance etc., complete as required. | 2.00 | Job |  | 85000.00 | 170000.00 | 120000.00 | 240000.00 | 96000.00 | 192000.00 | 170000.00 | General Electricals and Refrigeration
6.00 | SITC of celling suspended 4.0 TR 4-way Cassette type Air-conditioner unit complete with indoor unit, outdoor condensing unit with rotary/scroll compressors, high performance condensate drain pump, cordless remote controller and all standard accessories as per OEM. The unit shall operate with eco-friendly refrigerant gas (R32/R410A or equivalent), suitable for operation on 3 phase, 415 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. Job includes providing base MS stand/ pedestal for outdoor unit as per site requirement, grouting, core cutting and making good the same, anti-vibration pads as required for proper installation, testing and satisfactory performance etc., complete as required. | 7.00 | Job |  | 102000.00 | 714000.00 | 140000.00 | 980000.00 | 120000.00 | 840000.00 | 714000.00 | General Electricals and Refrigeration
7.00 | SITC of celling suspended 2.0 TR single-way Cassette type Air-conditioner unit complete with indoor unit, outdoor condensing unit with rotary/scroll compressors, high performance condensate drain pump, cordless remote controller and all standard accessories as per OEM. The unit shall operate with eco-friendly refrigerant gas (R32/R410A or equivalent), suitable for operation on 1 phase, 240 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. Job includes providing base MS stand/ pedestal for outdoor unit as per site requirement, grouting, core cutting and making good the same, anti-vibration pads as required for proper installation, testing and satisfactory performance etc., complete as required. | 2.00 | Job |  | 89000.00 | 178000.00 | 100000.00 | 200000.00 | 86000.00 | 172000.00 | 172000.00 | ASHOKA ELECTRICALS
8.00 | Supply and fixing of requisite size refrigerant copper piping (Suction and discharge/liquid lines) insulated with nitrile rubber insulation, drain piping, communication cable and power supply cable between IDU and ODU complete for 3.0 TR Floor standing (Tower type) Air-conditioning unit (BOQ Item No.3). Work shall be carried out as per OEM recommendations, including providing and fixing proper saddles, clamps, supports and making good the surfaces, complete as required. (Note: Suction line+ discharge line + drain pipe + nitrile rubber insulation + power supply cable + communication cable Will be measured as Single Rmt) | 20.00 | Rmt |  | 1350.00 | 27000.00 | 1200.00 | 24000.00 | 1100.00 | 22000.00 | 22000.00 | ASHOKA ELECTRICALS
9.00 | Supply and fixing of requisite size refrigerant copper piping (Suction and discharge/liquid lines) insulated with nitrile rubber insulation, drain piping, communication cable and power supply cable between IDU and ODU complete for 4.0 TR Floor standing (Tower type) Air-conditioning unit (BOQ Item No.4). Work shall be carried out as per OEM recommendations, including providing and fixing proper saddles, clamps, supports and making good the surfaces, complete as required. (Note: Suction line+ discharge line + drain pipe + nitrile rubber insulation + power supply cable + communication cable Will be measured as Single Rmt) | 100.00 | Rmt |  | 1350.00 | 135000.00 | 1200.00 | 120000.00 | 1100.00 | 110000.00 | 110000.00 | ASHOKA ELECTRICALS
10.00 | Supply and fixing of requisite size refrigerant copper piping (Suction and discharge/liquid lines) insulated with nitrile rubber insulation, drain piping, communication cable and power supply cable between IDU and ODU complete for 3.0 TR 4-way Cassette Air-conditioning unit (BOQ Item No. 5). Work shall be carried out as per OEM recommendations, including providing and fixing proper saddles, clamps, supports and making good the surfaces, complete as required. (Note: Suction line+ discharge line + drain pipe + nitrile rubber insulation + power supply cable + communication cable Will be measured as Single Rmt) | 50.00 | Rmt |  | 1350.00 | 67500.00 | 1200.00 | 60000.00 | 1100.00 | 55000.00 | 55000.00 | ASHOKA ELECTRICALS
11.00 | Supply and fixing of requisite size refrigerant copper piping (Suction and discharge/liquid lines) insulated with nitrile rubber insulation, drain piping, communication cable and power supply cable between IDU and ODU complete for 4.0 TR 4-way Cassette Air-conditioning unit (BOQ Item No. 6). Work shall be carried out as per OEM recommendations, including providing and fixing proper saddles, clamps, supports and making good the surfaces, complete as required. (Note: Suction line+ discharge line + drain pipe + nitrile rubber insulation + power supply cable + communication cable Will be measured as Single Rmt) | 170.00 | Rmt |  | 1350.00 | 229500.00 | 1200.00 | 204000.00 | 1100.00 | 187000.00 | 187000.00 | ASHOKA ELECTRICALS
12.00 | Supply and fixing of requisite size refrigerant copper piping (Suction and discharge/liquid lines) insulated with nitrile rubber insulation, drain piping, communication cable and power supply cable between IDU and ODU complete for 2.0 TR single-way Inverter type Cassette Air-conditioning unit (BOQ Item No. 7). Work shall be carried out as per OEM recommendations, including providing and fixing proper saddles, clamps, supports and making good the surfaces, complete as required. (Note: Suction line+ discharge line + drain pipe + nitrile rubber insulation + power supply cable + communication cable Will be measured as Single Rmt) | 40.00 | Rmt |  | 1300.00 | 52000.00 | 1200.00 | 48000.00 | 1000.00 | 40000.00 | 40000.00 | ASHOKA ELECTRICALS
13.00 | SITC of water purifier cum storage water cooler with built-in RO & UV purification technology, 80 Litres storage capacity, cooling capacity of 60 LPH, complete with requisite accessories such as 02 faucets, storage tank made up of stainless steel (SS304) and outer body made up of stainless steel, suitable compressor & refrigerant gas and all standard accessories as per OEM. The unit shall be suitable for operation on 1 phase, 240 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. | 5.00 | Job |  | 108500.00 | 542500.00 | 97000.00 | 485000.00 | 82000.00 | 410000.00 | 410000.00 | ASHOKA ELECTRICALS
14.00 | SITC of water purifier cum storage water cooler with built-in RO & UV purification technology, 120 Litres storage capacity, cooling capacity of 80 LPH, complete with requisite accessories such as 03 faucets, storage tank made up of stainless steel (SS304) and outer body made up of stainless steel, suitable compressor & refrigerant gas and all standard accessories as per OEM. The unit shall be suitable for operation on 1 phase, 240 +/- 10% V, 50Hz, AC supply for continuous commercial operation and meeting the technical specifications. | 6.00 | Job |  | 122000.00 | 732000.00 | 140000.00 | 840000.00 | 120000.00 | 720000.00 | 720000.00 | ASHOKA ELECTRICALS
15.00 | SITC of energy-efficient SS 304 Grade Stainless steel air curtains of 3feet width (900mm), noise level <70 db, power consumption less than 500W, maximum air velocity at nozzle of 21m/sec, in-built/magnetic door sensor for automatic operation complete with requisite size mounting brackets, electrical connections and all standard accessories as per OEM. The unit shall be suitable for operation on 1 phase, 240 +/- 10% V, 50Hz, AC supply for commercial operation and meeting the technical specifications. Job includes any minor works involved as part of the installation. | 6.00 | Job |  | 23800.00 | 142800.00 | 25000.00 | 150000.00 | 26149.15 | 156894.90 | 142800.00 | General Electricals and Refrigeration
16.00 | SITC of energy-efficient SS 304 Grade Stainless steel air curtains of 5feet width (1500mm), noise level <70 db, power consumption ≤700W, maximum air velocity at nozzle of 21m/sec, in-built/magnetic door sensor for automatic operation complete with requisite size mounting brackets, electrical connections and all standard accessories as per OEM. The unit shall be suitable for operation on 1 phase, 240 +/- 10% V, 50Hz, AC supply for commercial operation and meeting the technical specifications. Job includes any minor works involved as part of the installation. | 10.00 | Job |  | 32300.00 | 323000.00 | 30000.00 | 300000.00 | 32073.00 | 320730.00 | 300000.00 | VOLKS ENERGIE PVT LTD
17.00 | SITC of 5 kVA, single-phase, wall-mounted type automatic voltage stabilizer, suitable for operation on wide input voltage range of 160V to 280V AC and nominal output voltage of 230V AC maintained within ±2%, complete with built in time delay, inbuilt protections against over-voltage and under-voltage, thermal overload protection, input/output/trip indications and suitable for application of 1.5TR & 2.0TR Airconditioning units etc., as required. Job includes any minor works involved as part of the installation. | 40.00 | Job |  | 2500.00 | 100000.00 | 4000.00 | 160000.00 | 3000.00 | 120000.00 | 100000.00 | General Electricals and Refrigeration
18.00 | Supply and fixing of 1/2 inch dia. copper refrigerant pipe, including copper brazing and insulating with nitrile rubber insulation etc., complete as required. | 75.00 | Mtr |  | 600.00 | 45000.00 | 550.00 | 41250.00 | 420.00 | 31500.00 | 31500.00 | ASHOKA ELECTRICALS
19.00 | Supply and fixing of 1/4 inch dia. copper refrigerant pipe, including copper brazing and insulating with nitrile rubber insulation etc., complete as required. | 175.00 | Mtr |  | 500.00 | 87500.00 | 390.00 | 68250.00 | 440.00 | 77000.00 | 68250.00 | VOLKS ENERGIE PVT LTD
20.00 | Supply and fixing of 5/8 inch dia. copper refrigerant pipe, including copper brazing and insulating with nitrile rubber insulation etc., complete as required. | 100.00 | Mtr |  | 700.00 | 70000.00 | 850.00 | 85000.00 | 480.00 | 48000.00 | 48000.00 | ASHOKA ELECTRICALS
21.00 | Supply and fixing of 25 mm dia. uPVC drain pipe, suitable for condensate water drainage in AC systems. The job includes proper routing, secure fixing with clamps/supports, and any minor civil works involved as a part of the installation. | 150.00 | Mtr |  | 300.00 | 45000.00 | 190.00 | 28500.00 | 80.00 | 12000.00 | 12000.00 | ASHOKA ELECTRICALS
22.00 | Supply of 3-core X 2.5 sq.mm FRLS PVC insulated, PVC sheathed multicore copper conductor flexible power cable of 1.1 KV grade confirming to relevant IS 694 etc., completed as required. | 100.00 | Mtr |  | 350.00 | 35000.00 | 200.00 | 20000.00 | 150.00 | 15000.00 | 15000.00 | ASHOKA ELECTRICALS
23.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kV grade of following size in the existing RCC/HUME/METAL/PVC pipe etc. as required. Up to 35 sq.mm | 50.00 | Mtr |  | 65.00 | 3250.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 2500.00 | ASHOKA ELECTRICALS
24.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 kV grade of following size on surface as required. Up to 35 sq.mm | 50.00 | Mtr |  | 85.00 | 4250.00 | 120.00 | 6000.00 | 50.00 | 2500.00 | 2500.00 | ASHOKA ELECTRICALS
25.00 | Supply and fixing of 4" × 2" (100 mm × 50 mm) rigid PVC rectangular trunking including all accessories such as bends, elbows etc. The trunking shall be UV resistant, fire retardant and have a smooth finish suitable for routing refrigerant piping and electrical/control cables. The laying shall be done on walls or from ceilings as per site requirement using appropriate supports clamps, or brackets, ensuring proper alignment, sealing of joints, and neat appearance as per site conditions and manufacturer recommendations. | 400.00 | Mtr |  | 1400.00 | 560000.00 | 300.00 | 120000.00 | 280.00 | 112000.00 | 112000.00 | ASHOKA ELECTRICALS
26.00 | Supplying and fixing 20 A, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 35.00 | Each |  | 3000.00 | 105000.00 | 900.00 | 31500.00 | 1200.00 | 42000.00 | 31500.00 | VOLKS ENERGIE PVT LTD
27.00 | SITC of wall recessed, ADA-compliant Bi-level drinking water fountain with double bubbler, antimicrobial copper (MD-CU29) bottle filler system. The unit shall include a minimum 100 LPH RO + UV system, stainless steel taps and cabinet made up of heavy-duty galvanized steel frame. The unit shall deliver water through a flexible bubbler guard, include an adjustable thermostat and work on R134a refrigerant. The unit shall be suitable for operation on 240V, 50 Hz, AC supply with an operating pressure 50–120 PSI, meeting regulations such as NSF-USA/ ANSI /Green Building and Energy Star standards. The size of unit is approximately 472 mm (D) × 447 mm (W)or as per OEM standards, complete with a 100LPH RO system, 60 Litres HPT tank, micron filter, RO membranes with housing, booster pumps, Post carbons filters, control instruments and skid mounting. Job includes civil and plumbing works as part of installation, testing and commissioning at various locations for proper functioning and aesthetic appearance, as directed by Engineer-in-Charge, at no extra cost, complete at required. | 4.00 | Job |  | 215000.00 | 860000.00 | 220000.00 | 880000.00 | 227200.00 | 908800.00 | 860000.00 | General Electricals and Refrigeration
28.00 | Dismantling of existing 1.5/2.0/3.0/4.0 ton Split/Floor/Casette type AC and transporation to AAI store including removal of copper piping,electrical connections,pumping down of gas and closure of Ac hole with Cement concerete and painting etc. complete as required. | 65.00 | Job |  | 1500.00 | 97500.00 | 1000.00 | 65000.00 | 650.00 | 42250.00 | 42250.00 | ASHOKA ELECTRICALS
29.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of equired length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered langes of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS Certification marks) | 334.47 | Sqm |  | 2500.00 | 836175.00 | 1250.00 | 418087.50 | 280.00 | 93651.60 | 93651.60 | ASHOKA ELECTRICALS
30.00 | Providing and applying plaster of paris putty of 2 mm thickness over surface to prepare the surface even and smooth complete. | 334.47 | Sqm |  | 250.00 | 83617.50 | 200.00 | 66894.00 | 70.00 | 23412.90 | 23412.90 | ASHOKA ELECTRICALS
31.00 | Painting with Premium Acrylic Smooth paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.9 kg/10 sqm) | 334.47 | Sqm |  | 80.00 | 26757.60 | 200.00 | 66894.00 | 70.00 | 23412.90 | 23412.90 | ASHOKA ELECTRICALS
32.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 334.47 | Sqm |  | 50.00 | 16723.50 | 100.00 | 33447.00 | 10.00 | 3344.70 | 3344.70 | ASHOKA ELECTRICALS
| Total in Figures |  |  |  |  | 9203073.60 |  | 8941822.50 |  | 7867997.00
Lowest Amount Quoted BY: ASHOKA ELECTRICALS(7867997.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Split ACs and RO water Coolers at Tirupati Airport Tender ID: 2026_AAI_273341_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHOKA ELECTRICALS (BID ID -1022847) | 7867997.00 | L1
| 2 | VOLKS ENERGIE PVT LTD (BID ID -1019658) | 8941822.50 | L2
| 3 | General Electricals and Refrigeration (BID ID -1017100) | 9203073.60 | L3