## BoQ1
Government eProcurement System Created By: Md Mukhlish Akhatar Created Date/Time: 09-May-2026 03:13 PM Tender Title: Miscellaneous Civil works in Terminal Building, City side area i.e. Repair/ Renovation of Terminal Building Toilets, Repair of CISF Toilets including drainage and sewerage in Gogoo Land area and other Misc works at Srinagar International Airport, Sri Tender ID: 2026_AAI_273697_1
Tender Inviting Authority: Senior manager (Engg-Civil), Srinagar International Airport,Srinagar.
Name of Work: Miscellaneous Civil works in Terminal Building, City side area i.e. Repair/ Renovation of Terminal Building Toilets, Repair of CISF Toilets including drainage and sewerage in Gogoo Land area and other Misc works at Srinagar International Airport, Srinagar for the year 2026-27.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S GREEN CHANNEL BUILDERS (GSTN-NA) BID ID -1016031 |  | M/S ANGU INTERIOR DECORATORS (GSTN-NA) BID ID -1013375 |  | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED (GSTN-NA) BID ID -1014293 |  | M/S KUCHAY CONSTRUCTION CORPORATION (GSTN-NA) BID ID -1015868 |  | BAKHTAWAR AHMAD RATHER (GSTN-NA) BID ID -1009368 |  | Ghulam Nabi Rather (GSTN-NA) BID ID -1014271
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means {Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge.All kinds of soil | 300.00 | cum |  | 350.00 | 105000.00 | 220.00 | 66000.00 | 275.00 | 82500.00 | 300.00 | 90000.00 | 600.00 | 180000.00 | 333.00 | 99900.00 | 66000.00 | M/S ANGU INTERIOR DECORATORS
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 150.00 | Cum |  | 250.00 | 37500.00 | 180.00 | 27000.00 | 275.00 | 41250.00 | 200.00 | 30000.00 | 150.00 | 22500.00 | 222.00 | 33300.00 | 22500.00 | BAKHTAWAR AHMAD RATHER
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering -All work up to plinth level: 1:2:4 (1 cement : 2 coarse sand (zone-Ill) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 6.00 | cum |  | 11000.00 | 66000.00 | 9400.00 | 56400.00 | 6050.00 | 36300.00 | 9500.00 | 57000.00 | 10000.00 | 60000.00 | 10000.00 | 60000.00 | 36300.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering -All work up to plinth level 1:4:8 (1 Cement : 4 coarse sand (zone-Ill) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 38.00 | cum |  | 9000.00 | 342000.00 | 7900.00 | 300200.00 | 6050.00 | 229900.00 | 8000.00 | 304000.00 | 7500.00 | 285000.00 | 9000.00 | 342000.00 | 229900.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
5.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately Kiln seasoned and chemically treated hallock wood | 3.20 | cum |  | 130000.00 | 416000.00 | 115000.00 | 368000.00 | 88000.00 | 281600.00 | 120000.00 | 384000.00 | 95000.00 | 304000.00 | 120000.00 | 384000.00 | 281600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
6.00 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc Kiln seasoned and chemically treated hallock wood | 7.00 | cum |  | 130000.00 | 910000.00 | 115000.00 | 805000.00 | 88000.00 | 616000.00 | 120000.00 | 840000.00 | 95000.00 | 665000.00 | 120000.00 | 840000.00 | 616000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
7.00 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes (weight not less than 10 kg per sqm) fixing with lSI marked M.S. pressed butt hinges bright finished of required size with necessary screws Kiln seasoned and chemically treated hollock wood 30 mm thick | 7.00 | sqm |  | 5000.00 | 35000.00 | 4000.00 | 28000.00 | 3850.00 | 26950.00 | 4000.00 | 28000.00 | 3500.00 | 24500.00 | 4500.00 | 31500.00 | 24500.00 | BAKHTAWAR AHMAD RATHER
8.00 | Providing and fixing lSI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including lSI marked Stainless Steel butt hinges with necessary screws | 26.00 | Sqm |  | 5000.00 | 130000.00 | 4000.00 | 104000.00 | 3850.00 | 100100.00 | 4000.00 | 104000.00 | 6000.00 | 156000.00 | 4500.00 | 117000.00 | 100100.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
9.00 | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws 30 mm thick shutters with lSI marked M.S. pressed butt hinges bright finished of required size Kiln seasoned and chemically treated hollock wood | 7.00 | Sqm |  | 4500.00 | 31500.00 | 4000.00 | 28000.00 | 2750.00 | 19250.00 | 4000.00 | 28000.00 | 3000.00 | 21000.00 | 4500.00 | 31500.00 | 19250.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
10.00 | Providing and fixing aluminium sliding door bolts, lSI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 14.00 | Each |  | 350.00 | 4900.00 | 280.00 | 3920.00 | 275.00 | 3850.00 | 300.00 | 4200.00 | 300.00 | 4200.00 | 333.00 | 4662.00 | 3850.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
11.00 | Providing and fixing aluminium tower bolts, lSI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 100x10 mm | 28.00 | Each |  | 120.00 | 3360.00 | 100.00 | 2800.00 | 165.00 | 4620.00 | 100.00 | 2800.00 | 300.00 | 8400.00 | 111.00 | 3108.00 | 2800.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
12.00 | Providing and fixing aluminium handles, lSI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125mm | 42.00 | Each |  | 120.00 | 5040.00 | 100.00 | 4200.00 | 165.00 | 6930.00 | 100.00 | 4200.00 | 200.00 | 8400.00 | 111.00 | 4662.00 | 4200.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
13.00 | Providing & Fixing decorative high pressure laminated sheet of plain I wood grain in gloss matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 50.00 | sqm |  | 1050.00 | 52500.00 | 900.00 | 45000.00 | 990.00 | 49500.00 | 900.00 | 45000.00 | 700.00 | 35000.00 | 999.00 | 49950.00 | 35000.00 | BAKHTAWAR AHMAD RATHER
14.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fiXing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete Hot finished welded type tubes | 6060.00 | Kg |  | 220.00 | 1333200.00 | 180.00 | 1090800.00 | 143.00 | 866580.00 | 200.00 | 1212000.00 | 80.00 | 484800.00 | 222.00 | 1345320.00 | 484800.00 | BAKHTAWAR AHMAD RATHER
15.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 12090.00 | kg |  | 105.00 | 1269450.00 | 100.00 | 1209000.00 | 143.00 | 1728870.00 | 105.00 | 1269450.00 | 105.00 | 1269450.00 | 111.00 | 1341990.00 | 1209000.00 | M/S ANGU INTERIOR DECORATORS
16.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc | 250.00 | Kg |  | 900.00 | 225000.00 | 850.00 | 212500.00 | 990.00 | 247500.00 | 850.00 | 212500.00 | 600.00 | 150000.00 | 888.00 | 222000.00 | 150000.00 | BAKHTAWAR AHMAD RATHER
17.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Ordinary cement without any pigment | 100.00 | sqm |  | 1050.00 | 105000.00 | 1150.00 | 115000.00 | 1650.00 | 165000.00 | 1150.00 | 115000.00 | 1400.00 | 140000.00 | 1111.00 | 111100.00 | 105000.00 | M/S GREEN CHANNEL BUILDERS
18.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only. Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 1200 mm | 250.00 | Sqm |  | 2250.00 | 562500.00 | 2100.00 | 525000.00 | 1540.00 | 385000.00 | 2100.00 | 525000.00 | 3200.00 | 800000.00 | 2222.00 | 555500.00 | 385000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
19.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 50.00 | sqm |  | 2250.00 | 112500.00 | 2100.00 | 105000.00 | 1540.00 | 77000.00 | 2100.00 | 105000.00 | 2000.00 | 100000.00 | 2222.00 | 111100.00 | 77000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
20.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab of colour Black, Cherry/Ruby Red or equivalent | 50.00 | Sqm |  | 5500.00 | 275000.00 | 5000.00 | 250000.00 | 3520.00 | 176000.00 | 5000.00 | 250000.00 | 2500.00 | 125000.00 | 5555.00 | 277750.00 | 125000.00 | BAKHTAWAR AHMAD RATHER
21.00 | Providing corrugated G.S. sheet roofing including vertical/ curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.l. limpet washers or with G.l. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. 0.63 mm thick with zinc coating not less than 275 gm/ m2 | 190.00 | sqm |  | 1250.00 | 237500.00 | 1200.00 | 228000.00 | 1210.00 | 229900.00 | 1200.00 | 228000.00 | 3000.00 | 570000.00 | 1200.00 | 228000.00 | 228000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION
22.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes confonning to IS : 13592 Type A, including jointing with seal ring confonning to IS : 5382, leaving 10 mm gap for thennal expansion, (i) Single socketed pipes 75 mm diameter | 60.00 | meter |  | 300.00 | 18000.00 | 300.00 | 18000.00 | 1100.00 | 66000.00 | 300.00 | 18000.00 | 1000.00 | 60000.00 | 300.00 | 18000.00 | 18000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
23.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes confonning to IS : 13592 Type A, including jointing with seal ring confonning to IS : 5382, leaving 10 mm gap for thennal expansion, (i) Single socketed pipes 110 mm diameter | 100.00 | Meter |  | 450.00 | 45000.00 | 450.00 | 45000.00 | 1100.00 | 110000.00 | 450.00 | 45000.00 | 178.00 | 17800.00 | 450.00 | 45000.00 | 17800.00 | BAKHTAWAR AHMAD RATHER
24.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main 'T runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross ·r of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main ~" runners to be suspended from ceiling using Gl slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm Gl adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. Gl Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of Gl sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation and backed with a black Glass fiber acoustical fleece. (Manufacture test certificate to be provided for above specifications) | 120.00 | Sqm |  | 2200.00 | 264000.00 | 2200.00 | 264000.00 | 1980.00 | 237600.00 | 2200.00 | 264000.00 | 3000.00 | 360000.00 | 2200.00 | 264000.00 | 237600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
25.00 | Painting on G.S. sheet with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : New work (two or more coats) including a coat of approved steel primer but excluding a coat of mordant solution | 190.00 | Sqm |  | 200.00 | 38000.00 | 200.00 | 38000.00 | 660.00 | 125400.00 | 200.00 | 38000.00 | 100.00 | 19000.00 | 200.00 | 38000.00 | 19000.00 | BAKHTAWAR AHMAD RATHER
26.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 520.00 | sqm |  | 250.00 | 130000.00 | 250.00 | 130000.00 | 495.00 | 257400.00 | 250.00 | 130000.00 | 100.00 | 52000.00 | 250.00 | 130000.00 | 52000.00 | BAKHTAWAR AHMAD RATHER
27.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials including malba all complete as per directions of Engineer-in-Charge. | 17.00 | Each |  | 160.00 | 2720.00 | 140.00 | 2380.00 | 275.00 | 4675.00 | 150.00 | 2550.00 | 100.00 | 1700.00 | 155.00 | 2635.00 | 1700.00 | BAKHTAWAR AHMAD RATHER
28.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 26.00 | Each |  | 150.00 | 3900.00 | 140.00 | 3640.00 | 275.00 | 7150.00 | 150.00 | 3900.00 | 500.00 | 13000.00 | 150.00 | 3900.00 | 3640.00 | M/S ANGU INTERIOR DECORATORS
29.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 730.00 | Sqm |  | 120.00 | 87600.00 | 90.00 | 65700.00 | 275.00 | 200750.00 | 100.00 | 73000.00 | 500.00 | 365000.00 | 111.00 | 81030.00 | 65700.00 | M/S ANGU INTERIOR DECORATORS
30.00 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 250.00 | Sqm |  | 120.00 | 30000.00 | 90.00 | 22500.00 | 275.00 | 68750.00 | 100.00 | 25000.00 | 100.00 | 25000.00 | 111.00 | 27750.00 | 22500.00 | M/S ANGU INTERIOR DECORATORS
31.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 17.00 | Each |  | 150.00 | 2550.00 | 140.00 | 2380.00 | 275.00 | 4675.00 | 150.00 | 2550.00 | 50.00 | 850.00 | 150.00 | 2550.00 | 850.00 | BAKHTAWAR AHMAD RATHER
32.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 4.00 | Each |  | 7800.00 | 31200.00 | 7000.00 | 28000.00 | 4400.00 | 17600.00 | 7000.00 | 28000.00 | 2000.00 | 8000.00 | 7777.00 | 31108.00 | 8000.00 | BAKHTAWAR AHMAD RATHER
33.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | Each |  | 7800.00 | 23400.00 | 7000.00 | 21000.00 | 4950.00 | 14850.00 | 7000.00 | 21000.00 | 10000.00 | 30000.00 | 7777.00 | 23331.00 | 14850.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
34.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required:- (a) White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 4.00 | Each |  | 4500.00 | 18000.00 | 4500.00 | 18000.00 | 3850.00 | 15400.00 | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 12000.00 | BAKHTAWAR AHMAD RATHER
35.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings | 4.00 | Each |  | 200.00 | 800.00 | 200.00 | 800.00 | 2200.00 | 8800.00 | 200.00 | 800.00 | 3000.00 | 12000.00 | 200.00 | 800.00 | 800.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
36.00 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | 7.00 | Each |  | 8000.00 | 56000.00 | 8000.00 | 56000.00 | 3850.00 | 26950.00 | 8000.00 | 56000.00 | 2000.00 | 14000.00 | 8000.00 | 56000.00 | 14000.00 | BAKHTAWAR AHMAD RATHER
37.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 7.00 | Each |  | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 1100.00 | 7700.00 | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 7000.00 | BAKHTAWAR AHMAD RATHER, M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
38.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including allPP - R plain & brass threaded polypropylene random fittings and fixing the pipe with clamps at 1.00 m spacing. This includes the cost of cuttingchases and making good the same including testing of joints complete asper direction of Engineer-in-Charge.Concealed work,including cutting chases and making good the wall etc.PN - 16 Pipe, 25 mm OD (SDR-7.4) | 270.00 | Meter |  | 600.00 | 162000.00 | 600.00 | 162000.00 | 495.00 | 133650.00 | 600.00 | 162000.00 | 1000.00 | 270000.00 | 600.00 | 162000.00 | 133650.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
39.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including allPP - R plain & brass threaded polypropylene random fittings and fixing the pipe with clamps at 1.00 m spacing. This includes the cost of cuttingchases and making good the same including testing of joints complete asper direction of Engineer-in-Charge.Concealed work,including cutting chases and making good the wall etc.PN - 16 Pipe, 32 mm OD (SDR-7.4) | 80.00 | Meter |  | 600.00 | 48000.00 | 600.00 | 48000.00 | 550.00 | 44000.00 | 600.00 | 48000.00 | 1000.00 | 80000.00 | 600.00 | 48000.00 | 44000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
40.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded,having thermal stability for hot & cold water supply, including all PP - Rplain & brass threaded polypropylene random fittings, including trenching,refilling & testing of joints complete as per direction of Engineer-in-Charge. External work PN - 16 Pipe, 25 mm OD (SDR-7.4) | 200.00 | Meter |  | 300.00 | 60000.00 | 300.00 | 60000.00 | 385.00 | 77000.00 | 300.00 | 60000.00 | 1000.00 | 200000.00 | 300.00 | 60000.00 | 60000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
41.00 | Providing and fixing PPR Unions 25 mm | 20.00 | Each |  | 600.00 | 12000.00 | 500.00 | 10000.00 | 165.00 | 3300.00 | 500.00 | 10000.00 | 100.00 | 2000.00 | 555.00 | 11100.00 | 2000.00 | BAKHTAWAR AHMAD RATHER
42.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801 UV stabilized & anti - microbial fusion welded,having thermal stability for hot & cold water supply, including all PP - Rplain & brass threaded polypropylene random fittings, including trenching,refilling & testing of joints complete as per direction of Engineer-in-Charge. External work PN - 16 Pipe, 32 mm OD (SDR-7.4) | 150.00 | Meter |  | 500.00 | 75000.00 | 400.00 | 60000.00 | 440.00 | 66000.00 | 400.00 | 60000.00 | 800.00 | 120000.00 | 444.00 | 66600.00 | 60000.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
43.00 | Providing and fixing PPR Unions 32 mm | 12.00 | Each |  | 600.00 | 7200.00 | 500.00 | 6000.00 | 77.00 | 924.00 | 500.00 | 6000.00 | 200.00 | 2400.00 | 555.00 | 6660.00 | 924.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
44.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 92.00 | Each |  | 150.00 | 13800.00 | 150.00 | 13800.00 | 66.00 | 6072.00 | 150.00 | 13800.00 | 200.00 | 18400.00 | 150.00 | 13800.00 | 6072.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
45.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 7.00 | Each |  | 250.00 | 1750.00 | 200.00 | 1400.00 | 110.00 | 770.00 | 200.00 | 1400.00 | 1000.00 | 7000.00 | 222.00 | 1554.00 | 770.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
46.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 6000.00 | litre |  | 15.00 | 90000.00 | 15.00 | 90000.00 | 11.00 | 66000.00 | 15.00 | 90000.00 | 10.00 | 60000.00 | 15.00 | 90000.00 | 60000.00 | BAKHTAWAR AHMAD RATHER
47.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 7.00 | Each |  | 1000.00 | 7000.00 | 1000.00 | 7000.00 | 165.00 | 1155.00 | 1000.00 | 7000.00 | 800.00 | 5600.00 | 1000.00 | 7000.00 | 1155.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
48.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15 mm nominal bore | 21.00 | Each |  | 1200.00 | 25200.00 | 1200.00 | 25200.00 | 165.00 | 3465.00 | 1200.00 | 25200.00 | 200.00 | 4200.00 | 1200.00 | 25200.00 | 3465.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
49.00 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball. 15 mm nominal bore, 105 mm long, weighing not less than 138 gms | 6.00 | Each |  | 220.00 | 1320.00 | 200.00 | 1200.00 | 165.00 | 990.00 | 200.00 | 1200.00 | 500.00 | 3000.00 | 222.00 | 1332.00 | 990.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
50.00 | Providing and fixing PTMT soap Dish Holder having length of 138 mm, breadth 102 mm, height of 75 mm with concealed fitting arrangements, weighing not less than 106 gms | 11.00 | Each |  | 220.00 | 2420.00 | 200.00 | 2200.00 | 55.00 | 605.00 | 200.00 | 2200.00 | 1500.00 | 16500.00 | 222.00 | 2442.00 | 605.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
51.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 200.00 | Metre |  | 1200.00 | 240000.00 | 1200.00 | 240000.00 | 880.00 | 176000.00 | 1200.00 | 240000.00 | 2000.00 | 400000.00 | 1200.00 | 240000.00 | 176000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
52.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 15.00 | Each |  | 17000.00 | 255000.00 | 17000.00 | 255000.00 | 8800.00 | 132000.00 | 17000.00 | 255000.00 | 10000.00 | 150000.00 | 17000.00 | 255000.00 | 132000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
53.00 | Providing and fixing powder coated aluminium work (minimum thickness of powder coating 50 micron) consisting of tee/ angle sections, of approved make conforming to IS : 733 in frames of false ceiling including aluminium angle cleats with necessary C.P. brass/ stainless steel sunk screws, aluminium perimeter angles fixed to wall with stainless steel rawl plugs @ 450 mm centre to centre and fixing the frame work to G.I. level adjusting hangers 6 mm dia. with necessary cadmium plated machine screws all complete as per approved architectural drawings and direction of the Engineer-in-charge (level adjusting hangers, ceiling cleats and expansion hold fasteners to be paid for separately). (Manufacture test certificate to be provided for above specifications) | 750.00 | Kg |  | 650.00 | 487500.00 | 650.00 | 487500.00 | 1100.00 | 825000.00 | 650.00 | 487500.00 | 800.00 | 600000.00 | 666.00 | 499500.00 | 487500.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
54.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 100.00 | Meter |  | 50.00 | 5000.00 | 50.00 | 5000.00 | 330.00 | 33000.00 | 50.00 | 5000.00 | 180.00 | 18000.00 | 55.00 | 5500.00 | 5000.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
55.00 | Dismantling of Sanitary fittings i.e Washbasin,Bottle Trap, Basin Mixer, wall Mixer, Bibcock,Angle valve,Health Faucet, ,Soap dispenser,Automatic Towel Dispenser,Urinal and urinal partition glass etc. including removing and disposal of dismantled materials including malba/ handing over to the AAI all complete as per directions of Engineer-in-Charge. | 215.00 | Each |  | 22.00 | 4730.00 | 20.00 | 4300.00 | 110.00 | 23650.00 | 20.00 | 4300.00 | 100.00 | 21500.00 | 22.00 | 4730.00 | 4300.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
56.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in walls, skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). complete. Size of Tile 600 x 1200 mm | 480.00 | Sqm |  | 2200.00 | 1056000.00 | 2200.00 | 1056000.00 | 1595.00 | 765600.00 | 2200.00 | 1056000.00 | 2000.00 | 960000.00 | 2200.00 | 1056000.00 | 765600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
57.00 | Providing and fixing Greenlam Sturdo Essentia Collection- Serene Series / Merino ZMS Nylon Series toilet cubicle (of following standard dimension which includes (Toilet cubicle with standard dimension of L Shape Thickness 12mm, Door 600x1785, Divider Height 1820, Overall Height 1995, Depth 1577, Width 1087)) made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate should be suede/Raw Silk, which includes doors, pilasters & intermediate panels finished with approved texture/shade of AAI approved make and as per fire retardant BS-476/97 standard. This also includes providing and fixing in position necessary hardware Nylon Adjustable Foot, Nylon Gravity Hinge, Door Stopper Channel, Nyl Door Knob, Nylon Coat Hook With Door Stopper, Nylon Lockset With Indicator, Rubber For Door Stopper Channel,Sst 316 Screw,Toprail,U Channel,Wall Plug. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by Stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm.(Manufacture test certificate to be provided for above specifications) | 12.00 | Each |  | 45000.00 | 540000.00 | 45000.00 | 540000.00 | 35200.00 | 422400.00 | 45000.00 | 540000.00 | 5000.00 | 60000.00 | 45000.00 | 540000.00 | 60000.00 | BAKHTAWAR AHMAD RATHER
58.00 | Providing and fixing including installation 18 mm thick acrylic solid surface( LG Hi- Macs/Corian/Durlax or approved equivalent ) for counter top of counters/ Tables, wash basin counters including moulding at edges of required colours(colour category-C) and compatible with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin (poly methyl acrylate )and 2/3 natural minerals,heat resistance withstand up to 2120 F, hardness rating 85 on the rockwell M scale, tensile strength 6000 psi,flexible strength 10000 psi in required shape and size by providing if required cut out by using a router with least a 0.4 inch bit complete as per Engineer-in-charge.The plan area (horizontal and vertical faces) including cut outs provided for wash basin will be measured for payment. (Manufacture test certificate to be provided for above specifications) | 15.00 | Sqm |  | 20000.00 | 300000.00 | 20000.00 | 300000.00 | 6050.00 | 90750.00 | 20000.00 | 300000.00 | 3000.00 | 45000.00 | 20000.00 | 300000.00 | 45000.00 | BAKHTAWAR AHMAD RATHER
59.00 | Providing and Fixing of aluminium composite panel of approved colour/shade in cladding consisting aluminium sheet on both faces of PE core with PVDF coating on front skin panel of approved make(AAI approved make) on aluminium frame upto 6.00 m height Aluminium composite panel shall be fixed on aluminium frame with necessary screws etc. and gap filled with structural sealant along all edges/joints of aluminium composite panel, all complete as per direction & satisfaction of Engineer-in-charge. (Aluminium frame work shall be measured & paid separetaly). a)4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick) | 150.00 | Sqm |  | 2000.00 | 300000.00 | 2000.00 | 300000.00 | 1430.00 | 214500.00 | 2000.00 | 300000.00 | 4000.00 | 600000.00 | 2000.00 | 300000.00 | 214500.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
60.00 | Providing and fixing CP brass wash basin Mixer, 15 mm nominal bore (Model No. Jaguar CQT-23167B or equivalent) complete all as specified and directed by Engineer-in-Charge. | 26.00 | Each |  | 3500.00 | 91000.00 | 3500.00 | 91000.00 | 4400.00 | 114400.00 | 3500.00 | 91000.00 | 6000.00 | 156000.00 | 3500.00 | 91000.00 | 91000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
61.00 | Providing and fixing CP brass Wall Mixer, 15 mm nominal bore (Model No. Jaguar FLP-CHR-5219PM or equivalent) complete all as specified and directed by Engineer-in-Charge. | 13.00 | Each |  | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 4400.00 | 57200.00 | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 57200.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
62.00 | Providing and fixing C.P. Two-way Bib Cock (15 mm) (Make- Jaguar- CQT-23041 or equivalent) complete in all respect as per direction of Engineer-in-charge. | 8.00 | Each |  | 2500.00 | 20000.00 | 2000.00 | 16000.00 | 1210.00 | 9680.00 | 2000.00 | 16000.00 | 2000.00 | 16000.00 | 2222.00 | 17776.00 | 9680.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
63.00 | Providing and fixing Hand Shower (Health Faucet) with 8mm Dia, 1 Meter Long Flexible Tube & Wall Hook with N.R.V (Back Flow Preventer) (Make- Jaguar- ALD-577 or equivalent) for WC complete in all respect as per direction of Engineer-in-charge. | 25.00 | Each |  | 2500.00 | 62500.00 | 2000.00 | 50000.00 | 1375.00 | 34375.00 | 2000.00 | 50000.00 | 2000.00 | 50000.00 | 2222.00 | 55550.00 | 34375.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
64.00 | Removing and refixing of existing toilet cubicle (Length front Door side=1.12 m ,B= 1.56 m, H= 1.83, Door width =0.60 m) This also includes removing and refixing of existing hardware such as Nylon Adjustable Foot, Nylon Gravity Hinge, Door Stopper Channel, Nyl Door Knob, Nylon Coat Hook With Door Stopper, Nylon Lockset With Indicator, Rubber For Door Stopper Channel,Sst 316 Screw,Toprail,U Channel,Wall Plug,plywood etc. removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 8.00 | Each |  | 2000.00 | 16000.00 | 2000.00 | 16000.00 | 1650.00 | 13200.00 | 2000.00 | 16000.00 | 500.00 | 4000.00 | 2000.00 | 16000.00 | 4000.00 | BAKHTAWAR AHMAD RATHER
65.00 | Providing and fixing wash basin (Make- Jaquar- FNS-WHT-40801 or equivalent) with, 32 mm C.P. brass waste coupling of standard pattern,(Make- Jaquar- ALD-709 or equivalent) white Vitreous China Wall hung with full pedestal (Make- Jaquar- FNS-WHT-40301 or equivalent ) wash basin of size 620x480x185 mm and pedestal size 715x170 mm complete in all respect as per direction of Engineer-in-charge. | 2.00 | Each |  | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 4950.00 | 9900.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 8000.00 | 16000.00 | 9900.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
66.00 | Providing and fixing C.P. brass Two-in- one angle valve with wall flange (Make- ESSCO- MQT-526AKN or equivalent) for basin mixer and geyser etc. points of approved quality conforming to IS:8931 15 mm nominal bore | 17.00 | Each |  | 2000.00 | 34000.00 | 2000.00 | 34000.00 | 1512.50 | 25712.50 | 2000.00 | 34000.00 | 500.00 | 8500.00 | 2000.00 | 34000.00 | 8500.00 | BAKHTAWAR AHMAD RATHER
67.00 | Providing and fixing bottle trap (Make- Jaguar- ALD-769L Size 300 X 190mm or equivalent) for wash basin and urinals etc, of approved quality complete in all respect as per direction of Engineer-in-charge. | 24.00 | Each |  | 2500.00 | 60000.00 | 2500.00 | 60000.00 | 2200.00 | 52800.00 | 2500.00 | 60000.00 | 600.00 | 14400.00 | 2500.00 | 60000.00 | 14400.00 | BAKHTAWAR AHMAD RATHER
68.00 | Providing and fixing white Wall Hung EWC with of size 370x540x410 mm with in built jet & PP soft close seat cover, Hinges accessories set of approved make(Jaquar CNS-WHT-959JSPP or equivalent) and shape including providing & fixing white Pneumatic Single piece slim concealed cistern (Make- Jaguar- JCS-WHT-2400FS or equivalent) with floor mounting frame installation kit and s-type drain pipe connection set for wall hung WC, including pneumatic white Control face plate opal(Jaquar JCP-CHR-152415 or equivalent), seat cover,and cistern fittings, nuts, bolts and gasket etc complete. | 11.00 | Each |  | 3500.00 | 38500.00 | 3000.00 | 33000.00 | 12100.00 | 133100.00 | 3000.00 | 33000.00 | 1000.00 | 11000.00 | 3333.00 | 36663.00 | 11000.00 | BAKHTAWAR AHMAD RATHER
69.00 | Providing & fixing White vitreous china water closet squatting pan Indian type (Make- Essco- ECS-WHT-451 or equivalent) Size 440 X 575 x250 mm along with “S” or “P” trap complete including all necessary materials, with including providing & fixing white Pneumatic Single piece slim concealed cistern (Make- Jaguar- JCS-WHT-2400FS or equivalent) with floor mounting frame installation kit and s-type drain pipe connection set for IWC with fittings,including pneumatic white Control face plate opal(Jaquar JCP-CHR-152415 or equivalent), seat cover,and cistern fittings, nuts, bolts and gasket etc complete. as per the direction of Engineer-in charge | 8.00 | Each |  | 20000.00 | 160000.00 | 20000.00 | 160000.00 | 2090.00 | 16720.00 | 20000.00 | 160000.00 | 1000.00 | 8000.00 | 20000.00 | 160000.00 | 8000.00 | BAKHTAWAR AHMAD RATHER
70.00 | Providing and fixing C.P. Waste Coupling (Make- Jaguar- ALD-709 or equivalent) for wash basin and sink, of approved quality and colour. Waste coupling 32 mm dia of 80 mm length and 62mm Breadth weighing not less than 45 gms as per direction of EIC. | 22.00 | Each |  | 1200.00 | 26400.00 | 1000.00 | 22000.00 | 605.00 | 13310.00 | 1000.00 | 22000.00 | 500.00 | 11000.00 | 1111.00 | 24442.00 | 11000.00 | BAKHTAWAR AHMAD RATHER
71.00 | Providing and fixing white vitreous china flat back half stall urinal (Jaquar make model No. URS-WHT-13253N or equivalent) of size 635x325x385 mm with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting , waste couplings (Jaquar make model No. ALD-727L130 or equivalent) in C.P. brass, and Urinal sensor Sensor Concealed Type Flush Valve for Urinal Complete set with Installation Box & Control Valve (9V transformer) (Jaquar make model No. SNR-STL-51077E or equivalent) including painting of fittings and cutting and making good the walls and floors wherever required as per the direction of EIC. | 16.00 | Each |  | 30000.00 | 480000.00 | 30000.00 | 480000.00 | 24200.00 | 387200.00 | 30000.00 | 480000.00 | 7000.00 | 112000.00 | 30000.00 | 480000.00 | 112000.00 | BAKHTAWAR AHMAD RATHER
72.00 | Providing and fixing Looking mirror of thickness 8 mm fitted with wall and SS fittings,screws etc.of approved make mirror including holes in the mirror edges should be round and smooth . All complete as per direction and satisfaction of E-I-C | 10.00 | Sqm |  | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 2750.00 | 27500.00 | 5000.00 | 50000.00 | 6000.00 | 60000.00 | 5000.00 | 50000.00 | 27500.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
73.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes confonning to IS : 13592 Type A, including jointing with seal ring confonning to IS : 5382, leaving 10 mm gap for thennal expansion, (i) Single socketed pipes 50 mm diameter | 70.00 | meter |  | 250.00 | 17500.00 | 200.00 | 14000.00 | 1100.00 | 77000.00 | 200.00 | 14000.00 | 180.00 | 12600.00 | 222.00 | 15540.00 | 12600.00 | BAKHTAWAR AHMAD RATHER
74.00 | Providing & fixing of approved make translucent film, cast PVC, , thickness of 2 mil(0.05 mm) without adhesive and 3 mil (0.8) with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F (0.6 Kg/cm at 23 C0. Adhesion after 24 hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: (Manufacture test certificate to be provided for above specifications). Designer special crystal-effect film to reproduce sand-blasting effect on glass with customised designs & colours | 160.00 | sqm |  | 2400.00 | 384000.00 | 2000.00 | 320000.00 | 3905.00 | 624800.00 | 2000.00 | 320000.00 | 2000.00 | 320000.00 | 2222.00 | 355520.00 | 320000.00 | BAKHTAWAR AHMAD RATHER, M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
75.00 | Providing & fixing of approved make translucent film, cast PVC, , thickness of 2 mil(0.05 mm) without adhesive and 3 mil (0.8) with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F (0.6 Kg/cm at 23 C0. Adhesion after 24 hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: (Manufacture test certificate to be provided for above specifications). frosted film to reproduce sand-blasting effect on glass | 50.00 | sqm |  | 1500.00 | 75000.00 | 1500.00 | 75000.00 | 2640.00 | 132000.00 | 1500.00 | 75000.00 | 2800.00 | 140000.00 | 1500.00 | 75000.00 | 75000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
76.00 | Providing & fixing of approved make ( 3 M AS001 or equivalent )anti-slip tapes of Size, Tape Width: 50mm of PVC material of approved colour as per requirement on floor or stairs with adequate adhesive after thoroughly cleaning of existing surface all complete. The rate includes removal of existing tapes where ever required. | 90.00 | Meter |  | 100.00 | 9000.00 | 100.00 | 9000.00 | 825.00 | 74250.00 | 100.00 | 9000.00 | 1000.00 | 90000.00 | 100.00 | 9000.00 | 9000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
77.00 | Providing and fixing wash basin (Make - Jaquar Mod. No. JDS-WHT-25935 or equivalent) complete all as per direction and satisfaction of Engineer-In-Charge. | 22.00 | Each |  | 4500.00 | 99000.00 | 4500.00 | 99000.00 | 4620.00 | 101640.00 | 4500.00 | 99000.00 | 5000.00 | 110000.00 | 4500.00 | 99000.00 | 99000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
78.00 | Painting with polyurethane PU paint of approved colour brand(AAI approved make) and manufacture to give an even shade on existing frame/ trusses in Terminal Building at a Height of approx 8 to 12 mtrs i/c necessary scrapping and two or more coat of PU Paint etc complete as per direction of Engineer In-Charge: New Work Two or more Coat | 1500.00 | sqm |  | 250.00 | 375000.00 | 200.00 | 300000.00 | 550.00 | 825000.00 | 200.00 | 300000.00 | 200.00 | 300000.00 | 222.00 | 333000.00 | 300000.00 | BAKHTAWAR AHMAD RATHER, M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
79.00 | Providing and fixing 08 mm thick frameless toughened glass of approved brand and manufacture for Partition work , including SS patch fittings of approved make fixed in existing SS railings etc.all completely as per direction of Engineer-in-charge. (frame work shall be paid seperatly) | 10.00 | sqm |  | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 3300.00 | 33000.00 | 4000.00 | 40000.00 | 2000.00 | 20000.00 | 4000.00 | 40000.00 | 20000.00 | BAKHTAWAR AHMAD RATHER
80.00 | Providing, erecting, fitting & fixing at all elevations incl. curved surfaces in existing roofing system ,edge flashing made up of 0.55 mm colour coated zincalume steel sheets of 400 mm width. The work will incl. cost of all labour, equip., hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washers & consumable & screws etc at all heights. The work is to be carried out as per existing condition including all heights and direction of E-in-C . The flashing sheet to be of high tensile zincalume steel, (550 mpa) havng a total; zinc aliuminum coating total of both sides as per AS:1397-1993) and finished with coating of SMP/Super Polyster colour bond XRW quality apint as per AS/NZS-2728:1997(category-3) of approved colour & 20 microns thick on exposed surface over a primer coat of 5 microns, & 5 microns thick on back surface over a primer coat of 5 microns. The fixing of flashingl on horizontal runner(purlins & z-purlins) should be with hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washer on theflashing sheets. The work shall also inlcude providing, erecting, fitting & fixing of all fasteners, flashing , capping for all edges caps corners etc. made out of 0.55 mm colour coated zincalume steel sheet of same specifications as above (the work is to be carried out in existing roofing sysytem & involves only flashing work .The above fixing arrangement shall be carried out as per directions of Engineer -in -charge as per the site condition whichever fixing arangement is required .No addition /deduction shall be carried for fixing items (Manufacture test certificate to be provided for above specifications) | 200.00 | Meter |  | 600.00 | 120000.00 | 600.00 | 120000.00 | 1320.00 | 264000.00 | 600.00 | 120000.00 | 4000.00 | 800000.00 | 600.00 | 120000.00 | 120000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
81.00 | Providing, erecting, fitting & fixing at all elevations incl. curved surfaces in existing roofing system ,edge flashing made up of 0.55 mm colour coated zincalume steel sheets with 400 mm width. The work will incl. cost of all labour, equip., hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washers & consumable & screws etc at all heights. The is to be carried out as per existing condition including all heights and direction of E-in-C . The profile sheet to be of high tensile zincalume steel, (550 mpa) havng a total; zinc aliuminum coating total of both sides as per AS:1397-1993) and finished with coating of SMP/Super Polyster colour bond XRW quality apint as per AS/NZS-2728:1997(category-3) of approved colour & 20 microns thick on exposed surface over a primer coat of 5 microns, & 5 microns thick on back surface over a primer coat of 5 microns. The panel to be of standard size & each panel must have a male 7 female joints to provide complete water tight roofing. The fixing of panel on horizontal runner(purlins & z-purlins) should be with hot-dipped zinc coated hexagonal head self drilling fasteners with EPDM/neoprene washer on the crest of sheets. The work shall also inlcude providing, erecting, fitting & fixing of all fasteners, flashing , capping for all edges caps corners etc. made out of 0.55 mm colour coated zincalume steel sheet of same specifications as above , 7 'z'-purlin to be fixed over the inner sheet at purlin locations for fixing the top sheet. (flashing material to be provided by department.)(the work is to be carried out in existing roofing sysytem & involves only flashing work .The above fixing arrangement shall be carried out as per directions of Engineer -in -charge as per the site condition whichever fixing arangement is required .No addition /deduction shall be carried for fixing items (Manufacture test certificate to be provided for above specifications) | 150.00 | Meter |  | 200.00 | 30000.00 | 200.00 | 30000.00 | 1210.00 | 181500.00 | 200.00 | 30000.00 | 3000.00 | 450000.00 | 200.00 | 30000.00 | 30000.00 | M/S ANGU INTERIOR DECORATORS, Ghulam Nabi Rather, M/S KUCHAY CONSTRUCTION CORPORATION, M/S GREEN CHANNEL BUILDERS
82.00 | Providing and fixing 12 mm thick (Boiled waterproof) plywood of approved with necessary fevicol, screws,nails etc.complete for ceiling, counter, cupboard, partitions or similar works as per the direction of Engg - in - charge. | 324.00 | sqm |  | 1500.00 | 486000.00 | 1500.00 | 486000.00 | 1155.00 | 374220.00 | 1500.00 | 486000.00 | 2000.00 | 648000.00 | 1500.00 | 486000.00 | 374220.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
83.00 | Providing and placing of underground Advanced Septic Tank (Make- Sintex PWTS-AM-600-01 or equivalent) of 6000 Ltrs capacity with cover and pall ring media i/c necessary fixing from existing line and testing of operation etc complete as per direction of Engineer In-Charge. (Note:- Cost of Excavation and filling will be paid for separtely in respective item as per Site requirement) | 2.00 | Each |  | 275000.00 | 550000.00 | 275000.00 | 550000.00 | 209000.00 | 418000.00 | 275000.00 | 550000.00 | 60000.00 | 120000.00 | 275000.00 | 550000.00 | 120000.00 | BAKHTAWAR AHMAD RATHER
84.00 | Providing and Fixing 5mm thick designer toughened lacquered glass of saint Gobin or equivalent on existing surfaces on wall with provision of Opening in the Laquered glass as per site requirement including SS fittings(the glass edges should be smooth rounded properly) as per direction of Engineer-in-charge | 20.00 | Sqm |  | 9000.00 | 180000.00 | 8000.00 | 160000.00 | 6050.00 | 121000.00 | 8000.00 | 160000.00 | 2000.00 | 40000.00 | 8888.00 | 177760.00 | 40000.00 | BAKHTAWAR AHMAD RATHER
85.00 | Removal and credit for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received including dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 50.00 | Kg |  | 333.00 | -16650.00 | 350.00 | -17500.00 | 99.00 | -4950.00 | 350.00 | -17500.00 | 100.00 | -5000.00 | 333.00 | -16650.00 | -17500.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
86.00 | Removal and credit for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete. | 100.00 | Kg |  | 20.00 | -2000.00 | 25.00 | -2500.00 | 55.00 | -5500.00 | 25.00 | -2500.00 | 20.00 | -2000.00 | 22.00 | -2200.00 | -5500.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
87.00 | Removal and credit for taking away of PVC connections, PVC flushing cisten with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete | 200.00 | Kg |  | 5.00 | -1000.00 | 10.00 | -2000.00 | 11.00 | -2200.00 | 10.00 | -2000.00 | 20.00 | -4000.00 | 11.00 | -2200.00 | -4000.00 | BAKHTAWAR AHMAD RATHER
88.00 | Removal and credit for taking away of aluminium butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates etc. and the like received from dismantling. The material so received shall be the property of contractor including dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete | 50.00 | Kg |  | 80.00 | -4000.00 | 100.00 | -5000.00 | 77.00 | -3850.00 | 100.00 | -5000.00 | 20.00 | -1000.00 | 99.00 | -4950.00 | -5000.00 | M/S ANGU INTERIOR DECORATORS, M/S KUCHAY CONSTRUCTION CORPORATION
89.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorised representative all complete | 200.00 | Kg |  | 40.00 | -8000.00 | 50.00 | -10000.00 | 77.00 | -15400.00 | 50.00 | -10000.00 | 20.00 | -4000.00 | 44.00 | -8800.00 | -15400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 14164290.00 |  | 13229820.00 |  | 13724738.50 |  | 13504550.00 |  | 13614700.00 |  | 14002315.00
Lowest Amount Quoted BY: M/S ANGU INTERIOR DECORATORS(13229820.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works in Terminal Building, City side area i.e. Repair/ Renovation of Terminal Building Toilets, Repair of CISF Toilets including drainage and sewerage in Gogoo Land area and other Misc works at Srinagar International Airport, Sri Tender ID: 2026_AAI_273697_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S ANGU INTERIOR DECORATORS (BID ID -1013375) | 13229820.00 | L1
| 2 | M/S KUCHAY CONSTRUCTION CORPORATION (BID ID -1015868) | 13504550.00 | L2
| 3 | BAKHTAWAR AHMAD RATHER (BID ID -1009368) | 13614700.00 | L3
| 4 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED (BID ID -1014293) | 13724738.50 | L4
| 5 | Ghulam Nabi Rather (BID ID -1014271) | 14002315.00 | L5
| 6 | M/S GREEN CHANNEL BUILDERS (BID ID -1016031) | 14164290.00 | L6