## BoQ1
Government eProcurement System Created By: Simerdeep Singh Created Date/Time: 06-Aug-2026 03:50 PM Tender Title: Construction of Restroom on the terrace of ATC building complex at SGRDJI Airport Amritsar. Tender ID: 2026_AAI_274324_2
Tender Inviting Authority: AGM (E-C)
Name of Work: Construction of Restroom on the terrace of ATC building complex at SGRDJI Airport Amritsar. (2nd Call)
Contract No: Tender ID No. 2026_AAI_274324_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAVINDER KUMAR KAKKAR (GSTN-03ACXPK8290PIZL) BID ID -1043308 |  | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED (GSTN-NA) BID ID -1044708
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - incharge. | 5.00 | Cum | 178.61 | 2700.00 | 13500.00 | 3550.00 | 17750.00 | 13500.00 | RAVINDER KUMAR KAKKAR
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. A) Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 4.00 | Cum | 178.61 | 1700.00 | 6800.00 | 2130.00 | 8520.00 | 6800.00 | RAVINDER KUMAR KAKKAR
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 10.00 | Cum | 178.61 | 1500.00 | 15000.00 | 1660.00 | 16600.00 | 15000.00 | RAVINDER KUMAR KAKKAR
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | Cum | 178.61 | 6500.00 | 195000.00 | 7300.00 | 219000.00 | 195000.00 | RAVINDER KUMAR KAKKAR
5.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 18.00 | Cum | 178.61 | 8000.00 | 144000.00 | 9400.00 | 169200.00 | 144000.00 | RAVINDER KUMAR KAKKAR
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 46.00 | Cum | 178.61 | 8200.00 | 377200.00 | 9500.00 | 437000.00 | 377200.00 | RAVINDER KUMAR KAKKAR
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. (Thermo-Mechanically Treated bars of grade Fe-500D or more.) | 7000.00 | Kg | 178.61 | 90.00 | 630000.00 | 110.00 | 770000.00 | 630000.00 | RAVINDER KUMAR KAKKAR
8.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 500.00 | Kg | 178.61 | 110.00 | 55000.00 | 145.00 | 72500.00 | 55000.00 | RAVINDER KUMAR KAKKAR
9.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. a) In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 1300.00 | Kg | 178.61 | 120.00 | 156000.00 | 220.00 | 286000.00 | 156000.00 | RAVINDER KUMAR KAKKAR
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for (a) Columns, Pillars, Piers, Abutments, Posts and Struts | 130.00 | Sqm | 178.61 | 720.00 | 93600.00 | 930.00 | 120900.00 | 93600.00 | RAVINDER KUMAR KAKKAR
11.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (a) Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | 25.00 | Sqm | 178.61 | 720.00 | 18000.00 | 680.00 | 17000.00 | 17000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
12.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : (Lintels, beams, plinth beams, girders, bressumers and Cantilevers.) | 25.00 | Sqm | 178.61 | 650.00 | 16250.00 | 560.00 | 14000.00 | 14000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
13.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : ( Suspended floors, roofs, landings, balconies and access platform ) | 280.00 | Sqm | 178.61 | 720.00 | 201600.00 | 840.00 | 235200.00 | 201600.00 | RAVINDER KUMAR KAKKAR
14.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. : a) cement mortar 1:4 (1 cement : 4 coarse sand) | 25.00 | Sqm | 178.61 | 1000.00 | 25000.00 | 1100.00 | 27500.00 | 25000.00 | RAVINDER KUMAR KAKKAR
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 60.00 | Cum | 178.61 | 8500.00 | 510000.00 | 7700.00 | 462000.00 | 462000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
16.00 | Providing and fixing of external wall system on Light gauge steel frame work with outer face cement boards as per standard sizes fixed with selfdrilling / taping screws / fasteners @ 60 cm c/c of approved make. groove of 2 mm to 3 mm shall be maintained and grooves shall be sealed with silicon based sealant. The board shall be fixed in a staggered pattern. Screws shall be of counter sunk rib head of 1.60 mm to 4 mm thick or 8 to 10 gauge of length varying from 25 to 45 mm and. Internal face 12.5 mm thick gypsum plaster board fixed on cement board as per standard sizes fixed with self- drilling / taping screws / fasteners @ 60cm c/c of approved make, proper taping and jointing to be done using fiber mesh tape and epoxy and acrylic based jointing compound for seamless finish.(cost of frame work to be paid for separately) Outer face- Outer face having 6 mm thick fiber cement board Type A, Category-III as per IS:14862:2000 fixed on 9 mm thick fiber cement board Type A, Category-III, as per IS:14862:2000 (high pressure steam cured) Inner Face- 12.5 mm thick gypsum plaster board conforming to IS 2095:2011 fixed on 8 mm thick fibre cement board of Type B, Category-III, as per IS:14862:2000 (High pressure steam cured) | 80.00 | Sqm | 178.61 | 2500.00 | 200000.00 | 2600.00 | 208000.00 | 200000.00 | RAVINDER KUMAR KAKKAR
17.00 | 12 mm cement plaster of mix : a) 1:4 (1 cement: 4 fine sand) | 280.00 | Sqm | 178.61 | 330.00 | 92400.00 | 280.00 | 78400.00 | 78400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
18.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: a) 1:4 (1 cement: 4 fine sand) | 260.00 | Sqm | 178.61 | 350.00 | 91000.00 | 340.00 | 88400.00 | 88400.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
19.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 320.00 | Sqm | 178.61 | 300.00 | 96000.00 | 230.00 | 73600.00 | 73600.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
20.00 | Providing & Fixing of THERMORY PINE C92 wood Panels of size 140 mm (Breadth) X 20 mm (thickness) X 2400 mm to 4000 mm (length) of make BRENSTOL OU/Kebony/Perennial wood installed on a frame made of Hollow Aluminum Channels (Size 25mm X 50 mm) at a distance of 450-600 mm. The aluminum frame will be leveled and undulation of wall/partition will be adjusted by filling with wood in the aluminum channels. THERMORY PINE C92 wood Panels are then to be fixed over the aluminum channel with the help of SS B1 THERMORY FASTNERS & SS Screws. The screws should not be visible after finishing. The fixed THERMORY PINE c92 Wooden panel surface will be finished with Exterior oil based coatings from CUTEK, Australia in the desired stain. This item includes all cost i.e. duty, taxes, installation, transportation, wastage, labour and T&P required for the job etc. (MTC to be submitted) | 400.00 | Sqm | 178.61 | 5500.00 | 2200000.00 | 6400.00 | 2560000.00 | 2200000.00 | RAVINDER KUMAR KAKKAR
21.00 | Providing fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Fibre glass wool conforming to IS : 8183, density 24kg Im3, 50 mm thick, wrapped in 200 G Virgin Polythene bags, fixed to ceiling with metallic cleats (50x50x3 mm)@ 60 em and wire mesh of 12.5 mm x 24 gauge wire mesh, for top most ceiling of building. | 210.00 | Sqm | 178.61 | 600.00 | 126000.00 | 670.00 | 140700.00 | 126000.00 | RAVINDER KUMAR KAKKAR
22.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 380.00 | Sqm | 178.61 | 100.00 | 38000.00 | 155.00 | 58900.00 | 38000.00 | RAVINDER KUMAR KAKKAR
23.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 100.00 | Sqm | 178.61 | 150.00 | 15000.00 | 220.00 | 22000.00 | 15000.00 | RAVINDER KUMAR KAKKAR
24.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a) New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 286.00 | Sqm | 178.61 | 120.00 | 34320.00 | 190.00 | 54340.00 | 34320.00 | RAVINDER KUMAR KAKKAR
25.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. : a) with water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 120.00 | Sqm | 178.61 | 60.00 | 7200.00 | 140.00 | 16800.00 | 7200.00 | RAVINDER KUMAR KAKKAR
26.00 | Wall painting with acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/litre of approved brand and manufacture including applying additional coats wherever required to achieve even shade and colour. a) Two coats | 120.00 | Sqm | 178.61 | 100.00 | 12000.00 | 140.00 | 16800.00 | 12000.00 | RAVINDER KUMAR KAKKAR
27.00 | Providing and fixing including installation 18 mm thick acrylic solid surface( LG Hi- Macs/Corian/Durlax or approved equivalent ) on horzontal/vertical surface as per design including moulding at edges of required colours(colour category-C) and compatible with ANSIZ 124.3 or ANSIZ 124.6 standards, resembling real stone but made of 1/3 acrylic raisin (poly methyl acrylate )and 2/3 natural minerals,heat resistance withstand up to 2120 F, hardness rating 85 on the rockwell M scale, tensile strength 6000 psi,flexible strength 10000 psi in required shape and size by providing if required cut out by using a router with least a 0.4 inch bit complete as per Engineer-in-charge.The plan area (horizontal and vertical faces) including cut outs provided will be measured for payment.(MTC to be submitted) | 10.00 | Sqm | 178.61 | 2600.00 | 26000.00 | 1930.00 | 19300.00 | 19300.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
28.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. a) Glazed Vitrified tiles Matt/Antiskid finish of size i) Size of Tile 800 x 1200 mm | 20.00 | Sqm | 178.61 | 1800.00 | 36000.00 | 2340.00 | 46800.00 | 36000.00 | RAVINDER KUMAR KAKKAR
29.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 1000x1000 mm | 55.00 | Sqm | 178.61 | 1700.00 | 93500.00 | 1850.00 | 101750.00 | 93500.00 | RAVINDER KUMAR KAKKAR
30.00 | Providing and fixing (10+2) mm thick SCHEIT / EPITOME / PERGO / UNITEX click Laminate Flooring/Skirting having an inbuilt 2 mm Sound block SC backing - class of use 23/33, wear Resistance AC-5, Impact Residence-IC 3, (as per EN13329), Top surface having a MLC (Multi Layer Composite) High Pressure Laminate, top surface treated with (Aluminium Oxide) surface guard & on the top of high density fiber board substrate specially development core having smart lock Tounge and Groove joints to secure long lasting joint. The edge of Tounge and groove planks duly impregnated with paraffin. The approved decor planks to be placed on Upnderlay-0.2mm thick Alkali resistant Polyethelene sheet 2mm EPU foam to resist any moisture movement from the sub floor and secure floating floor installation as per the direction, satisfaction and shades approved by the Engineer-in-charge .(MTC to be submitted) | 140.00 | Sqm | 178.61 | 5600.00 | 784000.00 | 7200.00 | 1008000.00 | 784000.00 | RAVINDER KUMAR KAKKAR
31.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- incharge Extruded section profile size 48x40 mm | 60.00 | Mtr | 178.61 | 250.00 | 15000.00 | 230.00 | 13800.00 | 13800.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
32.00 | 30 mm thick factory made Polyvinyl Chloride (PVC) door shutter made of styles and rails of a uPVC hollow section of size 60x30 mm and wall thickness 2 mm (± 0.2 mm), with inbuilt decorative moulding edging on one side. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 25x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of ‘H’ section, a uPVC hollow section of size 100x30 mm and 2 mm (± 0.2 mm) wall thickness fixed to the shutter styles by means of plastic/ galvanised M.S. ‘U’ cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness . The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer’s specification and direction of Engineer-in-charge. | 5.00 | Sqm | 178.61 | 250.00 | 1250.00 | 2500.00 | 12500.00 | 1250.00 | RAVINDER KUMAR KAKKAR
33.00 | Providing and fixing factory made uPVC glazed/wire mesh windows/doors comprising of lead free uPVC multi-chambered frame, sash and mullion/coupler (where ever required) extruded profiles having minimum wall thickness of 1.70 mm for Series R1 and R2 profiles and 2.10 mm for Series R3 and R4 profiles conforming to EN: 12608 in any shape, colour and design duly reinforced with galvanized mild steel section made of required shape & size as per CPWD Specification, uPVC extruded glazing beads, interlocks and Inline sash adaptor (where ever required) of appropriate dimension, EPDM gasket, hardware, SS 304 grade fasteners of minimum 8 mm dia with countersunk head, comprising of matching polyamide PA6 grade sleeve for fixing frame to finished wall as per IS 1367 : Part 1 to 14, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame, sash & mullion (if required) shall be mitred cut and fusion welded/mechanically jointed duly sealed at all corners, including drilling of holes for fixing hardware and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of approved size and quality, all complete as per approved drawing conforming to CPWD specification & direction of Engineer-in-Charge. Section of steel reinforcement and cross sections of uPVC profiles to be as per design approved by Engineer-in-Charge. Wire mesh / Glazing of plain/ toughened/ laminated/ double glass unit with / without high performance coatings as per design requirements and conforming to IS: 3548 & IS: 16231 shall be paid separately. Note:- Structural design proof checked from a Government Engineering Institute, to be provided by the manufacturer for : (i) Sites with basic wind speed > 45 m/sec as per IS 875 – Part 3 (ii) Sites with structure height more than 20m for all wind speeds Two track two panels sliding window with Aluminium channel for roller track, wool pile, nylon rollers with SS 304 body. Using R2 series with frame (40mm & above) x (40mm & above) & sash (25mm & above) x (50mm & above) with zinc alloy (zamak) powder coated touch locks with hook (Height upto 1.2 metre). | 15.00 | Sqm | 178.61 | 7500.00 | 112500.00 | 7200.00 | 108000.00 | 108000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
34.00 | Providing, supplying and fixing of Frameless Single Leaf Swing Glass Door in glazing of above item using 12mm thick toughened glass of Saint Gobain or approved equivalent on OZONE make die cast patch fitting with stainless steel cover including fixing of patch fittings, floor springs, locks, handles etc. using the hardware items which includes one no each of Patch for overhead / Side Panel , Triple Connector for Overhead / Side Panel , Bottom Patch OPF 3, Top Patch OPF 2, Corner Lock OPL 1 with Euro profile cylinder, Strike Plate, Floor Spring FS 8400, pair of OZONE make SS Pull Handle 25. mm dia (OGH 55 ),OPF 1 for over panel and side panel for double action door and OPF 610 overpanel and side panel to hold door and other accessories for self closing feature complete in all respects as per detailed drawings, manufacturers specifications and direction of Engineer in charge. (note :door to be hunged to make provision to fix door with all above fittings at opening area) Cost anlysis for door length 1 mtrs and ht 2.4 mtrs with all patches and using over patch OPF 1 with pivot and and OPF 610 patch ) | 12.00 | Sqm | 178.61 | 12000.00 | 144000.00 | 16020.00 | 192240.00 | 144000.00 | RAVINDER KUMAR KAKKAR
35.00 | Providing and laying gang saw cut 18 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20 mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. a) With granite stone of area less than 0.50 sqm. | 10.00 | Sqm | 178.61 | 3500.00 | 35000.00 | 3900.00 | 39000.00 | 35000.00 | RAVINDER KUMAR KAKKAR
36.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings and fixing the pipe with clamps at 1.00 m spacing. This includes the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work,including cutting chases and making good the wall etc. a) PN - 16 Pipe, 25 mm OD (SDR-7.4) | 30.00 | Mtr | 178.61 | 450.00 | 13500.00 | 305.00 | 9150.00 | 9150.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
37.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings and fixing the pipe with clamps at 1.00 m spacing. This includes the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work,including cutting chases and making good the wall etc. a) PN - 16 Pipe, 20 mm OD (SDR-7.4) | 30.00 | Mtr | 178.61 | 450.00 | 13500.00 | 400.00 | 12000.00 | 12000.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
38.00 | Providing and fixing 3 layer PP-R (Poly propylene Random copolymer) pipes confirming to IS:15801, UV stabilized & anti - microbial fusion welded, having thermal stability for hot & cold water supply, including all PP - R plain & brass threaded polypropylene random fittings and fixing the pipe with clamps at 1.00 m spacing. This includes the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer-in-Charge. Concealed work,including cutting chases and making good the wall etc. a) PN - 16 Pipe, 32 mm OD (SDR-7.4) | 50.00 | Mtr | 178.61 | 500.00 | 25000.00 | 620.00 | 31000.00 | 25000.00 | RAVINDER KUMAR KAKKAR
39.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Ltr. | 178.61 | 9.00 | 18000.00 | 9.00 | 18000.00 | 18000.00 | RAVINDER KUMAR KAKKAR, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
40.00 | P/F urinal partitions made of 8 mm thick toughened frosted glass of size 0.9 m length, 0.45 m width one side and 0.3 m width other side i/c edge moulding & polishing i/c filling silicon (clear) (Jaquar 1810-UC) wherever required with all nut bolts, patch fititngs or Aluminium channel required including making good all complete as per drawing and as per directions & satisfaction of Engineer-in-Charge. | 2.00 | Each | 178.61 | 4500.00 | 9000.00 | 5600.00 | 11200.00 | 9000.00 | RAVINDER KUMAR KAKKAR
41.00 | Providing and fixing Swivel Mirror 615 X 445mm Oval Shape of approved make (Jaquar ACN-CHR-1185 or equivalent) and Material Composition/ finishing as per Specification & satisfaction of Engineer-in-Charge. | 3.00 | Each | 178.61 | 3000.00 | 9000.00 | 4800.00 | 14400.00 | 9000.00 | RAVINDER KUMAR KAKKAR
42.00 | Providing and fixing specified wood frame work consisting of battens 50x25mm fixed with rawl plug and drilling necessary holes for rawl plug etc. including priming coat complete. A) Kiln seasoned and chemically treated hollock wood | 1.00 | Cum | 178.61 | 1300.00 | 1300.00 | 162000.00 | 162000.00 | 1300.00 | RAVINDER KUMAR KAKKAR
43.00 | Providing and fixing single piece 5mm thick Atul Float/saint gobain/Asahi/AIS make and width upto 2.5m beveled edge looking mirror of superior glass complete with 6mm thick hard board ground fixed to 75mm S.S. Studs with stainless steel screws including PVC designer moulding 75 x 50mm alround complete as per directions & satisfaction of the Engineer-in-Charge. | 3.00 | sqm | 178.61 | 2000.00 | 6000.00 | 2600.00 | 7800.00 | 6000.00 | RAVINDER KUMAR KAKKAR
44.00 | Providing & Fixing liquid soap container (METALLIC SOAP CONTAINER Make: Jaguar ACN 1137N or equivalent) of approved quality and make as per directions and satisfaction of Engineer-in-charge | 3.00 | Each | 178.61 | 3000.00 | 9000.00 | 3750.00 | 11250.00 | 9000.00 | RAVINDER KUMAR KAKKAR
45.00 | Providing and fixing toilet paper holder Make: Jaguar model code AKP-35753PS OR equivalent complete all as per direction of Engineer-in-charge. | 2.00 | Each | 178.61 | 2000.00 | 4000.00 | 2260.00 | 4520.00 | 4000.00 | RAVINDER KUMAR KAKKAR
46.00 | Providing and fixing health faucet (Make- Jaguar- ALD-577 or equivalent) for E.W.C. complete in all respect as per direction and satisfaction of Engineer-in-charge. | 2.00 | Each | 178.61 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 3000.00 | RAVINDER KUMAR KAKKAR
47.00 | Providing and fixing auto janitor dispenser with battery & refill of JADE model name - Microbust 3000 or equivalent as and where required complete as per direction & satisfaction of Engineer in charge. | 3.00 | Each | 178.61 | 6500.00 | 19500.00 | 7450.00 | 22350.00 | 19500.00 | RAVINDER KUMAR KAKKAR
48.00 | Providing and fixing Greenlam Sturdo Classique Evergreen Series / Merino ZMS SS Series toilet cubicle (of following standard dimension which includes (Toilet cubicle with standard dimension of L Shape Thickness 12mm, Door 600x1785, Divider Height 1820, Overall Height 1995, Depth 1577, Width 1087)) made of heat, bacteria, water, chemical, scratch, impact and anti bacterial resistant 12mm thick solid compact laminate should be suede/*Raw Silk, which includes doors, pilasters & intermediate panels finished with approved texture/shade of AAI approved make and as per fire retardant BS-476/97 standard. This also includes providing and fixing in position necessary hardware Nylon Adjustable Foot, Nylon Gravity Hinge, Door Stopper Channel, Nyl Door Knob, Nylon Coat Hook With Door Stopper, Nylon Lockset With Indicator, Rubber For Door Stopper Channel,Sst 316 Screw,Toprail,U Channel,Wall Plug. All screws will of 304 Grade in stainless steel with satin finish. All pilasters are supported by Stainless steel Bottom Cladding. The base of the stainless steel bottom cladding will be anchored to the floor with a clearance height upto 150mm.(Manufacture test certificate to be provided for above specifications) | 2.00 | Each | 178.61 | 27000.00 | 54000.00 | 29100.00 | 58200.00 | 54000.00 | RAVINDER KUMAR KAKKAR
49.00 | Providing and fixing bottle trap (Make- Jaguar- ALD-769L Size 300 X 190mm or equivalent) for wash basin and urinals etc, of approved quality complete in all respect as per direction and satisfaction of Engineer-in-charge. | 3.00 | Each | 178.61 | 1500.00 | 4500.00 | 2500.00 | 7500.00 | 4500.00 | RAVINDER KUMAR KAKKAR
50.00 | Providing & fixing of approved make translucent 3M or equivalent film, cast PVC, , thickness of 2 mil(0.05 mm) without adhesive and 3 mil (0.8) with adhesive having minimum tensile strength of 3.5 pound/inch at 73 F (0.6 Kg/cm at 23 C0. Adhesion after 24 hrs of installation should be 4 pounds/inch (0.7 kg/cm) on Acrylic, Glass Polycarbonate: (Manufacture test certificate to be provided for above specifications). a) Designer special crystal-effect film to reproduce sand-blasting effect on glass with customised designs & colours | 15.00 | sqm | 178.61 | 700.00 | 10500.00 | 1120.00 | 16800.00 | 10500.00 | RAVINDER KUMAR KAKKAR
51.00 | Providing and fixing table top wash basin of size 495x395x150 of approved make (Make Jaquar JDS-WHT-25909 or equivalent) as per the direction and satisfaction of EIC. | 3.00 | Each | 178.61 | 3000.00 | 9000.00 | 4200.00 | 12600.00 | 9000.00 | RAVINDER KUMAR KAKKAR
52.00 | Providing and fixing white Rimless Bowl With Cistern For Coupled WC With UF Soft Close Slim Seat Cover, Hinges, Dual Flush Cistern Fitting, Conversion Bend, Fixing Accessories Set, Size: 380x645x805 mm, S Trap- 250 mm(With Conversion Bend) of approved make (Jaquar OPS-WHT-15753NS250UFSMZ or equivalent) and Dual Flushing, Anti Germ Glaze, Trap glazed,Dual Flush-3/6 LPF as per the direction and satisfaction of EIC. | 2.00 | Each | 178.61 | 15000.00 | 30000.00 | 21030.00 | 42060.00 | 30000.00 | RAVINDER KUMAR KAKKAR
53.00 | Providing and fixing white vitreous china flat back half stall urinal of approved make(Jaquar URS-WHT-13263 or equivalent) of size 340x325x650 mm with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556,other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required as per the direction of EIC. | 3.00 | Each | 178.61 | 12000.00 | 36000.00 | 13600.00 | 40800.00 | 36000.00 | RAVINDER KUMAR KAKKAR
54.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 25 mm nominal bore | 2.00 | Each | 178.61 | 600.00 | 1200.00 | 550.00 | 1100.00 | 1100.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
55.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : a) 25 mm nominal bore | 2.00 | Each | 178.61 | 400.00 | 800.00 | 310.00 | 620.00 | 620.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
56.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : a) 45 cm length - 15 mm nominal bore | 3.00 | Each | 178.61 | 70.00 | 210.00 | 45.00 | 135.00 | 135.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
57.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | Each | 178.61 | 5000.00 | 5000.00 | 5300.00 | 5300.00 | 5000.00 | RAVINDER KUMAR KAKKAR
58.00 | Providing and fixing wash basin Mixer(Make Jaquar SIG CHR-41233 or equivalaent) of approved make as per direction and satisfaction of EIC. | 3.00 | Each | 178.61 | 12000.00 | 36000.00 | 15200.00 | 45600.00 | 36000.00 | RAVINDER KUMAR KAKKAR
59.00 | Providing and fixing Bib Cock with Wall Flange (Make Jaquar ORP-10037PM or equivalaent) of approved make as per direction and satisfaction of EIC. | 3.00 | Each | 178.61 | 2000.00 | 6000.00 | 2300.00 | 6900.00 | 6000.00 | RAVINDER KUMAR KAKKAR
60.00 | Providing and fixing Angular Stop Cock with Wall Flange for basin mixer and geyser points (Make Jaquar VGP-81053 or equivalaent) of approved make as per direction and satisfaction of EIC. | 5.00 | Each | 178.61 | 800.00 | 4000.00 | 1220.00 | 6100.00 | 4000.00 | RAVINDER KUMAR KAKKAR
61.00 | P/F Stainless Steel anti cocokroach floor Jali of approved make of 100 mm dia fixing over water outlet complete as per direction and satisfaction of Engineer-in-charge | 6.00 | Each | 178.61 | 400.00 | 2400.00 | 500.00 | 3000.00 | 2400.00 | RAVINDER KUMAR KAKKAR
62.00 | Providing and fixing 10 mm dia C.P. / S.S. Jet spray with flexible tube upto 125 cm long with S.S. Flat Strip size 22 cm x 2.5 cm (Make Hindware 511678 or equivalaent) to W.C. of quality and make as per direction and satisfaction of EIC. | 2.00 | Each | 178.61 | 200.00 | 400.00 | 230.00 | 460.00 | 400.00 | RAVINDER KUMAR KAKKAR
63.00 | Providing and laying six courses water proofing treatment withbitumen felt over roofs consisting of first, third and fifth courses ofblown or / and residual bitumen applied hot at 1.45, 1.20 and 1.70 kgper square metre of area respectively, second and fourth courses ofroofing felt type 2 grade II (glass fibre base self finished bitumen felt)and sixth and final course of stone grit 6 mm and down size or pea sized gravel spread at 6 cubic decimeter per sqm including preparationof surface but excluding grading, complete. | 195.00 | Sqm. | 178.61 | 800.00 | 156000.00 | 750.00 | 146250.00 | 146250.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
64.00 | Providing and fixing cup board shutters with 25 mm thick veneered particle board IS : 3097 marked, exterior grade (Grade I), of approved make, including IInd class teak wood lipping of 25 mm wide x 12 mm thick with necessary screws and bright finished stainless steel piano hinges, complete as per direction of Engineer-in-Charge. With decorative veneering on one side and commercial veneering on other side | 2.00 | sqm | 178.61 | 1700.00 | 3400.00 | 1600.00 | 3200.00 | 3200.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
65.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 125 mm | 1.00 | Each | 178.61 | 60.00 | 60.00 | 45.00 | 45.00 | 45.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
66.00 | Providing & fixing roller blinds of Mac, blackout or equivalent of required size (as per site) all complete as per direction of Engineer-in-charge. | 15.00 | sqm | 178.61 | 1800.00 | 27000.00 | 2150.00 | 32250.00 | 27000.00 | RAVINDER KUMAR KAKKAR
67.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. A) 110 mm diameter | 40.00 | Mtr. | 178.61 | 270.00 | 10800.00 | 320.00 | 12800.00 | 10800.00 | RAVINDER KUMAR KAKKAR
68.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. a) 110 mm bend | 4.00 | Each | 178.61 | 100.00 | 400.00 | 82.00 | 328.00 | 328.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
69.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 2.00 | Each | 178.61 | 50.00 | 100.00 | 45.00 | 90.00 | 90.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
70.00 | Providing and laying uPVC pipes for drainage (soil, waste and vent), including jointing, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes as per direction and satisfaction of Engineer In Charge. A) U-PVC pipes, Single socketed pipe 110 mm dia. | 30.00 | Mtr. | 178.61 | 300.00 | 9000.00 | 330.00 | 9900.00 | 9000.00 | RAVINDER KUMAR KAKKAR
71.00 | Providing and fixing translucent acrylic plastic sheet of any color/shed with necessary fixtures. The sheet shall be fixed using self drilling /self tapping screws, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required complete as per direction and satisfaction of Engineer In Charge. a) 8mm thick acrylic sheet | 200.00 | sqm | 178.61 | 1900.00 | 380000.00 | 2620.00 | 524000.00 | 380000.00 | RAVINDER KUMAR KAKKAR
72.00 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : 32 mm nominal bore | 1.00 | Each | 178.61 | 900.00 | 900.00 | 850.00 | 850.00 | 850.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
73.00 | Supply of 2 TR nominal capacity Cassette type Split Air conditioner with cooling function and fitted with hermetically sealed scroll compressor, operating on refrigerant R-32 / R-410 Non CFC suitable for ceiling mounted, operation on single phase/three phase, 50 Hz AC supply complete with Indoor, outdoor units, cordless remote and other accessories as per OEM standard complete as required. | 6.00 | Each | 178.61 | 80000.00 | 480000.00 | 80000.00 | 480000.00 | 480000.00 | RAVINDER KUMAR KAKKAR, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
74.00 | Installation of 2 TR nominal capacity cassette type Split Air conditioner including hanging of indoor unit from ceiling as per manufacturer recommendations, installation of outdoor unit, connection of suction and return pipes, drain pipes, electrical connections of indoor and outdoor units, first refill of gas, testing & commissioning, including cutting of false ceiling and making support and fixing of false ceiling on supporting members etc. complete as required. | 6.00 | Job | 178.61 | 3000.00 | 18000.00 | 3800.00 | 22800.00 | 18000.00 | RAVINDER KUMAR KAKKAR
75.00 | Providing and fixing of copper refrigerant suction & liquid piping set for 2 TR cassette AC including insulation, supports, clamps, fittings, connections, sleeves, insulation etc. in addition to standard length supplied with AC unit complete as required as per site conditions. | 80.00 | Mtr | 178.61 | 1900.00 | 152000.00 | 2430.00 | 194400.00 | 152000.00 | RAVINDER KUMAR KAKKAR
76.00 | Providing & fixing of 25 mm medium mechanical stress, FRLS, CPVC Drain piping from indoor to nearest drain complete with fittings, supports etc. complete as required as per site conditions. | 80.00 | Mtr | 178.61 | 400.00 | 32000.00 | 420.00 | 33600.00 | 32000.00 | RAVINDER KUMAR KAKKAR
77.00 | Supply and fixing of angle iron stand dully powder coated suitable for 2 ton cassette type AC outdoor unit complete as required. | 6.00 | Each | 178.61 | 7000.00 | 42000.00 | 7500.00 | 45000.00 | 42000.00 | RAVINDER KUMAR KAKKAR
78.00 | Supply and fixing 5 C x 2.5 Sq. mm PVC insulated, PVC sheathed unarmoured multi stranded copper cable to connect indoor and outdoor units of 2 TR, 3 phase AC unit complete as required as per site conditions. | 150.00 | Mtr | 178.61 | 500.00 | 75000.00 | 610.00 | 91500.00 | 75000.00 | RAVINDER KUMAR KAKKAR
79.00 | Supplying and fixing 20 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 178.61 | 6500.00 | 39000.00 | 7430.00 | 44580.00 | 39000.00 | RAVINDER KUMAR KAKKAR
80.00 | Installation, Testing, Commissioning & Re-programing accordingly of Microprocessor based 04 loop intelligent analogue Addressable Type UL/EN listed Fire Alarm Control Panel, with LCD display, The panel is equipped with sufficient number of loops with loop capacity to take 250+250 intelligent addressable detectors/ devices in one loop for connecting smoke detectors, manual call points, Hooters etc suitable for operation on 230 Volts, 50 Hz AC power supply, LCD Unit to indicate fire and normal operation & power supply status, push button for accept and Reset, maintenance free batteries with minimum 30 minute backup on alarm mode & 24 Hours on normal operation mode with automatic battery charger etc., programmable relays for AHU / power tripping, operation of Fire Hooter, shall be complete as required. Panel also have necessary provision for connecting and functioning with auto dialler, Existing PA system etc as required. | 1.00 | Each | 178.61 | 6200.00 | 6200.00 | 64000.00 | 64000.00 | 6200.00 | RAVINDER KUMAR KAKKAR
81.00 | Installation, testing and commissioning of UL/EN listed intelligent analogue addressable type multi criteria (photo+heat) detector having minimum photo electric and thermal detection with built-in LED flasher with standard mounting base including accessories like base, base box etc to install under/above false ceiling without isolator base complete as require as per technical specifications. | 18.00 | Each | 178.61 | 2400.00 | 43200.00 | 3025.00 | 54450.00 | 43200.00 | RAVINDER KUMAR KAKKAR
82.00 | Installation, testing and commissioning of UL/EN listed Hooter cum Strobe with control module interconnecting to loop cable complete as required. The strobes shall be synchronized for better evacuation as per specification complete as required. | 2.00 | Each | 178.61 | 3000.00 | 6000.00 | 3530.00 | 7060.00 | 6000.00 | RAVINDER KUMAR KAKKAR
83.00 | Installation, testing and commissioning of UL/EN listed Addressable type Manual Call Point (break glass type) complete with Input Module, push button, enclosed in box with provision for cable or conduit coupling, self-adhesive sticker indicating loop number and address. The unit to be painted fire red outside, white inside and written 'In case of fire break glass. | 4.00 | Each | 178.61 | 3000.00 | 12000.00 | 3600.00 | 14400.00 | 12000.00 | RAVINDER KUMAR KAKKAR
84.00 | Installation, testing & commissioning of Response Indicator (METAL CLADE) which consists of steady glowing LED. This LED shall be mounted within a M.S. box and connected in parallel to the built in indicator of the detector as per specifications. The RI shall come "ON" as soon as the detector activates complete in all respects as per specification. | 10.00 | Each | 178.61 | 200.00 | 2000.00 | 313.00 | 3130.00 | 2000.00 | RAVINDER KUMAR KAKKAR
85.00 | Supply, Installation, testing and commissioning of maintained LED slim Exit / Egress Lights with 4 hrs Backup, Ni-Mh/Ni-Cd Rechargeable Battery, Constant Current Charger, Confirms to IS: 9583-1981, Aluminium Housing Body suitable for working on 230V, single phase, 50 hz AC supply. | 2.00 | Each | 178.61 | 5500.00 | 11000.00 | 6100.00 | 12200.00 | 11000.00 | RAVINDER KUMAR KAKKAR
86.00 | Supply and drawing of 2c x 1.5 Sq.mm FRLS XLPE insulated PVC sheathed, stranded copper conductor armoured cable 1100 Volts grade as per IS 7098(part 1)1988, amended upto date complete as required. in the existing surface/ recessed steel/ PVC conduit /RCC /Hume /Metal pipe etc. complete as required. | 200.00 | Mtr | 178.61 | 12000.00 | 2400000.00 | 13800.00 | 2760000.00 | 2400000.00 | RAVINDER KUMAR KAKKAR
87.00 | Supplying of LED type 600 mm x 600 mm decorative type recessed in door light fixture with good quality plastic optics/ translucent PMMA cover with nominal wattage of 36W, with built in drivers/ external driver in case of slim LED panels, housing body made of metallic CRCA powder coated sheet/ white coated Aluminium body for panels, suitable to operate on 50 Hz AC single phase supply including connection etc. complete and it shall meet as per technical specifications enclosed with tender complete in all respect as required. LED must be covered 5 year warranty. (Make: Jaquar, Item code: IPN-WHT-LULTSLSN36xC or equiv.) | 30.00 | Each | 178.61 | 2800.00 | 84000.00 | 3800.00 | 114000.00 | 84000.00 | RAVINDER KUMAR KAKKAR
88.00 | Supply of surface mounting 70 watt (130 LM/W) LED based highbay lighting luminaire suitable for canopy with high impact resistant, corrosion resistant, easy to install and IP 65 ingress protection, come equipped with pressure die cast aluminium well glass complete with all accessories .(Make-As per AAI approved make list) | 10.00 | Each | 178.61 | 11000.00 | 110000.00 | 16300.00 | 163000.00 | 110000.00 | RAVINDER KUMAR KAKKAR
89.00 | Supply and fixing of pre fabricated weather proof thermoplastic cable junction box of size (200mm x 160 mm x 98mm ) made out of polycarbonate material (Electical grade ) with IP-65/66 protection complete with hinges and locking arrangement with 4 nos epoxy mounting on suitable frame and with provision for cable entries for 2 Nos (4 x 10 sq.mm) L.T armoured cable etc. , fixing of the box to be made on existing Pole by suitable size nut bolts and washer with mounting arrangement for 1 no SPMCB i/c supplying & fixing of 1 no. 2 pole connector strip for tapping of supply for LED fixture i/c interconnections etc. as required.(Make-Hensel) | 5.00 | Each | 178.61 | 1800.00 | 9000.00 | 2230.00 | 11150.00 | 9000.00 | RAVINDER KUMAR KAKKAR
90.00 | Supplying of 400mm sweep wall mounted fan having not less than 1300 RPM, with speed regulator suitable for operation at 230Volts 50Hz AC supply etc complete as required. (Make Havells Swing Gyro or similar). | 12.00 | Each | 178.61 | 2800.00 | 33600.00 | 3830.00 | 45960.00 | 33600.00 | RAVINDER KUMAR KAKKAR
91.00 | Supplying of 3½ X 70 Sqmm size of PVC insulated PVC sheathed aluminium conductor armoured cable of 1.1 KV grade etc as required. | 120.00 | Meter | 178.61 | 1000.00 | 120000.00 | 1620.00 | 194400.00 | 120000.00 | RAVINDER KUMAR KAKKAR
92.00 | Supplying of 250 mm sweep Domestic Exhaust fan suitable for operation on single phase ac supply etc. as reqd. . (M/s. crompton Brisk Air /Bajaj- Maxima DXL) | 3.00 | Each | 178.61 | 1000.00 | 3000.00 | 1300.00 | 3900.00 | 3000.00 | RAVINDER KUMAR KAKKAR
93.00 | Installation, testing and commissioning of exhaust fan/wall fan in the existing opening, including making good the damage, connection, i/c suitable fixing arrangement as per direction of engineer in charrge complete etc. as required. Upto 450 mm sweep | 15.00 | Each | 178.61 | 400.00 | 6000.00 | 630.00 | 9450.00 | 6000.00 | RAVINDER KUMAR KAKKAR
94.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point ( without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 30.00 | Point | 178.61 | 1400.00 | 42000.00 | 1560.00 | 46800.00 | 42000.00 | RAVINDER KUMAR KAKKAR
95.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (95.1) 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 150.00 | Meter | 178.61 | 250.00 | 37500.00 | 300.00 | 45000.00 | 37500.00 | RAVINDER KUMAR KAKKAR
95.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 150.00 | Meter | 178.61 | 280.00 | 42000.00 | 340.00 | 51000.00 | 42000.00 | RAVINDER KUMAR KAKKAR
95.30 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Meter | 178.61 | 320.00 | 16000.00 | 420.00 | 21000.00 | 16000.00 | RAVINDER KUMAR KAKKAR
96.00 | Supplying and drawing 3 x 1.5 sq. mm sizes of FRLS PVC insulated copper conductor cable in the existing surface/ recessed steel/ PVC conduit as required. | 200.00 | Meter | 178.61 | 100.00 | 20000.00 | 125.00 | 25000.00 | 20000.00 | RAVINDER KUMAR KAKKAR
97.00 | Supplying and fixing of 25 mm sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 200.00 | Meter | 178.61 | 100.00 | 20000.00 | 146.00 | 29200.00 | 20000.00 | RAVINDER KUMAR KAKKAR
98.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. (98.1) 5/6 amps switch | 60.00 | Each | 178.61 | 80.00 | 4800.00 | 90.00 | 5400.00 | 4800.00 | RAVINDER KUMAR KAKKAR
98.20 | 15/16 amp switch | 20.00 | Each | 178.61 | 120.00 | 2400.00 | 155.00 | 3100.00 | 2400.00 | RAVINDER KUMAR KAKKAR
98.30 | 3 pin 5/6 amp socket outlet | 25.00 | Each | 178.61 | 100.00 | 2500.00 | 101.00 | 2525.00 | 2500.00 | RAVINDER KUMAR KAKKAR
98.40 | 6 pin 15/16 amp socket outlet | 15.00 | Each | 178.61 | 150.00 | 2250.00 | 170.00 | 2550.00 | 2250.00 | RAVINDER KUMAR KAKKAR
99.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 50.00 | Each | 178.61 | 30.00 | 1500.00 | 35.00 | 1750.00 | 1500.00 | RAVINDER KUMAR KAKKAR
100.00 | Supplying and fixing following size/ modules, GI box (MS Box to be fabricated according to size in case of Surface) alongwith modular base & cover plate for modular switches in recess etc as required. (100.1) 1 or 2 Module (75mmX75mm) | 10.00 | Each | 178.61 | 140.00 | 1400.00 | 235.00 | 2350.00 | 1400.00 | RAVINDER KUMAR KAKKAR
100.20 | 3 Module (100mmX75mm) | 5.00 | Each | 178.61 | 200.00 | 1000.00 | 260.00 | 1300.00 | 1000.00 | RAVINDER KUMAR KAKKAR
100.30 | 6 Module (200mmX75mm) | 10.00 | Each | 178.61 | 300.00 | 3000.00 | 355.00 | 3550.00 | 3000.00 | RAVINDER KUMAR KAKKAR
100.40 | 8 Module (125mmX125mm) | 1.00 | Each | 178.61 | 300.00 | 300.00 | 390.00 | 390.00 | 300.00 | RAVINDER KUMAR KAKKAR
100.50 | 12 Module (200mmX150mm) | 6.00 | Each | 178.61 | 400.00 | 2400.00 | 520.00 | 3120.00 | 2400.00 | RAVINDER KUMAR KAKKAR
101.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (101.1) 4 way (4 + 12), Double door | 2.00 | Each | 178.61 | 3500.00 | 7000.00 | 3750.00 | 7500.00 | 7000.00 | RAVINDER KUMAR KAKKAR
101.20 | 8 way (4 + 24), Double door | 1.00 | Each | 178.61 | 4500.00 | 4500.00 | 5500.00 | 5500.00 | 4500.00 | RAVINDER KUMAR KAKKAR
102.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (102.1) Single pole | 50.00 | Each | 178.61 | 180.00 | 9000.00 | 250.00 | 12500.00 | 9000.00 | RAVINDER KUMAR KAKKAR
102.20 | Triple pole | 4.00 | Each | 178.61 | 700.00 | 2800.00 | 920.00 | 3680.00 | 2800.00 | RAVINDER KUMAR KAKKAR
103.00 | Supplying and fixing 100 Amp rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 178.61 | 900.00 | 900.00 | 1100.00 | 1100.00 | 900.00 | RAVINDER KUMAR KAKKAR
104.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 3½ X 70 sq. mm (38mm) size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Each | 178.61 | 400.00 | 800.00 | 430.00 | 860.00 | 800.00 | RAVINDER KUMAR KAKKAR
105.00 | Providing, laying, testing & commissioning of 100 mm 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. | 50.00 | Mtr | 178.61 | 1700.00 | 85000.00 | 2300.00 | 115000.00 | 85000.00 | RAVINDER KUMAR KAKKAR
106.00 | Providing, laying, testing & commissioning of 25 mm 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required. | 10.00 | Mtr | 178.61 | 500.00 | 5000.00 | 390.00 | 3900.00 | 3900.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
107.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze / gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of 100 mm as required. | 1.00 | Each | 178.61 | 1500.00 | 1500.00 | 1495.00 | 1495.00 | 1495.00 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
108.00 | Supplying, fixing, testing and commissioning of ball valve of PN 1.6 rating with bronze / gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of 25 mm as required. | 1.00 | Each | 178.61 | 1400.00 | 1400.00 | 1500.00 | 1500.00 | 1400.00 | RAVINDER KUMAR KAKKAR
109.00 | Providing and fixing hose cabinate(1.0mx0.55mx0.85m) made not less than 3 mm aluminium sheet having central opening glazed door including necessary locking arrengement and painting work including also provide MS anlges mounding frame suitable for accommodating external hydrent valve as per site requirement. | 1.00 | Each | 178.61 | 10000.00 | 10000.00 | 12300.00 | 12300.00 | 10000.00 | RAVINDER KUMAR KAKKAR
110.00 | Supplying and fixing of gum metal 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female couplings duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required. | 2.00 | Set | 178.61 | 16000.00 | 32000.00 | 18400.00 | 36800.00 | 32000.00 | RAVINDER KUMAR KAKKAR
111.00 | Supplying and fixing first-aid Hose Reel with MS construction spray painted in post office red, conforming to IS 884 complete with the 40 mtrs as required. 20 mm nominal internal dia water hose thermoplastic (Textile reinforced) type -2 as per IS: 12585 20 mm nominal internal dia gun metal globe valve & nozzle. Drum and brackets for fixing the equipmets on wall. Connections from riser with 25 mm dia stop gun metal valve & M.S. Pipe and socket. | 1.00 | Each | 178.61 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | RAVINDER KUMAR KAKKAR, M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED
112.00 | Supplying and fixing single headed gunmetal internal hydrant valve with instantaneous Gunmetal/Stainless Steel coupling of 63 mm dia with cast iron wheel ISI marked conforming to IS 5290 (Type -A) with blank Gunmetal/Stainless Steel cap and chain as required. | 1.00 | Set | 178.61 | 10000.00 | 10000.00 | 14500.00 | 14500.00 | 10000.00 | RAVINDER KUMAR KAKKAR
113.00 | Supply, installation, testing and commissioning of 6 kg ABC (Powder Type) Fire Extinguisher, Mild Steel Cylinders ISI marked fitted with pressure indicating gauge, internal tube, squeeze lever type valve fully charged with ABC 90 powder (Mono Ammonium Phosphate) pressured by Nitrogen complete in all respects including wall suspension bracket complete and conforming to IS:15683 as required and as per specifications. | 6.00 | Each | 178.61 | 12000.00 | 72000.00 | 18300.00 | 109800.00 | 72000.00 | RAVINDER KUMAR KAKKAR
| Total in Figures |  |  |  |  | 11663040.00 |  | 13959608.00
Lowest Amount Quoted BY: RAVINDER KUMAR KAKKAR(11663040.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Restroom on the terrace of ATC building complex at SGRDJI Airport Amritsar. Tender ID: 2026_AAI_274324_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAVINDER KUMAR KAKKAR (BID ID -1043308) | 11663040.00 | L1
| 2 | M/S SIDDHARTHALAXMI ENGITECH PRIVATE LIMITED (BID ID -1044708) | 13959608.00 | L2